## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-17
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | TEMP | T | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | FAST |  | INT | 1
Off | 221-240 |  | DCV | 100 mV | Off | None |  |  |  | Off | 1 | -1 | Off |  |  | Off |  | FAST |  | Volts | Off
On | 202 |  | TEMP | T | Off | None |  |  |  | Off | 1 | -1 | Off |  |  | Off |  | FAST |  | INT
Off | 121-125 |  | DCV | AUTO | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Off | 201 |  | TEMP | T | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | INT
On | 134-140 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 123-132 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 121 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Off | 101 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-17
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 35
| Timer | 1 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet3
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 2 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## On side
Chn 201 | Time | Chn 202 | Time | Chn 134 | Time | Chn 135 | Time | Chn 136 | Time | Chn 137 | Time | Chn 138 | Time | Chn 139 | Time | Chn 140 | Time | Chn 123 | Time | Chn 124 | Time | Chn 125 | Time | Chn 126 | Time | Chn 127 | Time | Chn 128 | Time | Chn 129 | Time | Chn 130 | Time | Chn 131 | Time | Chn 132 | Time | Chn 121 | Time
°C | sec | °C | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
18.3073 | 0 | 9.9e+37 | 0.018306 | 0.0016783 | 1.0937 | 0.0040157 | 1.2098 | 0.0041312 | 1.3259 | 0.0046645 | 1.442 | 0.0037439 | 1.5581 | 0.0030917 | 1.6741 | 0.0051153 | 1.8916 | 0.0043387 | 2.0078 | 0.0036019 | 2.1239 | 0.012767 | 2.24 | 0.0049902 | 2.3561 | 0.0052959 | 2.4722 | 0.0038665 | 2.5882 | 0.0056121 | 2.7043 | 0.013693 | 2.9218 | 0.0050204 | 3.0379 | 0.0037928 | 3.154 | 2.2294 | 3.27
18.6408 | 3.5671 | 9.9e+37 | 3.5853 | 0.0016772 | 4.6607 | 0.0040154 | 4.7768 | 0.0041308 | 4.9943 | 0.004664 | 5.1104 | 0.0037435 | 5.2264 | 0.0030917 | 5.3425 | 0.0051146 | 5.4586 | 0.0043386 | 5.5747 | 0.0036016 | 5.6907 | 0.01277 | 5.8068 | 0.0049896 | 6.0243 | 0.0052958 | 6.1405 | 0.003866 | 6.2566 | 0.0056116 | 6.3727 | 0.013663 | 6.4888 | 0.0050205 | 6.6049 | 0.0037925 | 6.7209 | 2.2294 | 6.837
18.6359 | 7.2353 | 9.9e+37 | 7.2535 | 0.0016771 | 8.329 | 0.0040148 | 8.4451 | 0.0041309 | 8.5612 | 0.0046639 | 8.6772 | 0.0037432 | 8.7933 | 0.0030917 | 8.9094 | 0.0051146 | 9.1268 | 0.004338 | 9.2429 | 0.0036011 | 9.359 | 0.012773 | 9.4751 | 0.0049896 | 9.5912 | 0.0052959 | 9.7072 | 0.0038663 | 9.8233 | 0.0056112 | 9.9394 | 0.013635 | 10.1569 | 0.0050201 | 10.273 | 0.0037929 | 10.3891 | 2.2295 | 10.5051
18.8071 | 10.8021 | 9.9e+37 | 10.8203 | 0.0016767 | 11.8957 | 0.0040151 | 12.0118 | 0.0041306 | 12.2293 | 0.0046636 | 12.3454 | 0.0037429 | 12.4615 | 0.0030916 | 12.5775 | 0.0051144 | 12.6936 | 0.0043382 | 12.8097 | 0.0036005 | 12.9258 | 0.012777 | 13.0419 | 0.0049892 | 13.2593 | 0.0052952 | 13.3754 | 0.0038659 | 13.4915 | 0.0056112 | 13.6075 | 0.013616 | 13.7236 | 0.0050194 | 13.8397 | 0.0037926 | 13.9558 | 2.2295 | 14.0718
18.4504 | 14.4735 | 9.9e+37 | 14.4918 | 0.001677 | 15.5671 | 0.0040146 | 15.6832 | 0.0041302 | 15.7993 | 0.0046629 | 15.9154 | 0.0037426 | 16.0315 | 0.0030911 | 16.1475 | 0.0051141 | 16.365 | 0.0043378 | 16.4811 | 0.0036 | 16.5972 | 0.01278 | 16.7133 | 0.0049888 | 16.8293 | 0.0052954 | 16.9454 | 0.0038657 | 17.0615 | 0.0056106 | 17.1776 | 0.013602 | 17.395 | 0.0050191 | 17.5111 | 0.0037922 | 17.6272 | 2.2295 | 17.7433
18.1304 | 18.0401 | 9.9e+37 | 18.0584 | 0.0016771 | 19.1338 | 0.0040143 | 19.2499 | 0.0041304 | 19.4674 | 0.0046629 | 19.5835 | 0.0037425 | 19.6995 | 0.0030911 | 19.8156 | 0.005114 | 19.9317 | 0.0043379 | 20.0478 | 0.0035998 | 20.1638 | 0.012783 | 20.2799 | 0.004988 | 20.4974 | 0.0052951 | 20.6135 | 0.0038653 | 20.7296 | 0.0056108 | 20.8457 | 0.013596 | 20.9617 | 0.0050188 | 21.0778 | 0.0037922 | 21.1939 | 2.2295 | 21.31
18.9017 | 21.7082 | 9.9e+37 | 21.7265 | 0.0016769 | 22.804 | 0.0040141 | 22.9201 | 0.0041298 | 23.0362 | 0.0046628 | 23.1523 | 0.0037425 | 23.2683 | 0.003091 | 23.3844 | 0.0051132 | 23.6019 | 0.0043382 | 23.718 | 0.0036002 | 23.834 | 0.012785 | 23.9501 | 0.0049883 | 24.0662 | 0.0052947 | 24.1823 | 0.0038661 | 24.2983 | 0.0056107 | 24.4144 | 0.013588 | 24.632 | 0.0050189 | 24.7481 | 0.0037919 | 24.8642 | 2.2295 | 24.9803
18.5894 | 25.2771 | 9.9e+37 | 25.2954 | 0.0016769 | 26.3707 | 0.0040142 | 26.4868 | 0.0041298 | 26.7043 | 0.0046629 | 26.8204 | 0.0037427 | 26.9365 | 0.0030913 | 27.0525 | 0.0051113 | 27.1686 | 0.0043378 | 27.2847 | 0.0035999 | 27.4008 | 0.012788 | 27.5169 | 0.0049883 | 27.7344 | 0.0052949 | 27.8504 | 0.0038656 | 27.9665 | 0.0056108 | 28.0826 | 0.013573 | 28.1986 | 0.0050194 | 28.3147 | 0.0037922 | 28.4308 | 2.2295 | 28.5469
18.7464 | 28.9451 | 9.9e+37 | 28.9634 | 0.001677 | 30.0409 | 0.0040141 | 30.1569 | 0.0041298 | 30.273 | 0.0046632 | 30.3891 | 0.0037431 | 30.5052 | 0.0030912 | 30.6213 | 0.0051137 | 30.8388 | 0.0043381 | 30.9549 | 0.0036005 | 31.0709 | 0.012792 | 31.187 | 0.0049888 | 31.3031 | 0.005295 | 31.4192 | 0.0038656 | 31.5352 | 0.005611 | 31.6513 | 0.013545 | 31.8688 | 0.0050196 | 31.9849 | 0.0037929 | 32.101 | 2.2295 | 32.2171
18.7006 | 32.5141 | 9.9e+37 | 32.5323 | 0.0016772 | 33.6077 | 0.0040147 | 33.7238 | 0.0041302 | 33.9413 | 0.0046636 | 34.0573 | 0.0037432 | 34.1734 | 0.0030913 | 34.2895 | 0.0051148 | 34.4055 | 0.0043382 | 34.5217 | 0.0036003 | 34.6377 | 0.012797 | 34.7538 | 0.004989 | 34.9713 | 0.0052955 | 35.0874 | 0.003866 | 35.2035 | 0.0056111 | 35.3196 | 0.01354 | 35.4357 | 0.00502 | 35.5517 | 0.0037934 | 35.6678 | 2.2295 | 35.7839
18.9668 | 36.1821 | 9.9e+37 | 36.2004 | 0.0016772 | 37.2757 | 0.0040151 | 37.3918 | 0.0041311 | 37.5079 | 0.0046636 | 37.624 | 0.0037433 | 37.7401 | 0.0030918 | 37.8562 | 0.0051152 | 38.0736 | 0.0043384 | 38.1897 | 0.0036015 | 38.3058 | 0.0128 | 38.4219 | 0.0049893 | 38.5379 | 0.0052956 | 38.654 | 0.0038663 | 38.7701 | 0.0056117 | 38.8861 | 0.013512 | 39.1037 | 0.0050204 | 39.2197 | 0.0037935 | 39.3358 | 2.2295 | 39.4519
19.5406 | 39.7487 | 9.9e+37 | 39.767 | 0.0016774 | 40.8423 | 0.004015 | 40.9584 | 0.0041311 | 41.1759 | 0.004664 | 41.292 | 0.0037434 | 41.408 | 0.003092 | 41.5241 | 0.005115 | 41.6402 | 0.0043382 | 41.7563 | 0.0036005 | 41.8723 | 0.012802 | 41.9884 | 0.004989 | 42.2059 | 0.0052952 | 42.322 | 0.0038665 | 42.438 | 0.0056114 | 42.5541 | 0.01367 | 42.6702 | 0.00502 | 42.7863 | 0.0037922 | 42.9023 | 2.2295 | 43.0184
18.5156 | 43.4167 | 9.9e+37 | 43.4349 | 0.0016772 | 44.5102 | 0.0040149 | 44.6263 | 0.0041306 | 44.7424 | 0.0046639 | 44.8585 | 0.003743 | 44.9745 | 0.0030916 | 45.0918 | 0.0051136 | 45.3093 | 0.0043381 | 45.4254 | 0.0036004 | 45.5415 | 0.012805 | 45.6576 | 0.0049887 | 45.7736 | 0.005295 | 45.8897 | 0.0038656 | 46.0058 | 0.0056113 | 46.1219 | 0.013802 | 46.3394 | 0.0050196 | 46.4555 | 0.0037927 | 46.5715 | 2.2295 | 46.6876
18.1923 | 46.9844 | 9.9e+37 | 47.0027 | 0.0016777 | 48.0781 | 0.0040144 | 48.1941 | 0.0041305 | 48.4116 | 0.0046634 | 48.5277 | 0.0037428 | 48.6438 | 0.0030911 | 48.7599 | 0.0051139 | 48.8759 | 0.0043379 | 48.992 | 0.0036007 | 49.1081 | 0.012806 | 49.2242 | 0.0049891 | 49.4417 | 0.0052948 | 49.5578 | 0.0038655 | 49.6738 | 0.0056109 | 49.7899 | 0.013747 | 49.906 | 0.0050193 | 50.022 | 0.003791 | 50.1381 | 2.2295 | 50.2542
18.8575 | 50.6523 | 9.9e+37 | 50.6706 | 0.001677 | 51.7481 | 0.0040142 | 51.8642 | 0.0041307 | 51.9803 | 0.0046632 | 52.0963 | 0.0037429 | 52.2124 | 0.0030915 | 52.3285 | 0.0051145 | 52.546 | 0.0043377 | 52.662 | 0.0036003 | 52.7781 | 0.01281 | 52.8942 | 0.0049882 | 53.0103 | 0.005295 | 53.1263 | 0.0038657 | 53.2424 | 0.005611 | 53.3585 | 0.013705 | 53.576 | 0.005019 | 53.6921 | 0.0037909 | 53.8082 | 2.2295 | 53.9242
19.319 | 54.2211 | 9.9e+37 | 54.2394 | 0.001677 | 55.3182 | 0.0040138 | 55.4343 | 0.0041304 | 55.6518 | 0.0046629 | 55.7679 | 0.0037426 | 55.884 | 0.003091 | 56 | 0.005114 | 56.1161 | 0.0043371 | 56.2322 | 0.0035997 | 56.3482 | 0.012812 | 56.4643 | 0.0049883 | 56.6818 | 0.0052944 | 56.7979 | 0.0038651 | 56.9139 | 0.0056107 | 57.03 | 0.013691 | 57.1461 | 0.0050189 | 57.2622 | 0.0037911 | 57.3783 | 2.2295 | 57.4944
18.4786 | 57.8926 | 9.9e+37 | 57.9109 | 0.0016767 | 58.9883 | 0.0040137 | 59.1044 | 0.0041299 | 59.2205 | 0.0046631 | 59.3366 | 0.0037425 | 59.4527 | 0.003091 | 59.5688 | 0.0051136 | 59.7863 | 0.0043373 | 59.9023 | 0.0036004 | 60.0184 | 0.012812 | 60.1345 | 0.0049881 | 60.2506 | 0.0052946 | 60.3666 | 0.003865 | 60.4827 | 0.0056107 | 60.5988 | 0.013665 | 60.8163 | 0.005019 | 60.9324 | 0.0037915 | 61.0485 | 2.2295 | 61.1645
19.1367 | 61.4676 | 9.9e+37 | 61.4859 | 0.0016763 | 62.5613 | 0.004014 | 62.6774 | 0.0041302 | 62.8949 | 0.0046631 | 63.0109 | 0.0037426 | 63.127 | 0.003091 | 63.2431 | 0.0051136 | 63.3591 | 0.0043372 | 63.4752 | 0.0036003 | 63.5913 | 0.012815 | 63.7074 | 0.0049884 | 63.9249 | 0.0052942 | 64.041 | 0.0038647 | 64.1571 | 0.0056107 | 64.2731 | 0.01364 | 64.3892 | 0.0050188 | 64.5053 | 0.0037915 | 64.6214 | 2.2295 | 64.7374
18.5427 | 65.1357 | 9.9e+37 | 65.154 | 0.0016765 | 66.2294 | 0.004013 | 66.3455 | 0.0041301 | 66.4616 | 0.0046632 | 66.5777 | 0.0037423 | 66.6937 | 0.0030912 | 66.8098 | 0.0051149 | 67.0273 | 0.0043367 | 67.1434 | 0.0035991 | 67.2594 | 0.012816 | 67.3755 | 0.0049879 | 67.4916 | 0.0052946 | 67.6078 | 0.0038656 | 67.7238 | 0.0056121 | 67.8399 | 0.013634 | 68.0574 | 0.0050179 | 68.1735 | 0.0037918 | 68.2896 | 2.2295 | 68.4056
18.1163 | 68.7024 | 9.9e+37 | 68.7207 | 0.0016768 | 69.7962 | 0.0040136 | 69.9123 | 0.0041301 | 70.1298 | 0.004663 | 70.2458 | 0.0037419 | 70.3619 | 0.0030908 | 70.478 | 0.0051134 | 70.5941 | 0.004337 | 70.7101 | 0.0036001 | 70.8262 | 0.012818 | 70.9423 | 0.004988 | 71.1598 | 0.0052942 | 71.2758 | 0.0038644 | 71.3919 | 0.0056105 | 71.508 | 0.013625 | 71.6241 | 0.0050184 | 71.7402 | 0.0037916 | 71.8562 | 2.2295 | 71.9723
18.8561 | 72.3706 | 9.9e+37 | 72.3888 | 0.0016761 | 73.4663 | 0.0040136 | 73.5823 | 0.0041296 | 73.6984 | 0.0046627 | 73.8145 | 0.0037422 | 73.9306 | 0.0030907 | 74.0467 | 0.0051134 | 74.2642 | 0.0043372 | 74.3802 | 0.0036004 | 74.4963 | 0.01282 | 74.6124 | 0.0049881 | 74.7285 | 0.0052946 | 74.8445 | 0.0038646 | 74.9606 | 0.0056107 | 75.0767 | 0.013594 | 75.2942 | 0.0050186 | 75.4103 | 0.0037917 | 75.5263 | 2.2295 | 75.6424
18.3135 | 75.9428 | 9.9e+37 | 75.9611 | 0.0016769 | 77.0365 | 0.0040137 | 77.1525 | 0.0041299 | 77.37 | 0.0046634 | 77.4861 | 0.0037422 | 77.6022 | 0.0030911 | 77.7182 | 0.0051135 | 77.8343 | 0.004337 | 77.9504 | 0.0036003 | 78.0665 | 0.012826 | 78.1826 | 0.0049882 | 78.4001 | 0.0052953 | 78.5161 | 0.0038639 | 78.6322 | 0.0056109 | 78.7483 | 0.01349 | 78.8643 | 0.0050182 | 78.9804 | 0.0037926 | 79.0965 | 2.2295 | 79.2126
18.7674 | 79.6111 | 9.9e+37 | 79.6294 | 0.0016764 | 80.7049 | 0.004014 | 80.821 | 0.0041298 | 80.9371 | 0.0046636 | 81.0532 | 0.0037422 | 81.1693 | 0.0030909 | 81.2853 | 0.0051138 | 81.5028 | 0.0043373 | 81.6189 | 0.0036007 | 81.735 | 0.012828 | 81.851 | 0.0049851 | 81.9671 | 0.0052952 | 82.0832 | 0.0038643 | 82.1993 | 0.005611 | 82.3154 | 0.013425 | 82.5329 | 0.0050188 | 82.649 | 0.0037927 | 82.765 | 2.2295 | 82.8811
19.5769 | 83.1781 | 9.9e+37 | 83.1964 | 0.0016768 | 84.2719 | 0.004014 | 84.3879 | 0.00413 | 84.6054 | 0.0046641 | 84.7215 | 0.0037428 | 84.8375 | 0.0030913 | 84.9536 | 0.0051141 | 85.0697 | 0.0043376 | 85.1858 | 0.0036017 | 85.3019 | 0.012831 | 85.418 | 0.004989 | 85.6355 | 0.0052947 | 85.7515 | 0.003864 | 85.8676 | 0.0056119 | 85.9837 | 0.013373 | 86.0998 | 0.0050212 | 86.216 | 0.003793 | 86.332 | 2.2295 | 86.4481
19.3973 | 86.8464 | 9.9e+37 | 86.8647 | 0.001677 | 87.9401 | 0.004014 | 88.0562 | 0.0041305 | 88.1723 | 0.0046639 | 88.2884 | 0.0037425 | 88.4045 | 0.0030915 | 88.5206 | 0.0051143 | 88.7381 | 0.0043379 | 88.8542 | 0.0036013 | 88.9702 | 0.012834 | 89.0863 | 0.0049889 | 89.2023 | 0.0052957 | 89.3184 | 0.0038647 | 89.4345 | 0.0056118 | 89.5505 | 0.013323 | 89.768 | 0.0050192 | 89.8841 | 0.003793 | 90.0002 | 2.2295 | 90.1162
19.1701 | 90.4131 | 9.9e+37 | 90.4314 | 0.0016777 | 91.5069 | 0.0040148 | 91.623 | 0.0041302 | 91.8405 | 0.0046641 | 91.9566 | 0.0037428 | 92.0726 | 0.0030916 | 92.1887 | 0.0051142 | 92.3048 | 0.0043378 | 92.4209 | 0.0036015 | 92.537 | 0.012836 | 92.653 | 0.0049879 | 92.8705 | 0.0052954 | 92.9866 | 0.0038647 | 93.1027 | 0.0056115 | 93.2188 | 0.01331 | 93.3349 | 0.005019 | 93.4509 | 0.0037923 | 93.567 | 2.2295 | 93.683
18.9419 | 94.0813 | 9.9e+37 | 94.0996 | 0.0016779 | 95.175 | 0.0040146 | 95.2911 | 0.0041301 | 95.4072 | 0.004664 | 95.5233 | 0.0037429 | 95.6394 | 0.0030915 | 95.7554 | 0.005114 | 95.9729 | 0.0043375 | 96.089 | 0.0036007 | 96.205 | 0.012838 | 96.3212 | 0.0049891 | 96.4373 | 0.0052956 | 96.5534 | 0.003865 | 96.6695 | 0.0056117 | 96.7856 | 0.013327 | 97.0031 | 0.0050197 | 97.1192 | 0.0037931 | 97.2352 | 2.2295 | 97.3513
19.4181 | 97.6482 | 298.0287 | 97.6664 | 0.0016777 | 98.7441 | 0.0040143 | 98.8602 | 0.0041303 | 99.0777 | 0.0046644 | 99.1938 | 0.0037428 | 99.3099 | 0.0030914 | 99.4259 | 0.0051145 | 99.542 | 0.0043379 | 99.6581 | 0.0036012 | 99.7741 | 0.012841 | 99.8902 | 0.004989 | 100.1077 | 0.0052961 | 100.2238 | 0.0038649 | 100.3399 | 0.0056114 | 100.456 | 0.013327 | 100.5721 | 0.0050193 | 100.6882 | 0.0037925 | 100.8043 | 2.2296 | 100.9203
18.9212 | 101.3186 | 9.9e+37 | 101.3368 | 0.0016774 | 102.4122 | 0.0040145 | 102.5283 | 0.0041301 | 102.6444 | 0.0046644 | 102.7605 | 0.0037427 | 102.8766 | 0.0030915 | 102.9926 | 0.005114 | 103.2101 | 0.0043378 | 103.3262 | 0.0036005 | 103.4423 | 0.012843 | 103.5583 | 0.0049888 | 103.6744 | 0.0052959 | 103.7905 | 0.0038649 | 103.9066 | 0.0056114 | 104.0227 | 0.013322 | 104.2402 | 0.0050192 | 104.3562 | 0.0037925 | 104.4723 | 2.2296 | 104.5884
18.9576 | 104.8853 | 9.9e+37 | 104.9036 | 0.0016774 | 105.979 | 0.0040148 | 106.0951 | 0.0041307 | 106.3126 | 0.0046643 | 106.4286 | 0.0037431 | 106.5448 | 0.0030917 | 106.6609 | 0.0051145 | 106.777 | 0.0043377 | 106.8931 | 0.0036009 | 107.0092 | 0.012846 | 107.1252 | 0.0049892 | 107.3427 | 0.0052963 | 107.4588 | 0.003865 | 107.5749 | 0.0056115 | 107.6909 | 0.013322 | 107.807 | 0.00502 | 107.9231 | 0.003793 | 108.0392 | 2.2296 | 108.1553
19.0238 | 108.5535 | 9.9e+37 | 108.5718 | 0.0016773 | 109.6472 | 0.0040152 | 109.7632 | 0.0041301 | 109.8793 | 0.0046642 | 109.9954 | 0.0037431 | 110.1114 | 0.0030917 | 110.2275 | 0.0051148 | 110.445 | 0.0043379 | 110.5611 | 0.0036007 | 110.6772 | 0.012848 | 110.7933 | 0.0049892 | 110.9093 | 0.0052962 | 111.0254 | 0.003865 | 111.1415 | 0.0056116 | 111.2576 | 0.013327 | 111.4751 | 0.0050201 | 111.5912 | 0.0037924 | 111.7072 | 2.2296 | 111.8233
18.8899 | 112.1202 | 9.9e+37 | 112.1384 | 0.0016774 | 113.2139 | 0.0040149 | 113.33 | 0.0041312 | 113.5474 | 0.0046648 | 113.6635 | 0.0037431 | 113.7796 | 0.0030917 | 113.8957 | 0.005115 | 114.0117 | 0.0043379 | 114.1278 | 0.0036013 | 114.2439 | 0.012849 | 114.3599 | 0.0049894 | 114.5774 | 0.0052965 | 114.6935 | 0.0038653 | 114.8096 | 0.0056122 | 114.9257 | 0.013332 | 115.0418 | 0.0050204 | 115.1579 | 0.0037932 | 115.2739 | 2.2296 | 115.39
18.9646 | 115.7883 | 9.9e+37 | 115.8065 | 0.0016776 | 116.882 | 0.0040154 | 116.9981 | 0.0041309 | 117.1142 | 0.0046646 | 117.2302 | 0.0037441 | 117.3463 | 0.0030926 | 117.4624 | 0.005114 | 117.6799 | 0.0043379 | 117.7959 | 0.0036013 | 117.912 | 0.012852 | 118.0281 | 0.0049895 | 118.1442 | 0.0052964 | 118.2602 | 0.0038655 | 118.3763 | 0.0056121 | 118.4924 | 0.013329 | 118.7099 | 0.0050205 | 118.8259 | 0.0037928 | 118.9472 | 2.2296 | 119.0633
18.4987 | 119.3602 | 9.9e+37 | 119.3784 | 0.0016779 | 120.4558 | 0.0040152 | 120.5719 | 0.0041314 | 120.7893 | 0.0046649 | 120.9054 | 0.0037438 | 121.0215 | 0.0030923 | 121.1376 | 0.0051153 | 121.2537 | 0.0043383 | 121.3697 | 0.0036031 | 121.4858 | 0.012853 | 121.6019 | 0.0049898 | 121.8194 | 0.0052967 | 121.9355 | 0.0038661 | 122.0516 | 0.005612 | 122.1676 | 0.013333 | 122.2837 | 0.0050206 | 122.3998 | 0.0037933 | 122.5159 | 2.2296 | 122.6319
19.0899 | 123.0303 | 9.9e+37 | 123.0537 | 0.0016774 | 124.1291 | 0.0040154 | 124.2452 | 0.0041324 | 124.3612 | 0.0046654 | 124.4773 | 0.0037439 | 124.5934 | 0.0030925 | 124.7095 | 0.0051156 | 124.9269 | 0.0043382 | 125.043 | 0.0036018 | 125.1591 | 0.012854 | 125.2752 | 0.0049894 | 125.3913 | 0.0052968 | 125.5073 | 0.003865 | 125.6234 | 0.0056119 | 125.7395 | 0.013334 | 125.957 | 0.0050205 | 126.073 | 0.0037923 | 126.1891 | 2.2296 | 126.3052

## Standing
Chn 201 | Time | Chn 202 | Time | Chn 134 | Time | Chn 135 | Time | Chn 136 | Time | Chn 137 | Time | Chn 138 | Time | Chn 139 | Time | Chn 140 | Time | Chn 123 | Time | Chn 124 | Time | Chn 125 | Time | Chn 126 | Time | Chn 127 | Time | Chn 128 | Time | Chn 129 | Time | Chn 130 | Time | Chn 131 | Time | Chn 132 | Time | Chn 121 | Time
°C | sec | °C | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
18.7564 | 0 | 18.5036 | 0.018296 | 0.0016637 | 1.0959 | 0.0040052 | 1.212 | 0.004118 | 1.3281 | 0.0046423 | 1.4442 | 0.0037309 | 1.5603 | 0.0030842 | 1.6763 | 0.0051225 | 1.8938 | 0.0043325 | 2.01 | 0.0035853 | 2.1261 | 0.0069801 | 2.2422 | 0.0056522 | 2.3583 | 0.0052665 | 2.4744 | 0.0038551 | 2.5904 | 0.008486 | 2.7065 | 0.005581 | 2.924 | 0.0050062 | 3.04 | 0.0037718 | 3.1561 | 2.2307 | 3.2722
19.2542 | 3.5693 | 18.9672 | 3.5876 | 0.0016633 | 4.6652 | 0.0040054 | 4.7813 | 0.0041185 | 4.9988 | 0.0046425 | 5.1149 | 0.0037306 | 5.231 | 0.0030836 | 5.347 | 0.0051226 | 5.4631 | 0.0043326 | 5.5792 | 0.0035855 | 5.6953 | 0.0069791 | 5.8114 | 0.0056522 | 6.0288 | 0.0052668 | 6.145 | 0.0038553 | 6.2611 | 0.0085317 | 6.3772 | 0.0055816 | 6.4933 | 0.0050068 | 6.6094 | 0.0037724 | 6.7254 | 2.2307 | 6.8415
19.7239 | 7.2398 | 19.3258 | 7.2581 | 0.0016641 | 8.3357 | 0.0040059 | 8.4518 | 0.004118 | 8.5679 | 0.0046432 | 8.684 | 0.0037314 | 8.8001 | 0.0030849 | 8.9161 | 0.0051235 | 9.1336 | 0.0043331 | 9.2497 | 0.0035864 | 9.3657 | 0.0069809 | 9.4818 | 0.0056518 | 9.5979 | 0.0052669 | 9.714 | 0.0038556 | 9.8301 | 0.00848 | 9.9461 | 0.0055815 | 10.1636 | 0.0050065 | 10.2797 | 0.0037725 | 10.3958 | 2.2307 | 10.5119
19.4607 | 10.8088 | 19.3037 | 10.8271 | 0.0016644 | 11.9047 | 0.004006 | 12.0207 | 0.0041179 | 12.2382 | 0.0046428 | 12.3544 | 0.0037317 | 12.4704 | 0.0030845 | 12.5865 | 0.0051241 | 12.7026 | 0.0043328 | 12.8187 | 0.0035858 | 12.9347 | 0.0069801 | 13.0508 | 0.0056508 | 13.2683 | 0.0052666 | 13.3844 | 0.0038555 | 13.5005 | 0.0084712 | 13.6165 | 0.0055819 | 13.7326 | 0.0050069 | 13.8487 | 0.0037727 | 13.9648 | 2.2308 | 14.0808
20.1738 | 14.4825 | 19.6258 | 14.5008 | 0.0016642 | 15.5784 | 0.0040061 | 15.6945 | 0.0041179 | 15.8106 | 0.0046433 | 15.9267 | 0.0037317 | 16.0427 | 0.0030843 | 16.1588 | 0.0051234 | 16.3763 | 0.0043327 | 16.4924 | 0.0035851 | 16.6085 | 0.0069802 | 16.7246 | 0.0056505 | 16.8407 | 0.0052665 | 16.9567 | 0.003855 | 17.0728 | 0.0084926 | 17.1889 | 0.0055813 | 17.4064 | 0.0050061 | 17.5225 | 0.0037724 | 17.6386 | 2.2308 | 17.7546
19.2826 | 18.0516 | 19.659 | 18.0698 | 0.0016639 | 19.1475 | 0.0040057 | 19.2635 | 0.0041177 | 19.4811 | 0.0046427 | 19.5971 | 0.0037309 | 19.7132 | 0.003084 | 19.8293 | 0.0051231 | 19.9453 | 0.0043325 | 20.0614 | 0.0035852 | 20.1775 | 0.0069801 | 20.2935 | 0.0056499 | 20.511 | 0.0052663 | 20.6271 | 0.0038555 | 20.7432 | 0.0085271 | 20.8593 | 0.0055812 | 20.9754 | 0.0050064 | 21.0914 | 0.0037727 | 21.2075 | 2.2308 | 21.3236
19.9584 | 21.7219 | 19.5882 | 21.7401 | 0.0016639 | 22.8178 | 0.0040059 | 22.9338 | 0.0041183 | 23.0499 | 0.0046426 | 23.166 | 0.0037306 | 23.2821 | 0.0030842 | 23.3982 | 0.0051225 | 23.6156 | 0.0043326 | 23.7317 | 0.0035855 | 23.8478 | 0.0069795 | 23.9639 | 0.0056498 | 24.08 | 0.0052666 | 24.196 | 0.003855 | 24.3121 | 0.0085752 | 24.4282 | 0.0055815 | 24.6477 | 0.0050061 | 24.7638 | 0.0037727 | 24.8799 | 2.2308 | 24.996
19.3561 | 25.2929 | 19.3631 | 25.3112 | 0.001664 | 26.3889 | 0.0040062 | 26.505 | 0.0041182 | 26.7225 | 0.0046426 | 26.8386 | 0.0037308 | 26.9546 | 0.0030841 | 27.0707 | 0.0051233 | 27.1868 | 0.0043327 | 27.3028 | 0.0035857 | 27.4189 | 0.0069809 | 27.535 | 0.0056492 | 27.7525 | 0.0052664 | 27.8686 | 0.0038545 | 27.9846 | 0.008559 | 28.1007 | 0.0055813 | 28.2168 | 0.0050062 | 28.3329 | 0.0037729 | 28.4489 | 2.2308 | 28.565
20.0706 | 28.9634 | 19.6885 | 28.9816 | 0.001664 | 30.0593 | 0.004006 | 30.1753 | 0.004118 | 30.2914 | 0.004643 | 30.4075 | 0.0037312 | 30.5236 | 0.0030843 | 30.6396 | 0.0051226 | 30.8571 | 0.0043327 | 30.9732 | 0.0035858 | 31.0893 | 0.0069807 | 31.2054 | 0.0056489 | 31.3215 | 0.0052667 | 31.4375 | 0.0038552 | 31.5536 | 0.0084652 | 31.6697 | 0.0055815 | 31.8872 | 0.0050066 | 32.0032 | 0.0037729 | 32.1193 | 2.2308 | 32.2354
19.8225 | 32.5323 | 19.5957 | 32.5506 | 0.0016642 | 33.6282 | 0.0040062 | 33.7443 | 0.0041186 | 33.9618 | 0.0046426 | 34.0778 | 0.0037311 | 34.1939 | 0.0030847 | 34.31 | 0.005123 | 34.4261 | 0.0043332 | 34.5422 | 0.0035863 | 34.6582 | 0.0069807 | 34.7743 | 0.0056485 | 34.9918 | 0.0052668 | 35.1079 | 0.0038548 | 35.224 | 0.0084316 | 35.34 | 0.0055815 | 35.4561 | 0.0050063 | 35.5722 | 0.0037729 | 35.6883 | 2.2308 | 35.8043
19.5047 | 36.2026 | 19.7324 | 36.2209 | 0.0016642 | 37.2985 | 0.004006 | 37.4146 | 0.004118 | 37.5307 | 0.0046432 | 37.6468 | 0.0037307 | 37.7628 | 0.0030847 | 37.8789 | 0.005123 | 38.0964 | 0.0043328 | 38.2125 | 0.0035873 | 38.3286 | 0.0069805 | 38.4446 | 0.005648 | 38.5607 | 0.0052668 | 38.6768 | 0.003855 | 38.7929 | 0.0084101 | 38.9089 | 0.0055816 | 39.1265 | 0.0050066 | 39.2425 | 0.003773 | 39.3586 | 2.2308 | 39.4747
19.2042 | 39.7716 | 19.1295 | 39.7899 | 0.0016638 | 40.8674 | 0.0040063 | 40.9835 | 0.0041177 | 41.201 | 0.0046425 | 41.3171 | 0.0037307 | 41.4332 | 0.0030844 | 41.5493 | 0.0051224 | 41.6653 | 0.0043327 | 41.7814 | 0.0035862 | 41.8975 | 0.0069805 | 42.0136 | 0.0056481 | 42.231 | 0.0052668 | 42.3471 | 0.003855 | 42.4632 | 0.0084018 | 42.5792 | 0.0055817 | 42.6953 | 0.0050065 | 42.8114 | 0.0037728 | 42.9275 | 2.2308 | 43.0436
19.7371 | 43.4423 | 20.1112 | 43.4606 | 0.0016641 | 44.5381 | 0.004006 | 44.6542 | 0.0041179 | 44.7703 | 0.0046428 | 44.8864 | 0.003731 | 45.0025 | 0.0030849 | 45.1186 | 0.0051229 | 45.336 | 0.0043322 | 45.4521 | 0.003585 | 45.5682 | 0.0069803 | 45.6843 | 0.005647 | 45.8004 | 0.0052664 | 45.9164 | 0.0038552 | 46.0325 | 0.0084227 | 46.1486 | 0.0055814 | 46.3661 | 0.0050066 | 46.4822 | 0.003773 | 46.5982 | 2.2308 | 46.7143
19.6266 | 47.0113 | 20.4737 | 47.0295 | 0.0016636 | 48.1071 | 0.0040063 | 48.2232 | 0.0041176 | 48.4407 | 0.0046426 | 48.5568 | 0.0037306 | 48.6728 | 0.0030849 | 48.7889 | 0.0051227 | 48.905 | 0.0043319 | 49.0211 | 0.0035855 | 49.1372 | 0.0069803 | 49.2533 | 0.0056468 | 49.4708 | 0.0052662 | 49.5868 | 0.0038552 | 49.7029 | 0.0083945 | 49.819 | 0.005581 | 49.9351 | 0.0050067 | 50.0512 | 0.0037729 | 50.1672 | 2.2308 | 50.2833
19.2254 | 50.6815 | 19.2927 | 50.6998 | 0.0016634 | 51.7774 | 0.0040059 | 51.8935 | 0.0041173 | 52.0096 | 0.0046426 | 52.1257 | 0.0037304 | 52.2417 | 0.0030845 | 52.3578 | 0.0051226 | 52.5753 | 0.0043325 | 52.6914 | 0.0035854 | 52.8074 | 0.0069801 | 52.9235 | 0.0056465 | 53.0396 | 0.0052663 | 53.1556 | 0.003855 | 53.2717 | 0.0083863 | 53.3878 | 0.0055809 | 53.6054 | 0.0050065 | 53.7214 | 0.0037731 | 53.8375 | 2.2308 | 53.9536
19.58 | 54.2504 | 19.5995 | 54.2687 | 0.0016635 | 55.3464 | 0.0040056 | 55.4625 | 0.0041177 | 55.68 | 0.0046429 | 55.7961 | 0.0037305 | 55.9121 | 0.003084 | 56.0282 | 0.005122 | 56.1443 | 0.0043321 | 56.2604 | 0.0035848 | 56.3764 | 0.0069802 | 56.4925 | 0.0056462 | 56.71 | 0.0052665 | 56.8261 | 0.0038549 | 56.9422 | 0.0083792 | 57.0582 | 0.0055814 | 57.1743 | 0.0050066 | 57.2904 | 0.0037735 | 57.4088 | 2.2308 | 57.5249
19.3587 | 57.9233 | 19.6249 | 57.9415 | 0.0016638 | 59.0191 | 0.0040063 | 59.1351 | 0.0041179 | 59.2512 | 0.0046425 | 59.3673 | 0.0037309 | 59.4834 | 0.0030842 | 59.5995 | 0.0051229 | 59.817 | 0.0043324 | 59.9331 | 0.0035852 | 60.0491 | 0.006981 | 60.1652 | 0.0056461 | 60.2812 | 0.0052666 | 60.3973 | 0.0038553 | 60.5134 | 0.0083822 | 60.6295 | 0.0055817 | 60.8469 | 0.0050068 | 60.963 | 0.0037735 | 61.0791 | 2.2308 | 61.1952
19.6202 | 61.4925 | 19.9246 | 61.5156 | 0.0016638 | 62.5932 | 0.0040062 | 62.7093 | 0.0041176 | 62.9268 | 0.0046431 | 63.0428 | 0.0037307 | 63.1589 | 0.0030846 | 63.275 | 0.0051228 | 63.391 | 0.0043329 | 63.5071 | 0.0035852 | 63.6232 | 0.0069813 | 63.7393 | 0.0056459 | 63.9568 | 0.0052666 | 64.0729 | 0.0038549 | 64.189 | 0.0084018 | 64.305 | 0.0055814 | 64.4211 | 0.0050075 | 64.5372 | 0.0037738 | 64.6533 | 2.2308 | 64.7694
19.7889 | 65.1676 | 18.8405 | 65.1859 | 0.0016644 | 66.2635 | 0.0040062 | 66.3795 | 0.004118 | 66.4956 | 0.0046433 | 66.6117 | 0.003731 | 66.7278 | 0.0030846 | 66.8439 | 0.0051226 | 67.0614 | 0.0043324 | 67.1775 | 0.0035852 | 67.2935 | 0.0069811 | 67.4096 | 0.0056459 | 67.5257 | 0.0052668 | 67.6419 | 0.0038553 | 67.758 | 0.0084247 | 67.8741 | 0.0055814 | 68.0916 | 0.005007 | 68.2076 | 0.0037742 | 68.3237 | 2.2308 | 68.4398
19.902 | 68.7366 | 20.0517 | 68.7549 | 0.0016648 | 69.8325 | 0.0040066 | 69.9486 | 0.0041176 | 70.1661 | 0.0046435 | 70.2822 | 0.0037309 | 70.3982 | 0.0030842 | 70.5143 | 0.0051224 | 70.6304 | 0.0043327 | 70.7465 | 0.0035856 | 70.8625 | 0.0069816 | 70.9787 | 0.0056459 | 71.1961 | 0.0052665 | 71.3122 | 0.0038552 | 71.4283 | 0.0084289 | 71.5444 | 0.0055819 | 71.6604 | 0.005007 | 71.7766 | 0.0037739 | 71.8926 | 2.2308 | 72.0087
19.3291 | 72.4073 | 19.2628 | 72.4255 | 0.0016647 | 73.5031 | 0.0040067 | 73.6192 | 0.0041179 | 73.7352 | 0.0046436 | 73.8514 | 0.0037311 | 73.9675 | 0.0030846 | 74.0835 | 0.0051229 | 74.301 | 0.0043327 | 74.4171 | 0.0035859 | 74.5331 | 0.0069815 | 74.6492 | 0.0056461 | 74.7653 | 0.0052673 | 74.8814 | 0.0038557 | 74.9975 | 0.0098142 | 75.1136 | 0.0055816 | 75.3311 | 0.0050074 | 75.4471 | 0.0037741 | 75.5632 | 2.2308 | 75.6793
20.0517 | 75.9795 | 20.1391 | 75.9978 | 0.0016647 | 77.0754 | 0.0040068 | 77.1915 | 0.004118 | 77.4089 | 0.0046438 | 77.525 | 0.0037311 | 77.6411 | 0.0030843 | 77.7572 | 0.0051227 | 77.8733 | 0.004333 | 77.9894 | 0.003586 | 78.1054 | 0.0069818 | 78.2215 | 0.005646 | 78.439 | 0.0052668 | 78.555 | 0.0038553 | 78.6711 | 0.0095618 | 78.7872 | 0.0055816 | 78.9033 | 0.0050071 | 79.0194 | 0.003774 | 79.1354 | 2.2308 | 79.2515
19.0884 | 79.6498 | 19.6402 | 79.6681 | 0.0016647 | 80.7457 | 0.0040065 | 80.8618 | 0.0041177 | 80.9778 | 0.0046439 | 81.0939 | 0.0037313 | 81.21 | 0.0030848 | 81.3261 | 0.0051231 | 81.5436 | 0.004333 | 81.6597 | 0.003586 | 81.7757 | 0.0069811 | 81.8918 | 0.0056459 | 82.0079 | 0.005267 | 82.124 | 0.0038554 | 82.2401 | 0.0095693 | 82.3561 | 0.0055815 | 82.5736 | 0.0050077 | 82.6897 | 0.0037741 | 82.8058 | 2.2308 | 82.9218
19.97 | 83.2187 | 19.8622 | 83.237 | 0.0016652 | 84.3146 | 0.0040068 | 84.4307 | 0.0041178 | 84.6482 | 0.0046441 | 84.7643 | 0.0037312 | 84.8804 | 0.0030845 | 84.9964 | 0.0051229 | 85.1125 | 0.0043328 | 85.2286 | 0.0035857 | 85.3446 | 0.0069805 | 85.4607 | 0.0056458 | 85.6782 | 0.0052669 | 85.7943 | 0.0038553 | 85.9104 | 0.0095764 | 86.0264 | 0.0055813 | 86.1426 | 0.0050071 | 86.2587 | 0.0037738 | 86.3748 | 2.2308 | 86.4909
19.3321 | 86.8892 | 19.1106 | 86.9075 | 0.0016649 | 87.985 | 0.0040069 | 88.1011 | 0.0041178 | 88.2172 | 0.0046439 | 88.3333 | 0.0037313 | 88.4494 | 0.0030843 | 88.5655 | 0.0051228 | 88.783 | 0.0043326 | 88.8991 | 0.0035849 | 89.0151 | 0.0069809 | 89.1312 | 0.0056459 | 89.2473 | 0.0052672 | 89.3634 | 0.0038555 | 89.4795 | 0.0095817 | 89.5955 | 0.0055811 | 89.8131 | 0.0050073 | 89.9291 | 0.003773 | 90.0452 | 2.2308 | 90.1612
19.5119 | 90.4583 | 18.6453 | 90.4765 | 0.0016649 | 91.5541 | 0.0040062 | 91.6701 | 0.0041179 | 91.8876 | 0.004644 | 92.0037 | 0.0037314 | 92.1198 | 0.0030839 | 92.2359 | 0.005123 | 92.352 | 0.0043327 | 92.4681 | 0.0035846 | 92.5841 | 0.0069811 | 92.7002 | 0.0056452 | 92.9177 | 0.005267 | 93.0338 | 0.0038553 | 93.1499 | 0.0095844 | 93.2659 | 0.0055815 | 93.382 | 0.0050071 | 93.4981 | 0.0037728 | 93.6142 | 2.2308 | 93.7302
20.2436 | 94.1285 | 19.6248 | 94.1468 | 0.0016651 | 95.2243 | 0.0040065 | 95.3404 | 0.004118 | 95.4565 | 0.0046437 | 95.5726 | 0.0037312 | 95.6886 | 0.0030846 | 95.8047 | 0.005123 | 96.0222 | 0.0043328 | 96.1382 | 0.003584 | 96.2543 | 0.006981 | 96.3704 | 0.0056451 | 96.4865 | 0.0052667 | 96.6026 | 0.0038552 | 96.7187 | 0.0095802 | 96.8348 | 0.0055809 | 97.0522 | 0.005007 | 97.1683 | 0.0037732 | 97.2844 | 2.2308 | 97.4005
19.864 | 97.6973 | 19.5623 | 97.7156 | 0.001665 | 98.7932 | 0.0040063 | 98.9093 | 0.0041179 | 99.1268 | 0.0046436 | 99.2428 | 0.0037312 | 99.3589 | 0.0030844 | 99.475 | 0.0051231 | 99.5911 | 0.0043324 | 99.7072 | 0.0035849 | 99.8232 | 0.0069811 | 99.9393 | 0.0056442 | 100.1568 | 0.0052663 | 100.2729 | 0.003855 | 100.3889 | 0.0095835 | 100.5051 | 0.0055808 | 100.6212 | 0.0050067 | 100.7372 | 0.0037732 | 100.8533 | 2.2308 | 100.9694
19.7459 | 101.3677 | 19.9469 | 101.3859 | 0.0016644 | 102.4634 | 0.0040063 | 102.5795 | 0.0041179 | 102.6956 | 0.0046436 | 102.8117 | 0.003731 | 102.9277 | 0.0030842 | 103.0438 | 0.0051224 | 103.2613 | 0.0043322 | 103.3774 | 0.0035842 | 103.4935 | 0.0069807 | 103.6095 | 0.0056445 | 103.7256 | 0.0052665 | 103.8417 | 0.0038549 | 103.9577 | 0.0095901 | 104.0738 | 0.0055806 | 104.2913 | 0.0050068 | 104.4074 | 0.0037732 | 104.5235 | 2.2308 | 104.6396
19.3699 | 104.9364 | 19.7855 | 104.9547 | 0.0016643 | 106.0322 | 0.0040059 | 106.1483 | 0.0041178 | 106.3658 | 0.0046437 | 106.4819 | 0.003731 | 106.598 | 0.0030844 | 106.7142 | 0.0051231 | 106.8302 | 0.0043325 | 106.9463 | 0.0035848 | 107.0624 | 0.0069809 | 107.1784 | 0.0056444 | 107.3959 | 0.0052662 | 107.512 | 0.0038553 | 107.6281 | 0.0096216 | 107.7441 | 0.005581 | 107.8602 | 0.0050068 | 107.9763 | 0.0037737 | 108.0924 | 2.2308 | 108.2084
19.5457 | 108.6066 | 18.8358 | 108.6249 | 0.0016646 | 109.7024 | 0.0040065 | 109.8185 | 0.0041181 | 109.9346 | 0.0046436 | 110.0506 | 0.003731 | 110.1667 | 0.0030845 | 110.2828 | 0.0051228 | 110.5003 | 0.0043326 | 110.6164 | 0.0035848 | 110.7324 | 0.006981 | 110.8485 | 0.0056441 | 110.9646 | 0.0052667 | 111.0807 | 0.0038556 | 111.1968 | 0.0096824 | 111.3128 | 0.005581 | 111.5303 | 0.005007 | 111.6464 | 0.0037738 | 111.7625 | 2.2308 | 111.8785
19.9495 | 112.1754 | 19.6442 | 112.1936 | 0.0016647 | 113.2712 | 0.0040061 | 113.3873 | 0.0041179 | 113.6048 | 0.0046437 | 113.7209 | 0.0037309 | 113.8369 | 0.0030844 | 113.953 | 0.0051233 | 114.0691 | 0.0043328 | 114.1852 | 0.0035854 | 114.3013 | 0.0069815 | 114.4173 | 0.005644 | 114.6348 | 0.0052665 | 114.7509 | 0.0038556 | 114.8669 | 0.0097111 | 114.983 | 0.0055812 | 115.0991 | 0.0050067 | 115.2152 | 0.003774 | 115.3313 | 2.2308 | 115.4473
19.2386 | 115.8456 | 19.7011 | 115.8638 | 0.0016646 | 116.945 | 0.0040066 | 117.0611 | 0.0041181 | 117.1772 | 0.0046438 | 117.2933 | 0.003731 | 117.4094 | 0.0030847 | 117.5255 | 0.0051228 | 117.7429 | 0.0043327 | 117.859 | 0.0035855 | 117.9751 | 0.0069813 | 118.0911 | 0.0056439 | 118.2072 | 0.0052663 | 118.3233 | 0.0038561 | 118.4394 | 0.009743 | 118.5554 | 0.0055812 | 118.7729 | 0.0050066 | 118.889 | 0.0037743 | 119.0051 | 2.2308 | 119.1212
19.7847 | 119.4182 | 20.1876 | 119.4365 | 0.0016647 | 120.514 | 0.0040067 | 120.6301 | 0.0041177 | 120.8475 | 0.004644 | 120.9636 | 0.0037312 | 121.0797 | 0.0030846 | 121.1958 | 0.0051233 | 121.3119 | 0.0043332 | 121.428 | 0.0035855 | 121.544 | 0.0069816 | 121.6601 | 0.0056439 | 121.8776 | 0.0052664 | 121.9937 | 0.0038564 | 122.1098 | 0.0097601 | 122.2258 | 0.0055812 | 122.3419 | 0.0050067 | 122.458 | 0.0037742 | 122.5741 | 2.2308 | 122.6901
19.4949 | 123.0948 | 19.3513 | 123.113 | 0.0016646 | 124.1906 | 0.0040068 | 124.3066 | 0.0041179 | 124.4227 | 0.0046439 | 124.5388 | 0.0037307 | 124.6549 | 0.0030847 | 124.771 | 0.0051234 | 124.9885 | 0.004333 | 125.1045 | 0.003585 | 125.2207 | 0.0069815 | 125.3367 | 0.0056435 | 125.4528 | 0.0052665 | 125.5689 | 0.0038563 | 125.685 | 0.009764 | 125.801 | 0.0055811 | 126.0185 | 0.0050066 | 126.1346 | 0.0037747 | 126.2507 | 2.2308 | 126.3667