## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9169 | 0 | 0.010416 | 0.11615 | 0.013647 | 0.23226 | 0.015114 | 0.34833 | 0.01322 | 0.46439 | 0.010916 | 0.58046 | 0.0083116 | 0.69653 | 0.013501 | 0.81262 | 0.014717 | 1.0301 | 0.013411 | 1.1462 | 0.013686 | 1.2622 | 0.014673 | 1.3783 | 0.011623 | 1.4944 | 0.01035 | 1.6105 | 0.010893 | 1.7266 | 0.012448 | 1.8427 | 0.0096447 | 2.0602 | 0.014707 | 2.1763 | 0.0089274 | 2.2923 | 0.013017 | 2.4084 | 2.9247 | 2.5245 | 0.012477 | 2.6406 | 0.013682 | 2.7567 | 0.011257 | 2.8728 | 0.012648 | 3.0902 | 0.0082088 | 3.2063 | 0.01178 | 3.3224 | 0.011416 | 3.4385 | 0.0072889 | 3.5546 | 0.0096937 | 3.6706 | 0.0084841 | 3.7867 | 0.0081388 | 3.9028 | 0.00053852 | 4.1203 | 0.0073128 | 4.2363 | -0.0002049 | 4.3524
2.9169 | 6.9997 | 0.010416 | 7.1158 | 0.013649 | 7.2319 | 0.015116 | 7.3479 | 0.013221 | 7.464 | 0.010917 | 7.5801 | 0.0083115 | 7.6962 | 0.013503 | 7.8122 | 0.014713 | 8.0297 | 0.013408 | 8.1458 | 0.013684 | 8.2619 | 0.014672 | 8.378 | 0.011621 | 8.4941 | 0.010349 | 8.6101 | 0.010891 | 8.7262 | 0.012447 | 8.8423 | 0.0096432 | 9.0598 | 0.014705 | 9.1759 | 0.0089259 | 9.292 | 0.013015 | 9.4081 | 2.9247 | 9.5242 | 0.012475 | 9.6402 | 0.013681 | 9.7563 | 0.011255 | 9.8724 | 0.012647 | 10.0898 | 0.0082078 | 10.206 | 0.011779 | 10.3221 | 0.011414 | 10.4381 | 0.0072902 | 10.5542 | 0.0096929 | 10.6703 | 0.0084826 | 10.7864 | 0.0081372 | 10.9024 | 0.00053854 | 11.1199 | 0.007312 | 11.236 | -0.00020501 | 11.3521
2.9169 | 13.9997 | 0.010415 | 14.1157 | 0.013646 | 14.2318 | 0.015117 | 14.3479 | 0.013221 | 14.464 | 0.010919 | 14.5801 | 0.008312 | 14.6962 | 0.013503 | 14.8122 | 0.014714 | 15.0297 | 0.013407 | 15.1458 | 0.013682 | 15.2619 | 0.01467 | 15.378 | 0.01162 | 15.494 | 0.010348 | 15.6101 | 0.010889 | 15.7262 | 0.012445 | 15.8423 | 0.0096425 | 16.0598 | 0.014704 | 16.1758 | 0.0089251 | 16.2919 | 0.013014 | 16.408 | 2.9247 | 16.5241 | 0.012473 | 16.6402 | 0.013679 | 16.7562 | 0.011254 | 16.8723 | 0.012646 | 17.0898 | 0.0082058 | 17.2058 | 0.011778 | 17.3219 | 0.011413 | 17.438 | 0.0072901 | 17.5541 | 0.0096925 | 17.6702 | 0.0084825 | 17.7862 | 0.008137 | 17.9023 | 0.00053838 | 18.1198 | 0.0073125 | 18.2359 | -0.00020483 | 18.352
2.9169 | 20.9997 | 0.010416 | 21.1158 | 0.013647 | 21.2319 | 0.015117 | 21.3479 | 0.013221 | 21.464 | 0.010919 | 21.5801 | 0.0083118 | 21.6962 | 0.013499 | 21.8123 | 0.014712 | 22.0298 | 0.013406 | 22.1458 | 0.013681 | 22.2619 | 0.01467 | 22.378 | 0.011618 | 22.4941 | 0.010347 | 22.6102 | 0.010889 | 22.7262 | 0.012444 | 22.8423 | 0.0096417 | 23.0598 | 0.014702 | 23.1759 | 0.0089238 | 23.292 | 0.013013 | 23.4081 | 2.9247 | 23.5242 | 0.012473 | 23.6402 | 0.013677 | 23.7563 | 0.011253 | 23.8724 | 0.012645 | 24.0899 | 0.0082051 | 24.206 | 0.011777 | 24.322 | 0.011414 | 24.4381 | 0.0072869 | 24.5542 | 0.0096914 | 24.6702 | 0.008481 | 24.7863 | 0.0081357 | 24.9024 | 0.00053802 | 25.1199 | 0.0073116 | 25.236 | -0.00020604 | 25.3522
2.9169 | 27.9997 | 0.010415 | 28.1158 | 0.013648 | 28.2319 | 0.015116 | 28.3479 | 0.01322 | 28.464 | 0.010917 | 28.5801 | 0.008311 | 28.6961 | 0.013501 | 28.8122 | 0.014712 | 29.0297 | 0.013405 | 29.1458 | 0.013678 | 29.2618 | 0.014666 | 29.3779 | 0.011616 | 29.494 | 0.010345 | 29.6101 | 0.010886 | 29.7261 | 0.012441 | 29.8422 | 0.0096405 | 30.0597 | 0.014699 | 30.1758 | 0.0089227 | 30.292 | 0.01301 | 30.4081 | 2.9247 | 30.5242 | 0.012471 | 30.6403 | 0.013675 | 30.7563 | 0.011252 | 30.8724 | 0.012644 | 31.0899 | 0.008204 | 31.206 | 0.011775 | 31.3221 | 0.01141 | 31.4381 | 0.0072891 | 31.5542 | 0.0096907 | 31.6703 | 0.0084803 | 31.7864 | 0.0081345 | 31.9025 | 0.00053777 | 32.1199 | 0.0073114 | 32.236 | -0.00020556 | 32.3521
2.9169 | 34.9997 | 0.010414 | 35.1158 | 0.013645 | 35.2318 | 0.015116 | 35.348 | 0.013219 | 35.4641 | 0.010914 | 35.5802 | 0.008312 | 35.6963 | 0.013502 | 35.8124 | 0.014712 | 36.0299 | 0.013405 | 36.1459 | 0.013678 | 36.262 | 0.014667 | 36.3781 | 0.011616 | 36.4941 | 0.010344 | 36.6102 | 0.010886 | 36.7263 | 0.01244 | 36.8424 | 0.0096399 | 37.0599 | 0.014698 | 37.176 | 0.0089222 | 37.2921 | 0.01301 | 37.4081 | 2.9247 | 37.5242 | 0.01247 | 37.6403 | 0.013674 | 37.7564 | 0.011252 | 37.8725 | 0.012643 | 38.09 | 0.0082033 | 38.206 | 0.011775 | 38.3221 | 0.011413 | 38.4382 | 0.0072866 | 38.5543 | 0.00969 | 38.6704 | 0.008481 | 38.7864 | 0.0081342 | 38.9025 | 0.0005374 | 39.12 | 0.0073116 | 39.2361 | -0.0002058 | 39.3522
2.9169 | 41.9997 | 0.010414 | 42.1158 | 0.013646 | 42.2319 | 0.015117 | 42.3479 | 0.013219 | 42.464 | 0.010918 | 42.5801 | 0.0083114 | 42.6962 | 0.013499 | 42.8123 | 0.014712 | 43.0297 | 0.013405 | 43.1458 | 0.013677 | 43.2619 | 0.014666 | 43.3779 | 0.011616 | 43.494 | 0.010345 | 43.6101 | 0.010886 | 43.7262 | 0.01244 | 43.8423 | 0.0096397 | 44.0598 | 0.014698 | 44.1759 | 0.0089223 | 44.2919 | 0.013009 | 44.408 | 2.9247 | 44.5241 | 0.01247 | 44.6402 | 0.013673 | 44.7562 | 0.011252 | 44.8723 | 0.012644 | 45.0898 | 0.0082016 | 45.2059 | 0.011774 | 45.322 | 0.011411 | 45.4381 | 0.0072888 | 45.5543 | 0.0096916 | 45.6704 | 0.0084807 | 45.7864 | 0.0081345 | 45.9025 | 0.00053724 | 46.12 | 0.0073122 | 46.2361 | -0.00020565 | 46.3521
2.9169 | 48.9997 | 0.010414 | 49.1158 | 0.013644 | 49.2319 | 0.015117 | 49.3479 | 0.013219 | 49.464 | 0.010916 | 49.5801 | 0.0083115 | 49.6962 | 0.013499 | 49.8123 | 0.014713 | 50.0297 | 0.013407 | 50.1458 | 0.013677 | 50.2619 | 0.014668 | 50.378 | 0.011617 | 50.4941 | 0.010345 | 50.6103 | 0.010887 | 50.7263 | 0.012441 | 50.8424 | 0.0096405 | 51.0599 | 0.0147 | 51.176 | 0.0089232 | 51.2921 | 0.013011 | 51.4081 | 2.9247 | 51.5242 | 0.01247 | 51.6403 | 0.013674 | 51.7564 | 0.011253 | 51.8725 | 0.012644 | 52.09 | 0.008203 | 52.2061 | 0.011776 | 52.3221 | 0.011413 | 52.4382 | 0.0072891 | 52.5543 | 0.0096917 | 52.6704 | 0.0084818 | 52.7865 | 0.008136 | 52.9025 | 0.00053728 | 53.12 | 0.0073132 | 53.2361 | -0.00020536 | 53.3522
2.9169 | 55.9997 | 0.010415 | 56.1158 | 0.013644 | 56.2319 | 0.015116 | 56.3479 | 0.013218 | 56.464 | 0.010914 | 56.5801 | 0.0083116 | 56.6962 | 0.0135 | 56.8123 | 0.014713 | 57.0297 | 0.013406 | 57.1458 | 0.013677 | 57.2619 | 0.014669 | 57.378 | 0.011618 | 57.494 | 0.010346 | 57.6101 | 0.010887 | 57.7262 | 0.012442 | 57.8423 | 0.009641 | 58.0598 | 0.014699 | 58.1759 | 0.0089225 | 58.292 | 0.013011 | 58.408 | 2.9247 | 58.5241 | 0.012469 | 58.6402 | 0.013675 | 58.7563 | 0.011253 | 58.8723 | 0.012644 | 59.0898 | 0.0082029 | 59.2059 | 0.011775 | 59.322 | 0.011413 | 59.4381 | 0.0072887 | 59.5542 | 0.0096916 | 59.6703 | 0.0084815 | 59.7863 | 0.0081353 | 59.9024 | 0.00053719 | 60.1199 | 0.0073129 | 60.2359 | -0.00020589 | 60.352
2.9169 | 62.9997 | 0.010415 | 63.1158 | 0.013645 | 63.2319 | 0.015117 | 63.3479 | 0.01322 | 63.464 | 0.010917 | 63.5801 | 0.008311 | 63.6962 | 0.013502 | 63.8123 | 0.014712 | 64.0297 | 0.013405 | 64.1458 | 0.013675 | 64.2619 | 0.014665 | 64.378 | 0.011616 | 64.494 | 0.010344 | 64.6101 | 0.010885 | 64.7262 | 0.012439 | 64.8423 | 0.0096399 | 65.0598 | 0.014698 | 65.1759 | 0.008922 | 65.292 | 0.013009 | 65.4081 | 2.9247 | 65.5241 | 0.012467 | 65.6403 | 0.013672 | 65.7564 | 0.011251 | 65.8725 | 0.012643 | 66.09 | 0.0082018 | 66.2061 | 0.011774 | 66.3221 | 0.01141 | 66.4382 | 0.0072887 | 66.5543 | 0.0096912 | 66.6704 | 0.0084809 | 66.7864 | 0.0081345 | 66.9025 | 0.0005371 | 67.12 | 0.0073123 | 67.2361 | -0.00020528 | 67.3521
2.9169 | 69.9997 | 0.010414 | 70.1157 | 0.013644 | 70.2318 | 0.015115 | 70.3479 | 0.013219 | 70.464 | 0.010918 | 70.5801 | 0.0083118 | 70.7005 | 0.013499 | 70.8166 | 0.014709 | 71.0341 | 0.013403 | 71.1502 | 0.013674 | 71.2663 | 0.014666 | 71.3823 | 0.011614 | 71.4984 | 0.010343 | 71.6145 | 0.010884 | 71.7306 | 0.012439 | 71.8467 | 0.0096388 | 72.0642 | 0.014697 | 72.1803 | 0.0089206 | 72.2963 | 0.013009 | 72.4124 | 2.9247 | 72.5285 | 0.012467 | 72.6445 | 0.013671 | 72.7606 | 0.011251 | 72.8767 | 0.012642 | 73.0942 | 0.0082008 | 73.2102 | 0.011775 | 73.3263 | 0.011413 | 73.4424 | 0.0072875 | 73.5585 | 0.0096912 | 73.6745 | 0.0084812 | 73.7906 | 0.0081351 | 73.9067 | 0.00053756 | 74.1242 | 0.0073126 | 74.2402 | -0.00020593 | 74.3563
2.9169 | 76.9997 | 0.010414 | 77.1158 | 0.013644 | 77.2318 | 0.015113 | 77.3479 | 0.013218 | 77.464 | 0.010915 | 77.5801 | 0.0083118 | 77.6962 | 0.013497 | 77.8123 | 0.014711 | 78.0298 | 0.013404 | 78.1458 | 0.013676 | 78.2619 | 0.014667 | 78.378 | 0.011617 | 78.494 | 0.010344 | 78.6101 | 0.010886 | 78.7262 | 0.01244 | 78.8423 | 0.0096398 | 79.0598 | 0.014698 | 79.1758 | 0.0089218 | 79.2919 | 0.013009 | 79.408 | 2.9247 | 79.5241 | 0.012467 | 79.6402 | 0.013673 | 79.7562 | 0.011251 | 79.8723 | 0.012642 | 80.0898 | 0.0082016 | 80.2059 | 0.011775 | 80.322 | 0.011412 | 80.438 | 0.0072885 | 80.5541 | 0.0096908 | 80.6702 | 0.0084817 | 80.7943 | 0.0081353 | 80.9104 | 0.00053718 | 81.1279 | 0.0073123 | 81.244 | -0.00020547 | 81.3601
2.9169 | 83.9997 | 0.010413 | 84.1158 | 0.013642 | 84.2319 | 0.015112 | 84.3479 | 0.013218 | 84.464 | 0.010911 | 84.5801 | 0.0083102 | 84.6961 | 0.013499 | 84.8122 | 0.014711 | 85.0297 | 0.013403 | 85.1458 | 0.013674 | 85.2619 | 0.014666 | 85.378 | 0.011616 | 85.4941 | 0.010344 | 85.6101 | 0.010884 | 85.7262 | 0.012438 | 85.8487 | 0.0096383 | 86.0662 | 0.014697 | 86.1823 | 0.0089209 | 86.2984 | 0.013008 | 86.4144 | 2.9247 | 86.5305 | 0.012466 | 86.6466 | 0.013672 | 86.7627 | 0.01125 | 86.8788 | 0.01264 | 87.0963 | 0.0082008 | 87.2124 | 0.011773 | 87.3284 | 0.011409 | 87.4445 | 0.0072881 | 87.5606 | 0.009689 | 87.6766 | 0.0084783 | 87.7927 | 0.0081336 | 87.9088 | 0.0005369 | 88.1263 | 0.00731 | 88.2423 | -0.00020575 | 88.3584
2.9169 | 90.9997 | 0.010411 | 91.1158 | 0.01364 | 91.2319 | 0.015112 | 91.3479 | 0.013216 | 91.464 | 0.010911 | 91.5801 | 0.0083088 | 91.6962 | 0.013497 | 91.8122 | 0.01471 | 92.0297 | 0.013402 | 92.1458 | 0.013674 | 92.2619 | 0.014665 | 92.3779 | 0.011614 | 92.494 | 0.010343 | 92.6101 | 0.010883 | 92.7262 | 0.012437 | 92.8423 | 0.009638 | 93.0598 | 0.014695 | 93.1759 | 0.0089199 | 93.2919 | 0.013006 | 93.408 | 2.9247 | 93.5241 | 0.012467 | 93.6402 | 0.013671 | 93.7563 | 0.011249 | 93.8724 | 0.012639 | 94.0898 | 0.0082008 | 94.2059 | 0.011771 | 94.322 | 0.011408 | 94.4381 | 0.0072855 | 94.5542 | 0.0096871 | 94.6702 | 0.0084783 | 94.7863 | 0.0081326 | 94.9024 | 0.00053677 | 95.1199 | 0.0073094 | 95.2359 | -0.00020622 | 95.352
2.9169 | 97.9997 | 0.010409 | 98.1158 | 0.013639 | 98.2319 | 0.01511 | 98.3479 | 0.013213 | 98.464 | 0.010911 | 98.5801 | 0.0083076 | 98.6961 | 0.013493 | 98.8122 | 0.014709 | 99.0297 | 0.013403 | 99.1458 | 0.013673 | 99.2618 | 0.014664 | 99.3779 | 0.011614 | 99.494 | 0.010341 | 99.61 | 0.010882 | 99.7261 | 0.012435 | 99.8422 | 0.0096366 | 100.0597 | 0.014694 | 100.1758 | 0.0089196 | 100.2919 | 0.013004 | 100.4079 | 2.9247 | 100.524 | 0.012466 | 100.6401 | 0.013669 | 100.7562 | 0.011247 | 100.8723 | 0.012637 | 101.0936 | 0.0081999 | 101.2096 | 0.01177 | 101.3257 | 0.011406 | 101.4418 | 0.0072833 | 101.5579 | 0.0096861 | 101.6739 | 0.0084769 | 101.79 | 0.0081316 | 101.9061 | 0.0005367 | 102.1236 | 0.007308 | 102.2396 | -0.00020614 | 102.3557
2.917 | 104.9997 | 0.010408 | 105.1158 | 0.013638 | 105.2319 | 0.015108 | 105.3479 | 0.013211 | 105.464 | 0.01091 | 105.5801 | 0.0083055 | 105.6961 | 0.013492 | 105.8122 | 0.014707 | 106.0352 | 0.013399 | 106.1513 | 0.013672 | 106.2674 | 0.014662 | 106.3834 | 0.011612 | 106.4995 | 0.01034 | 106.6156 | 0.010881 | 106.7316 | 0.012435 | 106.8477 | 0.0096356 | 107.0652 | 0.014694 | 107.1813 | 0.0089187 | 107.2974 | 0.013003 | 107.4134 | 2.9247 | 107.5295 | 0.012466 | 107.6456 | 0.013668 | 107.7617 | 0.011246 | 107.8778 | 0.012636 | 108.0953 | 0.0081994 | 108.2113 | 0.011771 | 108.3274 | 0.011407 | 108.4435 | 0.0072839 | 108.5596 | 0.0096869 | 108.6756 | 0.0084773 | 108.7917 | 0.0081319 | 108.9078 | 0.00053624 | 109.1253 | 0.0073086 | 109.2413 | -0.00020625 | 109.3574
2.917 | 111.9997 | 0.010409 | 112.1158 | 0.01364 | 112.2319 | 0.015108 | 112.348 | 0.013213 | 112.464 | 0.01091 | 112.5801 | 0.008306 | 112.6962 | 0.013496 | 112.8123 | 0.014707 | 113.0298 | 0.013398 | 113.1458 | 0.013672 | 113.2619 | 0.014662 | 113.378 | 0.011611 | 113.4941 | 0.010341 | 113.6101 | 0.010882 | 113.7262 | 0.012435 | 113.8423 | 0.0096363 | 114.0598 | 0.014695 | 114.1759 | 0.008919 | 114.292 | 0.013004 | 114.4081 | 2.9247 | 114.5241 | 0.012466 | 114.6402 | 0.013669 | 114.7563 | 0.011247 | 114.8724 | 0.012637 | 115.0898 | 0.0081998 | 115.2059 | 0.011773 | 115.322 | 0.011409 | 115.4381 | 0.0072852 | 115.5542 | 0.009688 | 115.6702 | 0.0084782 | 115.7863 | 0.0081325 | 115.9024 | 0.0005362 | 116.1292 | 0.0073095 | 116.2453 | -0.00020611 | 116.3614
2.917 | 118.9997 | 0.010411 | 119.1158 | 0.013642 | 119.2319 | 0.015111 | 119.3479 | 0.013215 | 119.464 | 0.010914 | 119.5801 | 0.0083076 | 119.6962 | 0.013497 | 119.8123 | 0.014708 | 120.0297 | 0.013399 | 120.1458 | 0.013672 | 120.2619 | 0.014663 | 120.378 | 0.011612 | 120.494 | 0.010341 | 120.6101 | 0.010883 | 120.7262 | 0.012436 | 120.8423 | 0.0096371 | 121.0598 | 0.014696 | 121.1834 | 0.0089193 | 121.2995 | 0.013005 | 121.4156 | 2.9248 | 121.5317 | 0.012467 | 121.6477 | 0.01367 | 121.7638 | 0.011248 | 121.8799 | 0.012638 | 122.0974 | 0.0082004 | 122.2134 | 0.011773 | 122.3295 | 0.011409 | 122.4456 | 0.0072857 | 122.5617 | 0.0096891 | 122.6778 | 0.0084793 | 122.7938 | 0.0081335 | 122.9099 | 0.00053647 | 123.1274 | 0.0073105 | 123.2435 | -0.00020606 | 123.3596
2.9169 | 125.9996 | 0.010411 | 126.1158 | 0.01364 | 126.2377 | 0.015111 | 126.3538 | 0.013214 | 126.4699 | 0.010914 | 126.5859 | 0.008308 | 126.702 | 0.013494 | 126.8181 | 0.014709 | 127.0356 | 0.013399 | 127.1517 | 0.013673 | 127.2677 | 0.014664 | 127.3838 | 0.011613 | 127.4999 | 0.010342 | 127.616 | 0.010883 | 127.7321 | 0.012437 | 127.8481 | 0.0096374 | 128.0656 | 0.014696 | 128.1817 | 0.0089198 | 128.2978 | 0.013006 | 128.4139 | 2.9248 | 128.53 | 0.012467 | 128.646 | 0.013671 | 128.7621 | 0.011249 | 128.8782 | 0.012639 | 129.0957 | 0.0082012 | 129.2118 | 0.011773 | 129.3279 | 0.011411 | 129.4439 | 0.0072865 | 129.56 | 0.0096897 | 129.6761 | 0.0084797 | 129.7922 | 0.0081338 | 129.9083 | 0.00053673 | 130.1258 | 0.007311 | 130.2418 | -0.00020566 | 130.3579
2.917 | 132.9997 | 0.010411 | 133.1158 | 0.013641 | 133.2319 | 0.015111 | 133.3479 | 0.013214 | 133.464 | 0.010911 | 133.5801 | 0.0083081 | 133.6962 | 0.013496 | 133.8123 | 0.01471 | 134.0297 | 0.0134 | 134.1458 | 0.013673 | 134.2619 | 0.014664 | 134.378 | 0.011612 | 134.494 | 0.010342 | 134.6101 | 0.010884 | 134.7262 | 0.012437 | 134.8423 | 0.009638 | 135.0598 | 0.014696 | 135.1759 | 0.0089198 | 135.292 | 0.013006 | 135.4081 | 2.9248 | 135.5242 | 0.012467 | 135.6403 | 0.013671 | 135.7563 | 0.01125 | 135.8724 | 0.01264 | 136.0899 | 0.0082008 | 136.206 | 0.011773 | 136.3222 | 0.011411 | 136.4383 | 0.0072863 | 136.5544 | 0.0096899 | 136.6704 | 0.0084797 | 136.7865 | 0.0081339 | 136.9026 | 0.00053672 | 137.1201 | 0.0073111 | 137.2361 | -0.00020594 | 137.3522
2.917 | 139.9997 | 0.010413 | 140.1158 | 0.013642 | 140.2318 | 0.015112 | 140.3479 | 0.013215 | 140.464 | 0.010912 | 140.5801 | 0.0083088 | 140.6962 | 0.013499 | 140.8123 | 0.014711 | 141.0297 | 0.013401 | 141.1458 | 0.013674 | 141.2619 | 0.014664 | 141.3852 | 0.011614 | 141.5013 | 0.010343 | 141.6174 | 0.010885 | 141.7334 | 0.012438 | 141.8495 | 0.009639 | 142.067 | 0.014698 | 142.1831 | 0.008921 | 142.2992 | 0.013007 | 142.4153 | 2.9248 | 142.5314 | 0.012468 | 142.6474 | 0.013672 | 142.7635 | 0.011251 | 142.8796 | 0.012641 | 143.0971 | 0.0082018 | 143.2132 | 0.011774 | 143.3292 | 0.011411 | 143.4453 | 0.0072868 | 143.5614 | 0.0096899 | 143.6775 | 0.0084802 | 143.7936 | 0.0081344 | 143.9096 | 0.00053655 | 144.1271 | 0.0073112 | 144.2432 | -0.00020574 | 144.3593
2.917 | 146.9997 | 0.010413 | 147.1158 | 0.013642 | 147.2318 | 0.015113 | 147.3479 | 0.013216 | 147.464 | 0.010915 | 147.5801 | 0.0083095 | 147.6962 | 0.013498 | 147.8122 | 0.01471 | 148.0297 | 0.0134 | 148.1458 | 0.013673 | 148.2619 | 0.014664 | 148.3779 | 0.011613 | 148.494 | 0.010342 | 148.6101 | 0.010883 | 148.7261 | 0.012437 | 148.8422 | 0.0096383 | 149.0598 | 0.014697 | 149.1758 | 0.0089202 | 149.2919 | 0.013006 | 149.408 | 2.9247 | 149.524 | 0.012468 | 149.6401 | 0.013671 | 149.7562 | 0.011251 | 149.8723 | 0.01264 | 150.0898 | 0.0082011 | 150.2059 | 0.011773 | 150.3219 | 0.011409 | 150.438 | 0.0072859 | 150.5541 | 0.0096896 | 150.6702 | 0.0084792 | 150.7863 | 0.0081333 | 150.9023 | 0.00053673 | 151.1198 | 0.0073097 | 151.2359 | -0.000206 | 151.352
2.917 | 153.9997 | 0.010412 | 154.1158 | 0.013643 | 154.2319 | 0.01511 | 154.3479 | 0.013214 | 154.464 | 0.010914 | 154.5801 | 0.008308 | 154.6962 | 0.013495 | 154.8123 | 0.014708 | 155.0297 | 0.013399 | 155.1458 | 0.013673 | 155.2619 | 0.014663 | 155.378 | 0.011612 | 155.494 | 0.010341 | 155.6101 | 0.010883 | 155.7262 | 0.012436 | 155.8423 | 0.009637 | 156.0598 | 0.014696 | 156.1759 | 0.0089201 | 156.2919 | 0.013005 | 156.408 | 2.9247 | 156.5336 | 0.012467 | 156.6497 | 0.01367 | 156.7657 | 0.01125 | 156.8818 | 0.012637 | 157.0993 | 0.0082005 | 157.2154 | 0.011772 | 157.3314 | 0.011407 | 157.4475 | 0.0072846 | 157.5636 | 0.0096878 | 157.6796 | 0.0084779 | 157.7957 | 0.0081328 | 157.9118 | 0.00053663 | 158.1293 | 0.0073084 | 158.2453 | -0.00020642 | 158.3614
2.917 | 160.9997 | 0.010411 | 161.1157 | 0.013641 | 161.2318 | 0.015108 | 161.3479 | 0.013213 | 161.464 | 0.010911 | 161.5878 | 0.0083066 | 161.7039 | 0.013496 | 161.82 | 0.014708 | 162.0374 | 0.013399 | 162.1535 | 0.013672 | 162.2696 | 0.014663 | 162.3857 | 0.011613 | 162.5017 | 0.010342 | 162.6178 | 0.010882 | 162.7339 | 0.012437 | 162.85 | 0.0096366 | 163.0675 | 0.014696 | 163.1836 | 0.0089194 | 163.2996 | 0.013005 | 163.4157 | 2.9248 | 163.5318 | 0.012467 | 163.6478 | 0.01367 | 163.7639 | 0.011249 | 163.88 | 0.012638 | 164.0975 | 0.0082007 | 164.2136 | 0.011772 | 164.3297 | 0.011408 | 164.4457 | 0.0072862 | 164.5618 | 0.0096888 | 164.6779 | 0.0084786 | 164.7939 | 0.0081325 | 164.91 | 0.00053622 | 165.1275 | 0.0073089 | 165.2436 | -0.00020593 | 165.3596
2.9169 | 167.9997 | 0.01041 | 168.1158 | 0.013641 | 168.2319 | 0.015108 | 168.3479 | 0.013213 | 168.464 | 0.010911 | 168.5801 | 0.0083064 | 168.6962 | 0.013496 | 168.8123 | 0.014707 | 169.0297 | 0.013399 | 169.1458 | 0.013672 | 169.2619 | 0.014662 | 169.3779 | 0.011612 | 169.494 | 0.010341 | 169.6101 | 0.010882 | 169.7262 | 0.012435 | 169.8423 | 0.009636 | 170.0598 | 0.014694 | 170.1759 | 0.008919 | 170.292 | 0.013003 | 170.408 | 2.9247 | 170.5241 | 0.012466 | 170.6402 | 0.013669 | 170.7563 | 0.011247 | 170.8724 | 0.012637 | 171.0899 | 0.0082 | 171.2059 | 0.01177 | 171.322 | 0.011406 | 171.4381 | 0.0072839 | 171.5542 | 0.0096873 | 171.6703 | 0.0084775 | 171.7865 | 0.0081317 | 171.9025 | 0.00053649 | 172.12 | 0.007308 | 172.2361 | -0.00020584 | 172.3522
2.9169 | 174.9997 | 0.010411 | 175.1158 | 0.013642 | 175.2318 | 0.01511 | 175.3479 | 0.013214 | 175.464 | 0.010915 | 175.5801 | 0.0083081 | 175.6962 | 0.013496 | 175.8123 | 0.014708 | 176.0297 | 0.013398 | 176.1458 | 0.013672 | 176.2619 | 0.014662 | 176.378 | 0.011611 | 176.494 | 0.01034 | 176.6101 | 0.010881 | 176.7309 | 0.012435 | 176.847 | 0.0096358 | 177.0645 | 0.014694 | 177.1806 | 0.0089186 | 177.2967 | 0.013003 | 177.4127 | 2.9247 | 177.5288 | 0.012466 | 177.6449 | 0.013669 | 177.761 | 0.011247 | 177.8771 | 0.012636 | 178.0945 | 0.0082003 | 178.2106 | 0.01177 | 178.3267 | 0.011406 | 178.4428 | 0.0072838 | 178.5589 | 0.0096864 | 178.6749 | 0.0084766 | 178.791 | 0.0081312 | 178.9071 | 0.0005366 | 179.1246 | 0.0073073 | 179.2407 | -0.00020641 | 179.3567
2.9169 | 181.9997 | 0.010412 | 182.1158 | 0.013642 | 182.2318 | 0.01511 | 182.3479 | 0.013215 | 182.464 | 0.010913 | 182.5801 | 0.0083088 | 182.6962 | 0.013496 | 182.8122 | 0.014708 | 183.0297 | 0.013399 | 183.1458 | 0.013671 | 183.2619 | 0.014662 | 183.3779 | 0.011611 | 183.494 | 0.01034 | 183.6101 | 0.01088 | 183.7262 | 0.012434 | 183.8422 | 0.0096354 | 184.0597 | 0.014693 | 184.1758 | 0.0089184 | 184.2919 | 0.013002 | 184.408 | 2.9247 | 184.5241 | 0.012466 | 184.6401 | 0.013668 | 184.7562 | 0.011246 | 184.8723 | 0.012636 | 185.0897 | 0.0082005 | 185.2058 | 0.01177 | 185.3219 | 0.011406 | 185.438 | 0.007284 | 185.554 | 0.0096864 | 185.6701 | 0.0084765 | 185.7862 | 0.0081314 | 185.9023 | 0.00053658 | 186.1198 | 0.0073078 | 186.2358 | -0.00020645 | 186.3519
2.9169 | 188.9997 | 0.010413 | 189.1158 | 0.013643 | 189.2319 | 0.015111 | 189.3479 | 0.013216 | 189.464 | 0.010912 | 189.5801 | 0.0083085 | 189.6962 | 0.013498 | 189.8123 | 0.014708 | 190.0297 | 0.013399 | 190.1458 | 0.013671 | 190.2619 | 0.014662 | 190.378 | 0.011611 | 190.494 | 0.01034 | 190.6101 | 0.01088 | 190.7262 | 0.012433 | 190.8423 | 0.0096357 | 191.0598 | 0.014693 | 191.1759 | 0.0089186 | 191.2919 | 0.013002 | 191.408 | 2.9246 | 191.5241 | 0.012467 | 191.6402 | 0.013669 | 191.7562 | 0.011247 | 191.8724 | 0.012636 | 192.0899 | 0.0082001 | 192.206 | 0.01177 | 192.3221 | 0.011405 | 192.4382 | 0.0072839 | 192.5543 | 0.0096863 | 192.6703 | 0.0084766 | 192.7864 | 0.0081313 | 192.9025 | 0.00053628 | 193.12 | 0.0073074 | 193.236 | -0.00020646 | 193.3521
2.9169 | 195.9997 | 0.010414 | 196.1157 | 0.013643 | 196.2318 | 0.015113 | 196.3479 | 0.013216 | 196.464 | 0.010914 | 196.5801 | 0.0083093 | 196.6961 | 0.0135 | 196.8122 | 0.014709 | 197.0299 | 0.013399 | 197.146 | 0.013672 | 197.262 | 0.014663 | 197.3781 | 0.011612 | 197.4942 | 0.01034 | 197.6103 | 0.01088 | 197.7263 | 0.012433 | 197.8424 | 0.0096355 | 198.0599 | 0.014693 | 198.176 | 0.0089185 | 198.2921 | 0.013003 | 198.4082 | 2.9247 | 198.5243 | 0.012467 | 198.6403 | 0.013669 | 198.7564 | 0.011247 | 198.8725 | 0.012637 | 199.09 | 0.0082002 | 199.206 | 0.01177 | 199.3221 | 0.011406 | 199.4382 | 0.0072845 | 199.5543 | 0.0096864 | 199.6704 | 0.0084771 | 199.7865 | 0.0081317 | 199.9025 | 0.00053656 | 200.12 | 0.0073079 | 200.2361 | -0.00020629 | 200.3522
2.9169 | 202.9997 | 0.010414 | 203.1158 | 0.013644 | 203.2319 | 0.015113 | 203.3479 | 0.013216 | 203.464 | 0.010916 | 203.5801 | 0.0083089 | 203.6962 | 0.013497 | 203.8122 | 0.014709 | 204.0297 | 0.013399 | 204.1458 | 0.013671 | 204.2618 | 0.014663 | 204.3779 | 0.011612 | 204.494 | 0.01034 | 204.61 | 0.010881 | 204.7261 | 0.012434 | 204.8422 | 0.009636 | 205.0597 | 0.014695 | 205.1758 | 0.0089191 | 205.2919 | 0.013003 | 205.4079 | 2.9247 | 205.524 | 0.012467 | 205.6401 | 0.013669 | 205.7562 | 0.011248 | 205.8723 | 0.012637 | 206.0898 | 0.0082007 | 206.2058 | 0.011771 | 206.3219 | 0.011408 | 206.438 | 0.0072843 | 206.554 | 0.0096879 | 206.6701 | 0.008478 | 206.7862 | 0.0081327 | 206.9023 | 0.00053655 | 207.1198 | 0.0073091 | 207.2359 | -0.00020616 | 207.352
2.9169 | 209.9997 | 0.010414 | 210.1157 | 0.013644 | 210.2318 | 0.015114 | 210.3479 | 0.013216 | 210.464 | 0.010915 | 210.5801 | 0.0083088 | 210.6962 | 0.013497 | 210.8122 | 0.014709 | 211.0297 | 0.013399 | 211.1458 | 0.013672 | 211.2619 | 0.014664 | 211.3779 | 0.011613 | 211.494 | 0.010341 | 211.6101 | 0.010882 | 211.7261 | 0.012436 | 211.8422 | 0.0096369 | 212.0601 | 0.014695 | 212.1762 | 0.00892 | 212.2922 | 0.013005 | 212.4083 | 2.9247 | 212.5244 | 0.012468 | 212.6405 | 0.013671 | 212.7566 | 0.011249 | 212.8726 | 0.012639 | 213.0901 | 0.0082015 | 213.2062 | 0.011773 | 213.3223 | 0.011409 | 213.4384 | 0.0072857 | 213.5544 | 0.0096887 | 213.6705 | 0.0084788 | 213.7866 | 0.0081334 | 213.9027 | 0.00053673 | 214.1202 | 0.0073104 | 214.2362 | -0.00020579 | 214.3523
2.9169 | 216.9997 | 0.010414 | 217.1244 | 0.013644 | 217.2406 | 0.015114 | 217.3567 | 0.013217 | 217.4727 | 0.010914 | 217.5888 | 0.0083093 | 217.7049 | 0.0135 | 217.821 | 0.014711 | 218.0384 | 0.013401 | 218.1545 | 0.013674 | 218.2706 | 0.014665 | 218.3866 | 0.011615 | 218.5027 | 0.010343 | 218.6188 | 0.010884 | 218.7349 | 0.012438 | 218.8509 | 0.0096386 | 219.0685 | 0.014698 | 219.1846 | 0.0089211 | 219.3006 | 0.013006 | 219.4167 | 2.9247 | 219.5328 | 0.012469 | 219.6489 | 0.013672 | 219.7649 | 0.01125 | 219.881 | 0.01264 | 220.0985 | 0.0082024 | 220.2146 | 0.011774 | 220.3306 | 0.01141 | 220.4467 | 0.0072868 | 220.5628 | 0.0096897 | 220.6789 | 0.0084793 | 220.7949 | 0.0081337 | 220.911 | 0.00053657 | 221.1285 | 0.0073113 | 221.2446 | -0.0002053 | 221.3607
2.9169 | 223.9997 | 0.010415 | 224.1158 | 0.013645 | 224.2319 | 0.015115 | 224.3479 | 0.013217 | 224.464 | 0.010917 | 224.5801 | 0.0083094 | 224.6962 | 0.0135 | 224.8123 | 0.014712 | 225.0297 | 0.013402 | 225.1458 | 0.013675 | 225.2619 | 0.014666 | 225.378 | 0.011616 | 225.494 | 0.010343 | 225.6101 | 0.010884 | 225.7262 | 0.012438 | 225.8423 | 0.009639 | 226.0598 | 0.014698 | 226.1758 | 0.0089207 | 226.2919 | 0.013006 | 226.408 | 2.9247 | 226.5241 | 0.01247 | 226.6402 | 0.013672 | 226.7562 | 0.01125 | 226.8723 | 0.01264 | 227.0898 | 0.008203 | 227.2059 | 0.011774 | 227.322 | 0.011409 | 227.4381 | 0.0072865 | 227.5542 | 0.0096895 | 227.6703 | 0.0084795 | 227.7863 | 0.0081337 | 227.9024 | 0.00053662 | 228.1199 | 0.0073102 | 228.236 | -0.00020535 | 228.3521
2.9169 | 230.9997 | 0.010415 | 231.1158 | 0.013645 | 231.2319 | 0.015115 | 231.3479 | 0.013218 | 231.464 | 0.010918 | 231.5801 | 0.0083095 | 231.6962 | 0.013499 | 231.8122 | 0.014711 | 232.0297 | 0.013401 | 232.1458 | 0.013673 | 232.2621 | 0.014665 | 232.3782 | 0.011615 | 232.4943 | 0.010342 | 232.6104 | 0.010882 | 232.7264 | 0.012436 | 232.8425 | 0.0096373 | 233.06 | 0.014696 | 233.1761 | 0.0089202 | 233.2922 | 0.013005 | 233.4083 | 2.9247 | 233.5243 | 0.012469 | 233.6404 | 0.013671 | 233.7565 | 0.011249 | 233.8726 | 0.012638 | 234.0901 | 0.008202 | 234.2062 | 0.011773 | 234.3223 | 0.011407 | 234.4383 | 0.0072855 | 234.5544 | 0.009688 | 234.6705 | 0.0084777 | 234.7866 | 0.0081326 | 234.9026 | 0.00053654 | 235.1201 | 0.0073089 | 235.2362 | -0.00020589 | 235.3523
2.9169 | 237.9997 | 0.010415 | 238.1158 | 0.013644 | 238.2318 | 0.015113 | 238.3479 | 0.013217 | 238.464 | 0.010915 | 238.5801 | 0.0083099 | 238.6962 | 0.013498 | 238.8123 | 0.014709 | 239.0298 | 0.0134 | 239.1458 | 0.013672 | 239.2619 | 0.014664 | 239.378 | 0.011613 | 239.4941 | 0.010341 | 239.6101 | 0.010882 | 239.7262 | 0.012435 | 239.8423 | 0.0096364 | 240.0598 | 0.014696 | 240.1759 | 0.0089196 | 240.292 | 0.013004 | 240.408 | 2.9247 | 240.5241 | 0.012468 | 240.6402 | 0.01367 | 240.7563 | 0.011248 | 240.8723 | 0.012637 | 241.0898 | 0.0082008 | 241.2059 | 0.011771 | 241.3219 | 0.011406 | 241.438 | 0.0072836 | 241.5541 | 0.0096868 | 241.6702 | 0.0084766 | 241.7863 | 0.0081316 | 241.9024 | 0.00053645 | 242.1198 | 0.0073076 | 242.2359 | -0.00020573 | 242.3521
2.9169 | 244.9997 | 0.010413 | 245.1158 | 0.013643 | 245.2318 | 0.015111 | 245.3479 | 0.013215 | 245.464 | 0.010912 | 245.5801 | 0.0083087 | 245.6962 | 0.013498 | 245.8122 | 0.014708 | 246.0297 | 0.013399 | 246.1458 | 0.013672 | 246.2619 | 0.014664 | 246.3779 | 0.011612 | 246.494 | 0.010341 | 246.6101 | 0.010882 | 246.7262 | 0.012435 | 246.8423 | 0.0096368 | 247.0598 | 0.014695 | 247.1759 | 0.0089193 | 247.2919 | 0.013004 | 247.4081 | 2.9247 | 247.5242 | 0.012467 | 247.6403 | 0.01367 | 247.7564 | 0.011247 | 247.8725 | 0.012637 | 248.0899 | 0.0082008 | 248.206 | 0.011771 | 248.3221 | 0.011406 | 248.4382 | 0.007284 | 248.5543 | 0.0096871 | 248.6703 | 0.0084771 | 248.7864 | 0.0081319 | 248.9025 | 0.00053656 | 249.12 | 0.0073083 | 249.236 | -0.00020597 | 249.3521
2.9169 | 251.9997 | 0.010412 | 252.1157 | 0.013641 | 252.2318 | 0.015111 | 252.3479 | 0.013215 | 252.4643 | 0.010915 | 252.5804 | 0.008309 | 252.6965 | 0.013497 | 252.8126 | 0.01471 | 253.0301 | 0.0134 | 253.1461 | 0.013673 | 253.2622 | 0.014665 | 253.3783 | 0.011613 | 253.4944 | 0.010342 | 253.6105 | 0.010883 | 253.7265 | 0.012436 | 253.8426 | 0.0096375 | 254.0601 | 0.014696 | 254.1762 | 0.0089198 | 254.2923 | 0.013005 | 254.4084 | 2.9247 | 254.5245 | 0.012469 | 254.6405 | 0.013672 | 254.7566 | 0.011249 | 254.8727 | 0.012638 | 255.0902 | 0.0082021 | 255.2063 | 0.011772 | 255.3223 | 0.011408 | 255.4384 | 0.0072858 | 255.5545 | 0.0096886 | 255.6706 | 0.0084788 | 255.7866 | 0.0081329 | 255.9027 | 0.00053692 | 256.1202 | 0.0073104 | 256.2362 | -0.00020564 | 256.3523
2.9169 | 258.9997 | 0.010413 | 259.1158 | 0.013643 | 259.2319 | 0.015111 | 259.348 | 0.013215 | 259.464 | 0.010916 | 259.5801 | 0.0083098 | 259.6962 | 0.013497 | 259.8123 | 0.014712 | 260.0298 | 0.0134 | 260.1459 | 0.013675 | 260.2619 | 0.014666 | 260.378 | 0.011614 | 260.4941 | 0.010343 | 260.6102 | 0.010884 | 260.7263 | 0.012437 | 260.8424 | 0.0096384 | 261.0599 | 0.014697 | 261.1759 | 0.0089205 | 261.292 | 0.013006 | 261.4081 | 2.9247 | 261.5242 | 0.01247 | 261.6402 | 0.013673 | 261.7563 | 0.01125 | 261.8724 | 0.01264 | 262.0899 | 0.0082028 | 262.206 | 0.011774 | 262.322 | 0.01141 | 262.4381 | 0.007286 | 262.5543 | 0.0096893 | 262.6704 | 0.0084795 | 262.7865 | 0.0081343 | 262.9026 | 0.00053687 | 263.1201 | 0.0073114 | 263.2362 | -0.00020529 | 263.3522
2.9169 | 265.9997 | 0.010414 | 266.1158 | 0.013645 | 266.2319 | 0.015114 | 266.3479 | 0.013217 | 266.464 | 0.010916 | 266.5801 | 0.0083098 | 266.6962 | 0.0135 | 266.8122 | 0.014712 | 267.0297 | 0.013401 | 267.1458 | 0.013675 | 267.2619 | 0.014667 | 267.378 | 0.011615 | 267.494 | 0.010343 | 267.6102 | 0.010885 | 267.7263 | 0.012438 | 267.8424 | 0.009639 | 268.0599 | 0.014698 | 268.176 | 0.0089209 | 268.2921 | 0.013006 | 268.4082 | 2.9247 | 268.5243 | 0.01247 | 268.6404 | 0.013674 | 268.7564 | 0.011251 | 268.8725 | 0.012641 | 269.09 | 0.008203 | 269.2061 | 0.011775 | 269.3221 | 0.01141 | 269.4382 | 0.007287 | 269.5543 | 0.0096896 | 269.6704 | 0.0084802 | 269.7865 | 0.0081341 | 269.9025 | 0.00053696 | 270.12 | 0.0073123 | 270.2361 | -0.00020518 | 270.3522
2.9169 | 272.9996 | 0.010415 | 273.1158 | 0.013645 | 273.2319 | 0.015115 | 273.3479 | 0.013218 | 273.464 | 0.010916 | 273.5801 | 0.0083107 | 273.6962 | 0.013502 | 273.8123 | 0.014713 | 274.0297 | 0.013403 | 274.1458 | 0.013675 | 274.2619 | 0.014667 | 274.378 | 0.011616 | 274.4941 | 0.010343 | 274.6101 | 0.010885 | 274.7262 | 0.012438 | 274.8423 | 0.0096391 | 275.0598 | 0.014698 | 275.1759 | 0.0089211 | 275.2919 | 0.013006 | 275.408 | 2.9247 | 275.5241 | 0.01247 | 275.6402 | 0.013674 | 275.7563 | 0.011252 | 275.8724 | 0.012641 | 276.0899 | 0.0082033 | 276.2059 | 0.011774 | 276.322 | 0.011411 | 276.4381 | 0.0072873 | 276.5542 | 0.0096901 | 276.6702 | 0.0084802 | 276.7863 | 0.0081343 | 276.9024 | 0.00053682 | 277.1199 | 0.0073119 | 277.236 | -0.0002052 | 277.352
2.9169 | 279.9996 | 0.010415 | 280.1158 | 0.013645 | 280.2319 | 0.015113 | 280.348 | 0.013218 | 280.464 | 0.010917 | 280.5801 | 0.0083104 | 280.6962 | 0.0135 | 280.8123 | 0.014714 | 281.0297 | 0.013403 | 281.1458 | 0.013676 | 281.2619 | 0.014668 | 281.378 | 0.011616 | 281.494 | 0.010343 | 281.6101 | 0.010885 | 281.7262 | 0.012438 | 281.8423 | 0.0096391 | 282.0598 | 0.014698 | 282.1758 | 0.0089213 | 282.2919 | 0.013007 | 282.408 | 2.9247 | 282.5241 | 0.01247 | 282.6402 | 0.013674 | 282.7564 | 0.011251 | 282.8725 | 0.01264 | 283.09 | 0.0082038 | 283.2061 | 0.011774 | 283.3221 | 0.01141 | 283.4382 | 0.0072871 | 283.5543 | 0.0096897 | 283.6704 | 0.0084798 | 283.7865 | 0.008134 | 283.9025 | 0.00053699 | 284.12 | 0.0073107 | 284.2361 | -0.00020517 | 284.3522
2.9169 | 286.9997 | 0.010415 | 287.1158 | 0.013644 | 287.2318 | 0.015114 | 287.3479 | 0.013218 | 287.464 | 0.010917 | 287.5801 | 0.008311 | 287.6961 | 0.013498 | 287.8123 | 0.014712 | 288.0298 | 0.013403 | 288.1459 | 0.013675 | 288.262 | 0.014665 | 288.3781 | 0.011615 | 288.4942 | 0.010343 | 288.6102 | 0.010884 | 288.7263 | 0.012437 | 288.8424 | 0.0096388 | 289.0599 | 0.014698 | 289.176 | 0.0089211 | 289.2921 | 0.013006 | 289.4082 | 2.9247 | 289.5243 | 0.01247 | 289.6404 | 0.013672 | 289.7565 | 0.011251 | 289.8725 | 0.012639 | 290.09 | 0.0082028 | 290.2061 | 0.011773 | 290.3222 | 0.011408 | 290.4383 | 0.0072856 | 290.5544 | 0.0096882 | 290.6704 | 0.0084783 | 290.7865 | 0.0081329 | 290.9026 | 0.00053698 | 291.1201 | 0.0073092 | 291.2362 | -0.00020545 | 291.3522
2.9169 | 293.9997 | 0.010415 | 294.1158 | 0.013644 | 294.2319 | 0.015113 | 294.3479 | 0.013217 | 294.464 | 0.010914 | 294.5801 | 0.0083097 | 294.6962 | 0.013499 | 294.8123 | 0.014711 | 295.0298 | 0.013402 | 295.1458 | 0.013674 | 295.2619 | 0.014666 | 295.378 | 0.011616 | 295.494 | 0.010344 | 295.6101 | 0.010884 | 295.7262 | 0.012438 | 295.8423 | 0.0096385 | 296.0598 | 0.014698 | 296.1758 | 0.008921 | 296.2919 | 0.013007 | 296.408 | 2.9247 | 296.5241 | 0.01247 | 296.6401 | 0.013673 | 296.7562 | 0.011251 | 296.8723 | 0.012639 | 297.0897 | 0.0082026 | 297.2058 | 0.011773 | 297.3219 | 0.011408 | 297.438 | 0.0072865 | 297.5541 | 0.0096891 | 297.6701 | 0.0084786 | 297.7862 | 0.0081331 | 297.9024 | 0.0005371 | 298.1199 | 0.0073105 | 298.2359 | -0.00020578 | 298.352
2.9169 | 300.9997 | 0.010414 | 301.1158 | 0.013643 | 301.2319 | 0.015113 | 301.3479 | 0.013217 | 301.464 | 0.010914 | 301.5801 | 0.0083092 | 301.6962 | 0.013499 | 301.8122 | 0.014712 | 302.0297 | 0.013403 | 302.1458 | 0.013675 | 302.2618 | 0.014667 | 302.3779 | 0.011616 | 302.494 | 0.010344 | 302.6101 | 0.010885 | 302.7262 | 0.012438 | 302.8423 | 0.0096393 | 303.0598 | 0.014699 | 303.1759 | 0.0089212 | 303.292 | 0.013007 | 303.4081 | 2.9247 | 303.5241 | 0.01247 | 303.6402 | 0.013673 | 303.7563 | 0.011251 | 303.8724 | 0.012639 | 304.0898 | 0.0082035 | 304.2059 | 0.011774 | 304.322 | 0.011409 | 304.4381 | 0.0072866 | 304.5542 | 0.0096894 | 304.6703 | 0.0084795 | 304.7863 | 0.0081339 | 304.9024 | 0.00053699 | 305.1199 | 0.0073116 | 305.236 | -0.00020503 | 305.352
2.9169 | 307.9997 | 0.010415 | 308.1158 | 0.013644 | 308.2319 | 0.015113 | 308.348 | 0.013217 | 308.4641 | 0.010917 | 308.5802 | 0.0083098 | 308.6962 | 0.013499 | 308.8123 | 0.014712 | 309.0298 | 0.013403 | 309.1459 | 0.013675 | 309.2619 | 0.014667 | 309.378 | 0.011616 | 309.4941 | 0.010344 | 309.6101 | 0.010884 | 309.7262 | 0.012438 | 309.8423 | 0.0096392 | 310.0598 | 0.014698 | 310.1759 | 0.0089214 | 310.292 | 0.013007 | 310.4081 | 2.9247 | 310.5241 | 0.01247 | 310.6402 | 0.013673 | 310.7563 | 0.01125 | 310.8724 | 0.01264 | 311.0899 | 0.0082037 | 311.206 | 0.011774 | 311.322 | 0.01141 | 311.4381 | 0.0072873 | 311.5542 | 0.0096895 | 311.6703 | 0.0084792 | 311.7863 | 0.0081336 | 311.9024 | 0.00053669 | 312.1199 | 0.0073108 | 312.2359 | -0.00020517 | 312.352
2.9169 | 314.9997 | 0.010416 | 315.1158 | 0.013646 | 315.2319 | 0.015114 | 315.348 | 0.013218 | 315.4641 | 0.010916 | 315.5801 | 0.0083101 | 315.6962 | 0.013499 | 315.8123 | 0.014712 | 316.0298 | 0.013403 | 316.1458 | 0.013675 | 316.2619 | 0.014666 | 316.378 | 0.011616 | 316.4941 | 0.010343 | 316.6101 | 0.010884 | 316.7262 | 0.012437 | 316.8423 | 0.0096386 | 317.0598 | 0.014698 | 317.1759 | 0.0089208 | 317.292 | 0.013006 | 317.4081 | 2.9247 | 317.5241 | 0.01247 | 317.6402 | 0.013672 | 317.7563 | 0.01125 | 317.8724 | 0.012639 | 318.09 | 0.0082033 | 318.2061 | 0.011773 | 318.3222 | 0.011408 | 318.4382 | 0.0072858 | 318.5543 | 0.0096885 | 318.6704 | 0.0084782 | 318.7865 | 0.0081328 | 318.9026 | 0.00053705 | 319.12 | 0.0073095 | 319.2361 | -0.00020507 | 319.3522
2.9169 | 321.9997 | 0.010416 | 322.1157 | 0.013646 | 322.2318 | 0.015114 | 322.3479 | 0.013218 | 322.464 | 0.010915 | 322.5801 | 0.00831 | 322.6961 | 0.013501 | 322.8122 | 0.014712 | 323.0297 | 0.013402 | 323.1459 | 0.013674 | 323.262 | 0.014665 | 323.3781 | 0.011615 | 323.4942 | 0.010343 | 323.6103 | 0.010883 | 323.7263 | 0.012436 | 323.8424 | 0.0096382 | 324.0599 | 0.014697 | 324.176 | 0.0089205 | 324.2921 | 0.013005 | 324.4082 | 2.9247 | 324.5243 | 0.012469 | 324.6404 | 0.013671 | 324.7564 | 0.011249 | 324.8725 | 0.012638 | 325.09 | 0.0082025 | 325.2061 | 0.011772 | 325.3222 | 0.011407 | 325.4383 | 0.0072856 | 325.5544 | 0.0096881 | 325.6704 | 0.0084777 | 325.7865 | 0.0081324 | 325.9026 | 0.00053698 | 326.12 | 0.007309 | 326.2361 | -0.00020535 | 326.3522
2.9169 | 328.9997 | 0.010414 | 329.1158 | 0.013644 | 329.2319 | 0.015114 | 329.3479 | 0.013217 | 329.464 | 0.010915 | 329.5801 | 0.0083102 | 329.6962 | 0.013499 | 329.8123 | 0.014711 | 330.0298 | 0.013402 | 330.1458 | 0.013674 | 330.2619 | 0.014665 | 330.378 | 0.011614 | 330.4941 | 0.010343 | 330.6102 | 0.010884 | 330.7262 | 0.012437 | 330.8423 | 0.0096382 | 331.0599 | 0.014697 | 331.1759 | 0.0089205 | 331.292 | 0.013005 | 331.4081 | 2.9247 | 331.5242 | 0.012469 | 331.6403 | 0.013671 | 331.7563 | 0.011249 | 331.8724 | 0.012639 | 332.0899 | 0.008203 | 332.206 | 0.011773 | 332.3221 | 0.011408 | 332.4382 | 0.0072855 | 332.5543 | 0.0096883 | 332.6703 | 0.0084785 | 332.7864 | 0.0081333 | 332.9025 | 0.00053671 | 333.1199 | 0.0073095 | 333.2362 | -0.00020489 | 333.3523
2.9169 | 335.9997 | 0.010414 | 336.1157 | 0.013643 | 336.2318 | 0.015114 | 336.3479 | 0.013217 | 336.464 | 0.010916 | 336.5801 | 0.0083098 | 336.6961 | 0.013497 | 336.8122 | 0.014711 | 337.0297 | 0.013401 | 337.1458 | 0.013674 | 337.2619 | 0.014665 | 337.3779 | 0.011614 | 337.494 | 0.010342 | 337.6101 | 0.010883 | 337.7262 | 0.012436 | 337.8423 | 0.0096375 | 338.0598 | 0.014696 | 338.1759 | 0.0089199 | 338.2921 | 0.013005 | 338.4082 | 2.9247 | 338.5243 | 0.012469 | 338.6404 | 0.01367 | 338.7565 | 0.011249 | 338.8725 | 0.012638 | 339.09 | 0.0082014 | 339.2061 | 0.011771 | 339.3222 | 0.011407 | 339.4383 | 0.0072844 | 339.5543 | 0.0096875 | 339.6704 | 0.0084777 | 339.7865 | 0.0081324 | 339.9026 | 0.00053672 | 340.12 | 0.0073084 | 340.2361 | -0.00020545 | 340.3522
2.9169 | 342.9997 | 0.010415 | 343.1158 | 0.013644 | 343.2319 | 0.015113 | 343.3481 | 0.013217 | 343.4642 | 0.010915 | 343.5803 | 0.0083096 | 343.6963 | 0.013498 | 343.8124 | 0.014711 | 344.0299 | 0.0134 | 344.146 | 0.013673 | 344.2621 | 0.014664 | 344.3781 | 0.011613 | 344.4942 | 0.010342 | 344.6103 | 0.010883 | 344.7264 | 0.012436 | 344.8425 | 0.009637 | 345.06 | 0.014696 | 345.176 | 0.0089198 | 345.2921 | 0.013005 | 345.4082 | 2.9247 | 345.5243 | 0.012468 | 345.6404 | 0.01367 | 345.7564 | 0.011249 | 345.8725 | 0.012638 | 346.09 | 0.0082012 | 346.2061 | 0.011772 | 346.3222 | 0.011407 | 346.4383 | 0.0072848 | 346.5544 | 0.0096879 | 346.6704 | 0.0084781 | 346.7865 | 0.0081328 | 346.9026 | 0.00053683 | 347.1201 | 0.0073097 | 347.2362 | -0.0002055 | 347.3522