## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9171 | 0 | 0.010411 | 0.11612 | 0.013287 | 0.23223 | 0.0152 | 0.34831 | 0.013251 | 0.46439 | 0.011644 | 0.58048 | 0.0085297 | 0.69655 | 0.013118 | 0.81262 | 0.014313 | 1.0301 | 0.013032 | 1.1462 | 0.013188 | 1.2622 | 0.013973 | 1.3783 | 0.011697 | 1.4944 | 0.010448 | 1.6105 | 0.010921 | 1.7266 | 0.012496 | 1.8427 | 0.009661 | 2.0602 | 0.014734 | 2.1762 | 0.0089364 | 2.2923 | 0.013094 | 2.4084 | 2.9251 | 2.5245 | 0.012547 | 2.6406 | 0.013713 | 2.7567 | 0.011294 | 2.8727 | 0.01272 | 3.0902 | 0.0083169 | 3.2063 | 0.012009 | 3.3224 | 0.011348 | 3.4384 | 0.0073403 | 3.5545 | 0.0096006 | 3.6706 | 0.0085401 | 3.7867 | 0.0080543 | 3.9027 | 0.0004794 | 4.1202 | 0.0073541 | 4.2363 | -0.00023929 | 4.3524
2.9171 | 6.999 | 0.010409 | 7.1151 | 0.013286 | 7.2312 | 0.015198 | 7.3472 | 0.01325 | 7.4633 | 0.011642 | 7.5794 | 0.0085278 | 7.6954 | 0.013119 | 7.8115 | 0.014313 | 8.029 | 0.013032 | 8.1451 | 0.013188 | 8.2612 | 0.013973 | 8.3772 | 0.011696 | 8.4933 | 0.010447 | 8.6094 | 0.01092 | 8.7255 | 0.012497 | 8.8416 | 0.0096608 | 9.0591 | 0.014733 | 9.1752 | 0.0089359 | 9.2912 | 0.013095 | 9.4073 | 2.9251 | 9.5234 | 0.012546 | 9.6395 | 0.013713 | 9.7556 | 0.011294 | 9.8716 | 0.01272 | 10.0891 | 0.0083166 | 10.2052 | 0.012008 | 10.3213 | 0.011348 | 10.4374 | 0.0073396 | 10.5535 | 0.0096007 | 10.6695 | 0.0085402 | 10.7856 | 0.0080539 | 10.9017 | 0.00047965 | 11.1192 | 0.0073541 | 11.2353 | -0.00023925 | 11.3514
2.9171 | 13.999 | 0.010408 | 14.115 | 0.013284 | 14.2311 | 0.015198 | 14.3472 | 0.013249 | 14.4633 | 0.011642 | 14.5794 | 0.0085274 | 14.6955 | 0.013118 | 14.8115 | 0.014312 | 15.029 | 0.013032 | 15.1451 | 0.013187 | 15.2612 | 0.013973 | 15.3773 | 0.011695 | 15.4934 | 0.010446 | 15.6095 | 0.01092 | 15.7256 | 0.012496 | 15.8417 | 0.0096604 | 16.0592 | 0.014732 | 16.1752 | 0.0089355 | 16.2913 | 0.013094 | 16.4074 | 2.9251 | 16.5235 | 0.012547 | 16.6396 | 0.013712 | 16.7557 | 0.011293 | 16.8717 | 0.012719 | 17.0892 | 0.0083167 | 17.2053 | 0.012008 | 17.3214 | 0.011347 | 17.4375 | 0.0073385 | 17.5535 | 0.0095994 | 17.6696 | 0.0085395 | 17.7857 | 0.0080532 | 17.9018 | 0.00047946 | 18.1193 | 0.0073533 | 18.2353 | -0.00023953 | 18.3514
2.9171 | 20.999 | 0.010409 | 21.1151 | 0.013284 | 21.2312 | 0.015198 | 21.3472 | 0.013249 | 21.4633 | 0.011644 | 21.5794 | 0.0085275 | 21.6955 | 0.013116 | 21.8116 | 0.014311 | 22.029 | 0.01303 | 22.1451 | 0.013186 | 22.2612 | 0.013971 | 22.3772 | 0.011693 | 22.4933 | 0.010445 | 22.6094 | 0.010919 | 22.7255 | 0.012494 | 22.8416 | 0.0096593 | 23.0591 | 0.014731 | 23.1752 | 0.0089351 | 23.2913 | 0.013093 | 23.4073 | 2.9251 | 23.5234 | 0.012545 | 23.6395 | 0.013711 | 23.7556 | 0.011292 | 23.8717 | 0.012718 | 24.0891 | 0.0083159 | 24.2052 | 0.012007 | 24.3213 | 0.011347 | 24.4374 | 0.0073384 | 24.5535 | 0.0095987 | 24.6695 | 0.0085384 | 24.7856 | 0.0080529 | 24.9017 | 0.00047909 | 25.1191 | 0.0073539 | 25.2353 | -0.00023938 | 25.3515
2.9171 | 27.999 | 0.010412 | 28.1151 | 0.013287 | 28.2312 | 0.015201 | 28.3472 | 0.013252 | 28.4633 | 0.011646 | 28.5794 | 0.0085297 | 28.6955 | 0.013118 | 28.8116 | 0.014313 | 29.029 | 0.013031 | 29.1451 | 0.013187 | 29.2612 | 0.013972 | 29.3773 | 0.011693 | 29.4933 | 0.010446 | 29.6094 | 0.01092 | 29.7255 | 0.012495 | 29.8416 | 0.0096595 | 30.0591 | 0.014732 | 30.1751 | 0.0089352 | 30.2913 | 0.013094 | 30.4075 | 2.9251 | 30.5236 | 0.012546 | 30.6396 | 0.013712 | 30.7557 | 0.011293 | 30.8718 | 0.012718 | 31.0892 | 0.0083167 | 31.2053 | 0.012008 | 31.3214 | 0.011348 | 31.4374 | 0.0073394 | 31.5535 | 0.0095996 | 31.6696 | 0.0085393 | 31.7857 | 0.0080537 | 31.9017 | 0.00047918 | 32.1192 | 0.0073544 | 32.2353 | -0.00023925 | 32.3514
2.9171 | 34.999 | 0.010414 | 35.1151 | 0.013289 | 35.2311 | 0.015204 | 35.351 | 0.013255 | 35.4671 | 0.011646 | 35.5832 | 0.0085303 | 35.6993 | 0.013121 | 35.8154 | 0.014314 | 36.0328 | 0.013033 | 36.1489 | 0.013187 | 36.265 | 0.013972 | 36.3811 | 0.011694 | 36.4972 | 0.010447 | 36.6132 | 0.01092 | 36.7293 | 0.012495 | 36.8454 | 0.0096604 | 37.0629 | 0.014733 | 37.179 | 0.0089353 | 37.2951 | 0.013094 | 37.4111 | 2.9251 | 37.5272 | 0.012547 | 37.6433 | 0.013713 | 37.7594 | 0.011293 | 37.8755 | 0.01272 | 38.0929 | 0.0083176 | 38.209 | 0.012008 | 38.3251 | 0.011347 | 38.4411 | 0.0073397 | 38.5572 | 0.0095998 | 38.6733 | 0.0085393 | 38.7893 | 0.0080538 | 38.9054 | 0.00047901 | 39.1229 | 0.0073548 | 39.239 | -0.00023939 | 39.3551
2.9171 | 41.999 | 0.010414 | 42.1151 | 0.013288 | 42.2312 | 0.015203 | 42.3473 | 0.013254 | 42.4633 | 0.011645 | 42.5794 | 0.0085309 | 42.6955 | 0.013122 | 42.8116 | 0.014314 | 43.0291 | 0.013034 | 43.1451 | 0.013188 | 43.2612 | 0.013974 | 43.3773 | 0.011696 | 43.4934 | 0.010447 | 43.6095 | 0.01092 | 43.7255 | 0.012495 | 43.8416 | 0.0096606 | 44.0591 | 0.014732 | 44.1752 | 0.0089352 | 44.2913 | 0.013094 | 44.4073 | 2.9251 | 44.5234 | 0.012547 | 44.6395 | 0.013714 | 44.7556 | 0.011293 | 44.8717 | 0.01272 | 45.0891 | 0.0083174 | 45.2052 | 0.012009 | 45.3213 | 0.011348 | 45.4451 | 0.0073405 | 45.5612 | 0.0096004 | 45.6773 | 0.0085401 | 45.7933 | 0.0080545 | 45.9094 | 0.00047892 | 46.1269 | 0.0073553 | 46.243 | -0.00023969 | 46.359
2.9171 | 48.999 | 0.010412 | 49.1151 | 0.013287 | 49.2312 | 0.015203 | 49.3472 | 0.013253 | 49.4633 | 0.011646 | 49.5794 | 0.0085306 | 49.6955 | 0.01312 | 49.8115 | 0.014313 | 50.029 | 0.013033 | 50.145 | 0.013187 | 50.2611 | 0.013974 | 50.3772 | 0.011695 | 50.4993 | 0.010447 | 50.6154 | 0.01092 | 50.7314 | 0.012495 | 50.8475 | 0.0096604 | 51.065 | 0.014732 | 51.1811 | 0.0089356 | 51.2972 | 0.013094 | 51.4133 | 2.9251 | 51.5294 | 0.012547 | 51.6454 | 0.013714 | 51.7615 | 0.011293 | 51.8776 | 0.01272 | 52.0951 | 0.0083167 | 52.2112 | 0.012009 | 52.3272 | 0.011349 | 52.4433 | 0.0073408 | 52.5594 | 0.009601 | 52.6755 | 0.0085405 | 52.7916 | 0.0080551 | 52.9076 | 0.00047876 | 53.1251 | 0.007356 | 53.2412 | -0.00023937 | 53.3573
2.9171 | 55.999 | 0.010412 | 56.1151 | 0.013287 | 56.2312 | 0.015202 | 56.3473 | 0.013252 | 56.4634 | 0.011645 | 56.5794 | 0.0085301 | 56.6955 | 0.013118 | 56.8116 | 0.014313 | 57.0291 | 0.013034 | 57.1451 | 0.013188 | 57.2612 | 0.013974 | 57.3773 | 0.011695 | 57.4934 | 0.010446 | 57.6094 | 0.010919 | 57.7255 | 0.012495 | 57.8416 | 0.0096602 | 58.0591 | 0.014732 | 58.1752 | 0.0089348 | 58.2912 | 0.013094 | 58.4073 | 2.9251 | 58.5234 | 0.012547 | 58.6395 | 0.013712 | 58.7555 | 0.011293 | 58.8716 | 0.012719 | 59.0891 | 0.0083166 | 59.2052 | 0.012009 | 59.3213 | 0.011348 | 59.4373 | 0.0073403 | 59.5534 | 0.0096012 | 59.6695 | 0.0085402 | 59.7856 | 0.0080551 | 59.9017 | 0.00047877 | 60.1191 | 0.007356 | 60.2352 | -0.00023936 | 60.3513
2.9171 | 62.999 | 0.01041 | 63.1151 | 0.013286 | 63.2312 | 0.015202 | 63.3473 | 0.013251 | 63.4633 | 0.011644 | 63.5794 | 0.0085293 | 63.6955 | 0.013118 | 63.8116 | 0.014312 | 64.029 | 0.013034 | 64.1451 | 0.013188 | 64.2612 | 0.013974 | 64.3773 | 0.011695 | 64.4933 | 0.010447 | 64.6094 | 0.01092 | 64.7255 | 0.012495 | 64.8416 | 0.0096602 | 65.0591 | 0.014732 | 65.1752 | 0.0089351 | 65.2912 | 0.013094 | 65.4073 | 2.9251 | 65.5234 | 0.012547 | 65.6473 | 0.013713 | 65.7634 | 0.011293 | 65.8795 | 0.012719 | 66.097 | 0.0083162 | 66.2131 | 0.012008 | 66.3291 | 0.011347 | 66.4452 | 0.0073398 | 66.5613 | 0.0095999 | 66.6773 | 0.0085389 | 66.7934 | 0.0080539 | 66.9095 | 0.00047881 | 67.127 | 0.007354 | 67.243 | -0.00023959 | 67.3591
2.9171 | 69.999 | 0.010411 | 70.1151 | 0.013285 | 70.2312 | 0.015201 | 70.3473 | 0.013251 | 70.4633 | 0.011643 | 70.5794 | 0.0085288 | 70.7015 | 0.013118 | 70.8176 | 0.014311 | 71.0351 | 0.013032 | 71.1511 | 0.013185 | 71.2672 | 0.013971 | 71.3833 | 0.011692 | 71.4994 | 0.010445 | 71.6154 | 0.010918 | 71.7315 | 0.012492 | 71.8476 | 0.0096579 | 72.0651 | 0.014728 | 72.1811 | 0.0089333 | 72.2972 | 0.01309 | 72.4133 | 2.9251 | 72.5294 | 0.012544 | 72.6455 | 0.013708 | 72.7616 | 0.01129 | 72.8777 | 0.012716 | 73.0951 | 0.0083146 | 73.2112 | 0.012002 | 73.3273 | 0.011341 | 73.4434 | 0.0073349 | 73.5594 | 0.0095941 | 73.6755 | 0.0085345 | 73.7916 | 0.0080495 | 73.9077 | 0.00047777 | 74.1251 | 0.0073493 | 74.2412 | -0.00023981 | 74.3573
2.9171 | 76.999 | 0.01041 | 77.1151 | 0.013285 | 77.2312 | 0.015201 | 77.3472 | 0.01325 | 77.4633 | 0.011643 | 77.5794 | 0.0085279 | 77.6955 | 0.013118 | 77.8116 | 0.014307 | 78.029 | 0.013029 | 78.1451 | 0.013181 | 78.2612 | 0.013966 | 78.3773 | 0.011687 | 78.4934 | 0.01044 | 78.6095 | 0.010913 | 78.7255 | 0.012487 | 78.8416 | 0.0096542 | 79.0591 | 0.014722 | 79.1752 | 0.0089306 | 79.2913 | 0.013085 | 79.4073 | 2.9251 | 79.5234 | 0.012539 | 79.6395 | 0.013702 | 79.7556 | 0.011287 | 79.8717 | 0.012713 | 80.0892 | 0.0083101 | 80.2052 | 0.011998 | 80.3213 | 0.01134 | 80.4374 | 0.0073351 | 80.5535 | 0.0095929 | 80.6696 | 0.0085337 | 80.7858 | 0.0080483 | 80.9019 | 0.00047829 | 81.1194 | 0.0073494 | 81.2355 | -0.0002402 | 81.3515
2.9171 | 83.999 | 0.010404 | 84.115 | 0.013278 | 84.2311 | 0.015195 | 84.3472 | 0.013244 | 84.4633 | 0.011637 | 84.5794 | 0.0085235 | 84.6954 | 0.013112 | 84.8115 | 0.014305 | 85.029 | 0.013026 | 85.1451 | 0.013178 | 85.2611 | 0.013965 | 85.3772 | 0.011685 | 85.4933 | 0.01044 | 85.6094 | 0.010913 | 85.7254 | 0.012487 | 85.8494 | 0.0096541 | 86.0669 | 0.014723 | 86.183 | 0.0089301 | 86.2991 | 0.013086 | 86.4152 | 2.9251 | 86.5312 | 0.012539 | 86.6473 | 0.013701 | 86.7634 | 0.011287 | 86.8795 | 0.012713 | 87.097 | 0.0083089 | 87.213 | 0.011999 | 87.3291 | 0.01134 | 87.4452 | 0.0073337 | 87.5613 | 0.0095931 | 87.6773 | 0.008534 | 87.7934 | 0.0080485 | 87.9095 | 0.00047812 | 88.127 | 0.0073483 | 88.243 | -0.00024062 | 88.3591
2.9171 | 90.999 | 0.010404 | 91.1151 | 0.013279 | 91.2312 | 0.015194 | 91.3473 | 0.013244 | 91.4633 | 0.011638 | 91.5794 | 0.0085231 | 91.6955 | 0.013111 | 91.8115 | 0.014305 | 92.029 | 0.013024 | 92.1451 | 0.013179 | 92.2612 | 0.013966 | 92.3773 | 0.011685 | 92.4933 | 0.010441 | 92.6094 | 0.010914 | 92.7255 | 0.012488 | 92.8416 | 0.0096551 | 93.0591 | 0.014724 | 93.1752 | 0.0089308 | 93.2913 | 0.013088 | 93.4073 | 2.9251 | 93.5234 | 0.012539 | 93.6395 | 0.013703 | 93.7555 | 0.011287 | 93.8716 | 0.012713 | 94.0891 | 0.0083096 | 94.2052 | 0.012001 | 94.3213 | 0.011343 | 94.4373 | 0.0073353 | 94.5534 | 0.0095953 | 94.6695 | 0.0085363 | 94.7856 | 0.0080505 | 94.9016 | 0.00047776 | 95.1191 | 0.0073517 | 95.2352 | -0.00024073 | 95.3513
2.9171 | 97.999 | 0.010408 | 98.1151 | 0.013282 | 98.2312 | 0.015199 | 98.3472 | 0.013248 | 98.4633 | 0.011639 | 98.5794 | 0.0085257 | 98.6955 | 0.013114 | 98.8115 | 0.014309 | 99.029 | 0.013026 | 99.1451 | 0.013182 | 99.2612 | 0.013967 | 99.3772 | 0.011688 | 99.4933 | 0.010442 | 99.6094 | 0.010916 | 99.7255 | 0.01249 | 99.8415 | 0.0096564 | 100.059 | 0.014727 | 100.1751 | 0.0089318 | 100.2912 | 0.013089 | 100.4073 | 2.925 | 100.5234 | 0.012541 | 100.6394 | 0.013706 | 100.7555 | 0.011289 | 100.8716 | 0.012715 | 101.0891 | 0.0083116 | 101.2052 | 0.012004 | 101.3213 | 0.011345 | 101.4374 | 0.0073376 | 101.5535 | 0.0095969 | 101.6696 | 0.0085366 | 101.7856 | 0.0080523 | 101.9017 | 0.00047799 | 102.1192 | 0.0073527 | 102.2352 | -0.00024063 | 102.3513
2.917 | 104.999 | 0.01041 | 105.1151 | 0.013285 | 105.2312 | 0.015202 | 105.3473 | 0.013251 | 105.4633 | 0.011642 | 105.5794 | 0.0085273 | 105.6955 | 0.013117 | 105.8116 | 0.01431 | 106.0291 | 0.013029 | 106.1452 | 0.013184 | 106.2612 | 0.013969 | 106.3773 | 0.01169 | 106.4934 | 0.010443 | 106.6095 | 0.010917 | 106.7255 | 0.012491 | 106.8416 | 0.0096573 | 107.0591 | 0.014727 | 107.1752 | 0.0089324 | 107.2913 | 0.01309 | 107.4074 | 2.925 | 107.5235 | 0.012542 | 107.6395 | 0.013707 | 107.7556 | 0.011289 | 107.8717 | 0.012716 | 108.0892 | 0.0083125 | 108.2053 | 0.012005 | 108.3213 | 0.011346 | 108.4374 | 0.0073388 | 108.5535 | 0.0095982 | 108.6696 | 0.008538 | 108.7857 | 0.0080529 | 108.9018 | 0.00047816 | 109.1192 | 0.0073537 | 109.2353 | -0.00024011 | 109.3514
2.9171 | 111.999 | 0.01041 | 112.1151 | 0.013284 | 112.2311 | 0.015202 | 112.3472 | 0.013251 | 112.4633 | 0.011643 | 112.5794 | 0.0085279 | 112.6955 | 0.013118 | 112.8116 | 0.01431 | 113.029 | 0.01303 | 113.1451 | 0.013184 | 113.2612 | 0.013971 | 113.3773 | 0.011691 | 113.4933 | 0.010444 | 113.6094 | 0.010916 | 113.7255 | 0.012491 | 113.8416 | 0.0096577 | 114.0591 | 0.014728 | 114.1752 | 0.0089329 | 114.2913 | 0.01309 | 114.4073 | 2.9251 | 114.5234 | 0.012543 | 114.6395 | 0.013708 | 114.7556 | 0.011289 | 114.8716 | 0.012716 | 115.0891 | 0.008313 | 115.2052 | 0.012006 | 115.3213 | 0.011347 | 115.4374 | 0.0073385 | 115.5535 | 0.009598 | 115.6695 | 0.0085389 | 115.7856 | 0.0080533 | 115.9017 | 0.00047809 | 116.1192 | 0.007354 | 116.2353 | -0.00023996 | 116.3513
2.9171 | 118.999 | 0.010409 | 119.115 | 0.013283 | 119.2311 | 0.0152 | 119.3472 | 0.013249 | 119.4633 | 0.011642 | 119.5794 | 0.0085276 | 119.6955 | 0.013116 | 119.8115 | 0.014311 | 120.029 | 0.01303 | 120.1451 | 0.013184 | 120.2612 | 0.013971 | 120.3773 | 0.011692 | 120.4933 | 0.010444 | 120.6094 | 0.010917 | 120.7255 | 0.012492 | 120.8416 | 0.0096577 | 121.0591 | 0.014728 | 121.1753 | 0.0089329 | 121.2913 | 0.01309 | 121.4074 | 2.9251 | 121.5235 | 0.012543 | 121.6396 | 0.013709 | 121.7556 | 0.01129 | 121.8717 | 0.012716 | 122.0892 | 0.0083139 | 122.2053 | 0.012006 | 122.3213 | 0.011346 | 122.4374 | 0.0073389 | 122.5535 | 0.0095986 | 122.6696 | 0.0085393 | 122.7857 | 0.0080535 | 122.9017 | 0.00047836 | 123.1192 | 0.0073539 | 123.2353 | -0.00024016 | 123.3514
2.9171 | 125.999 | 0.010408 | 126.1151 | 0.013283 | 126.2312 | 0.0152 | 126.3473 | 0.013249 | 126.4633 | 0.011642 | 126.5794 | 0.0085279 | 126.6955 | 0.013115 | 126.8116 | 0.014311 | 127.029 | 0.013032 | 127.1451 | 0.013185 | 127.2612 | 0.013972 | 127.3773 | 0.011693 | 127.4934 | 0.010446 | 127.6094 | 0.010918 | 127.7255 | 0.012493 | 127.8416 | 0.0096581 | 128.0591 | 0.014729 | 128.1752 | 0.0089331 | 128.2913 | 0.01309 | 128.4073 | 2.9251 | 128.5234 | 0.012544 | 128.6395 | 0.01371 | 128.7556 | 0.01129 | 128.8717 | 0.012717 | 129.0891 | 0.0083143 | 129.2052 | 0.012007 | 129.3213 | 0.011347 | 129.4374 | 0.007339 | 129.5535 | 0.009599 | 129.6696 | 0.0085392 | 129.7856 | 0.0080537 | 129.9017 | 0.00047836 | 130.1192 | 0.0073541 | 130.2353 | -0.00024035 | 130.3513
2.9171 | 132.999 | 0.010409 | 133.1151 | 0.013284 | 133.2312 | 0.015201 | 133.3473 | 0.01325 | 133.4633 | 0.011642 | 133.5794 | 0.0085286 | 133.6955 | 0.013117 | 133.8116 | 0.014311 | 134.0291 | 0.013032 | 134.1452 | 0.013184 | 134.2612 | 0.013971 | 134.3773 | 0.011693 | 134.4934 | 0.010445 | 134.6094 | 0.010918 | 134.7255 | 0.012493 | 134.8416 | 0.0096582 | 135.0591 | 0.014729 | 135.1752 | 0.0089334 | 135.2912 | 0.013091 | 135.4073 | 2.9251 | 135.5234 | 0.012545 | 135.6395 | 0.01371 | 135.7556 | 0.01129 | 135.8716 | 0.012716 | 136.0891 | 0.0083148 | 136.2052 | 0.012007 | 136.3213 | 0.011347 | 136.4374 | 0.0073388 | 136.5535 | 0.0095987 | 136.6696 | 0.0085389 | 136.7856 | 0.0080544 | 136.9017 | 0.00047782 | 137.1192 | 0.0073543 | 137.2353 | -0.00023986 | 137.3514
2.9171 | 139.999 | 0.01041 | 140.1151 | 0.013286 | 140.2312 | 0.015202 | 140.3472 | 0.013251 | 140.4633 | 0.011643 | 140.5794 | 0.0085294 | 140.6955 | 0.013119 | 140.8116 | 0.014311 | 141.0291 | 0.013033 | 141.1451 | 0.013185 | 141.2612 | 0.013972 | 141.3773 | 0.011694 | 141.4934 | 0.010445 | 141.6095 | 0.010918 | 141.7256 | 0.012493 | 141.8416 | 0.0096582 | 142.0591 | 0.014729 | 142.1752 | 0.0089334 | 142.2913 | 0.013091 | 142.4074 | 2.9251 | 142.5235 | 0.012545 | 142.6395 | 0.01371 | 142.7556 | 0.01129 | 142.8717 | 0.012716 | 143.0892 | 0.0083152 | 143.2052 | 0.012007 | 143.3213 | 0.011346 | 143.4374 | 0.0073391 | 143.5535 | 0.009599 | 143.6696 | 0.008539 | 143.7857 | 0.0080539 | 143.9017 | 0.00047802 | 144.1192 | 0.0073542 | 144.2353 | -0.00024025 | 144.3513
2.9171 | 146.999 | 0.010411 | 147.1151 | 0.013285 | 147.2312 | 0.015202 | 147.3473 | 0.01325 | 147.4633 | 0.011644 | 147.5794 | 0.00853 | 147.6955 | 0.013118 | 147.8116 | 0.01431 | 148.029 | 0.013032 | 148.1451 | 0.013185 | 148.2612 | 0.013971 | 148.3773 | 0.011693 | 148.4934 | 0.010445 | 148.6094 | 0.010918 | 148.7255 | 0.012493 | 148.8416 | 0.0096579 | 149.0591 | 0.014729 | 149.1752 | 0.0089337 | 149.2913 | 0.013091 | 149.4074 | 2.9251 | 149.5234 | 0.012545 | 149.6395 | 0.013709 | 149.7556 | 0.01129 | 149.8717 | 0.012717 | 150.0892 | 0.0083148 | 150.2052 | 0.012006 | 150.3213 | 0.011346 | 150.4374 | 0.0073391 | 150.5535 | 0.0095995 | 150.6696 | 0.0085389 | 150.7857 | 0.0080534 | 150.9017 | 0.00047843 | 151.1192 | 0.0073542 | 151.2353 | -0.00023993 | 151.3514
2.9171 | 153.999 | 0.010411 | 154.1151 | 0.013286 | 154.2312 | 0.015201 | 154.3472 | 0.01325 | 154.4633 | 0.011644 | 154.5794 | 0.0085297 | 154.6954 | 0.013117 | 154.8115 | 0.01431 | 155.029 | 0.013032 | 155.1451 | 0.013184 | 155.2612 | 0.01397 | 155.3772 | 0.011693 | 155.4933 | 0.010445 | 155.6094 | 0.010917 | 155.7255 | 0.012493 | 155.8415 | 0.0096589 | 156.059 | 0.01473 | 156.1751 | 0.0089335 | 156.2912 | 0.013092 | 156.4073 | 2.9251 | 156.5234 | 0.012545 | 156.6395 | 0.01371 | 156.7556 | 0.011291 | 156.8717 | 0.012717 | 157.0891 | 0.008315 | 157.2052 | 0.012006 | 157.3213 | 0.011346 | 157.4374 | 0.0073387 | 157.5535 | 0.0095988 | 157.6695 | 0.0085388 | 157.7856 | 0.008054 | 157.9017 | 0.00047803 | 158.1192 | 0.0073544 | 158.2352 | -0.00024001 | 158.3513
2.9171 | 160.999 | 0.01041 | 161.1151 | 0.013285 | 161.2312 | 0.015199 | 161.3472 | 0.013249 | 161.4634 | 0.011642 | 161.5795 | 0.0085286 | 161.6956 | 0.013116 | 161.8117 | 0.01431 | 162.0292 | 0.013031 | 162.1453 | 0.013185 | 162.2614 | 0.013972 | 162.3774 | 0.011694 | 162.4935 | 0.010446 | 162.6096 | 0.010918 | 162.7257 | 0.012494 | 162.8418 | 0.0096591 | 163.0593 | 0.01473 | 163.1753 | 0.0089334 | 163.2914 | 0.013092 | 163.4075 | 2.9251 | 163.5236 | 0.012544 | 163.6397 | 0.013711 | 163.7557 | 0.011291 | 163.8718 | 0.012718 | 164.0893 | 0.0083149 | 164.2054 | 0.012006 | 164.3215 | 0.011346 | 164.4375 | 0.0073387 | 164.5536 | 0.009599 | 164.6697 | 0.008539 | 164.7858 | 0.0080543 | 164.9018 | 0.00047832 | 165.1193 | 0.0073538 | 165.2354 | -0.00024046 | 165.3515
2.9171 | 167.999 | 0.010409 | 168.115 | 0.013284 | 168.2311 | 0.015199 | 168.3472 | 0.013249 | 168.4633 | 0.011641 | 168.5794 | 0.0085285 | 168.6954 | 0.013117 | 168.8115 | 0.014309 | 169.029 | 0.013031 | 169.1451 | 0.013185 | 169.2612 | 0.013971 | 169.3772 | 0.011694 | 169.4933 | 0.010446 | 169.6094 | 0.010918 | 169.7255 | 0.012493 | 169.8415 | 0.0096588 | 170.0591 | 0.01473 | 170.1751 | 0.008934 | 170.2912 | 0.013092 | 170.4073 | 2.9251 | 170.5234 | 0.012544 | 170.6394 | 0.01371 | 170.7555 | 0.011291 | 170.8716 | 0.012718 | 171.0891 | 0.0083143 | 171.2052 | 0.012006 | 171.3213 | 0.011346 | 171.4373 | 0.0073384 | 171.5535 | 0.0095982 | 171.6696 | 0.0085386 | 171.7857 | 0.0080538 | 171.9018 | 0.00047851 | 172.1193 | 0.0073534 | 172.2353 | -0.00024025 | 172.3514
2.9171 | 174.999 | 0.01041 | 175.1151 | 0.013284 | 175.2312 | 0.015198 | 175.3472 | 0.013249 | 175.4633 | 0.011642 | 175.5794 | 0.0085276 | 175.6955 | 0.013117 | 175.8116 | 0.014308 | 176.0291 | 0.01303 | 176.1452 | 0.013184 | 176.2612 | 0.013969 | 176.3773 | 0.011692 | 176.4934 | 0.010445 | 176.6095 | 0.010917 | 176.7257 | 0.012493 | 176.8418 | 0.009658 | 177.0592 | 0.014729 | 177.1753 | 0.0089328 | 177.2914 | 0.013091 | 177.4075 | 2.9251 | 177.5236 | 0.012543 | 177.6396 | 0.013709 | 177.7557 | 0.011289 | 177.8718 | 0.012716 | 178.0893 | 0.0083132 | 178.2053 | 0.012006 | 178.3214 | 0.011345 | 178.4375 | 0.0073378 | 178.5536 | 0.0095979 | 178.6696 | 0.0085377 | 178.7857 | 0.0080534 | 178.9018 | 0.00047808 | 179.1192 | 0.0073528 | 179.2353 | -0.00024016 | 179.3514
2.9171 | 181.999 | 0.010409 | 182.1151 | 0.013284 | 182.2312 | 0.015198 | 182.3472 | 0.013248 | 182.4633 | 0.011643 | 182.5794 | 0.0085274 | 182.6955 | 0.013115 | 182.8116 | 0.014308 | 183.029 | 0.013029 | 183.1451 | 0.013183 | 183.2612 | 0.013969 | 183.3773 | 0.011691 | 183.4933 | 0.010443 | 183.6094 | 0.010916 | 183.7255 | 0.012492 | 183.8416 | 0.0096569 | 184.0591 | 0.014728 | 184.1752 | 0.0089321 | 184.2912 | 0.01309 | 184.4073 | 2.925 | 184.5234 | 0.012543 | 184.6395 | 0.013708 | 184.7556 | 0.011289 | 184.8717 | 0.012715 | 185.0891 | 0.0083131 | 185.2052 | 0.012005 | 185.3212 | 0.011345 | 185.4373 | 0.0073373 | 185.5534 | 0.009597 | 185.6695 | 0.008537 | 185.7856 | 0.0080522 | 185.9016 | 0.00047785 | 186.1191 | 0.0073523 | 186.2352 | -0.00024028 | 186.3513
2.9171 | 188.999 | 0.01041 | 189.1151 | 0.013284 | 189.2311 | 0.015198 | 189.3472 | 0.013249 | 189.4633 | 0.011643 | 189.5794 | 0.0085288 | 189.6955 | 0.013115 | 189.8116 | 0.014309 | 190.0291 | 0.013029 | 190.1451 | 0.013183 | 190.2612 | 0.013969 | 190.3773 | 0.01169 | 190.4934 | 0.010443 | 190.6094 | 0.010916 | 190.7255 | 0.012492 | 190.8416 | 0.0096568 | 191.0591 | 0.014727 | 191.1752 | 0.0089324 | 191.2913 | 0.01309 | 191.4073 | 2.925 | 191.5234 | 0.012542 | 191.6395 | 0.013707 | 191.7557 | 0.011289 | 191.8718 | 0.012715 | 192.0893 | 0.008313 | 192.2054 | 0.012003 | 192.3214 | 0.011343 | 192.4375 | 0.007336 | 192.5536 | 0.0095964 | 192.6697 | 0.0085363 | 192.7858 | 0.0080514 | 192.9018 | 0.00047796 | 193.1193 | 0.0073516 | 193.2354 | -0.00024062 | 193.3515
2.9171 | 195.999 | 0.01041 | 196.1151 | 0.013284 | 196.2311 | 0.015199 | 196.3472 | 0.013249 | 196.4633 | 0.011642 | 196.5794 | 0.0085284 | 196.6955 | 0.013116 | 196.8117 | 0.014309 | 197.0292 | 0.013028 | 197.1453 | 0.013183 | 197.2614 | 0.013968 | 197.3774 | 0.01169 | 197.4935 | 0.010443 | 197.6096 | 0.010916 | 197.7257 | 0.012491 | 197.8417 | 0.0096567 | 198.0592 | 0.014727 | 198.1753 | 0.0089315 | 198.2914 | 0.013089 | 198.4075 | 2.925 | 198.5236 | 0.012542 | 198.6397 | 0.013707 | 198.7557 | 0.011289 | 198.8718 | 0.012715 | 199.0893 | 0.0083126 | 199.2054 | 0.012003 | 199.3215 | 0.011343 | 199.4375 | 0.0073358 | 199.5536 | 0.0095961 | 199.6697 | 0.0085367 | 199.7857 | 0.008051 | 199.9018 | 0.00047766 | 200.1193 | 0.0073518 | 200.2354 | -0.00024066 | 200.3514
2.9171 | 202.999 | 0.010409 | 203.1151 | 0.013283 | 203.2312 | 0.015199 | 203.3472 | 0.013248 | 203.4633 | 0.011641 | 203.5794 | 0.0085278 | 203.6954 | 0.013116 | 203.8115 | 0.014308 | 204.029 | 0.013028 | 204.1451 | 0.013182 | 204.2611 | 0.013968 | 204.3772 | 0.011689 | 204.4933 | 0.010443 | 204.6094 | 0.010916 | 204.7255 | 0.012491 | 204.8416 | 0.0096558 | 205.0591 | 0.014725 | 205.1751 | 0.0089306 | 205.2912 | 0.013089 | 205.4073 | 2.925 | 205.5234 | 0.012541 | 205.6395 | 0.013706 | 205.7555 | 0.011289 | 205.8716 | 0.012715 | 206.0891 | 0.0083111 | 206.2052 | 0.012003 | 206.3213 | 0.011343 | 206.4374 | 0.0073362 | 206.5535 | 0.0095963 | 206.6696 | 0.0085371 | 206.7857 | 0.0080517 | 206.9018 | 0.00047797 | 207.1194 | 0.0073517 | 207.2354 | -0.00024109 | 207.3515
2.9171 | 209.999 | 0.010407 | 210.1151 | 0.01328 | 210.2312 | 0.015196 | 210.3472 | 0.013247 | 210.4633 | 0.01164 | 210.5794 | 0.0085266 | 210.6955 | 0.013114 | 210.8115 | 0.014306 | 211.029 | 0.013026 | 211.1451 | 0.01318 | 211.2612 | 0.013966 | 211.3772 | 0.011688 | 211.4933 | 0.010442 | 211.6094 | 0.010914 | 211.7255 | 0.012489 | 211.8416 | 0.0096551 | 212.0591 | 0.014724 | 212.1752 | 0.0089295 | 212.2912 | 0.013088 | 212.4073 | 2.925 | 212.5234 | 0.012537 | 212.6395 | 0.013703 | 212.7556 | 0.011287 | 212.8716 | 0.012713 | 213.0891 | 0.0083088 | 213.2052 | 0.012002 | 213.3213 | 0.011343 | 213.4374 | 0.0073366 | 213.5534 | 0.0095956 | 213.6695 | 0.0085361 | 213.7856 | 0.0080511 | 213.9016 | 0.00047778 | 214.1191 | 0.0073514 | 214.2352 | -0.00024102 | 214.3512
2.917 | 217.001 | 0.010405 | 217.1171 | 0.013279 | 217.2332 | 0.015192 | 217.3493 | 0.013245 | 217.4654 | 0.011638 | 217.5815 | 0.0085246 | 217.6976 | 0.01311 | 217.8136 | 0.014305 | 218.0311 | 0.013025 | 218.1472 | 0.013179 | 218.2632 | 0.013965 | 218.3793 | 0.011686 | 218.4954 | 0.010441 | 218.6115 | 0.010913 | 218.7276 | 0.012488 | 218.8436 | 0.0096544 | 219.0611 | 0.014722 | 219.1772 | 0.0089291 | 219.2933 | 0.013087 | 219.4094 | 2.925 | 219.5255 | 0.012536 | 219.6415 | 0.013702 | 219.7576 | 0.011286 | 219.8737 | 0.012713 | 220.0912 | 0.0083085 | 220.2072 | 0.012002 | 220.3233 | 0.011344 | 220.4394 | 0.0073367 | 220.5555 | 0.0095958 | 220.6716 | 0.0085372 | 220.7876 | 0.0080515 | 220.9037 | 0.00047766 | 221.1212 | 0.0073516 | 221.2373 | -0.00024118 | 221.3533
2.9171 | 223.999 | 0.010405 | 224.1151 | 0.013278 | 224.2312 | 0.015191 | 224.3472 | 0.013244 | 224.4633 | 0.011636 | 224.5794 | 0.0085242 | 224.6955 | 0.01311 | 224.8116 | 0.014306 | 225.029 | 0.013025 | 225.1451 | 0.01318 | 225.2612 | 0.013965 | 225.3772 | 0.011686 | 225.4933 | 0.010442 | 225.6094 | 0.010914 | 225.7255 | 0.012488 | 225.8416 | 0.0096548 | 226.0591 | 0.014723 | 226.1751 | 0.0089296 | 226.2912 | 0.013087 | 226.4073 | 2.925 | 226.5234 | 0.012537 | 226.6395 | 0.013702 | 226.7556 | 0.011286 | 226.8716 | 0.012713 | 227.0892 | 0.0083082 | 227.2053 | 0.012003 | 227.3214 | 0.011345 | 227.4375 | 0.0073372 | 227.5536 | 0.0095964 | 227.6696 | 0.0085382 | 227.7857 | 0.0080516 | 227.9018 | 0.00047748 | 228.1193 | 0.0073519 | 228.2353 | -0.00024098 | 228.3514
2.9171 | 230.999 | 0.010406 | 231.1151 | 0.013278 | 231.2312 | 0.015193 | 231.3473 | 0.013245 | 231.4633 | 0.011636 | 231.5794 | 0.0085248 | 231.6955 | 0.013112 | 231.8116 | 0.014306 | 232.0291 | 0.013026 | 232.1453 | 0.01318 | 232.2614 | 0.013965 | 232.3775 | 0.011686 | 232.4935 | 0.010442 | 232.6096 | 0.010914 | 232.7257 | 0.012489 | 232.8418 | 0.009655 | 233.0593 | 0.014723 | 233.1754 | 0.0089299 | 233.2914 | 0.013087 | 233.4075 | 2.925 | 233.5236 | 0.012539 | 233.6397 | 0.013703 | 233.7558 | 0.011286 | 233.8719 | 0.012712 | 234.0893 | 0.0083096 | 234.2054 | 0.012004 | 234.3215 | 0.011344 | 234.4376 | 0.007337 | 234.5537 | 0.0095965 | 234.6697 | 0.0085374 | 234.7858 | 0.0080522 | 234.9019 | 0.0004777 | 235.1194 | 0.0073525 | 235.2354 | -0.00024101 | 235.3515
2.9171 | 237.999 | 0.010405 | 238.1151 | 0.013279 | 238.2312 | 0.015194 | 238.3472 | 0.013245 | 238.4633 | 0.011636 | 238.5794 | 0.008525 | 238.6955 | 0.013113 | 238.8115 | 0.014307 | 239.029 | 0.013026 | 239.1451 | 0.01318 | 239.2612 | 0.013966 | 239.3772 | 0.011688 | 239.4933 | 0.010442 | 239.6094 | 0.010915 | 239.7255 | 0.012489 | 239.8415 | 0.009655 | 240.059 | 0.014724 | 240.1751 | 0.0089299 | 240.2912 | 0.013087 | 240.4073 | 2.925 | 240.5234 | 0.012538 | 240.6395 | 0.013704 | 240.7555 | 0.011286 | 240.8716 | 0.012713 | 241.0891 | 0.0083094 | 241.2052 | 0.012002 | 241.3213 | 0.011343 | 241.4373 | 0.0073366 | 241.5534 | 0.0095953 | 241.6695 | 0.0085363 | 241.7856 | 0.0080513 | 241.9017 | 0.00047821 | 242.1191 | 0.0073518 | 242.2353 | -0.00024093 | 242.3514
2.9171 | 244.999 | 0.010406 | 245.1151 | 0.013279 | 245.2312 | 0.015195 | 245.3473 | 0.013246 | 245.4633 | 0.01164 | 245.5794 | 0.0085251 | 245.6955 | 0.013113 | 245.8116 | 0.014305 | 246.0291 | 0.013025 | 246.1451 | 0.013179 | 246.2612 | 0.013965 | 246.3773 | 0.011687 | 246.4933 | 0.010441 | 246.6094 | 0.010914 | 246.7255 | 0.012488 | 246.8416 | 0.0096546 | 247.0591 | 0.014723 | 247.1752 | 0.0089297 | 247.2913 | 0.013087 | 247.4075 | 2.925 | 247.5236 | 0.012537 | 247.6396 | 0.013702 | 247.7557 | 0.011286 | 247.8718 | 0.012712 | 248.0893 | 0.0083083 | 248.2054 | 0.012001 | 248.3214 | 0.011343 | 248.4375 | 0.0073362 | 248.5536 | 0.0095955 | 248.6697 | 0.0085357 | 248.7858 | 0.0080505 | 248.9018 | 0.00047735 | 249.1193 | 0.0073509 | 249.2354 | -0.00024103 | 249.3514
2.9171 | 251.999 | 0.010408 | 252.1151 | 0.013282 | 252.2312 | 0.015197 | 252.3473 | 0.013248 | 252.4634 | 0.011644 | 252.5795 | 0.0085278 | 252.6956 | 0.013115 | 252.8117 | 0.014306 | 253.0292 | 0.013027 | 253.1452 | 0.013179 | 253.2613 | 0.013965 | 253.3774 | 0.011687 | 253.4935 | 0.010441 | 253.6095 | 0.010914 | 253.7256 | 0.012489 | 253.8417 | 0.0096552 | 254.0592 | 0.014725 | 254.1753 | 0.0089305 | 254.2914 | 0.013087 | 254.4074 | 2.925 | 254.5235 | 0.012539 | 254.6396 | 0.013703 | 254.7556 | 0.011287 | 254.8717 | 0.012714 | 255.0892 | 0.0083098 | 255.2053 | 0.012002 | 255.3214 | 0.011344 | 255.4374 | 0.0073368 | 255.5535 | 0.009596 | 255.6696 | 0.0085373 | 255.7856 | 0.0080516 | 255.9017 | 0.00047765 | 256.1192 | 0.0073522 | 256.2353 | -0.00024084 | 256.3514
2.9171 | 258.999 | 0.010408 | 259.1151 | 0.013283 | 259.2312 | 0.015199 | 259.3473 | 0.013249 | 259.4633 | 0.011644 | 259.5794 | 0.0085288 | 259.6955 | 0.013116 | 259.8116 | 0.014307 | 260.029 | 0.013029 | 260.1451 | 0.013181 | 260.2612 | 0.013968 | 260.3773 | 0.011689 | 260.4933 | 0.010443 | 260.6094 | 0.010916 | 260.7255 | 0.012491 | 260.8416 | 0.0096571 | 261.0591 | 0.014728 | 261.1752 | 0.0089323 | 261.2912 | 0.01309 | 261.4073 | 2.925 | 261.5234 | 0.012541 | 261.6394 | 0.013706 | 261.7555 | 0.011289 | 261.8716 | 0.012716 | 262.0891 | 0.0083119 | 262.2052 | 0.012004 | 262.3212 | 0.011345 | 262.4374 | 0.0073377 | 262.5536 | 0.0095972 | 262.6696 | 0.0085378 | 262.7857 | 0.008053 | 262.9018 | 0.00047755 | 263.1192 | 0.0073529 | 263.2353 | -0.00024108 | 263.3514
2.9171 | 265.999 | 0.010408 | 266.115 | 0.013284 | 266.2311 | 0.0152 | 266.3472 | 0.013249 | 266.4633 | 0.011643 | 266.5794 | 0.0085285 | 266.6954 | 0.013117 | 266.8115 | 0.014309 | 267.029 | 0.01303 | 267.1451 | 0.013183 | 267.2611 | 0.013969 | 267.3772 | 0.011691 | 267.4934 | 0.010444 | 267.6095 | 0.010917 | 267.7256 | 0.012492 | 267.8417 | 0.0096581 | 268.0592 | 0.014728 | 268.1753 | 0.0089328 | 268.2914 | 0.01309 | 268.4074 | 2.925 | 268.5235 | 0.012543 | 268.6396 | 0.013708 | 268.7557 | 0.01129 | 268.8718 | 0.012717 | 269.0893 | 0.0083137 | 269.2053 | 0.012004 | 269.3214 | 0.011345 | 269.4375 | 0.007337 | 269.5536 | 0.0095969 | 269.6697 | 0.0085369 | 269.7857 | 0.0080524 | 269.9018 | 0.00047772 | 270.1193 | 0.0073523 | 270.2353 | -0.00024028 | 270.3514
2.9171 | 272.999 | 0.010411 | 273.1151 | 0.013286 | 273.2311 | 0.015203 | 273.3472 | 0.013252 | 273.4633 | 0.011645 | 273.5794 | 0.0085296 | 273.6955 | 0.013119 | 273.8115 | 0.014311 | 274.029 | 0.013031 | 274.1451 | 0.013185 | 274.2612 | 0.013971 | 274.3773 | 0.011692 | 274.4934 | 0.010445 | 274.6094 | 0.010918 | 274.7255 | 0.012493 | 274.8416 | 0.0096581 | 275.0591 | 0.01473 | 275.1752 | 0.0089337 | 275.2912 | 0.013091 | 275.4073 | 2.925 | 275.5234 | 0.012544 | 275.6395 | 0.01371 | 275.7556 | 0.011291 | 275.8717 | 0.012718 | 276.0891 | 0.008314 | 276.2052 | 0.012005 | 276.3213 | 0.011346 | 276.4374 | 0.0073372 | 276.5534 | 0.0095974 | 276.6695 | 0.0085375 | 276.7856 | 0.0080525 | 276.9016 | 0.0004776 | 277.1191 | 0.0073525 | 277.2352 | -0.00024082 | 277.3513
2.9171 | 279.999 | 0.010413 | 280.1151 | 0.013287 | 280.2312 | 0.015205 | 280.3472 | 0.013254 | 280.4633 | 0.011646 | 280.5794 | 0.0085295 | 280.6955 | 0.013119 | 280.8115 | 0.014312 | 281.029 | 0.013031 | 281.1451 | 0.013186 | 281.2611 | 0.013972 | 281.3772 | 0.011692 | 281.4933 | 0.010446 | 281.6093 | 0.010919 | 281.7254 | 0.012494 | 281.8415 | 0.009659 | 282.059 | 0.01473 | 282.1751 | 0.0089337 | 282.2911 | 0.013092 | 282.4072 | 2.925 | 282.5233 | 0.012545 | 282.6395 | 0.01371 | 282.7556 | 0.011291 | 282.8716 | 0.012718 | 283.0891 | 0.0083146 | 283.2052 | 0.012004 | 283.3212 | 0.011346 | 283.4373 | 0.0073374 | 283.5534 | 0.0095968 | 283.6695 | 0.0085374 | 283.7856 | 0.008052 | 283.9017 | 0.00047743 | 284.1191 | 0.0073521 | 284.2352 | -0.00024092 | 284.3513
2.9171 | 286.999 | 0.010414 | 287.1151 | 0.013288 | 287.2312 | 0.015206 | 287.3473 | 0.013254 | 287.4633 | 0.011646 | 287.5794 | 0.0085299 | 287.7 | 0.01312 | 287.8161 | 0.014311 | 288.0335 | 0.013031 | 288.1496 | 0.013185 | 288.2657 | 0.013971 | 288.3818 | 0.011691 | 288.4978 | 0.010445 | 288.6139 | 0.010919 | 288.73 | 0.012493 | 288.8461 | 0.0096586 | 289.0636 | 0.014729 | 289.1797 | 0.0089333 | 289.2957 | 0.01309 | 289.4118 | 2.925 | 289.5279 | 0.012544 | 289.644 | 0.013708 | 289.7601 | 0.011291 | 289.8762 | 0.012719 | 290.0936 | 0.0083139 | 290.2097 | 0.012005 | 290.3258 | 0.011346 | 290.4419 | 0.0073373 | 290.558 | 0.0095971 | 290.6741 | 0.0085377 | 290.7901 | 0.0080527 | 290.9062 | 0.00047741 | 291.1237 | 0.0073531 | 291.2397 | -0.0002405 | 291.3558
2.9171 | 293.999 | 0.010412 | 294.1151 | 0.013286 | 294.2312 | 0.015203 | 294.3473 | 0.013252 | 294.4633 | 0.011643 | 294.5794 | 0.0085293 | 294.6955 | 0.013118 | 294.8116 | 0.014311 | 295.0291 | 0.01303 | 295.1451 | 0.013186 | 295.2612 | 0.013971 | 295.3773 | 0.011691 | 295.4934 | 0.010446 | 295.6094 | 0.010919 | 295.7255 | 0.012493 | 295.8416 | 0.0096585 | 296.0591 | 0.014729 | 296.1752 | 0.0089337 | 296.2913 | 0.013092 | 296.4074 | 2.925 | 296.5234 | 0.012543 | 296.6395 | 0.013709 | 296.7556 | 0.011291 | 296.8717 | 0.012719 | 297.0892 | 0.0083135 | 297.2052 | 0.012005 | 297.3213 | 0.011347 | 297.4374 | 0.0073383 | 297.5535 | 0.0095985 | 297.6695 | 0.008539 | 297.7939 | 0.008054 | 297.91 | 0.00047739 | 298.1275 | 0.0073541 | 298.2435 | -0.00024066 | 298.3596
2.9171 | 300.999 | 0.010411 | 301.1151 | 0.013285 | 301.2312 | 0.015203 | 301.3473 | 0.013251 | 301.4633 | 0.011643 | 301.5794 | 0.0085284 | 301.6955 | 0.013119 | 301.8115 | 0.014312 | 302.029 | 0.013031 | 302.1451 | 0.013185 | 302.2612 | 0.013971 | 302.3772 | 0.011692 | 302.4933 | 0.010446 | 302.6094 | 0.010919 | 302.7254 | 0.012494 | 302.8483 | 0.0096591 | 303.0658 | 0.014729 | 303.1819 | 0.0089343 | 303.298 | 0.013092 | 303.4141 | 2.925 | 303.5302 | 0.012543 | 303.6462 | 0.01371 | 303.7623 | 0.011292 | 303.8784 | 0.01272 | 304.0959 | 0.0083137 | 304.212 | 0.012007 | 304.328 | 0.011348 | 304.4441 | 0.0073393 | 304.5602 | 0.0095993 | 304.6762 | 0.00854 | 304.7923 | 0.0080544 | 304.9084 | 0.00047764 | 305.1259 | 0.0073554 | 305.2419 | -0.0002404 | 305.358
2.917 | 307.999 | 0.01041 | 308.1151 | 0.013285 | 308.2311 | 0.015201 | 308.3472 | 0.013251 | 308.4633 | 0.011644 | 308.5794 | 0.0085275 | 308.6955 | 0.013119 | 308.8116 | 0.014311 | 309.029 | 0.01303 | 309.1451 | 0.013185 | 309.2612 | 0.013971 | 309.3772 | 0.011692 | 309.4933 | 0.010446 | 309.6094 | 0.010918 | 309.7255 | 0.012494 | 309.8416 | 0.0096592 | 310.0591 | 0.014729 | 310.1751 | 0.0089343 | 310.2912 | 0.013092 | 310.4073 | 2.925 | 310.5234 | 0.012543 | 310.6394 | 0.013709 | 310.7555 | 0.011292 | 310.8716 | 0.012719 | 311.0891 | 0.0083132 | 311.2051 | 0.012007 | 311.3212 | 0.011348 | 311.4373 | 0.0073387 | 311.5534 | 0.0095992 | 311.6695 | 0.0085402 | 311.7855 | 0.0080545 | 311.9016 | 0.00047773 | 312.1191 | 0.007355 | 312.2352 | -0.00024087 | 312.3512
2.9171 | 314.999 | 0.010411 | 315.1151 | 0.013286 | 315.2312 | 0.015201 | 315.3472 | 0.013253 | 315.4633 | 0.011644 | 315.5794 | 0.0085284 | 315.6955 | 0.013118 | 315.8115 | 0.014311 | 316.029 | 0.01303 | 316.1451 | 0.013185 | 316.2612 | 0.013971 | 316.3772 | 0.011692 | 316.4933 | 0.010445 | 316.6094 | 0.010917 | 316.7255 | 0.012493 | 316.8416 | 0.0096582 | 317.0591 | 0.014729 | 317.1752 | 0.0089333 | 317.2912 | 0.013091 | 317.4073 | 2.925 | 317.5234 | 0.012542 | 317.6395 | 0.013709 | 317.7556 | 0.011291 | 317.8716 | 0.012717 | 318.0929 | 0.0083128 | 318.209 | 0.012005 | 318.3251 | 0.011346 | 318.4411 | 0.0073375 | 318.5572 | 0.0095981 | 318.6733 | 0.0085382 | 318.7893 | 0.008053 | 318.9054 | 0.00047795 | 319.1229 | 0.0073527 | 319.239 | -0.00024074 | 319.3551
2.9171 | 321.999 | 0.010413 | 322.1151 | 0.013287 | 322.2312 | 0.015203 | 322.3473 | 0.013253 | 322.4633 | 0.011645 | 322.5794 | 0.0085297 | 322.6955 | 0.013119 | 322.8116 | 0.014311 | 323.0345 | 0.01303 | 323.1506 | 0.013184 | 323.2667 | 0.01397 | 323.3827 | 0.011691 | 323.4988 | 0.010445 | 323.6149 | 0.010917 | 323.731 | 0.012493 | 323.847 | 0.0096576 | 324.0645 | 0.014729 | 324.1806 | 0.0089331 | 324.2967 | 0.01309 | 324.4128 | 2.925 | 324.5289 | 0.012542 | 324.645 | 0.013709 | 324.7611 | 0.01129 | 324.8771 | 0.012716 | 325.0946 | 0.0083131 | 325.2107 | 0.012005 | 325.3268 | 0.011346 | 325.4429 | 0.0073366 | 325.559 | 0.0095975 | 325.675 | 0.0085377 | 325.7911 | 0.0080531 | 325.9072 | 0.00047754 | 326.1247 | 0.0073525 | 326.2408 | -0.00024034 | 326.3568
2.917 | 328.999 | 0.010414 | 329.1151 | 0.013289 | 329.2312 | 0.015204 | 329.3472 | 0.013254 | 329.4633 | 0.011646 | 329.5794 | 0.0085301 | 329.6955 | 0.01312 | 329.8116 | 0.01431 | 330.0291 | 0.01303 | 330.1451 | 0.013186 | 330.2612 | 0.013971 | 330.3773 | 0.011692 | 330.4933 | 0.010445 | 330.6094 | 0.010917 | 330.7255 | 0.012493 | 330.8416 | 0.009658 | 331.0591 | 0.014729 | 331.1751 | 0.0089334 | 331.2912 | 0.013091 | 331.4073 | 2.925 | 331.5234 | 0.012543 | 331.6395 | 0.01371 | 331.7556 | 0.01129 | 331.8716 | 0.012717 | 332.0891 | 0.0083136 | 332.2052 | 0.012005 | 332.3213 | 0.011345 | 332.4374 | 0.0073373 | 332.5534 | 0.0095975 | 332.6695 | 0.0085373 | 332.7856 | 0.0080526 | 332.9017 | 0.00047755 | 333.1284 | 0.0073527 | 333.2445 | -0.00024081 | 333.3606
2.917 | 335.999 | 0.010414 | 336.1151 | 0.01329 | 336.2312 | 0.015206 | 336.3472 | 0.013256 | 336.4633 | 0.011647 | 336.5794 | 0.0085308 | 336.6955 | 0.013122 | 336.8116 | 0.014311 | 337.029 | 0.013031 | 337.1451 | 0.013186 | 337.2612 | 0.013972 | 337.3773 | 0.011693 | 337.4933 | 0.010446 | 337.6094 | 0.010918 | 337.7255 | 0.012494 | 337.8416 | 0.0096591 | 338.0591 | 0.01473 | 338.1827 | 0.0089341 | 338.2988 | 0.013092 | 338.4149 | 2.925 | 338.531 | 0.012544 | 338.6471 | 0.01371 | 338.7631 | 0.011291 | 338.8792 | 0.012718 | 339.0966 | 0.0083142 | 339.2127 | 0.012005 | 339.3288 | 0.011345 | 339.4449 | 0.0073374 | 339.561 | 0.0095976 | 339.6771 | 0.0085377 | 339.7931 | 0.0080528 | 339.9092 | 0.00047759 | 340.1267 | 0.007353 | 340.2428 | -0.00024039 | 340.3588
2.917 | 342.999 | 0.010416 | 343.1151 | 0.013292 | 343.2371 | 0.015208 | 343.3532 | 0.013257 | 343.4693 | 0.011649 | 343.5853 | 0.0085317 | 343.7014 | 0.013124 | 343.8175 | 0.014312 | 344.035 | 0.013032 | 344.151 | 0.013187 | 344.2671 | 0.013973 | 344.3832 | 0.011694 | 344.4993 | 0.010446 | 344.6153 | 0.010919 | 344.7314 | 0.012495 | 344.8475 | 0.0096598 | 345.065 | 0.014731 | 345.1811 | 0.0089342 | 345.2972 | 0.013093 | 345.4133 | 2.925 | 345.5294 | 0.012545 | 345.6455 | 0.013711 | 345.7615 | 0.011292 | 345.8776 | 0.01272 | 346.0951 | 0.0083149 | 346.2112 | 0.012007 | 346.3272 | 0.011347 | 346.4433 | 0.007338 | 346.5594 | 0.0095985 | 346.6755 | 0.0085387 | 346.7916 | 0.0080536 | 346.9076 | 0.00047768 | 347.1251 | 0.0073543 | 347.2412 | -0.0002405 | 347.3572