## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9168 | 0 | 0.010409 | 0.11615 | 0.013414 | 0.23228 | 0.015175 | 0.34835 | 0.01322 | 0.46444 | 0.011414 | 0.58051 | 0.0084481 | 0.69658 | 0.013249 | 0.81265 | 0.014433 | 1.0301 | 0.013161 | 1.1462 | 0.013353 | 1.2623 | 0.014201 | 1.3783 | 0.011677 | 1.4944 | 0.010423 | 1.6105 | 0.010919 | 1.7266 | 0.012489 | 1.8427 | 0.0096608 | 2.0602 | 0.014731 | 2.1763 | 0.0089381 | 2.2923 | 0.013078 | 2.4084 | 2.9245 | 2.5245 | 0.012526 | 2.6406 | 0.013712 | 2.7567 | 0.011283 | 2.8727 | 0.012706 | 3.0902 | 0.0082939 | 3.2063 | 0.011944 | 3.3224 | 0.011384 | 3.4384 | 0.0073258 | 3.5545 | 0.0096314 | 3.6706 | 0.0085351 | 3.7867 | 0.0080848 | 3.9028 | 0.00049095 | 4.1202 | 0.007349 | 4.2363 | -0.00023595 | 4.3524
2.9168 | 6.9996 | 0.01041 | 7.1157 | 0.013415 | 7.2318 | 0.015175 | 7.3478 | 0.013219 | 7.4639 | 0.01141 | 7.58 | 0.0084483 | 7.6961 | 0.013248 | 7.8122 | 0.014433 | 8.0297 | 0.013161 | 8.1457 | 0.013353 | 8.2618 | 0.0142 | 8.3779 | 0.011677 | 8.494 | 0.010422 | 8.6101 | 0.010918 | 8.7261 | 0.012488 | 8.8422 | 0.00966 | 9.0597 | 0.014731 | 9.1758 | 0.008938 | 9.2919 | 0.013077 | 9.408 | 2.9245 | 9.5241 | 0.012526 | 9.6401 | 0.013711 | 9.7562 | 0.011283 | 9.8723 | 0.012706 | 10.0898 | 0.0082939 | 10.2059 | 0.011943 | 10.322 | 0.011382 | 10.4381 | 0.0073248 | 10.5542 | 0.0096302 | 10.6703 | 0.0085337 | 10.7863 | 0.0080834 | 10.9024 | 0.00049144 | 11.1199 | 0.0073478 | 11.236 | -0.00023624 | 11.3521
2.9168 | 13.9996 | 0.010409 | 14.1157 | 0.013415 | 14.2318 | 0.015175 | 14.3479 | 0.013218 | 14.4639 | 0.011404 | 14.58 | 0.0084472 | 14.6961 | 0.013254 | 14.8122 | 0.014431 | 15.0297 | 0.01316 | 15.1457 | 0.013352 | 15.2619 | 0.014198 | 15.378 | 0.011676 | 15.494 | 0.010422 | 15.6101 | 0.010918 | 15.7262 | 0.012487 | 15.8423 | 0.0096596 | 16.0598 | 0.014731 | 16.1759 | 0.0089381 | 16.292 | 0.013077 | 16.4081 | 2.9245 | 16.5242 | 0.012526 | 16.6402 | 0.01371 | 16.7563 | 0.011282 | 16.8724 | 0.012705 | 17.0899 | 0.0082938 | 17.206 | 0.011942 | 17.322 | 0.011382 | 17.4381 | 0.007325 | 17.5542 | 0.0096298 | 17.6703 | 0.0085339 | 17.7864 | 0.008084 | 17.9024 | 0.00049142 | 18.1199 | 0.007348 | 18.236 | -0.000236 | 18.3521
2.9168 | 20.9996 | 0.010409 | 21.1157 | 0.013414 | 21.2318 | 0.015176 | 21.3478 | 0.013219 | 21.4639 | 0.011408 | 21.58 | 0.008447 | 21.6961 | 0.013255 | 21.8122 | 0.014432 | 22.0296 | 0.01316 | 22.1457 | 0.013353 | 22.2618 | 0.014198 | 22.3779 | 0.011675 | 22.494 | 0.010422 | 22.61 | 0.010917 | 22.7261 | 0.012487 | 22.8422 | 0.0096592 | 23.0597 | 0.01473 | 23.1758 | 0.008938 | 23.2919 | 0.013077 | 23.408 | 2.9246 | 23.5241 | 0.012526 | 23.6401 | 0.01371 | 23.7562 | 0.011282 | 23.8723 | 0.012704 | 24.0898 | 0.0082939 | 24.2059 | 0.011941 | 24.3219 | 0.011381 | 24.438 | 0.0073239 | 24.5541 | 0.0096288 | 24.6702 | 0.0085338 | 24.7862 | 0.0080831 | 24.9023 | 0.00049148 | 25.1198 | 0.0073477 | 25.236 | -0.00023625 | 25.3521
2.9168 | 27.9996 | 0.010408 | 28.1156 | 0.013414 | 28.2317 | 0.015176 | 28.3478 | 0.013219 | 28.4639 | 0.011411 | 28.58 | 0.0084475 | 28.6961 | 0.01325 | 28.8121 | 0.01443 | 29.0296 | 0.013158 | 29.1457 | 0.013351 | 29.2618 | 0.014197 | 29.3778 | 0.011673 | 29.4939 | 0.01042 | 29.61 | 0.010915 | 29.7261 | 0.012483 | 29.8421 | 0.0096567 | 30.0597 | 0.014726 | 30.1757 | 0.0089353 | 30.2919 | 0.013072 | 30.408 | 2.9246 | 30.5241 | 0.012524 | 30.6402 | 0.013705 | 30.7563 | 0.011279 | 30.8724 | 0.0127 | 31.0899 | 0.0082915 | 31.2059 | 0.011936 | 31.322 | 0.011376 | 31.4381 | 0.0073186 | 31.5542 | 0.0096239 | 31.6702 | 0.0085285 | 31.7863 | 0.0080783 | 31.9024 | 0.00049005 | 32.1198 | 0.0073414 | 32.2359 | -0.00023741 | 32.352
2.9168 | 34.9996 | 0.010408 | 35.1157 | 0.013414 | 35.2317 | 0.015172 | 35.3479 | 0.013217 | 35.464 | 0.011407 | 35.5801 | 0.0084469 | 35.6962 | 0.013248 | 35.8122 | 0.014428 | 36.0297 | 0.013155 | 36.1458 | 0.013345 | 36.2619 | 0.014191 | 36.378 | 0.011667 | 36.494 | 0.010415 | 36.6101 | 0.010912 | 36.7262 | 0.012478 | 36.8423 | 0.0096533 | 37.0598 | 0.01472 | 37.1759 | 0.0089326 | 37.2919 | 0.013069 | 37.408 | 2.9246 | 37.5241 | 0.01252 | 37.6402 | 0.0137 | 37.7562 | 0.011276 | 37.8723 | 0.012698 | 38.0898 | 0.0082884 | 38.2059 | 0.011933 | 38.322 | 0.011375 | 38.438 | 0.0073178 | 38.5541 | 0.0096218 | 38.6702 | 0.0085272 | 38.7863 | 0.0080775 | 38.9024 | 0.0004894 | 39.1198 | 0.0073413 | 39.2359 | -0.00023805 | 39.352
2.9168 | 41.9996 | 0.010403 | 42.1157 | 0.013407 | 42.2318 | 0.015166 | 42.3478 | 0.013211 | 42.4639 | 0.011397 | 42.58 | 0.0084416 | 42.6961 | 0.013249 | 42.8122 | 0.014425 | 43.0296 | 0.013152 | 43.1457 | 0.013343 | 43.2618 | 0.014188 | 43.3778 | 0.011666 | 43.4939 | 0.010414 | 43.61 | 0.010909 | 43.7261 | 0.012476 | 43.8421 | 0.0096521 | 44.0596 | 0.014719 | 44.1757 | 0.0089309 | 44.2918 | 0.013067 | 44.4079 | 2.9245 | 44.524 | 0.012517 | 44.6401 | 0.013697 | 44.7561 | 0.011274 | 44.8722 | 0.012696 | 45.0897 | 0.0082857 | 45.2058 | 0.011932 | 45.3219 | 0.011373 | 45.4381 | 0.0073167 | 45.5542 | 0.0096214 | 45.6702 | 0.0085264 | 45.7863 | 0.0080763 | 45.9024 | 0.00048953 | 46.1199 | 0.0073406 | 46.236 | -0.00023786 | 46.352
2.9168 | 48.9996 | 0.0104 | 49.1156 | 0.013405 | 49.2317 | 0.015163 | 49.3478 | 0.01321 | 49.4639 | 0.0114 | 49.58 | 0.0084408 | 49.6961 | 0.013248 | 49.8121 | 0.014423 | 50.0296 | 0.013152 | 50.1457 | 0.013343 | 50.2618 | 0.014187 | 50.3778 | 0.011665 | 50.494 | 0.010414 | 50.6101 | 0.010909 | 50.7262 | 0.012477 | 50.8423 | 0.0096523 | 51.0598 | 0.01472 | 51.1759 | 0.0089313 | 51.292 | 0.013067 | 51.4081 | 2.9246 | 51.5242 | 0.012517 | 51.6403 | 0.013698 | 51.7564 | 0.011274 | 51.8724 | 0.012696 | 52.0899 | 0.0082859 | 52.206 | 0.011933 | 52.3221 | 0.011374 | 52.4382 | 0.0073178 | 52.5542 | 0.0096217 | 52.6703 | 0.0085271 | 52.7864 | 0.0080772 | 52.9025 | 0.00048952 | 53.1199 | 0.0073418 | 53.236 | -0.00023779 | 53.3521
2.9168 | 55.9996 | 0.010401 | 56.1157 | 0.013407 | 56.2317 | 0.015163 | 56.3478 | 0.013211 | 56.4639 | 0.011406 | 56.58 | 0.0084423 | 56.6961 | 0.013244 | 56.8121 | 0.014424 | 57.0296 | 0.013151 | 57.1457 | 0.013343 | 57.2618 | 0.014189 | 57.3778 | 0.011666 | 57.4939 | 0.010414 | 57.61 | 0.01091 | 57.7261 | 0.012477 | 57.8422 | 0.0096527 | 58.0597 | 0.014721 | 58.1758 | 0.0089312 | 58.2918 | 0.013068 | 58.4079 | 2.9246 | 58.524 | 0.012518 | 58.6401 | 0.013699 | 58.7561 | 0.011274 | 58.8722 | 0.012696 | 59.0897 | 0.0082864 | 59.2058 | 0.011935 | 59.3218 | 0.011375 | 59.4379 | 0.007318 | 59.554 | 0.0096227 | 59.6701 | 0.0085274 | 59.7862 | 0.0080777 | 59.9022 | 0.00048919 | 60.1197 | 0.0073423 | 60.2358 | -0.00023821 | 60.3519
2.9168 | 62.9996 | 0.010403 | 63.1157 | 0.013409 | 63.2317 | 0.015163 | 63.3478 | 0.013211 | 63.4639 | 0.011403 | 63.58 | 0.0084428 | 63.696 | 0.013243 | 63.8121 | 0.014424 | 64.0296 | 0.013151 | 64.1457 | 0.013344 | 64.2617 | 0.014188 | 64.3778 | 0.011666 | 64.4939 | 0.010414 | 64.61 | 0.01091 | 64.7261 | 0.012477 | 64.8422 | 0.0096526 | 65.0597 | 0.014722 | 65.1757 | 0.0089316 | 65.2918 | 0.013068 | 65.4079 | 2.9246 | 65.524 | 0.012518 | 65.6402 | 0.0137 | 65.7563 | 0.011275 | 65.8724 | 0.012696 | 66.0899 | 0.008287 | 66.206 | 0.011936 | 66.3221 | 0.011375 | 66.4382 | 0.0073179 | 66.5543 | 0.0096223 | 66.6703 | 0.0085272 | 66.7864 | 0.0080778 | 66.9025 | 0.00048923 | 67.1199 | 0.0073425 | 67.236 | -0.00023771 | 67.3521
2.9168 | 69.9996 | 0.010404 | 70.1156 | 0.01341 | 70.2317 | 0.015164 | 70.3478 | 0.013213 | 70.4639 | 0.011399 | 70.58 | 0.0084424 | 70.6962 | 0.013248 | 70.8123 | 0.014425 | 71.0298 | 0.013151 | 71.1459 | 0.013344 | 71.2619 | 0.014188 | 71.378 | 0.011667 | 71.4941 | 0.010415 | 71.6102 | 0.01091 | 71.7263 | 0.012478 | 71.8423 | 0.009653 | 72.0598 | 0.014723 | 72.1759 | 0.0089318 | 72.292 | 0.013068 | 72.4081 | 2.9246 | 72.5242 | 0.012518 | 72.6402 | 0.0137 | 72.7563 | 0.011275 | 72.8724 | 0.012697 | 73.0899 | 0.0082877 | 73.206 | 0.011934 | 73.3221 | 0.011375 | 73.4381 | 0.0073188 | 73.5542 | 0.0096229 | 73.6703 | 0.0085275 | 73.7864 | 0.0080777 | 73.9024 | 0.00048908 | 74.1199 | 0.0073429 | 74.236 | -0.00023756 | 74.352
2.9168 | 76.9996 | 0.010402 | 77.1157 | 0.013407 | 77.2318 | 0.015164 | 77.3479 | 0.013211 | 77.4639 | 0.0114 | 77.58 | 0.0084426 | 77.6961 | 0.013247 | 77.8122 | 0.014425 | 78.0297 | 0.013152 | 78.1458 | 0.013345 | 78.2618 | 0.01419 | 78.3779 | 0.011667 | 78.494 | 0.010415 | 78.6101 | 0.01091 | 78.7261 | 0.012478 | 78.8422 | 0.0096534 | 79.0597 | 0.014722 | 79.1758 | 0.0089319 | 79.2919 | 0.013068 | 79.408 | 2.9246 | 79.5241 | 0.012519 | 79.6401 | 0.0137 | 79.7562 | 0.011275 | 79.8723 | 0.012697 | 80.0897 | 0.0082876 | 80.2058 | 0.011935 | 80.3219 | 0.011375 | 80.438 | 0.007319 | 80.5541 | 0.0096233 | 80.6701 | 0.0085283 | 80.7863 | 0.0080781 | 80.9024 | 0.00048893 | 81.1199 | 0.0073429 | 81.236 | -0.00023739 | 81.352
2.9168 | 83.9996 | 0.010402 | 84.1157 | 0.013406 | 84.2318 | 0.015165 | 84.3479 | 0.013213 | 84.4639 | 0.011405 | 84.58 | 0.0084436 | 84.6961 | 0.013242 | 84.8121 | 0.014425 | 85.0296 | 0.013152 | 85.1457 | 0.013345 | 85.2618 | 0.014191 | 85.3779 | 0.011668 | 85.4939 | 0.010415 | 85.61 | 0.01091 | 85.7261 | 0.012478 | 85.8423 | 0.0096532 | 86.0598 | 0.014722 | 86.1759 | 0.0089315 | 86.292 | 0.013069 | 86.408 | 2.9245 | 86.5241 | 0.012519 | 86.6402 | 0.013701 | 86.7563 | 0.011275 | 86.8723 | 0.012697 | 87.0898 | 0.0082881 | 87.2059 | 0.011935 | 87.322 | 0.011375 | 87.438 | 0.0073189 | 87.5541 | 0.0096234 | 87.6702 | 0.0085287 | 87.7863 | 0.0080784 | 87.9023 | 0.00048935 | 88.1198 | 0.0073434 | 88.2359 | -0.00023724 | 88.352
2.9168 | 90.9996 | 0.010404 | 91.1157 | 0.013409 | 91.2318 | 0.015166 | 91.3479 | 0.013213 | 91.4639 | 0.011405 | 91.58 | 0.0084434 | 91.6961 | 0.013244 | 91.8122 | 0.014425 | 92.0296 | 0.013152 | 92.1457 | 0.013345 | 92.2618 | 0.014191 | 92.3779 | 0.011668 | 92.494 | 0.010415 | 92.61 | 0.01091 | 92.7261 | 0.012478 | 92.8422 | 0.0096538 | 93.0597 | 0.014722 | 93.1758 | 0.0089318 | 93.2919 | 0.013068 | 93.408 | 2.9245 | 93.524 | 0.012519 | 93.6401 | 0.013701 | 93.7562 | 0.011277 | 93.8723 | 0.012697 | 94.0897 | 0.0082881 | 94.2058 | 0.011934 | 94.3219 | 0.011374 | 94.438 | 0.0073184 | 94.5541 | 0.0096229 | 94.6701 | 0.0085271 | 94.7862 | 0.0080776 | 94.9023 | 0.00048936 | 95.1198 | 0.0073426 | 95.2358 | -0.00023791 | 95.3519
2.9168 | 97.9996 | 0.010405 | 98.1157 | 0.01341 | 98.2317 | 0.015166 | 98.3478 | 0.013213 | 98.4639 | 0.011401 | 98.58 | 0.0084426 | 98.6961 | 0.013249 | 98.8121 | 0.014425 | 99.0296 | 0.013152 | 99.1457 | 0.013346 | 99.2618 | 0.014191 | 99.3779 | 0.011668 | 99.494 | 0.010416 | 99.61 | 0.01091 | 99.7261 | 0.012478 | 99.8422 | 0.0096531 | 100.0597 | 0.014722 | 100.1758 | 0.0089318 | 100.2919 | 0.013068 | 100.408 | 2.9245 | 100.524 | 0.012518 | 100.6401 | 0.013701 | 100.7562 | 0.011276 | 100.8723 | 0.012697 | 101.0898 | 0.0082872 | 101.2059 | 0.011934 | 101.322 | 0.011374 | 101.4381 | 0.0073188 | 101.5542 | 0.0096233 | 101.6702 | 0.0085276 | 101.7863 | 0.0080776 | 101.9024 | 0.00048926 | 102.1199 | 0.0073425 | 102.2359 | -0.00023788 | 102.352
2.9168 | 104.9996 | 0.010402 | 105.1157 | 0.013407 | 105.2317 | 0.015164 | 105.3478 | 0.013211 | 105.4639 | 0.011402 | 105.58 | 0.0084413 | 105.696 | 0.013249 | 105.8121 | 0.014423 | 106.0297 | 0.013151 | 106.1458 | 0.013345 | 106.2619 | 0.01419 | 106.378 | 0.011667 | 106.4941 | 0.010414 | 106.6102 | 0.010909 | 106.7262 | 0.012478 | 106.8423 | 0.0096524 | 107.0599 | 0.014721 | 107.1759 | 0.0089313 | 107.292 | 0.013068 | 107.4081 | 2.9245 | 107.5242 | 0.012518 | 107.6402 | 0.013699 | 107.7563 | 0.011275 | 107.8724 | 0.012696 | 108.0899 | 0.0082868 | 108.206 | 0.011933 | 108.322 | 0.011374 | 108.4381 | 0.0073178 | 108.5542 | 0.009622 | 108.6703 | 0.0085264 | 108.7863 | 0.0080765 | 108.9024 | 0.00048917 | 109.1198 | 0.0073413 | 109.2359 | -0.00023807 | 109.352
2.9168 | 111.9996 | 0.010399 | 112.1157 | 0.013403 | 112.2318 | 0.015162 | 112.3478 | 0.013209 | 112.4639 | 0.011404 | 112.58 | 0.0084399 | 112.6961 | 0.013242 | 112.8122 | 0.014423 | 113.0296 | 0.01315 | 113.1457 | 0.013343 | 113.2618 | 0.014189 | 113.3778 | 0.011666 | 113.4939 | 0.010414 | 113.61 | 0.010909 | 113.726 | 0.012477 | 113.8421 | 0.0096527 | 114.0596 | 0.014721 | 114.1757 | 0.0089311 | 114.2917 | 0.013068 | 114.4078 | 2.9245 | 114.5239 | 0.012518 | 114.64 | 0.013698 | 114.7561 | 0.011274 | 114.8722 | 0.012696 | 115.0897 | 0.0082871 | 115.2057 | 0.011932 | 115.3218 | 0.011373 | 115.4379 | 0.0073169 | 115.554 | 0.0096212 | 115.67 | 0.0085259 | 115.7861 | 0.0080763 | 115.9022 | 0.00048884 | 116.1198 | 0.0073408 | 116.2359 | -0.00023803 | 116.352
2.9168 | 118.9996 | 0.0104 | 119.1157 | 0.013405 | 119.2317 | 0.015161 | 119.3478 | 0.013209 | 119.4639 | 0.0114 | 119.58 | 0.0084403 | 119.696 | 0.013241 | 119.8121 | 0.014423 | 120.0296 | 0.01315 | 120.1457 | 0.013343 | 120.2617 | 0.014187 | 120.3778 | 0.011666 | 120.4939 | 0.010414 | 120.6099 | 0.010909 | 120.726 | 0.012477 | 120.8421 | 0.0096523 | 121.0596 | 0.014721 | 121.1758 | 0.0089314 | 121.2919 | 0.013067 | 121.408 | 2.9245 | 121.5241 | 0.012517 | 121.6402 | 0.013699 | 121.7562 | 0.011274 | 121.8723 | 0.012695 | 122.0898 | 0.0082869 | 122.2059 | 0.011932 | 122.322 | 0.011373 | 122.438 | 0.0073168 | 122.5541 | 0.0096211 | 122.6702 | 0.0085257 | 122.7863 | 0.008076 | 122.9023 | 0.00048883 | 123.1198 | 0.007341 | 123.2359 | -0.0002376 | 123.352
2.9168 | 125.9996 | 0.010401 | 126.1157 | 0.013406 | 126.2319 | 0.015162 | 126.348 | 0.01321 | 126.4641 | 0.011395 | 126.5802 | 0.0084399 | 126.6962 | 0.013245 | 126.8123 | 0.014423 | 127.0298 | 0.013151 | 127.1459 | 0.013343 | 127.262 | 0.014187 | 127.378 | 0.011666 | 127.4941 | 0.010414 | 127.6102 | 0.010909 | 127.7263 | 0.012476 | 127.8424 | 0.0096522 | 128.0599 | 0.014721 | 128.1759 | 0.0089312 | 128.292 | 0.013067 | 128.4081 | 2.9245 | 128.5242 | 0.012517 | 128.6403 | 0.013699 | 128.7564 | 0.011274 | 128.8724 | 0.012694 | 129.0899 | 0.0082869 | 129.206 | 0.011932 | 129.3221 | 0.011372 | 129.4381 | 0.0073169 | 129.5542 | 0.0096208 | 129.6703 | 0.0085257 | 129.7864 | 0.0080761 | 129.9025 | 0.00048832 | 130.1199 | 0.0073412 | 130.236 | -0.00023794 | 130.3521
2.9168 | 132.9996 | 0.0104 | 133.1157 | 0.013405 | 133.2318 | 0.015163 | 133.3478 | 0.013211 | 133.4639 | 0.011398 | 133.58 | 0.0084398 | 133.6961 | 0.013246 | 133.8122 | 0.014423 | 134.0296 | 0.01315 | 134.1457 | 0.013343 | 134.2618 | 0.014187 | 134.3778 | 0.011666 | 134.4939 | 0.010413 | 134.61 | 0.010908 | 134.726 | 0.012475 | 134.8421 | 0.0096521 | 135.0597 | 0.01472 | 135.1757 | 0.0089305 | 135.2918 | 0.013066 | 135.4079 | 2.9245 | 135.524 | 0.012517 | 135.6401 | 0.013699 | 135.7561 | 0.011274 | 135.8722 | 0.012694 | 136.0897 | 0.0082867 | 136.2057 | 0.011932 | 136.3218 | 0.011372 | 136.438 | 0.0073173 | 136.554 | 0.009621 | 136.6701 | 0.0085258 | 136.7862 | 0.0080761 | 136.9023 | 0.00048886 | 137.1197 | 0.0073409 | 137.2358 | -0.00023758 | 137.3519
2.9168 | 139.9996 | 0.010402 | 140.1157 | 0.013406 | 140.2318 | 0.015164 | 140.3478 | 0.013212 | 140.4639 | 0.011404 | 140.58 | 0.0084416 | 140.6961 | 0.013243 | 140.8121 | 0.014424 | 141.0296 | 0.013151 | 141.1457 | 0.013344 | 141.2618 | 0.014188 | 141.3779 | 0.011666 | 141.4941 | 0.010413 | 141.6102 | 0.010908 | 141.7262 | 0.012476 | 141.8423 | 0.0096519 | 142.0598 | 0.01472 | 142.1759 | 0.0089312 | 142.292 | 0.013066 | 142.4081 | 2.9245 | 142.5242 | 0.012517 | 142.6402 | 0.013698 | 142.7563 | 0.011274 | 142.8724 | 0.012694 | 143.0898 | 0.0082866 | 143.2059 | 0.011932 | 143.322 | 0.011373 | 143.438 | 0.0073164 | 143.5541 | 0.0096207 | 143.6702 | 0.0085252 | 143.7863 | 0.0080757 | 143.9023 | 0.00048874 | 144.1198 | 0.0073404 | 144.2359 | -0.00023798 | 144.352
2.9168 | 146.9996 | 0.010404 | 147.1157 | 0.013409 | 147.2318 | 0.015164 | 147.3478 | 0.013212 | 147.4639 | 0.011403 | 147.58 | 0.0084422 | 147.6961 | 0.013243 | 147.8122 | 0.014424 | 148.0297 | 0.013151 | 148.1457 | 0.013344 | 148.2618 | 0.014188 | 148.3779 | 0.011666 | 148.494 | 0.010414 | 148.6101 | 0.010908 | 148.7262 | 0.012476 | 148.8422 | 0.0096521 | 149.0598 | 0.01472 | 149.1758 | 0.0089315 | 149.2919 | 0.013066 | 149.408 | 2.9245 | 149.5241 | 0.012518 | 149.6402 | 0.013699 | 149.7562 | 0.011274 | 149.8723 | 0.012695 | 150.0898 | 0.0082866 | 150.2058 | 0.011932 | 150.3219 | 0.011373 | 150.438 | 0.0073169 | 150.5541 | 0.0096211 | 150.6702 | 0.0085256 | 150.7862 | 0.0080762 | 150.9023 | 0.0004886 | 151.1198 | 0.0073411 | 151.2358 | -0.00023781 | 151.3519
2.9168 | 153.9996 | 0.010403 | 154.1157 | 0.013407 | 154.2318 | 0.015164 | 154.3478 | 0.013211 | 154.4639 | 0.011396 | 154.58 | 0.0084402 | 154.6961 | 0.013245 | 154.8121 | 0.014424 | 155.0296 | 0.013151 | 155.1457 | 0.013344 | 155.2618 | 0.014188 | 155.3778 | 0.011667 | 155.4939 | 0.010414 | 155.61 | 0.010909 | 155.7261 | 0.012476 | 155.8422 | 0.0096523 | 156.0597 | 0.014721 | 156.1757 | 0.0089314 | 156.2918 | 0.013067 | 156.4079 | 2.9245 | 156.5241 | 0.012518 | 156.6402 | 0.013699 | 156.7562 | 0.011275 | 156.8723 | 0.012696 | 157.0898 | 0.0082874 | 157.2059 | 0.011933 | 157.322 | 0.011374 | 157.438 | 0.007318 | 157.5541 | 0.0096224 | 157.6702 | 0.0085266 | 157.7863 | 0.0080767 | 157.9024 | 0.00048847 | 158.1198 | 0.007342 | 158.2359 | -0.00023778 | 158.352
2.9168 | 160.9996 | 0.010403 | 161.1157 | 0.013407 | 161.2318 | 0.015165 | 161.3478 | 0.013213 | 161.4639 | 0.011399 | 161.584 | 0.0084418 | 161.7001 | 0.013246 | 161.8162 | 0.014425 | 162.0337 | 0.013152 | 162.1498 | 0.013345 | 162.2658 | 0.014188 | 162.3819 | 0.011666 | 162.498 | 0.010413 | 162.6141 | 0.010909 | 162.7302 | 0.012476 | 162.8463 | 0.0096518 | 163.0638 | 0.01472 | 163.1798 | 0.0089312 | 163.2959 | 0.013067 | 163.412 | 2.9245 | 163.5281 | 0.012518 | 163.6442 | 0.013698 | 163.7603 | 0.011274 | 163.8763 | 0.012695 | 164.0938 | 0.0082871 | 164.2099 | 0.011932 | 164.326 | 0.011372 | 164.442 | 0.0073173 | 164.5581 | 0.0096209 | 164.6742 | 0.0085255 | 164.7903 | 0.0080754 | 164.9063 | 0.0004891 | 165.1238 | 0.0073412 | 165.2399 | -0.00023777 | 165.356
2.9168 | 167.9996 | 0.010403 | 168.1157 | 0.013407 | 168.2318 | 0.015165 | 168.3478 | 0.013213 | 168.4639 | 0.011403 | 168.58 | 0.0084428 | 168.6961 | 0.013243 | 168.8122 | 0.014425 | 169.0296 | 0.013151 | 169.1457 | 0.013343 | 169.2618 | 0.014187 | 169.3778 | 0.011665 | 169.4939 | 0.010411 | 169.61 | 0.010907 | 169.7261 | 0.012474 | 169.8422 | 0.0096506 | 170.0597 | 0.014718 | 170.1758 | 0.0089297 | 170.2918 | 0.013064 | 170.4079 | 2.9245 | 170.524 | 0.012516 | 170.6401 | 0.013695 | 170.7562 | 0.011273 | 170.8723 | 0.012694 | 171.0897 | 0.0082864 | 171.2058 | 0.011929 | 171.3219 | 0.01137 | 171.438 | 0.0073153 | 171.5541 | 0.0096192 | 171.6782 | 0.0085239 | 171.7943 | 0.0080742 | 171.9103 | 0.00048864 | 172.1278 | 0.0073397 | 172.2439 | -0.00023805 | 172.36
2.9168 | 174.9996 | 0.010404 | 175.1156 | 0.013407 | 175.2317 | 0.015164 | 175.3478 | 0.013212 | 175.4639 | 0.011401 | 175.58 | 0.0084427 | 175.696 | 0.013242 | 175.8121 | 0.014423 | 176.0296 | 0.013151 | 176.1457 | 0.01334 | 176.2618 | 0.014185 | 176.3779 | 0.011663 | 176.4939 | 0.01041 | 176.61 | 0.010906 | 176.7325 | 0.012473 | 176.8486 | 0.0096496 | 177.0661 | 0.014717 | 177.1822 | 0.0089294 | 177.2983 | 0.013063 | 177.4143 | 2.9245 | 177.5304 | 0.012517 | 177.6465 | 0.013694 | 177.7626 | 0.011273 | 177.8786 | 0.012693 | 178.0961 | 0.0082859 | 178.2122 | 0.011928 | 178.3283 | 0.01137 | 178.4443 | 0.0073151 | 178.5604 | 0.0096192 | 178.6765 | 0.008523 | 178.7925 | 0.0080741 | 178.9086 | 0.00048861 | 179.1261 | 0.0073392 | 179.2422 | -0.00023819 | 179.3582
2.9168 | 181.9996 | 0.010403 | 182.1157 | 0.013408 | 182.2317 | 0.015166 | 182.3478 | 0.013213 | 182.4639 | 0.011398 | 182.58 | 0.008442 | 182.6961 | 0.013247 | 182.8121 | 0.014424 | 183.0296 | 0.013152 | 183.1457 | 0.013342 | 183.2617 | 0.014186 | 183.3778 | 0.011664 | 183.4939 | 0.010413 | 183.6099 | 0.010907 | 183.726 | 0.012474 | 183.8421 | 0.0096508 | 184.0596 | 0.014718 | 184.1757 | 0.0089306 | 184.2918 | 0.013064 | 184.4079 | 2.9245 | 184.5239 | 0.012518 | 184.64 | 0.013697 | 184.7561 | 0.011274 | 184.8722 | 0.012694 | 185.0897 | 0.0082866 | 185.2057 | 0.01193 | 185.3218 | 0.011371 | 185.4379 | 0.0073169 | 185.554 | 0.0096203 | 185.67 | 0.0085251 | 185.7861 | 0.0080756 | 185.9022 | 0.00048798 | 186.1196 | 0.0073406 | 186.2357 | -0.00023809 | 186.3518
2.9168 | 188.9996 | 0.010404 | 189.1157 | 0.01341 | 189.2318 | 0.015168 | 189.3478 | 0.013215 | 189.4639 | 0.011402 | 189.58 | 0.0084434 | 189.6961 | 0.013251 | 189.8122 | 0.014426 | 190.0296 | 0.013154 | 190.1457 | 0.013345 | 190.2618 | 0.01419 | 190.3778 | 0.011666 | 190.4939 | 0.010415 | 190.61 | 0.010909 | 190.7261 | 0.012476 | 190.8421 | 0.0096528 | 191.0596 | 0.01472 | 191.1757 | 0.0089315 | 191.2918 | 0.013066 | 191.4079 | 2.9245 | 191.524 | 0.012519 | 191.64 | 0.0137 | 191.7561 | 0.011276 | 191.8804 | 0.012697 | 192.0979 | 0.0082888 | 192.214 | 0.011933 | 192.3301 | 0.011374 | 192.4462 | 0.0073182 | 192.5623 | 0.0096223 | 192.6783 | 0.0085268 | 192.7944 | 0.0080773 | 192.9105 | 0.00048831 | 193.1279 | 0.0073426 | 193.244 | -0.00023806 | 193.3601
2.9168 | 195.9996 | 0.010405 | 196.1157 | 0.01341 | 196.2318 | 0.015169 | 196.3478 | 0.013216 | 196.4639 | 0.011407 | 196.58 | 0.0084443 | 196.6961 | 0.013246 | 196.8121 | 0.014427 | 197.0314 | 0.013155 | 197.1475 | 0.013347 | 197.2636 | 0.014192 | 197.3797 | 0.011668 | 197.4957 | 0.010415 | 197.6118 | 0.01091 | 197.7279 | 0.012477 | 197.844 | 0.0096534 | 198.0615 | 0.014721 | 198.1776 | 0.0089317 | 198.2936 | 0.013066 | 198.4097 | 2.9245 | 198.5258 | 0.01252 | 198.6419 | 0.013701 | 198.758 | 0.011276 | 198.8741 | 0.012696 | 199.0915 | 0.0082891 | 199.2076 | 0.011933 | 199.3237 | 0.011374 | 199.4397 | 0.007318 | 199.5558 | 0.0096223 | 199.6719 | 0.0085264 | 199.788 | 0.0080773 | 199.9041 | 0.00048921 | 200.1215 | 0.0073423 | 200.2376 | -0.00023809 | 200.3537
2.9168 | 202.9996 | 0.010406 | 203.1157 | 0.013411 | 203.2318 | 0.015169 | 203.3479 | 0.013216 | 203.4639 | 0.011404 | 203.58 | 0.008445 | 203.6961 | 0.013244 | 203.8122 | 0.014427 | 204.0296 | 0.013154 | 204.1457 | 0.013345 | 204.2618 | 0.014189 | 204.3779 | 0.011666 | 204.4939 | 0.010414 | 204.61 | 0.010909 | 204.7261 | 0.012475 | 204.8422 | 0.0096518 | 205.0597 | 0.014719 | 205.1758 | 0.0089312 | 205.2919 | 0.013065 | 205.408 | 2.9245 | 205.524 | 0.012519 | 205.6401 | 0.013699 | 205.7562 | 0.011275 | 205.8723 | 0.012695 | 206.0897 | 0.0082881 | 206.2058 | 0.011932 | 206.3219 | 0.011373 | 206.438 | 0.0073172 | 206.554 | 0.0096213 | 206.6701 | 0.0085258 | 206.7862 | 0.0080758 | 206.9023 | 0.0004888 | 207.1198 | 0.0073412 | 207.2359 | -0.00023817 | 207.352
2.9168 | 209.9996 | 0.010406 | 210.1157 | 0.013411 | 210.2317 | 0.015169 | 210.3478 | 0.013215 | 210.4639 | 0.0114 | 210.58 | 0.008444 | 210.6961 | 0.013248 | 210.8122 | 0.014426 | 211.0296 | 0.013154 | 211.1457 | 0.013345 | 211.2618 | 0.014189 | 211.3779 | 0.011667 | 211.4939 | 0.010414 | 211.61 | 0.010908 | 211.7261 | 0.012475 | 211.8422 | 0.0096517 | 212.0598 | 0.014719 | 212.1759 | 0.0089308 | 212.292 | 0.013065 | 212.4081 | 2.9245 | 212.5242 | 0.012519 | 212.6402 | 0.013699 | 212.7563 | 0.011274 | 212.8724 | 0.012695 | 213.0899 | 0.008288 | 213.206 | 0.011932 | 213.322 | 0.011372 | 213.4381 | 0.0073176 | 213.5542 | 0.0096214 | 213.6703 | 0.0085257 | 213.7863 | 0.008076 | 213.9024 | 0.00048875 | 214.1199 | 0.0073416 | 214.236 | -0.00023757 | 214.352
2.9168 | 216.9996 | 0.010405 | 217.1208 | 0.01341 | 217.2369 | 0.015169 | 217.353 | 0.013215 | 217.4691 | 0.011402 | 217.5852 | 0.0084438 | 217.7013 | 0.013249 | 217.8173 | 0.014427 | 218.0348 | 0.013155 | 218.1509 | 0.013345 | 218.267 | 0.014191 | 218.383 | 0.011667 | 218.4991 | 0.010414 | 218.6152 | 0.010908 | 218.7313 | 0.012475 | 218.8473 | 0.0096521 | 219.0648 | 0.01472 | 219.1809 | 0.008931 | 219.297 | 0.013066 | 219.4131 | 2.9245 | 219.5292 | 0.01252 | 219.6452 | 0.0137 | 219.7613 | 0.011275 | 219.8774 | 0.012695 | 220.0949 | 0.0082893 | 220.211 | 0.011932 | 220.3271 | 0.011373 | 220.4431 | 0.0073186 | 220.5592 | 0.0096223 | 220.6753 | 0.0085268 | 220.7914 | 0.0080776 | 220.9074 | 0.00048876 | 221.1249 | 0.0073428 | 221.241 | -0.00023754 | 221.357
2.9168 | 223.9996 | 0.010405 | 224.1157 | 0.013411 | 224.2318 | 0.01517 | 224.3478 | 0.013217 | 224.4639 | 0.011407 | 224.58 | 0.0084458 | 224.6961 | 0.013246 | 224.8122 | 0.014428 | 225.0297 | 0.013156 | 225.1457 | 0.013347 | 225.2618 | 0.014193 | 225.3779 | 0.011669 | 225.494 | 0.010415 | 225.61 | 0.01091 | 225.7261 | 0.012477 | 225.8422 | 0.0096531 | 226.0597 | 0.014722 | 226.1758 | 0.0089316 | 226.2918 | 0.013067 | 226.4079 | 2.9245 | 226.524 | 0.012522 | 226.6401 | 0.013701 | 226.7562 | 0.011275 | 226.8723 | 0.012696 | 227.0897 | 0.0082907 | 227.2059 | 0.011933 | 227.3221 | 0.011374 | 227.4381 | 0.007319 | 227.5542 | 0.0096232 | 227.6703 | 0.0085277 | 227.7863 | 0.0080782 | 227.9024 | 0.00048898 | 228.1199 | 0.0073433 | 228.2359 | -0.00023776 | 228.352
2.9168 | 230.9996 | 0.010407 | 231.1157 | 0.013413 | 231.2317 | 0.015172 | 231.3478 | 0.013218 | 231.4639 | 0.011408 | 231.58 | 0.0084467 | 231.6961 | 0.013246 | 231.8122 | 0.01443 | 232.0296 | 0.013157 | 232.1457 | 0.013348 | 232.2687 | 0.014193 | 232.3847 | 0.011669 | 232.5008 | 0.010416 | 232.6169 | 0.01091 | 232.733 | 0.012477 | 232.8491 | 0.0096534 | 233.0666 | 0.014722 | 233.1827 | 0.0089322 | 233.2987 | 0.013068 | 233.4148 | 2.9245 | 233.5309 | 0.012523 | 233.647 | 0.013702 | 233.763 | 0.011276 | 233.8791 | 0.012697 | 234.0966 | 0.008291 | 234.2127 | 0.011934 | 234.3287 | 0.011375 | 234.4448 | 0.0073197 | 234.5609 | 0.0096236 | 234.6769 | 0.0085282 | 234.793 | 0.0080784 | 234.9091 | 0.00048876 | 235.1266 | 0.0073437 | 235.2426 | -0.00023724 | 235.3587
2.9168 | 237.9996 | 0.010407 | 238.1157 | 0.013414 | 238.2318 | 0.015173 | 238.3478 | 0.013218 | 238.4639 | 0.011404 | 238.58 | 0.0084458 | 238.6961 | 0.013251 | 238.8122 | 0.014429 | 239.0297 | 0.013155 | 239.1457 | 0.013348 | 239.2618 | 0.014193 | 239.3779 | 0.011669 | 239.494 | 0.010416 | 239.61 | 0.01091 | 239.7261 | 0.012477 | 239.8422 | 0.0096531 | 240.0597 | 0.014721 | 240.1758 | 0.0089318 | 240.2919 | 0.013068 | 240.4079 | 2.9245 | 240.524 | 0.012521 | 240.6401 | 0.013702 | 240.7561 | 0.011275 | 240.8722 | 0.012697 | 241.0897 | 0.0082905 | 241.2058 | 0.011934 | 241.3219 | 0.011374 | 241.438 | 0.007319 | 241.554 | 0.0096219 | 241.6701 | 0.0085271 | 241.7862 | 0.0080777 | 241.9022 | 0.00048863 | 242.1197 | 0.0073427 | 242.2358 | -0.00023723 | 242.3522
2.9168 | 244.9996 | 0.010406 | 245.1157 | 0.013412 | 245.2318 | 0.015174 | 245.3479 | 0.013218 | 245.4639 | 0.011405 | 245.58 | 0.0084447 | 245.6961 | 0.013252 | 245.8122 | 0.014427 | 246.0296 | 0.013154 | 246.1457 | 0.013347 | 246.2618 | 0.014192 | 246.3778 | 0.011668 | 246.4939 | 0.010416 | 246.61 | 0.010909 | 246.7261 | 0.012477 | 246.8422 | 0.0096527 | 247.0597 | 0.01472 | 247.1757 | 0.0089313 | 247.2918 | 0.013066 | 247.4171 | 2.9245 | 247.5332 | 0.01252 | 247.6493 | 0.013701 | 247.7653 | 0.011275 | 247.8814 | 0.012696 | 248.0989 | 0.0082896 | 248.215 | 0.011933 | 248.331 | 0.011373 | 248.4471 | 0.0073185 | 248.5632 | 0.009622 | 248.6792 | 0.0085271 | 248.7953 | 0.0080772 | 248.9114 | 0.00048926 | 249.1289 | 0.0073421 | 249.245 | -0.00023742 | 249.3611
2.9168 | 251.9996 | 0.010407 | 252.1157 | 0.013411 | 252.2318 | 0.015174 | 252.3478 | 0.013218 | 252.4712 | 0.011409 | 252.5873 | 0.0084459 | 252.7033 | 0.013249 | 252.8194 | 0.014427 | 253.0369 | 0.013154 | 253.153 | 0.013347 | 253.2691 | 0.014193 | 253.3852 | 0.011668 | 253.5012 | 0.010415 | 253.6173 | 0.01091 | 253.7334 | 0.012477 | 253.8495 | 0.0096529 | 254.067 | 0.014721 | 254.1831 | 0.0089316 | 254.2991 | 0.013066 | 254.4152 | 2.9245 | 254.5313 | 0.01252 | 254.6474 | 0.013701 | 254.7634 | 0.011275 | 254.8795 | 0.012696 | 255.097 | 0.0082891 | 255.2131 | 0.011933 | 255.3292 | 0.011373 | 255.4452 | 0.0073179 | 255.5613 | 0.0096219 | 255.6774 | 0.0085262 | 255.7934 | 0.0080769 | 255.9095 | 0.00048879 | 256.127 | 0.0073416 | 256.2431 | -0.00023749 | 256.3591
2.9168 | 258.9996 | 0.010407 | 259.1157 | 0.013411 | 259.2317 | 0.015173 | 259.3478 | 0.013217 | 259.4639 | 0.011406 | 259.58 | 0.0084451 | 259.6961 | 0.013246 | 259.8121 | 0.014428 | 260.0296 | 0.013155 | 260.1457 | 0.013346 | 260.2618 | 0.014192 | 260.3778 | 0.011669 | 260.4939 | 0.010415 | 260.61 | 0.01091 | 260.7261 | 0.012477 | 260.8421 | 0.0096529 | 261.0597 | 0.014721 | 261.1757 | 0.0089315 | 261.2918 | 0.013067 | 261.4079 | 2.9245 | 261.524 | 0.01252 | 261.64 | 0.013701 | 261.7561 | 0.011275 | 261.8722 | 0.012696 | 262.0897 | 0.0082897 | 262.2058 | 0.011933 | 262.3218 | 0.011373 | 262.4379 | 0.0073177 | 262.5541 | 0.0096221 | 262.6702 | 0.0085268 | 262.7863 | 0.0080776 | 262.9023 | 0.00048883 | 263.1198 | 0.0073419 | 263.2359 | -0.00023728 | 263.352
2.9168 | 265.9996 | 0.010406 | 266.1157 | 0.013411 | 266.2317 | 0.015169 | 266.3478 | 0.013215 | 266.4639 | 0.0114 | 266.58 | 0.008444 | 266.6961 | 0.013249 | 266.8121 | 0.014427 | 267.0296 | 0.013155 | 267.1457 | 0.013346 | 267.2618 | 0.014191 | 267.3778 | 0.011668 | 267.4939 | 0.010414 | 267.6192 | 0.010908 | 267.7352 | 0.012476 | 267.8513 | 0.0096524 | 268.0688 | 0.01472 | 268.1849 | 0.0089309 | 268.301 | 0.013066 | 268.4171 | 2.9245 | 268.5332 | 0.012519 | 268.6492 | 0.0137 | 268.7653 | 0.011274 | 268.8814 | 0.012695 | 269.0989 | 0.0082881 | 269.215 | 0.011931 | 269.331 | 0.011371 | 269.4471 | 0.0073167 | 269.5632 | 0.0096199 | 269.6793 | 0.0085246 | 269.7954 | 0.0080754 | 269.9114 | 0.00048831 | 270.1289 | 0.0073399 | 270.245 | -0.00023736 | 270.361
2.9168 | 272.9996 | 0.010405 | 273.1157 | 0.01341 | 273.2318 | 0.01517 | 273.3478 | 0.013216 | 273.4639 | 0.011402 | 273.58 | 0.0084435 | 273.6961 | 0.01325 | 273.8121 | 0.014424 | 274.0296 | 0.013151 | 274.1457 | 0.013343 | 274.2617 | 0.014188 | 274.3778 | 0.011664 | 274.4939 | 0.010412 | 274.61 | 0.010907 | 274.7261 | 0.012474 | 274.8422 | 0.0096502 | 275.0597 | 0.014717 | 275.1757 | 0.0089301 | 275.2918 | 0.013063 | 275.4079 | 2.9245 | 275.524 | 0.012517 | 275.6401 | 0.013696 | 275.7561 | 0.011272 | 275.8722 | 0.012692 | 276.0897 | 0.0082868 | 276.2058 | 0.011929 | 276.3218 | 0.011369 | 276.4379 | 0.0073152 | 276.554 | 0.0096184 | 276.6701 | 0.008523 | 276.7861 | 0.0080739 | 276.9022 | 0.00048837 | 277.1197 | 0.0073381 | 277.2357 | -0.00023785 | 277.3518
2.9168 | 279.9996 | 0.010403 | 280.1157 | 0.013408 | 280.2318 | 0.015168 | 280.3478 | 0.013214 | 280.4639 | 0.011405 | 280.58 | 0.0084426 | 280.6961 | 0.013245 | 280.8122 | 0.014423 | 281.0297 | 0.013151 | 281.1457 | 0.013343 | 281.2618 | 0.014187 | 281.3779 | 0.011664 | 281.4939 | 0.010412 | 281.61 | 0.010906 | 281.7261 | 0.012473 | 281.8422 | 0.00965 | 282.0597 | 0.014717 | 282.1758 | 0.0089292 | 282.2919 | 0.013063 | 282.408 | 2.9245 | 282.5241 | 0.012516 | 282.6402 | 0.013696 | 282.7563 | 0.011272 | 282.8724 | 0.012692 | 283.0899 | 0.0082863 | 283.206 | 0.01193 | 283.3221 | 0.011369 | 283.4381 | 0.0073153 | 283.5542 | 0.0096193 | 283.6703 | 0.0085237 | 283.7864 | 0.0080746 | 283.9024 | 0.00048801 | 284.1199 | 0.0073393 | 284.236 | -0.00023798 | 284.3521
2.9168 | 286.9996 | 0.010403 | 287.1156 | 0.013408 | 287.2317 | 0.015166 | 287.3478 | 0.013213 | 287.4639 | 0.011403 | 287.58 | 0.0084422 | 287.696 | 0.013243 | 287.8213 | 0.014424 | 288.0388 | 0.013151 | 288.1549 | 0.013342 | 288.271 | 0.014187 | 288.387 | 0.011664 | 288.5031 | 0.010412 | 288.6192 | 0.010907 | 288.7353 | 0.012474 | 288.8514 | 0.0096504 | 289.0689 | 0.014718 | 289.1849 | 0.0089297 | 289.301 | 0.013064 | 289.4171 | 2.9245 | 289.5332 | 0.012517 | 289.6492 | 0.013696 | 289.7653 | 0.011272 | 289.8814 | 0.012692 | 290.0989 | 0.0082866 | 290.215 | 0.01193 | 290.331 | 0.011372 | 290.4471 | 0.0073163 | 290.5632 | 0.0096202 | 290.6793 | 0.0085249 | 290.7953 | 0.0080755 | 290.9114 | 0.00048834 | 291.1289 | 0.0073407 | 291.245 | -0.00023763 | 291.361
2.9168 | 293.9996 | 0.010405 | 294.1157 | 0.01341 | 294.2318 | 0.015167 | 294.3478 | 0.013214 | 294.4639 | 0.0114 | 294.58 | 0.0084421 | 294.6961 | 0.013247 | 294.8121 | 0.014425 | 295.0296 | 0.013152 | 295.1457 | 0.013344 | 295.2618 | 0.014188 | 295.3779 | 0.011666 | 295.4939 | 0.010413 | 295.61 | 0.010907 | 295.7261 | 0.012474 | 295.8422 | 0.0096508 | 296.0597 | 0.014719 | 296.1758 | 0.0089305 | 296.2918 | 0.013065 | 296.4079 | 2.9245 | 296.524 | 0.012517 | 296.6401 | 0.013698 | 296.7561 | 0.011273 | 296.8722 | 0.012693 | 297.0897 | 0.0082867 | 297.2058 | 0.011931 | 297.3219 | 0.011371 | 297.438 | 0.0073171 | 297.5541 | 0.0096205 | 297.6701 | 0.008525 | 297.7862 | 0.008075 | 297.9024 | 0.00048803 | 298.1199 | 0.0073406 | 298.236 | -0.00023774 | 298.3521
2.9168 | 300.9996 | 0.010405 | 301.1156 | 0.013409 | 301.2317 | 0.015169 | 301.3478 | 0.013215 | 301.4639 | 0.011401 | 301.58 | 0.0084427 | 301.6961 | 0.013248 | 301.8122 | 0.014425 | 302.0297 | 0.013151 | 302.1457 | 0.013344 | 302.2618 | 0.014189 | 302.3779 | 0.011666 | 302.494 | 0.010413 | 302.6101 | 0.010907 | 302.7262 | 0.012475 | 302.8423 | 0.0096515 | 303.0598 | 0.014719 | 303.1759 | 0.0089306 | 303.292 | 0.013064 | 303.408 | 2.9245 | 303.5241 | 0.012517 | 303.6402 | 0.013698 | 303.7563 | 0.011274 | 303.8724 | 0.012694 | 304.0899 | 0.0082871 | 304.2059 | 0.011931 | 304.322 | 0.011372 | 304.4381 | 0.0073173 | 304.5542 | 0.009621 | 304.6703 | 0.0085257 | 304.7863 | 0.0080754 | 304.9024 | 0.00048848 | 305.1199 | 0.0073408 | 305.2359 | -0.00023766 | 305.352
2.9168 | 307.9996 | 0.010405 | 308.1157 | 0.013409 | 308.2318 | 0.01517 | 308.3479 | 0.013216 | 308.4639 | 0.011405 | 308.58 | 0.0084435 | 308.6961 | 0.013247 | 308.8122 | 0.014425 | 309.0297 | 0.013152 | 309.1457 | 0.013345 | 309.2618 | 0.01419 | 309.3778 | 0.011666 | 309.4939 | 0.010413 | 309.61 | 0.010908 | 309.7261 | 0.012475 | 309.8422 | 0.0096519 | 310.0597 | 0.01472 | 310.1757 | 0.0089309 | 310.2918 | 0.013065 | 310.4079 | 2.9245 | 310.524 | 0.012518 | 310.64 | 0.013699 | 310.7561 | 0.011275 | 310.8722 | 0.012694 | 311.0897 | 0.0082873 | 311.2058 | 0.011932 | 311.3219 | 0.011372 | 311.4379 | 0.0073178 | 311.554 | 0.0096218 | 311.6701 | 0.0085261 | 311.7861 | 0.0080765 | 311.9022 | 0.0004884 | 312.1197 | 0.0073412 | 312.2358 | -0.00023718 | 312.3518
2.9168 | 314.9996 | 0.010407 | 315.1157 | 0.013412 | 315.2318 | 0.015171 | 315.3479 | 0.013217 | 315.4639 | 0.011406 | 315.58 | 0.0084449 | 315.6961 | 0.013246 | 315.8122 | 0.014427 | 316.0297 | 0.013154 | 316.1457 | 0.013346 | 316.2618 | 0.014191 | 316.3779 | 0.011667 | 316.494 | 0.010415 | 316.6101 | 0.010909 | 316.7261 | 0.012476 | 316.8422 | 0.0096528 | 317.0597 | 0.014721 | 317.1758 | 0.0089317 | 317.2919 | 0.013067 | 317.408 | 2.9245 | 317.5241 | 0.012519 | 317.6402 | 0.013701 | 317.7563 | 0.011277 | 317.8723 | 0.012695 | 318.0899 | 0.0082886 | 318.206 | 0.011934 | 318.3221 | 0.011373 | 318.4382 | 0.0073181 | 318.5542 | 0.0096227 | 318.6703 | 0.0085274 | 318.7864 | 0.0080774 | 318.9024 | 0.00048901 | 319.1199 | 0.0073426 | 319.236 | -0.00023741 | 319.352
2.9168 | 321.9996 | 0.010408 | 322.1156 | 0.013413 | 322.2318 | 0.015171 | 322.3478 | 0.013218 | 322.4639 | 0.011404 | 322.58 | 0.0084446 | 322.6961 | 0.01325 | 322.8122 | 0.014427 | 323.0296 | 0.013154 | 323.146 | 0.013347 | 323.2621 | 0.014192 | 323.3782 | 0.011669 | 323.4942 | 0.010416 | 323.6103 | 0.010909 | 323.7264 | 0.012478 | 323.8425 | 0.0096532 | 324.06 | 0.014722 | 324.1761 | 0.0089324 | 324.2922 | 0.013067 | 324.4082 | 2.9245 | 324.5243 | 0.01252 | 324.6404 | 0.013702 | 324.7565 | 0.011278 | 324.8726 | 0.012696 | 325.0901 | 0.0082897 | 325.2061 | 0.011935 | 325.3222 | 0.011374 | 325.4383 | 0.007319 | 325.5544 | 0.0096233 | 325.6705 | 0.0085271 | 325.7865 | 0.0080777 | 325.9026 | 0.00048876 | 326.1201 | 0.0073431 | 326.2362 | -0.00023745 | 326.3522
2.9168 | 328.9996 | 0.010408 | 329.1157 | 0.013413 | 329.2318 | 0.015173 | 329.3478 | 0.013218 | 329.4639 | 0.011407 | 329.58 | 0.0084451 | 329.6961 | 0.013253 | 329.8122 | 0.014428 | 330.0297 | 0.013155 | 330.1457 | 0.013348 | 330.2618 | 0.014193 | 330.3779 | 0.01167 | 330.494 | 0.010416 | 330.61 | 0.01091 | 330.7261 | 0.012478 | 330.8422 | 0.0096536 | 331.0597 | 0.014723 | 331.1758 | 0.0089325 | 331.2918 | 0.013068 | 331.4079 | 2.9245 | 331.524 | 0.012521 | 331.64 | 0.013702 | 331.7561 | 0.011277 | 331.8722 | 0.012697 | 332.0897 | 0.0082902 | 332.2058 | 0.011935 | 332.3219 | 0.011374 | 332.4379 | 0.0073192 | 332.554 | 0.0096234 | 332.6701 | 0.0085274 | 332.7862 | 0.008078 | 332.9023 | 0.00048939 | 333.1197 | 0.0073429 | 333.2359 | -0.00023696 | 333.352
2.9168 | 335.9996 | 0.010408 | 336.1157 | 0.013413 | 336.2317 | 0.015174 | 336.3478 | 0.013219 | 336.4639 | 0.011411 | 336.5799 | 0.0084472 | 336.696 | 0.01325 | 336.8121 | 0.014428 | 337.0296 | 0.013154 | 337.1457 | 0.013347 | 337.2617 | 0.014193 | 337.3778 | 0.011669 | 337.4939 | 0.010416 | 337.61 | 0.01091 | 337.726 | 0.012478 | 337.8421 | 0.0096539 | 338.0596 | 0.014722 | 338.1757 | 0.0089323 | 338.2919 | 0.013067 | 338.408 | 2.9245 | 338.5241 | 0.012521 | 338.6402 | 0.013702 | 338.7562 | 0.011276 | 338.8723 | 0.012696 | 339.0898 | 0.0082901 | 339.2059 | 0.011935 | 339.322 | 0.011374 | 339.438 | 0.0073187 | 339.5541 | 0.0096232 | 339.6702 | 0.0085272 | 339.7863 | 0.0080781 | 339.9023 | 0.00048909 | 340.1198 | 0.0073426 | 340.2359 | -0.00023735 | 340.352
2.9168 | 342.9996 | 0.010406 | 343.1156 | 0.013411 | 343.2317 | 0.015172 | 343.3481 | 0.013216 | 343.4642 | 0.011407 | 343.5803 | 0.0084459 | 343.6963 | 0.013246 | 343.8124 | 0.014428 | 344.0299 | 0.013154 | 344.1459 | 0.013347 | 344.262 | 0.014193 | 344.3781 | 0.011668 | 344.4942 | 0.010416 | 344.6103 | 0.01091 | 344.7263 | 0.012478 | 344.8424 | 0.0096543 | 345.0599 | 0.014722 | 345.176 | 0.0089324 | 345.2921 | 0.013068 | 345.4082 | 2.9245 | 345.5243 | 0.012521 | 345.6404 | 0.013702 | 345.7565 | 0.011276 | 345.8725 | 0.012697 | 346.09 | 0.0082898 | 346.2061 | 0.011934 | 346.3222 | 0.011375 | 346.4382 | 0.0073194 | 346.5543 | 0.0096237 | 346.6704 | 0.0085277 | 346.7865 | 0.0080782 | 346.9025 | 0.00048891 | 347.12 | 0.007343 | 347.2361 | -0.00023698 | 347.3522