## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9169 | 0 | 0.010402 | 0.11613 | 0.013523 | 0.23225 | 0.015132 | 0.34833 | 0.013214 | 0.46441 | 0.01117 | 0.58049 | 0.0083637 | 0.69655 | 0.013358 | 0.81263 | 0.014561 | 1.0301 | 0.01327 | 1.1461 | 0.013507 | 1.2622 | 0.014415 | 1.3783 | 0.011639 | 1.4944 | 0.010377 | 1.6105 | 0.010895 | 1.7265 | 0.012457 | 1.8426 | 0.0096412 | 2.0601 | 0.014705 | 2.1762 | 0.008923 | 2.2923 | 0.013037 | 2.4084 | 2.9246 | 2.5244 | 0.012489 | 2.6405 | 0.013685 | 2.7566 | 0.011258 | 2.8727 | 0.012668 | 3.0902 | 0.008238 | 3.2063 | 0.011856 | 3.3224 | 0.011391 | 3.4384 | 0.0073026 | 3.5545 | 0.0096491 | 3.6706 | 0.008506 | 3.7867 | 0.008102 | 3.9028 | 0.00051004 | 4.1202 | 0.007322 | 4.2363 | -0.00022735 | 4.3524
2.9169 | 6.9997 | 0.010402 | 7.1158 | 0.013522 | 7.2319 | 0.015132 | 7.3479 | 0.013214 | 7.464 | 0.011173 | 7.5801 | 0.0083643 | 7.6962 | 0.013356 | 7.8123 | 0.014561 | 8.0298 | 0.013271 | 8.1458 | 0.013507 | 8.2619 | 0.014414 | 8.378 | 0.01164 | 8.4941 | 0.010377 | 8.6101 | 0.010894 | 8.7262 | 0.012457 | 8.8423 | 0.0096411 | 9.0598 | 0.014706 | 9.1759 | 0.0089226 | 9.292 | 0.013037 | 9.408 | 2.9246 | 9.5241 | 0.01249 | 9.6402 | 0.013686 | 9.7563 | 0.011257 | 9.8724 | 0.012667 | 10.0899 | 0.0082382 | 10.206 | 0.011856 | 10.322 | 0.011391 | 10.4381 | 0.007302 | 10.5542 | 0.0096487 | 10.6703 | 0.0085058 | 10.7864 | 0.0081025 | 10.9025 | 0.00050982 | 11.1199 | 0.0073214 | 11.236 | -0.00022702 | 11.3521
2.9169 | 13.9997 | 0.010404 | 14.1158 | 0.013524 | 14.2319 | 0.015132 | 14.3479 | 0.013216 | 14.464 | 0.011176 | 14.5801 | 0.0083653 | 14.6961 | 0.013354 | 14.8122 | 0.014561 | 15.0297 | 0.013271 | 15.1458 | 0.013506 | 15.2619 | 0.014414 | 15.378 | 0.011639 | 15.494 | 0.010376 | 15.6101 | 0.010894 | 15.7262 | 0.012457 | 15.8423 | 0.0096409 | 16.0598 | 0.014705 | 16.1758 | 0.0089231 | 16.2919 | 0.013037 | 16.408 | 2.9247 | 16.5241 | 0.01249 | 16.6402 | 0.013685 | 16.7563 | 0.011257 | 16.8724 | 0.012667 | 17.0898 | 0.0082383 | 17.2059 | 0.011856 | 17.322 | 0.01139 | 17.4381 | 0.0073022 | 17.5542 | 0.0096491 | 17.6703 | 0.0085056 | 17.7863 | 0.0081017 | 17.9024 | 0.00050983 | 18.1199 | 0.0073212 | 18.2359 | -0.00022704 | 18.352
2.9169 | 20.9997 | 0.010403 | 21.1158 | 0.013524 | 21.2319 | 0.015131 | 21.348 | 0.013215 | 21.464 | 0.011172 | 21.5801 | 0.0083644 | 21.6962 | 0.013354 | 21.8123 | 0.014562 | 22.0297 | 0.013271 | 22.1458 | 0.013506 | 22.2619 | 0.014413 | 22.378 | 0.011639 | 22.4941 | 0.010376 | 22.6101 | 0.010894 | 22.7262 | 0.012456 | 22.8423 | 0.0096407 | 23.0598 | 0.014705 | 23.1759 | 0.0089224 | 23.292 | 0.013036 | 23.408 | 2.9246 | 23.5241 | 0.01249 | 23.6402 | 0.013684 | 23.7562 | 0.011256 | 23.8723 | 0.012666 | 24.0898 | 0.0082385 | 24.2059 | 0.011856 | 24.322 | 0.01139 | 24.438 | 0.0073021 | 24.5541 | 0.0096488 | 24.6702 | 0.0085055 | 24.7863 | 0.008102 | 24.9023 | 0.00050938 | 25.1198 | 0.007322 | 25.236 | -0.00022669 | 25.3521
2.9169 | 27.9997 | 0.010403 | 28.1158 | 0.013523 | 28.2319 | 0.015131 | 28.348 | 0.013214 | 28.464 | 0.01117 | 28.5801 | 0.0083646 | 28.6962 | 0.013356 | 28.8123 | 0.014562 | 29.0297 | 0.013272 | 29.1458 | 0.013506 | 29.2619 | 0.014413 | 29.3779 | 0.011639 | 29.494 | 0.010376 | 29.6101 | 0.010894 | 29.7262 | 0.012456 | 29.8422 | 0.0096402 | 30.0598 | 0.014704 | 30.1758 | 0.0089228 | 30.292 | 0.013036 | 30.4082 | 2.9246 | 30.5242 | 0.01249 | 30.6403 | 0.013684 | 30.7564 | 0.011257 | 30.8725 | 0.012665 | 31.09 | 0.0082384 | 31.2061 | 0.011856 | 31.3222 | 0.01139 | 31.4382 | 0.0073024 | 31.5543 | 0.0096489 | 31.6704 | 0.0085059 | 31.7865 | 0.0081017 | 31.9025 | 0.00050937 | 32.12 | 0.0073217 | 32.2361 | -0.00022681 | 32.3522
2.9169 | 34.9997 | 0.010402 | 35.1158 | 0.013522 | 35.2318 | 0.015131 | 35.348 | 0.013214 | 35.4641 | 0.011173 | 35.5802 | 0.008364 | 35.6963 | 0.013355 | 35.8124 | 0.014562 | 36.0298 | 0.013272 | 36.1459 | 0.013506 | 36.262 | 0.014414 | 36.3781 | 0.011639 | 36.4941 | 0.010376 | 36.6102 | 0.010893 | 36.7263 | 0.012455 | 36.8424 | 0.0096402 | 37.0599 | 0.014704 | 37.1759 | 0.0089226 | 37.292 | 0.013036 | 37.4081 | 2.9247 | 37.5242 | 0.01249 | 37.6402 | 0.013683 | 37.7563 | 0.011257 | 37.8724 | 0.012665 | 38.0899 | 0.0082386 | 38.2059 | 0.011854 | 38.322 | 0.011389 | 38.4381 | 0.0073012 | 38.5542 | 0.0096475 | 38.6703 | 0.0085047 | 38.7863 | 0.0081009 | 38.9024 | 0.00050968 | 39.1198 | 0.0073205 | 39.2359 | -0.00022682 | 39.352
2.9169 | 41.9997 | 0.010401 | 42.1158 | 0.01352 | 42.2319 | 0.015129 | 42.348 | 0.013212 | 42.464 | 0.011174 | 42.5801 | 0.0083643 | 42.6962 | 0.013352 | 42.8123 | 0.014562 | 43.0297 | 0.013272 | 43.1458 | 0.013506 | 43.2619 | 0.014414 | 43.378 | 0.011639 | 43.4941 | 0.010376 | 43.6101 | 0.010894 | 43.7262 | 0.012456 | 43.8423 | 0.0096413 | 44.0598 | 0.014704 | 44.1759 | 0.008923 | 44.292 | 0.013036 | 44.408 | 2.9247 | 44.5241 | 0.012491 | 44.6402 | 0.013684 | 44.7563 | 0.011258 | 44.8724 | 0.012665 | 45.0898 | 0.0082393 | 45.2059 | 0.011854 | 45.322 | 0.011388 | 45.4382 | 0.0073009 | 45.5543 | 0.0096474 | 45.6704 | 0.0085049 | 45.7865 | 0.0081014 | 45.9025 | 0.00050948 | 46.12 | 0.0073206 | 46.2361 | -0.00022684 | 46.3522
2.9169 | 48.9997 | 0.010402 | 49.1158 | 0.013521 | 49.2319 | 0.01513 | 49.3479 | 0.013214 | 49.464 | 0.011171 | 49.5801 | 0.0083641 | 49.6962 | 0.013354 | 49.8123 | 0.014563 | 50.0297 | 0.013273 | 50.1458 | 0.013506 | 50.2619 | 0.014413 | 50.3779 | 0.011639 | 50.4941 | 0.010376 | 50.6103 | 0.010894 | 50.7264 | 0.012454 | 50.8424 | 0.0096401 | 51.0599 | 0.014703 | 51.176 | 0.008922 | 51.2921 | 0.013035 | 51.4082 | 2.9246 | 51.5243 | 0.01249 | 51.6403 | 0.013684 | 51.7564 | 0.011256 | 51.8725 | 0.012665 | 52.09 | 0.0082388 | 52.206 | 0.011851 | 52.3221 | 0.011384 | 52.4382 | 0.0073 | 52.5543 | 0.0096451 | 52.6703 | 0.0085023 | 52.7864 | 0.0080997 | 52.9025 | 0.0005091 | 53.1199 | 0.0073178 | 53.236 | -0.00022715 | 53.3521
2.9169 | 55.9997 | 0.010401 | 56.1158 | 0.013522 | 56.2319 | 0.015131 | 56.3479 | 0.013214 | 56.464 | 0.01117 | 56.5801 | 0.0083638 | 56.6962 | 0.013357 | 56.8122 | 0.014563 | 57.0297 | 0.013272 | 57.1458 | 0.013506 | 57.2618 | 0.014413 | 57.3779 | 0.011638 | 57.494 | 0.010375 | 57.6101 | 0.010893 | 57.7262 | 0.012454 | 57.8423 | 0.0096398 | 58.0598 | 0.014703 | 58.1759 | 0.0089219 | 58.292 | 0.013033 | 58.408 | 2.9247 | 58.5241 | 0.01249 | 58.6402 | 0.013682 | 58.7563 | 0.011256 | 58.8723 | 0.012666 | 59.0898 | 0.0082382 | 59.2059 | 0.011849 | 59.322 | 0.011383 | 59.438 | 0.0072994 | 59.5541 | 0.0096436 | 59.6702 | 0.0085018 | 59.7862 | 0.0080989 | 59.9023 | 0.00050827 | 60.1198 | 0.0073174 | 60.2359 | -0.00022686 | 60.3519
2.9169 | 62.9997 | 0.010401 | 63.1158 | 0.013521 | 63.2319 | 0.015132 | 63.348 | 0.013215 | 63.464 | 0.011172 | 63.5801 | 0.0083639 | 63.6962 | 0.013355 | 63.8123 | 0.014563 | 64.0297 | 0.013273 | 64.1458 | 0.013506 | 64.2619 | 0.014414 | 64.378 | 0.011639 | 64.494 | 0.010375 | 64.6101 | 0.010893 | 64.7262 | 0.012454 | 64.8423 | 0.0096398 | 65.0598 | 0.014702 | 65.1759 | 0.0089216 | 65.292 | 0.013034 | 65.408 | 2.9247 | 65.5241 | 0.01249 | 65.6403 | 0.013682 | 65.7564 | 0.011257 | 65.8725 | 0.012666 | 66.09 | 0.008238 | 66.206 | 0.01185 | 66.3221 | 0.011385 | 66.4382 | 0.0072996 | 66.5543 | 0.0096448 | 66.6703 | 0.008503 | 66.7864 | 0.0081001 | 66.9025 | 0.0005094 | 67.12 | 0.0073186 | 67.236 | -0.00022689 | 67.3521
2.9169 | 69.9997 | 0.010402 | 70.1158 | 0.013522 | 70.2319 | 0.015132 | 70.348 | 0.013215 | 70.464 | 0.011174 | 70.5801 | 0.0083644 | 70.6963 | 0.013353 | 70.8124 | 0.014562 | 71.0299 | 0.013273 | 71.146 | 0.013505 | 71.262 | 0.014414 | 71.3781 | 0.011639 | 71.4942 | 0.010375 | 71.6103 | 0.010893 | 71.7264 | 0.012453 | 71.8424 | 0.0096396 | 72.0599 | 0.014702 | 72.176 | 0.0089218 | 72.2921 | 0.013034 | 72.4082 | 2.9247 | 72.5243 | 0.012489 | 72.6404 | 0.013682 | 72.7564 | 0.011258 | 72.8725 | 0.012665 | 73.09 | 0.0082373 | 73.2061 | 0.011852 | 73.3221 | 0.011388 | 73.4382 | 0.0073001 | 73.5543 | 0.009647 | 73.6704 | 0.0085043 | 73.7864 | 0.0081013 | 73.9025 | 0.00050908 | 74.12 | 0.0073206 | 74.2361 | -0.00022687 | 74.3522
2.9169 | 76.9997 | 0.010405 | 77.1158 | 0.013525 | 77.2319 | 0.015134 | 77.348 | 0.013217 | 77.464 | 0.011172 | 77.5801 | 0.0083639 | 77.6962 | 0.013355 | 77.8123 | 0.014563 | 78.0297 | 0.013272 | 78.1458 | 0.013506 | 78.2619 | 0.014414 | 78.3779 | 0.011639 | 78.494 | 0.010376 | 78.6101 | 0.010893 | 78.7262 | 0.012454 | 78.8422 | 0.0096399 | 79.0598 | 0.014703 | 79.1758 | 0.0089217 | 79.2919 | 0.013035 | 79.408 | 2.9247 | 79.5241 | 0.012488 | 79.6402 | 0.013682 | 79.7563 | 0.011257 | 79.8723 | 0.012666 | 80.0898 | 0.0082368 | 80.2059 | 0.011853 | 80.322 | 0.011388 | 80.4381 | 0.0073014 | 80.5541 | 0.0096473 | 80.6702 | 0.008504 | 80.7864 | 0.008101 | 80.9025 | 0.00050918 | 81.12 | 0.007321 | 81.2361 | -0.00022671 | 81.3522
2.9169 | 83.9997 | 0.010405 | 84.1158 | 0.013525 | 84.2319 | 0.015135 | 84.3479 | 0.013217 | 84.464 | 0.011172 | 84.5801 | 0.0083643 | 84.6962 | 0.013358 | 84.8123 | 0.014563 | 85.0297 | 0.013272 | 85.1458 | 0.013506 | 85.2619 | 0.014415 | 85.378 | 0.011638 | 85.494 | 0.010376 | 85.6101 | 0.010893 | 85.7262 | 0.012454 | 85.8424 | 0.00964 | 86.0599 | 0.014703 | 86.176 | 0.0089219 | 86.2921 | 0.013035 | 86.4082 | 2.9247 | 86.5243 | 0.012488 | 86.6404 | 0.013683 | 86.7565 | 0.011257 | 86.8725 | 0.012666 | 87.09 | 0.0082368 | 87.2061 | 0.011854 | 87.3222 | 0.01139 | 87.4383 | 0.007302 | 87.5543 | 0.0096483 | 87.6704 | 0.0085052 | 87.7865 | 0.0081024 | 87.9026 | 0.00050908 | 88.12 | 0.0073217 | 88.2361 | -0.00022639 | 88.3522
2.9169 | 90.9997 | 0.010405 | 91.1158 | 0.013525 | 91.2319 | 0.015135 | 91.348 | 0.013218 | 91.4641 | 0.011176 | 91.5801 | 0.0083651 | 91.6962 | 0.013357 | 91.8123 | 0.014564 | 92.0298 | 0.013273 | 92.1458 | 0.013507 | 92.2619 | 0.014415 | 92.378 | 0.011639 | 92.4941 | 0.010376 | 92.6102 | 0.010893 | 92.7262 | 0.012455 | 92.8423 | 0.0096404 | 93.0598 | 0.014704 | 93.1759 | 0.0089219 | 93.292 | 0.013036 | 93.4081 | 2.9247 | 93.5241 | 0.012489 | 93.6402 | 0.013683 | 93.7563 | 0.011257 | 93.8724 | 0.012667 | 94.0899 | 0.0082378 | 94.206 | 0.011855 | 94.322 | 0.011391 | 94.4381 | 0.0073029 | 94.5542 | 0.0096494 | 94.6703 | 0.0085062 | 94.7863 | 0.0081029 | 94.9024 | 0.0005101 | 95.1199 | 0.0073227 | 95.2359 | -0.00022652 | 95.352
2.9169 | 97.9997 | 0.010406 | 98.1158 | 0.013527 | 98.2319 | 0.015136 | 98.3479 | 0.013219 | 98.464 | 0.011177 | 98.5801 | 0.0083657 | 98.6962 | 0.013355 | 98.8123 | 0.014564 | 99.0298 | 0.013273 | 99.1458 | 0.013507 | 99.2619 | 0.014416 | 99.378 | 0.011639 | 99.4941 | 0.010377 | 99.6102 | 0.010894 | 99.7263 | 0.012455 | 99.8423 | 0.0096412 | 100.0599 | 0.014704 | 100.176 | 0.0089226 | 100.292 | 0.013036 | 100.4081 | 2.9247 | 100.5242 | 0.012489 | 100.6403 | 0.013684 | 100.7563 | 0.011258 | 100.8724 | 0.012667 | 101.09 | 0.0082384 | 101.2061 | 0.011856 | 101.3221 | 0.011391 | 101.4382 | 0.0073034 | 101.5543 | 0.0096506 | 101.6704 | 0.0085068 | 101.7864 | 0.0081037 | 101.9025 | 0.00050951 | 102.12 | 0.0073238 | 102.236 | -0.00022645 | 102.3521
2.9169 | 104.9997 | 0.010406 | 105.1158 | 0.013527 | 105.2318 | 0.015136 | 105.3479 | 0.013219 | 105.464 | 0.011174 | 105.5801 | 0.0083659 | 105.6962 | 0.013358 | 105.8122 | 0.014565 | 106.0298 | 0.013274 | 106.1459 | 0.013508 | 106.262 | 0.014416 | 106.3781 | 0.01164 | 106.4942 | 0.010377 | 106.6102 | 0.010894 | 106.7263 | 0.012455 | 106.8424 | 0.0096408 | 107.0599 | 0.014704 | 107.176 | 0.0089224 | 107.292 | 0.013036 | 107.4081 | 2.9247 | 107.5242 | 0.012489 | 107.6403 | 0.013684 | 107.7564 | 0.011258 | 107.8724 | 0.012667 | 108.0899 | 0.0082382 | 108.206 | 0.011856 | 108.3221 | 0.011391 | 108.4381 | 0.0073032 | 108.5542 | 0.0096495 | 108.6703 | 0.0085064 | 108.7863 | 0.008103 | 108.9024 | 0.00050952 | 109.1199 | 0.0073227 | 109.236 | -0.00022635 | 109.352
2.9169 | 111.9997 | 0.010403 | 112.1158 | 0.013525 | 112.2319 | 0.015135 | 112.348 | 0.013217 | 112.4641 | 0.011171 | 112.5802 | 0.0083643 | 112.6962 | 0.013358 | 112.8123 | 0.014563 | 113.0298 | 0.013273 | 113.1459 | 0.013506 | 113.2619 | 0.014415 | 113.378 | 0.011639 | 113.4941 | 0.010376 | 113.6101 | 0.010893 | 113.7262 | 0.012455 | 113.8423 | 0.0096404 | 114.0598 | 0.014704 | 114.1759 | 0.0089223 | 114.292 | 0.013035 | 114.4081 | 2.9247 | 114.5242 | 0.012488 | 114.6403 | 0.013683 | 114.7564 | 0.011257 | 114.8725 | 0.012666 | 115.0899 | 0.0082374 | 115.206 | 0.011855 | 115.3221 | 0.011389 | 115.4382 | 0.0073022 | 115.5543 | 0.0096487 | 115.6704 | 0.008505 | 115.7864 | 0.0081018 | 115.9025 | 0.00050908 | 116.1201 | 0.0073214 | 116.2362 | -0.00022611 | 116.3523
2.9169 | 118.9997 | 0.010402 | 119.1158 | 0.013522 | 119.2319 | 0.015132 | 119.348 | 0.013215 | 119.464 | 0.011173 | 119.5801 | 0.0083638 | 119.6962 | 0.013354 | 119.8123 | 0.014562 | 120.0297 | 0.013271 | 120.1458 | 0.013505 | 120.2619 | 0.014414 | 120.3779 | 0.011638 | 120.494 | 0.010375 | 120.6101 | 0.010892 | 120.7262 | 0.012454 | 120.8422 | 0.0096398 | 121.0598 | 0.014703 | 121.176 | 0.0089218 | 121.2921 | 0.013035 | 121.4082 | 2.9246 | 121.5242 | 0.012487 | 121.6403 | 0.013681 | 121.7564 | 0.011255 | 121.8725 | 0.012664 | 122.09 | 0.0082365 | 122.206 | 0.011854 | 122.3221 | 0.011388 | 122.4382 | 0.0073023 | 122.5543 | 0.0096482 | 122.6703 | 0.0085049 | 122.7864 | 0.0081011 | 122.9025 | 0.00050941 | 123.12 | 0.007321 | 123.236 | -0.00022613 | 123.3521
2.9169 | 125.9997 | 0.010402 | 126.1158 | 0.013522 | 126.232 | 0.01513 | 126.3481 | 0.013215 | 126.4641 | 0.011172 | 126.5802 | 0.0083632 | 126.6963 | 0.013352 | 126.8123 | 0.014561 | 127.0298 | 0.01327 | 127.1459 | 0.013504 | 127.2619 | 0.014413 | 127.378 | 0.011638 | 127.4941 | 0.010375 | 127.6102 | 0.010892 | 127.7262 | 0.012453 | 127.8423 | 0.0096396 | 128.0598 | 0.014702 | 128.1759 | 0.0089216 | 128.292 | 0.013034 | 128.4081 | 2.9246 | 128.5242 | 0.012487 | 128.6403 | 0.013681 | 128.7563 | 0.011256 | 128.8724 | 0.012663 | 129.0899 | 0.0082364 | 129.206 | 0.011855 | 129.322 | 0.011388 | 129.4381 | 0.0073019 | 129.5542 | 0.0096486 | 129.6703 | 0.0085049 | 129.7863 | 0.0081016 | 129.9024 | 0.0005094 | 130.1199 | 0.007321 | 130.2359 | -0.00022667 | 130.352
2.9169 | 132.9997 | 0.010403 | 133.1158 | 0.013522 | 133.2319 | 0.01513 | 133.348 | 0.013215 | 133.464 | 0.011169 | 133.5801 | 0.0083639 | 133.6962 | 0.013354 | 133.8123 | 0.014562 | 134.0297 | 0.013272 | 134.1458 | 0.013504 | 134.2619 | 0.014413 | 134.3779 | 0.011638 | 134.494 | 0.010375 | 134.6101 | 0.010892 | 134.7262 | 0.012454 | 134.8423 | 0.00964 | 135.0598 | 0.014703 | 135.1759 | 0.008922 | 135.292 | 0.013034 | 135.408 | 2.9246 | 135.5241 | 0.012488 | 135.6402 | 0.013682 | 135.7562 | 0.011256 | 135.8723 | 0.012664 | 136.0898 | 0.0082363 | 136.2059 | 0.011855 | 136.3221 | 0.011389 | 136.4382 | 0.0073025 | 136.5542 | 0.0096484 | 136.6703 | 0.008505 | 136.7864 | 0.0081015 | 136.9025 | 0.00050965 | 137.12 | 0.0073207 | 137.236 | -0.00022624 | 137.3521
2.9169 | 139.9997 | 0.010403 | 140.1158 | 0.013523 | 140.2319 | 0.015131 | 140.3479 | 0.013216 | 140.464 | 0.011171 | 140.5801 | 0.008364 | 140.6962 | 0.013356 | 140.8123 | 0.014561 | 141.0297 | 0.013272 | 141.1458 | 0.013505 | 141.2619 | 0.014413 | 141.3781 | 0.011639 | 141.4942 | 0.010375 | 141.6103 | 0.010892 | 141.7263 | 0.012454 | 141.8424 | 0.0096401 | 142.0599 | 0.014702 | 142.176 | 0.0089218 | 142.2921 | 0.013034 | 142.4082 | 2.9246 | 142.5243 | 0.012488 | 142.6403 | 0.013682 | 142.7564 | 0.011256 | 142.8725 | 0.012664 | 143.09 | 0.0082368 | 143.206 | 0.011855 | 143.3221 | 0.011388 | 143.4382 | 0.0073026 | 143.5543 | 0.0096482 | 143.6703 | 0.0085048 | 143.7864 | 0.0081015 | 143.9025 | 0.0005092 | 144.12 | 0.0073209 | 144.2361 | -0.00022598 | 144.3521
2.9169 | 146.9997 | 0.010403 | 147.1158 | 0.013522 | 147.2319 | 0.015131 | 147.348 | 0.013216 | 147.464 | 0.011174 | 147.5801 | 0.0083645 | 147.6962 | 0.013353 | 147.8123 | 0.014562 | 148.0298 | 0.013272 | 148.1458 | 0.013505 | 148.2619 | 0.014413 | 148.378 | 0.011638 | 148.494 | 0.010375 | 148.6101 | 0.010892 | 148.7262 | 0.012454 | 148.8423 | 0.00964 | 149.0598 | 0.014703 | 149.1759 | 0.0089216 | 149.292 | 0.013034 | 149.4081 | 2.9247 | 149.5241 | 0.012488 | 149.6402 | 0.013681 | 149.7563 | 0.011256 | 149.8724 | 0.012664 | 150.0899 | 0.0082366 | 150.2059 | 0.011855 | 150.322 | 0.011388 | 150.4381 | 0.0073019 | 150.5542 | 0.0096487 | 150.6702 | 0.0085043 | 150.7863 | 0.0081014 | 150.9024 | 0.00050942 | 151.1199 | 0.0073206 | 151.2359 | -0.00022615 | 151.352
2.9169 | 153.9997 | 0.010402 | 154.1158 | 0.013522 | 154.2319 | 0.015128 | 154.3479 | 0.013215 | 154.464 | 0.011171 | 154.5801 | 0.008364 | 154.6962 | 0.013351 | 154.8123 | 0.014561 | 155.0297 | 0.013271 | 155.1458 | 0.013504 | 155.2619 | 0.014412 | 155.378 | 0.011638 | 155.4941 | 0.010375 | 155.6101 | 0.010891 | 155.7262 | 0.012454 | 155.8423 | 0.0096395 | 156.0598 | 0.014702 | 156.1759 | 0.0089217 | 156.292 | 0.013034 | 156.408 | 2.9246 | 156.5242 | 0.012487 | 156.6403 | 0.013681 | 156.7564 | 0.011256 | 156.8725 | 0.012663 | 157.09 | 0.0082361 | 157.2061 | 0.011854 | 157.3221 | 0.011388 | 157.4382 | 0.0073016 | 157.5543 | 0.009648 | 157.6704 | 0.0085041 | 157.7865 | 0.0081008 | 157.9025 | 0.00050909 | 158.12 | 0.00732 | 158.2361 | -0.00022608 | 158.3522
2.9169 | 160.9997 | 0.010402 | 161.1158 | 0.013521 | 161.2319 | 0.015128 | 161.348 | 0.013213 | 161.4641 | 0.011169 | 161.5803 | 0.008363 | 161.6964 | 0.013353 | 161.8124 | 0.01456 | 162.0299 | 0.01327 | 162.146 | 0.013503 | 162.2621 | 0.014411 | 162.3781 | 0.011637 | 162.4942 | 0.010375 | 162.6103 | 0.010891 | 162.7263 | 0.012453 | 162.8424 | 0.0096393 | 163.0599 | 0.014702 | 163.176 | 0.0089218 | 163.2921 | 0.013034 | 163.4082 | 2.9247 | 163.5243 | 0.012487 | 163.6403 | 0.013681 | 163.7564 | 0.011255 | 163.8725 | 0.012663 | 164.09 | 0.0082363 | 164.2061 | 0.011854 | 164.3221 | 0.011388 | 164.4382 | 0.0073015 | 164.5543 | 0.009648 | 164.6704 | 0.0085045 | 164.7864 | 0.008101 | 164.9025 | 0.00050954 | 165.12 | 0.0073203 | 165.2361 | -0.00022614 | 165.3522
2.9169 | 167.9997 | 0.010402 | 168.1158 | 0.013521 | 168.2319 | 0.015129 | 168.348 | 0.013214 | 168.4641 | 0.01117 | 168.5801 | 0.0083634 | 168.6962 | 0.013354 | 168.8123 | 0.014561 | 169.0297 | 0.01327 | 169.1458 | 0.013504 | 169.2619 | 0.014412 | 169.378 | 0.011638 | 169.4941 | 0.010375 | 169.6101 | 0.010892 | 169.7262 | 0.012454 | 169.8423 | 0.0096397 | 170.0598 | 0.014703 | 170.1759 | 0.0089215 | 170.2919 | 0.013034 | 170.408 | 2.9247 | 170.5241 | 0.012488 | 170.6402 | 0.013682 | 170.7563 | 0.011256 | 170.8723 | 0.012663 | 171.0898 | 0.0082368 | 171.2059 | 0.011855 | 171.322 | 0.011389 | 171.438 | 0.0073023 | 171.5541 | 0.0096486 | 171.6703 | 0.0085046 | 171.7864 | 0.0081013 | 171.9025 | 0.00050942 | 172.12 | 0.0073211 | 172.236 | -0.00022625 | 172.3521
2.9169 | 174.9997 | 0.010403 | 175.1158 | 0.013523 | 175.2319 | 0.015131 | 175.3479 | 0.013215 | 175.464 | 0.011175 | 175.5801 | 0.0083646 | 175.6962 | 0.013353 | 175.8122 | 0.014562 | 176.0297 | 0.013272 | 176.1458 | 0.013505 | 176.2618 | 0.014413 | 176.3779 | 0.011639 | 176.494 | 0.010376 | 176.6101 | 0.010893 | 176.7263 | 0.012454 | 176.8424 | 0.0096402 | 177.0599 | 0.014704 | 177.176 | 0.0089218 | 177.2921 | 0.013035 | 177.4081 | 2.9247 | 177.5242 | 0.012488 | 177.6403 | 0.013683 | 177.7564 | 0.011257 | 177.8725 | 0.012664 | 178.09 | 0.0082372 | 178.206 | 0.011855 | 178.3221 | 0.01139 | 178.4382 | 0.0073027 | 178.5543 | 0.0096493 | 178.6704 | 0.0085053 | 178.7864 | 0.0081026 | 178.9025 | 0.00050991 | 179.12 | 0.0073212 | 179.2361 | -0.0002259 | 179.3522
2.9169 | 181.9997 | 0.010404 | 182.1158 | 0.013524 | 182.2319 | 0.015131 | 182.3479 | 0.013216 | 182.464 | 0.011174 | 182.5801 | 0.0083647 | 182.6962 | 0.013354 | 182.8123 | 0.014563 | 183.0297 | 0.013273 | 183.1458 | 0.013506 | 183.2619 | 0.014414 | 183.3779 | 0.011639 | 183.494 | 0.010376 | 183.6101 | 0.010893 | 183.7262 | 0.012455 | 183.8423 | 0.0096403 | 184.0598 | 0.014704 | 184.1758 | 0.0089223 | 184.2919 | 0.013036 | 184.408 | 2.9246 | 184.5241 | 0.01249 | 184.6402 | 0.013683 | 184.7563 | 0.011258 | 184.8724 | 0.012665 | 185.0898 | 0.0082384 | 185.2059 | 0.011856 | 185.322 | 0.011389 | 185.4381 | 0.0073025 | 185.5541 | 0.0096495 | 185.6702 | 0.0085055 | 185.7863 | 0.0081022 | 185.9023 | 0.00050938 | 186.1198 | 0.0073216 | 186.2359 | -0.00022655 | 186.352
2.9169 | 188.9997 | 0.010405 | 189.1158 | 0.013526 | 189.2319 | 0.015134 | 189.348 | 0.013218 | 189.464 | 0.011173 | 189.5801 | 0.0083651 | 189.6962 | 0.013358 | 189.8123 | 0.014564 | 190.0297 | 0.013274 | 190.1458 | 0.013507 | 190.2619 | 0.014414 | 190.378 | 0.01164 | 190.4941 | 0.010377 | 190.6101 | 0.010893 | 190.7262 | 0.012455 | 190.8423 | 0.0096406 | 191.0598 | 0.014704 | 191.1759 | 0.0089225 | 191.292 | 0.013035 | 191.4081 | 2.9247 | 191.5241 | 0.012491 | 191.6402 | 0.013684 | 191.7563 | 0.011258 | 191.8725 | 0.012665 | 192.09 | 0.0082396 | 192.2061 | 0.011855 | 192.3222 | 0.011388 | 192.4383 | 0.0073022 | 192.5543 | 0.0096491 | 192.6704 | 0.0085052 | 192.7865 | 0.0081014 | 192.9026 | 0.00050919 | 193.12 | 0.0073211 | 193.2361 | -0.0002254 | 193.3522
2.9169 | 195.9997 | 0.010407 | 196.1158 | 0.013527 | 196.2319 | 0.015136 | 196.348 | 0.01322 | 196.464 | 0.011177 | 196.5801 | 0.0083665 | 196.6962 | 0.013359 | 196.8123 | 0.014565 | 197.0298 | 0.013275 | 197.1459 | 0.013509 | 197.2619 | 0.014416 | 197.378 | 0.011641 | 197.4941 | 0.010377 | 197.6101 | 0.010894 | 197.7262 | 0.012455 | 197.8423 | 0.0096406 | 198.0598 | 0.014704 | 198.1759 | 0.0089231 | 198.292 | 0.013036 | 198.408 | 2.9247 | 198.5241 | 0.012492 | 198.6402 | 0.013684 | 198.7563 | 0.011258 | 198.8724 | 0.012665 | 199.0898 | 0.0082398 | 199.2059 | 0.011854 | 199.322 | 0.011387 | 199.4381 | 0.0073024 | 199.5542 | 0.009648 | 199.6702 | 0.008504 | 199.7863 | 0.0081013 | 199.9024 | 0.00050931 | 200.1199 | 0.0073205 | 200.2359 | -0.00022602 | 200.352
2.9169 | 202.9997 | 0.010406 | 203.1158 | 0.013527 | 203.2319 | 0.015137 | 203.3479 | 0.01322 | 203.464 | 0.011178 | 203.5801 | 0.0083667 | 203.6962 | 0.013356 | 203.8123 | 0.014566 | 204.0298 | 0.013276 | 204.1458 | 0.013508 | 204.2619 | 0.014416 | 204.378 | 0.011641 | 204.494 | 0.010377 | 204.6101 | 0.010893 | 204.7262 | 0.012455 | 204.8423 | 0.0096404 | 205.0598 | 0.014704 | 205.1759 | 0.0089229 | 205.292 | 0.013035 | 205.408 | 2.9246 | 205.5241 | 0.012492 | 205.6402 | 0.013683 | 205.7563 | 0.011257 | 205.8723 | 0.012665 | 206.0898 | 0.0082397 | 206.2059 | 0.011855 | 206.322 | 0.011389 | 206.4381 | 0.0073025 | 206.5542 | 0.0096487 | 206.6703 | 0.0085048 | 206.7863 | 0.0081019 | 206.9024 | 0.00050937 | 207.1199 | 0.0073213 | 207.236 | -0.00022612 | 207.3521
2.9169 | 209.9997 | 0.010405 | 210.1158 | 0.013526 | 210.2319 | 0.015135 | 210.3479 | 0.013218 | 210.464 | 0.011175 | 210.5801 | 0.0083669 | 210.6962 | 0.013356 | 210.8123 | 0.014566 | 211.0297 | 0.013276 | 211.1458 | 0.013508 | 211.2619 | 0.014416 | 211.3779 | 0.011641 | 211.494 | 0.010378 | 211.6101 | 0.010894 | 211.7262 | 0.012456 | 211.8423 | 0.0096416 | 212.0599 | 0.014705 | 212.176 | 0.0089233 | 212.2921 | 0.013036 | 212.4082 | 2.9247 | 212.5243 | 0.012492 | 212.6403 | 0.013684 | 212.7564 | 0.011259 | 212.8725 | 0.012667 | 213.09 | 0.0082404 | 213.2061 | 0.011856 | 213.3221 | 0.01139 | 213.4382 | 0.0073032 | 213.5543 | 0.0096493 | 213.6704 | 0.008506 | 213.7864 | 0.0081031 | 213.9025 | 0.00050989 | 214.12 | 0.0073224 | 214.2361 | -0.0002257 | 214.3521
2.9169 | 216.9997 | 0.010405 | 217.1159 | 0.013526 | 217.232 | 0.015136 | 217.3481 | 0.013218 | 217.4642 | 0.011174 | 217.5802 | 0.0083658 | 217.6963 | 0.013358 | 217.8124 | 0.014566 | 218.0299 | 0.013275 | 218.146 | 0.013508 | 218.262 | 0.014416 | 218.3781 | 0.011641 | 218.4942 | 0.010378 | 218.6103 | 0.010894 | 218.7264 | 0.012456 | 218.8424 | 0.0096417 | 219.0599 | 0.014705 | 219.176 | 0.0089233 | 219.2921 | 0.013037 | 219.4082 | 2.9247 | 219.5243 | 0.012492 | 219.6404 | 0.013685 | 219.7564 | 0.011259 | 219.8725 | 0.012667 | 220.09 | 0.0082402 | 220.206 | 0.011856 | 220.3221 | 0.01139 | 220.4382 | 0.0073041 | 220.5543 | 0.0096505 | 220.6703 | 0.0085068 | 220.7864 | 0.0081033 | 220.9025 | 0.00050972 | 221.1199 | 0.007323 | 221.236 | -0.00022533 | 221.3521
2.9169 | 223.9997 | 0.010406 | 224.1158 | 0.013527 | 224.2319 | 0.015137 | 224.348 | 0.01322 | 224.4641 | 0.011177 | 224.5801 | 0.0083664 | 224.6962 | 0.013358 | 224.8123 | 0.014566 | 225.0297 | 0.013276 | 225.1458 | 0.013509 | 225.2619 | 0.014417 | 225.378 | 0.011641 | 225.494 | 0.010379 | 225.6101 | 0.010895 | 225.7262 | 0.012456 | 225.8423 | 0.0096418 | 226.0598 | 0.014705 | 226.1759 | 0.0089232 | 226.292 | 0.013037 | 226.4081 | 2.9246 | 226.5241 | 0.012492 | 226.6402 | 0.013685 | 226.7563 | 0.011259 | 226.8724 | 0.012667 | 227.0899 | 0.0082408 | 227.2059 | 0.011857 | 227.3221 | 0.011391 | 227.4381 | 0.0073041 | 227.5542 | 0.0096506 | 227.6703 | 0.0085069 | 227.7864 | 0.0081035 | 227.9024 | 0.00050948 | 228.1199 | 0.0073233 | 228.2359 | -0.00022549 | 228.352
2.9169 | 230.9997 | 0.010407 | 231.1158 | 0.013528 | 231.2319 | 0.015138 | 231.3479 | 0.01322 | 231.464 | 0.011178 | 231.5801 | 0.0083671 | 231.6962 | 0.013357 | 231.8122 | 0.014567 | 232.0297 | 0.013276 | 232.1458 | 0.013509 | 232.262 | 0.014417 | 232.3781 | 0.011641 | 232.4941 | 0.010378 | 232.6102 | 0.010894 | 232.7263 | 0.012456 | 232.8424 | 0.0096418 | 233.0599 | 0.014706 | 233.176 | 0.0089232 | 233.2921 | 0.013036 | 233.4082 | 2.9247 | 233.5242 | 0.012491 | 233.6403 | 0.013685 | 233.7564 | 0.011258 | 233.8725 | 0.012667 | 234.09 | 0.0082398 | 234.206 | 0.011856 | 234.3221 | 0.011389 | 234.4382 | 0.0073035 | 234.5543 | 0.0096503 | 234.6704 | 0.0085065 | 234.7864 | 0.0081034 | 234.9025 | 0.00051001 | 235.12 | 0.0073222 | 235.2361 | -0.00022548 | 235.3522
2.9169 | 237.9997 | 0.010407 | 238.1158 | 0.013528 | 238.2319 | 0.015137 | 238.3479 | 0.01322 | 238.464 | 0.011175 | 238.5801 | 0.0083663 | 238.6962 | 0.013357 | 238.8123 | 0.014565 | 239.0297 | 0.013274 | 239.1458 | 0.013508 | 239.2619 | 0.014416 | 239.3779 | 0.01164 | 239.494 | 0.010378 | 239.6101 | 0.010894 | 239.7262 | 0.012455 | 239.8423 | 0.0096413 | 240.0598 | 0.014705 | 240.1758 | 0.0089228 | 240.2919 | 0.013036 | 240.408 | 2.9247 | 240.5241 | 0.01249 | 240.6402 | 0.013683 | 240.7563 | 0.011258 | 240.8723 | 0.012666 | 241.0898 | 0.0082388 | 241.2059 | 0.011855 | 241.322 | 0.011388 | 241.4381 | 0.0073019 | 241.5541 | 0.0096488 | 241.6702 | 0.0085046 | 241.7863 | 0.0081021 | 241.9024 | 0.00050956 | 242.1198 | 0.0073207 | 242.2359 | -0.00022556 | 242.3521
2.917 | 244.9997 | 0.010404 | 245.1158 | 0.013525 | 245.2319 | 0.015135 | 245.3479 | 0.013217 | 245.464 | 0.011171 | 245.5801 | 0.008364 | 245.6962 | 0.013358 | 245.8123 | 0.014564 | 246.0297 | 0.013273 | 246.1458 | 0.013508 | 246.2619 | 0.014416 | 246.3779 | 0.01164 | 246.494 | 0.010377 | 246.6101 | 0.010893 | 246.7262 | 0.012455 | 246.8423 | 0.0096409 | 247.0598 | 0.014704 | 247.1759 | 0.0089227 | 247.2919 | 0.013035 | 247.4081 | 2.9247 | 247.5243 | 0.01249 | 247.6403 | 0.013683 | 247.7564 | 0.011258 | 247.8725 | 0.012666 | 248.09 | 0.0082385 | 248.2061 | 0.011855 | 248.3222 | 0.011389 | 248.4383 | 0.0073024 | 248.5543 | 0.0096492 | 248.6704 | 0.0085055 | 248.7865 | 0.0081027 | 248.9025 | 0.0005096 | 249.12 | 0.0073216 | 249.2361 | -0.00022503 | 249.3522
2.9169 | 251.9997 | 0.010404 | 252.1158 | 0.013525 | 252.2319 | 0.015136 | 252.348 | 0.013217 | 252.4692 | 0.011175 | 252.5853 | 0.0083647 | 252.7014 | 0.013357 | 252.8174 | 0.014564 | 253.0349 | 0.013273 | 253.151 | 0.013507 | 253.267 | 0.014415 | 253.3831 | 0.011638 | 253.4992 | 0.010376 | 253.6153 | 0.010893 | 253.7314 | 0.012455 | 253.8474 | 0.0096406 | 254.0649 | 0.014703 | 254.181 | 0.0089224 | 254.2971 | 0.013035 | 254.4132 | 2.9247 | 254.5292 | 0.012489 | 254.6453 | 0.013683 | 254.7614 | 0.011257 | 254.8775 | 0.012665 | 255.095 | 0.0082382 | 255.211 | 0.011855 | 255.3271 | 0.011388 | 255.4432 | 0.0073024 | 255.5593 | 0.009649 | 255.6753 | 0.0085052 | 255.7914 | 0.0081015 | 255.9075 | 0.0005097 | 256.125 | 0.0073209 | 256.241 | -0.00022544 | 256.3571
2.9169 | 258.9997 | 0.010405 | 259.1158 | 0.013525 | 259.2319 | 0.015136 | 259.348 | 0.013218 | 259.464 | 0.011177 | 259.5801 | 0.0083658 | 259.6962 | 0.013355 | 259.8123 | 0.014564 | 260.0297 | 0.013272 | 260.1458 | 0.013506 | 260.2619 | 0.014414 | 260.378 | 0.011638 | 260.4941 | 0.010375 | 260.6101 | 0.010892 | 260.7262 | 0.012454 | 260.8423 | 0.00964 | 261.0598 | 0.014703 | 261.1759 | 0.0089223 | 261.292 | 0.013034 | 261.4081 | 2.9247 | 261.5242 | 0.012489 | 261.6402 | 0.013682 | 261.7563 | 0.011257 | 261.8724 | 0.012664 | 262.0899 | 0.0082381 | 262.206 | 0.011854 | 262.322 | 0.011388 | 262.4381 | 0.0073017 | 262.563 | 0.0096484 | 262.6791 | 0.0085048 | 262.7952 | 0.0081015 | 262.9113 | 0.00050945 | 263.1288 | 0.0073202 | 263.2448 | -0.00022559 | 263.3609
2.9169 | 265.9997 | 0.010406 | 266.1158 | 0.013526 | 266.2319 | 0.015136 | 266.348 | 0.013219 | 266.4641 | 0.011174 | 266.5801 | 0.0083663 | 266.6962 | 0.013356 | 266.8123 | 0.014564 | 267.0297 | 0.013273 | 267.1458 | 0.013505 | 267.2619 | 0.014414 | 267.378 | 0.011638 | 267.494 | 0.010375 | 267.6174 | 0.010892 | 267.7334 | 0.012454 | 267.8495 | 0.0096399 | 268.067 | 0.014703 | 268.1831 | 0.0089219 | 268.2992 | 0.013034 | 268.4153 | 2.9246 | 268.5314 | 0.012489 | 268.6475 | 0.013682 | 268.7635 | 0.011256 | 268.8796 | 0.012665 | 269.0971 | 0.0082376 | 269.2132 | 0.011854 | 269.3293 | 0.011388 | 269.4454 | 0.0073031 | 269.5614 | 0.0096486 | 269.6775 | 0.0085053 | 269.7936 | 0.008102 | 269.9097 | 0.00050958 | 270.1272 | 0.0073212 | 270.2432 | -0.00022566 | 270.3593
2.9169 | 272.9997 | 0.010405 | 273.1158 | 0.013525 | 273.2319 | 0.015135 | 273.348 | 0.013218 | 273.4641 | 0.011172 | 273.5802 | 0.0083657 | 273.6962 | 0.013357 | 273.8123 | 0.014564 | 274.0298 | 0.013274 | 274.1458 | 0.013506 | 274.2619 | 0.014415 | 274.378 | 0.011638 | 274.4941 | 0.010376 | 274.6102 | 0.010893 | 274.7263 | 0.012454 | 274.8423 | 0.0096405 | 275.0598 | 0.014704 | 275.1759 | 0.008922 | 275.292 | 0.013034 | 275.4081 | 2.9247 | 275.5242 | 0.012489 | 275.6402 | 0.013682 | 275.7563 | 0.011256 | 275.8724 | 0.012664 | 276.0899 | 0.0082377 | 276.2059 | 0.011855 | 276.322 | 0.011388 | 276.4381 | 0.0073032 | 276.5541 | 0.0096493 | 276.6702 | 0.0085056 | 276.7863 | 0.0081022 | 276.9024 | 0.00050957 | 277.1198 | 0.0073219 | 277.2359 | -0.00022581 | 277.352
2.9169 | 279.9997 | 0.010404 | 280.1158 | 0.013523 | 280.2319 | 0.015134 | 280.348 | 0.013217 | 280.464 | 0.011173 | 280.5801 | 0.0083658 | 280.6962 | 0.013354 | 280.8123 | 0.014564 | 281.0297 | 0.013274 | 281.1458 | 0.013506 | 281.2619 | 0.014415 | 281.3779 | 0.011638 | 281.494 | 0.010377 | 281.6101 | 0.010893 | 281.7262 | 0.012453 | 281.8422 | 0.0096399 | 282.0597 | 0.014702 | 282.1758 | 0.0089213 | 282.2919 | 0.013034 | 282.408 | 2.9247 | 282.5241 | 0.012489 | 282.6402 | 0.013681 | 282.7654 | 0.011256 | 282.8815 | 0.012664 | 283.099 | 0.0082379 | 283.215 | 0.011854 | 283.3311 | 0.011388 | 283.4472 | 0.0073028 | 283.5633 | 0.0096488 | 283.6794 | 0.0085048 | 283.7954 | 0.0081015 | 283.9115 | 0.00050965 | 284.129 | 0.0073218 | 284.2451 | -0.00022549 | 284.3612
2.9169 | 286.9997 | 0.010404 | 287.1158 | 0.013524 | 287.2319 | 0.015134 | 287.348 | 0.013217 | 287.464 | 0.011173 | 287.5801 | 0.0083663 | 287.6962 | 0.013353 | 287.8196 | 0.014565 | 288.0371 | 0.013274 | 288.1532 | 0.013506 | 288.2692 | 0.014415 | 288.3853 | 0.011637 | 288.5014 | 0.010377 | 288.6175 | 0.010894 | 288.7335 | 0.012453 | 288.8496 | 0.00964 | 289.0671 | 0.014702 | 289.1832 | 0.0089217 | 289.2993 | 0.013034 | 289.4153 | 2.9246 | 289.5314 | 0.01249 | 289.6475 | 0.013682 | 289.7636 | 0.011257 | 289.8797 | 0.012665 | 290.0972 | 0.008238 | 290.2132 | 0.011854 | 290.3293 | 0.011387 | 290.4454 | 0.0073023 | 290.5615 | 0.0096484 | 290.6775 | 0.0085055 | 290.7936 | 0.0081021 | 290.9097 | 0.00050936 | 291.1272 | 0.0073215 | 291.2433 | -0.00022565 | 291.3593
2.9169 | 293.9997 | 0.010403 | 294.1158 | 0.013523 | 294.2319 | 0.015134 | 294.348 | 0.013216 | 294.464 | 0.011171 | 294.5801 | 0.0083657 | 294.6962 | 0.013355 | 294.8123 | 0.014565 | 295.0298 | 0.013275 | 295.1458 | 0.013508 | 295.2619 | 0.014416 | 295.378 | 0.011639 | 295.494 | 0.010378 | 295.6101 | 0.010895 | 295.7262 | 0.012454 | 295.8423 | 0.0096409 | 296.0598 | 0.014703 | 296.1759 | 0.0089226 | 296.292 | 0.013034 | 296.4081 | 2.9246 | 296.5241 | 0.012491 | 296.6402 | 0.013683 | 296.7563 | 0.011258 | 296.8724 | 0.012666 | 297.0899 | 0.0082386 | 297.2059 | 0.011855 | 297.322 | 0.011388 | 297.4381 | 0.0073037 | 297.5542 | 0.009649 | 297.6703 | 0.0085057 | 297.7863 | 0.0081029 | 297.9027 | 0.00050932 | 298.1202 | 0.0073221 | 298.2363 | -0.00022524 | 298.3524
2.9169 | 300.9997 | 0.010403 | 301.1158 | 0.013523 | 301.2319 | 0.015134 | 301.3479 | 0.013216 | 301.464 | 0.011171 | 301.5801 | 0.0083655 | 301.6961 | 0.013356 | 301.8122 | 0.014565 | 302.0297 | 0.013275 | 302.1458 | 0.013508 | 302.2619 | 0.014417 | 302.3779 | 0.01164 | 302.494 | 0.010379 | 302.6101 | 0.010895 | 302.7261 | 0.012455 | 302.8422 | 0.0096418 | 303.0642 | 0.014704 | 303.1803 | 0.0089226 | 303.2964 | 0.013035 | 303.4124 | 2.9246 | 303.5285 | 0.012491 | 303.6446 | 0.013684 | 303.7607 | 0.011259 | 303.8768 | 0.012667 | 304.0942 | 0.0082383 | 304.2103 | 0.011855 | 304.3264 | 0.011389 | 304.4424 | 0.0073049 | 304.5585 | 0.00965 | 304.6746 | 0.0085066 | 304.7907 | 0.0081032 | 304.9068 | 0.00050968 | 305.1243 | 0.0073228 | 305.2404 | -0.00022561 | 305.3564
2.9169 | 307.9997 | 0.010403 | 308.1158 | 0.013523 | 308.2319 | 0.015134 | 308.348 | 0.013216 | 308.464 | 0.011174 | 308.5801 | 0.0083657 | 308.6962 | 0.013354 | 308.8123 | 0.014565 | 309.0298 | 0.013275 | 309.1458 | 0.013507 | 309.2619 | 0.014415 | 309.378 | 0.011639 | 309.494 | 0.010377 | 309.6101 | 0.010894 | 309.7262 | 0.012454 | 309.8423 | 0.0096409 | 310.0598 | 0.014702 | 310.1758 | 0.0089218 | 310.2919 | 0.013035 | 310.408 | 2.9246 | 310.5241 | 0.012489 | 310.6401 | 0.013682 | 310.7562 | 0.011258 | 310.8723 | 0.012665 | 311.0898 | 0.0082381 | 311.2058 | 0.011855 | 311.3219 | 0.011389 | 311.438 | 0.0073041 | 311.5541 | 0.0096496 | 311.6701 | 0.0085062 | 311.7862 | 0.0081036 | 311.9023 | 0.00050956 | 312.1198 | 0.0073226 | 312.2359 | -0.00022489 | 312.352
2.9169 | 314.9997 | 0.010403 | 315.1158 | 0.013523 | 315.2319 | 0.015134 | 315.348 | 0.013216 | 315.464 | 0.011173 | 315.5801 | 0.0083657 | 315.6962 | 0.013353 | 315.8123 | 0.014565 | 316.0298 | 0.013275 | 316.1458 | 0.013506 | 316.2619 | 0.014415 | 316.378 | 0.011639 | 316.494 | 0.010376 | 316.6101 | 0.010893 | 316.7262 | 0.012453 | 316.8423 | 0.00964 | 317.0598 | 0.014702 | 317.1759 | 0.0089215 | 317.2919 | 0.013034 | 317.408 | 2.9246 | 317.5241 | 0.012488 | 317.6401 | 0.013681 | 317.7562 | 0.011256 | 317.8723 | 0.012664 | 318.09 | 0.0082374 | 318.2061 | 0.011855 | 318.3222 | 0.011389 | 318.4383 | 0.0073038 | 318.5544 | 0.0096496 | 318.6705 | 0.0085064 | 318.7866 | 0.0081027 | 318.9026 | 0.0005101 | 319.1201 | 0.007322 | 319.2362 | -0.00022494 | 319.3523
2.9169 | 321.9997 | 0.010404 | 322.1158 | 0.013524 | 322.2319 | 0.015135 | 322.348 | 0.013217 | 322.4641 | 0.011172 | 322.5801 | 0.0083656 | 322.6962 | 0.013355 | 322.8123 | 0.014564 | 323.0298 | 0.013275 | 323.154 | 0.013505 | 323.2701 | 0.014414 | 323.3861 | 0.011639 | 323.5022 | 0.010376 | 323.6183 | 0.010893 | 323.7344 | 0.012453 | 323.8505 | 0.0096402 | 324.068 | 0.014702 | 324.1841 | 0.0089217 | 324.3001 | 0.013034 | 324.4162 | 2.9247 | 324.5323 | 0.012488 | 324.6484 | 0.013681 | 324.7645 | 0.011256 | 324.8806 | 0.012664 | 325.098 | 0.0082376 | 325.2141 | 0.011855 | 325.3302 | 0.011389 | 325.4463 | 0.0073036 | 325.5624 | 0.0096499 | 325.6784 | 0.0085063 | 325.7945 | 0.0081032 | 325.9106 | 0.00050932 | 326.1281 | 0.0073225 | 326.2442 | -0.00022499 | 326.3603
2.9169 | 328.9997 | 0.010405 | 329.1158 | 0.013525 | 329.2319 | 0.015136 | 329.348 | 0.013218 | 329.4641 | 0.011173 | 329.5801 | 0.0083663 | 329.6962 | 0.013357 | 329.8123 | 0.014565 | 330.0298 | 0.013275 | 330.1458 | 0.013505 | 330.2619 | 0.014414 | 330.378 | 0.01164 | 330.4941 | 0.010377 | 330.6101 | 0.010893 | 330.7262 | 0.012454 | 330.8423 | 0.0096409 | 331.0598 | 0.014703 | 331.1759 | 0.0089221 | 331.292 | 0.013035 | 331.408 | 2.9247 | 331.5241 | 0.012489 | 331.6402 | 0.013683 | 331.7563 | 0.011257 | 331.8724 | 0.012665 | 332.0899 | 0.0082381 | 332.2059 | 0.011856 | 332.322 | 0.01139 | 332.4381 | 0.0073043 | 332.5542 | 0.0096505 | 332.6703 | 0.0085071 | 332.7863 | 0.008104 | 332.9024 | 0.00050969 | 333.1199 | 0.0073233 | 333.236 | -0.00022465 | 333.3522
2.9169 | 335.9997 | 0.010405 | 336.1158 | 0.013526 | 336.2319 | 0.015138 | 336.3479 | 0.013219 | 336.464 | 0.011177 | 336.5801 | 0.0083667 | 336.6962 | 0.013356 | 336.8122 | 0.014566 | 337.0297 | 0.013277 | 337.1458 | 0.013507 | 337.2618 | 0.014417 | 337.3779 | 0.011641 | 337.494 | 0.010378 | 337.61 | 0.010894 | 337.7261 | 0.012455 | 337.8422 | 0.0096418 | 338.0597 | 0.014704 | 338.1758 | 0.0089229 | 338.2922 | 0.013035 | 338.4083 | 2.9247 | 338.5244 | 0.012491 | 338.6404 | 0.013684 | 338.7565 | 0.011258 | 338.8726 | 0.012666 | 339.0901 | 0.0082388 | 339.2062 | 0.011856 | 339.3222 | 0.011389 | 339.4383 | 0.0073038 | 339.5544 | 0.0096502 | 339.6705 | 0.0085067 | 339.7866 | 0.0081037 | 339.9026 | 0.0005099 | 340.1201 | 0.0073226 | 340.2362 | -0.00022498 | 340.3523
2.9169 | 342.9997 | 0.010407 | 343.1158 | 0.013528 | 343.2318 | 0.01514 | 343.3562 | 0.01322 | 343.4723 | 0.011178 | 343.5884 | 0.0083682 | 343.7044 | 0.013357 | 343.8205 | 0.014567 | 344.038 | 0.013276 | 344.154 | 0.013508 | 344.2701 | 0.014417 | 344.3862 | 0.011641 | 344.5023 | 0.010378 | 344.6183 | 0.010895 | 344.7344 | 0.012455 | 344.8505 | 0.0096418 | 345.068 | 0.014705 | 345.1841 | 0.0089233 | 345.3002 | 0.013036 | 345.4163 | 2.9247 | 345.5324 | 0.012491 | 345.6484 | 0.013684 | 345.7645 | 0.011259 | 345.8806 | 0.012667 | 346.0981 | 0.008239 | 346.2141 | 0.011857 | 346.3302 | 0.01139 | 346.4463 | 0.0073042 | 346.5624 | 0.0096512 | 346.6784 | 0.0085068 | 346.7945 | 0.0081044 | 346.9106 | 0.00050969 | 347.1281 | 0.0073236 | 347.2441 | -0.00022496 | 347.3602