## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9176 | 0 | 0.01079 | 0.11611 | 0.013237 | 0.23221 | 0.015121 | 0.3483 | 0.013547 | 0.46437 | 0.012292 | 0.58045 | 0.0086543 | 0.69653 | 0.01275 | 0.81261 | 0.014103 | 1.0301 | 0.012779 | 1.1461 | 0.012948 | 1.2622 | 0.013834 | 1.3783 | 0.011723 | 1.4944 | 0.010466 | 1.6105 | 0.010899 | 1.7265 | 0.0126 | 1.8426 | 0.009683 | 2.0601 | 0.014621 | 2.1762 | 0.0088895 | 2.2923 | 0.013092 | 2.4083 | 2.9254 | 2.5244 | 0.012514 | 2.6405 | 0.013695 | 2.7566 | 0.011307 | 2.8727 | 0.012745 | 3.0901 | 0.0083526 | 3.2062 | 0.012045 | 3.3223 | 0.011407 | 3.4384 | 0.007253 | 3.5545 | 0.0095215 | 3.6705 | 0.0085015 | 3.7866 | 0.0080263 | 3.9027 | 0.00052451 | 4.1202 | 0.0073846 | 4.2362 | -0.00035643 | 4.3523
2.9176 | 6.9992 | 0.010792 | 7.1153 | 0.013239 | 7.2314 | 0.015123 | 7.3475 | 0.013549 | 7.4635 | 0.012293 | 7.5796 | 0.0086562 | 7.6957 | 0.012752 | 7.8118 | 0.014107 | 8.0292 | 0.012783 | 8.1453 | 0.012951 | 8.2614 | 0.013838 | 8.3775 | 0.011727 | 8.4936 | 0.010468 | 8.6097 | 0.010901 | 8.7257 | 0.012603 | 8.8418 | 0.0096854 | 9.0593 | 0.014624 | 9.1754 | 0.0088915 | 9.2915 | 0.013094 | 9.4076 | 2.9254 | 9.5237 | 0.012516 | 9.6397 | 0.013699 | 9.7558 | 0.01131 | 9.8719 | 0.012748 | 10.0894 | 0.0083544 | 10.2055 | 0.012047 | 10.3216 | 0.011409 | 10.4376 | 0.0072549 | 10.5537 | 0.0095237 | 10.6698 | 0.008504 | 10.7859 | 0.0080278 | 10.9019 | 0.00052436 | 11.1194 | 0.0073864 | 11.2355 | -0.00035536 | 11.3516
2.9176 | 13.9992 | 0.010793 | 14.1153 | 0.013239 | 14.2314 | 0.015124 | 14.3474 | 0.013551 | 14.4635 | 0.012293 | 14.5796 | 0.0086566 | 14.6956 | 0.012752 | 14.8117 | 0.01411 | 15.0292 | 0.012787 | 15.1452 | 0.012953 | 15.2614 | 0.013841 | 15.3775 | 0.01173 | 15.4935 | 0.01047 | 15.6096 | 0.010903 | 15.7257 | 0.012605 | 15.8418 | 0.0096872 | 16.0593 | 0.014626 | 16.1754 | 0.0088931 | 16.2914 | 0.013097 | 16.4075 | 2.9253 | 16.5236 | 0.012518 | 16.6397 | 0.013702 | 16.7557 | 0.011312 | 16.8718 | 0.012751 | 17.0893 | 0.0083557 | 17.2054 | 0.012049 | 17.3215 | 0.011411 | 17.4375 | 0.007256 | 17.5536 | 0.0095254 | 17.6697 | 0.0085057 | 17.7857 | 0.0080292 | 17.9018 | 0.00052482 | 18.1193 | 0.0073884 | 18.2353 | -0.00035539 | 18.3514
2.9176 | 20.9992 | 0.010793 | 21.1153 | 0.01324 | 21.2314 | 0.015125 | 21.3475 | 0.013552 | 21.4636 | 0.012294 | 21.5796 | 0.0086575 | 21.6957 | 0.012753 | 21.8118 | 0.014112 | 22.0293 | 0.012788 | 22.1453 | 0.012955 | 22.2614 | 0.013843 | 22.3774 | 0.011732 | 22.4935 | 0.010472 | 22.6096 | 0.010905 | 22.7257 | 0.012607 | 22.8418 | 0.0096888 | 23.0592 | 0.014628 | 23.1753 | 0.008894 | 23.2914 | 0.013098 | 23.4075 | 2.9254 | 23.5235 | 0.012519 | 23.6396 | 0.013705 | 23.7557 | 0.011314 | 23.8718 | 0.012753 | 24.0893 | 0.0083575 | 24.2053 | 0.012051 | 24.3214 | 0.011413 | 24.4375 | 0.0072582 | 24.5536 | 0.0095265 | 24.6696 | 0.0085069 | 24.7857 | 0.0080309 | 24.9018 | 0.00052538 | 25.1192 | 0.0073894 | 25.2354 | -0.00035497 | 25.3515
2.9176 | 27.9992 | 0.010795 | 28.1153 | 0.013243 | 28.2314 | 0.015128 | 28.3475 | 0.013554 | 28.4635 | 0.012296 | 28.5796 | 0.0086585 | 28.6957 | 0.012755 | 28.8118 | 0.014113 | 29.0292 | 0.01279 | 29.1453 | 0.012957 | 29.2614 | 0.013845 | 29.3774 | 0.011734 | 29.4935 | 0.010474 | 29.6096 | 0.010907 | 29.7257 | 0.012609 | 29.8418 | 0.0096901 | 30.0593 | 0.01463 | 30.1753 | 0.0088952 | 30.2915 | 0.0131 | 30.4076 | 2.9254 | 30.5238 | 0.012521 | 30.6398 | 0.013706 | 30.7559 | 0.011315 | 30.872 | 0.012755 | 31.0895 | 0.0083587 | 31.2055 | 0.012053 | 31.3216 | 0.011414 | 31.4377 | 0.0072589 | 31.5538 | 0.0095281 | 31.6699 | 0.0085081 | 31.7859 | 0.0080315 | 31.902 | 0.00052592 | 32.1195 | 0.0073903 | 32.2355 | -0.00035482 | 32.3516
2.9176 | 34.9992 | 0.010797 | 35.1153 | 0.013244 | 35.2313 | 0.01513 | 35.3475 | 0.013555 | 35.4636 | 0.012297 | 35.5797 | 0.0086605 | 35.6958 | 0.012757 | 35.8119 | 0.014115 | 36.0293 | 0.012792 | 36.1454 | 0.012957 | 36.2615 | 0.013846 | 36.3776 | 0.011734 | 36.4936 | 0.010475 | 36.6097 | 0.010907 | 36.7258 | 0.01261 | 36.8419 | 0.0096913 | 37.0594 | 0.014631 | 37.1755 | 0.008896 | 37.2915 | 0.013101 | 37.4076 | 2.9254 | 37.5237 | 0.012521 | 37.6398 | 0.013706 | 37.7559 | 0.011316 | 37.872 | 0.012756 | 38.0894 | 0.0083591 | 38.2055 | 0.012053 | 38.3216 | 0.011415 | 38.4377 | 0.0072597 | 38.5537 | 0.0095288 | 38.6698 | 0.0085088 | 38.7859 | 0.0080324 | 38.902 | 0.00052647 | 39.1194 | 0.007391 | 39.2355 | -0.00035436 | 39.3516
2.9176 | 41.9992 | 0.010797 | 42.1153 | 0.013245 | 42.2314 | 0.015131 | 42.3474 | 0.013557 | 42.4635 | 0.012297 | 42.5796 | 0.0086601 | 42.6957 | 0.012758 | 42.8117 | 0.014115 | 43.0292 | 0.012793 | 43.1453 | 0.012957 | 43.2614 | 0.013846 | 43.3774 | 0.011735 | 43.4935 | 0.010475 | 43.6096 | 0.010908 | 43.7257 | 0.012611 | 43.8418 | 0.0096922 | 44.0593 | 0.014632 | 44.1753 | 0.0088963 | 44.2914 | 0.013102 | 44.4075 | 2.9254 | 44.5235 | 0.012522 | 44.6396 | 0.013706 | 44.7557 | 0.011317 | 44.8718 | 0.012757 | 45.0893 | 0.0083597 | 45.2053 | 0.012054 | 45.3214 | 0.011415 | 45.4376 | 0.0072594 | 45.5537 | 0.0095295 | 45.6698 | 0.0085094 | 45.7859 | 0.0080328 | 45.902 | 0.00052655 | 46.1194 | 0.007391 | 46.2355 | -0.00035461 | 46.3516
2.9176 | 48.9992 | 0.010798 | 49.1153 | 0.013246 | 49.2314 | 0.015133 | 49.3474 | 0.013558 | 49.4635 | 0.012299 | 49.5796 | 0.0086607 | 49.6956 | 0.012759 | 49.8117 | 0.014116 | 50.0292 | 0.012794 | 50.1452 | 0.012957 | 50.2613 | 0.013847 | 50.3774 | 0.011736 | 50.4936 | 0.010475 | 50.6097 | 0.010909 | 50.7258 | 0.012611 | 50.8418 | 0.0096926 | 51.0593 | 0.014632 | 51.1754 | 0.0088973 | 51.2915 | 0.013102 | 51.4076 | 2.9254 | 51.5236 | 0.012522 | 51.6397 | 0.013707 | 51.7558 | 0.011318 | 51.8719 | 0.012758 | 52.0893 | 0.0083603 | 52.2054 | 0.012054 | 52.3215 | 0.011415 | 52.4376 | 0.0072596 | 52.5537 | 0.0095292 | 52.6697 | 0.0085095 | 52.7858 | 0.0080328 | 52.9019 | 0.00052632 | 53.1194 | 0.0073912 | 53.2355 | -0.00035413 | 53.3515
2.9176 | 55.9992 | 0.010798 | 56.1153 | 0.013246 | 56.2314 | 0.015134 | 56.3474 | 0.013558 | 56.4635 | 0.012299 | 56.5796 | 0.0086608 | 56.6957 | 0.012759 | 56.8118 | 0.014116 | 57.0292 | 0.012794 | 57.1453 | 0.012957 | 57.2614 | 0.013847 | 57.3774 | 0.011735 | 57.4935 | 0.010475 | 57.6096 | 0.010909 | 57.7257 | 0.012612 | 57.8417 | 0.009693 | 58.0592 | 0.014632 | 58.1753 | 0.008898 | 58.2914 | 0.013103 | 58.4074 | 2.9254 | 58.5235 | 0.012523 | 58.6396 | 0.013707 | 58.7557 | 0.011319 | 58.8718 | 0.012758 | 59.0892 | 0.0083607 | 59.2053 | 0.012053 | 59.3214 | 0.011415 | 59.4374 | 0.0072601 | 59.5535 | 0.0095296 | 59.6696 | 0.0085086 | 59.7857 | 0.0080331 | 59.9018 | 0.0005266 | 60.1192 | 0.0073909 | 60.2353 | -0.00035388 | 60.3514
2.9176 | 62.9992 | 0.010798 | 63.1153 | 0.013245 | 63.2314 | 0.015135 | 63.3475 | 0.013559 | 63.4635 | 0.012299 | 63.5796 | 0.0086609 | 63.6957 | 0.012759 | 63.8118 | 0.014118 | 64.0293 | 0.012795 | 64.1453 | 0.012958 | 64.2614 | 0.013848 | 64.3775 | 0.011736 | 64.4936 | 0.010476 | 64.6096 | 0.01091 | 64.7257 | 0.012613 | 64.8418 | 0.0096936 | 65.0593 | 0.014633 | 65.1754 | 0.0088984 | 65.2915 | 0.013103 | 65.4076 | 2.9254 | 65.5236 | 0.012523 | 65.6398 | 0.013707 | 65.7559 | 0.011319 | 65.8721 | 0.012759 | 66.0895 | 0.0083604 | 66.2056 | 0.012054 | 66.3217 | 0.011416 | 66.4377 | 0.0072609 | 66.5538 | 0.0095295 | 66.6699 | 0.0085092 | 66.786 | 0.0080334 | 66.9021 | 0.00052666 | 67.1196 | 0.0073913 | 67.2356 | -0.00035403 | 67.3517
2.9176 | 69.9992 | 0.010799 | 70.1153 | 0.013246 | 70.2314 | 0.015136 | 70.3474 | 0.01356 | 70.4635 | 0.012299 | 70.5796 | 0.0086618 | 70.6958 | 0.01276 | 70.8119 | 0.014119 | 71.0294 | 0.012796 | 71.1454 | 0.01296 | 71.2615 | 0.01385 | 71.3776 | 0.011738 | 71.4937 | 0.010477 | 71.6098 | 0.01091 | 71.7259 | 0.012614 | 71.842 | 0.0096943 | 72.0595 | 0.014633 | 72.1755 | 0.0088988 | 72.2916 | 0.013104 | 72.4077 | 2.9253 | 72.5238 | 0.012524 | 72.6399 | 0.013708 | 72.7559 | 0.01132 | 72.872 | 0.01276 | 73.0895 | 0.0083613 | 73.2056 | 0.012055 | 73.3217 | 0.011417 | 73.4377 | 0.0072613 | 73.5538 | 0.0095303 | 73.6699 | 0.0085098 | 73.786 | 0.0080338 | 73.902 | 0.00052643 | 74.1195 | 0.007392 | 74.2356 | -0.00035369 | 74.3516
2.9176 | 76.9992 | 0.0108 | 77.1153 | 0.013248 | 77.2314 | 0.015139 | 77.3475 | 0.013562 | 77.4636 | 0.012301 | 77.5796 | 0.0086623 | 77.6957 | 0.012762 | 77.8118 | 0.01412 | 78.0293 | 0.012798 | 78.1453 | 0.01296 | 78.2614 | 0.013851 | 78.3775 | 0.011738 | 78.4936 | 0.010477 | 78.6096 | 0.010911 | 78.7257 | 0.012614 | 78.8418 | 0.0096954 | 79.0593 | 0.014634 | 79.1754 | 0.0088993 | 79.2915 | 0.013104 | 79.4076 | 2.9253 | 79.5236 | 0.012524 | 79.6397 | 0.013708 | 79.7558 | 0.011321 | 79.8719 | 0.012761 | 80.0893 | 0.0083619 | 80.2054 | 0.012056 | 80.3215 | 0.011417 | 80.4376 | 0.0072618 | 80.5537 | 0.0095307 | 80.6698 | 0.0085103 | 80.7859 | 0.0080344 | 80.902 | 0.00052697 | 81.1195 | 0.0073925 | 81.2356 | -0.00035377 | 81.3517
2.9176 | 83.9992 | 0.010801 | 84.1153 | 0.013247 | 84.2314 | 0.015139 | 84.3475 | 0.013561 | 84.4635 | 0.012301 | 84.5796 | 0.0086607 | 84.6957 | 0.012762 | 84.8118 | 0.01412 | 85.0293 | 0.012798 | 85.1453 | 0.01296 | 85.2614 | 0.013849 | 85.3775 | 0.011737 | 85.4936 | 0.010477 | 85.6097 | 0.010911 | 85.7257 | 0.012614 | 85.8419 | 0.0096951 | 86.0594 | 0.014634 | 86.1755 | 0.0088998 | 86.2916 | 0.013105 | 86.4077 | 2.9254 | 86.5238 | 0.012524 | 86.6398 | 0.013707 | 86.7559 | 0.011321 | 86.872 | 0.012761 | 87.0895 | 0.0083616 | 87.2055 | 0.012055 | 87.3216 | 0.011416 | 87.4377 | 0.0072612 | 87.5538 | 0.0095308 | 87.6698 | 0.0085104 | 87.7859 | 0.0080343 | 87.902 | 0.00052691 | 88.1194 | 0.0073925 | 88.2355 | -0.00035336 | 88.3516
2.9176 | 90.9992 | 0.010799 | 91.1153 | 0.013245 | 91.2314 | 0.015136 | 91.3475 | 0.013559 | 91.4635 | 0.012298 | 91.5796 | 0.0086578 | 91.6957 | 0.012759 | 91.8118 | 0.014119 | 92.0292 | 0.012796 | 92.1453 | 0.012959 | 92.2614 | 0.013848 | 92.3775 | 0.011735 | 92.4936 | 0.010476 | 92.6096 | 0.01091 | 92.7257 | 0.012613 | 92.8418 | 0.0096948 | 93.0593 | 0.014634 | 93.1754 | 0.0088996 | 93.2915 | 0.013104 | 93.4075 | 2.9253 | 93.5236 | 0.012523 | 93.6397 | 0.013706 | 93.7558 | 0.011321 | 93.8719 | 0.01276 | 94.0894 | 0.0083609 | 94.2054 | 0.012055 | 94.3215 | 0.011416 | 94.4376 | 0.0072609 | 94.5537 | 0.0095303 | 94.6698 | 0.0085098 | 94.7858 | 0.0080335 | 94.9019 | 0.00052683 | 95.1194 | 0.0073922 | 95.2355 | -0.00035387 | 95.3515
2.9176 | 97.9992 | 0.010798 | 98.1153 | 0.013244 | 98.2314 | 0.015137 | 98.3474 | 0.01356 | 98.4635 | 0.012297 | 98.5796 | 0.0086583 | 98.6957 | 0.012759 | 98.8118 | 0.014119 | 99.0293 | 0.012796 | 99.1453 | 0.012958 | 99.2614 | 0.013848 | 99.3775 | 0.011735 | 99.4936 | 0.010476 | 99.6096 | 0.01091 | 99.7257 | 0.012613 | 99.8418 | 0.0096944 | 100.0593 | 0.014633 | 100.1754 | 0.0088993 | 100.2915 | 0.013104 | 100.4076 | 2.9254 | 100.5236 | 0.012522 | 100.6397 | 0.013706 | 100.7558 | 0.011321 | 100.8719 | 0.01276 | 101.0894 | 0.0083602 | 101.2055 | 0.012054 | 101.3216 | 0.011416 | 101.4377 | 0.0072609 | 101.5538 | 0.0095304 | 101.6698 | 0.00851 | 101.7859 | 0.0080336 | 101.902 | 0.00052653 | 102.1195 | 0.0073917 | 102.2355 | -0.00035335 | 102.3516
2.9176 | 104.9992 | 0.010801 | 105.1152 | 0.013247 | 105.2313 | 0.015141 | 105.3474 | 0.013564 | 105.4635 | 0.0123 | 105.5796 | 0.0086602 | 105.6956 | 0.012762 | 105.8117 | 0.01412 | 106.0293 | 0.012796 | 106.1454 | 0.012958 | 106.2615 | 0.013848 | 106.3775 | 0.011735 | 106.4936 | 0.010476 | 106.6097 | 0.01091 | 106.7258 | 0.012613 | 106.8419 | 0.0096945 | 107.0594 | 0.014633 | 107.1755 | 0.0088994 | 107.2915 | 0.013103 | 107.4076 | 2.9254 | 107.5237 | 0.012522 | 107.6398 | 0.013706 | 107.7559 | 0.011321 | 107.8719 | 0.01276 | 108.0894 | 0.0083602 | 108.2055 | 0.012055 | 108.3215 | 0.011415 | 108.4376 | 0.0072603 | 108.5537 | 0.0095301 | 108.6698 | 0.0085098 | 108.7859 | 0.0080334 | 108.902 | 0.00052686 | 109.1194 | 0.0073912 | 109.2355 | -0.00035348 | 109.3516
2.9176 | 111.9992 | 0.010803 | 112.1153 | 0.013249 | 112.2314 | 0.015145 | 112.3474 | 0.013565 | 112.4635 | 0.012303 | 112.5796 | 0.0086618 | 112.6957 | 0.012764 | 112.8118 | 0.01412 | 113.0292 | 0.012797 | 113.1453 | 0.012958 | 113.2614 | 0.013847 | 113.3775 | 0.011735 | 113.4935 | 0.010476 | 113.6096 | 0.01091 | 113.7257 | 0.012613 | 113.8418 | 0.0096948 | 114.0593 | 0.014632 | 114.1754 | 0.0089 | 114.2915 | 0.013103 | 114.4075 | 2.9254 | 114.5236 | 0.012523 | 114.6397 | 0.013706 | 114.7558 | 0.011322 | 114.8719 | 0.012762 | 115.0893 | 0.0083604 | 115.2054 | 0.012054 | 115.3215 | 0.011414 | 115.4376 | 0.0072606 | 115.5536 | 0.0095292 | 115.6697 | 0.0085091 | 115.7858 | 0.0080333 | 115.9019 | 0.0005271 | 116.1194 | 0.0073912 | 116.2356 | -0.00035352 | 116.3517
2.9176 | 118.9992 | 0.010804 | 119.1153 | 0.013251 | 119.2313 | 0.015147 | 119.3474 | 0.013566 | 119.4635 | 0.012305 | 119.5796 | 0.0086626 | 119.6957 | 0.012765 | 119.8117 | 0.014121 | 120.0292 | 0.012798 | 120.1453 | 0.012958 | 120.2613 | 0.013848 | 120.3774 | 0.011735 | 120.4935 | 0.010476 | 120.6096 | 0.010909 | 120.7256 | 0.012613 | 120.8417 | 0.0096946 | 121.0592 | 0.014632 | 121.1754 | 0.0089 | 121.2915 | 0.013104 | 121.4076 | 2.9254 | 121.5237 | 0.012523 | 121.6398 | 0.013705 | 121.7558 | 0.011322 | 121.8719 | 0.012762 | 122.0894 | 0.0083605 | 122.2055 | 0.012054 | 122.3216 | 0.011415 | 122.4376 | 0.0072614 | 122.5537 | 0.0095291 | 122.6698 | 0.0085092 | 122.7859 | 0.0080341 | 122.9019 | 0.00052627 | 123.1195 | 0.0073916 | 123.2355 | -0.00035329 | 123.3516
2.9176 | 125.9992 | 0.0108 | 126.1153 | 0.013246 | 126.2315 | 0.015144 | 126.3476 | 0.013564 | 126.4637 | 0.012302 | 126.5798 | 0.0086611 | 126.6958 | 0.012762 | 126.8119 | 0.014121 | 127.0293 | 0.012799 | 127.1454 | 0.012957 | 127.2615 | 0.013848 | 127.3776 | 0.011735 | 127.4937 | 0.010475 | 127.6098 | 0.010909 | 127.7259 | 0.012612 | 127.8419 | 0.0096945 | 128.0594 | 0.014632 | 128.1755 | 0.0088995 | 128.2916 | 0.013103 | 128.4077 | 2.9254 | 128.5238 | 0.012522 | 128.6399 | 0.013704 | 128.7559 | 0.011322 | 128.872 | 0.012761 | 129.0895 | 0.0083605 | 129.2056 | 0.012051 | 129.3217 | 0.011414 | 129.4378 | 0.0072609 | 129.5538 | 0.0095283 | 129.6699 | 0.0085087 | 129.786 | 0.0080333 | 129.902 | 0.00052628 | 130.1195 | 0.0073914 | 130.2356 | -0.00035318 | 130.3517
2.9176 | 132.9992 | 0.010797 | 133.1153 | 0.013242 | 133.2314 | 0.015139 | 133.3474 | 0.01356 | 133.4635 | 0.012297 | 133.5796 | 0.0086583 | 133.6957 | 0.012759 | 133.8118 | 0.01412 | 134.0292 | 0.012799 | 134.1453 | 0.012956 | 134.2614 | 0.013848 | 134.3775 | 0.011734 | 134.4935 | 0.010474 | 134.6096 | 0.010908 | 134.7257 | 0.012611 | 134.8418 | 0.009694 | 135.0593 | 0.014631 | 135.1754 | 0.008899 | 135.2915 | 0.013102 | 135.4076 | 2.9254 | 135.5236 | 0.012522 | 135.6397 | 0.013704 | 135.7558 | 0.01132 | 135.8719 | 0.012759 | 136.0894 | 0.0083599 | 136.2054 | 0.012051 | 136.3216 | 0.011415 | 136.4377 | 0.0072606 | 136.5538 | 0.0095287 | 136.6699 | 0.0085086 | 136.786 | 0.0080336 | 136.902 | 0.00052619 | 137.1195 | 0.0073912 | 137.2356 | -0.00035353 | 137.3517
2.9176 | 139.9992 | 0.010796 | 140.1152 | 0.013241 | 140.2313 | 0.015137 | 140.3474 | 0.013558 | 140.4635 | 0.012294 | 140.5796 | 0.008657 | 140.6956 | 0.012757 | 140.8117 | 0.014119 | 141.0292 | 0.012799 | 141.1453 | 0.012956 | 141.2613 | 0.013847 | 141.3775 | 0.011735 | 141.4936 | 0.010474 | 141.6097 | 0.010908 | 141.7258 | 0.012611 | 141.8418 | 0.0096938 | 142.0594 | 0.014631 | 142.1754 | 0.008899 | 142.2915 | 0.013102 | 142.4076 | 2.9254 | 142.5237 | 0.012522 | 142.6397 | 0.013705 | 142.7558 | 0.01132 | 142.8719 | 0.012759 | 143.0894 | 0.0083599 | 143.2055 | 0.012053 | 143.3216 | 0.011416 | 143.4376 | 0.0072615 | 143.5537 | 0.0095304 | 143.6698 | 0.0085099 | 143.7859 | 0.0080343 | 143.9019 | 0.00052631 | 144.1194 | 0.0073922 | 144.2355 | -0.00035343 | 144.3516
2.9176 | 146.9992 | 0.010797 | 147.1153 | 0.013242 | 147.2314 | 0.015139 | 147.3475 | 0.013559 | 147.4635 | 0.012296 | 147.5796 | 0.0086574 | 147.6957 | 0.012758 | 147.8118 | 0.014121 | 148.0293 | 0.0128 | 148.1453 | 0.012958 | 148.2614 | 0.013849 | 148.3775 | 0.011736 | 148.4936 | 0.010475 | 148.6096 | 0.010909 | 148.7257 | 0.012612 | 148.8418 | 0.0096942 | 149.0593 | 0.014633 | 149.1754 | 0.0088996 | 149.2915 | 0.013103 | 149.4076 | 2.9254 | 149.5236 | 0.012523 | 149.6397 | 0.013707 | 149.7558 | 0.011321 | 149.8719 | 0.01276 | 150.0894 | 0.0083605 | 150.2054 | 0.012056 | 150.3215 | 0.011418 | 150.4376 | 0.007263 | 150.5537 | 0.0095321 | 150.6698 | 0.0085118 | 150.7858 | 0.0080355 | 150.9019 | 0.00052681 | 151.1194 | 0.0073938 | 151.2355 | -0.00035318 | 151.3516
2.9176 | 153.9992 | 0.0108 | 154.1153 | 0.013245 | 154.2314 | 0.01514 | 154.3475 | 0.013561 | 154.4635 | 0.012298 | 154.5796 | 0.0086596 | 154.6957 | 0.012761 | 154.8118 | 0.014122 | 155.0293 | 0.012801 | 155.1453 | 0.01296 | 155.2614 | 0.013851 | 155.3775 | 0.011738 | 155.4936 | 0.010476 | 155.6097 | 0.01091 | 155.7257 | 0.012614 | 155.8418 | 0.0096953 | 156.0593 | 0.014634 | 156.1754 | 0.0089009 | 156.2915 | 0.013105 | 156.4075 | 2.9254 | 156.5237 | 0.012524 | 156.6398 | 0.013708 | 156.7559 | 0.011321 | 156.872 | 0.012762 | 157.0895 | 0.0083622 | 157.2056 | 0.012058 | 157.3217 | 0.011419 | 157.4377 | 0.0072638 | 157.5538 | 0.0095332 | 157.6699 | 0.0085126 | 157.786 | 0.0080364 | 157.9021 | 0.00052762 | 158.1196 | 0.0073945 | 158.2357 | -0.00035283 | 158.3517
2.9176 | 160.9992 | 0.0108 | 161.1153 | 0.013246 | 161.2313 | 0.015141 | 161.3474 | 0.013562 | 161.4635 | 0.012299 | 161.5841 | 0.00866 | 161.7002 | 0.012761 | 161.8163 | 0.014122 | 162.0337 | 0.012801 | 162.1498 | 0.01296 | 162.2659 | 0.013851 | 162.382 | 0.011737 | 162.4981 | 0.010476 | 162.6141 | 0.01091 | 162.7302 | 0.012613 | 162.8463 | 0.0096949 | 163.0638 | 0.014633 | 163.1799 | 0.0089002 | 163.296 | 0.013104 | 163.412 | 2.9254 | 163.5281 | 0.012524 | 163.6442 | 0.013706 | 163.7603 | 0.011321 | 163.8764 | 0.01276 | 164.0938 | 0.0083609 | 164.2099 | 0.012055 | 164.326 | 0.011415 | 164.4421 | 0.0072604 | 164.5582 | 0.0095295 | 164.6742 | 0.0085083 | 164.7903 | 0.0080331 | 164.9064 | 0.00052697 | 165.1239 | 0.0073907 | 165.24 | -0.00035291 | 165.356
2.9176 | 167.9992 | 0.010799 | 168.1153 | 0.013246 | 168.2314 | 0.01514 | 168.3475 | 0.013561 | 168.4635 | 0.012299 | 168.5796 | 0.0086587 | 168.6957 | 0.012759 | 168.8118 | 0.01412 | 169.0293 | 0.012798 | 169.1454 | 0.012959 | 169.2614 | 0.013849 | 169.3775 | 0.011735 | 169.4936 | 0.010475 | 169.6097 | 0.010909 | 169.7257 | 0.012611 | 169.8418 | 0.0096933 | 170.0593 | 0.014631 | 170.1754 | 0.0088994 | 170.2915 | 0.013102 | 170.4076 | 2.9254 | 170.5236 | 0.012523 | 170.6397 | 0.013705 | 170.7558 | 0.011319 | 170.8719 | 0.012758 | 171.0894 | 0.0083596 | 171.2054 | 0.01205 | 171.3215 | 0.011412 | 171.4376 | 0.0072592 | 171.5537 | 0.009527 | 171.6781 | 0.0085066 | 171.7941 | 0.0080315 | 171.9102 | 0.0005267 | 172.1277 | 0.0073897 | 172.2438 | -0.00035364 | 172.3599
2.9176 | 174.9992 | 0.010792 | 175.1153 | 0.013239 | 175.2314 | 0.015132 | 175.3475 | 0.013554 | 175.4635 | 0.012293 | 175.5796 | 0.0086533 | 175.6957 | 0.012753 | 175.8118 | 0.014118 | 176.0292 | 0.012796 | 176.1453 | 0.012957 | 176.2614 | 0.013846 | 176.3775 | 0.011734 | 176.4936 | 0.010474 | 176.6096 | 0.010908 | 176.7324 | 0.012611 | 176.8485 | 0.0096931 | 177.066 | 0.014631 | 177.1821 | 0.0088993 | 177.2982 | 0.013102 | 177.4143 | 2.9254 | 177.5304 | 0.012522 | 177.6465 | 0.013703 | 177.7626 | 0.011319 | 177.8787 | 0.012758 | 178.0961 | 0.0083588 | 178.2122 | 0.012052 | 178.3283 | 0.011414 | 178.4444 | 0.00726 | 178.5605 | 0.0095283 | 178.6766 | 0.0085079 | 178.7926 | 0.0080323 | 178.9087 | 0.00052642 | 179.1262 | 0.0073906 | 179.2423 | -0.00035389 | 179.3584
2.9176 | 181.9992 | 0.010794 | 182.1153 | 0.01324 | 182.2314 | 0.015132 | 182.3474 | 0.013555 | 182.4635 | 0.012294 | 182.5796 | 0.0086547 | 182.6957 | 0.012755 | 182.8118 | 0.014118 | 183.0293 | 0.012794 | 183.1453 | 0.012956 | 183.2614 | 0.013845 | 183.3775 | 0.011732 | 183.4935 | 0.010474 | 183.6096 | 0.010908 | 183.7257 | 0.012611 | 183.8418 | 0.009693 | 184.0593 | 0.014631 | 184.1754 | 0.0088987 | 184.2915 | 0.013102 | 184.4075 | 2.9254 | 184.5236 | 0.012521 | 184.6397 | 0.013703 | 184.7558 | 0.011318 | 184.8719 | 0.012758 | 185.0893 | 0.0083584 | 185.2054 | 0.012053 | 185.3215 | 0.011415 | 185.4376 | 0.0072607 | 185.5537 | 0.0095304 | 185.6697 | 0.0085094 | 185.7858 | 0.0080337 | 185.9019 | 0.00052666 | 186.1194 | 0.0073917 | 186.2354 | -0.00035339 | 186.3515
2.9176 | 188.9992 | 0.010797 | 189.1153 | 0.013243 | 189.2314 | 0.015135 | 189.3474 | 0.013558 | 189.4635 | 0.012296 | 189.5796 | 0.0086574 | 189.6957 | 0.012757 | 189.8118 | 0.014118 | 190.0292 | 0.012795 | 190.1453 | 0.012957 | 190.2614 | 0.013846 | 190.3775 | 0.011734 | 190.4935 | 0.010475 | 190.6096 | 0.010908 | 190.7257 | 0.012611 | 190.8418 | 0.0096931 | 191.0593 | 0.014632 | 191.1754 | 0.0088983 | 191.2914 | 0.013103 | 191.4075 | 2.9254 | 191.5236 | 0.01252 | 191.6397 | 0.013703 | 191.7558 | 0.011319 | 191.8804 | 0.012758 | 192.0979 | 0.0083591 | 192.214 | 0.012054 | 192.33 | 0.011416 | 192.4461 | 0.0072611 | 192.5622 | 0.0095307 | 192.6783 | 0.0085107 | 192.7943 | 0.0080343 | 192.9104 | 0.00052703 | 193.1279 | 0.0073924 | 193.244 | -0.00035352 | 193.3601
2.9176 | 195.9992 | 0.010797 | 196.1153 | 0.013243 | 196.2314 | 0.015135 | 196.3474 | 0.013558 | 196.4635 | 0.012297 | 196.5796 | 0.0086577 | 196.6957 | 0.012758 | 196.8118 | 0.014117 | 197.0315 | 0.012793 | 197.1476 | 0.012954 | 197.2637 | 0.013843 | 197.3798 | 0.011731 | 197.4958 | 0.010473 | 197.6119 | 0.010907 | 197.728 | 0.01261 | 197.8441 | 0.0096922 | 198.0616 | 0.014629 | 198.1777 | 0.0088975 | 198.2938 | 0.013101 | 198.4099 | 2.9254 | 198.5259 | 0.012519 | 198.642 | 0.0137 | 198.7581 | 0.011317 | 198.8742 | 0.012756 | 199.0917 | 0.0083567 | 199.2078 | 0.012052 | 199.3238 | 0.011414 | 199.4399 | 0.0072588 | 199.556 | 0.0095283 | 199.6721 | 0.0085074 | 199.7881 | 0.0080315 | 199.9042 | 0.00052621 | 200.1217 | 0.0073894 | 200.2378 | -0.00035372 | 200.3539
2.9175 | 202.9992 | 0.010797 | 203.1153 | 0.013243 | 203.2314 | 0.015137 | 203.3475 | 0.013559 | 203.4636 | 0.012297 | 203.5797 | 0.0086583 | 203.6958 | 0.012758 | 203.8118 | 0.014115 | 204.0293 | 0.012791 | 204.1454 | 0.012953 | 204.2614 | 0.013842 | 204.3775 | 0.01173 | 204.4936 | 0.010472 | 204.6097 | 0.010906 | 204.7258 | 0.012609 | 204.8419 | 0.0096915 | 205.0593 | 0.014628 | 205.1754 | 0.008897 | 205.2915 | 0.0131 | 205.4076 | 2.9254 | 205.5237 | 0.012517 | 205.6397 | 0.013699 | 205.7558 | 0.011316 | 205.8719 | 0.012756 | 206.0894 | 0.0083559 | 206.2054 | 0.012052 | 206.3215 | 0.011413 | 206.4376 | 0.0072589 | 206.5537 | 0.0095282 | 206.6697 | 0.0085072 | 206.7858 | 0.0080317 | 206.9019 | 0.00052626 | 207.1194 | 0.0073895 | 207.2355 | -0.00035417 | 207.3516
2.9176 | 209.9992 | 0.010797 | 210.1153 | 0.013243 | 210.2313 | 0.015136 | 210.3474 | 0.013559 | 210.4635 | 0.012297 | 210.5796 | 0.0086574 | 210.6957 | 0.012758 | 210.8118 | 0.014116 | 211.0292 | 0.012791 | 211.1453 | 0.012954 | 211.2614 | 0.013843 | 211.3775 | 0.01173 | 211.4936 | 0.010473 | 211.6096 | 0.010906 | 211.7257 | 0.012609 | 211.8418 | 0.0096913 | 212.0666 | 0.014629 | 212.1827 | 0.0088971 | 212.2988 | 0.013101 | 212.4149 | 2.9254 | 212.5309 | 0.012518 | 212.647 | 0.0137 | 212.7631 | 0.011317 | 212.8792 | 0.012757 | 213.0967 | 0.0083565 | 213.2128 | 0.012053 | 213.3288 | 0.011415 | 213.4449 | 0.0072604 | 213.561 | 0.0095296 | 213.6771 | 0.0085092 | 213.7931 | 0.0080322 | 213.9092 | 0.00052636 | 214.1267 | 0.0073913 | 214.2428 | -0.0003537 | 214.3589
2.9176 | 216.9992 | 0.010797 | 217.1213 | 0.013244 | 217.2374 | 0.015136 | 217.3535 | 0.01356 | 217.4696 | 0.012298 | 217.5856 | 0.0086582 | 217.7017 | 0.012758 | 217.8178 | 0.014117 | 218.0353 | 0.012793 | 218.1513 | 0.012955 | 218.2674 | 0.013844 | 218.3835 | 0.011732 | 218.4996 | 0.010474 | 218.6156 | 0.010909 | 218.7317 | 0.012612 | 218.8478 | 0.0096932 | 219.0653 | 0.014631 | 219.1814 | 0.0088981 | 219.2975 | 0.013103 | 219.4135 | 2.9254 | 219.5296 | 0.01252 | 219.6457 | 0.013703 | 219.7618 | 0.011319 | 219.8779 | 0.012759 | 220.0953 | 0.0083578 | 220.2114 | 0.012055 | 220.3274 | 0.011418 | 220.4435 | 0.007262 | 220.5596 | 0.0095317 | 220.6757 | 0.008511 | 220.7918 | 0.0080346 | 220.9078 | 0.00052656 | 221.1253 | 0.0073933 | 221.2414 | -0.00035344 | 221.3575
2.9176 | 223.9992 | 0.010799 | 224.1153 | 0.013246 | 224.2314 | 0.015137 | 224.3475 | 0.013561 | 224.4635 | 0.012299 | 224.5796 | 0.0086603 | 224.6957 | 0.01276 | 224.8118 | 0.01412 | 225.0292 | 0.012796 | 225.1453 | 0.012958 | 225.2614 | 0.013849 | 225.3774 | 0.011735 | 225.4935 | 0.010476 | 225.6096 | 0.01091 | 225.7257 | 0.012614 | 225.8418 | 0.009695 | 226.0593 | 0.014634 | 226.1754 | 0.0088994 | 226.2914 | 0.013105 | 226.4075 | 2.9254 | 226.5236 | 0.012522 | 226.6397 | 0.013706 | 226.7558 | 0.011321 | 226.8719 | 0.012762 | 227.0893 | 0.00836 | 227.2055 | 0.012059 | 227.3217 | 0.01142 | 227.4377 | 0.0072639 | 227.5538 | 0.0095343 | 227.6699 | 0.0085135 | 227.786 | 0.008036 | 227.902 | 0.00052703 | 228.1195 | 0.0073948 | 228.2356 | -0.000353 | 228.3517
2.9176 | 230.9992 | 0.010801 | 231.1153 | 0.013247 | 231.2314 | 0.015137 | 231.3474 | 0.013562 | 231.4635 | 0.0123 | 231.5796 | 0.0086619 | 231.6957 | 0.012761 | 231.8118 | 0.014121 | 232.0292 | 0.012798 | 232.1453 | 0.01296 | 232.2686 | 0.01385 | 232.3847 | 0.011737 | 232.5008 | 0.010477 | 232.6169 | 0.01091 | 232.733 | 0.012616 | 232.849 | 0.0096962 | 233.0665 | 0.014636 | 233.1826 | 0.0089002 | 233.2987 | 0.013107 | 233.4148 | 2.9254 | 233.5308 | 0.012523 | 233.6469 | 0.013708 | 233.763 | 0.011322 | 233.8791 | 0.012763 | 234.0966 | 0.008361 | 234.2127 | 0.012059 | 234.3287 | 0.01142 | 234.4448 | 0.0072637 | 234.5609 | 0.0095338 | 234.677 | 0.0085133 | 234.793 | 0.008036 | 234.9091 | 0.00052744 | 235.1266 | 0.0073948 | 235.2427 | -0.00035321 | 235.3588
2.9176 | 237.9992 | 0.0108 | 238.1153 | 0.013247 | 238.2313 | 0.015136 | 238.3474 | 0.013561 | 238.4635 | 0.012299 | 238.5796 | 0.0086617 | 238.6957 | 0.01276 | 238.8118 | 0.01412 | 239.0292 | 0.012797 | 239.1453 | 0.012959 | 239.2614 | 0.013848 | 239.3774 | 0.011737 | 239.4935 | 0.010477 | 239.6096 | 0.010911 | 239.7257 | 0.012615 | 239.8418 | 0.0096956 | 240.0593 | 0.014635 | 240.1754 | 0.0089004 | 240.2915 | 0.013107 | 240.4075 | 2.9253 | 240.5236 | 0.012522 | 240.6397 | 0.013707 | 240.7558 | 0.011321 | 240.8719 | 0.012761 | 241.0893 | 0.0083603 | 241.2054 | 0.012058 | 241.3215 | 0.011419 | 241.4375 | 0.0072632 | 241.5536 | 0.009534 | 241.6697 | 0.0085126 | 241.7858 | 0.008035 | 241.9019 | 0.00052769 | 242.1193 | 0.0073937 | 242.2354 | -0.00035342 | 242.3516
2.9176 | 244.9992 | 0.010799 | 245.1153 | 0.013246 | 245.2313 | 0.015134 | 245.3474 | 0.01356 | 245.4635 | 0.012298 | 245.5796 | 0.0086604 | 245.6956 | 0.012759 | 245.8117 | 0.014118 | 246.0292 | 0.012796 | 246.1453 | 0.012958 | 246.2614 | 0.013848 | 246.3774 | 0.011737 | 246.4935 | 0.010477 | 246.6096 | 0.01091 | 246.7257 | 0.012615 | 246.8418 | 0.0096952 | 247.0593 | 0.014635 | 247.1754 | 0.0089003 | 247.2915 | 0.013106 | 247.4123 | 2.9254 | 247.5285 | 0.012522 | 247.6446 | 0.013707 | 247.7606 | 0.011321 | 247.8767 | 0.01276 | 248.0942 | 0.0083597 | 248.2103 | 0.012058 | 248.3263 | 0.011419 | 248.4424 | 0.0072629 | 248.5585 | 0.0095336 | 248.6746 | 0.0085124 | 248.7907 | 0.0080349 | 248.9068 | 0.00052734 | 249.1243 | 0.0073937 | 249.2403 | -0.00035305 | 249.3564
2.9175 | 251.9992 | 0.010799 | 252.1153 | 0.013246 | 252.2313 | 0.015137 | 252.3474 | 0.01356 | 252.4713 | 0.012298 | 252.5874 | 0.0086604 | 252.7034 | 0.012759 | 252.8195 | 0.014118 | 253.037 | 0.012796 | 253.1531 | 0.012958 | 253.2692 | 0.013848 | 253.3852 | 0.011737 | 253.5013 | 0.010477 | 253.6174 | 0.01091 | 253.7335 | 0.012615 | 253.8496 | 0.0096951 | 254.0671 | 0.014635 | 254.1832 | 0.0089 | 254.2993 | 0.013106 | 254.4153 | 2.9254 | 254.5314 | 0.012522 | 254.6475 | 0.013707 | 254.7636 | 0.011321 | 254.8797 | 0.01276 | 255.0971 | 0.0083605 | 255.2132 | 0.012058 | 255.3293 | 0.011418 | 255.4453 | 0.0072632 | 255.5614 | 0.0095338 | 255.6775 | 0.0085124 | 255.7936 | 0.0080349 | 255.9097 | 0.00052748 | 256.1271 | 0.0073932 | 256.2432 | -0.000353 | 256.3593
2.9176 | 258.9992 | 0.0108 | 259.1153 | 0.013246 | 259.2314 | 0.015137 | 259.3475 | 0.01356 | 259.4636 | 0.012299 | 259.5796 | 0.0086607 | 259.6957 | 0.01276 | 259.8118 | 0.014118 | 260.0293 | 0.012796 | 260.1453 | 0.012959 | 260.2614 | 0.013848 | 260.3775 | 0.011737 | 260.4935 | 0.010477 | 260.6096 | 0.01091 | 260.7257 | 0.012615 | 260.8418 | 0.0096948 | 261.0593 | 0.014635 | 261.1754 | 0.0089004 | 261.2915 | 0.013106 | 261.4075 | 2.9254 | 261.5236 | 0.012522 | 261.6397 | 0.013707 | 261.7558 | 0.01132 | 261.8718 | 0.012759 | 262.0893 | 0.0083607 | 262.2054 | 0.012058 | 262.3215 | 0.011418 | 262.4376 | 0.007263 | 262.5537 | 0.0095336 | 262.6698 | 0.0085121 | 262.7859 | 0.0080349 | 262.9019 | 0.00052689 | 263.1194 | 0.0073932 | 263.2355 | -0.00035297 | 263.3516
2.9176 | 265.9992 | 0.010799 | 266.1153 | 0.013246 | 266.2314 | 0.015136 | 266.3474 | 0.01356 | 266.4635 | 0.012298 | 266.5796 | 0.0086601 | 266.6957 | 0.012759 | 266.8117 | 0.014118 | 267.0292 | 0.012797 | 267.1453 | 0.012958 | 267.2614 | 0.013848 | 267.3774 | 0.011736 | 267.4935 | 0.010476 | 267.6098 | 0.01091 | 267.7259 | 0.012614 | 267.842 | 0.0096944 | 268.0595 | 0.014633 | 268.1756 | 0.0088998 | 268.2917 | 0.013105 | 268.4078 | 2.9254 | 268.5239 | 0.012522 | 268.64 | 0.013706 | 268.7561 | 0.011319 | 268.8722 | 0.012759 | 269.0896 | 0.00836 | 269.2057 | 0.012056 | 269.3218 | 0.011417 | 269.4379 | 0.0072616 | 269.554 | 0.0095313 | 269.67 | 0.0085098 | 269.7861 | 0.0080334 | 269.9022 | 0.00052696 | 270.1197 | 0.0073912 | 270.2358 | -0.00035316 | 270.3518
2.9176 | 272.9992 | 0.010792 | 273.1153 | 0.01324 | 273.2314 | 0.015131 | 273.3475 | 0.013554 | 273.4635 | 0.012292 | 273.5796 | 0.0086548 | 273.6957 | 0.012754 | 273.8118 | 0.014117 | 274.0293 | 0.012796 | 274.1453 | 0.012958 | 274.2614 | 0.013847 | 274.3775 | 0.011734 | 274.4935 | 0.010475 | 274.6096 | 0.010909 | 274.7257 | 0.012613 | 274.8418 | 0.0096932 | 275.0593 | 0.014632 | 275.1754 | 0.0088988 | 275.2914 | 0.013103 | 275.4075 | 2.9254 | 275.5236 | 0.012521 | 275.6397 | 0.013704 | 275.7558 | 0.011318 | 275.8719 | 0.012757 | 276.0893 | 0.0083591 | 276.2054 | 0.012054 | 276.3215 | 0.011414 | 276.4375 | 0.0072602 | 276.5536 | 0.0095295 | 276.6697 | 0.0085077 | 276.7858 | 0.0080321 | 276.9019 | 0.00052676 | 277.1194 | 0.0073897 | 277.2354 | -0.00035324 | 277.3515
2.9176 | 279.9992 | 0.010792 | 280.1153 | 0.013239 | 280.2314 | 0.015131 | 280.3475 | 0.013554 | 280.4635 | 0.012292 | 280.5796 | 0.0086535 | 280.6957 | 0.012754 | 280.8118 | 0.014116 | 281.0292 | 0.012793 | 281.1453 | 0.012956 | 281.2614 | 0.013846 | 281.3775 | 0.011733 | 281.4935 | 0.010476 | 281.6096 | 0.010909 | 281.7257 | 0.012613 | 281.8418 | 0.0096933 | 282.0593 | 0.014633 | 282.1754 | 0.0088992 | 282.2914 | 0.013104 | 282.4075 | 2.9254 | 282.5236 | 0.012521 | 282.6397 | 0.013705 | 282.7559 | 0.011319 | 282.872 | 0.012759 | 283.0895 | 0.0083594 | 283.2055 | 0.012055 | 283.3216 | 0.011416 | 283.4377 | 0.0072605 | 283.5538 | 0.0095305 | 283.6699 | 0.0085096 | 283.786 | 0.0080332 | 283.902 | 0.00052703 | 284.1195 | 0.0073911 | 284.2356 | -0.00035331 | 284.3517
2.9176 | 286.9992 | 0.010796 | 287.1153 | 0.013243 | 287.2314 | 0.015135 | 287.3474 | 0.013558 | 287.4635 | 0.012297 | 287.5796 | 0.0086575 | 287.6957 | 0.012757 | 287.8166 | 0.014118 | 288.0341 | 0.012795 | 288.1502 | 0.012958 | 288.2663 | 0.013848 | 288.3823 | 0.011735 | 288.4984 | 0.010476 | 288.6145 | 0.010909 | 288.7305 | 0.012613 | 288.8466 | 0.0096935 | 289.0641 | 0.014633 | 289.1802 | 0.0088992 | 289.2963 | 0.013104 | 289.4124 | 2.9254 | 289.5285 | 0.012522 | 289.6446 | 0.013705 | 289.7607 | 0.011319 | 289.8767 | 0.012759 | 290.0942 | 0.0083596 | 290.2103 | 0.012055 | 290.3264 | 0.011415 | 290.4425 | 0.0072601 | 290.5585 | 0.0095301 | 290.6746 | 0.0085093 | 290.7907 | 0.008033 | 290.9068 | 0.00052705 | 291.1242 | 0.0073909 | 291.2403 | -0.00035332 | 291.3564
2.9176 | 293.9992 | 0.010799 | 294.1153 | 0.013246 | 294.2314 | 0.015137 | 294.3474 | 0.01356 | 294.4635 | 0.012299 | 294.5796 | 0.0086592 | 294.6957 | 0.01276 | 294.8118 | 0.014119 | 295.0292 | 0.012796 | 295.1453 | 0.012958 | 295.2614 | 0.013848 | 295.3775 | 0.011735 | 295.4936 | 0.010476 | 295.6096 | 0.010909 | 295.7257 | 0.012614 | 295.8418 | 0.0096938 | 296.0593 | 0.014634 | 296.1754 | 0.0088998 | 296.2915 | 0.013105 | 296.4075 | 2.9254 | 296.5236 | 0.012522 | 296.6397 | 0.013706 | 296.7558 | 0.01132 | 296.8719 | 0.01276 | 297.0893 | 0.0083602 | 297.2054 | 0.012056 | 297.3215 | 0.011416 | 297.4376 | 0.0072608 | 297.5536 | 0.0095314 | 297.6697 | 0.0085105 | 297.7858 | 0.0080338 | 297.9019 | 0.00052732 | 298.1195 | 0.0073921 | 298.2355 | -0.0003535 | 298.3516
2.9176 | 300.9992 | 0.010798 | 301.1153 | 0.013245 | 301.2313 | 0.015136 | 301.3474 | 0.01356 | 301.4635 | 0.012297 | 301.5796 | 0.0086585 | 301.6957 | 0.012759 | 301.8117 | 0.01412 | 302.0292 | 0.012796 | 302.1453 | 0.012959 | 302.2614 | 0.013849 | 302.3774 | 0.011736 | 302.4935 | 0.010477 | 302.6096 | 0.01091 | 302.7257 | 0.012614 | 302.8418 | 0.0096948 | 303.0593 | 0.014635 | 303.1754 | 0.0088996 | 303.2915 | 0.013105 | 303.4076 | 2.9254 | 303.5237 | 0.012522 | 303.6397 | 0.013707 | 303.7558 | 0.011321 | 303.8719 | 0.01276 | 304.0893 | 0.0083604 | 304.2054 | 0.012057 | 304.3215 | 0.011417 | 304.4376 | 0.0072621 | 304.5537 | 0.0095318 | 304.6698 | 0.0085113 | 304.7858 | 0.0080346 | 304.9019 | 0.00052741 | 305.1194 | 0.0073926 | 305.2354 | -0.0003533 | 305.3515
2.9176 | 307.9992 | 0.010797 | 308.1153 | 0.013244 | 308.2314 | 0.015136 | 308.3475 | 0.01356 | 308.4636 | 0.012297 | 308.5796 | 0.008658 | 308.6957 | 0.012758 | 308.8118 | 0.01412 | 309.0293 | 0.012797 | 309.1454 | 0.012959 | 309.2614 | 0.013849 | 309.3775 | 0.011736 | 309.4936 | 0.010476 | 309.6097 | 0.01091 | 309.7258 | 0.012615 | 309.8418 | 0.0096947 | 310.0593 | 0.014634 | 310.1754 | 0.0089003 | 310.2915 | 0.013106 | 310.4076 | 2.9254 | 310.5236 | 0.012523 | 310.6397 | 0.013707 | 310.7558 | 0.011321 | 310.8719 | 0.01276 | 311.0893 | 0.0083608 | 311.2054 | 0.012056 | 311.3215 | 0.011417 | 311.4376 | 0.0072618 | 311.5536 | 0.0095317 | 311.6697 | 0.0085112 | 311.7858 | 0.0080347 | 311.9018 | 0.00052736 | 312.1193 | 0.0073925 | 312.2354 | -0.00035334 | 312.3515
2.9176 | 314.9992 | 0.010797 | 315.1153 | 0.013244 | 315.2314 | 0.015135 | 315.3475 | 0.013559 | 315.4635 | 0.012296 | 315.5796 | 0.008658 | 315.6957 | 0.012758 | 315.8118 | 0.01412 | 316.0292 | 0.012797 | 316.1453 | 0.012958 | 316.2614 | 0.013848 | 316.3775 | 0.011735 | 316.4936 | 0.010476 | 316.6097 | 0.01091 | 316.7257 | 0.012614 | 316.8418 | 0.0096948 | 317.0593 | 0.014633 | 317.1754 | 0.0089002 | 317.2915 | 0.013104 | 317.4076 | 2.9254 | 317.5237 | 0.012523 | 317.6397 | 0.013706 | 317.7558 | 0.01132 | 317.8719 | 0.012759 | 318.0895 | 0.0083612 | 318.2056 | 0.012055 | 318.3217 | 0.011416 | 318.4378 | 0.0072618 | 318.5538 | 0.0095305 | 318.6699 | 0.0085097 | 318.786 | 0.0080337 | 318.9021 | 0.00052725 | 319.1195 | 0.0073919 | 319.2356 | -0.00035333 | 319.3517
2.9176 | 321.9992 | 0.010799 | 322.1153 | 0.013246 | 322.2314 | 0.015138 | 322.3474 | 0.013562 | 322.4635 | 0.0123 | 322.5796 | 0.0086599 | 322.6957 | 0.012761 | 322.8117 | 0.014117 | 323.0292 | 0.012796 | 323.1455 | 0.012956 | 323.2616 | 0.013846 | 323.3777 | 0.011733 | 323.4938 | 0.010475 | 323.6099 | 0.010909 | 323.726 | 0.012612 | 323.842 | 0.0096938 | 324.0596 | 0.014632 | 324.1756 | 0.0088998 | 324.2917 | 0.013102 | 324.4078 | 2.9254 | 324.5239 | 0.012523 | 324.64 | 0.013704 | 324.7561 | 0.011319 | 324.8722 | 0.012758 | 325.0897 | 0.0083605 | 325.2057 | 0.012051 | 325.3218 | 0.011413 | 325.4379 | 0.007259 | 325.554 | 0.0095275 | 325.6701 | 0.008507 | 325.7861 | 0.0080309 | 325.9022 | 0.0005267 | 326.1197 | 0.0073883 | 326.2358 | -0.0003537 | 326.3519
2.9176 | 328.9992 | 0.010802 | 329.1153 | 0.013248 | 329.2314 | 0.015141 | 329.3475 | 0.013564 | 329.4635 | 0.012303 | 329.5796 | 0.0086637 | 329.6957 | 0.012762 | 329.8118 | 0.014117 | 330.0292 | 0.012795 | 330.1453 | 0.012957 | 330.2614 | 0.013846 | 330.3775 | 0.011733 | 330.4935 | 0.010476 | 330.6096 | 0.01091 | 330.7257 | 0.012613 | 330.8418 | 0.0096938 | 331.0593 | 0.014633 | 331.1753 | 0.0088996 | 331.2914 | 0.013103 | 331.4075 | 2.9254 | 331.5236 | 0.012523 | 331.6396 | 0.013705 | 331.7557 | 0.011321 | 331.8718 | 0.01276 | 332.0893 | 0.0083605 | 332.2054 | 0.012054 | 332.3214 | 0.011415 | 332.4375 | 0.0072595 | 332.5536 | 0.0095294 | 332.6697 | 0.0085087 | 332.7857 | 0.0080325 | 332.9018 | 0.00052652 | 333.1193 | 0.0073908 | 333.2355 | -0.00035369 | 333.3516
2.9176 | 335.9992 | 0.010801 | 336.1153 | 0.013248 | 336.2314 | 0.015139 | 336.3474 | 0.013562 | 336.4635 | 0.012302 | 336.5796 | 0.0086628 | 336.6957 | 0.012762 | 336.8118 | 0.014119 | 337.0292 | 0.012796 | 337.1453 | 0.01296 | 337.2614 | 0.01385 | 337.3775 | 0.011737 | 337.4936 | 0.010478 | 337.6096 | 0.010912 | 337.7257 | 0.012615 | 337.8418 | 0.0096952 | 338.0593 | 0.014634 | 338.1754 | 0.0089007 | 338.2916 | 0.013106 | 338.4077 | 2.9254 | 338.5238 | 0.012524 | 338.6399 | 0.013709 | 338.756 | 0.011322 | 338.8721 | 0.012761 | 339.0895 | 0.0083621 | 339.2056 | 0.012057 | 339.3217 | 0.011419 | 339.4378 | 0.007262 | 339.5539 | 0.0095322 | 339.6699 | 0.0085106 | 339.786 | 0.0080339 | 339.9021 | 0.00052718 | 340.1196 | 0.0073928 | 340.2356 | -0.00035337 | 340.3517
2.9176 | 342.9992 | 0.010802 | 343.1153 | 0.01325 | 343.2314 | 0.015141 | 343.3477 | 0.013564 | 343.4638 | 0.012303 | 343.5799 | 0.0086631 | 343.696 | 0.012763 | 343.812 | 0.014119 | 344.0295 | 0.012796 | 344.1456 | 0.012962 | 344.2617 | 0.013852 | 344.3777 | 0.011738 | 344.4938 | 0.010479 | 344.6099 | 0.010912 | 344.726 | 0.012615 | 344.842 | 0.0096957 | 345.0596 | 0.014634 | 345.1756 | 0.0089008 | 345.2917 | 0.013105 | 345.4078 | 2.9253 | 345.5239 | 0.012524 | 345.6399 | 0.01371 | 345.756 | 0.011322 | 345.8721 | 0.012762 | 346.0896 | 0.0083617 | 346.2056 | 0.012059 | 346.3217 | 0.011419 | 346.4378 | 0.0072631 | 346.5539 | 0.0095327 | 346.6699 | 0.008512 | 346.786 | 0.0080347 | 346.9021 | 0.00052754 | 347.1196 | 0.0073933 | 347.2357 | -0.00035298 | 347.3518