## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9166 | 0 | 0.010783 | 0.11614 | 0.013274 | 0.23223 | 0.01516 | 0.3483 | 0.013588 | 0.46437 | 0.012315 | 0.58045 | 0.0086275 | 0.69652 | 0.012773 | 0.81259 | 0.014208 | 1.03 | 0.012831 | 1.1461 | 0.012966 | 1.2622 | 0.013892 | 1.3783 | 0.01173 | 1.4944 | 0.010486 | 1.6104 | 0.010917 | 1.7265 | 0.01262 | 1.8426 | 0.0097298 | 2.0601 | 0.01465 | 2.1762 | 0.0089111 | 2.2923 | 0.013127 | 2.4083 | 2.9245 | 2.5244 | 0.01255 | 2.6405 | 0.013708 | 2.7566 | 0.011375 | 2.8726 | 0.012769 | 3.0901 | 0.0084064 | 3.2062 | 0.012093 | 3.3223 | 0.011426 | 3.4383 | 0.007314 | 3.5544 | 0.0095745 | 3.6705 | 0.0085456 | 3.7865 | 0.0080416 | 3.9026 | 0.00054481 | 4.1201 | 0.0074183 | 4.2362 | -0.00029038 | 4.3523
2.9166 | 6.9997 | 0.010782 | 7.1158 | 0.013271 | 7.2319 | 0.015157 | 7.3479 | 0.013586 | 7.464 | 0.012313 | 7.5801 | 0.0086259 | 7.6962 | 0.012771 | 7.8122 | 0.014206 | 8.0297 | 0.012828 | 8.1458 | 0.012962 | 8.2619 | 0.013888 | 8.3779 | 0.011726 | 8.494 | 0.010484 | 8.6101 | 0.010915 | 8.7262 | 0.012617 | 8.8423 | 0.0097282 | 9.0598 | 0.014648 | 9.1759 | 0.00891 | 9.292 | 0.013124 | 9.408 | 2.9245 | 9.5241 | 0.012548 | 9.6402 | 0.013703 | 9.7563 | 0.011373 | 9.8724 | 0.012768 | 10.0898 | 0.0084053 | 10.206 | 0.012092 | 10.322 | 0.011424 | 10.4381 | 0.007313 | 10.5542 | 0.0095729 | 10.6703 | 0.0085451 | 10.7864 | 0.0080396 | 10.9024 | 0.00054432 | 11.1199 | 0.0074164 | 11.236 | -0.00029105 | 11.3521
2.9166 | 13.9997 | 0.010781 | 14.1158 | 0.013271 | 14.2319 | 0.015156 | 14.348 | 0.013584 | 14.4641 | 0.012312 | 14.5802 | 0.0086259 | 14.6962 | 0.01277 | 14.8123 | 0.014206 | 15.0298 | 0.012829 | 15.1459 | 0.012963 | 15.262 | 0.013889 | 15.3781 | 0.011726 | 15.4942 | 0.010484 | 15.6103 | 0.010915 | 15.7264 | 0.012617 | 15.8425 | 0.0097281 | 16.06 | 0.014649 | 16.1761 | 0.0089103 | 16.2921 | 0.013125 | 16.4082 | 2.9245 | 16.5243 | 0.012549 | 16.6404 | 0.013706 | 16.7565 | 0.011374 | 16.8726 | 0.012768 | 17.0901 | 0.0084054 | 17.2061 | 0.012094 | 17.3222 | 0.011425 | 17.4383 | 0.0073135 | 17.5544 | 0.0095738 | 17.6705 | 0.0085457 | 17.7865 | 0.008041 | 17.9026 | 0.00054385 | 18.1201 | 0.0074176 | 18.2362 | -0.00029151 | 18.3522
2.9166 | 20.9997 | 0.010782 | 21.1158 | 0.013272 | 21.2319 | 0.015157 | 21.348 | 0.013586 | 21.4641 | 0.012313 | 21.5801 | 0.0086271 | 21.6962 | 0.012771 | 21.8123 | 0.014209 | 22.0298 | 0.012831 | 22.1459 | 0.012966 | 22.2619 | 0.013892 | 22.378 | 0.01173 | 22.4941 | 0.010486 | 22.6102 | 0.010916 | 22.7262 | 0.012619 | 22.8423 | 0.0097296 | 23.0598 | 0.014651 | 23.1759 | 0.0089116 | 23.292 | 0.013127 | 23.408 | 2.9245 | 23.5241 | 0.01255 | 23.6402 | 0.013709 | 23.7563 | 0.011375 | 23.8724 | 0.012771 | 24.0898 | 0.0084067 | 24.2059 | 0.012095 | 24.322 | 0.011426 | 24.438 | 0.0073147 | 24.5541 | 0.0095753 | 24.6702 | 0.0085471 | 24.7863 | 0.0080423 | 24.9024 | 0.00054448 | 25.1198 | 0.0074195 | 25.236 | -0.00029099 | 25.3521
2.9166 | 27.9997 | 0.010781 | 28.1158 | 0.013272 | 28.2319 | 0.015157 | 28.348 | 0.013585 | 28.4641 | 0.012313 | 28.5801 | 0.0086269 | 28.6962 | 0.012771 | 28.8123 | 0.01421 | 29.0298 | 0.012831 | 29.1458 | 0.012967 | 29.2619 | 0.013894 | 29.378 | 0.011731 | 29.4941 | 0.010487 | 29.6102 | 0.010917 | 29.7262 | 0.01262 | 29.8423 | 0.0097307 | 30.0598 | 0.014652 | 30.1759 | 0.0089118 | 30.2921 | 0.013128 | 30.4082 | 2.9245 | 30.5243 | 0.012551 | 30.6404 | 0.013711 | 30.7565 | 0.011376 | 30.8725 | 0.012771 | 31.09 | 0.008407 | 31.2061 | 0.012096 | 31.3222 | 0.011428 | 31.4382 | 0.0073151 | 31.5543 | 0.0095762 | 31.6704 | 0.0085473 | 31.7864 | 0.0080427 | 31.9025 | 0.0005442 | 32.12 | 0.0074197 | 32.2361 | -0.00029096 | 32.3522
2.9166 | 34.9997 | 0.010782 | 35.1158 | 0.013273 | 35.2319 | 0.015158 | 35.3481 | 0.013586 | 35.4642 | 0.012314 | 35.5803 | 0.008628 | 35.6963 | 0.012772 | 35.8124 | 0.01421 | 36.0299 | 0.012831 | 36.1459 | 0.012968 | 36.262 | 0.013894 | 36.3781 | 0.011731 | 36.4942 | 0.010488 | 36.6102 | 0.010917 | 36.7263 | 0.01262 | 36.8424 | 0.0097306 | 37.0599 | 0.014652 | 37.176 | 0.0089123 | 37.292 | 0.013129 | 37.4081 | 2.9245 | 37.5242 | 0.012551 | 37.6403 | 0.013711 | 37.7564 | 0.011376 | 37.8724 | 0.012772 | 38.0899 | 0.008407 | 38.206 | 0.012097 | 38.3221 | 0.011429 | 38.4382 | 0.0073157 | 38.5542 | 0.0095765 | 38.6703 | 0.0085486 | 38.7864 | 0.0080434 | 38.9024 | 0.00054404 | 39.1199 | 0.0074202 | 39.236 | -0.00029042 | 39.352
2.9166 | 41.9997 | 0.010783 | 42.1158 | 0.013274 | 42.2319 | 0.01516 | 42.348 | 0.013588 | 42.464 | 0.012315 | 42.5801 | 0.0086298 | 42.6962 | 0.012773 | 42.8123 | 0.014213 | 43.0298 | 0.012832 | 43.1458 | 0.012969 | 43.2619 | 0.013895 | 43.378 | 0.011732 | 43.4941 | 0.010488 | 43.6101 | 0.010918 | 43.7262 | 0.012621 | 43.8423 | 0.0097314 | 44.0598 | 0.014653 | 44.1759 | 0.0089124 | 44.292 | 0.013129 | 44.4081 | 2.9245 | 44.5241 | 0.012552 | 44.6402 | 0.013712 | 44.7563 | 0.011375 | 44.8724 | 0.012771 | 45.0899 | 0.0084084 | 45.2059 | 0.012098 | 45.322 | 0.011429 | 45.4382 | 0.0073159 | 45.5543 | 0.0095776 | 45.6704 | 0.00855 | 45.7865 | 0.0080445 | 45.9026 | 0.00054438 | 46.12 | 0.0074214 | 46.2361 | -0.00029062 | 46.3522
2.9167 | 48.9997 | 0.010785 | 49.1158 | 0.013275 | 49.2319 | 0.015161 | 49.3479 | 0.013589 | 49.464 | 0.012316 | 49.5801 | 0.0086305 | 49.6962 | 0.012774 | 49.8122 | 0.014213 | 50.0297 | 0.012834 | 50.1458 | 0.01297 | 50.2618 | 0.013896 | 50.3779 | 0.011734 | 50.4941 | 0.010489 | 50.6102 | 0.010919 | 50.7263 | 0.012622 | 50.8424 | 0.0097319 | 51.0599 | 0.014654 | 51.176 | 0.0089131 | 51.2921 | 0.013129 | 51.4081 | 2.9246 | 51.5242 | 0.012553 | 51.6403 | 0.013713 | 51.7564 | 0.011376 | 51.8724 | 0.012772 | 52.0899 | 0.0084086 | 52.206 | 0.012099 | 52.3221 | 0.01143 | 52.4382 | 0.0073165 | 52.5542 | 0.0095779 | 52.6703 | 0.0085506 | 52.7864 | 0.0080444 | 52.9025 | 0.00054431 | 53.12 | 0.0074211 | 53.236 | -0.00029021 | 53.3521
2.9167 | 55.9997 | 0.010784 | 56.1158 | 0.013275 | 56.2319 | 0.01516 | 56.348 | 0.013589 | 56.4641 | 0.012315 | 56.5801 | 0.0086298 | 56.6962 | 0.012773 | 56.8123 | 0.014213 | 57.0298 | 0.012834 | 57.1458 | 0.012969 | 57.2619 | 0.013897 | 57.378 | 0.011735 | 57.4941 | 0.010489 | 57.6102 | 0.010919 | 57.7263 | 0.012622 | 57.8423 | 0.0097317 | 58.0598 | 0.014654 | 58.1759 | 0.0089131 | 58.292 | 0.01313 | 58.4081 | 2.9246 | 58.5241 | 0.012553 | 58.6402 | 0.013714 | 58.7563 | 0.011376 | 58.8724 | 0.012772 | 59.0898 | 0.0084087 | 59.2059 | 0.012099 | 59.322 | 0.01143 | 59.438 | 0.0073164 | 59.5541 | 0.0095778 | 59.6702 | 0.0085498 | 59.7863 | 0.0080442 | 59.9023 | 0.00054494 | 60.1198 | 0.0074209 | 60.2359 | -0.00029043 | 60.352
2.9167 | 62.9997 | 0.010784 | 63.1158 | 0.013274 | 63.2319 | 0.015159 | 63.348 | 0.013588 | 63.464 | 0.012315 | 63.5801 | 0.0086302 | 63.6962 | 0.012773 | 63.8123 | 0.014212 | 64.0298 | 0.012834 | 64.1458 | 0.01297 | 64.2619 | 0.013897 | 64.378 | 0.011735 | 64.4941 | 0.010489 | 64.6101 | 0.010919 | 64.7262 | 0.012622 | 64.8423 | 0.0097316 | 65.0598 | 0.014654 | 65.1759 | 0.0089134 | 65.292 | 0.013129 | 65.408 | 2.9246 | 65.5241 | 0.012552 | 65.6403 | 0.013713 | 65.7564 | 0.011376 | 65.8725 | 0.012772 | 66.09 | 0.0084085 | 66.206 | 0.012098 | 66.3221 | 0.011429 | 66.4382 | 0.0073163 | 66.5543 | 0.0095776 | 66.6704 | 0.0085488 | 66.7864 | 0.0080443 | 66.9025 | 0.00054417 | 67.12 | 0.0074189 | 67.236 | -0.00029147 | 67.3521
2.9167 | 69.9997 | 0.010784 | 70.1158 | 0.013274 | 70.2319 | 0.015159 | 70.348 | 0.013588 | 70.4641 | 0.012314 | 70.5801 | 0.0086297 | 70.7 | 0.012772 | 70.816 | 0.014212 | 71.0335 | 0.012834 | 71.1496 | 0.01297 | 71.2657 | 0.013897 | 71.3817 | 0.011734 | 71.4978 | 0.010489 | 71.6139 | 0.010918 | 71.73 | 0.012622 | 71.8461 | 0.0097316 | 72.0636 | 0.014653 | 72.1797 | 0.0089132 | 72.2958 | 0.013129 | 72.4118 | 2.9246 | 72.528 | 0.012552 | 72.644 | 0.013713 | 72.7601 | 0.011376 | 72.8762 | 0.012772 | 73.0937 | 0.0084081 | 73.2098 | 0.012098 | 73.3258 | 0.011429 | 73.4419 | 0.0073154 | 73.558 | 0.0095777 | 73.6741 | 0.0085484 | 73.7901 | 0.0080433 | 73.9062 | 0.00054431 | 74.1237 | 0.0074196 | 74.2398 | -0.0002914 | 74.3559
2.9168 | 76.9997 | 0.010783 | 77.1158 | 0.013272 | 77.2319 | 0.015159 | 77.348 | 0.013587 | 77.464 | 0.012312 | 77.5801 | 0.008629 | 77.6962 | 0.012772 | 77.8123 | 0.01421 | 78.0297 | 0.012832 | 78.1458 | 0.012968 | 78.2619 | 0.013895 | 78.378 | 0.011733 | 78.4941 | 0.010488 | 78.6101 | 0.010917 | 78.7262 | 0.012621 | 78.8423 | 0.0097314 | 79.0598 | 0.014653 | 79.1759 | 0.008913 | 79.292 | 0.013128 | 79.4081 | 2.9246 | 79.5242 | 0.012552 | 79.6403 | 0.013712 | 79.7563 | 0.011375 | 79.8724 | 0.012771 | 80.0899 | 0.0084074 | 80.206 | 0.012098 | 80.3221 | 0.011429 | 80.4382 | 0.0073147 | 80.5542 | 0.009577 | 80.6703 | 0.0085487 | 80.794 | 0.0080433 | 80.9101 | 0.00054355 | 81.1276 | 0.0074201 | 81.2436 | -0.00028999 | 81.3597
2.9167 | 83.9997 | 0.010783 | 84.1158 | 0.013272 | 84.2319 | 0.015158 | 84.348 | 0.013586 | 84.464 | 0.012312 | 84.5801 | 0.0086273 | 84.6962 | 0.012771 | 84.8123 | 0.01421 | 85.0298 | 0.012832 | 85.1458 | 0.012967 | 85.2619 | 0.013895 | 85.378 | 0.011733 | 85.4941 | 0.010488 | 85.6102 | 0.010918 | 85.7262 | 0.012621 | 85.8484 | 0.0097312 | 86.0659 | 0.014654 | 86.182 | 0.008913 | 86.2981 | 0.013129 | 86.4141 | 2.9246 | 86.5302 | 0.012552 | 86.6463 | 0.013713 | 86.7624 | 0.011376 | 86.8785 | 0.012771 | 87.096 | 0.0084078 | 87.2121 | 0.012098 | 87.3281 | 0.011429 | 87.4442 | 0.0073156 | 87.5603 | 0.0095779 | 87.6763 | 0.0085497 | 87.7924 | 0.0080438 | 87.9085 | 0.00054344 | 88.126 | 0.0074209 | 88.2421 | -0.00028961 | 88.3582
2.9168 | 90.9997 | 0.010785 | 91.1158 | 0.013275 | 91.2319 | 0.015161 | 91.348 | 0.013589 | 91.4641 | 0.012314 | 91.5801 | 0.0086299 | 91.6962 | 0.012774 | 91.8123 | 0.014211 | 92.0298 | 0.012833 | 92.1459 | 0.01297 | 92.2619 | 0.013897 | 92.378 | 0.011734 | 92.4941 | 0.010489 | 92.6101 | 0.010919 | 92.7262 | 0.012622 | 92.8423 | 0.0097323 | 93.0598 | 0.014655 | 93.1759 | 0.0089139 | 93.292 | 0.01313 | 93.408 | 2.9246 | 93.5241 | 0.012553 | 93.6402 | 0.013714 | 93.7563 | 0.011377 | 93.8723 | 0.012773 | 94.0898 | 0.0084087 | 94.2059 | 0.0121 | 94.322 | 0.011431 | 94.438 | 0.0073162 | 94.5541 | 0.0095776 | 94.6702 | 0.0085493 | 94.7863 | 0.0080441 | 94.9023 | 0.00054315 | 95.1198 | 0.0074216 | 95.2359 | -0.00028955 | 95.352
2.9167 | 97.9997 | 0.010787 | 98.1158 | 0.013278 | 98.2319 | 0.015164 | 98.348 | 0.013591 | 98.4641 | 0.012318 | 98.5801 | 0.0086326 | 98.6962 | 0.012775 | 98.8123 | 0.014213 | 99.0298 | 0.012834 | 99.1459 | 0.01297 | 99.2619 | 0.013897 | 99.378 | 0.011735 | 99.494 | 0.010489 | 99.6101 | 0.01092 | 99.7262 | 0.012622 | 99.8423 | 0.009732 | 100.0598 | 0.014655 | 100.1759 | 0.0089138 | 100.292 | 0.013129 | 100.408 | 2.9246 | 100.5241 | 0.012554 | 100.6402 | 0.013714 | 100.7563 | 0.011377 | 100.8724 | 0.012772 | 101.0931 | 0.0084098 | 101.2092 | 0.012098 | 101.3253 | 0.01143 | 101.4413 | 0.0073157 | 101.5574 | 0.009577 | 101.6735 | 0.0085499 | 101.7896 | 0.0080442 | 101.9056 | 0.00054312 | 102.1231 | 0.0074217 | 102.2392 | -0.00028938 | 102.3552
2.9167 | 104.9997 | 0.010787 | 105.1158 | 0.013276 | 105.2319 | 0.015162 | 105.348 | 0.013591 | 105.464 | 0.012318 | 105.5802 | 0.0086324 | 105.6962 | 0.012775 | 105.8123 | 0.014213 | 106.0346 | 0.012835 | 106.1507 | 0.012969 | 106.2668 | 0.013896 | 106.3829 | 0.011734 | 106.499 | 0.010488 | 106.6151 | 0.010918 | 106.7311 | 0.012621 | 106.8472 | 0.0097308 | 107.0647 | 0.014653 | 107.1808 | 0.0089128 | 107.2969 | 0.013129 | 107.413 | 2.9246 | 107.5291 | 0.012553 | 107.6451 | 0.013712 | 107.7612 | 0.011376 | 107.8773 | 0.012771 | 108.0948 | 0.0084084 | 108.2108 | 0.012098 | 108.3269 | 0.01143 | 108.443 | 0.0073161 | 108.5591 | 0.0095778 | 108.6751 | 0.00855 | 108.7912 | 0.0080441 | 108.9073 | 0.0005432 | 109.1248 | 0.0074212 | 109.2409 | -0.00029001 | 109.3569
2.9167 | 111.9997 | 0.010785 | 112.1158 | 0.013274 | 112.2319 | 0.015159 | 112.348 | 0.013589 | 112.4641 | 0.012316 | 112.5801 | 0.0086299 | 112.6962 | 0.012774 | 112.8123 | 0.014212 | 113.0298 | 0.012834 | 113.1459 | 0.012967 | 113.2619 | 0.013895 | 113.378 | 0.011733 | 113.4941 | 0.010487 | 113.6102 | 0.010918 | 113.7262 | 0.01262 | 113.8423 | 0.0097306 | 114.0598 | 0.014652 | 114.1759 | 0.0089128 | 114.292 | 0.013128 | 114.4081 | 2.9246 | 114.5242 | 0.012552 | 114.6402 | 0.013711 | 114.7563 | 0.011375 | 114.8724 | 0.01277 | 115.0898 | 0.0084084 | 115.2059 | 0.012097 | 115.322 | 0.011429 | 115.4381 | 0.007316 | 115.5541 | 0.0095768 | 115.6702 | 0.0085491 | 115.7862 | 0.0080439 | 115.9023 | 0.00054359 | 116.1288 | 0.0074206 | 116.2449 | -0.00028959 | 116.361
2.9167 | 118.9997 | 0.010782 | 119.1158 | 0.013273 | 119.2319 | 0.015157 | 119.348 | 0.013587 | 119.464 | 0.012314 | 119.5801 | 0.0086267 | 119.6962 | 0.012772 | 119.8123 | 0.01421 | 120.0297 | 0.012834 | 120.1458 | 0.012967 | 120.2619 | 0.013895 | 120.378 | 0.011733 | 120.494 | 0.010488 | 120.6101 | 0.010918 | 120.7262 | 0.01262 | 120.8423 | 0.009731 | 121.0598 | 0.014654 | 121.1831 | 0.0089128 | 121.2992 | 0.013128 | 121.4153 | 2.9246 | 121.5314 | 0.012553 | 121.6474 | 0.013712 | 121.7635 | 0.011375 | 121.8796 | 0.01277 | 122.097 | 0.0084084 | 122.2131 | 0.012097 | 122.3292 | 0.011429 | 122.4453 | 0.0073152 | 122.5614 | 0.0095763 | 122.6774 | 0.0085486 | 122.7935 | 0.0080433 | 122.9096 | 0.00054314 | 123.1271 | 0.00742 | 123.2431 | -0.00028989 | 123.3592
2.9167 | 125.9997 | 0.010781 | 126.1158 | 0.013272 | 126.2374 | 0.015156 | 126.3535 | 0.013587 | 126.4696 | 0.012314 | 126.5856 | 0.0086269 | 126.7017 | 0.012772 | 126.8178 | 0.01421 | 127.0353 | 0.012834 | 127.1513 | 0.012968 | 127.2674 | 0.013896 | 127.3835 | 0.011734 | 127.4995 | 0.010488 | 127.6156 | 0.010919 | 127.7317 | 0.012622 | 127.8478 | 0.0097315 | 128.0653 | 0.014655 | 128.1814 | 0.0089133 | 128.2974 | 0.013129 | 128.4135 | 2.9246 | 128.5296 | 0.012554 | 128.6457 | 0.013713 | 128.7618 | 0.011376 | 128.8778 | 0.012771 | 129.0953 | 0.0084083 | 129.2114 | 0.012098 | 129.3275 | 0.011429 | 129.4436 | 0.0073148 | 129.5596 | 0.0095763 | 129.6757 | 0.0085491 | 129.7918 | 0.0080437 | 129.9079 | 0.00054268 | 130.1253 | 0.0074205 | 130.2414 | -0.00028823 | 130.3575
2.9167 | 132.9997 | 0.010783 | 133.1158 | 0.013272 | 133.2319 | 0.015157 | 133.348 | 0.013587 | 133.464 | 0.012315 | 133.5801 | 0.0086284 | 133.6962 | 0.012772 | 133.8123 | 0.01421 | 134.0297 | 0.012833 | 134.1458 | 0.012968 | 134.2619 | 0.013896 | 134.378 | 0.011733 | 134.4941 | 0.010489 | 134.6101 | 0.010919 | 134.7262 | 0.012622 | 134.8423 | 0.0097317 | 135.0598 | 0.014655 | 135.1759 | 0.0089136 | 135.292 | 0.013129 | 135.4081 | 2.9246 | 135.5241 | 0.012553 | 135.6402 | 0.013713 | 135.7563 | 0.011375 | 135.8724 | 0.012771 | 136.0899 | 0.0084083 | 136.2059 | 0.012098 | 136.3221 | 0.011429 | 136.4382 | 0.0073148 | 136.5543 | 0.0095769 | 136.6704 | 0.0085493 | 136.7865 | 0.0080435 | 136.9026 | 0.00054319 | 137.12 | 0.0074202 | 137.2361 | -0.00028971 | 137.3522
2.9167 | 139.9997 | 0.010785 | 140.1158 | 0.013276 | 140.2319 | 0.015161 | 140.348 | 0.013589 | 140.464 | 0.012317 | 140.5801 | 0.0086298 | 140.6962 | 0.012774 | 140.8123 | 0.01421 | 141.0298 | 0.012832 | 141.1458 | 0.012968 | 141.2619 | 0.013896 | 141.3846 | 0.011732 | 141.5007 | 0.010488 | 141.6168 | 0.010918 | 141.7329 | 0.012622 | 141.8489 | 0.0097321 | 142.0664 | 0.014655 | 142.1825 | 0.008914 | 142.2986 | 0.01313 | 142.4147 | 2.9246 | 142.5308 | 0.012553 | 142.6468 | 0.013713 | 142.7629 | 0.011376 | 142.879 | 0.012771 | 143.0964 | 0.0084079 | 143.2125 | 0.012099 | 143.3286 | 0.01143 | 143.4447 | 0.0073151 | 143.5607 | 0.0095766 | 143.6768 | 0.0085498 | 143.7929 | 0.0080443 | 143.9089 | 0.00054247 | 144.1264 | 0.007421 | 144.2425 | -0.00028898 | 144.3586
2.9167 | 146.9997 | 0.010786 | 147.1158 | 0.013276 | 147.2319 | 0.015162 | 147.348 | 0.01359 | 147.4641 | 0.012319 | 147.5801 | 0.0086305 | 147.6962 | 0.012775 | 147.8123 | 0.014211 | 148.0298 | 0.012833 | 148.1458 | 0.012969 | 148.2619 | 0.013897 | 148.378 | 0.011734 | 148.494 | 0.010489 | 148.6101 | 0.01092 | 148.7262 | 0.012623 | 148.8423 | 0.0097326 | 149.0598 | 0.014656 | 149.1759 | 0.0089142 | 149.292 | 0.013131 | 149.408 | 2.9246 | 149.5241 | 0.012553 | 149.6402 | 0.013715 | 149.7563 | 0.011377 | 149.8723 | 0.012773 | 150.0898 | 0.0084086 | 150.2059 | 0.0121 | 150.322 | 0.011431 | 150.438 | 0.0073154 | 150.5541 | 0.0095777 | 150.6702 | 0.0085507 | 150.7863 | 0.0080448 | 150.9023 | 0.00054253 | 151.1198 | 0.007422 | 151.2359 | -0.00028867 | 151.3519
2.9168 | 153.9997 | 0.010787 | 154.1158 | 0.013278 | 154.2319 | 0.015163 | 154.348 | 0.013591 | 154.4641 | 0.01232 | 154.5802 | 0.008632 | 154.6962 | 0.012776 | 154.8123 | 0.014214 | 155.0298 | 0.012834 | 155.1459 | 0.012971 | 155.262 | 0.013898 | 155.378 | 0.011735 | 155.4941 | 0.01049 | 155.6102 | 0.010921 | 155.7263 | 0.012624 | 155.8424 | 0.0097333 | 156.0599 | 0.014657 | 156.1759 | 0.008915 | 156.292 | 0.013132 | 156.4081 | 2.9247 | 156.5331 | 0.012554 | 156.6492 | 0.013716 | 156.7653 | 0.011378 | 156.8814 | 0.012774 | 157.0988 | 0.0084102 | 157.2149 | 0.012101 | 157.331 | 0.011432 | 157.447 | 0.0073167 | 157.5631 | 0.0095788 | 157.6792 | 0.0085514 | 157.7953 | 0.0080452 | 157.9114 | 0.00054274 | 158.1288 | 0.0074224 | 158.2449 | -0.0002894 | 158.361
2.9168 | 160.9997 | 0.010789 | 161.1158 | 0.013279 | 161.2319 | 0.015163 | 161.348 | 0.013592 | 161.464 | 0.01232 | 161.5875 | 0.0086326 | 161.7036 | 0.012777 | 161.8197 | 0.014215 | 162.0371 | 0.012835 | 162.1532 | 0.012971 | 162.2693 | 0.013898 | 162.3854 | 0.011735 | 162.5015 | 0.010489 | 162.6175 | 0.010921 | 162.7336 | 0.012623 | 162.8497 | 0.0097331 | 163.0672 | 0.014657 | 163.1833 | 0.0089153 | 163.2994 | 0.013131 | 163.4154 | 2.9247 | 163.5315 | 0.012555 | 163.6476 | 0.013716 | 163.7637 | 0.011377 | 163.8798 | 0.012773 | 164.0973 | 0.0084099 | 164.2133 | 0.012101 | 164.3294 | 0.011432 | 164.4455 | 0.0073153 | 164.5616 | 0.0095784 | 164.6777 | 0.0085508 | 164.7938 | 0.0080449 | 164.9098 | 0.00054218 | 165.1273 | 0.0074222 | 165.2434 | -0.00028806 | 165.3594
2.9168 | 167.9997 | 0.010788 | 168.1158 | 0.013277 | 168.2319 | 0.015161 | 168.3479 | 0.01359 | 168.464 | 0.012319 | 168.5801 | 0.0086323 | 168.6962 | 0.012776 | 168.8123 | 0.014214 | 169.0297 | 0.012834 | 169.1458 | 0.01297 | 169.2619 | 0.013897 | 169.3779 | 0.011734 | 169.494 | 0.010489 | 169.6101 | 0.010921 | 169.7262 | 0.012623 | 169.8423 | 0.0097327 | 170.0598 | 0.014657 | 170.1759 | 0.0089149 | 170.292 | 0.01313 | 170.408 | 2.9247 | 170.5241 | 0.012554 | 170.6402 | 0.013715 | 170.7563 | 0.011376 | 170.8724 | 0.012773 | 171.0898 | 0.0084095 | 171.2059 | 0.012099 | 171.322 | 0.011432 | 171.4381 | 0.007315 | 171.5542 | 0.009577 | 171.6705 | 0.0085495 | 171.7866 | 0.0080438 | 171.9027 | 0.00054253 | 172.1201 | 0.0074211 | 172.2362 | -0.00028921 | 172.3523
2.9168 | 174.9997 | 0.010786 | 175.1158 | 0.013276 | 175.2319 | 0.015159 | 175.348 | 0.01359 | 175.4641 | 0.012317 | 175.5801 | 0.0086312 | 175.6962 | 0.012774 | 175.8123 | 0.014212 | 176.0298 | 0.012833 | 176.1459 | 0.012967 | 176.2619 | 0.013895 | 176.378 | 0.011732 | 176.4941 | 0.010487 | 176.6101 | 0.01092 | 176.7353 | 0.012621 | 176.8513 | 0.0097314 | 177.0689 | 0.014654 | 177.1849 | 0.0089134 | 177.301 | 0.013128 | 177.4171 | 2.9247 | 177.5331 | 0.012553 | 177.6492 | 0.013712 | 177.7653 | 0.011375 | 177.8814 | 0.012771 | 178.0989 | 0.008409 | 178.2149 | 0.012098 | 178.331 | 0.01143 | 178.4471 | 0.0073146 | 178.5632 | 0.0095772 | 178.6792 | 0.0085494 | 178.7953 | 0.0080434 | 178.9114 | 0.00054287 | 179.1289 | 0.0074211 | 179.2449 | -0.00028957 | 179.361
2.9168 | 181.9997 | 0.010786 | 182.1158 | 0.013274 | 182.2319 | 0.015158 | 182.348 | 0.013589 | 182.4641 | 0.012316 | 182.5801 | 0.0086296 | 182.6962 | 0.012773 | 182.8123 | 0.01421 | 183.0298 | 0.012832 | 183.1459 | 0.012966 | 183.2619 | 0.013893 | 183.378 | 0.011731 | 183.4941 | 0.010486 | 183.6102 | 0.010918 | 183.7263 | 0.012619 | 183.8423 | 0.0097303 | 184.0598 | 0.014653 | 184.1759 | 0.0089122 | 184.292 | 0.013127 | 184.408 | 2.9247 | 184.5241 | 0.012552 | 184.6402 | 0.01371 | 184.7563 | 0.011374 | 184.8724 | 0.01277 | 185.0898 | 0.0084073 | 185.2059 | 0.012097 | 185.322 | 0.011429 | 185.4381 | 0.0073137 | 185.5542 | 0.0095757 | 185.6702 | 0.0085483 | 185.7863 | 0.0080423 | 185.9024 | 0.00054228 | 186.1199 | 0.00742 | 186.2359 | -0.00028986 | 186.352
2.9168 | 188.9997 | 0.010784 | 189.1158 | 0.013273 | 189.2319 | 0.015158 | 189.348 | 0.013588 | 189.4641 | 0.012313 | 189.5802 | 0.0086281 | 189.6962 | 0.012773 | 189.8123 | 0.014209 | 190.0298 | 0.012831 | 190.1458 | 0.012966 | 190.2619 | 0.013894 | 190.378 | 0.011731 | 190.4941 | 0.010487 | 190.6102 | 0.010918 | 190.7262 | 0.01262 | 190.8423 | 0.0097301 | 191.0598 | 0.014653 | 191.1759 | 0.0089127 | 191.292 | 0.013128 | 191.4081 | 2.9247 | 191.5241 | 0.012552 | 191.6402 | 0.013712 | 191.7563 | 0.011375 | 191.8724 | 0.01277 | 192.0899 | 0.0084066 | 192.206 | 0.012097 | 192.3221 | 0.011429 | 192.4382 | 0.0073139 | 192.5543 | 0.0095752 | 192.6703 | 0.0085477 | 192.7864 | 0.008043 | 192.9025 | 0.00054257 | 193.12 | 0.0074199 | 193.2361 | -0.00029019 | 193.3521
2.9168 | 195.9997 | 0.010784 | 196.1158 | 0.013274 | 196.2319 | 0.015159 | 196.348 | 0.013588 | 196.464 | 0.012314 | 196.5801 | 0.0086293 | 196.6962 | 0.012772 | 196.8123 | 0.014212 | 197.0342 | 0.012833 | 197.1503 | 0.01297 | 197.2663 | 0.013897 | 197.3824 | 0.011734 | 197.4985 | 0.010489 | 197.6145 | 0.010921 | 197.7306 | 0.012623 | 197.8467 | 0.0097321 | 198.0642 | 0.014655 | 198.1803 | 0.0089138 | 198.2964 | 0.013131 | 198.4124 | 2.9247 | 198.5285 | 0.012555 | 198.6446 | 0.013716 | 198.7607 | 0.011377 | 198.8768 | 0.012773 | 199.0943 | 0.0084087 | 199.2103 | 0.012101 | 199.3264 | 0.011431 | 199.4425 | 0.0073157 | 199.5586 | 0.009577 | 199.6746 | 0.0085502 | 199.7907 | 0.0080444 | 199.9068 | 0.0005426 | 200.1243 | 0.007422 | 200.2404 | -0.00028981 | 200.3565
2.9168 | 202.9997 | 0.010786 | 203.1158 | 0.013276 | 203.2319 | 0.01516 | 203.348 | 0.013589 | 203.464 | 0.012316 | 203.5801 | 0.0086306 | 203.6962 | 0.012774 | 203.8123 | 0.014212 | 204.0298 | 0.012834 | 204.1458 | 0.012971 | 204.2619 | 0.013899 | 204.378 | 0.011735 | 204.4941 | 0.01049 | 204.6101 | 0.010922 | 204.7262 | 0.012624 | 204.8423 | 0.0097332 | 205.0598 | 0.014658 | 205.1759 | 0.0089157 | 205.292 | 0.013132 | 205.408 | 2.9247 | 205.5241 | 0.012556 | 205.6402 | 0.013719 | 205.7563 | 0.011378 | 205.8723 | 0.012774 | 206.0898 | 0.0084102 | 206.2058 | 0.012101 | 206.3219 | 0.011432 | 206.438 | 0.0073161 | 206.5541 | 0.0095778 | 206.6702 | 0.0085503 | 206.7863 | 0.0080452 | 206.9024 | 0.0005428 | 207.1199 | 0.0074228 | 207.2359 | -0.00028928 | 207.352
2.9168 | 209.9997 | 0.010787 | 210.1158 | 0.013278 | 210.2319 | 0.015162 | 210.348 | 0.01359 | 210.464 | 0.012319 | 210.5801 | 0.0086316 | 210.6962 | 0.012775 | 210.8123 | 0.014213 | 211.0297 | 0.012835 | 211.1458 | 0.012973 | 211.2619 | 0.0139 | 211.378 | 0.011737 | 211.4941 | 0.010491 | 211.6101 | 0.010922 | 211.7262 | 0.012625 | 211.8423 | 0.0097342 | 212.0601 | 0.014658 | 212.1762 | 0.0089155 | 212.2923 | 0.013133 | 212.4084 | 2.9247 | 212.5244 | 0.012556 | 212.6405 | 0.013719 | 212.7566 | 0.011378 | 212.8727 | 0.012775 | 213.0901 | 0.0084108 | 213.2062 | 0.012102 | 213.3223 | 0.011432 | 213.4384 | 0.0073158 | 213.5544 | 0.0095783 | 213.6705 | 0.0085505 | 213.7866 | 0.0080453 | 213.9027 | 0.00054265 | 214.1202 | 0.0074223 | 214.2363 | -0.00028923 | 214.3523
2.9168 | 216.9997 | 0.010786 | 217.124 | 0.013276 | 217.2401 | 0.015161 | 217.3562 | 0.013588 | 217.4723 | 0.012318 | 217.5883 | 0.0086312 | 217.7044 | 0.012774 | 217.8205 | 0.014212 | 218.038 | 0.012834 | 218.154 | 0.012972 | 218.2701 | 0.0139 | 218.3862 | 0.011737 | 218.5022 | 0.010491 | 218.6183 | 0.010922 | 218.7344 | 0.012625 | 218.8505 | 0.0097344 | 219.068 | 0.014658 | 219.1841 | 0.0089158 | 219.3001 | 0.013133 | 219.4162 | 2.9247 | 219.5323 | 0.012556 | 219.6484 | 0.013718 | 219.7644 | 0.011378 | 219.8805 | 0.012774 | 220.098 | 0.0084106 | 220.214 | 0.012099 | 220.3301 | 0.011431 | 220.4462 | 0.0073158 | 220.5623 | 0.0095779 | 220.6783 | 0.0085496 | 220.7944 | 0.0080444 | 220.9105 | 0.00054295 | 221.1279 | 0.0074215 | 221.244 | -0.00028976 | 221.3601
2.9168 | 223.9997 | 0.010784 | 224.1158 | 0.013273 | 224.2319 | 0.015159 | 224.348 | 0.013587 | 224.4641 | 0.012316 | 224.5801 | 0.0086296 | 224.6962 | 0.012773 | 224.8123 | 0.01421 | 225.0298 | 0.012835 | 225.1459 | 0.012971 | 225.2619 | 0.013899 | 225.378 | 0.011737 | 225.4941 | 0.01049 | 225.6102 | 0.01092 | 225.7263 | 0.012624 | 225.8423 | 0.009733 | 226.0598 | 0.014657 | 226.1759 | 0.0089151 | 226.292 | 0.013131 | 226.408 | 2.9247 | 226.5241 | 0.012555 | 226.6402 | 0.013717 | 226.7563 | 0.011377 | 226.8724 | 0.012773 | 227.0899 | 0.0084108 | 227.206 | 0.012098 | 227.3221 | 0.01143 | 227.4382 | 0.0073152 | 227.5543 | 0.0095773 | 227.6704 | 0.008549 | 227.7864 | 0.0080443 | 227.9025 | 0.00054294 | 228.1199 | 0.0074209 | 228.236 | -0.00028976 | 228.3521
2.9169 | 230.9997 | 0.010783 | 231.1158 | 0.013271 | 231.2319 | 0.015159 | 231.348 | 0.013586 | 231.4641 | 0.012315 | 231.5802 | 0.0086273 | 231.6963 | 0.012771 | 231.8123 | 0.01421 | 232.0298 | 0.012836 | 232.1459 | 0.01297 | 232.2623 | 0.013901 | 232.3784 | 0.011738 | 232.4944 | 0.01049 | 232.6105 | 0.010921 | 232.7266 | 0.012625 | 232.8427 | 0.0097336 | 233.0602 | 0.014658 | 233.1763 | 0.0089153 | 233.2923 | 0.013132 | 233.4084 | 2.9247 | 233.5245 | 0.012557 | 233.6406 | 0.01372 | 233.7566 | 0.011379 | 233.8727 | 0.012774 | 234.0902 | 0.0084123 | 234.2063 | 0.0121 | 234.3223 | 0.011432 | 234.4384 | 0.0073172 | 234.5545 | 0.0095789 | 234.6706 | 0.0085514 | 234.7866 | 0.0080459 | 234.9027 | 0.00054284 | 235.1202 | 0.0074232 | 235.2363 | -0.00028981 | 235.3523
2.9168 | 237.9997 | 0.010785 | 238.1158 | 0.013275 | 238.2319 | 0.015161 | 238.348 | 0.013588 | 238.4641 | 0.012318 | 238.5802 | 0.0086298 | 238.6962 | 0.012774 | 238.8123 | 0.014212 | 239.0298 | 0.012838 | 239.1459 | 0.012973 | 239.2619 | 0.013903 | 239.378 | 0.01174 | 239.4941 | 0.010491 | 239.6101 | 0.010923 | 239.7262 | 0.012626 | 239.8423 | 0.0097346 | 240.0598 | 0.01466 | 240.1759 | 0.0089163 | 240.292 | 0.013134 | 240.408 | 2.9248 | 240.5241 | 0.012558 | 240.6402 | 0.013722 | 240.7563 | 0.01138 | 240.8724 | 0.012776 | 241.0898 | 0.0084131 | 241.2059 | 0.012102 | 241.322 | 0.011433 | 241.438 | 0.0073178 | 241.5541 | 0.00958 | 241.6702 | 0.0085518 | 241.7862 | 0.0080464 | 241.9023 | 0.00054311 | 242.1198 | 0.0074237 | 242.2359 | -0.00028957 | 242.3521
2.9169 | 244.9997 | 0.010786 | 245.1158 | 0.013277 | 245.2319 | 0.015162 | 245.348 | 0.013588 | 245.464 | 0.012319 | 245.5801 | 0.0086315 | 245.6962 | 0.012775 | 245.8123 | 0.014212 | 246.0297 | 0.012839 | 246.1458 | 0.012975 | 246.2619 | 0.013904 | 246.378 | 0.011741 | 246.494 | 0.010493 | 246.6101 | 0.010924 | 246.7262 | 0.012628 | 246.8422 | 0.0097356 | 247.0598 | 0.014661 | 247.1758 | 0.0089172 | 247.2919 | 0.013135 | 247.408 | 2.9248 | 247.5242 | 0.012559 | 247.6403 | 0.013723 | 247.7563 | 0.011381 | 247.8724 | 0.012776 | 248.0899 | 0.0084134 | 248.2059 | 0.012103 | 248.322 | 0.011434 | 248.4381 | 0.0073181 | 248.5541 | 0.0095807 | 248.6702 | 0.0085518 | 248.7863 | 0.0080468 | 248.9024 | 0.00054331 | 249.1198 | 0.0074239 | 249.2359 | -0.00028933 | 249.352
2.917 | 251.9997 | 0.010788 | 252.1158 | 0.013278 | 252.2319 | 0.015163 | 252.348 | 0.013589 | 252.4643 | 0.012319 | 252.5804 | 0.0086327 | 252.6965 | 0.012776 | 252.8125 | 0.014212 | 253.03 | 0.012838 | 253.1461 | 0.012973 | 253.2622 | 0.013902 | 253.3782 | 0.011739 | 253.4943 | 0.010492 | 253.6104 | 0.010923 | 253.7265 | 0.012626 | 253.8426 | 0.0097347 | 254.0601 | 0.014659 | 254.1762 | 0.0089169 | 254.2922 | 0.013134 | 254.4083 | 2.9248 | 254.5244 | 0.012558 | 254.6405 | 0.01372 | 254.7566 | 0.01138 | 254.8726 | 0.012774 | 255.0901 | 0.0084121 | 255.2062 | 0.012102 | 255.3223 | 0.011432 | 255.4384 | 0.0073162 | 255.5544 | 0.0095792 | 255.6705 | 0.008551 | 255.7866 | 0.008046 | 255.9026 | 0.00054305 | 256.1201 | 0.0074221 | 256.2362 | -0.00028907 | 256.3523
2.9169 | 258.9997 | 0.010788 | 259.1158 | 0.013277 | 259.2319 | 0.015161 | 259.348 | 0.01359 | 259.4641 | 0.012318 | 259.5802 | 0.0086328 | 259.6962 | 0.012774 | 259.8123 | 0.01421 | 260.0298 | 0.012836 | 260.1459 | 0.01297 | 260.262 | 0.013898 | 260.378 | 0.011736 | 260.4941 | 0.01049 | 260.6102 | 0.01092 | 260.7262 | 0.012625 | 260.8423 | 0.0097331 | 261.0598 | 0.014657 | 261.1759 | 0.0089158 | 261.292 | 0.013132 | 261.4081 | 2.9248 | 261.5242 | 0.012555 | 261.6402 | 0.013716 | 261.7563 | 0.011378 | 261.8724 | 0.012773 | 262.0899 | 0.0084102 | 262.2059 | 0.012101 | 262.322 | 0.011432 | 262.4381 | 0.0073154 | 262.5543 | 0.0095782 | 262.6704 | 0.0085502 | 262.7865 | 0.008045 | 262.9025 | 0.00054266 | 263.12 | 0.0074217 | 263.2361 | -0.00028958 | 263.3522
2.9169 | 265.9997 | 0.010787 | 266.1158 | 0.013277 | 266.2319 | 0.015161 | 266.3479 | 0.013589 | 266.464 | 0.012317 | 266.5801 | 0.0086323 | 266.6962 | 0.012774 | 266.8123 | 0.01421 | 267.0298 | 0.012834 | 267.1459 | 0.012969 | 267.2619 | 0.013897 | 267.378 | 0.011734 | 267.4941 | 0.010488 | 267.6102 | 0.010919 | 267.7263 | 0.012623 | 267.8424 | 0.0097322 | 268.0599 | 0.014656 | 268.176 | 0.0089155 | 268.2921 | 0.013131 | 268.4082 | 2.9248 | 268.5243 | 0.012554 | 268.6403 | 0.013715 | 268.7564 | 0.011377 | 268.8725 | 0.012772 | 269.09 | 0.0084097 | 269.2061 | 0.0121 | 269.3222 | 0.011432 | 269.4382 | 0.007315 | 269.5543 | 0.0095777 | 269.6704 | 0.0085499 | 269.7865 | 0.008045 | 269.9025 | 0.00054258 | 270.12 | 0.007421 | 270.2361 | -0.00028986 | 270.3522
2.9169 | 272.9997 | 0.010787 | 273.1158 | 0.013276 | 273.2319 | 0.015163 | 273.348 | 0.01359 | 273.4641 | 0.012317 | 273.5801 | 0.0086326 | 273.6962 | 0.012775 | 273.8123 | 0.014211 | 274.0298 | 0.012835 | 274.1459 | 0.01297 | 274.2619 | 0.013897 | 274.378 | 0.011735 | 274.4941 | 0.010489 | 274.6102 | 0.01092 | 274.7262 | 0.012623 | 274.8423 | 0.0097325 | 275.0598 | 0.014657 | 275.1759 | 0.0089149 | 275.292 | 0.013131 | 275.4081 | 2.9248 | 275.5242 | 0.012555 | 275.6402 | 0.013716 | 275.7563 | 0.011377 | 275.8724 | 0.012773 | 276.0899 | 0.0084097 | 276.206 | 0.012101 | 276.3221 | 0.011432 | 276.4381 | 0.0073159 | 276.5542 | 0.0095786 | 276.6703 | 0.0085506 | 276.7864 | 0.008045 | 276.9025 | 0.00054344 | 277.12 | 0.007422 | 277.236 | -0.00028995 | 277.3521
2.9169 | 279.9997 | 0.010788 | 280.1158 | 0.013278 | 280.2319 | 0.015163 | 280.348 | 0.01359 | 280.464 | 0.012319 | 280.5801 | 0.0086334 | 280.6962 | 0.012776 | 280.8123 | 0.014212 | 281.0298 | 0.012836 | 281.1458 | 0.012971 | 281.2619 | 0.013898 | 281.378 | 0.011736 | 281.4941 | 0.01049 | 281.6101 | 0.010922 | 281.7262 | 0.012625 | 281.8423 | 0.0097332 | 282.0598 | 0.014658 | 282.1759 | 0.0089154 | 282.2919 | 0.013132 | 282.408 | 2.9248 | 282.5241 | 0.012555 | 282.6402 | 0.013717 | 282.7564 | 0.011378 | 282.8725 | 0.012774 | 283.0899 | 0.0084104 | 283.206 | 0.012101 | 283.3221 | 0.011432 | 283.4382 | 0.0073161 | 283.5542 | 0.0095784 | 283.6703 | 0.0085509 | 283.7864 | 0.0080454 | 283.9025 | 0.00054296 | 284.1199 | 0.0074225 | 284.236 | -0.00028985 | 284.3521
2.9169 | 286.9997 | 0.010787 | 287.1158 | 0.013277 | 287.2319 | 0.015163 | 287.348 | 0.01359 | 287.4641 | 0.012319 | 287.5801 | 0.0086319 | 287.6962 | 0.012775 | 287.8124 | 0.014213 | 288.0299 | 0.012835 | 288.146 | 0.012972 | 288.2621 | 0.013899 | 288.3781 | 0.011736 | 288.4942 | 0.010491 | 288.6103 | 0.010922 | 288.7264 | 0.012625 | 288.8424 | 0.0097333 | 289.06 | 0.014657 | 289.1761 | 0.0089154 | 289.2921 | 0.013132 | 289.4082 | 2.9248 | 289.5243 | 0.012556 | 289.6404 | 0.013718 | 289.7565 | 0.011378 | 289.8725 | 0.012774 | 290.09 | 0.0084105 | 290.2061 | 0.0121 | 290.3222 | 0.011432 | 290.4382 | 0.0073158 | 290.5543 | 0.009578 | 290.6704 | 0.0085505 | 290.7865 | 0.0080455 | 290.9025 | 0.0005428 | 291.12 | 0.0074219 | 291.2361 | -0.00028956 | 291.3522
2.9169 | 293.9997 | 0.010787 | 294.1158 | 0.013277 | 294.2319 | 0.015162 | 294.348 | 0.013589 | 294.4641 | 0.012318 | 294.5802 | 0.0086313 | 294.6962 | 0.012775 | 294.8123 | 0.014212 | 295.0298 | 0.012836 | 295.1459 | 0.012972 | 295.2619 | 0.013898 | 295.378 | 0.011736 | 295.4941 | 0.010491 | 295.6102 | 0.010922 | 295.7263 | 0.012625 | 295.8424 | 0.0097333 | 296.0599 | 0.014657 | 296.176 | 0.0089152 | 296.2921 | 0.013131 | 296.4081 | 2.9248 | 296.5242 | 0.012555 | 296.6403 | 0.013718 | 296.7564 | 0.011378 | 296.8725 | 0.012773 | 297.09 | 0.0084101 | 297.206 | 0.012099 | 297.3221 | 0.011432 | 297.4382 | 0.0073159 | 297.5543 | 0.0095781 | 297.6704 | 0.0085503 | 297.7864 | 0.0080453 | 297.9026 | 0.00054272 | 298.1202 | 0.0074221 | 298.2362 | -0.00028996 | 298.3523
2.9169 | 300.9997 | 0.010785 | 301.1158 | 0.013274 | 301.2319 | 0.01516 | 301.348 | 0.013588 | 301.4641 | 0.012315 | 301.5802 | 0.0086298 | 301.6963 | 0.012773 | 301.8123 | 0.01421 | 302.0298 | 0.012835 | 302.1459 | 0.01297 | 302.262 | 0.013897 | 302.378 | 0.011736 | 302.4941 | 0.010489 | 302.6102 | 0.01092 | 302.7263 | 0.012624 | 302.8424 | 0.0097325 | 303.0599 | 0.014656 | 303.176 | 0.008915 | 303.2921 | 0.013131 | 303.4082 | 2.9248 | 303.5243 | 0.012554 | 303.6404 | 0.013716 | 303.7564 | 0.011377 | 303.8725 | 0.012771 | 304.09 | 0.0084096 | 304.2061 | 0.012098 | 304.3222 | 0.011431 | 304.4383 | 0.0073149 | 304.5543 | 0.0095776 | 304.6704 | 0.0085496 | 304.7865 | 0.0080449 | 304.9026 | 0.00054302 | 305.12 | 0.0074212 | 305.2361 | -0.00028967 | 305.3522
2.9169 | 307.9997 | 0.010784 | 308.1158 | 0.013272 | 308.2319 | 0.015158 | 308.348 | 0.013587 | 308.4641 | 0.012314 | 308.5802 | 0.0086282 | 308.6963 | 0.012772 | 308.8124 | 0.014209 | 309.0299 | 0.012833 | 309.1459 | 0.012968 | 309.262 | 0.013895 | 309.3781 | 0.011733 | 309.4942 | 0.010488 | 309.6102 | 0.010919 | 309.7263 | 0.012622 | 309.8424 | 0.0097317 | 310.0599 | 0.014655 | 310.176 | 0.0089146 | 310.2921 | 0.013129 | 310.4081 | 2.9248 | 310.5242 | 0.012553 | 310.6403 | 0.013713 | 310.7564 | 0.011375 | 310.8725 | 0.01277 | 311.0899 | 0.0084085 | 311.206 | 0.012097 | 311.3221 | 0.011429 | 311.4382 | 0.0073139 | 311.5543 | 0.0095757 | 311.6703 | 0.0085481 | 311.7864 | 0.0080435 | 311.9025 | 0.00054262 | 312.1199 | 0.0074198 | 312.236 | -0.00028988 | 312.3521
2.9169 | 314.9997 | 0.010783 | 315.1158 | 0.013271 | 315.2319 | 0.015157 | 315.348 | 0.013586 | 315.4641 | 0.012312 | 315.5802 | 0.0086269 | 315.6962 | 0.012771 | 315.8123 | 0.014209 | 316.0298 | 0.012833 | 316.1459 | 0.012967 | 316.262 | 0.013893 | 316.378 | 0.011732 | 316.4941 | 0.010486 | 316.6102 | 0.010918 | 316.7263 | 0.012621 | 316.8424 | 0.009731 | 317.0599 | 0.014653 | 317.176 | 0.0089134 | 317.292 | 0.013128 | 317.4081 | 2.9248 | 317.5242 | 0.012551 | 317.6403 | 0.013711 | 317.7563 | 0.011375 | 317.8724 | 0.01277 | 318.09 | 0.0084071 | 318.2061 | 0.012096 | 318.3222 | 0.011428 | 318.4383 | 0.0073129 | 318.5544 | 0.0095742 | 318.6705 | 0.0085467 | 318.7865 | 0.0080416 | 318.9026 | 0.0005424 | 319.1201 | 0.0074183 | 319.2362 | -0.00029024 | 319.3523
2.9169 | 321.9997 | 0.01078 | 322.1158 | 0.013268 | 322.2319 | 0.015154 | 322.348 | 0.013582 | 322.4641 | 0.012308 | 322.5801 | 0.0086242 | 322.6962 | 0.012767 | 322.8123 | 0.014206 | 323.0298 | 0.012831 | 323.146 | 0.012965 | 323.2621 | 0.013892 | 323.3782 | 0.011731 | 323.4943 | 0.010485 | 323.6103 | 0.010916 | 323.7264 | 0.012619 | 323.8425 | 0.0097299 | 324.06 | 0.014651 | 324.1761 | 0.0089124 | 324.2922 | 0.013126 | 324.4083 | 2.9248 | 324.5244 | 0.01255 | 324.6404 | 0.01371 | 324.7565 | 0.011373 | 324.8726 | 0.012768 | 325.0901 | 0.0084057 | 325.2061 | 0.012093 | 325.3222 | 0.011426 | 325.4383 | 0.007311 | 325.5544 | 0.0095731 | 325.6704 | 0.0085451 | 325.7865 | 0.0080407 | 325.9026 | 0.00054207 | 326.1201 | 0.0074173 | 326.2362 | -0.00029056 | 326.3522
2.917 | 328.9997 | 0.010778 | 329.1158 | 0.013265 | 329.2319 | 0.01515 | 329.348 | 0.013579 | 329.4641 | 0.012306 | 329.5801 | 0.0086224 | 329.6962 | 0.012765 | 329.8123 | 0.014204 | 330.0298 | 0.012829 | 330.1458 | 0.012964 | 330.2619 | 0.013891 | 330.378 | 0.011728 | 330.4941 | 0.010484 | 330.6101 | 0.010915 | 330.7262 | 0.012617 | 330.8423 | 0.0097279 | 331.0598 | 0.014649 | 331.1759 | 0.0089115 | 331.292 | 0.013124 | 331.4081 | 2.9248 | 331.5242 | 0.012549 | 331.6402 | 0.013707 | 331.7563 | 0.011371 | 331.8724 | 0.012766 | 332.0899 | 0.0084045 | 332.206 | 0.012089 | 332.3221 | 0.011422 | 332.4382 | 0.0073081 | 332.5542 | 0.0095687 | 332.6703 | 0.0085406 | 332.7864 | 0.0080374 | 332.9024 | 0.0005408 | 333.1199 | 0.0074128 | 333.2361 | -0.00029124 | 333.3522
2.917 | 335.9997 | 0.010777 | 336.1158 | 0.013265 | 336.2319 | 0.01515 | 336.348 | 0.013579 | 336.464 | 0.012306 | 336.5801 | 0.0086224 | 336.6962 | 0.012765 | 336.8123 | 0.014202 | 337.0297 | 0.012825 | 337.1458 | 0.012962 | 337.2619 | 0.013889 | 337.378 | 0.011725 | 337.4941 | 0.010483 | 337.6101 | 0.010914 | 337.7262 | 0.012615 | 337.8423 | 0.0097265 | 338.0598 | 0.014647 | 338.1759 | 0.0089099 | 338.2921 | 0.013122 | 338.4082 | 2.9248 | 338.5243 | 0.012548 | 338.6404 | 0.013706 | 338.7565 | 0.01137 | 338.8726 | 0.012765 | 339.0901 | 0.0084035 | 339.2061 | 0.012089 | 339.3222 | 0.011421 | 339.4383 | 0.0073076 | 339.5544 | 0.0095687 | 339.6705 | 0.0085405 | 339.7865 | 0.0080373 | 339.9026 | 0.0005411 | 340.1201 | 0.0074137 | 340.2361 | -0.00029153 | 340.3522
2.917 | 342.9997 | 0.010779 | 343.1158 | 0.013267 | 343.2319 | 0.01515 | 343.3481 | 0.01358 | 343.4642 | 0.012308 | 343.5803 | 0.0086232 | 343.6964 | 0.012766 | 343.8124 | 0.014202 | 344.0299 | 0.012825 | 344.146 | 0.012962 | 344.2621 | 0.013889 | 344.3782 | 0.011726 | 344.4942 | 0.010484 | 344.6103 | 0.010914 | 344.7264 | 0.012616 | 344.8424 | 0.0097275 | 345.06 | 0.014649 | 345.1761 | 0.0089106 | 345.2921 | 0.013124 | 345.4082 | 2.9248 | 345.5243 | 0.012549 | 345.6404 | 0.013708 | 345.7565 | 0.011371 | 345.8726 | 0.012766 | 346.0901 | 0.0084039 | 346.2061 | 0.012091 | 346.3222 | 0.011423 | 346.4383 | 0.0073102 | 346.5544 | 0.0095705 | 346.6704 | 0.0085431 | 346.7865 | 0.008039 | 346.9026 | 0.00054111 | 347.1201 | 0.0074163 | 347.2362 | -0.00029143 | 347.3522