## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9173 | 0 | 0.010606 | 0.11611 | 0.012968 | 0.23224 | 0.015075 | 0.34832 | 0.013164 | 0.46439 | 0.01214 | 0.58047 | 0.0088778 | 0.69655 | 0.01292 | 0.81262 | 0.013921 | 1.0301 | 0.012607 | 1.1462 | 0.012522 | 1.2622 | 0.013482 | 1.3783 | 0.01172 | 1.4944 | 0.010365 | 1.6105 | 0.01095 | 1.7265 | 0.012543 | 1.8426 | 0.0094658 | 2.0601 | 0.014613 | 2.1762 | 0.0088469 | 2.2923 | 0.01322 | 2.4084 | 2.9253 | 2.5244 | 0.012416 | 2.6405 | 0.013714 | 2.7566 | 0.01115 | 2.8727 | 0.012703 | 3.0901 | 0.0084039 | 3.2062 | 0.012144 | 3.3223 | 0.011244 | 3.4383 | 0.0075644 | 3.5544 | 0.0093067 | 3.6705 | 0.0087535 | 3.7866 | 0.0077918 | 3.9027 | 0.00011454 | 4.1202 | 0.0076671 | 4.2362 | 0.0002201 | 4.3523
2.9173 | 6.9997 | 0.010606 | 7.1159 | 0.012967 | 7.2319 | 0.015075 | 7.348 | 0.013164 | 7.4641 | 0.012142 | 7.5802 | 0.0088782 | 7.6962 | 0.012921 | 7.8123 | 0.013924 | 8.0298 | 0.012607 | 8.1459 | 0.012522 | 8.262 | 0.013482 | 8.3781 | 0.011721 | 8.4941 | 0.010367 | 8.6102 | 0.010951 | 8.7263 | 0.012544 | 8.8424 | 0.0094654 | 9.0599 | 0.014612 | 9.1759 | 0.008846 | 9.292 | 0.013221 | 9.4081 | 2.9253 | 9.5242 | 0.012418 | 9.6403 | 0.013715 | 9.7563 | 0.011152 | 9.8724 | 0.012703 | 10.0899 | 0.008404 | 10.206 | 0.012147 | 10.3221 | 0.011244 | 10.4382 | 0.0075655 | 10.5543 | 0.0093094 | 10.6703 | 0.0087533 | 10.7864 | 0.0077918 | 10.9025 | 0.0001157 | 11.12 | 0.0076669 | 11.236 | 0.00022001 | 11.3521
2.9173 | 13.9997 | 0.010607 | 14.1158 | 0.012969 | 14.2319 | 0.015075 | 14.348 | 0.013166 | 14.4641 | 0.012142 | 14.5802 | 0.0088794 | 14.6963 | 0.012921 | 14.8123 | 0.013924 | 15.0298 | 0.012607 | 15.1459 | 0.012521 | 15.262 | 0.013481 | 15.3781 | 0.011721 | 15.4942 | 0.010365 | 15.6103 | 0.01095 | 15.7263 | 0.012544 | 15.8424 | 0.0094657 | 16.0599 | 0.014612 | 16.176 | 0.0088462 | 16.2921 | 0.013222 | 16.4082 | 2.9253 | 16.5242 | 0.012418 | 16.6404 | 0.013714 | 16.7564 | 0.011151 | 16.8725 | 0.012703 | 17.09 | 0.0084041 | 17.2061 | 0.012145 | 17.3221 | 0.011245 | 17.4382 | 0.0075647 | 17.5543 | 0.0093091 | 17.6704 | 0.008753 | 17.7864 | 0.0077922 | 17.9025 | 0.00011544 | 18.12 | 0.0076667 | 18.2361 | 0.00022017 | 18.3521
2.9173 | 20.9997 | 0.010608 | 21.1158 | 0.01297 | 21.2319 | 0.015077 | 21.348 | 0.013166 | 21.4641 | 0.012144 | 21.5802 | 0.0088796 | 21.6963 | 0.012921 | 21.8123 | 0.013925 | 22.0298 | 0.012607 | 22.1459 | 0.01252 | 22.262 | 0.013479 | 22.378 | 0.01172 | 22.4941 | 0.010365 | 22.6102 | 0.010949 | 22.7263 | 0.012543 | 22.8423 | 0.0094657 | 23.0598 | 0.014613 | 23.1759 | 0.0088463 | 23.292 | 0.013221 | 23.4081 | 2.9253 | 23.5242 | 0.012417 | 23.6402 | 0.013713 | 23.7563 | 0.011152 | 23.8724 | 0.012703 | 24.0899 | 0.0084042 | 24.206 | 0.012145 | 24.322 | 0.011246 | 24.4381 | 0.0075636 | 24.5542 | 0.0093086 | 24.6703 | 0.0087527 | 24.7864 | 0.0077916 | 24.9024 | 0.0001151 | 25.1199 | 0.0076668 | 25.2361 | 0.00022072 | 25.3522
2.9173 | 27.9997 | 0.010609 | 28.1159 | 0.012971 | 28.232 | 0.015078 | 28.348 | 0.013167 | 28.4641 | 0.012144 | 28.5802 | 0.0088803 | 28.6963 | 0.012921 | 28.8123 | 0.013924 | 29.0298 | 0.012607 | 29.1459 | 0.01252 | 29.262 | 0.013478 | 29.378 | 0.011719 | 29.4941 | 0.010365 | 29.6102 | 0.01095 | 29.7263 | 0.012543 | 29.8424 | 0.0094658 | 30.0599 | 0.014613 | 30.1759 | 0.008847 | 30.2921 | 0.013221 | 30.4082 | 2.9253 | 30.5243 | 0.012417 | 30.6404 | 0.013711 | 30.7565 | 0.011151 | 30.8726 | 0.012702 | 31.09 | 0.0084039 | 31.2061 | 0.012145 | 31.3222 | 0.011245 | 31.4383 | 0.0075637 | 31.5543 | 0.0093093 | 31.6704 | 0.0087525 | 31.7865 | 0.0077928 | 31.9026 | 0.00011491 | 32.12 | 0.0076669 | 32.2361 | 0.0002208 | 32.3522
2.9173 | 34.9997 | 0.010608 | 35.1158 | 0.01297 | 35.232 | 0.015077 | 35.3529 | 0.013166 | 35.469 | 0.012143 | 35.5851 | 0.0088794 | 35.7012 | 0.01292 | 35.8172 | 0.013924 | 36.0347 | 0.012607 | 36.1508 | 0.01252 | 36.2668 | 0.013478 | 36.3829 | 0.011719 | 36.499 | 0.010364 | 36.6151 | 0.010949 | 36.7311 | 0.012544 | 36.8472 | 0.0094661 | 37.0647 | 0.014613 | 37.1808 | 0.0088469 | 37.2969 | 0.01322 | 37.4129 | 2.9253 | 37.529 | 0.012417 | 37.6451 | 0.013712 | 37.7612 | 0.01115 | 37.8773 | 0.012701 | 38.0947 | 0.0084039 | 38.2108 | 0.012146 | 38.3269 | 0.011244 | 38.443 | 0.0075645 | 38.559 | 0.0093086 | 38.6751 | 0.0087529 | 38.7912 | 0.0077923 | 38.9073 | 0.00011533 | 39.1248 | 0.0076663 | 39.2408 | 0.00022074 | 39.3569
2.9173 | 41.9997 | 0.010608 | 42.1159 | 0.01297 | 42.232 | 0.015076 | 42.348 | 0.013165 | 42.4641 | 0.012141 | 42.5802 | 0.0088787 | 42.6963 | 0.012921 | 42.8124 | 0.013923 | 43.0298 | 0.012606 | 43.1459 | 0.012521 | 43.262 | 0.013479 | 43.378 | 0.011719 | 43.4941 | 0.010364 | 43.6102 | 0.010948 | 43.7263 | 0.012544 | 43.8424 | 0.0094654 | 44.0599 | 0.014612 | 44.1759 | 0.0088465 | 44.292 | 0.013219 | 44.4081 | 2.9253 | 44.5241 | 0.012415 | 44.6402 | 0.013711 | 44.7563 | 0.011148 | 44.8724 | 0.012699 | 45.0899 | 0.0084033 | 45.206 | 0.012143 | 45.322 | 0.011242 | 45.4382 | 0.0075645 | 45.5544 | 0.0093076 | 45.6705 | 0.0087516 | 45.7865 | 0.0077914 | 45.9026 | 0.00011584 | 46.1201 | 0.0076647 | 46.2361 | 0.00022026 | 46.3522
2.9173 | 48.9997 | 0.010606 | 49.1158 | 0.012969 | 49.2319 | 0.015075 | 49.348 | 0.013164 | 49.4641 | 0.01214 | 49.5801 | 0.0088771 | 49.6962 | 0.01292 | 49.8123 | 0.013923 | 50.0298 | 0.012605 | 50.1459 | 0.012518 | 50.2619 | 0.013478 | 50.378 | 0.011718 | 50.4942 | 0.010363 | 50.6103 | 0.010947 | 50.7264 | 0.012542 | 50.8425 | 0.0094635 | 51.06 | 0.01461 | 51.176 | 0.0088451 | 51.2921 | 0.013218 | 51.4082 | 2.9253 | 51.5243 | 0.012414 | 51.6404 | 0.01371 | 51.7564 | 0.011146 | 51.8725 | 0.012698 | 52.09 | 0.0084026 | 52.2061 | 0.012141 | 52.3221 | 0.011241 | 52.4382 | 0.0075635 | 52.5543 | 0.0093058 | 52.6704 | 0.008751 | 52.7865 | 0.0077902 | 52.9025 | 0.00011503 | 53.12 | 0.0076635 | 53.2361 | 0.00021994 | 53.3522
2.9173 | 55.9997 | 0.010606 | 56.1159 | 0.012968 | 56.2319 | 0.015075 | 56.348 | 0.013164 | 56.4641 | 0.01214 | 56.5802 | 0.0088771 | 56.6963 | 0.012921 | 56.8123 | 0.013922 | 57.0298 | 0.012604 | 57.1459 | 0.012517 | 57.262 | 0.013478 | 57.378 | 0.011718 | 57.4941 | 0.010362 | 57.6102 | 0.010946 | 57.7263 | 0.012542 | 57.8424 | 0.009463 | 58.0599 | 0.01461 | 58.176 | 0.0088451 | 58.2921 | 0.013218 | 58.4081 | 2.9253 | 58.5242 | 0.012414 | 58.6403 | 0.01371 | 58.7564 | 0.011146 | 58.8724 | 0.012697 | 59.0899 | 0.0084027 | 59.206 | 0.01214 | 59.3221 | 0.011241 | 59.4381 | 0.0075629 | 59.5542 | 0.0093053 | 59.6703 | 0.0087507 | 59.7864 | 0.00779 | 59.9025 | 0.00011507 | 60.1199 | 0.0076633 | 60.236 | 0.00021958 | 60.3521
2.9173 | 62.9997 | 0.010606 | 63.1158 | 0.012968 | 63.2319 | 0.015074 | 63.348 | 0.013164 | 63.4641 | 0.012141 | 63.5802 | 0.0088771 | 63.6962 | 0.012921 | 63.8123 | 0.013922 | 64.0298 | 0.012605 | 64.1458 | 0.012516 | 64.2619 | 0.013477 | 64.378 | 0.011718 | 64.494 | 0.010362 | 64.6101 | 0.010947 | 64.7262 | 0.012542 | 64.8423 | 0.0094637 | 65.0598 | 0.01461 | 65.1759 | 0.008845 | 65.2919 | 0.013219 | 65.408 | 2.9253 | 65.5241 | 0.012414 | 65.6491 | 0.013709 | 65.7652 | 0.011146 | 65.8813 | 0.012698 | 66.0988 | 0.0084026 | 66.2148 | 0.012141 | 66.3309 | 0.011242 | 66.447 | 0.0075631 | 66.5631 | 0.0093063 | 66.6791 | 0.0087508 | 66.7952 | 0.0077906 | 66.9113 | 0.00011481 | 67.1288 | 0.0076638 | 67.2449 | 0.00021989 | 67.361
2.9173 | 69.9997 | 0.010606 | 70.1158 | 0.012967 | 70.2319 | 0.015074 | 70.348 | 0.013163 | 70.4641 | 0.012141 | 70.5802 | 0.0088779 | 70.7033 | 0.01292 | 70.8194 | 0.013921 | 71.0369 | 0.012606 | 71.153 | 0.012516 | 71.2691 | 0.013476 | 71.3851 | 0.011718 | 71.5012 | 0.010361 | 71.6173 | 0.010946 | 71.7334 | 0.012542 | 71.8494 | 0.0094635 | 72.067 | 0.01461 | 72.183 | 0.0088453 | 72.2991 | 0.013218 | 72.4152 | 2.9253 | 72.5313 | 0.012415 | 72.6473 | 0.01371 | 72.7634 | 0.011148 | 72.8795 | 0.012698 | 73.097 | 0.0084027 | 73.2131 | 0.012141 | 73.3292 | 0.011242 | 73.4452 | 0.0075629 | 73.5613 | 0.0093064 | 73.6774 | 0.0087507 | 73.7935 | 0.0077906 | 73.9096 | 0.00011457 | 74.127 | 0.0076644 | 74.2431 | 0.00021958 | 74.3592
2.9173 | 76.9997 | 0.010606 | 77.1159 | 0.012967 | 77.232 | 0.015073 | 77.348 | 0.013163 | 77.4641 | 0.012142 | 77.5802 | 0.0088785 | 77.6963 | 0.01292 | 77.8124 | 0.01392 | 78.0298 | 0.012606 | 78.1459 | 0.012516 | 78.2619 | 0.013477 | 78.378 | 0.011718 | 78.4941 | 0.010361 | 78.6102 | 0.010945 | 78.7263 | 0.012542 | 78.8423 | 0.0094633 | 79.0598 | 0.014611 | 79.1759 | 0.008845 | 79.292 | 0.013218 | 79.4081 | 2.9253 | 79.5242 | 0.012415 | 79.6402 | 0.013709 | 79.7563 | 0.011148 | 79.8724 | 0.012697 | 80.0898 | 0.0084027 | 80.2059 | 0.012141 | 80.322 | 0.011242 | 80.4381 | 0.0075632 | 80.5542 | 0.0093063 | 80.6703 | 0.0087511 | 80.7864 | 0.0077907 | 80.9025 | 0.00011441 | 81.12 | 0.0076644 | 81.2361 | 0.00022027 | 81.3522
2.9173 | 83.9997 | 0.010604 | 84.1158 | 0.012966 | 84.2319 | 0.015071 | 84.348 | 0.013162 | 84.4641 | 0.012141 | 84.5801 | 0.0088771 | 84.6962 | 0.012918 | 84.8123 | 0.013919 | 85.0298 | 0.012606 | 85.1458 | 0.012516 | 85.2619 | 0.013477 | 85.378 | 0.011718 | 85.4941 | 0.010362 | 85.6102 | 0.010945 | 85.7262 | 0.012541 | 85.8513 | 0.0094632 | 86.0688 | 0.01461 | 86.1849 | 0.0088441 | 86.301 | 0.013217 | 86.417 | 2.9253 | 86.5331 | 0.012414 | 86.6492 | 0.013709 | 86.7653 | 0.011146 | 86.8814 | 0.012697 | 87.0988 | 0.0084018 | 87.2149 | 0.012141 | 87.331 | 0.011241 | 87.4471 | 0.0075625 | 87.5631 | 0.0093057 | 87.6792 | 0.00875 | 87.7953 | 0.0077898 | 87.9114 | 0.00011447 | 88.1289 | 0.0076629 | 88.2449 | 0.00021967 | 88.361
2.9173 | 90.9997 | 0.010603 | 91.1158 | 0.012965 | 91.2319 | 0.01507 | 91.348 | 0.013161 | 91.4641 | 0.012139 | 91.5802 | 0.0088755 | 91.6962 | 0.012916 | 91.8123 | 0.013918 | 92.0298 | 0.012604 | 92.1459 | 0.012514 | 92.2619 | 0.013476 | 92.378 | 0.011716 | 92.4941 | 0.010361 | 92.6102 | 0.010945 | 92.7262 | 0.012541 | 92.8423 | 0.0094622 | 93.0598 | 0.014609 | 93.1759 | 0.0088436 | 93.292 | 0.013216 | 93.4081 | 2.9253 | 93.5242 | 0.012413 | 93.6402 | 0.013707 | 93.7563 | 0.011145 | 93.8724 | 0.012695 | 94.0899 | 0.0084011 | 94.2059 | 0.01214 | 94.322 | 0.01124 | 94.4381 | 0.0075617 | 94.5542 | 0.0093042 | 94.6702 | 0.0087497 | 94.7863 | 0.0077887 | 94.9024 | 0.00011439 | 95.1199 | 0.0076618 | 95.2359 | 0.00021958 | 95.352
2.9173 | 97.9997 | 0.010602 | 98.1158 | 0.012964 | 98.2319 | 0.01507 | 98.348 | 0.01316 | 98.4641 | 0.012137 | 98.5802 | 0.0088743 | 98.6962 | 0.012916 | 98.8123 | 0.013918 | 99.0298 | 0.012604 | 99.1458 | 0.012515 | 99.2619 | 0.013476 | 99.378 | 0.011716 | 99.4941 | 0.01036 | 99.6101 | 0.010945 | 99.7262 | 0.01254 | 99.8423 | 0.0094618 | 100.0598 | 0.014608 | 100.1759 | 0.0088433 | 100.2919 | 0.013216 | 100.408 | 2.9253 | 100.5241 | 0.012413 | 100.6402 | 0.013707 | 100.7563 | 0.011144 | 100.8723 | 0.012694 | 101.0899 | 0.0084008 | 101.206 | 0.01214 | 101.322 | 0.011239 | 101.4381 | 0.0075612 | 101.5542 | 0.0093042 | 101.6703 | 0.0087492 | 101.7864 | 0.0077887 | 101.9024 | 0.00011446 | 102.1199 | 0.0076618 | 102.236 | 0.00021936 | 102.3521
2.9173 | 104.9997 | 0.010602 | 105.1158 | 0.012964 | 105.2319 | 0.01507 | 105.348 | 0.01316 | 105.4641 | 0.012136 | 105.5802 | 0.0088745 | 105.6963 | 0.012915 | 105.8123 | 0.013918 | 106.0376 | 0.012604 | 106.1536 | 0.012515 | 106.2697 | 0.013477 | 106.3858 | 0.011716 | 106.5019 | 0.010361 | 106.618 | 0.010945 | 106.734 | 0.01254 | 106.8501 | 0.0094622 | 107.0676 | 0.014609 | 107.1837 | 0.0088435 | 107.2998 | 0.013216 | 107.4159 | 2.9253 | 107.532 | 0.012413 | 107.6481 | 0.013707 | 107.7641 | 0.011145 | 107.8802 | 0.012695 | 108.0977 | 0.0084015 | 108.2138 | 0.012141 | 108.3298 | 0.011241 | 108.4459 | 0.0075608 | 108.562 | 0.0093045 | 108.6781 | 0.0087494 | 108.7941 | 0.0077891 | 108.9102 | 0.00011453 | 109.1277 | 0.0076627 | 109.2438 | 0.00021968 | 109.3598
2.9173 | 111.9997 | 0.010602 | 112.1159 | 0.012964 | 112.232 | 0.01507 | 112.348 | 0.01316 | 112.4641 | 0.012136 | 112.5802 | 0.0088752 | 112.6963 | 0.012916 | 112.8124 | 0.013918 | 113.0298 | 0.012604 | 113.1459 | 0.012515 | 113.262 | 0.013476 | 113.3781 | 0.011716 | 113.4942 | 0.01036 | 113.6102 | 0.010945 | 113.7263 | 0.01254 | 113.8424 | 0.0094625 | 114.0599 | 0.014608 | 114.176 | 0.008844 | 114.2921 | 0.013216 | 114.4081 | 2.9253 | 114.5242 | 0.012413 | 114.6403 | 0.013707 | 114.7564 | 0.011145 | 114.8725 | 0.012694 | 115.0899 | 0.0084014 | 115.206 | 0.012142 | 115.3221 | 0.01124 | 115.4382 | 0.0075613 | 115.5543 | 0.009305 | 115.6704 | 0.0087495 | 115.7864 | 0.0077901 | 115.9025 | 0.00011454 | 116.1201 | 0.0076636 | 116.2362 | 0.00021959 | 116.3523
2.9173 | 118.9997 | 0.010602 | 119.1158 | 0.012964 | 119.2319 | 0.015071 | 119.348 | 0.01316 | 119.4641 | 0.012136 | 119.5802 | 0.0088753 | 119.6962 | 0.012917 | 119.8123 | 0.013917 | 120.0298 | 0.012604 | 120.1459 | 0.012515 | 120.2619 | 0.013476 | 120.378 | 0.011716 | 120.4941 | 0.01036 | 120.6101 | 0.010945 | 120.7262 | 0.01254 | 120.8423 | 0.0094622 | 121.0598 | 0.014609 | 121.1761 | 0.0088442 | 121.2922 | 0.013216 | 121.4083 | 2.9253 | 121.5244 | 0.012412 | 121.6405 | 0.013706 | 121.7566 | 0.011145 | 121.8727 | 0.012695 | 122.0901 | 0.0084007 | 122.2062 | 0.012142 | 122.3223 | 0.01124 | 122.4384 | 0.0075623 | 122.5545 | 0.0093051 | 122.6705 | 0.0087498 | 122.7866 | 0.0077899 | 122.9027 | 0.00011515 | 123.1202 | 0.0076632 | 123.2363 | 0.00021949 | 123.3524
2.9173 | 125.9997 | 0.010602 | 126.1158 | 0.012963 | 126.2403 | 0.01507 | 126.3564 | 0.013159 | 126.4725 | 0.012135 | 126.5886 | 0.008875 | 126.7046 | 0.012916 | 126.8207 | 0.013918 | 127.0382 | 0.012605 | 127.1543 | 0.012516 | 127.2704 | 0.013476 | 127.3864 | 0.011716 | 127.5025 | 0.01036 | 127.6186 | 0.010945 | 127.7346 | 0.01254 | 127.8507 | 0.0094619 | 128.0682 | 0.014608 | 128.1843 | 0.0088442 | 128.3004 | 0.013216 | 128.4164 | 2.9253 | 128.5325 | 0.012412 | 128.6486 | 0.013707 | 128.7647 | 0.011144 | 128.8808 | 0.012695 | 129.0983 | 0.0084009 | 129.2143 | 0.012141 | 129.3304 | 0.011239 | 129.4465 | 0.0075621 | 129.5625 | 0.0093049 | 129.6786 | 0.0087491 | 129.7947 | 0.0077886 | 129.9108 | 0.00011476 | 130.1283 | 0.0076629 | 130.2443 | 0.00021909 | 130.3604
2.9173 | 132.9998 | 0.010602 | 133.1159 | 0.012963 | 133.232 | 0.01507 | 133.348 | 0.01316 | 133.4641 | 0.012136 | 133.5802 | 0.0088747 | 133.6963 | 0.012916 | 133.8124 | 0.013918 | 134.0298 | 0.012604 | 134.1459 | 0.012514 | 134.262 | 0.013475 | 134.378 | 0.011716 | 134.4941 | 0.01036 | 134.6102 | 0.010944 | 134.7263 | 0.01254 | 134.8424 | 0.0094612 | 135.0599 | 0.014608 | 135.176 | 0.0088436 | 135.292 | 0.013216 | 135.4081 | 2.9253 | 135.5242 | 0.012412 | 135.6403 | 0.013707 | 135.7564 | 0.011145 | 135.8724 | 0.012696 | 136.0899 | 0.0084008 | 136.206 | 0.012141 | 136.3221 | 0.011239 | 136.4382 | 0.0075619 | 136.5543 | 0.0093057 | 136.6703 | 0.0087495 | 136.7864 | 0.0077891 | 136.9025 | 0.00011473 | 137.12 | 0.0076626 | 137.236 | 0.00021965 | 137.3521
2.9173 | 139.9997 | 0.010602 | 140.1158 | 0.012963 | 140.2319 | 0.01507 | 140.348 | 0.01316 | 140.4641 | 0.012137 | 140.5802 | 0.0088753 | 140.6963 | 0.012916 | 140.8123 | 0.013918 | 141.0298 | 0.012604 | 141.1459 | 0.012512 | 141.262 | 0.013473 | 141.3783 | 0.011715 | 141.4944 | 0.01036 | 141.6105 | 0.010944 | 141.7266 | 0.01254 | 141.8427 | 0.0094617 | 142.0601 | 0.014608 | 142.1762 | 0.0088437 | 142.2923 | 0.013217 | 142.4084 | 2.9253 | 142.5245 | 0.012412 | 142.6406 | 0.013706 | 142.7566 | 0.011146 | 142.8727 | 0.012697 | 143.0902 | 0.0084008 | 143.2063 | 0.012143 | 143.3224 | 0.011241 | 143.4384 | 0.0075614 | 143.5545 | 0.0093066 | 143.6706 | 0.0087511 | 143.7867 | 0.0077898 | 143.9027 | 0.00011413 | 144.1202 | 0.007664 | 144.2363 | 0.00021935 | 144.3524
2.9173 | 146.9997 | 0.010603 | 147.1158 | 0.012966 | 147.2319 | 0.01507 | 147.348 | 0.013161 | 147.4641 | 0.012139 | 147.5802 | 0.0088761 | 147.6963 | 0.012916 | 147.8123 | 0.013918 | 148.0298 | 0.012604 | 148.1459 | 0.012513 | 148.262 | 0.013474 | 148.378 | 0.011715 | 148.4941 | 0.01036 | 148.6102 | 0.010945 | 148.7263 | 0.012541 | 148.8424 | 0.0094625 | 149.0599 | 0.014608 | 149.176 | 0.008844 | 149.292 | 0.013217 | 149.4081 | 2.9253 | 149.5242 | 0.012413 | 149.6403 | 0.013707 | 149.7563 | 0.011146 | 149.8724 | 0.012697 | 150.0899 | 0.0084013 | 150.2059 | 0.012142 | 150.322 | 0.011243 | 150.4381 | 0.0075618 | 150.5541 | 0.0093076 | 150.6702 | 0.0087513 | 150.7863 | 0.0077904 | 150.9024 | 0.00011413 | 151.1199 | 0.0076648 | 151.2359 | 0.00021987 | 151.352
2.9173 | 153.9997 | 0.010604 | 154.1159 | 0.012966 | 154.232 | 0.015071 | 154.348 | 0.013162 | 154.4641 | 0.012138 | 154.5802 | 0.0088772 | 154.6963 | 0.012916 | 154.8123 | 0.013919 | 155.0298 | 0.012604 | 155.1459 | 0.012513 | 155.262 | 0.013474 | 155.378 | 0.011716 | 155.4941 | 0.01036 | 155.6102 | 0.010945 | 155.7263 | 0.012541 | 155.8423 | 0.0094629 | 156.0599 | 0.014608 | 156.1759 | 0.0088444 | 156.292 | 0.013217 | 156.4081 | 2.9253 | 156.5242 | 0.012413 | 156.6403 | 0.013707 | 156.7564 | 0.011146 | 156.8725 | 0.012697 | 157.09 | 0.0084018 | 157.206 | 0.012141 | 157.3221 | 0.011243 | 157.4382 | 0.0075621 | 157.5543 | 0.0093066 | 157.6703 | 0.008751 | 157.7864 | 0.0077906 | 157.9025 | 0.00011443 | 158.12 | 0.0076643 | 158.2361 | 0.00021973 | 158.3521
2.9173 | 160.9997 | 0.010604 | 161.1158 | 0.012965 | 161.2319 | 0.01507 | 161.348 | 0.013161 | 161.4641 | 0.012137 | 161.5805 | 0.0088764 | 161.6966 | 0.012916 | 161.8127 | 0.013918 | 162.0301 | 0.012604 | 162.1462 | 0.012515 | 162.2623 | 0.013475 | 162.3783 | 0.011716 | 162.4944 | 0.01036 | 162.6105 | 0.010944 | 162.7266 | 0.01254 | 162.8427 | 0.0094625 | 163.0602 | 0.014608 | 163.1763 | 0.0088442 | 163.2923 | 0.013217 | 163.4084 | 2.9252 | 163.5245 | 0.012413 | 163.6406 | 0.013707 | 163.7566 | 0.011145 | 163.8727 | 0.012696 | 164.0902 | 0.0084015 | 164.2063 | 0.012141 | 164.3223 | 0.011242 | 164.4384 | 0.0075622 | 164.5545 | 0.0093064 | 164.6706 | 0.0087502 | 164.7867 | 0.0077901 | 164.9027 | 0.00011504 | 165.1202 | 0.0076634 | 165.2363 | 0.00021968 | 165.3524
2.9173 | 167.9997 | 0.010604 | 168.1158 | 0.012966 | 168.232 | 0.015071 | 168.348 | 0.013161 | 168.4641 | 0.012138 | 168.5802 | 0.0088763 | 168.6963 | 0.012918 | 168.8123 | 0.013918 | 169.0298 | 0.012604 | 169.1459 | 0.012516 | 169.262 | 0.013475 | 169.378 | 0.011716 | 169.4941 | 0.01036 | 169.6102 | 0.010944 | 169.7263 | 0.01254 | 169.8423 | 0.0094624 | 170.0598 | 0.014609 | 170.1759 | 0.0088445 | 170.292 | 0.013216 | 170.4081 | 2.9253 | 170.5242 | 0.012412 | 170.6403 | 0.013708 | 170.7563 | 0.011145 | 170.8724 | 0.012696 | 171.0899 | 0.0084016 | 171.206 | 0.012141 | 171.3221 | 0.011241 | 171.4381 | 0.0075629 | 171.5542 | 0.0093061 | 171.6703 | 0.0087499 | 171.7864 | 0.0077898 | 171.9025 | 0.00011451 | 172.12 | 0.0076635 | 172.2361 | 0.00021936 | 172.3522
2.9173 | 174.9997 | 0.010604 | 175.1158 | 0.012965 | 175.2319 | 0.015072 | 175.348 | 0.013161 | 175.4641 | 0.012138 | 175.5801 | 0.0088769 | 175.6962 | 0.012919 | 175.8123 | 0.013918 | 176.0297 | 0.012603 | 176.1458 | 0.012514 | 176.2619 | 0.013475 | 176.378 | 0.011716 | 176.494 | 0.01036 | 176.6101 | 0.010944 | 176.7263 | 0.012541 | 176.8424 | 0.0094624 | 177.0599 | 0.014609 | 177.176 | 0.0088443 | 177.2921 | 0.013216 | 177.4081 | 2.9252 | 177.5242 | 0.012412 | 177.6403 | 0.013706 | 177.7564 | 0.011145 | 177.8725 | 0.012695 | 178.0899 | 0.0084014 | 178.206 | 0.01214 | 178.3221 | 0.011241 | 178.4382 | 0.0075627 | 178.5543 | 0.0093059 | 178.6704 | 0.0087504 | 178.7864 | 0.0077899 | 178.9025 | 0.00011471 | 179.12 | 0.0076633 | 179.2361 | 0.00021907 | 179.3521
2.9173 | 181.9997 | 0.010604 | 182.1159 | 0.012966 | 182.2319 | 0.015072 | 182.348 | 0.013162 | 182.4641 | 0.01214 | 182.5802 | 0.0088768 | 182.6963 | 0.012919 | 182.8124 | 0.013919 | 183.0298 | 0.012604 | 183.1459 | 0.012514 | 183.262 | 0.013474 | 183.3781 | 0.011716 | 183.4941 | 0.010361 | 183.6102 | 0.010945 | 183.7263 | 0.012541 | 183.8424 | 0.0094625 | 184.0599 | 0.014609 | 184.1759 | 0.0088448 | 184.292 | 0.013217 | 184.4081 | 2.9253 | 184.5242 | 0.012413 | 184.6402 | 0.013708 | 184.7563 | 0.011146 | 184.8724 | 0.012697 | 185.0899 | 0.0084012 | 185.206 | 0.01214 | 185.322 | 0.01124 | 185.4381 | 0.0075628 | 185.5542 | 0.0093056 | 185.6703 | 0.0087499 | 185.7863 | 0.0077901 | 185.9024 | 0.00011478 | 186.1199 | 0.0076639 | 186.236 | 0.0002191 | 186.352
2.9173 | 188.9997 | 0.010605 | 189.1158 | 0.012966 | 189.2319 | 0.015072 | 189.348 | 0.013162 | 189.4641 | 0.012141 | 189.5802 | 0.0088772 | 189.6962 | 0.012918 | 189.8123 | 0.013919 | 190.0298 | 0.012604 | 190.1459 | 0.012515 | 190.262 | 0.013475 | 190.378 | 0.011716 | 190.4941 | 0.010361 | 190.6102 | 0.010945 | 190.7262 | 0.012541 | 190.8423 | 0.0094624 | 191.0598 | 0.014609 | 191.1759 | 0.0088443 | 191.292 | 0.013217 | 191.408 | 2.9253 | 191.5241 | 0.012413 | 191.6402 | 0.013708 | 191.7563 | 0.011147 | 191.8725 | 0.012697 | 192.09 | 0.0084011 | 192.206 | 0.012141 | 192.3221 | 0.011241 | 192.4382 | 0.0075622 | 192.5543 | 0.0093054 | 192.6704 | 0.0087497 | 192.7864 | 0.0077894 | 192.9025 | 0.00011466 | 193.12 | 0.0076628 | 193.2361 | 0.00021922 | 193.3521
2.9173 | 195.9997 | 0.010602 | 196.1158 | 0.012964 | 196.2319 | 0.01507 | 196.348 | 0.01316 | 196.4641 | 0.012138 | 196.5801 | 0.0088751 | 196.6962 | 0.012915 | 196.8123 | 0.013918 | 197.0298 | 0.012604 | 197.1459 | 0.012514 | 197.262 | 0.013475 | 197.3781 | 0.011716 | 197.4941 | 0.010361 | 197.6102 | 0.010945 | 197.7263 | 0.012541 | 197.8424 | 0.0094626 | 198.0599 | 0.014609 | 198.1759 | 0.0088439 | 198.292 | 0.013217 | 198.4081 | 2.9253 | 198.5242 | 0.012412 | 198.6403 | 0.013707 | 198.7563 | 0.011146 | 198.8724 | 0.012697 | 199.0899 | 0.0084002 | 199.206 | 0.01214 | 199.322 | 0.01124 | 199.4381 | 0.0075609 | 199.5542 | 0.0093047 | 199.6703 | 0.0087484 | 199.7863 | 0.0077883 | 199.9024 | 0.00011377 | 200.1198 | 0.0076625 | 200.2359 | 0.00021938 | 200.352
2.9173 | 202.9997 | 0.0106 | 203.1158 | 0.01296 | 203.2319 | 0.015067 | 203.348 | 0.013157 | 203.4641 | 0.012134 | 203.5802 | 0.008872 | 203.6962 | 0.012912 | 203.8123 | 0.013916 | 204.0298 | 0.012603 | 204.1459 | 0.012513 | 204.2619 | 0.013473 | 204.378 | 0.011714 | 204.4941 | 0.01036 | 204.6102 | 0.010945 | 204.7263 | 0.012539 | 204.8424 | 0.0094617 | 205.0599 | 0.014607 | 205.1759 | 0.0088435 | 205.292 | 0.013216 | 205.4081 | 2.9253 | 205.5242 | 0.012411 | 205.6403 | 0.013704 | 205.7564 | 0.011145 | 205.8724 | 0.012695 | 206.0899 | 0.0083989 | 206.206 | 0.012138 | 206.3221 | 0.011238 | 206.4382 | 0.0075591 | 206.5543 | 0.0093029 | 206.6703 | 0.0087469 | 206.7864 | 0.007787 | 206.9025 | 0.00011395 | 207.12 | 0.0076602 | 207.2361 | 0.00021931 | 207.3522
2.9173 | 209.9997 | 0.010598 | 210.1158 | 0.012959 | 210.2319 | 0.015067 | 210.348 | 0.013157 | 210.4641 | 0.012131 | 210.5802 | 0.00887 | 210.6963 | 0.012911 | 210.8123 | 0.013915 | 211.0298 | 0.012601 | 211.1459 | 0.012511 | 211.262 | 0.013471 | 211.378 | 0.011713 | 211.4941 | 0.010358 | 211.6102 | 0.010943 | 211.7263 | 0.012538 | 211.8423 | 0.0094607 | 212.0598 | 0.014605 | 212.176 | 0.0088416 | 212.292 | 0.013213 | 212.4081 | 2.9253 | 212.5242 | 0.012409 | 212.6403 | 0.013703 | 212.7564 | 0.011144 | 212.8724 | 0.012693 | 213.0899 | 0.0083975 | 213.206 | 0.012135 | 213.3221 | 0.011235 | 213.4382 | 0.0075569 | 213.5542 | 0.0093013 | 213.6703 | 0.0087451 | 213.7864 | 0.0077855 | 213.9025 | 0.00011373 | 214.12 | 0.0076588 | 214.236 | 0.00021878 | 214.3521
2.9173 | 216.9997 | 0.010598 | 217.1159 | 0.012959 | 217.232 | 0.015066 | 217.3482 | 0.013157 | 217.4642 | 0.012131 | 217.5803 | 0.0088697 | 217.6964 | 0.012911 | 217.8125 | 0.013914 | 218.0299 | 0.0126 | 218.146 | 0.012508 | 218.2621 | 0.013469 | 218.3782 | 0.011711 | 218.4942 | 0.010357 | 218.6103 | 0.010942 | 218.7264 | 0.012536 | 218.8425 | 0.0094594 | 219.06 | 0.014604 | 219.176 | 0.0088414 | 219.2921 | 0.013212 | 219.4082 | 2.9253 | 219.5243 | 0.012408 | 219.6403 | 0.013701 | 219.7564 | 0.011143 | 219.8725 | 0.012692 | 220.09 | 0.0083964 | 220.206 | 0.012135 | 220.3221 | 0.011234 | 220.4382 | 0.007557 | 220.5543 | 0.0093002 | 220.6704 | 0.0087446 | 220.7864 | 0.0077846 | 220.9025 | 0.00011355 | 221.12 | 0.0076579 | 221.2361 | 0.00021816 | 221.3521
2.9173 | 223.9997 | 0.010598 | 224.1158 | 0.012959 | 224.2319 | 0.015066 | 224.348 | 0.013156 | 224.4641 | 0.012131 | 224.5802 | 0.0088704 | 224.6962 | 0.012912 | 224.8123 | 0.013913 | 225.0298 | 0.012599 | 225.1459 | 0.012508 | 225.2619 | 0.013468 | 225.378 | 0.01171 | 225.4941 | 0.010358 | 225.6102 | 0.010941 | 225.7262 | 0.012536 | 225.8423 | 0.0094589 | 226.0598 | 0.014604 | 226.1759 | 0.0088412 | 226.292 | 0.013211 | 226.4081 | 2.9253 | 226.5241 | 0.012408 | 226.6402 | 0.013701 | 226.7563 | 0.011143 | 226.8724 | 0.012693 | 227.0899 | 0.0083967 | 227.2059 | 0.012135 | 227.3221 | 0.011234 | 227.4382 | 0.0075578 | 227.5542 | 0.009301 | 227.6703 | 0.0087455 | 227.7864 | 0.0077854 | 227.9025 | 0.00011344 | 228.1199 | 0.007659 | 228.236 | 0.0002187 | 228.3521
2.9173 | 230.9997 | 0.010599 | 231.1158 | 0.012959 | 231.2319 | 0.015066 | 231.348 | 0.013156 | 231.4641 | 0.012132 | 231.5802 | 0.008871 | 231.6962 | 0.012913 | 231.8123 | 0.013914 | 232.0298 | 0.0126 | 232.1459 | 0.012509 | 232.2621 | 0.01347 | 232.3782 | 0.011711 | 232.4942 | 0.010357 | 232.6103 | 0.010941 | 232.7264 | 0.012537 | 232.8425 | 0.0094592 | 233.06 | 0.014605 | 233.1761 | 0.0088413 | 233.2922 | 0.013213 | 233.4082 | 2.9253 | 233.5243 | 0.012409 | 233.6404 | 0.013702 | 233.7565 | 0.011143 | 233.8725 | 0.012694 | 234.09 | 0.0083977 | 234.2061 | 0.012135 | 234.3221 | 0.011236 | 234.4382 | 0.0075587 | 234.5543 | 0.0093012 | 234.6704 | 0.0087455 | 234.7864 | 0.0077853 | 234.9025 | 0.00011343 | 235.12 | 0.0076598 | 235.236 | 0.00021846 | 235.3521
2.9173 | 237.9997 | 0.010599 | 238.1159 | 0.01296 | 238.2319 | 0.015066 | 238.348 | 0.013157 | 238.4641 | 0.012132 | 238.5802 | 0.0088716 | 238.6963 | 0.012913 | 238.8123 | 0.013914 | 239.0298 | 0.012601 | 239.1459 | 0.012509 | 239.2619 | 0.013471 | 239.378 | 0.011712 | 239.4941 | 0.010358 | 239.6102 | 0.010941 | 239.7262 | 0.012537 | 239.8423 | 0.0094596 | 240.0598 | 0.014605 | 240.1759 | 0.0088415 | 240.292 | 0.013213 | 240.408 | 2.9253 | 240.5241 | 0.01241 | 240.6402 | 0.013702 | 240.7563 | 0.011144 | 240.8724 | 0.012694 | 241.0898 | 0.0083981 | 241.2059 | 0.012135 | 241.322 | 0.011236 | 241.4381 | 0.0075594 | 241.5542 | 0.0093016 | 241.6703 | 0.0087458 | 241.7863 | 0.0077863 | 241.9024 | 0.0001137 | 242.1199 | 0.0076601 | 242.236 | 0.00021892 | 242.3521
2.9173 | 244.9997 | 0.010599 | 245.1158 | 0.012959 | 245.2319 | 0.015066 | 245.348 | 0.013156 | 245.4641 | 0.012133 | 245.5801 | 0.0088709 | 245.6962 | 0.012912 | 245.8123 | 0.013913 | 246.0298 | 0.012602 | 246.1458 | 0.012509 | 246.2619 | 0.01347 | 246.378 | 0.011712 | 246.4941 | 0.010358 | 246.6101 | 0.010942 | 246.7262 | 0.012537 | 246.8423 | 0.0094597 | 247.0598 | 0.014605 | 247.1759 | 0.0088416 | 247.292 | 0.013213 | 247.4082 | 2.9253 | 247.5243 | 0.01241 | 247.6404 | 0.013701 | 247.7564 | 0.011144 | 247.8725 | 0.012693 | 248.09 | 0.0083981 | 248.2061 | 0.012135 | 248.3222 | 0.011236 | 248.4382 | 0.007559 | 248.5543 | 0.0093012 | 248.6704 | 0.0087453 | 248.7865 | 0.0077862 | 248.9025 | 0.00011343 | 249.12 | 0.0076604 | 249.2361 | 0.00021829 | 249.3522
2.9173 | 251.9997 | 0.010598 | 252.1158 | 0.012959 | 252.2319 | 0.015065 | 252.348 | 0.013156 | 252.4642 | 0.012133 | 252.5803 | 0.0088708 | 252.6964 | 0.012912 | 252.8125 | 0.013913 | 253.0299 | 0.012601 | 253.146 | 0.012511 | 253.262 | 0.01347 | 253.3781 | 0.011712 | 253.4942 | 0.010358 | 253.6103 | 0.010942 | 253.7264 | 0.012537 | 253.8424 | 0.0094597 | 254.0599 | 0.014605 | 254.176 | 0.0088415 | 254.2921 | 0.013213 | 254.4082 | 2.9253 | 254.5243 | 0.012409 | 254.6403 | 0.013702 | 254.7564 | 0.011144 | 254.8725 | 0.012694 | 255.09 | 0.0083974 | 255.206 | 0.012136 | 255.3221 | 0.011236 | 255.4382 | 0.0075588 | 255.5543 | 0.0093013 | 255.6703 | 0.0087454 | 255.7864 | 0.0077861 | 255.9025 | 0.00011352 | 256.12 | 0.0076599 | 256.236 | 0.0002186 | 256.3521
2.9173 | 258.9997 | 0.010599 | 259.1159 | 0.012959 | 259.2319 | 0.015065 | 259.348 | 0.013156 | 259.4641 | 0.012133 | 259.5802 | 0.0088712 | 259.6963 | 0.012913 | 259.8123 | 0.013914 | 260.0298 | 0.012601 | 260.1459 | 0.012511 | 260.262 | 0.01347 | 260.3781 | 0.011712 | 260.4941 | 0.010358 | 260.6102 | 0.010942 | 260.7263 | 0.012538 | 260.8424 | 0.0094599 | 261.0598 | 0.014605 | 261.1759 | 0.0088418 | 261.292 | 0.013213 | 261.4081 | 2.9253 | 261.5242 | 0.012409 | 261.6402 | 0.013702 | 261.7563 | 0.011144 | 261.8724 | 0.012694 | 262.0899 | 0.0083976 | 262.206 | 0.012137 | 262.322 | 0.011236 | 262.4381 | 0.0075588 | 262.5543 | 0.0093016 | 262.6704 | 0.0087461 | 262.7865 | 0.0077863 | 262.9026 | 0.00011336 | 263.1201 | 0.0076601 | 263.2362 | 0.00021872 | 263.3522
2.9173 | 265.9997 | 0.0106 | 266.1158 | 0.012961 | 266.2319 | 0.015066 | 266.348 | 0.013158 | 266.4641 | 0.012133 | 266.5802 | 0.0088725 | 266.6963 | 0.012913 | 266.8123 | 0.013914 | 267.0298 | 0.012601 | 267.1459 | 0.01251 | 267.262 | 0.013471 | 267.3781 | 0.011713 | 267.4942 | 0.010358 | 267.6103 | 0.010942 | 267.7265 | 0.012538 | 267.8425 | 0.0094596 | 268.06 | 0.014605 | 268.1761 | 0.0088422 | 268.2922 | 0.013213 | 268.4083 | 2.9253 | 268.5244 | 0.012409 | 268.6405 | 0.013702 | 268.7565 | 0.011144 | 268.8726 | 0.012695 | 269.09 | 0.0083978 | 269.2061 | 0.012138 | 269.3222 | 0.011236 | 269.4383 | 0.0075589 | 269.5544 | 0.0093021 | 269.6704 | 0.0087466 | 269.7865 | 0.0077865 | 269.9026 | 0.00011341 | 270.1201 | 0.0076602 | 270.2361 | 0.00021885 | 270.3522
2.9173 | 272.9998 | 0.010602 | 273.1159 | 0.012963 | 273.232 | 0.015067 | 273.348 | 0.013159 | 273.4641 | 0.012134 | 273.5802 | 0.0088735 | 273.6963 | 0.012914 | 273.8124 | 0.013915 | 274.0298 | 0.012601 | 274.1459 | 0.01251 | 274.262 | 0.01347 | 274.378 | 0.011713 | 274.4941 | 0.010359 | 274.6102 | 0.010943 | 274.7263 | 0.012538 | 274.8424 | 0.0094597 | 275.0599 | 0.014606 | 275.1759 | 0.0088426 | 275.292 | 0.013214 | 275.4081 | 2.9253 | 275.5242 | 0.01241 | 275.6403 | 0.013704 | 275.7563 | 0.011144 | 275.8724 | 0.012695 | 276.0899 | 0.008398 | 276.206 | 0.012138 | 276.322 | 0.011237 | 276.4381 | 0.0075589 | 276.5542 | 0.0093028 | 276.6703 | 0.0087467 | 276.7863 | 0.0077866 | 276.9024 | 0.00011366 | 277.1199 | 0.0076612 | 277.236 | 0.00021829 | 277.352
2.9173 | 279.9997 | 0.010602 | 280.1159 | 0.012963 | 280.232 | 0.015068 | 280.348 | 0.013159 | 280.4641 | 0.012135 | 280.5802 | 0.0088738 | 280.6963 | 0.012915 | 280.8123 | 0.013916 | 281.0298 | 0.012602 | 281.1459 | 0.012511 | 281.262 | 0.01347 | 281.378 | 0.011714 | 281.4941 | 0.010359 | 281.6102 | 0.010944 | 281.7263 | 0.012539 | 281.8424 | 0.0094611 | 282.0599 | 0.014606 | 282.1759 | 0.0088427 | 282.292 | 0.013215 | 282.4081 | 2.9253 | 282.5242 | 0.012411 | 282.6403 | 0.013705 | 282.7565 | 0.011146 | 282.8726 | 0.012696 | 283.0901 | 0.0083982 | 283.2061 | 0.012138 | 283.3222 | 0.011238 | 283.4383 | 0.0075592 | 283.5544 | 0.0093026 | 283.6704 | 0.0087468 | 283.7865 | 0.0077873 | 283.9026 | 0.00011367 | 284.12 | 0.0076614 | 284.2361 | 0.00021881 | 284.3522
2.9173 | 286.9997 | 0.010603 | 287.1158 | 0.012964 | 287.2319 | 0.015069 | 287.348 | 0.01316 | 287.4641 | 0.012136 | 287.5802 | 0.0088744 | 287.6962 | 0.012916 | 287.8124 | 0.013917 | 288.0299 | 0.012602 | 288.146 | 0.012512 | 288.2621 | 0.013472 | 288.3782 | 0.011714 | 288.4943 | 0.010361 | 288.6103 | 0.010945 | 288.7264 | 0.01254 | 288.8425 | 0.0094619 | 289.06 | 0.014607 | 289.1761 | 0.0088431 | 289.2922 | 0.013216 | 289.4083 | 2.9253 | 289.5243 | 0.012412 | 289.6404 | 0.013706 | 289.7565 | 0.011147 | 289.8726 | 0.012697 | 290.09 | 0.0083988 | 290.2061 | 0.012139 | 290.3222 | 0.011238 | 290.4383 | 0.0075592 | 290.5543 | 0.009304 | 290.6704 | 0.0087477 | 290.7865 | 0.0077876 | 290.9026 | 0.00011413 | 291.1201 | 0.0076614 | 291.2362 | 0.00021868 | 291.3522
2.9173 | 293.9997 | 0.010604 | 294.1159 | 0.012965 | 294.2319 | 0.015069 | 294.348 | 0.013161 | 294.4641 | 0.012138 | 294.5802 | 0.0088755 | 294.6963 | 0.012917 | 294.8124 | 0.013918 | 295.0298 | 0.012603 | 295.1459 | 0.012515 | 295.262 | 0.013474 | 295.3781 | 0.011715 | 295.4942 | 0.010362 | 295.6102 | 0.010946 | 295.7263 | 0.012541 | 295.8424 | 0.0094628 | 296.0599 | 0.014608 | 296.176 | 0.0088442 | 296.2921 | 0.013217 | 296.4082 | 2.9253 | 296.5242 | 0.012413 | 296.6403 | 0.013707 | 296.7564 | 0.011148 | 296.8725 | 0.012699 | 297.0899 | 0.0083995 | 297.206 | 0.01214 | 297.3221 | 0.011238 | 297.4382 | 0.0075606 | 297.5542 | 0.0093048 | 297.6703 | 0.0087487 | 297.7864 | 0.0077884 | 297.9026 | 0.00011438 | 298.12 | 0.0076628 | 298.2361 | 0.00021855 | 298.3522
2.9173 | 300.9997 | 0.010604 | 301.1158 | 0.012966 | 301.2319 | 0.01507 | 301.348 | 0.013162 | 301.4641 | 0.012139 | 301.5802 | 0.0088762 | 301.6963 | 0.012918 | 301.8123 | 0.013919 | 302.0298 | 0.012604 | 302.1459 | 0.012516 | 302.2619 | 0.013476 | 302.378 | 0.011717 | 302.4941 | 0.010362 | 302.6102 | 0.010946 | 302.7263 | 0.012541 | 302.8423 | 0.0094634 | 303.0599 | 0.014609 | 303.176 | 0.0088448 | 303.292 | 0.013218 | 303.4081 | 2.9253 | 303.5242 | 0.012414 | 303.6403 | 0.013709 | 303.7563 | 0.011148 | 303.8724 | 0.0127 | 304.0899 | 0.0084008 | 304.2059 | 0.01214 | 304.322 | 0.01124 | 304.4381 | 0.0075619 | 304.5541 | 0.0093056 | 304.6702 | 0.0087496 | 304.7863 | 0.0077888 | 304.9024 | 0.00011438 | 305.1198 | 0.0076631 | 305.2359 | 0.00021843 | 305.352
2.9173 | 307.9998 | 0.010605 | 308.1159 | 0.012966 | 308.232 | 0.01507 | 308.3481 | 0.013163 | 308.4642 | 0.012139 | 308.5802 | 0.0088762 | 308.6963 | 0.012919 | 308.8124 | 0.01392 | 309.0299 | 0.012604 | 309.1459 | 0.012517 | 309.262 | 0.013476 | 309.3781 | 0.011718 | 309.4941 | 0.010363 | 309.6102 | 0.010946 | 309.7263 | 0.012542 | 309.8424 | 0.0094638 | 310.0599 | 0.014609 | 310.1759 | 0.0088454 | 310.292 | 0.013218 | 310.4081 | 2.9253 | 310.5242 | 0.012414 | 310.6402 | 0.01371 | 310.7563 | 0.011149 | 310.8724 | 0.0127 | 311.0899 | 0.008401 | 311.2059 | 0.01214 | 311.322 | 0.01124 | 311.4381 | 0.0075622 | 311.5542 | 0.0093057 | 311.6703 | 0.0087499 | 311.7863 | 0.0077896 | 311.9024 | 0.00011408 | 312.1199 | 0.0076637 | 312.2359 | 0.000219 | 312.352
2.9173 | 314.9997 | 0.010604 | 315.1159 | 0.012965 | 315.2319 | 0.01507 | 315.348 | 0.013162 | 315.4641 | 0.012138 | 315.5801 | 0.008875 | 315.6962 | 0.012917 | 315.8123 | 0.013921 | 316.0298 | 0.012603 | 316.1459 | 0.012517 | 316.2619 | 0.013476 | 316.378 | 0.011717 | 316.4941 | 0.010362 | 316.6101 | 0.010946 | 316.7262 | 0.012542 | 316.8423 | 0.0094628 | 317.0598 | 0.014609 | 317.1759 | 0.0088449 | 317.292 | 0.013218 | 317.408 | 2.9253 | 317.5241 | 0.012414 | 317.6402 | 0.01371 | 317.7562 | 0.011149 | 317.8723 | 0.012699 | 318.0899 | 0.0084013 | 318.206 | 0.012142 | 318.3221 | 0.01124 | 318.4382 | 0.0075619 | 318.5543 | 0.0093062 | 318.6703 | 0.0087503 | 318.7864 | 0.0077898 | 318.9025 | 0.0001144 | 319.1199 | 0.0076636 | 319.236 | 0.00021904 | 319.3521
2.9173 | 321.9997 | 0.010604 | 322.1158 | 0.012964 | 322.2319 | 0.015069 | 322.348 | 0.013162 | 322.4641 | 0.012137 | 322.5802 | 0.0088751 | 322.6963 | 0.012917 | 322.8123 | 0.01392 | 323.0298 | 0.012603 | 323.146 | 0.012516 | 323.2621 | 0.013476 | 323.3782 | 0.011717 | 323.4943 | 0.010362 | 323.6104 | 0.010946 | 323.7265 | 0.012542 | 323.8425 | 0.0094635 | 324.06 | 0.014609 | 324.1761 | 0.0088451 | 324.2922 | 0.013218 | 324.4083 | 2.9252 | 324.5244 | 0.012414 | 324.6405 | 0.01371 | 324.7565 | 0.011149 | 324.8726 | 0.012699 | 325.0901 | 0.0084009 | 325.2062 | 0.012143 | 325.3222 | 0.011241 | 325.4383 | 0.0075614 | 325.5544 | 0.0093062 | 325.6705 | 0.0087505 | 325.7865 | 0.0077901 | 325.9026 | 0.00011391 | 326.1201 | 0.0076639 | 326.2362 | 0.00021949 | 326.3523
2.9173 | 328.9997 | 0.010604 | 329.1159 | 0.012964 | 329.2319 | 0.015069 | 329.348 | 0.013162 | 329.4641 | 0.012137 | 329.5802 | 0.0088758 | 329.6963 | 0.012917 | 329.8124 | 0.013921 | 330.0298 | 0.012604 | 330.1459 | 0.012516 | 330.262 | 0.013476 | 330.3781 | 0.011717 | 330.4941 | 0.010362 | 330.6102 | 0.010947 | 330.7263 | 0.012542 | 330.8424 | 0.0094634 | 331.0599 | 0.014609 | 331.176 | 0.0088449 | 331.292 | 0.013218 | 331.4081 | 2.9253 | 331.5242 | 0.012415 | 331.6403 | 0.013709 | 331.7563 | 0.011149 | 331.8724 | 0.0127 | 332.0899 | 0.0084016 | 332.2059 | 0.012142 | 332.322 | 0.011242 | 332.4381 | 0.0075618 | 332.5542 | 0.0093075 | 332.6702 | 0.0087513 | 332.7863 | 0.0077902 | 332.9024 | 0.00011407 | 333.1198 | 0.0076642 | 333.236 | 0.00021923 | 333.3521
2.9173 | 335.9998 | 0.010603 | 336.1158 | 0.012964 | 336.2319 | 0.015069 | 336.348 | 0.013162 | 336.4641 | 0.012137 | 336.5802 | 0.0088759 | 336.6963 | 0.012917 | 336.8123 | 0.013921 | 337.0298 | 0.012604 | 337.1459 | 0.012515 | 337.2619 | 0.013475 | 337.378 | 0.011717 | 337.4941 | 0.010362 | 337.6102 | 0.010946 | 337.7263 | 0.012542 | 337.8423 | 0.009464 | 338.0598 | 0.01461 | 338.1759 | 0.0088456 | 338.2921 | 0.013218 | 338.4082 | 2.9253 | 338.5243 | 0.012415 | 338.6404 | 0.013709 | 338.7565 | 0.01115 | 338.8725 | 0.0127 | 339.09 | 0.0084018 | 339.2061 | 0.012144 | 339.3222 | 0.011243 | 339.4383 | 0.0075617 | 339.5544 | 0.0093081 | 339.6704 | 0.0087522 | 339.7865 | 0.0077907 | 339.9026 | 0.00011473 | 340.12 | 0.0076644 | 340.2361 | 0.00021946 | 340.3522
2.9173 | 342.9997 | 0.010604 | 343.1158 | 0.012965 | 343.2319 | 0.01507 | 343.3481 | 0.013162 | 343.4642 | 0.012138 | 343.5803 | 0.0088761 | 343.6964 | 0.012917 | 343.8125 | 0.013921 | 344.0299 | 0.012604 | 344.146 | 0.012515 | 344.2621 | 0.013475 | 344.3782 | 0.011717 | 344.4943 | 0.010363 | 344.6104 | 0.010947 | 344.7264 | 0.012543 | 344.8425 | 0.0094642 | 345.06 | 0.01461 | 345.1761 | 0.008846 | 345.2922 | 0.013219 | 345.4083 | 2.9253 | 345.5244 | 0.012415 | 345.6404 | 0.013708 | 345.7565 | 0.01115 | 345.8726 | 0.0127 | 346.0901 | 0.0084018 | 346.2061 | 0.012145 | 346.3222 | 0.011242 | 346.4383 | 0.0075626 | 346.5544 | 0.009308 | 346.6705 | 0.0087515 | 346.7865 | 0.0077905 | 346.9026 | 0.00011476 | 347.1201 | 0.0076643 | 347.2361 | 0.00021934 | 347.3522