## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9164 | 0 | 0.010552 | 0.11612 | 0.01303 | 0.23222 | 0.015052 | 0.3483 | 0.013212 | 0.46438 | 0.012085 | 0.58044 | 0.0088224 | 0.69652 | 0.01287 | 0.81261 | 0.014122 | 1.0301 | 0.01276 | 1.1462 | 0.012735 | 1.2623 | 0.013691 | 1.3783 | 0.011699 | 1.4944 | 0.010346 | 1.6105 | 0.010935 | 1.7266 | 0.012524 | 1.8427 | 0.0094624 | 2.0602 | 0.01461 | 2.1762 | 0.0088435 | 2.2923 | 0.013199 | 2.4084 | 2.9243 | 2.5245 | 0.012402 | 2.6406 | 0.013697 | 2.7566 | 0.011143 | 2.8727 | 0.012671 | 3.0902 | 0.0083203 | 3.2063 | 0.012069 | 3.3223 | 0.011228 | 3.4384 | 0.0075815 | 3.5545 | 0.0093278 | 3.6706 | 0.0087312 | 3.7866 | 0.0078292 | 3.9027 | 2.5584e-06 | 4.1202 | 0.0076494 | 4.2363 | 0.00024584 | 4.3523
2.9164 | 6.9996 | 0.010552 | 7.1157 | 0.01303 | 7.2318 | 0.015052 | 7.3479 | 0.013212 | 7.464 | 0.012085 | 7.58 | 0.0088224 | 7.6961 | 0.012871 | 7.8122 | 0.014122 | 8.0297 | 0.01276 | 8.1458 | 0.012735 | 8.2618 | 0.013691 | 8.3779 | 0.011699 | 8.494 | 0.010346 | 8.6101 | 0.010935 | 8.7261 | 0.012524 | 8.8422 | 0.0094621 | 9.0597 | 0.014609 | 9.1758 | 0.008844 | 9.2919 | 0.013199 | 9.4079 | 2.9243 | 9.524 | 0.012402 | 9.6401 | 0.013697 | 9.7562 | 0.011143 | 9.8723 | 0.012672 | 10.0898 | 0.0083202 | 10.2059 | 0.012069 | 10.322 | 0.011227 | 10.438 | 0.0075807 | 10.5541 | 0.0093286 | 10.6702 | 0.0087312 | 10.7863 | 0.0078287 | 10.9023 | 3.2747e-06 | 11.1198 | 0.0076495 | 11.2359 | 0.00024578 | 11.352
2.9164 | 13.9996 | 0.010553 | 14.1157 | 0.01303 | 14.2318 | 0.015052 | 14.3479 | 0.013214 | 14.4639 | 0.012086 | 14.58 | 0.0088243 | 14.6961 | 0.012873 | 14.8122 | 0.014123 | 15.0297 | 0.01276 | 15.1457 | 0.012735 | 15.2618 | 0.013691 | 15.3779 | 0.011699 | 15.494 | 0.010346 | 15.6101 | 0.010935 | 15.7261 | 0.012525 | 15.8422 | 0.0094628 | 16.0597 | 0.014609 | 16.1758 | 0.0088441 | 16.2919 | 0.013199 | 16.4079 | 2.9243 | 16.524 | 0.012403 | 16.6401 | 0.013698 | 16.7562 | 0.011144 | 16.8722 | 0.012673 | 17.0897 | 0.0083207 | 17.2058 | 0.01207 | 17.3219 | 0.011229 | 17.4379 | 0.0075813 | 17.554 | 0.009329 | 17.6701 | 0.0087316 | 17.7862 | 0.0078295 | 17.9023 | 3.4433e-06 | 18.1197 | 0.0076502 | 18.2358 | 0.00024578 | 18.3519
2.9164 | 20.9996 | 0.010553 | 21.1157 | 0.01303 | 21.2318 | 0.015052 | 21.3479 | 0.013214 | 21.4639 | 0.012087 | 21.58 | 0.0088247 | 21.6961 | 0.012873 | 21.8122 | 0.014124 | 22.0296 | 0.01276 | 22.1457 | 0.012737 | 22.2618 | 0.013692 | 22.3778 | 0.0117 | 22.4939 | 0.010346 | 22.61 | 0.010935 | 22.7261 | 0.012524 | 22.8421 | 0.0094626 | 23.0597 | 0.014609 | 23.1757 | 0.0088442 | 23.2918 | 0.013199 | 23.4079 | 2.9243 | 23.524 | 0.012403 | 23.6401 | 0.013699 | 23.7561 | 0.011145 | 23.8722 | 0.012673 | 24.0897 | 0.0083205 | 24.2058 | 0.01207 | 24.3218 | 0.011228 | 24.4379 | 0.0075809 | 24.554 | 0.0093289 | 24.6701 | 0.0087319 | 24.7861 | 0.0078291 | 24.9022 | 2.7723e-06 | 25.1197 | 0.0076498 | 25.2359 | 0.00024581 | 25.352
2.9164 | 27.9996 | 0.010554 | 28.1157 | 0.013031 | 28.2318 | 0.015053 | 28.3479 | 0.013215 | 28.464 | 0.012088 | 28.5801 | 0.0088249 | 28.6961 | 0.012873 | 28.8122 | 0.014124 | 29.0297 | 0.01276 | 29.1458 | 0.012737 | 29.2618 | 0.013691 | 29.3779 | 0.0117 | 29.494 | 0.010346 | 29.61 | 0.010936 | 29.7261 | 0.012523 | 29.8422 | 0.0094619 | 30.0597 | 0.014608 | 30.1758 | 0.0088438 | 30.292 | 0.013199 | 30.4081 | 2.9243 | 30.5242 | 0.012403 | 30.6403 | 0.013699 | 30.7563 | 0.011144 | 30.8724 | 0.012673 | 31.0899 | 0.0083204 | 31.2059 | 0.012068 | 31.322 | 0.011227 | 31.4381 | 0.0075805 | 31.5542 | 0.009328 | 31.6702 | 0.0087304 | 31.7863 | 0.0078281 | 31.9024 | 2.8979e-06 | 32.1199 | 0.0076494 | 32.2359 | 0.00024569 | 32.352
2.9164 | 34.9996 | 0.010555 | 35.1157 | 0.013033 | 35.2318 | 0.015055 | 35.3517 | 0.013216 | 35.4678 | 0.012089 | 35.5839 | 0.0088255 | 35.7 | 0.012874 | 35.8161 | 0.014126 | 36.0336 | 0.01276 | 36.1497 | 0.012738 | 36.2657 | 0.013692 | 36.3818 | 0.0117 | 36.4979 | 0.010347 | 36.614 | 0.010936 | 36.7301 | 0.012524 | 36.8462 | 0.0094625 | 37.0636 | 0.014608 | 37.1797 | 0.0088435 | 37.2958 | 0.013199 | 37.4119 | 2.9243 | 37.528 | 0.012402 | 37.6441 | 0.0137 | 37.7602 | 0.011145 | 37.8762 | 0.012673 | 38.0937 | 0.0083204 | 38.2098 | 0.012068 | 38.3259 | 0.011227 | 38.4419 | 0.0075804 | 38.558 | 0.0093282 | 38.6741 | 0.00873 | 38.7902 | 0.007828 | 38.9062 | 2.7677e-06 | 39.1237 | 0.0076493 | 39.2398 | 0.0002456 | 39.3559
2.9164 | 41.9996 | 0.010556 | 42.1157 | 0.013034 | 42.2318 | 0.015056 | 42.3479 | 0.013216 | 42.464 | 0.01209 | 42.58 | 0.0088264 | 42.6961 | 0.012875 | 42.8122 | 0.014127 | 43.0296 | 0.01276 | 43.1457 | 0.012739 | 43.2618 | 0.013693 | 43.3779 | 0.0117 | 43.4939 | 0.010347 | 43.61 | 0.010936 | 43.7261 | 0.012524 | 43.8422 | 0.0094624 | 44.0597 | 0.014608 | 44.1758 | 0.0088444 | 44.2918 | 0.013199 | 44.4079 | 2.9243 | 44.524 | 0.012404 | 44.6401 | 0.0137 | 44.7562 | 0.011146 | 44.8722 | 0.012675 | 45.0897 | 0.0083207 | 45.2058 | 0.012069 | 45.3219 | 0.011228 | 45.4457 | 0.00758 | 45.5618 | 0.0093286 | 45.6779 | 0.0087306 | 45.794 | 0.0078284 | 45.91 | 2.856e-06 | 46.1275 | 0.0076494 | 46.2436 | 0.00024528 | 46.3597
2.9164 | 48.9996 | 0.010556 | 49.1157 | 0.013034 | 49.2318 | 0.015057 | 49.3479 | 0.013217 | 49.464 | 0.01209 | 49.58 | 0.0088256 | 49.6961 | 0.012875 | 49.8122 | 0.014129 | 50.0297 | 0.01276 | 50.1457 | 0.012739 | 50.2618 | 0.013694 | 50.3779 | 0.0117 | 50.5 | 0.010346 | 50.6161 | 0.010936 | 50.7322 | 0.012524 | 50.8483 | 0.0094628 | 51.0658 | 0.014608 | 51.1819 | 0.008844 | 51.298 | 0.0132 | 51.414 | 2.9243 | 51.5301 | 0.012403 | 51.6462 | 0.0137 | 51.7623 | 0.011147 | 51.8783 | 0.012675 | 52.0958 | 0.0083207 | 52.2119 | 0.012069 | 52.328 | 0.011228 | 52.444 | 0.00758 | 52.5601 | 0.0093288 | 52.6762 | 0.008731 | 52.7923 | 0.0078284 | 52.9083 | 2.3252e-06 | 53.1258 | 0.0076498 | 53.2419 | 0.0002457 | 53.358
2.9164 | 55.9996 | 0.010556 | 56.1157 | 0.013034 | 56.2318 | 0.015058 | 56.3479 | 0.013217 | 56.464 | 0.012089 | 56.58 | 0.0088257 | 56.6961 | 0.012876 | 56.8122 | 0.014129 | 57.0297 | 0.01276 | 57.1458 | 0.012739 | 57.2618 | 0.013694 | 57.3779 | 0.0117 | 57.494 | 0.010346 | 57.6101 | 0.010936 | 57.7262 | 0.012524 | 57.8422 | 0.0094625 | 58.0597 | 0.014608 | 58.1758 | 0.0088443 | 58.2919 | 0.0132 | 58.408 | 2.9243 | 58.524 | 0.012403 | 58.6401 | 0.0137 | 58.7562 | 0.011146 | 58.8723 | 0.012675 | 59.0897 | 0.0083213 | 59.2058 | 0.01207 | 59.3219 | 0.011228 | 59.438 | 0.0075804 | 59.5541 | 0.0093285 | 59.6701 | 0.0087306 | 59.7862 | 0.0078279 | 59.9023 | 2.1114e-06 | 60.1198 | 0.007649 | 60.2358 | 0.00024498 | 60.3519
2.9163 | 62.9996 | 0.010556 | 63.1157 | 0.013034 | 63.2318 | 0.015058 | 63.3479 | 0.013217 | 63.464 | 0.012089 | 63.5801 | 0.0088259 | 63.6961 | 0.012875 | 63.8122 | 0.014129 | 64.0297 | 0.012759 | 64.1458 | 0.012738 | 64.2618 | 0.013693 | 64.3779 | 0.0117 | 64.494 | 0.010346 | 64.6101 | 0.010935 | 64.7262 | 0.012523 | 64.8423 | 0.0094619 | 65.0598 | 0.014608 | 65.1759 | 0.0088437 | 65.2919 | 0.013199 | 65.408 | 2.9243 | 65.5241 | 0.012403 | 65.6481 | 0.0137 | 65.7642 | 0.011145 | 65.8803 | 0.012674 | 66.0978 | 0.0083206 | 66.2139 | 0.012069 | 66.33 | 0.011227 | 66.446 | 0.0075799 | 66.5621 | 0.009328 | 66.6782 | 0.0087299 | 66.7943 | 0.0078275 | 66.9103 | 2.4622e-06 | 67.1278 | 0.0076487 | 67.2439 | 0.00024559 | 67.36
2.9164 | 69.9996 | 0.010556 | 70.1157 | 0.013033 | 70.2318 | 0.015056 | 70.3478 | 0.013217 | 70.4639 | 0.012088 | 70.58 | 0.0088259 | 70.7023 | 0.012874 | 70.8184 | 0.014128 | 71.0358 | 0.012759 | 71.1519 | 0.012736 | 71.268 | 0.013692 | 71.3841 | 0.011699 | 71.5001 | 0.010344 | 71.6162 | 0.010933 | 71.7323 | 0.012523 | 71.8484 | 0.0094608 | 72.0659 | 0.014607 | 72.1819 | 0.008843 | 72.298 | 0.013199 | 72.4141 | 2.9243 | 72.5302 | 0.012402 | 72.6463 | 0.013699 | 72.7623 | 0.011144 | 72.8784 | 0.012673 | 73.0959 | 0.008321 | 73.212 | 0.012068 | 73.328 | 0.011226 | 73.4441 | 0.0075795 | 73.5602 | 0.0093274 | 73.6763 | 0.0087297 | 73.7923 | 0.0078265 | 73.9084 | 2.0016e-06 | 74.1259 | 0.0076479 | 74.242 | 0.00024529 | 74.358
2.9164 | 76.9996 | 0.010554 | 77.1157 | 0.013031 | 77.2318 | 0.015053 | 77.3479 | 0.013215 | 77.464 | 0.012087 | 77.58 | 0.0088258 | 77.6961 | 0.012873 | 77.8122 | 0.014126 | 78.0297 | 0.01276 | 78.1457 | 0.012735 | 78.2618 | 0.013691 | 78.3779 | 0.0117 | 78.494 | 0.010343 | 78.61 | 0.010933 | 78.7261 | 0.012522 | 78.8422 | 0.0094611 | 79.0597 | 0.014606 | 79.1758 | 0.0088429 | 79.2919 | 0.013197 | 79.408 | 2.9243 | 79.5241 | 0.012403 | 79.6401 | 0.013699 | 79.7562 | 0.011143 | 79.8723 | 0.012672 | 80.0897 | 0.0083207 | 80.2058 | 0.012067 | 80.3219 | 0.011226 | 80.438 | 0.0075793 | 80.5541 | 0.0093272 | 80.6701 | 0.0087294 | 80.791 | 0.0078267 | 80.9071 | 1.9733e-06 | 81.1246 | 0.0076482 | 81.2407 | 0.0002452 | 81.3567
2.9164 | 83.9996 | 0.010552 | 84.1157 | 0.013029 | 84.2318 | 0.015052 | 84.3479 | 0.013213 | 84.464 | 0.012085 | 84.5801 | 0.0088236 | 84.6961 | 0.012871 | 84.8122 | 0.014125 | 85.0297 | 0.01276 | 85.1457 | 0.012733 | 85.2618 | 0.013689 | 85.3779 | 0.0117 | 85.494 | 0.010343 | 85.61 | 0.010932 | 85.7261 | 0.012522 | 85.8502 | 0.0094606 | 86.0677 | 0.014606 | 86.1838 | 0.0088426 | 86.2999 | 0.013197 | 86.416 | 2.9243 | 86.5321 | 0.012403 | 86.6482 | 0.013697 | 86.7642 | 0.011144 | 86.8803 | 0.012671 | 87.0978 | 0.00832 | 87.2139 | 0.012065 | 87.33 | 0.011225 | 87.446 | 0.007579 | 87.5621 | 0.0093256 | 87.6782 | 0.0087278 | 87.7943 | 0.0078267 | 87.9103 | 2.2019e-06 | 88.1278 | 0.0076476 | 88.2439 | 0.00024565 | 88.3599
2.9164 | 90.9996 | 0.010551 | 91.1157 | 0.013028 | 91.2318 | 0.01505 | 91.3479 | 0.013212 | 91.464 | 0.012083 | 91.5801 | 0.008822 | 91.6961 | 0.012869 | 91.8122 | 0.014123 | 92.0297 | 0.01276 | 92.1458 | 0.012732 | 92.2618 | 0.013689 | 92.3779 | 0.011699 | 92.494 | 0.010343 | 92.6101 | 0.010932 | 92.7262 | 0.012522 | 92.8422 | 0.0094603 | 93.0597 | 0.014605 | 93.1758 | 0.0088422 | 93.2919 | 0.013197 | 93.408 | 2.9243 | 93.524 | 0.012402 | 93.6401 | 0.013697 | 93.7562 | 0.011144 | 93.8723 | 0.012671 | 94.0897 | 0.0083198 | 94.2058 | 0.012065 | 94.3219 | 0.011224 | 94.438 | 0.0075787 | 94.5541 | 0.0093254 | 94.6702 | 0.0087276 | 94.7862 | 0.007826 | 94.9023 | 2.0865e-06 | 95.1198 | 0.0076473 | 95.2359 | 0.00024492 | 95.3519
2.9164 | 97.9996 | 0.01055 | 98.1157 | 0.013027 | 98.2318 | 0.015049 | 98.3479 | 0.013211 | 98.464 | 0.012082 | 98.5801 | 0.0088212 | 98.6962 | 0.012869 | 98.8122 | 0.014123 | 99.0297 | 0.01276 | 99.1458 | 0.012733 | 99.2619 | 0.013689 | 99.3779 | 0.011699 | 99.494 | 0.010343 | 99.6101 | 0.010932 | 99.7262 | 0.012522 | 99.8423 | 0.0094601 | 100.0598 | 0.014606 | 100.1758 | 0.0088424 | 100.2919 | 0.013197 | 100.408 | 2.9243 | 100.5241 | 0.012401 | 100.6401 | 0.013696 | 100.7562 | 0.011143 | 100.8723 | 0.012672 | 101.0898 | 0.0083196 | 101.2059 | 0.012064 | 101.322 | 0.011224 | 101.4381 | 0.0075782 | 101.5541 | 0.0093253 | 101.6702 | 0.0087271 | 101.7863 | 0.0078254 | 101.9023 | 1.4279e-06 | 102.1198 | 0.0076461 | 102.2359 | 0.00024513 | 102.352
2.9164 | 104.9996 | 0.01055 | 105.1157 | 0.013027 | 105.2318 | 0.015048 | 105.3479 | 0.01321 | 105.464 | 0.012082 | 105.5801 | 0.0088217 | 105.6961 | 0.012869 | 105.8122 | 0.014122 | 106.0365 | 0.01276 | 106.1526 | 0.012733 | 106.2686 | 0.013689 | 106.3847 | 0.011698 | 106.5008 | 0.010343 | 106.6169 | 0.010933 | 106.7329 | 0.012522 | 106.849 | 0.0094604 | 107.0665 | 0.014605 | 107.1826 | 0.008842 | 107.2986 | 0.013197 | 107.4147 | 2.9243 | 107.5308 | 0.0124 | 107.6469 | 0.013695 | 107.763 | 0.011143 | 107.879 | 0.012672 | 108.0965 | 0.0083187 | 108.2126 | 0.012063 | 108.3287 | 0.011223 | 108.4448 | 0.0075777 | 108.5608 | 0.0093245 | 108.6769 | 0.0087263 | 108.793 | 0.0078245 | 108.909 | 1.618e-06 | 109.1265 | 0.0076458 | 109.2426 | 0.00024489 | 109.3587
2.9164 | 111.9996 | 0.01055 | 112.1157 | 0.013026 | 112.2318 | 0.015048 | 112.3479 | 0.01321 | 112.464 | 0.012082 | 112.5801 | 0.0088213 | 112.6961 | 0.012868 | 112.8122 | 0.014121 | 113.0297 | 0.012759 | 113.1458 | 0.012731 | 113.2619 | 0.013688 | 113.3779 | 0.011697 | 113.494 | 0.010342 | 113.6101 | 0.010932 | 113.7262 | 0.012521 | 113.8422 | 0.0094599 | 114.0597 | 0.014604 | 114.1758 | 0.0088413 | 114.2919 | 0.013196 | 114.408 | 2.9243 | 114.524 | 0.0124 | 114.6401 | 0.013694 | 114.7562 | 0.011142 | 114.8723 | 0.012671 | 115.0898 | 0.0083187 | 115.2058 | 0.012063 | 115.3219 | 0.011223 | 115.438 | 0.007577 | 115.5541 | 0.009324 | 115.6702 | 0.008726 | 115.7862 | 0.0078246 | 115.9023 | 1.1642e-06 | 116.1201 | 0.0076457 | 116.2362 | 0.0002446 | 116.3523
2.9163 | 118.9996 | 0.010549 | 119.1157 | 0.013025 | 119.2318 | 0.015048 | 119.3479 | 0.013209 | 119.464 | 0.012082 | 119.58 | 0.0088209 | 119.6961 | 0.012868 | 119.8122 | 0.014121 | 120.0297 | 0.012759 | 120.1457 | 0.012731 | 120.2618 | 0.013687 | 120.3779 | 0.011696 | 120.494 | 0.010342 | 120.6101 | 0.01093 | 120.7261 | 0.01252 | 120.8422 | 0.0094588 | 121.0597 | 0.014603 | 121.1849 | 0.0088406 | 121.301 | 0.013196 | 121.4171 | 2.9243 | 121.5332 | 0.0124 | 121.6493 | 0.013694 | 121.7654 | 0.01114 | 121.8814 | 0.012669 | 122.0989 | 0.0083184 | 122.215 | 0.012063 | 122.3311 | 0.011222 | 122.4472 | 0.0075766 | 122.5632 | 0.0093236 | 122.6793 | 0.0087259 | 122.7954 | 0.0078244 | 122.9115 | 1.1732e-06 | 123.129 | 0.0076451 | 123.245 | 0.00024468 | 123.3611
2.9164 | 125.9996 | 0.010549 | 126.1157 | 0.013025 | 126.2392 | 0.015048 | 126.3553 | 0.013209 | 126.4714 | 0.012082 | 126.5874 | 0.0088198 | 126.7035 | 0.012868 | 126.8196 | 0.01412 | 127.0371 | 0.012759 | 127.1531 | 0.012731 | 127.2692 | 0.013687 | 127.3853 | 0.011696 | 127.5014 | 0.010342 | 127.6175 | 0.010931 | 127.7335 | 0.01252 | 127.8496 | 0.0094586 | 128.0671 | 0.014603 | 128.1832 | 0.008841 | 128.2993 | 0.013195 | 128.4154 | 2.9243 | 128.5315 | 0.0124 | 128.6475 | 0.013693 | 128.7636 | 0.01114 | 128.8797 | 0.012669 | 129.0972 | 0.008318 | 129.2133 | 0.012063 | 129.3293 | 0.011223 | 129.4454 | 0.0075763 | 129.5615 | 0.0093238 | 129.6775 | 0.0087262 | 129.7936 | 0.0078245 | 129.9097 | 1.369e-06 | 130.1271 | 0.0076455 | 130.2432 | 0.00024464 | 130.3593
2.9164 | 132.9996 | 0.010548 | 133.1157 | 0.013025 | 133.2318 | 0.015047 | 133.3479 | 0.013208 | 133.464 | 0.012081 | 133.58 | 0.0088188 | 133.6961 | 0.012867 | 133.8122 | 0.01412 | 134.0297 | 0.012759 | 134.1457 | 0.012731 | 134.2618 | 0.013687 | 134.3779 | 0.011696 | 134.494 | 0.010341 | 134.61 | 0.01093 | 134.7261 | 0.012519 | 134.8422 | 0.0094584 | 135.0597 | 0.014603 | 135.1757 | 0.0088406 | 135.2918 | 0.013195 | 135.4079 | 2.9243 | 135.524 | 0.012399 | 135.6401 | 0.013693 | 135.7561 | 0.01114 | 135.8722 | 0.012669 | 136.0897 | 0.0083173 | 136.2057 | 0.012063 | 136.3218 | 0.011222 | 136.4379 | 0.0075756 | 136.554 | 0.0093232 | 136.6701 | 0.0087255 | 136.7861 | 0.0078239 | 136.9022 | 1.068e-06 | 137.1197 | 0.007645 | 137.2358 | 0.00024456 | 137.3519
2.9164 | 139.9996 | 0.010548 | 140.1157 | 0.013025 | 140.2318 | 0.015048 | 140.3479 | 0.013208 | 140.4639 | 0.012081 | 140.58 | 0.0088186 | 140.6961 | 0.012868 | 140.8122 | 0.01412 | 141.0297 | 0.012758 | 141.1457 | 0.012731 | 141.2618 | 0.013687 | 141.3864 | 0.011696 | 141.5025 | 0.010341 | 141.6186 | 0.01093 | 141.7347 | 0.012519 | 141.8508 | 0.0094579 | 142.0683 | 0.014602 | 142.1843 | 0.00884 | 142.3004 | 0.013194 | 142.4165 | 2.9243 | 142.5326 | 0.012399 | 142.6486 | 0.013693 | 142.7647 | 0.01114 | 142.8808 | 0.012668 | 143.0983 | 0.0083171 | 143.2143 | 0.012062 | 143.3304 | 0.011222 | 143.4465 | 0.0075755 | 143.5626 | 0.0093228 | 143.6786 | 0.0087257 | 143.7947 | 0.0078236 | 143.9108 | 1.1642e-06 | 144.1282 | 0.0076454 | 144.2443 | 0.0002442 | 144.3604
2.9164 | 146.9996 | 0.010549 | 147.1157 | 0.013025 | 147.2318 | 0.015048 | 147.3479 | 0.013209 | 147.464 | 0.012082 | 147.5801 | 0.00882 | 147.6961 | 0.012868 | 147.8122 | 0.01412 | 148.0297 | 0.012758 | 148.1458 | 0.012731 | 148.2619 | 0.013687 | 148.3779 | 0.011697 | 148.494 | 0.010342 | 148.6101 | 0.01093 | 148.7262 | 0.012519 | 148.8422 | 0.0094581 | 149.0597 | 0.014603 | 149.1758 | 0.0088405 | 149.2919 | 0.013194 | 149.408 | 2.9243 | 149.5241 | 0.012399 | 149.6402 | 0.013694 | 149.7562 | 0.011141 | 149.8723 | 0.012669 | 150.0898 | 0.0083173 | 150.2058 | 0.012063 | 150.3219 | 0.011222 | 150.438 | 0.0075759 | 150.5541 | 0.0093233 | 150.6701 | 0.0087254 | 150.7862 | 0.0078239 | 150.9023 | 1.1393e-06 | 151.1198 | 0.0076452 | 151.2358 | 0.00024448 | 151.3519
2.9163 | 153.9996 | 0.010549 | 154.1157 | 0.013025 | 154.2318 | 0.015047 | 154.3479 | 0.013209 | 154.464 | 0.01208 | 154.5801 | 0.0088201 | 154.6962 | 0.012868 | 154.8122 | 0.01412 | 155.0297 | 0.012758 | 155.1458 | 0.012731 | 155.2618 | 0.013688 | 155.3779 | 0.011697 | 155.494 | 0.010341 | 155.6101 | 0.01093 | 155.7262 | 0.012519 | 155.8423 | 0.009458 | 156.0598 | 0.014602 | 156.1758 | 0.0088399 | 156.2919 | 0.013194 | 156.408 | 2.9243 | 156.5241 | 0.012399 | 156.6402 | 0.013694 | 156.7563 | 0.011141 | 156.8724 | 0.012669 | 157.0898 | 0.0083174 | 157.2059 | 0.012062 | 157.322 | 0.011222 | 157.4381 | 0.0075755 | 157.5542 | 0.0093233 | 157.6702 | 0.0087255 | 157.7863 | 0.0078242 | 157.9023 | 9.6502e-07 | 158.1198 | 0.0076454 | 158.2359 | 0.00024468 | 158.352
2.9163 | 160.9996 | 0.010549 | 161.1157 | 0.013025 | 161.2318 | 0.015049 | 161.3479 | 0.013209 | 161.4639 | 0.012081 | 161.5891 | 0.0088206 | 161.7052 | 0.012868 | 161.8213 | 0.014121 | 162.0388 | 0.012759 | 162.1549 | 0.012732 | 162.2709 | 0.013688 | 162.387 | 0.011697 | 162.5031 | 0.010342 | 162.6192 | 0.01093 | 162.7352 | 0.012519 | 162.8513 | 0.0094578 | 163.0688 | 0.014602 | 163.1849 | 0.0088397 | 163.301 | 0.013194 | 163.4171 | 2.9243 | 163.5331 | 0.012399 | 163.6492 | 0.013695 | 163.7653 | 0.01114 | 163.8814 | 0.012669 | 164.0988 | 0.0083179 | 164.2149 | 0.012062 | 164.331 | 0.011222 | 164.4471 | 0.0075758 | 164.5632 | 0.0093236 | 164.6793 | 0.0087256 | 164.7953 | 0.0078245 | 164.9114 | 6.493e-07 | 165.1289 | 0.0076451 | 165.245 | 0.00024435 | 165.361
2.9164 | 167.9996 | 0.010549 | 168.1157 | 0.013025 | 168.2318 | 0.015048 | 168.3479 | 0.013209 | 168.464 | 0.012083 | 168.5801 | 0.0088209 | 168.6962 | 0.012868 | 168.8122 | 0.014121 | 169.0297 | 0.012759 | 169.1458 | 0.012732 | 169.2619 | 0.013688 | 169.378 | 0.011698 | 169.494 | 0.010341 | 169.6101 | 0.01093 | 169.7262 | 0.012519 | 169.8423 | 0.0094578 | 170.0598 | 0.014602 | 170.1759 | 0.0088399 | 170.2919 | 0.013194 | 170.408 | 2.9243 | 170.5241 | 0.012399 | 170.6402 | 0.013694 | 170.7562 | 0.01114 | 170.8723 | 0.012668 | 171.0898 | 0.0083181 | 171.2059 | 0.012063 | 171.3219 | 0.011223 | 171.438 | 0.0075756 | 171.5541 | 0.0093236 | 171.6703 | 0.0087257 | 171.7864 | 0.0078246 | 171.9025 | 1.3305e-06 | 172.12 | 0.0076455 | 172.236 | 0.0002444 | 172.3521
2.9164 | 174.9996 | 0.01055 | 175.1157 | 0.013026 | 175.2318 | 0.015049 | 175.3479 | 0.01321 | 175.464 | 0.012083 | 175.58 | 0.0088205 | 175.6961 | 0.012868 | 175.8122 | 0.014121 | 176.0297 | 0.01276 | 176.1457 | 0.012733 | 176.2618 | 0.013689 | 176.3779 | 0.011698 | 176.494 | 0.010341 | 176.61 | 0.010931 | 176.7262 | 0.012519 | 176.8423 | 0.0094582 | 177.0598 | 0.014603 | 177.1759 | 0.0088405 | 177.292 | 0.013195 | 177.4081 | 2.9243 | 177.5242 | 0.0124 | 177.6402 | 0.013696 | 177.7563 | 0.01114 | 177.8724 | 0.012669 | 178.0899 | 0.0083185 | 178.206 | 0.012063 | 178.3221 | 0.011223 | 178.4381 | 0.0075758 | 178.5542 | 0.0093236 | 178.6703 | 0.0087262 | 178.7864 | 0.0078249 | 178.9024 | 1.0499e-06 | 179.1199 | 0.0076457 | 179.236 | 0.00024453 | 179.3521
2.9163 | 181.9996 | 0.01055 | 182.1157 | 0.013027 | 182.2318 | 0.015048 | 182.3479 | 0.013209 | 182.464 | 0.012083 | 182.5801 | 0.0088219 | 182.6961 | 0.012868 | 182.8122 | 0.014122 | 183.0297 | 0.012761 | 183.1458 | 0.012735 | 183.2618 | 0.01369 | 183.3779 | 0.011699 | 183.494 | 0.010342 | 183.6101 | 0.010931 | 183.7262 | 0.01252 | 183.8422 | 0.0094591 | 184.0597 | 0.014604 | 184.1758 | 0.0088409 | 184.2919 | 0.013196 | 184.408 | 2.9243 | 184.5241 | 0.012401 | 184.6401 | 0.013697 | 184.7562 | 0.011142 | 184.8723 | 0.012671 | 185.0898 | 0.0083188 | 185.2058 | 0.012064 | 185.3219 | 0.011223 | 185.438 | 0.0075762 | 185.5541 | 0.0093243 | 185.6702 | 0.0087263 | 185.7862 | 0.0078249 | 185.9023 | 1.3351e-06 | 186.1198 | 0.0076462 | 186.2359 | 0.00024415 | 186.3519
2.9164 | 188.9996 | 0.010551 | 189.1157 | 0.013028 | 189.2318 | 0.015049 | 189.3479 | 0.01321 | 189.464 | 0.012083 | 189.58 | 0.0088218 | 189.6961 | 0.012869 | 189.8122 | 0.014122 | 190.0296 | 0.012761 | 190.1457 | 0.012736 | 190.2618 | 0.013692 | 190.3779 | 0.0117 | 190.494 | 0.010343 | 190.6101 | 0.010932 | 190.7261 | 0.012521 | 190.8422 | 0.0094589 | 191.0597 | 0.014603 | 191.1758 | 0.0088411 | 191.2919 | 0.013196 | 191.408 | 2.9243 | 191.5241 | 0.012401 | 191.6401 | 0.013698 | 191.7562 | 0.011143 | 191.8724 | 0.012671 | 192.0899 | 0.0083187 | 192.206 | 0.012064 | 192.3221 | 0.011223 | 192.4382 | 0.0075768 | 192.5543 | 0.0093247 | 192.6703 | 0.008726 | 192.7864 | 0.0078244 | 192.9025 | 6.0177e-07 | 193.12 | 0.0076469 | 193.2361 | 0.00024437 | 193.3521
2.9164 | 195.9996 | 0.010551 | 196.1157 | 0.013028 | 196.2318 | 0.01505 | 196.3479 | 0.013211 | 196.464 | 0.012084 | 196.58 | 0.0088225 | 196.6961 | 0.01287 | 196.8122 | 0.014122 | 197.0297 | 0.012761 | 197.1458 | 0.012736 | 197.2618 | 0.013691 | 197.3779 | 0.0117 | 197.494 | 0.010344 | 197.6101 | 0.010932 | 197.7262 | 0.012521 | 197.8423 | 0.0094597 | 198.0598 | 0.014603 | 198.1759 | 0.0088416 | 198.292 | 0.013196 | 198.408 | 2.9243 | 198.5241 | 0.012401 | 198.6402 | 0.013697 | 198.7563 | 0.011143 | 198.8724 | 0.012672 | 199.0898 | 0.0083185 | 199.2059 | 0.012065 | 199.322 | 0.011223 | 199.4381 | 0.0075772 | 199.5541 | 0.0093253 | 199.6702 | 0.0087269 | 199.7863 | 0.0078253 | 199.9024 | 9.9558e-07 | 200.1199 | 0.0076474 | 200.2359 | 0.00024465 | 200.352
2.9164 | 202.9996 | 0.010552 | 203.1157 | 0.01303 | 203.2318 | 0.015051 | 203.3479 | 0.013211 | 203.464 | 0.012085 | 203.58 | 0.0088238 | 203.6961 | 0.012871 | 203.8122 | 0.014123 | 204.0297 | 0.012761 | 204.1458 | 0.012736 | 204.2619 | 0.013692 | 204.3779 | 0.011701 | 204.494 | 0.010344 | 204.6101 | 0.010934 | 204.7261 | 0.012522 | 204.8422 | 0.0094602 | 205.0597 | 0.014604 | 205.1758 | 0.0088421 | 205.2919 | 0.013197 | 205.4079 | 2.9243 | 205.524 | 0.012402 | 205.6401 | 0.013698 | 205.7562 | 0.011144 | 205.8723 | 0.012673 | 206.0897 | 0.0083189 | 206.2058 | 0.012065 | 206.3219 | 0.011224 | 206.438 | 0.0075775 | 206.5541 | 0.009326 | 206.6702 | 0.0087271 | 206.7862 | 0.0078258 | 206.9023 | 1.1257e-06 | 207.1198 | 0.0076475 | 207.2359 | 0.00024434 | 207.352
2.9164 | 209.9996 | 0.010553 | 210.1157 | 0.01303 | 210.2318 | 0.015052 | 210.3479 | 0.013213 | 210.464 | 0.012086 | 210.58 | 0.0088244 | 210.6961 | 0.012872 | 210.8122 | 0.014124 | 211.0296 | 0.012761 | 211.1457 | 0.012737 | 211.2618 | 0.013692 | 211.3779 | 0.011701 | 211.494 | 0.010344 | 211.6101 | 0.010934 | 211.7261 | 0.012522 | 211.8422 | 0.0094605 | 212.0598 | 0.014605 | 212.1759 | 0.0088422 | 212.292 | 0.013197 | 212.4081 | 2.9243 | 212.5241 | 0.012403 | 212.6402 | 0.013699 | 212.7563 | 0.011144 | 212.8724 | 0.012673 | 213.0899 | 0.0083196 | 213.206 | 0.012066 | 213.322 | 0.011225 | 213.4381 | 0.0075779 | 213.5542 | 0.0093259 | 213.6703 | 0.0087276 | 213.7863 | 0.0078259 | 213.9024 | 1.4709e-06 | 214.1199 | 0.0076477 | 214.236 | 0.00024487 | 214.352
2.9164 | 216.9996 | 0.010553 | 217.116 | 0.01303 | 217.2321 | 0.015052 | 217.3482 | 0.013213 | 217.4643 | 0.012087 | 217.5804 | 0.0088238 | 217.6964 | 0.012872 | 217.8125 | 0.014124 | 218.03 | 0.012761 | 218.1461 | 0.012737 | 218.2621 | 0.013692 | 218.3782 | 0.011701 | 218.4943 | 0.010344 | 218.6104 | 0.010933 | 218.7265 | 0.012523 | 218.8426 | 0.0094604 | 219.0601 | 0.014605 | 219.1761 | 0.0088423 | 219.2922 | 0.013197 | 219.4083 | 2.9243 | 219.5244 | 0.012402 | 219.6405 | 0.013699 | 219.7566 | 0.011143 | 219.8726 | 0.012672 | 220.0901 | 0.0083193 | 220.2062 | 0.012066 | 220.3223 | 0.011225 | 220.4383 | 0.0075775 | 220.5544 | 0.0093257 | 220.6705 | 0.0087279 | 220.7866 | 0.0078258 | 220.9027 | 1.3475e-06 | 221.1202 | 0.0076474 | 221.2362 | 0.00024452 | 221.3523
2.9164 | 223.9996 | 0.010553 | 224.1157 | 0.013031 | 224.2318 | 0.015053 | 224.3479 | 0.013213 | 224.464 | 0.012087 | 224.5801 | 0.008824 | 224.6961 | 0.012872 | 224.8122 | 0.014123 | 225.0297 | 0.01276 | 225.1457 | 0.012737 | 225.2618 | 0.013692 | 225.3779 | 0.0117 | 225.494 | 0.010344 | 225.6101 | 0.010932 | 225.7261 | 0.012522 | 225.8422 | 0.0094599 | 226.0597 | 0.014604 | 226.1758 | 0.0088419 | 226.2919 | 0.013197 | 226.4079 | 2.9243 | 226.524 | 0.012402 | 226.6401 | 0.013698 | 226.7562 | 0.011142 | 226.8723 | 0.012671 | 227.0897 | 0.0083192 | 227.2058 | 0.012066 | 227.3219 | 0.011225 | 227.438 | 0.0075772 | 227.5541 | 0.0093254 | 227.6701 | 0.0087279 | 227.7862 | 0.0078263 | 227.9023 | 9.6615e-07 | 228.1198 | 0.0076469 | 228.2358 | 0.00024497 | 228.3519
2.9163 | 230.9996 | 0.010552 | 231.1157 | 0.01303 | 231.2318 | 0.015052 | 231.3479 | 0.013212 | 231.464 | 0.012086 | 231.58 | 0.0088226 | 231.6961 | 0.012872 | 231.8122 | 0.014123 | 232.0297 | 0.012761 | 232.1457 | 0.012736 | 232.2619 | 0.013692 | 232.378 | 0.0117 | 232.4941 | 0.010343 | 232.6102 | 0.010932 | 232.7262 | 0.012522 | 232.8423 | 0.0094599 | 233.0598 | 0.014604 | 233.1759 | 0.0088412 | 233.292 | 0.013196 | 233.408 | 2.9243 | 233.5241 | 0.012401 | 233.6402 | 0.013698 | 233.7563 | 0.011141 | 233.8723 | 0.01267 | 234.0899 | 0.0083188 | 234.2059 | 0.012065 | 234.322 | 0.011224 | 234.4381 | 0.0075767 | 234.5542 | 0.0093249 | 234.6703 | 0.0087268 | 234.7863 | 0.0078253 | 234.9024 | 8.9939e-07 | 235.1199 | 0.0076462 | 235.2359 | 0.00024449 | 235.352
2.9164 | 237.9996 | 0.010552 | 238.1157 | 0.01303 | 238.2318 | 0.015052 | 238.3479 | 0.013212 | 238.464 | 0.012085 | 238.5801 | 0.0088214 | 238.6961 | 0.012871 | 238.8122 | 0.014124 | 239.0297 | 0.012761 | 239.1458 | 0.012736 | 239.2619 | 0.013691 | 239.3779 | 0.0117 | 239.494 | 0.010343 | 239.6101 | 0.010932 | 239.7262 | 0.012522 | 239.8423 | 0.0094592 | 240.0598 | 0.014604 | 240.1759 | 0.0088414 | 240.2919 | 0.013197 | 240.408 | 2.9243 | 240.5241 | 0.012401 | 240.6401 | 0.013698 | 240.7562 | 0.011141 | 240.8723 | 0.01267 | 241.0898 | 0.008319 | 241.2059 | 0.012065 | 241.3219 | 0.011224 | 241.438 | 0.0075766 | 241.5541 | 0.0093251 | 241.6702 | 0.0087269 | 241.7863 | 0.0078242 | 241.9023 | 1.5625e-06 | 242.1198 | 0.0076467 | 242.2359 | 0.0002445 | 242.3521
2.9164 | 244.9996 | 0.010552 | 245.1157 | 0.013029 | 245.2318 | 0.015052 | 245.3479 | 0.013212 | 245.464 | 0.012086 | 245.58 | 0.0088224 | 245.6961 | 0.012871 | 245.8122 | 0.014124 | 246.0297 | 0.012761 | 246.1457 | 0.012737 | 246.2618 | 0.013692 | 246.3779 | 0.011701 | 246.494 | 0.010343 | 246.61 | 0.010932 | 246.7261 | 0.012522 | 246.8422 | 0.0094598 | 247.0597 | 0.014604 | 247.1758 | 0.0088416 | 247.2919 | 0.013196 | 247.4081 | 2.9243 | 247.5242 | 0.012402 | 247.6403 | 0.013698 | 247.7563 | 0.011141 | 247.8724 | 0.01267 | 248.0899 | 0.0083196 | 248.2059 | 0.012065 | 248.322 | 0.011224 | 248.4381 | 0.0075765 | 248.5542 | 0.0093252 | 248.6703 | 0.0087271 | 248.7863 | 0.0078249 | 248.9024 | 1.1144e-06 | 249.1199 | 0.0076467 | 249.236 | 0.00024426 | 249.3521
2.9164 | 251.9996 | 0.010551 | 252.1157 | 0.013029 | 252.2318 | 0.015052 | 252.3479 | 0.013211 | 252.4641 | 0.012085 | 252.5802 | 0.0088224 | 252.6963 | 0.01287 | 252.8123 | 0.014124 | 253.0298 | 0.012761 | 253.1459 | 0.012736 | 253.2619 | 0.013692 | 253.378 | 0.0117 | 253.4941 | 0.010344 | 253.6102 | 0.010932 | 253.7263 | 0.012522 | 253.8424 | 0.0094592 | 254.0598 | 0.014604 | 254.1759 | 0.0088413 | 254.292 | 0.013197 | 254.4081 | 2.9243 | 254.5242 | 0.012402 | 254.6402 | 0.013698 | 254.7563 | 0.011141 | 254.8724 | 0.01267 | 255.0899 | 0.0083194 | 255.206 | 0.012065 | 255.322 | 0.011224 | 255.4381 | 0.007577 | 255.5542 | 0.0093251 | 255.6703 | 0.0087271 | 255.7864 | 0.0078255 | 255.9024 | 1.0827e-06 | 256.1199 | 0.0076467 | 256.236 | 0.00024481 | 256.3521
2.9164 | 258.9996 | 0.01055 | 259.1157 | 0.013028 | 259.2318 | 0.015052 | 259.3479 | 0.013211 | 259.464 | 0.012085 | 259.5801 | 0.0088213 | 259.6961 | 0.01287 | 259.8122 | 0.014122 | 260.0297 | 0.01276 | 260.1458 | 0.012733 | 260.2618 | 0.013691 | 260.3779 | 0.011699 | 260.494 | 0.010343 | 260.6101 | 0.010931 | 260.7261 | 0.012521 | 260.8422 | 0.0094588 | 261.0597 | 0.014603 | 261.1758 | 0.0088409 | 261.2919 | 0.013196 | 261.408 | 2.9243 | 261.5241 | 0.012401 | 261.6402 | 0.013696 | 261.7562 | 0.011141 | 261.8723 | 0.012669 | 262.0898 | 0.008319 | 262.2059 | 0.012064 | 262.3219 | 0.011223 | 262.438 | 0.0075764 | 262.5542 | 0.0093243 | 262.6703 | 0.0087262 | 262.7864 | 0.0078251 | 262.9025 | 9.39e-07 | 263.12 | 0.0076463 | 263.236 | 0.0002444 | 263.3521
2.9164 | 265.9996 | 0.010551 | 266.1157 | 0.013028 | 266.2318 | 0.015052 | 266.3478 | 0.013211 | 266.4639 | 0.012085 | 266.58 | 0.0088215 | 266.6961 | 0.01287 | 266.8122 | 0.014122 | 267.0297 | 0.01276 | 267.1457 | 0.012734 | 267.2618 | 0.01369 | 267.3779 | 0.011699 | 267.494 | 0.010343 | 267.6101 | 0.010931 | 267.7263 | 0.012521 | 267.8424 | 0.0094584 | 268.0599 | 0.014603 | 268.1759 | 0.0088413 | 268.292 | 0.013196 | 268.4081 | 2.9243 | 268.5242 | 0.012401 | 268.6403 | 0.013696 | 268.7563 | 0.011142 | 268.8724 | 0.01267 | 269.0899 | 0.0083188 | 269.206 | 0.012064 | 269.3221 | 0.011223 | 269.4381 | 0.0075763 | 269.5542 | 0.0093241 | 269.6703 | 0.0087255 | 269.7864 | 0.0078249 | 269.9025 | 1.1472e-06 | 270.12 | 0.007646 | 270.236 | 0.00024428 | 270.3521
2.9164 | 272.9996 | 0.01055 | 273.1157 | 0.013028 | 273.2318 | 0.015052 | 273.3479 | 0.013212 | 273.464 | 0.012084 | 273.5801 | 0.0088215 | 273.6962 | 0.01287 | 273.8122 | 0.014122 | 274.0297 | 0.012759 | 274.1458 | 0.012733 | 274.2619 | 0.013689 | 274.3779 | 0.011698 | 274.494 | 0.010342 | 274.6101 | 0.010931 | 274.7262 | 0.012522 | 274.8423 | 0.0094586 | 275.0598 | 0.014603 | 275.1758 | 0.0088415 | 275.2919 | 0.013196 | 275.408 | 2.9243 | 275.5241 | 0.012401 | 275.6401 | 0.013696 | 275.7562 | 0.011141 | 275.8723 | 0.01267 | 276.0898 | 0.0083187 | 276.2059 | 0.012064 | 276.322 | 0.011223 | 276.4381 | 0.0075765 | 276.5542 | 0.0093242 | 276.6703 | 0.008726 | 276.7863 | 0.0078252 | 276.9024 | 7.2172e-07 | 277.1199 | 0.0076461 | 277.236 | 0.00024439 | 277.352
2.9164 | 279.9996 | 0.010551 | 280.1157 | 0.013028 | 280.2318 | 0.015052 | 280.3479 | 0.013211 | 280.464 | 0.012083 | 280.5801 | 0.0088223 | 280.6962 | 0.012871 | 280.8122 | 0.014123 | 281.0297 | 0.01276 | 281.1458 | 0.012733 | 281.2619 | 0.013689 | 281.378 | 0.011698 | 281.494 | 0.010343 | 281.6101 | 0.010932 | 281.7262 | 0.012522 | 281.8423 | 0.0094596 | 282.0598 | 0.014605 | 282.1759 | 0.0088421 | 282.292 | 0.013197 | 282.408 | 2.9243 | 282.5241 | 0.012401 | 282.6402 | 0.013696 | 282.7564 | 0.011143 | 282.8725 | 0.012672 | 283.09 | 0.0083186 | 283.2061 | 0.012064 | 283.3222 | 0.011224 | 283.4382 | 0.0075772 | 283.5543 | 0.009325 | 283.6704 | 0.0087265 | 283.7865 | 0.0078252 | 283.9025 | 9.6163e-07 | 284.12 | 0.0076473 | 284.2361 | 0.00024449 | 284.3522
2.9164 | 286.9996 | 0.010551 | 287.1157 | 0.013028 | 287.2318 | 0.015052 | 287.3479 | 0.013211 | 287.464 | 0.012083 | 287.58 | 0.0088227 | 287.6961 | 0.012871 | 287.8123 | 0.014124 | 288.0298 | 0.012759 | 288.1459 | 0.012734 | 288.2619 | 0.013689 | 288.378 | 0.0117 | 288.4941 | 0.010345 | 288.6102 | 0.010933 | 288.7262 | 0.012523 | 288.8423 | 0.0094606 | 289.0598 | 0.014605 | 289.1759 | 0.0088426 | 289.292 | 0.013198 | 289.4081 | 2.9244 | 289.5241 | 0.012402 | 289.6402 | 0.013697 | 289.7563 | 0.011144 | 289.8724 | 0.012674 | 290.0898 | 0.0083185 | 290.2059 | 0.012064 | 290.322 | 0.011224 | 290.4381 | 0.007577 | 290.5541 | 0.0093251 | 290.6702 | 0.0087273 | 290.7863 | 0.0078257 | 290.9024 | 1.1653e-06 | 291.1199 | 0.0076472 | 291.236 | 0.00024446 | 291.352
2.9164 | 293.9996 | 0.010551 | 294.1157 | 0.013029 | 294.2318 | 0.015052 | 294.3479 | 0.013212 | 294.464 | 0.012084 | 294.5801 | 0.0088227 | 294.6961 | 0.012872 | 294.8122 | 0.014124 | 295.0297 | 0.012759 | 295.1457 | 0.012734 | 295.2618 | 0.01369 | 295.3779 | 0.0117 | 295.494 | 0.010345 | 295.6101 | 0.010933 | 295.7262 | 0.012523 | 295.8423 | 0.0094607 | 296.0598 | 0.014605 | 296.1759 | 0.0088426 | 296.2919 | 0.013198 | 296.408 | 2.9243 | 296.5241 | 0.012402 | 296.6402 | 0.013698 | 296.7562 | 0.011144 | 296.8723 | 0.012673 | 297.0898 | 0.0083183 | 297.2058 | 0.012065 | 297.3219 | 0.011224 | 297.438 | 0.0075771 | 297.5541 | 0.0093253 | 297.6702 | 0.0087268 | 297.7862 | 0.0078254 | 297.9024 | 8.8015e-07 | 298.1199 | 0.0076471 | 298.236 | 0.00024465 | 298.3521
2.9164 | 300.9996 | 0.010553 | 301.1157 | 0.01303 | 301.2318 | 0.015053 | 301.3478 | 0.013213 | 301.4639 | 0.012085 | 301.58 | 0.0088228 | 301.6961 | 0.012872 | 301.8121 | 0.014124 | 302.0296 | 0.012759 | 302.1457 | 0.012735 | 302.2618 | 0.01369 | 302.3778 | 0.011699 | 302.4939 | 0.010344 | 302.61 | 0.010933 | 302.7261 | 0.012523 | 302.8422 | 0.0094606 | 303.0597 | 0.014605 | 303.1758 | 0.0088423 | 303.2919 | 0.013198 | 303.408 | 2.9244 | 303.5241 | 0.012401 | 303.6401 | 0.013697 | 303.7562 | 0.011143 | 303.8723 | 0.012672 | 304.0898 | 0.0083183 | 304.2059 | 0.012064 | 304.3219 | 0.011223 | 304.438 | 0.0075767 | 304.5541 | 0.0093247 | 304.6702 | 0.0087266 | 304.7863 | 0.007825 | 304.9024 | 1.128e-06 | 305.1199 | 0.0076464 | 305.2359 | 0.00024442 | 305.352
2.9164 | 307.9996 | 0.010552 | 308.1157 | 0.01303 | 308.2318 | 0.015053 | 308.3479 | 0.013213 | 308.464 | 0.012085 | 308.58 | 0.0088221 | 308.6961 | 0.012871 | 308.8122 | 0.014123 | 309.0297 | 0.012759 | 309.1457 | 0.012734 | 309.2618 | 0.01369 | 309.3779 | 0.011699 | 309.4939 | 0.010344 | 309.61 | 0.010932 | 309.7261 | 0.012523 | 309.8422 | 0.0094602 | 310.0597 | 0.014604 | 310.1758 | 0.0088416 | 310.2918 | 0.013197 | 310.4079 | 2.9244 | 310.524 | 0.012401 | 310.6401 | 0.013696 | 310.7562 | 0.011142 | 310.8722 | 0.012671 | 311.0897 | 0.0083175 | 311.2058 | 0.012064 | 311.3219 | 0.011223 | 311.438 | 0.0075762 | 311.5541 | 0.0093241 | 311.6701 | 0.008726 | 311.7862 | 0.0078248 | 311.9023 | 5.5424e-07 | 312.1198 | 0.0076457 | 312.2359 | 0.00024442 | 312.352
2.9164 | 314.9996 | 0.01055 | 315.1157 | 0.013027 | 315.2318 | 0.015052 | 315.3479 | 0.013211 | 315.464 | 0.012084 | 315.5801 | 0.0088191 | 315.6962 | 0.01287 | 315.8122 | 0.014121 | 316.0297 | 0.012757 | 316.1458 | 0.012733 | 316.2619 | 0.013689 | 316.3779 | 0.011697 | 316.494 | 0.010343 | 316.6101 | 0.010931 | 316.7262 | 0.012522 | 316.8423 | 0.0094589 | 317.0598 | 0.014603 | 317.1759 | 0.0088408 | 317.2919 | 0.013195 | 317.408 | 2.9244 | 317.5241 | 0.012399 | 317.6402 | 0.013693 | 317.7563 | 0.011141 | 317.8723 | 0.012669 | 318.0899 | 0.0083171 | 318.206 | 0.012062 | 318.3221 | 0.011221 | 318.4382 | 0.0075749 | 318.5543 | 0.0093223 | 318.6704 | 0.0087241 | 318.7864 | 0.0078232 | 318.9025 | 5.3274e-07 | 319.12 | 0.0076445 | 319.2361 | 0.00024436 | 319.3522
2.9164 | 321.9996 | 0.010549 | 322.1157 | 0.013027 | 322.2318 | 0.015051 | 322.3479 | 0.01321 | 322.464 | 0.012083 | 322.58 | 0.0088188 | 322.6961 | 0.012869 | 322.8122 | 0.01412 | 323.0297 | 0.012756 | 323.1458 | 0.012732 | 323.2619 | 0.013688 | 323.378 | 0.011696 | 323.4941 | 0.010342 | 323.6102 | 0.01093 | 323.7263 | 0.01252 | 323.8424 | 0.0094578 | 324.0599 | 0.014602 | 324.176 | 0.0088409 | 324.2921 | 0.013195 | 324.4081 | 2.9243 | 324.5242 | 0.012398 | 324.6403 | 0.013692 | 324.7564 | 0.01114 | 324.8725 | 0.012668 | 325.0899 | 0.0083164 | 325.206 | 0.012062 | 325.3221 | 0.01122 | 325.4382 | 0.0075743 | 325.5543 | 0.0093224 | 325.6704 | 0.0087245 | 325.7864 | 0.0078232 | 325.9025 | 9.4805e-07 | 326.12 | 0.0076449 | 326.236 | 0.00024412 | 326.3521
2.9164 | 328.9996 | 0.010548 | 329.1157 | 0.013027 | 329.2318 | 0.015051 | 329.3479 | 0.01321 | 329.464 | 0.012082 | 329.5801 | 0.0088189 | 329.6961 | 0.012868 | 329.8122 | 0.01412 | 330.0297 | 0.012756 | 330.1458 | 0.012733 | 330.2618 | 0.013688 | 330.3779 | 0.011696 | 330.494 | 0.010342 | 330.6101 | 0.01093 | 330.7262 | 0.01252 | 330.8423 | 0.0094579 | 331.0598 | 0.014602 | 331.1758 | 0.0088403 | 331.2919 | 0.013195 | 331.408 | 2.9243 | 331.5241 | 0.012398 | 331.6402 | 0.013692 | 331.7562 | 0.011139 | 331.8723 | 0.012668 | 332.0898 | 0.008316 | 332.2059 | 0.012062 | 332.3219 | 0.011221 | 332.438 | 0.0075749 | 332.5541 | 0.0093227 | 332.6702 | 0.0087249 | 332.7862 | 0.0078235 | 332.9023 | 8.8355e-07 | 333.1198 | 0.0076446 | 333.236 | 0.00024407 | 333.3521
2.9164 | 335.9996 | 0.010548 | 336.1157 | 0.013026 | 336.2318 | 0.01505 | 336.3479 | 0.01321 | 336.464 | 0.012081 | 336.58 | 0.0088188 | 336.6961 | 0.012868 | 336.8122 | 0.01412 | 337.0297 | 0.012756 | 337.1457 | 0.012732 | 337.2618 | 0.013687 | 337.3779 | 0.011696 | 337.494 | 0.010342 | 337.61 | 0.010929 | 337.7261 | 0.01252 | 337.8422 | 0.0094575 | 338.0597 | 0.014601 | 338.1758 | 0.0088397 | 338.2919 | 0.013194 | 338.4081 | 2.9243 | 338.5242 | 0.012398 | 338.6402 | 0.013692 | 338.7563 | 0.011139 | 338.8724 | 0.012668 | 339.0899 | 0.008316 | 339.2059 | 0.012062 | 339.322 | 0.011221 | 339.4381 | 0.0075743 | 339.5542 | 0.0093225 | 339.6702 | 0.0087241 | 339.7863 | 0.0078231 | 339.9024 | 6.6627e-07 | 340.1199 | 0.0076446 | 340.2359 | 0.00024395 | 340.352
2.9164 | 342.9996 | 0.010549 | 343.1157 | 0.013027 | 343.2318 | 0.015049 | 343.348 | 0.01321 | 343.4641 | 0.012081 | 343.5802 | 0.00882 | 343.6963 | 0.012869 | 343.8123 | 0.01412 | 344.0298 | 0.012756 | 344.1458 | 0.012731 | 344.2619 | 0.013686 | 344.378 | 0.011695 | 344.4941 | 0.010342 | 344.6102 | 0.01093 | 344.7262 | 0.01252 | 344.8423 | 0.0094578 | 345.0599 | 0.014601 | 345.1759 | 0.0088395 | 345.292 | 0.013194 | 345.4081 | 2.9243 | 345.5242 | 0.012398 | 345.6403 | 0.013692 | 345.7563 | 0.01114 | 345.8724 | 0.012668 | 346.0899 | 0.0083159 | 346.206 | 0.012062 | 346.322 | 0.011221 | 346.4381 | 0.007574 | 346.5542 | 0.0093229 | 346.6703 | 0.0087247 | 346.7863 | 0.0078234 | 346.9024 | 8.1678e-07 | 347.1199 | 0.0076448 | 347.236 | 0.00024403 | 347.3521