## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9164 | 0 | 0.010571 | 0.11612 | 0.01301 | 0.23222 | 0.015059 | 0.34829 | 0.013196 | 0.46437 | 0.012102 | 0.58044 | 0.008842 | 0.69652 | 0.012887 | 0.81258 | 0.014058 | 1.03 | 0.012709 | 1.1461 | 0.012666 | 1.2622 | 0.013623 | 1.3783 | 0.011703 | 1.4944 | 0.010353 | 1.6104 | 0.010937 | 1.7265 | 0.012529 | 1.8426 | 0.0094653 | 2.0601 | 0.014611 | 2.1761 | 0.008847 | 2.2922 | 0.013204 | 2.4083 | 2.9243 | 2.5244 | 0.01243 | 2.6404 | 0.013724 | 2.7565 | 0.011168 | 2.8726 | 0.012697 | 3.09 | 0.0083609 | 3.2061 | 0.012112 | 3.3222 | 0.011251 | 3.4383 | 0.0075868 | 3.5543 | 0.0093426 | 3.6704 | 0.008752 | 3.7865 | 0.0078354 | 3.9026 | 3.3618e-05 | 4.1201 | 0.0076706 | 4.2361 | 0.00023736 | 4.3522
2.9203 | 6.9997 | 0.010585 | 7.1159 | 0.013027 | 7.2319 | 0.01508 | 7.348 | 0.013214 | 7.4641 | 0.012118 | 7.5802 | 0.008853 | 7.6962 | 0.012905 | 7.8123 | 0.014076 | 8.0298 | 0.012726 | 8.1459 | 0.012683 | 8.2619 | 0.01364 | 8.378 | 0.011717 | 8.4941 | 0.010365 | 8.6102 | 0.010951 | 8.7262 | 0.012545 | 8.8423 | 0.0094769 | 9.0598 | 0.01463 | 9.1759 | 0.0088576 | 9.2919 | 0.013221 | 9.408 | 2.9283 | 9.5241 | 0.012425 | 9.6402 | 0.013717 | 9.7562 | 0.011163 | 9.8723 | 0.012693 | 10.0898 | 0.0083585 | 10.2059 | 0.012108 | 10.322 | 0.011247 | 10.4381 | 0.0075847 | 10.5542 | 0.0093382 | 10.6703 | 0.0087488 | 10.7863 | 0.0078339 | 10.9024 | 3.3017e-05 | 11.1199 | 0.0076674 | 11.236 | 0.00023646 | 11.352
2.9203 | 13.9997 | 0.010585 | 14.1158 | 0.013026 | 14.2319 | 0.015081 | 14.348 | 0.013214 | 14.4641 | 0.012118 | 14.5802 | 0.0088534 | 14.6962 | 0.012905 | 14.8123 | 0.014077 | 15.0298 | 0.012725 | 15.1459 | 0.012681 | 15.262 | 0.013639 | 15.3781 | 0.011717 | 15.4941 | 0.010365 | 15.6102 | 0.01095 | 15.7263 | 0.012544 | 15.8424 | 0.0094763 | 16.0599 | 0.014629 | 16.1759 | 0.0088573 | 16.292 | 0.01322 | 16.4081 | 2.9282 | 16.5242 | 0.012425 | 16.6402 | 0.013717 | 16.7563 | 0.011162 | 16.8724 | 0.012693 | 17.0899 | 0.008358 | 17.2059 | 0.012109 | 17.322 | 0.011247 | 17.4381 | 0.0075847 | 17.5542 | 0.0093383 | 17.6703 | 0.0087484 | 17.7863 | 0.0078329 | 17.9024 | 3.2823e-05 | 18.1199 | 0.0076677 | 18.2359 | 0.00023699 | 18.352
2.9202 | 20.9998 | 0.010585 | 21.1159 | 0.013026 | 21.2319 | 0.015081 | 21.348 | 0.013214 | 21.4641 | 0.01212 | 21.5802 | 0.0088543 | 21.6963 | 0.012904 | 21.8123 | 0.014076 | 22.0298 | 0.012725 | 22.1459 | 0.012681 | 22.262 | 0.013639 | 22.378 | 0.011718 | 22.4941 | 0.010364 | 22.6102 | 0.01095 | 22.7263 | 0.012545 | 22.8424 | 0.0094767 | 23.0599 | 0.014629 | 23.1759 | 0.0088578 | 23.292 | 0.013221 | 23.4081 | 2.9282 | 23.5242 | 0.012425 | 23.6402 | 0.013717 | 23.7563 | 0.011164 | 23.8724 | 0.012695 | 24.0898 | 0.0083574 | 24.2059 | 0.012109 | 24.322 | 0.011247 | 24.4381 | 0.0075849 | 24.5541 | 0.0093385 | 24.6702 | 0.0087486 | 24.7863 | 0.0078329 | 24.9024 | 3.2557e-05 | 25.1199 | 0.0076681 | 25.236 | 0.00023701 | 25.3522
2.9202 | 27.9998 | 0.010586 | 28.1159 | 0.013027 | 28.2319 | 0.01508 | 28.348 | 0.013214 | 28.4641 | 0.01212 | 28.5802 | 0.008854 | 28.6963 | 0.012904 | 28.8123 | 0.014077 | 29.0298 | 0.012725 | 29.1459 | 0.012683 | 29.2619 | 0.013639 | 29.378 | 0.011718 | 29.4941 | 0.010365 | 29.6102 | 0.010951 | 29.7262 | 0.012545 | 29.8423 | 0.0094768 | 30.0598 | 0.014629 | 30.1759 | 0.0088577 | 30.2921 | 0.01322 | 30.4082 | 2.9282 | 30.5243 | 0.012425 | 30.6404 | 0.013718 | 30.7564 | 0.011164 | 30.8725 | 0.012696 | 31.09 | 0.0083577 | 31.2061 | 0.01211 | 31.3222 | 0.011247 | 31.4382 | 0.0075848 | 31.5543 | 0.0093389 | 31.6704 | 0.0087483 | 31.7865 | 0.0078331 | 31.9025 | 3.2819e-05 | 32.12 | 0.0076679 | 32.2361 | 0.00023689 | 32.3522
2.9202 | 34.9998 | 0.010587 | 35.1159 | 0.013027 | 35.232 | 0.01508 | 35.3482 | 0.013214 | 35.4643 | 0.012119 | 35.5804 | 0.0088548 | 35.6964 | 0.012904 | 35.8125 | 0.014077 | 36.03 | 0.012725 | 36.1461 | 0.012683 | 36.2621 | 0.013639 | 36.3782 | 0.011718 | 36.4943 | 0.010365 | 36.6104 | 0.01095 | 36.7264 | 0.012545 | 36.8425 | 0.0094767 | 37.06 | 0.014629 | 37.1761 | 0.008857 | 37.2922 | 0.01322 | 37.4083 | 2.9281 | 37.5243 | 0.012424 | 37.6404 | 0.013717 | 37.7565 | 0.011163 | 37.8726 | 0.012695 | 38.0901 | 0.0083574 | 38.2062 | 0.01211 | 38.3223 | 0.011246 | 38.4383 | 0.0075841 | 38.5544 | 0.0093386 | 38.6705 | 0.0087477 | 38.7866 | 0.0078317 | 38.9026 | 3.2376e-05 | 39.1201 | 0.0076675 | 39.2362 | 0.00023647 | 39.3523
2.9201 | 41.9998 | 0.010586 | 42.1159 | 0.013027 | 42.2319 | 0.015079 | 42.348 | 0.013214 | 42.4641 | 0.012118 | 42.5802 | 0.0088547 | 42.6963 | 0.012904 | 42.8124 | 0.014077 | 43.0298 | 0.012724 | 43.1459 | 0.012683 | 43.262 | 0.01364 | 43.3781 | 0.011718 | 43.4941 | 0.010365 | 43.6102 | 0.01095 | 43.7263 | 0.012544 | 43.8424 | 0.0094766 | 44.0599 | 0.014628 | 44.1759 | 0.0088564 | 44.292 | 0.013219 | 44.4081 | 2.9281 | 44.5242 | 0.012424 | 44.6403 | 0.013717 | 44.7563 | 0.011162 | 44.8724 | 0.012693 | 45.0899 | 0.0083567 | 45.206 | 0.012109 | 45.322 | 0.011246 | 45.4382 | 0.0075838 | 45.5543 | 0.0093378 | 45.6704 | 0.0087474 | 45.7865 | 0.0078312 | 45.9026 | 3.2361e-05 | 46.12 | 0.0076667 | 46.2361 | 0.00023642 | 46.3522
2.9202 | 48.9997 | 0.010585 | 49.1158 | 0.013026 | 49.2319 | 0.015079 | 49.348 | 0.013213 | 49.4641 | 0.012118 | 49.5801 | 0.0088539 | 49.6962 | 0.012904 | 49.8123 | 0.014076 | 50.0298 | 0.012724 | 50.1459 | 0.012683 | 50.2619 | 0.01364 | 50.378 | 0.011718 | 50.4942 | 0.010365 | 50.6103 | 0.01095 | 50.7264 | 0.012544 | 50.8425 | 0.0094763 | 51.06 | 0.014628 | 51.176 | 0.0088569 | 51.2921 | 0.013219 | 51.4082 | 2.9281 | 51.5243 | 0.012424 | 51.6404 | 0.013717 | 51.7565 | 0.011162 | 51.8725 | 0.012694 | 52.09 | 0.0083564 | 52.2061 | 0.012108 | 52.3222 | 0.011245 | 52.4383 | 0.0075826 | 52.5544 | 0.0093376 | 52.6705 | 0.0087474 | 52.7865 | 0.0078314 | 52.9026 | 3.2269e-05 | 53.1201 | 0.0076663 | 53.2362 | 0.0002364 | 53.3523
2.9201 | 55.9998 | 0.010587 | 56.1159 | 0.013027 | 56.232 | 0.01508 | 56.3481 | 0.013215 | 56.4642 | 0.01212 | 56.5802 | 0.0088551 | 56.6963 | 0.012905 | 56.8124 | 0.014078 | 57.0299 | 0.012724 | 57.1459 | 0.012684 | 57.262 | 0.01364 | 57.3781 | 0.011718 | 57.4941 | 0.010365 | 57.6102 | 0.010951 | 57.7263 | 0.012544 | 57.8424 | 0.0094763 | 58.0599 | 0.014628 | 58.1759 | 0.0088572 | 58.292 | 0.01322 | 58.4081 | 2.9281 | 58.5242 | 0.012425 | 58.6402 | 0.013718 | 58.7563 | 0.011163 | 58.8724 | 0.012695 | 59.0899 | 0.0083571 | 59.2059 | 0.012109 | 59.322 | 0.011247 | 59.4381 | 0.0075842 | 59.5542 | 0.0093385 | 59.6703 | 0.0087474 | 59.7863 | 0.0078314 | 59.9024 | 3.2004e-05 | 60.1199 | 0.0076677 | 60.2359 | 0.00023615 | 60.352
2.9201 | 62.9998 | 0.010586 | 63.1159 | 0.013027 | 63.232 | 0.01508 | 63.3481 | 0.013214 | 63.4641 | 0.01212 | 63.5802 | 0.0088543 | 63.6963 | 0.012904 | 63.8124 | 0.014076 | 64.0298 | 0.012724 | 64.1459 | 0.012683 | 64.262 | 0.013639 | 64.378 | 0.011717 | 64.4941 | 0.010364 | 64.6102 | 0.010949 | 64.7263 | 0.012543 | 64.8424 | 0.0094753 | 65.0599 | 0.014627 | 65.176 | 0.0088561 | 65.292 | 0.013219 | 65.4081 | 2.928 | 65.5242 | 0.012423 | 65.6404 | 0.013717 | 65.7565 | 0.011162 | 65.8726 | 0.012694 | 66.0901 | 0.0083565 | 66.2061 | 0.012107 | 66.3222 | 0.011246 | 66.4383 | 0.0075836 | 66.5544 | 0.0093379 | 66.6704 | 0.0087467 | 66.7865 | 0.0078312 | 66.9026 | 3.1874e-05 | 67.1201 | 0.0076668 | 67.2362 | 0.00023593 | 67.3522
2.92 | 69.9998 | 0.010583 | 70.1158 | 0.013024 | 70.2319 | 0.015077 | 70.348 | 0.013211 | 70.4641 | 0.012117 | 70.5802 | 0.0088512 | 70.6964 | 0.012901 | 70.8125 | 0.014075 | 71.03 | 0.012723 | 71.1461 | 0.012682 | 71.2621 | 0.013639 | 71.3782 | 0.011717 | 71.4943 | 0.010364 | 71.6104 | 0.010949 | 71.7265 | 0.012543 | 71.8426 | 0.0094753 | 72.0601 | 0.014627 | 72.1762 | 0.0088561 | 72.2922 | 0.013218 | 72.4083 | 2.9281 | 72.5244 | 0.012422 | 72.6405 | 0.013715 | 72.7566 | 0.011162 | 72.8727 | 0.012693 | 73.0902 | 0.0083554 | 73.2062 | 0.012105 | 73.3223 | 0.011244 | 73.4384 | 0.0075821 | 73.5545 | 0.0093361 | 73.6705 | 0.0087451 | 73.7866 | 0.0078298 | 73.9027 | 3.1554e-05 | 74.1202 | 0.0076653 | 74.2363 | 0.00023619 | 74.3523
2.9201 | 76.9997 | 0.01058 | 77.1159 | 0.013023 | 77.232 | 0.015074 | 77.348 | 0.013209 | 77.4641 | 0.012114 | 77.5802 | 0.0088491 | 77.6963 | 0.012898 | 77.8124 | 0.014073 | 78.0298 | 0.012722 | 78.1459 | 0.01268 | 78.262 | 0.013637 | 78.3781 | 0.011714 | 78.4942 | 0.010362 | 78.6102 | 0.010948 | 78.7263 | 0.012541 | 78.8424 | 0.0094737 | 79.0599 | 0.014624 | 79.1759 | 0.0088546 | 79.292 | 0.013217 | 79.4081 | 2.9281 | 79.5242 | 0.01242 | 79.6403 | 0.013712 | 79.7564 | 0.01116 | 79.8724 | 0.012691 | 80.0899 | 0.0083531 | 80.206 | 0.012103 | 80.3221 | 0.011241 | 80.4382 | 0.0075786 | 80.5542 | 0.0093335 | 80.6703 | 0.0087431 | 80.7865 | 0.0078277 | 80.9026 | 3.0925e-05 | 81.1201 | 0.0076629 | 81.2362 | 0.00023548 | 81.3523
2.9201 | 83.9997 | 0.010581 | 84.1158 | 0.013023 | 84.2319 | 0.015076 | 84.348 | 0.01321 | 84.4641 | 0.012114 | 84.5802 | 0.0088495 | 84.6962 | 0.0129 | 84.8123 | 0.014071 | 85.0298 | 0.01272 | 85.1458 | 0.012677 | 85.2619 | 0.013635 | 85.378 | 0.011712 | 85.4941 | 0.010361 | 85.6101 | 0.010946 | 85.7262 | 0.012539 | 85.8424 | 0.0094729 | 86.0599 | 0.014623 | 86.176 | 0.0088535 | 86.2921 | 0.013214 | 86.4082 | 2.9281 | 86.5243 | 0.012418 | 86.6403 | 0.013709 | 86.7564 | 0.011159 | 86.8725 | 0.01269 | 87.0899 | 0.0083525 | 87.206 | 0.012102 | 87.3221 | 0.011239 | 87.4382 | 0.0075777 | 87.5542 | 0.0093325 | 87.6703 | 0.0087424 | 87.7864 | 0.0078268 | 87.9024 | 3.1449e-05 | 88.1199 | 0.0076614 | 88.236 | 0.00023569 | 88.3521
2.9201 | 90.9998 | 0.010581 | 91.1159 | 0.013023 | 91.232 | 0.015076 | 91.348 | 0.01321 | 91.4641 | 0.012113 | 91.5802 | 0.0088498 | 91.6963 | 0.0129 | 91.8124 | 0.014071 | 92.0298 | 0.012719 | 92.1459 | 0.012676 | 92.262 | 0.013634 | 92.3781 | 0.011711 | 92.4941 | 0.01036 | 92.6102 | 0.010945 | 92.7263 | 0.012538 | 92.8424 | 0.0094723 | 93.0599 | 0.014621 | 93.1759 | 0.0088529 | 93.292 | 0.013214 | 93.4081 | 2.928 | 93.5242 | 0.012418 | 93.6403 | 0.013709 | 93.7564 | 0.011158 | 93.8725 | 0.012689 | 94.0899 | 0.0083522 | 94.206 | 0.012102 | 94.3221 | 0.011239 | 94.4381 | 0.0075779 | 94.5542 | 0.0093326 | 94.6703 | 0.0087419 | 94.7864 | 0.0078266 | 94.9024 | 3.1465e-05 | 95.1199 | 0.0076612 | 95.236 | 0.00023546 | 95.3521
2.9201 | 97.9998 | 0.010581 | 98.1159 | 0.013022 | 98.232 | 0.015075 | 98.348 | 0.01321 | 98.4641 | 0.012113 | 98.5802 | 0.0088495 | 98.6962 | 0.0129 | 98.8123 | 0.014072 | 99.0298 | 0.01272 | 99.1459 | 0.012677 | 99.262 | 0.013634 | 99.378 | 0.011712 | 99.4941 | 0.01036 | 99.6102 | 0.010945 | 99.7263 | 0.012538 | 99.8423 | 0.0094723 | 100.0598 | 0.014622 | 100.1759 | 0.0088536 | 100.292 | 0.013214 | 100.4081 | 2.928 | 100.5242 | 0.012419 | 100.6403 | 0.01371 | 100.7563 | 0.011159 | 100.8724 | 0.01269 | 101.09 | 0.0083525 | 101.2061 | 0.012102 | 101.3222 | 0.011239 | 101.4382 | 0.0075782 | 101.5543 | 0.0093324 | 101.6704 | 0.008742 | 101.7865 | 0.0078268 | 101.9025 | 3.0684e-05 | 102.12 | 0.0076621 | 102.2361 | 0.00023512 | 102.3522
2.9201 | 104.9998 | 0.010581 | 105.1158 | 0.013022 | 105.2319 | 0.015075 | 105.348 | 0.013209 | 105.4641 | 0.012113 | 105.5802 | 0.0088499 | 105.6963 | 0.0129 | 105.8123 | 0.014072 | 106.0299 | 0.01272 | 106.146 | 0.012677 | 106.2621 | 0.013634 | 106.3782 | 0.011713 | 106.4942 | 0.01036 | 106.6103 | 0.010946 | 106.7264 | 0.012539 | 106.8425 | 0.0094725 | 107.06 | 0.014623 | 107.1761 | 0.0088536 | 107.2921 | 0.013214 | 107.4082 | 2.928 | 107.5243 | 0.012419 | 107.6404 | 0.01371 | 107.7565 | 0.01116 | 107.8726 | 0.01269 | 108.09 | 0.0083526 | 108.2061 | 0.012102 | 108.3222 | 0.011239 | 108.4382 | 0.0075785 | 108.5543 | 0.0093326 | 108.6704 | 0.0087423 | 108.7865 | 0.0078272 | 108.9026 | 3.1003e-05 | 109.1201 | 0.0076624 | 109.2361 | 0.00023531 | 109.3522
2.92 | 111.9998 | 0.010581 | 112.1159 | 0.013021 | 112.232 | 0.015074 | 112.348 | 0.013209 | 112.4641 | 0.012112 | 112.5802 | 0.00885 | 112.6963 | 0.012899 | 112.8124 | 0.014072 | 113.0298 | 0.01272 | 113.1459 | 0.012677 | 113.262 | 0.013634 | 113.378 | 0.011713 | 113.4941 | 0.01036 | 113.6102 | 0.010946 | 113.7263 | 0.012539 | 113.8424 | 0.0094722 | 114.0599 | 0.014622 | 114.1759 | 0.0088531 | 114.292 | 0.013215 | 114.4081 | 2.928 | 114.5242 | 0.012419 | 114.6402 | 0.01371 | 114.7563 | 0.01116 | 114.8724 | 0.012692 | 115.0899 | 0.0083527 | 115.206 | 0.012102 | 115.3221 | 0.01124 | 115.4381 | 0.0075786 | 115.5542 | 0.0093332 | 115.6703 | 0.0087425 | 115.7864 | 0.0078268 | 115.9024 | 3.0709e-05 | 116.12 | 0.007663 | 116.2361 | 0.00023512 | 116.3522
2.92 | 118.9997 | 0.01058 | 119.1158 | 0.013021 | 119.2319 | 0.015072 | 119.348 | 0.013208 | 119.4641 | 0.01211 | 119.5801 | 0.0088496 | 119.6962 | 0.012898 | 119.8123 | 0.01407 | 120.0298 | 0.01272 | 120.1458 | 0.012676 | 120.2619 | 0.013633 | 120.378 | 0.011712 | 120.4941 | 0.01036 | 120.6102 | 0.010945 | 120.7262 | 0.012538 | 120.8423 | 0.0094721 | 121.0598 | 0.014622 | 121.176 | 0.0088534 | 121.2921 | 0.013214 | 121.4082 | 2.928 | 121.5243 | 0.012419 | 121.6404 | 0.013709 | 121.7565 | 0.01116 | 121.8725 | 0.012691 | 122.09 | 0.0083517 | 122.2061 | 0.012103 | 122.3222 | 0.01124 | 122.4383 | 0.0075788 | 122.5544 | 0.0093332 | 122.6704 | 0.0087422 | 122.7865 | 0.0078275 | 122.9026 | 3.081e-05 | 123.12 | 0.0076631 | 123.2361 | 0.00023565 | 123.3522
2.92 | 125.9997 | 0.010579 | 126.1159 | 0.01302 | 126.232 | 0.01507 | 126.3482 | 0.013206 | 126.4642 | 0.012109 | 126.5803 | 0.0088482 | 126.6964 | 0.012897 | 126.8125 | 0.014069 | 127.0299 | 0.01272 | 127.146 | 0.012676 | 127.2621 | 0.013634 | 127.3782 | 0.011712 | 127.4942 | 0.010359 | 127.6103 | 0.010945 | 127.7264 | 0.012538 | 127.8425 | 0.0094715 | 128.06 | 0.014621 | 128.176 | 0.0088524 | 128.2921 | 0.013213 | 128.4082 | 2.928 | 128.5243 | 0.012418 | 128.6403 | 0.013708 | 128.7564 | 0.011159 | 128.8725 | 0.01269 | 129.0899 | 0.0083514 | 129.206 | 0.012102 | 129.3221 | 0.011239 | 129.4381 | 0.0075782 | 129.5542 | 0.0093321 | 129.6703 | 0.0087416 | 129.7864 | 0.0078265 | 129.9025 | 3.0616e-05 | 130.12 | 0.0076622 | 130.236 | 0.00023489 | 130.3521
2.9201 | 132.9998 | 0.010579 | 133.1159 | 0.01302 | 133.2319 | 0.015071 | 133.348 | 0.013207 | 133.4641 | 0.01211 | 133.5802 | 0.008849 | 133.6962 | 0.012897 | 133.8123 | 0.014069 | 134.0298 | 0.01272 | 134.1459 | 0.012677 | 134.2619 | 0.013633 | 134.378 | 0.011713 | 134.4941 | 0.010359 | 134.6102 | 0.010945 | 134.7263 | 0.012538 | 134.8423 | 0.0094713 | 135.0598 | 0.014621 | 135.1759 | 0.0088529 | 135.292 | 0.013214 | 135.4081 | 2.928 | 135.5241 | 0.012418 | 135.6402 | 0.013709 | 135.7563 | 0.011159 | 135.8724 | 0.01269 | 136.0899 | 0.0083514 | 136.2059 | 0.012101 | 136.3221 | 0.011239 | 136.4382 | 0.0075782 | 136.5543 | 0.009332 | 136.6704 | 0.0087415 | 136.7865 | 0.0078263 | 136.9025 | 3.0686e-05 | 137.12 | 0.0076623 | 137.2361 | 0.00023518 | 137.3522
2.9201 | 139.9998 | 0.010581 | 140.1158 | 0.013021 | 140.2319 | 0.015072 | 140.348 | 0.013208 | 140.4641 | 0.012112 | 140.5802 | 0.0088499 | 140.6963 | 0.012898 | 140.8123 | 0.014069 | 141.0298 | 0.01272 | 141.1459 | 0.012677 | 141.2619 | 0.013634 | 141.3781 | 0.011713 | 141.4942 | 0.010359 | 141.6103 | 0.010945 | 141.7264 | 0.012538 | 141.8425 | 0.0094717 | 142.06 | 0.014622 | 142.1761 | 0.0088532 | 142.2922 | 0.013214 | 142.4082 | 2.928 | 142.5243 | 0.012419 | 142.6404 | 0.01371 | 142.7565 | 0.011159 | 142.8726 | 0.01269 | 143.09 | 0.0083517 | 143.2061 | 0.012102 | 143.3222 | 0.01124 | 143.4383 | 0.0075783 | 143.5544 | 0.0093322 | 143.6704 | 0.0087415 | 143.7865 | 0.0078268 | 143.9026 | 3.0371e-05 | 144.1201 | 0.0076625 | 144.2361 | 0.0002349 | 144.3522
2.92 | 146.9998 | 0.010582 | 147.1159 | 0.013022 | 147.232 | 0.015073 | 147.348 | 0.013209 | 147.4641 | 0.012113 | 147.5802 | 0.0088511 | 147.6963 | 0.0129 | 147.8124 | 0.014071 | 148.0298 | 0.012721 | 148.1459 | 0.012678 | 148.262 | 0.013635 | 148.378 | 0.011713 | 148.4941 | 0.01036 | 148.6102 | 0.010945 | 148.7263 | 0.012539 | 148.8424 | 0.0094715 | 149.0599 | 0.014622 | 149.1759 | 0.0088533 | 149.292 | 0.013214 | 149.4081 | 2.928 | 149.5242 | 0.012419 | 149.6403 | 0.013711 | 149.7564 | 0.011159 | 149.8724 | 0.012691 | 150.0899 | 0.0083525 | 150.206 | 0.012102 | 150.3221 | 0.01124 | 150.4381 | 0.0075787 | 150.5542 | 0.0093326 | 150.6703 | 0.0087418 | 150.7864 | 0.0078271 | 150.9024 | 2.9922e-05 | 151.1199 | 0.0076626 | 151.236 | 0.00023469 | 151.3521
2.92 | 153.9998 | 0.010583 | 154.1159 | 0.013023 | 154.232 | 0.015074 | 154.348 | 0.01321 | 154.4641 | 0.012115 | 154.5802 | 0.0088521 | 154.6963 | 0.012901 | 154.8124 | 0.014072 | 155.0298 | 0.012721 | 155.1459 | 0.012679 | 155.262 | 0.013636 | 155.3781 | 0.011714 | 155.4941 | 0.010361 | 155.6102 | 0.010947 | 155.7263 | 0.012539 | 155.8424 | 0.0094722 | 156.0599 | 0.014623 | 156.176 | 0.0088536 | 156.292 | 0.013215 | 156.4081 | 2.928 | 156.5243 | 0.01242 | 156.6404 | 0.013712 | 156.7565 | 0.01116 | 156.8726 | 0.012692 | 157.09 | 0.0083534 | 157.2061 | 0.012105 | 157.3222 | 0.011242 | 157.4383 | 0.0075794 | 157.5544 | 0.0093349 | 157.6704 | 0.0087437 | 157.7865 | 0.0078282 | 157.9026 | 3.0828e-05 | 158.1201 | 0.0076641 | 158.2361 | 0.00023535 | 158.3522
2.92 | 160.9998 | 0.010584 | 161.1159 | 0.013025 | 161.2319 | 0.015075 | 161.348 | 0.013212 | 161.4641 | 0.012117 | 161.5841 | 0.008853 | 161.7002 | 0.012902 | 161.8163 | 0.014073 | 162.0338 | 0.012721 | 162.1499 | 0.012681 | 162.2659 | 0.013637 | 162.382 | 0.011715 | 162.4981 | 0.010361 | 162.6142 | 0.010947 | 162.7303 | 0.01254 | 162.8464 | 0.0094734 | 163.0639 | 0.014622 | 163.18 | 0.0088542 | 163.296 | 0.013216 | 163.4121 | 2.928 | 163.5282 | 0.012421 | 163.6442 | 0.013713 | 163.7603 | 0.011161 | 163.8764 | 0.012692 | 164.0939 | 0.0083538 | 164.2099 | 0.012105 | 164.326 | 0.011242 | 164.4421 | 0.0075795 | 164.5582 | 0.0093343 | 164.6743 | 0.0087432 | 164.7903 | 0.0078287 | 164.9064 | 3.1028e-05 | 165.1239 | 0.0076642 | 165.24 | 0.00023513 | 165.3561
2.92 | 167.9998 | 0.010584 | 168.1159 | 0.013024 | 168.232 | 0.015075 | 168.3481 | 0.013211 | 168.4641 | 0.012117 | 168.5802 | 0.0088525 | 168.6963 | 0.012901 | 168.8123 | 0.014072 | 169.0298 | 0.012721 | 169.1459 | 0.012681 | 169.262 | 0.013637 | 169.378 | 0.011715 | 169.4941 | 0.010362 | 169.6102 | 0.010948 | 169.7263 | 0.01254 | 169.8423 | 0.0094734 | 170.0598 | 0.014623 | 170.1759 | 0.0088541 | 170.292 | 0.013215 | 170.4081 | 2.928 | 170.5242 | 0.012421 | 170.6403 | 0.013713 | 170.7563 | 0.011159 | 170.8724 | 0.01269 | 171.0899 | 0.0083541 | 171.206 | 0.012103 | 171.3221 | 0.011241 | 171.4382 | 0.0075797 | 171.5542 | 0.0093332 | 171.6781 | 0.0087428 | 171.7942 | 0.0078281 | 171.9103 | 3.1115e-05 | 172.1278 | 0.0076625 | 172.2438 | 0.00023528 | 172.3599
2.92 | 174.9998 | 0.010581 | 175.1158 | 0.013022 | 175.2319 | 0.015074 | 175.348 | 0.01321 | 175.4641 | 0.012116 | 175.5802 | 0.0088504 | 175.6963 | 0.0129 | 175.8124 | 0.014071 | 176.0298 | 0.012721 | 176.1459 | 0.012678 | 176.262 | 0.013635 | 176.3781 | 0.011714 | 176.4942 | 0.010361 | 176.6102 | 0.010946 | 176.7325 | 0.012539 | 176.8486 | 0.009472 | 177.0661 | 0.014622 | 177.1822 | 0.0088538 | 177.2983 | 0.013214 | 177.4144 | 2.928 | 177.5305 | 0.01242 | 177.6466 | 0.013712 | 177.7626 | 0.011158 | 177.8787 | 0.012689 | 178.0962 | 0.0083534 | 178.2123 | 0.012102 | 178.3284 | 0.011239 | 178.4444 | 0.0075785 | 178.5605 | 0.0093318 | 178.6766 | 0.0087421 | 178.7927 | 0.0078272 | 178.9087 | 3.0885e-05 | 179.1262 | 0.007662 | 179.2423 | 0.00023517 | 179.3584
2.92 | 181.9998 | 0.010581 | 182.1159 | 0.013022 | 182.232 | 0.015074 | 182.3481 | 0.013209 | 182.4641 | 0.012113 | 182.5802 | 0.0088505 | 182.6963 | 0.012899 | 182.8124 | 0.014069 | 183.0299 | 0.01272 | 183.1459 | 0.012677 | 183.262 | 0.013634 | 183.3781 | 0.011712 | 183.4941 | 0.01036 | 183.6102 | 0.010945 | 183.7263 | 0.012538 | 183.8424 | 0.0094714 | 184.0599 | 0.014622 | 184.176 | 0.0088531 | 184.2921 | 0.013213 | 184.4081 | 2.928 | 184.5242 | 0.012418 | 184.6403 | 0.01371 | 184.7564 | 0.011157 | 184.8725 | 0.012688 | 185.0899 | 0.008352 | 185.206 | 0.012101 | 185.3221 | 0.011238 | 185.4382 | 0.0075778 | 185.5543 | 0.0093314 | 185.6703 | 0.0087414 | 185.7864 | 0.0078262 | 185.9025 | 3.036e-05 | 186.1199 | 0.0076612 | 186.236 | 0.00023471 | 186.3521
2.92 | 188.9998 | 0.01058 | 189.1159 | 0.013021 | 189.2319 | 0.015073 | 189.348 | 0.013208 | 189.4641 | 0.012111 | 189.5801 | 0.0088501 | 189.6962 | 0.012899 | 189.8123 | 0.014071 | 190.0298 | 0.01272 | 190.1458 | 0.012678 | 190.2619 | 0.013635 | 190.378 | 0.011712 | 190.4941 | 0.01036 | 190.6102 | 0.010945 | 190.7262 | 0.012538 | 190.8423 | 0.0094715 | 191.0598 | 0.014622 | 191.1759 | 0.0088529 | 191.292 | 0.013213 | 191.408 | 2.928 | 191.5241 | 0.012418 | 191.6402 | 0.01371 | 191.7563 | 0.011158 | 191.8803 | 0.012689 | 192.0978 | 0.0083518 | 192.2139 | 0.012101 | 192.33 | 0.011238 | 192.4461 | 0.0075776 | 192.5622 | 0.0093311 | 192.6783 | 0.0087407 | 192.7943 | 0.0078258 | 192.9104 | 3.0313e-05 | 193.1279 | 0.0076607 | 193.2439 | 0.0002348 | 193.36
2.92 | 195.9998 | 0.010581 | 196.1158 | 0.013021 | 196.2319 | 0.015073 | 196.3481 | 0.013209 | 196.4641 | 0.012112 | 196.5802 | 0.00885 | 196.6963 | 0.012898 | 196.8124 | 0.014071 | 197.0314 | 0.01272 | 197.1475 | 0.012678 | 197.2636 | 0.013635 | 197.3797 | 0.011713 | 197.4957 | 0.01036 | 197.6118 | 0.010945 | 197.7279 | 0.012538 | 197.844 | 0.0094716 | 198.0615 | 0.014621 | 198.1775 | 0.0088525 | 198.2936 | 0.013213 | 198.4097 | 2.928 | 198.5258 | 0.012418 | 198.6419 | 0.01371 | 198.7579 | 0.011158 | 198.874 | 0.012689 | 199.0915 | 0.0083517 | 199.2076 | 0.012101 | 199.3237 | 0.011238 | 199.4397 | 0.0075776 | 199.5558 | 0.0093309 | 199.6719 | 0.0087411 | 199.788 | 0.0078256 | 199.9041 | 3.0618e-05 | 200.1215 | 0.0076611 | 200.2376 | 0.00023467 | 200.3537
2.92 | 202.9998 | 0.01058 | 203.1158 | 0.013021 | 203.2319 | 0.015073 | 203.348 | 0.013208 | 203.4641 | 0.012112 | 203.5802 | 0.0088501 | 203.6962 | 0.012898 | 203.8123 | 0.014071 | 204.0298 | 0.01272 | 204.1459 | 0.012678 | 204.262 | 0.013635 | 204.378 | 0.011712 | 204.4941 | 0.01036 | 204.6102 | 0.010945 | 204.7262 | 0.012538 | 204.8423 | 0.009471 | 205.0598 | 0.014621 | 205.1759 | 0.0088524 | 205.292 | 0.013213 | 205.4081 | 2.928 | 205.5241 | 0.012419 | 205.6402 | 0.01371 | 205.7563 | 0.011157 | 205.8724 | 0.012688 | 206.0899 | 0.0083521 | 206.2059 | 0.0121 | 206.322 | 0.011238 | 206.4381 | 0.0075768 | 206.5542 | 0.0093305 | 206.6702 | 0.0087406 | 206.7863 | 0.0078252 | 206.9024 | 3.04e-05 | 207.1201 | 0.00766 | 207.2362 | 0.00023473 | 207.3522
2.9199 | 209.9998 | 0.010581 | 210.1159 | 0.013021 | 210.2319 | 0.015073 | 210.348 | 0.013208 | 210.4641 | 0.012113 | 210.5802 | 0.008849 | 210.6963 | 0.012897 | 210.8123 | 0.014071 | 211.0298 | 0.01272 | 211.1459 | 0.012677 | 211.262 | 0.013634 | 211.378 | 0.011712 | 211.4941 | 0.010358 | 211.6102 | 0.010944 | 211.7263 | 0.012537 | 211.8424 | 0.0094705 | 212.06 | 0.01462 | 212.1761 | 0.0088517 | 212.2922 | 0.013212 | 212.4083 | 2.9279 | 212.5244 | 0.012418 | 212.6404 | 0.013709 | 212.7565 | 0.011155 | 212.8726 | 0.012685 | 213.09 | 0.0083514 | 213.2061 | 0.012097 | 213.3222 | 0.011236 | 213.4383 | 0.0075759 | 213.5544 | 0.009329 | 213.6704 | 0.0087391 | 213.7865 | 0.0078247 | 213.9026 | 3.0133e-05 | 214.12 | 0.0076591 | 214.2361 | 0.00023465 | 214.3522
2.9199 | 216.9998 | 0.01058 | 217.1208 | 0.01302 | 217.2369 | 0.015073 | 217.353 | 0.013207 | 217.469 | 0.012112 | 217.5851 | 0.0088477 | 217.7012 | 0.012897 | 217.8173 | 0.01407 | 218.0348 | 0.012719 | 218.1508 | 0.012676 | 218.2669 | 0.013633 | 218.383 | 0.011711 | 218.4991 | 0.010358 | 218.6152 | 0.010943 | 218.7313 | 0.012537 | 218.8474 | 0.0094705 | 219.0649 | 0.014619 | 219.1809 | 0.0088512 | 219.297 | 0.013211 | 219.4131 | 2.9279 | 219.5292 | 0.012417 | 219.6453 | 0.013708 | 219.7613 | 0.011155 | 219.8774 | 0.012684 | 220.0949 | 0.0083507 | 220.211 | 0.012097 | 220.3271 | 0.011236 | 220.4431 | 0.0075757 | 220.5592 | 0.0093282 | 220.6753 | 0.0087389 | 220.7913 | 0.0078244 | 220.9074 | 3.0323e-05 | 221.1249 | 0.0076588 | 221.2409 | 0.00023409 | 221.357
2.92 | 223.9998 | 0.010579 | 224.1159 | 0.013018 | 224.232 | 0.015072 | 224.3481 | 0.013206 | 224.4641 | 0.012111 | 224.5802 | 0.0088473 | 224.6963 | 0.012897 | 224.8124 | 0.014069 | 225.0298 | 0.012719 | 225.1459 | 0.012675 | 225.262 | 0.013632 | 225.378 | 0.011711 | 225.4941 | 0.010357 | 225.6102 | 0.010942 | 225.7263 | 0.012536 | 225.8424 | 0.0094703 | 226.0598 | 0.014619 | 226.1759 | 0.0088503 | 226.292 | 0.01321 | 226.4081 | 2.928 | 226.5242 | 0.012417 | 226.6402 | 0.013707 | 226.7563 | 0.011154 | 226.8724 | 0.012684 | 227.0899 | 0.0083499 | 227.206 | 0.012097 | 227.3221 | 0.011235 | 227.4382 | 0.0075757 | 227.5543 | 0.0093282 | 227.6704 | 0.0087382 | 227.7864 | 0.007824 | 227.9025 | 2.9978e-05 | 228.12 | 0.0076591 | 228.2361 | 0.00023386 | 228.3521
2.9199 | 230.9998 | 0.010577 | 231.1158 | 0.013017 | 231.2319 | 0.01507 | 231.348 | 0.013205 | 231.4641 | 0.012108 | 231.5802 | 0.008846 | 231.6963 | 0.012896 | 231.8124 | 0.014066 | 232.0298 | 0.012718 | 232.1459 | 0.012673 | 232.2686 | 0.01363 | 232.3847 | 0.01171 | 232.5007 | 0.010356 | 232.6168 | 0.010942 | 232.7329 | 0.012535 | 232.849 | 0.0094695 | 233.0665 | 0.014618 | 233.1826 | 0.0088504 | 233.2986 | 0.01321 | 233.4147 | 2.9279 | 233.5308 | 0.012415 | 233.6469 | 0.013706 | 233.763 | 0.011154 | 233.879 | 0.012684 | 234.0965 | 0.0083494 | 234.2126 | 0.012095 | 234.3287 | 0.011234 | 234.4448 | 0.0075752 | 234.5608 | 0.0093268 | 234.6769 | 0.0087375 | 234.793 | 0.007823 | 234.909 | 2.9888e-05 | 235.1265 | 0.0076582 | 235.2426 | 0.000234 | 235.3587
2.9199 | 237.9998 | 0.010576 | 238.1158 | 0.013016 | 238.2319 | 0.015069 | 238.348 | 0.013204 | 238.4641 | 0.012109 | 238.5802 | 0.008845 | 238.6962 | 0.012894 | 238.8123 | 0.014066 | 239.0298 | 0.012718 | 239.1458 | 0.012673 | 239.2619 | 0.013631 | 239.378 | 0.011709 | 239.4941 | 0.010356 | 239.6101 | 0.010942 | 239.7262 | 0.012535 | 239.8423 | 0.0094692 | 240.0598 | 0.014618 | 240.1759 | 0.0088502 | 240.2919 | 0.01321 | 240.408 | 2.928 | 240.5241 | 0.012415 | 240.6402 | 0.013705 | 240.7562 | 0.011154 | 240.8723 | 0.012684 | 241.0898 | 0.0083493 | 241.2059 | 0.012094 | 241.3219 | 0.011233 | 241.438 | 0.0075743 | 241.5541 | 0.0093264 | 241.6702 | 0.0087369 | 241.7862 | 0.007823 | 241.9023 | 2.9573e-05 | 242.1198 | 0.007658 | 242.2359 | 0.00023385 | 242.3522
2.92 | 244.9998 | 0.010576 | 245.1159 | 0.013016 | 245.2319 | 0.015069 | 245.348 | 0.013203 | 245.4641 | 0.012108 | 245.5802 | 0.0088454 | 245.6963 | 0.012894 | 245.8123 | 0.014066 | 246.0298 | 0.012718 | 246.1459 | 0.012673 | 246.262 | 0.01363 | 246.378 | 0.01171 | 246.4941 | 0.010357 | 246.6102 | 0.010942 | 246.7263 | 0.012535 | 246.8423 | 0.0094688 | 247.0598 | 0.014618 | 247.1759 | 0.0088502 | 247.292 | 0.01321 | 247.4171 | 2.928 | 247.5332 | 0.012415 | 247.6492 | 0.013705 | 247.7653 | 0.011154 | 247.8814 | 0.012684 | 248.0989 | 0.008349 | 248.215 | 0.012094 | 248.331 | 0.011233 | 248.4471 | 0.0075743 | 248.5632 | 0.0093263 | 248.6792 | 0.008737 | 248.7953 | 0.0078229 | 248.9114 | 2.9693e-05 | 249.1289 | 0.0076583 | 249.2449 | 0.00023407 | 249.361
2.92 | 251.9998 | 0.010576 | 252.1159 | 0.013016 | 252.2319 | 0.015069 | 252.348 | 0.013204 | 252.4714 | 0.012108 | 252.5875 | 0.0088453 | 252.7036 | 0.012894 | 252.8197 | 0.014065 | 253.0371 | 0.012718 | 253.1532 | 0.012673 | 253.2693 | 0.01363 | 253.3854 | 0.011709 | 253.5015 | 0.010356 | 253.6175 | 0.010942 | 253.7336 | 0.012535 | 253.8497 | 0.0094689 | 254.0672 | 0.014618 | 254.1833 | 0.0088503 | 254.2994 | 0.01321 | 254.4155 | 2.928 | 254.5316 | 0.012415 | 254.6476 | 0.013704 | 254.7637 | 0.011154 | 254.8798 | 0.012684 | 255.0973 | 0.0083487 | 255.2134 | 0.012095 | 255.3294 | 0.011234 | 255.4455 | 0.0075741 | 255.5616 | 0.0093268 | 255.6776 | 0.0087374 | 255.7937 | 0.0078225 | 255.9098 | 2.9393e-05 | 256.1273 | 0.0076584 | 256.2434 | 0.00023386 | 256.3594
2.9199 | 258.9998 | 0.010576 | 259.1159 | 0.013016 | 259.232 | 0.01507 | 259.348 | 0.013204 | 259.4641 | 0.012109 | 259.5802 | 0.0088459 | 259.6963 | 0.012894 | 259.8124 | 0.014066 | 260.0298 | 0.012718 | 260.1459 | 0.012673 | 260.262 | 0.01363 | 260.3781 | 0.011709 | 260.4942 | 0.010356 | 260.6102 | 0.010942 | 260.7263 | 0.012534 | 260.8424 | 0.009469 | 261.0599 | 0.014618 | 261.176 | 0.0088506 | 261.292 | 0.01321 | 261.4081 | 2.928 | 261.5242 | 0.012415 | 261.6403 | 0.013705 | 261.7564 | 0.011155 | 261.8724 | 0.012685 | 262.0899 | 0.0083488 | 262.206 | 0.012095 | 262.322 | 0.011234 | 262.4381 | 0.0075742 | 262.5545 | 0.0093273 | 262.6706 | 0.0087378 | 262.7867 | 0.0078231 | 262.9027 | 2.9514e-05 | 263.1202 | 0.0076588 | 263.2363 | 0.00023403 | 263.3524
2.92 | 265.9998 | 0.010578 | 266.1158 | 0.013017 | 266.2319 | 0.01507 | 266.348 | 0.013205 | 266.4641 | 0.012108 | 266.5802 | 0.0088464 | 266.6962 | 0.012895 | 266.8123 | 0.014067 | 267.0298 | 0.012718 | 267.1458 | 0.012673 | 267.2619 | 0.01363 | 267.378 | 0.01171 | 267.4941 | 0.010357 | 267.6191 | 0.010942 | 267.7352 | 0.012535 | 267.8513 | 0.0094692 | 268.0688 | 0.014618 | 268.1849 | 0.0088505 | 268.3009 | 0.01321 | 268.417 | 2.928 | 268.5331 | 0.012415 | 268.6492 | 0.013706 | 268.7652 | 0.011154 | 268.8813 | 0.012685 | 269.0988 | 0.0083496 | 269.2149 | 0.012097 | 269.331 | 0.011235 | 269.447 | 0.0075742 | 269.5631 | 0.0093277 | 269.6792 | 0.0087379 | 269.7953 | 0.007823 | 269.9113 | 2.9526e-05 | 270.1288 | 0.0076589 | 270.2449 | 0.00023354 | 270.361
2.92 | 272.9998 | 0.010578 | 273.1159 | 0.013017 | 273.232 | 0.015071 | 273.3481 | 0.013205 | 273.4641 | 0.012109 | 273.5802 | 0.008847 | 273.6963 | 0.012896 | 273.8124 | 0.014066 | 274.0298 | 0.012717 | 274.1459 | 0.012673 | 274.262 | 0.01363 | 274.3781 | 0.011709 | 274.4941 | 0.010356 | 274.6102 | 0.010941 | 274.7263 | 0.012535 | 274.8424 | 0.0094693 | 275.0599 | 0.014618 | 275.176 | 0.0088502 | 275.2921 | 0.013209 | 275.4081 | 2.928 | 275.5242 | 0.012415 | 275.6403 | 0.013706 | 275.7564 | 0.011154 | 275.8725 | 0.012685 | 276.0899 | 0.008349 | 276.206 | 0.012097 | 276.3221 | 0.011235 | 276.4382 | 0.007575 | 276.5542 | 0.0093278 | 276.6703 | 0.0087383 | 276.7864 | 0.0078233 | 276.9024 | 2.9765e-05 | 277.1199 | 0.0076588 | 277.236 | 0.00023413 | 277.3521
2.92 | 279.9998 | 0.010576 | 280.1159 | 0.013016 | 280.232 | 0.01507 | 280.348 | 0.013204 | 280.4641 | 0.012108 | 280.5802 | 0.0088455 | 280.6963 | 0.012895 | 280.8124 | 0.014065 | 281.0298 | 0.012717 | 281.1459 | 0.012672 | 281.262 | 0.013629 | 281.378 | 0.011709 | 281.4941 | 0.010356 | 281.6102 | 0.010941 | 281.7262 | 0.012535 | 281.8423 | 0.0094686 | 282.0598 | 0.014617 | 282.1759 | 0.0088499 | 282.292 | 0.013209 | 282.4081 | 2.928 | 282.5241 | 0.012414 | 282.6402 | 0.013704 | 282.7563 | 0.011154 | 282.8724 | 0.012684 | 283.0899 | 0.0083482 | 283.206 | 0.012096 | 283.3221 | 0.011234 | 283.4382 | 0.0075748 | 283.5542 | 0.0093273 | 283.6703 | 0.0087375 | 283.7864 | 0.0078229 | 283.9024 | 2.9646e-05 | 284.1199 | 0.0076584 | 284.236 | 0.00023348 | 284.352
2.92 | 286.9998 | 0.010576 | 287.1158 | 0.013016 | 287.2319 | 0.01507 | 287.348 | 0.013204 | 287.4641 | 0.012108 | 287.5802 | 0.0088449 | 287.6962 | 0.012894 | 287.8215 | 0.014064 | 288.0389 | 0.012716 | 288.155 | 0.012671 | 288.2711 | 0.013628 | 288.3872 | 0.011708 | 288.5033 | 0.010355 | 288.6193 | 0.01094 | 288.7354 | 0.012534 | 288.8515 | 0.0094681 | 289.069 | 0.014617 | 289.1851 | 0.0088493 | 289.3011 | 0.013209 | 289.4172 | 2.928 | 289.5333 | 0.012413 | 289.6494 | 0.013703 | 289.7655 | 0.011153 | 289.8816 | 0.012683 | 290.099 | 0.0083478 | 290.2151 | 0.012095 | 290.3312 | 0.011233 | 290.4473 | 0.0075735 | 290.5634 | 0.0093265 | 290.6794 | 0.008737 | 290.7955 | 0.0078226 | 290.9116 | 2.8815e-05 | 291.129 | 0.0076577 | 291.2451 | 0.00023384 | 291.3612
2.92 | 293.9998 | 0.010576 | 294.1159 | 0.013017 | 294.2319 | 0.01507 | 294.348 | 0.013204 | 294.4641 | 0.012108 | 294.5802 | 0.0088456 | 294.6963 | 0.012894 | 294.8123 | 0.014064 | 295.0298 | 0.012716 | 295.1459 | 0.012671 | 295.2619 | 0.013628 | 295.378 | 0.011708 | 295.4941 | 0.010355 | 295.6102 | 0.01094 | 295.7263 | 0.012534 | 295.8423 | 0.0094676 | 296.0599 | 0.014616 | 296.1759 | 0.0088492 | 296.292 | 0.013208 | 296.4081 | 2.928 | 296.5242 | 0.012414 | 296.6403 | 0.013703 | 296.7564 | 0.011153 | 296.8725 | 0.012683 | 297.0899 | 0.0083478 | 297.206 | 0.012095 | 297.3221 | 0.011234 | 297.4382 | 0.0075738 | 297.5543 | 0.0093263 | 297.6703 | 0.0087364 | 297.7864 | 0.0078222 | 297.9026 | 2.9816e-05 | 298.1201 | 0.0076585 | 298.2362 | 0.00023376 | 298.3523
2.92 | 300.9998 | 0.010576 | 301.1158 | 0.013017 | 301.2319 | 0.015069 | 301.348 | 0.013204 | 301.4641 | 0.012108 | 301.5802 | 0.0088462 | 301.6963 | 0.012894 | 301.8123 | 0.014064 | 302.0298 | 0.012716 | 302.1459 | 0.012672 | 302.2619 | 0.013628 | 302.378 | 0.011708 | 302.4941 | 0.010355 | 302.6102 | 0.01094 | 302.7263 | 0.012533 | 302.8423 | 0.0094676 | 303.0599 | 0.014616 | 303.176 | 0.0088494 | 303.2921 | 0.013208 | 303.4082 | 2.928 | 303.5243 | 0.012414 | 303.6404 | 0.013704 | 303.7564 | 0.011153 | 303.8725 | 0.012683 | 304.09 | 0.0083482 | 304.206 | 0.012095 | 304.3221 | 0.011233 | 304.4382 | 0.0075743 | 304.5542 | 0.0093263 | 304.6703 | 0.0087365 | 304.7864 | 0.0078228 | 304.9025 | 2.9903e-05 | 305.1199 | 0.0076584 | 305.236 | 0.00023379 | 305.3521
2.92 | 307.9998 | 0.010577 | 308.1159 | 0.013018 | 308.232 | 0.015068 | 308.3481 | 0.013204 | 308.4641 | 0.012107 | 308.5802 | 0.0088462 | 308.6963 | 0.012895 | 308.8123 | 0.014064 | 309.0298 | 0.012716 | 309.1459 | 0.012672 | 309.262 | 0.013629 | 309.3781 | 0.011708 | 309.4942 | 0.010356 | 309.6102 | 0.010941 | 309.7263 | 0.012533 | 309.8424 | 0.0094675 | 310.0599 | 0.014616 | 310.1759 | 0.0088496 | 310.292 | 0.013209 | 310.4081 | 2.9279 | 310.5242 | 0.012414 | 310.6402 | 0.013705 | 310.7563 | 0.011154 | 310.8724 | 0.012683 | 311.0898 | 0.0083486 | 311.2059 | 0.012096 | 311.322 | 0.011233 | 311.4381 | 0.0075748 | 311.5542 | 0.0093267 | 311.6703 | 0.0087376 | 311.7863 | 0.0078229 | 311.9024 | 3.0099e-05 | 312.1199 | 0.0076586 | 312.236 | 0.00023408 | 312.3521
2.92 | 314.9998 | 0.010577 | 315.1159 | 0.013017 | 315.232 | 0.015068 | 315.348 | 0.013203 | 315.4641 | 0.012106 | 315.5802 | 0.0088467 | 315.6962 | 0.012894 | 315.8123 | 0.014064 | 316.0298 | 0.012716 | 316.1458 | 0.012672 | 316.2619 | 0.013629 | 316.378 | 0.011708 | 316.4941 | 0.010356 | 316.6102 | 0.010941 | 316.7262 | 0.012534 | 316.8423 | 0.0094677 | 317.0598 | 0.014616 | 317.1759 | 0.0088495 | 317.292 | 0.013209 | 317.4081 | 2.9279 | 317.5241 | 0.012414 | 317.6402 | 0.013704 | 317.7563 | 0.011153 | 317.8724 | 0.012684 | 318.09 | 0.0083481 | 318.2061 | 0.012095 | 318.3222 | 0.011234 | 318.4382 | 0.0075749 | 318.5543 | 0.0093267 | 318.6704 | 0.0087376 | 318.7864 | 0.0078234 | 318.9025 | 2.9672e-05 | 319.12 | 0.007659 | 319.2361 | 0.00023345 | 319.3521
2.92 | 321.9998 | 0.010575 | 322.1158 | 0.013016 | 322.2319 | 0.015067 | 322.348 | 0.013202 | 322.4641 | 0.012105 | 322.5802 | 0.0088453 | 322.6962 | 0.012894 | 322.8123 | 0.014064 | 323.0298 | 0.012717 | 323.1462 | 0.012672 | 323.2623 | 0.013628 | 323.3784 | 0.011708 | 323.4944 | 0.010355 | 323.6105 | 0.01094 | 323.7266 | 0.012534 | 323.8427 | 0.009468 | 324.0602 | 0.014616 | 324.1763 | 0.0088496 | 324.2924 | 0.013209 | 324.4085 | 2.9279 | 324.5245 | 0.012413 | 324.6406 | 0.013703 | 324.7567 | 0.011153 | 324.8728 | 0.012683 | 325.0903 | 0.008348 | 325.2064 | 0.012095 | 325.3225 | 0.011234 | 325.4386 | 0.0075751 | 325.5546 | 0.0093265 | 325.6707 | 0.008737 | 325.7868 | 0.0078233 | 325.9029 | 2.9593e-05 | 326.1203 | 0.0076587 | 326.2364 | 0.00023367 | 326.3525
2.92 | 328.9998 | 0.010575 | 329.1159 | 0.013015 | 329.232 | 0.015066 | 329.348 | 0.013202 | 329.4641 | 0.012106 | 329.5802 | 0.0088447 | 329.6963 | 0.012893 | 329.8124 | 0.014063 | 330.0299 | 0.012717 | 330.1459 | 0.012672 | 330.262 | 0.013628 | 330.3781 | 0.011708 | 330.4941 | 0.010355 | 330.6102 | 0.01094 | 330.7263 | 0.012534 | 330.8424 | 0.0094679 | 331.0599 | 0.014616 | 331.176 | 0.0088494 | 331.2921 | 0.013209 | 331.4082 | 2.9279 | 331.5242 | 0.012414 | 331.6403 | 0.013703 | 331.7564 | 0.011153 | 331.8725 | 0.012683 | 332.0899 | 0.0083479 | 332.206 | 0.012095 | 332.3221 | 0.011233 | 332.4382 | 0.0075742 | 332.5543 | 0.0093262 | 332.6704 | 0.0087371 | 332.7864 | 0.0078226 | 332.9025 | 2.9559e-05 | 333.12 | 0.0076581 | 333.2361 | 0.00023349 | 333.3523
2.92 | 335.9997 | 0.010575 | 336.1158 | 0.013015 | 336.2319 | 0.015067 | 336.348 | 0.013203 | 336.4641 | 0.012108 | 336.5801 | 0.0088452 | 336.6962 | 0.012893 | 336.8123 | 0.014066 | 337.0297 | 0.012717 | 337.1458 | 0.012672 | 337.2619 | 0.013629 | 337.378 | 0.011709 | 337.494 | 0.010356 | 337.6101 | 0.010941 | 337.7262 | 0.012534 | 337.8422 | 0.0094687 | 338.0597 | 0.014617 | 338.1758 | 0.0088505 | 338.2919 | 0.01321 | 338.408 | 2.9279 | 338.5241 | 0.012415 | 338.6402 | 0.013704 | 338.7563 | 0.011154 | 338.8723 | 0.012684 | 339.0898 | 0.0083484 | 339.2059 | 0.012096 | 339.322 | 0.011234 | 339.4381 | 0.0075744 | 339.5541 | 0.0093268 | 339.6702 | 0.0087378 | 339.7863 | 0.0078232 | 339.9024 | 2.9801e-05 | 340.1199 | 0.0076587 | 340.2359 | 0.00023391 | 340.352
2.92 | 342.9998 | 0.010577 | 343.1159 | 0.013017 | 343.232 | 0.015067 | 343.3483 | 0.013204 | 343.4644 | 0.012109 | 343.5805 | 0.0088467 | 343.6965 | 0.012894 | 343.8126 | 0.014068 | 344.0301 | 0.012718 | 344.1462 | 0.01267 | 344.2622 | 0.013625 | 344.3783 | 0.011708 | 344.4944 | 0.010357 | 344.6105 | 0.010941 | 344.7266 | 0.012535 | 344.8426 | 0.0094688 | 345.0601 | 0.014617 | 345.1762 | 0.0088505 | 345.2923 | 0.013209 | 345.4084 | 2.9279 | 345.5245 | 0.012415 | 345.6405 | 0.013704 | 345.7566 | 0.011155 | 345.8727 | 0.012685 | 346.0902 | 0.0083484 | 346.2063 | 0.012096 | 346.3223 | 0.011235 | 346.4384 | 0.007574 | 346.5545 | 0.0093272 | 346.6705 | 0.0087377 | 346.7866 | 0.0078235 | 346.9027 | 2.9465e-05 | 347.1202 | 0.0076585 | 347.2362 | 0.00023357 | 347.3523