## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9176 | 0 | 0.010592 | 0.11613 | 0.012997 | 0.23223 | 0.015072 | 0.3483 | 0.013188 | 0.46438 | 0.012127 | 0.58045 | 0.0088633 | 0.69654 | 0.012907 | 0.81261 | 0.013998 | 1.0301 | 0.012663 | 1.1462 | 0.012599 | 1.2622 | 0.01356 | 1.3783 | 0.011716 | 1.4944 | 0.01036 | 1.6104 | 0.010945 | 1.7265 | 0.012541 | 1.8426 | 0.0094656 | 2.0601 | 0.014615 | 2.1762 | 0.0088475 | 2.2922 | 0.013217 | 2.4083 | 2.9256 | 2.5244 | 0.012416 | 2.6405 | 0.013709 | 2.7565 | 0.011151 | 2.8726 | 0.012689 | 3.0901 | 0.0083756 | 3.2062 | 0.012119 | 3.3223 | 0.01124 | 3.4383 | 0.0075723 | 3.5544 | 0.0093224 | 3.6705 | 0.0087443 | 3.7866 | 0.0078182 | 3.9027 | 4.1183e-05 | 4.1201 | 0.0076646 | 4.2362 | 0.00022853 | 4.3523
2.9176 | 6.9996 | 0.010591 | 7.1157 | 0.012996 | 7.2318 | 0.015071 | 7.3479 | 0.013186 | 7.464 | 0.012125 | 7.58 | 0.0088615 | 7.6961 | 0.012906 | 7.8122 | 0.013997 | 8.0297 | 0.012662 | 8.1458 | 0.012597 | 8.2619 | 0.013559 | 8.3779 | 0.011713 | 8.494 | 0.010359 | 8.6101 | 0.010943 | 8.7262 | 0.012539 | 8.8422 | 0.009464 | 9.0597 | 0.014614 | 9.1758 | 0.0088464 | 9.2919 | 0.013216 | 9.408 | 2.9256 | 9.5241 | 0.012414 | 9.6401 | 0.013707 | 9.7562 | 0.011149 | 9.8723 | 0.012688 | 10.0898 | 0.0083743 | 10.2059 | 0.012117 | 10.322 | 0.011238 | 10.438 | 0.0075708 | 10.5541 | 0.0093211 | 10.6702 | 0.0087421 | 10.7863 | 0.0078172 | 10.9023 | 4.0354e-05 | 11.1198 | 0.0076627 | 11.2359 | 0.00022822 | 11.3519
2.9176 | 13.9997 | 0.01059 | 14.1157 | 0.012996 | 14.2318 | 0.01507 | 14.3479 | 0.013186 | 14.464 | 0.012124 | 14.5801 | 0.008861 | 14.6961 | 0.012906 | 14.8122 | 0.013996 | 15.0297 | 0.012661 | 15.1458 | 0.012596 | 15.2619 | 0.013557 | 15.378 | 0.011712 | 15.4941 | 0.010358 | 15.6101 | 0.010943 | 15.7262 | 0.012539 | 15.8423 | 0.0094633 | 16.0598 | 0.014612 | 16.1759 | 0.0088461 | 16.2919 | 0.013214 | 16.408 | 2.9256 | 16.5241 | 0.012414 | 16.6402 | 0.013706 | 16.7563 | 0.01115 | 16.8724 | 0.012689 | 17.0898 | 0.008374 | 17.2059 | 0.012116 | 17.322 | 0.011237 | 17.4381 | 0.0075702 | 17.5541 | 0.0093202 | 17.6702 | 0.0087421 | 17.7863 | 0.0078166 | 17.9024 | 4.0362e-05 | 18.1198 | 0.0076622 | 18.2359 | 0.00022825 | 18.352
2.9176 | 20.9996 | 0.010591 | 21.1157 | 0.012996 | 21.2318 | 0.015071 | 21.3479 | 0.013186 | 21.464 | 0.012124 | 21.5801 | 0.0088606 | 21.6962 | 0.012906 | 21.8122 | 0.013996 | 22.0297 | 0.01266 | 22.1458 | 0.012596 | 22.2618 | 0.013557 | 22.3779 | 0.011712 | 22.494 | 0.010359 | 22.6101 | 0.010943 | 22.7261 | 0.012538 | 22.8422 | 0.0094637 | 23.0597 | 0.014612 | 23.1758 | 0.0088462 | 23.2919 | 0.013214 | 23.4079 | 2.9256 | 23.524 | 0.012413 | 23.6401 | 0.013707 | 23.7562 | 0.011151 | 23.8723 | 0.01269 | 24.0898 | 0.0083735 | 24.2059 | 0.012117 | 24.3219 | 0.011237 | 24.438 | 0.0075706 | 24.5541 | 0.00932 | 24.6702 | 0.008742 | 24.7862 | 0.0078168 | 24.9023 | 4.0908e-05 | 25.1198 | 0.007663 | 25.2359 | 0.00022805 | 25.352
2.9176 | 27.9996 | 0.010591 | 28.1157 | 0.012996 | 28.2318 | 0.015071 | 28.3479 | 0.013186 | 28.464 | 0.012123 | 28.5801 | 0.0088614 | 28.6962 | 0.012907 | 28.8122 | 0.013997 | 29.0297 | 0.01266 | 29.1458 | 0.012596 | 29.2618 | 0.013558 | 29.3779 | 0.011713 | 29.494 | 0.010359 | 29.6101 | 0.010944 | 29.7261 | 0.012539 | 29.8422 | 0.0094637 | 30.0597 | 0.014612 | 30.1758 | 0.0088459 | 30.292 | 0.013215 | 30.4081 | 2.9256 | 30.5242 | 0.012413 | 30.6403 | 0.013707 | 30.7563 | 0.011151 | 30.8724 | 0.012691 | 31.0899 | 0.0083739 | 31.206 | 0.012116 | 31.322 | 0.011237 | 31.4381 | 0.0075701 | 31.5542 | 0.0093203 | 31.6703 | 0.0087419 | 31.7864 | 0.0078163 | 31.9024 | 4.0372e-05 | 32.1199 | 0.007663 | 32.236 | 0.00022798 | 32.352
2.9176 | 34.9996 | 0.01059 | 35.1157 | 0.012995 | 35.2318 | 0.01507 | 35.3481 | 0.013185 | 35.4643 | 0.012124 | 35.5803 | 0.0088605 | 35.6964 | 0.012905 | 35.8125 | 0.013996 | 36.03 | 0.01266 | 36.146 | 0.012593 | 36.2621 | 0.013555 | 36.3782 | 0.011712 | 36.4943 | 0.010358 | 36.6104 | 0.010943 | 36.7264 | 0.012539 | 36.8425 | 0.0094632 | 37.06 | 0.014611 | 37.1761 | 0.0088458 | 37.2922 | 0.013215 | 37.4082 | 2.9256 | 37.5243 | 0.012413 | 37.6404 | 0.013706 | 37.7565 | 0.011151 | 37.8726 | 0.01269 | 38.0901 | 0.0083741 | 38.2061 | 0.012116 | 38.3222 | 0.011237 | 38.4383 | 0.0075702 | 38.5544 | 0.0093203 | 38.6705 | 0.0087423 | 38.7866 | 0.0078165 | 38.9026 | 3.9864e-05 | 39.1201 | 0.0076629 | 39.2362 | 0.00022795 | 39.3523
2.9176 | 41.9997 | 0.010589 | 42.1158 | 0.012993 | 42.2318 | 0.015068 | 42.3479 | 0.013184 | 42.464 | 0.012123 | 42.5801 | 0.0088604 | 42.6962 | 0.012904 | 42.8123 | 0.013997 | 43.0297 | 0.012661 | 43.1458 | 0.012593 | 43.2619 | 0.013556 | 43.378 | 0.011713 | 43.4941 | 0.010357 | 43.6101 | 0.010943 | 43.7262 | 0.012538 | 43.8423 | 0.0094634 | 44.0598 | 0.014612 | 44.1759 | 0.008846 | 44.292 | 0.013215 | 44.4081 | 2.9256 | 44.5241 | 0.012413 | 44.6402 | 0.013707 | 44.7563 | 0.011151 | 44.8724 | 0.01269 | 45.0898 | 0.0083739 | 45.2059 | 0.012116 | 45.322 | 0.011237 | 45.4382 | 0.0075698 | 45.5543 | 0.0093197 | 45.6704 | 0.0087417 | 45.7864 | 0.0078163 | 45.9025 | 3.963e-05 | 46.12 | 0.0076632 | 46.2361 | 0.00022792 | 46.3522
2.9176 | 48.9996 | 0.010588 | 49.1157 | 0.012993 | 49.2318 | 0.015067 | 49.3479 | 0.013184 | 49.464 | 0.012123 | 49.5801 | 0.0088592 | 49.6962 | 0.012903 | 49.8123 | 0.013996 | 50.0297 | 0.012661 | 50.1458 | 0.012593 | 50.2619 | 0.013556 | 50.3779 | 0.011713 | 50.4941 | 0.010358 | 50.6103 | 0.010943 | 50.7263 | 0.012538 | 50.8424 | 0.0094636 | 51.0599 | 0.014612 | 51.176 | 0.0088463 | 51.2921 | 0.013215 | 51.4082 | 2.9256 | 51.5243 | 0.012413 | 51.6403 | 0.013706 | 51.7564 | 0.011151 | 51.8725 | 0.01269 | 52.09 | 0.0083742 | 52.2061 | 0.012115 | 52.3221 | 0.011237 | 52.4382 | 0.0075696 | 52.5543 | 0.0093199 | 52.6704 | 0.0087424 | 52.7865 | 0.0078166 | 52.9026 | 4.0013e-05 | 53.12 | 0.0076635 | 53.2361 | 0.00022797 | 53.3522
2.9176 | 55.9997 | 0.010589 | 56.1158 | 0.012992 | 56.2318 | 0.015067 | 56.3479 | 0.013183 | 56.464 | 0.012122 | 56.5801 | 0.0088597 | 56.6962 | 0.012903 | 56.8122 | 0.013995 | 57.0297 | 0.012661 | 57.1458 | 0.012593 | 57.2619 | 0.013556 | 57.3779 | 0.011714 | 57.494 | 0.010357 | 57.6101 | 0.010943 | 57.7262 | 0.012538 | 57.8422 | 0.0094638 | 58.0597 | 0.014611 | 58.1758 | 0.0088457 | 58.2919 | 0.013214 | 58.408 | 2.9256 | 58.5241 | 0.012413 | 58.6402 | 0.013706 | 58.7562 | 0.01115 | 58.8723 | 0.012689 | 59.0898 | 0.0083738 | 59.2059 | 0.012116 | 59.322 | 0.011237 | 59.438 | 0.0075698 | 59.5541 | 0.0093203 | 59.6702 | 0.0087423 | 59.7863 | 0.0078164 | 59.9024 | 3.9793e-05 | 60.1198 | 0.007663 | 60.2359 | 0.00022859 | 60.352
2.9176 | 62.9996 | 0.010588 | 63.1158 | 0.012992 | 63.2318 | 0.015067 | 63.3479 | 0.013183 | 63.464 | 0.012121 | 63.5801 | 0.0088594 | 63.6962 | 0.012903 | 63.8122 | 0.013994 | 64.0297 | 0.012661 | 64.1458 | 0.012592 | 64.2619 | 0.013556 | 64.3779 | 0.011712 | 64.494 | 0.010357 | 64.6101 | 0.010942 | 64.7262 | 0.012537 | 64.8423 | 0.0094629 | 65.0598 | 0.01461 | 65.1758 | 0.0088449 | 65.2919 | 0.013213 | 65.408 | 2.9256 | 65.5241 | 0.012412 | 65.6403 | 0.013705 | 65.7564 | 0.011149 | 65.8725 | 0.012688 | 66.09 | 0.0083731 | 66.206 | 0.012115 | 66.3221 | 0.011236 | 66.4382 | 0.0075699 | 66.5543 | 0.0093192 | 66.6704 | 0.0087413 | 66.7864 | 0.0078159 | 66.9025 | 3.9812e-05 | 67.12 | 0.0076624 | 67.2361 | 0.00022744 | 67.3522
2.9176 | 69.9997 | 0.010587 | 70.1157 | 0.012992 | 70.2319 | 0.015066 | 70.3479 | 0.013182 | 70.464 | 0.01212 | 70.5801 | 0.0088588 | 70.6963 | 0.012903 | 70.8124 | 0.013994 | 71.0299 | 0.01266 | 71.146 | 0.012593 | 71.262 | 0.013556 | 71.3781 | 0.011712 | 71.4942 | 0.010356 | 71.6103 | 0.010941 | 71.7264 | 0.012536 | 71.8425 | 0.0094617 | 72.06 | 0.014609 | 72.176 | 0.0088446 | 72.2921 | 0.013212 | 72.4082 | 2.9256 | 72.5243 | 0.012412 | 72.6403 | 0.013704 | 72.7564 | 0.011149 | 72.8725 | 0.012687 | 73.09 | 0.0083727 | 73.2061 | 0.012113 | 73.3221 | 0.011235 | 73.4382 | 0.0075699 | 73.5543 | 0.0093189 | 73.6704 | 0.0087406 | 73.7864 | 0.0078145 | 73.9025 | 3.9744e-05 | 74.12 | 0.0076622 | 74.236 | 0.00022741 | 74.3521
2.9176 | 76.9996 | 0.010587 | 77.1158 | 0.012992 | 77.2318 | 0.015066 | 77.3479 | 0.013182 | 77.464 | 0.012119 | 77.5801 | 0.0088592 | 77.6962 | 0.012903 | 77.8123 | 0.013993 | 78.0297 | 0.01266 | 78.1458 | 0.012592 | 78.2619 | 0.013555 | 78.3779 | 0.011711 | 78.494 | 0.010357 | 78.6101 | 0.010941 | 78.7262 | 0.012536 | 78.8422 | 0.0094621 | 79.0597 | 0.01461 | 79.1758 | 0.0088445 | 79.2919 | 0.013212 | 79.408 | 2.9256 | 79.524 | 0.012411 | 79.6401 | 0.013704 | 79.7562 | 0.011149 | 79.8723 | 0.012688 | 80.0898 | 0.008372 | 80.2058 | 0.012113 | 80.3219 | 0.011235 | 80.438 | 0.0075691 | 80.5541 | 0.0093185 | 80.6702 | 0.0087402 | 80.7863 | 0.0078151 | 80.9025 | 3.9192e-05 | 81.1199 | 0.0076622 | 81.236 | 0.00022771 | 81.3521
2.9176 | 83.9997 | 0.010588 | 84.1157 | 0.012992 | 84.2318 | 0.015066 | 84.3479 | 0.013183 | 84.464 | 0.012121 | 84.5801 | 0.0088593 | 84.6962 | 0.012903 | 84.8122 | 0.013994 | 85.0297 | 0.012659 | 85.1458 | 0.012592 | 85.2619 | 0.013555 | 85.378 | 0.011711 | 85.494 | 0.010356 | 85.6101 | 0.010941 | 85.7262 | 0.012536 | 85.8424 | 0.0094616 | 86.0599 | 0.014609 | 86.176 | 0.0088441 | 86.2921 | 0.013212 | 86.4082 | 2.9255 | 86.5242 | 0.012411 | 86.6403 | 0.013704 | 86.7564 | 0.011149 | 86.8725 | 0.012687 | 87.09 | 0.0083724 | 87.2061 | 0.012113 | 87.3221 | 0.011235 | 87.4382 | 0.0075682 | 87.5543 | 0.0093194 | 87.6704 | 0.0087409 | 87.7864 | 0.0078151 | 87.9025 | 3.9267e-05 | 88.12 | 0.0076621 | 88.236 | 0.00022711 | 88.3521
2.9176 | 90.9996 | 0.010589 | 91.1158 | 0.012993 | 91.2319 | 0.015067 | 91.3479 | 0.013184 | 91.464 | 0.012122 | 91.5801 | 0.0088601 | 91.6962 | 0.012903 | 91.8123 | 0.013995 | 92.0298 | 0.012659 | 92.1458 | 0.012593 | 92.2619 | 0.013556 | 92.378 | 0.011711 | 92.4941 | 0.010357 | 92.6102 | 0.010941 | 92.7262 | 0.012536 | 92.8423 | 0.0094621 | 93.0598 | 0.014609 | 93.1759 | 0.0088449 | 93.292 | 0.013212 | 93.4081 | 2.9256 | 93.5242 | 0.012412 | 93.6402 | 0.013705 | 93.7563 | 0.01115 | 93.8724 | 0.012688 | 94.0899 | 0.0083727 | 94.2059 | 0.012114 | 94.322 | 0.011236 | 94.4381 | 0.0075693 | 94.5541 | 0.0093201 | 94.6702 | 0.0087416 | 94.7863 | 0.0078158 | 94.9024 | 3.9281e-05 | 95.1198 | 0.007663 | 95.2359 | 0.00022757 | 95.352
2.9176 | 97.9996 | 0.010589 | 98.1158 | 0.012993 | 98.2319 | 0.015067 | 98.3479 | 0.013183 | 98.464 | 0.012123 | 98.5801 | 0.0088603 | 98.6962 | 0.012903 | 98.8123 | 0.013996 | 99.0298 | 0.01266 | 99.1458 | 0.012594 | 99.2619 | 0.013556 | 99.378 | 0.011712 | 99.4941 | 0.010356 | 99.6101 | 0.010942 | 99.7262 | 0.012537 | 99.8423 | 0.0094623 | 100.0598 | 0.014609 | 100.1759 | 0.0088452 | 100.292 | 0.013213 | 100.4081 | 2.9256 | 100.5241 | 0.012413 | 100.6402 | 0.013706 | 100.7563 | 0.01115 | 100.8724 | 0.012689 | 101.09 | 0.0083727 | 101.206 | 0.012115 | 101.3221 | 0.011237 | 101.4382 | 0.0075698 | 101.5543 | 0.0093206 | 101.6704 | 0.0087412 | 101.7864 | 0.0078161 | 101.9025 | 3.9681e-05 | 102.12 | 0.0076633 | 102.2361 | 0.00022814 | 102.3522
2.9176 | 104.9997 | 0.010589 | 105.1157 | 0.012993 | 105.2318 | 0.015067 | 105.3479 | 0.013183 | 105.464 | 0.012122 | 105.5801 | 0.0088609 | 105.6962 | 0.012904 | 105.8122 | 0.013996 | 106.0298 | 0.012659 | 106.146 | 0.012593 | 106.262 | 0.013556 | 106.3781 | 0.011712 | 106.4942 | 0.010357 | 106.6103 | 0.010941 | 106.7264 | 0.012537 | 106.8424 | 0.0094625 | 107.0599 | 0.01461 | 107.176 | 0.008845 | 107.2921 | 0.013213 | 107.4082 | 2.9255 | 107.5243 | 0.012413 | 107.6404 | 0.013706 | 107.7564 | 0.011151 | 107.8726 | 0.012689 | 108.09 | 0.0083731 | 108.2061 | 0.012115 | 108.3222 | 0.011237 | 108.4383 | 0.0075694 | 108.5544 | 0.0093202 | 108.6705 | 0.0087411 | 108.7865 | 0.0078157 | 108.9026 | 3.9676e-05 | 109.1201 | 0.0076631 | 109.2362 | 0.00022756 | 109.3523
2.9176 | 111.9996 | 0.010589 | 112.1157 | 0.012993 | 112.2318 | 0.015067 | 112.3479 | 0.013183 | 112.464 | 0.012121 | 112.5801 | 0.0088598 | 112.6962 | 0.012903 | 112.8123 | 0.013995 | 113.0297 | 0.01266 | 113.1458 | 0.012593 | 113.2619 | 0.013556 | 113.378 | 0.011712 | 113.494 | 0.010357 | 113.6101 | 0.010942 | 113.7262 | 0.012537 | 113.8423 | 0.0094624 | 114.0598 | 0.014609 | 114.1759 | 0.0088447 | 114.292 | 0.013213 | 114.4081 | 2.9255 | 114.5242 | 0.012413 | 114.6402 | 0.013706 | 114.7563 | 0.01115 | 114.8724 | 0.012689 | 115.0899 | 0.0083732 | 115.206 | 0.012115 | 115.322 | 0.011236 | 115.4381 | 0.0075689 | 115.5542 | 0.0093196 | 115.6703 | 0.0087412 | 115.7863 | 0.0078154 | 115.9024 | 3.9632e-05 | 116.12 | 0.0076628 | 116.2361 | 0.0002272 | 116.3522
2.9176 | 118.9997 | 0.010589 | 119.1157 | 0.012993 | 119.2318 | 0.015068 | 119.3479 | 0.013183 | 119.464 | 0.012121 | 119.5801 | 0.0088594 | 119.6962 | 0.012904 | 119.8122 | 0.013995 | 120.0297 | 0.012659 | 120.1458 | 0.012592 | 120.2619 | 0.013556 | 120.378 | 0.011712 | 120.494 | 0.010356 | 120.6101 | 0.010942 | 120.7262 | 0.012536 | 120.8423 | 0.0094622 | 121.0598 | 0.014609 | 121.176 | 0.0088449 | 121.2921 | 0.013212 | 121.4082 | 2.9255 | 121.5243 | 0.012412 | 121.6404 | 0.013705 | 121.7565 | 0.011149 | 121.8726 | 0.012688 | 122.09 | 0.0083725 | 122.2061 | 0.012114 | 122.3222 | 0.011235 | 122.4383 | 0.0075688 | 122.5544 | 0.0093188 | 122.6704 | 0.0087402 | 122.7865 | 0.0078152 | 122.9026 | 3.9243e-05 | 123.1201 | 0.0076622 | 123.2362 | 0.00022752 | 123.3523
2.9176 | 125.9996 | 0.010589 | 126.1157 | 0.012993 | 126.2319 | 0.015068 | 126.3481 | 0.013183 | 126.4642 | 0.012121 | 126.5802 | 0.0088587 | 126.6963 | 0.012904 | 126.8124 | 0.013994 | 127.0298 | 0.012659 | 127.1459 | 0.012592 | 127.262 | 0.013555 | 127.3781 | 0.011711 | 127.4942 | 0.010356 | 127.6102 | 0.010941 | 127.7263 | 0.012536 | 127.8424 | 0.0094619 | 128.0599 | 0.014609 | 128.1759 | 0.0088446 | 128.292 | 0.013212 | 128.4081 | 2.9255 | 128.5242 | 0.012411 | 128.6402 | 0.013705 | 128.7563 | 0.011148 | 128.8724 | 0.012686 | 129.0898 | 0.0083723 | 129.2059 | 0.012114 | 129.322 | 0.011235 | 129.4381 | 0.0075689 | 129.5542 | 0.0093183 | 129.6703 | 0.0087402 | 129.7863 | 0.0078153 | 129.9024 | 3.9454e-05 | 130.1199 | 0.007661 | 130.2359 | 0.00022724 | 130.352
2.9175 | 132.9997 | 0.010588 | 133.1158 | 0.012992 | 133.2319 | 0.015068 | 133.3479 | 0.013183 | 133.464 | 0.012122 | 133.5801 | 0.008859 | 133.6962 | 0.012904 | 133.8122 | 0.013994 | 134.0297 | 0.012659 | 134.1458 | 0.012592 | 134.2619 | 0.013555 | 134.378 | 0.011711 | 134.494 | 0.010355 | 134.6101 | 0.01094 | 134.7262 | 0.012536 | 134.8423 | 0.0094616 | 135.0598 | 0.014608 | 135.1758 | 0.0088437 | 135.2919 | 0.013211 | 135.408 | 2.9255 | 135.5241 | 0.012411 | 135.6402 | 0.013705 | 135.7563 | 0.011148 | 135.8724 | 0.012687 | 136.0898 | 0.0083719 | 136.2059 | 0.012114 | 136.3221 | 0.011234 | 136.4382 | 0.0075685 | 136.5543 | 0.0093181 | 136.6704 | 0.0087398 | 136.7865 | 0.0078145 | 136.9026 | 3.9081e-05 | 137.12 | 0.0076615 | 137.2361 | 0.00022765 | 137.3522
2.9176 | 139.9997 | 0.010589 | 140.1158 | 0.012992 | 140.2318 | 0.015068 | 140.3479 | 0.013184 | 140.464 | 0.012121 | 140.5801 | 0.0088586 | 140.6962 | 0.012904 | 140.8123 | 0.013995 | 141.0298 | 0.012658 | 141.1458 | 0.012593 | 141.2619 | 0.013555 | 141.3781 | 0.011711 | 141.4942 | 0.010356 | 141.6103 | 0.010941 | 141.7264 | 0.012535 | 141.8425 | 0.0094613 | 142.06 | 0.014609 | 142.1761 | 0.0088442 | 142.2922 | 0.013212 | 142.4082 | 2.9255 | 142.5243 | 0.012411 | 142.6404 | 0.013704 | 142.7565 | 0.011149 | 142.8726 | 0.012688 | 143.09 | 0.008372 | 143.2061 | 0.012114 | 143.3222 | 0.011235 | 143.4383 | 0.0075688 | 143.5543 | 0.0093185 | 143.6704 | 0.0087399 | 143.7865 | 0.007815 | 143.9026 | 3.9094e-05 | 144.12 | 0.0076621 | 144.2361 | 0.00022729 | 144.3522
2.9176 | 146.9996 | 0.01059 | 147.1158 | 0.012993 | 147.2318 | 0.015068 | 147.3479 | 0.013185 | 147.464 | 0.012122 | 147.5801 | 0.0088596 | 147.6962 | 0.012904 | 147.8123 | 0.013995 | 148.0298 | 0.012659 | 148.1458 | 0.012594 | 148.2619 | 0.013556 | 148.378 | 0.011712 | 148.4941 | 0.010357 | 148.6101 | 0.010941 | 148.7262 | 0.012536 | 148.8423 | 0.0094625 | 149.0598 | 0.014609 | 149.1759 | 0.0088448 | 149.292 | 0.013212 | 149.4081 | 2.9255 | 149.5242 | 0.012412 | 149.6402 | 0.013706 | 149.7563 | 0.01115 | 149.8724 | 0.012689 | 150.0899 | 0.0083724 | 150.206 | 0.012117 | 150.322 | 0.011236 | 150.4381 | 0.0075695 | 150.5542 | 0.0093198 | 150.6703 | 0.0087408 | 150.7863 | 0.0078155 | 150.9024 | 3.9442e-05 | 151.1199 | 0.0076629 | 151.236 | 0.00022762 | 151.352
2.9176 | 153.9997 | 0.010591 | 154.1158 | 0.012995 | 154.2319 | 0.015069 | 154.3479 | 0.013186 | 154.464 | 0.012124 | 154.5801 | 0.0088617 | 154.6962 | 0.012905 | 154.8123 | 0.013996 | 155.0297 | 0.01266 | 155.1458 | 0.012595 | 155.2619 | 0.013557 | 155.378 | 0.011713 | 155.4941 | 0.010357 | 155.6101 | 0.010943 | 155.7262 | 0.012537 | 155.8423 | 0.0094631 | 156.0598 | 0.01461 | 156.1759 | 0.0088453 | 156.292 | 0.013213 | 156.4081 | 2.9256 | 156.5243 | 0.012414 | 156.6404 | 0.013706 | 156.7564 | 0.011152 | 156.8725 | 0.012691 | 157.09 | 0.0083731 | 157.2061 | 0.012118 | 157.3222 | 0.011237 | 157.4382 | 0.0075705 | 157.5543 | 0.0093198 | 157.6704 | 0.0087419 | 157.7865 | 0.0078163 | 157.9026 | 3.9504e-05 | 158.12 | 0.0076634 | 158.2361 | 0.00022797 | 158.3522
2.9176 | 160.9996 | 0.010591 | 161.1158 | 0.012996 | 161.2318 | 0.015069 | 161.3479 | 0.013186 | 161.464 | 0.012124 | 161.5802 | 0.0088618 | 161.6963 | 0.012906 | 161.8124 | 0.013996 | 162.0299 | 0.01266 | 162.146 | 0.012594 | 162.2621 | 0.013557 | 162.3781 | 0.011713 | 162.4942 | 0.010358 | 162.6103 | 0.010943 | 162.7263 | 0.012538 | 162.8424 | 0.0094636 | 163.0599 | 0.01461 | 163.176 | 0.008845 | 163.2921 | 0.013214 | 163.4082 | 2.9255 | 163.5242 | 0.012414 | 163.6403 | 0.013707 | 163.7564 | 0.011152 | 163.8725 | 0.012691 | 164.09 | 0.0083731 | 164.2061 | 0.012117 | 164.3222 | 0.011238 | 164.4382 | 0.0075702 | 164.5543 | 0.0093203 | 164.6704 | 0.0087415 | 164.7865 | 0.0078163 | 164.9026 | 3.942e-05 | 165.12 | 0.0076637 | 165.2361 | 0.00022716 | 165.3522
2.9176 | 167.9996 | 0.01059 | 168.1157 | 0.012994 | 168.2318 | 0.015069 | 168.3479 | 0.013186 | 168.464 | 0.012123 | 168.5801 | 0.008861 | 168.6962 | 0.012905 | 168.8123 | 0.013996 | 169.0298 | 0.01266 | 169.1458 | 0.012595 | 169.2619 | 0.013557 | 169.378 | 0.011713 | 169.4941 | 0.010358 | 169.6102 | 0.010943 | 169.7263 | 0.012538 | 169.8423 | 0.0094631 | 170.0598 | 0.01461 | 170.1759 | 0.0088447 | 170.292 | 0.013213 | 170.4081 | 2.9255 | 170.5242 | 0.012414 | 170.6402 | 0.013707 | 170.7563 | 0.011151 | 170.8724 | 0.01269 | 171.0899 | 0.0083735 | 171.206 | 0.012116 | 171.322 | 0.011237 | 171.4381 | 0.0075698 | 171.5542 | 0.0093195 | 171.6703 | 0.0087409 | 171.7864 | 0.0078159 | 171.9025 | 3.9459e-05 | 172.12 | 0.0076628 | 172.2361 | 0.00022744 | 172.3521
2.9176 | 174.9997 | 0.010589 | 175.1158 | 0.012993 | 175.2318 | 0.015068 | 175.3479 | 0.013184 | 175.464 | 0.012122 | 175.5801 | 0.0088599 | 175.6962 | 0.012904 | 175.8123 | 0.013996 | 176.0298 | 0.012659 | 176.1458 | 0.012594 | 176.2619 | 0.013557 | 176.378 | 0.011712 | 176.494 | 0.010357 | 176.6101 | 0.010942 | 176.7263 | 0.012537 | 176.8424 | 0.0094627 | 177.0599 | 0.014609 | 177.176 | 0.008845 | 177.2921 | 0.013213 | 177.4082 | 2.9255 | 177.5243 | 0.012413 | 177.6404 | 0.013706 | 177.7564 | 0.01115 | 177.8725 | 0.012689 | 178.09 | 0.0083729 | 178.2061 | 0.012115 | 178.3222 | 0.011235 | 178.4382 | 0.0075693 | 178.5543 | 0.0093188 | 178.6704 | 0.0087406 | 178.7865 | 0.0078153 | 178.9026 | 3.9174e-05 | 179.12 | 0.0076624 | 179.2361 | 0.00022752 | 179.3522
2.9176 | 181.9997 | 0.010588 | 182.1157 | 0.012991 | 182.2318 | 0.015067 | 182.3479 | 0.013183 | 182.464 | 0.01212 | 182.5801 | 0.008859 | 182.6962 | 0.012902 | 182.8123 | 0.013994 | 183.0297 | 0.012659 | 183.1458 | 0.012593 | 183.2619 | 0.013556 | 183.378 | 0.011711 | 183.4941 | 0.010357 | 183.6101 | 0.010942 | 183.7262 | 0.012537 | 183.8423 | 0.0094621 | 184.0598 | 0.014609 | 184.1759 | 0.0088446 | 184.292 | 0.013212 | 184.4081 | 2.9255 | 184.5241 | 0.012412 | 184.6402 | 0.013705 | 184.7563 | 0.011149 | 184.8724 | 0.012687 | 185.0899 | 0.0083728 | 185.2059 | 0.012114 | 185.322 | 0.011235 | 185.4381 | 0.0075692 | 185.5542 | 0.0093183 | 185.6703 | 0.00874 | 185.7863 | 0.0078147 | 185.9024 | 3.9253e-05 | 186.1199 | 0.0076616 | 186.2359 | 0.00022752 | 186.352
2.9176 | 188.9996 | 0.010587 | 189.1158 | 0.012991 | 189.2319 | 0.015067 | 189.3479 | 0.013183 | 189.464 | 0.01212 | 189.5801 | 0.0088581 | 189.6962 | 0.012902 | 189.8123 | 0.013993 | 190.0298 | 0.012658 | 190.1458 | 0.012592 | 190.2619 | 0.013556 | 190.378 | 0.011711 | 190.4941 | 0.010356 | 190.6102 | 0.010941 | 190.7262 | 0.012536 | 190.8423 | 0.0094618 | 191.0598 | 0.014608 | 191.1759 | 0.0088446 | 191.292 | 0.013212 | 191.4081 | 2.9255 | 191.5242 | 0.012412 | 191.6403 | 0.013704 | 191.7563 | 0.011148 | 191.8725 | 0.012687 | 192.09 | 0.0083724 | 192.2061 | 0.012114 | 192.3222 | 0.011235 | 192.4383 | 0.0075684 | 192.5544 | 0.0093178 | 192.6704 | 0.0087398 | 192.7865 | 0.0078152 | 192.9026 | 3.9225e-05 | 193.1201 | 0.0076615 | 193.2362 | 0.00022703 | 193.3523
2.9176 | 195.9997 | 0.010588 | 196.1158 | 0.012992 | 196.2319 | 0.015067 | 196.3479 | 0.013183 | 196.464 | 0.012121 | 196.5801 | 0.0088586 | 196.6962 | 0.012903 | 196.8123 | 0.013994 | 197.0298 | 0.012658 | 197.1459 | 0.012592 | 197.2619 | 0.013555 | 197.378 | 0.011711 | 197.4941 | 0.010356 | 197.6102 | 0.010941 | 197.7263 | 0.012536 | 197.8423 | 0.0094615 | 198.0598 | 0.014609 | 198.1759 | 0.0088445 | 198.292 | 0.013212 | 198.4081 | 2.9255 | 198.5242 | 0.012411 | 198.6403 | 0.013705 | 198.7563 | 0.011149 | 198.8724 | 0.012688 | 199.0899 | 0.0083722 | 199.206 | 0.012114 | 199.3221 | 0.011235 | 199.4381 | 0.0075686 | 199.5542 | 0.0093187 | 199.6703 | 0.0087399 | 199.7864 | 0.0078149 | 199.9025 | 3.9179e-05 | 200.1199 | 0.007662 | 200.236 | 0.00022743 | 200.3521
2.9174 | 202.9997 | 0.010588 | 203.1158 | 0.012993 | 203.2318 | 0.015067 | 203.3479 | 0.013183 | 203.464 | 0.012121 | 203.5801 | 0.0088592 | 203.6962 | 0.012903 | 203.8122 | 0.013994 | 204.0297 | 0.012659 | 204.1458 | 0.012591 | 204.2619 | 0.013554 | 204.3779 | 0.011712 | 204.494 | 0.010356 | 204.6101 | 0.010941 | 204.7262 | 0.012536 | 204.8423 | 0.0094619 | 205.0598 | 0.014609 | 205.1758 | 0.0088443 | 205.2919 | 0.013212 | 205.408 | 2.9254 | 205.5241 | 0.012412 | 205.6402 | 0.013705 | 205.7563 | 0.01115 | 205.8724 | 0.012688 | 206.0899 | 0.0083721 | 206.206 | 0.012115 | 206.322 | 0.011235 | 206.4381 | 0.0075685 | 206.5542 | 0.0093188 | 206.6703 | 0.0087402 | 206.7863 | 0.007815 | 206.9024 | 3.9331e-05 | 207.1199 | 0.0076624 | 207.236 | 0.00022745 | 207.3521
2.9175 | 209.9996 | 0.010589 | 210.1157 | 0.012993 | 210.2318 | 0.015067 | 210.3479 | 0.013184 | 210.464 | 0.012122 | 210.5801 | 0.0088596 | 210.6961 | 0.012903 | 210.8122 | 0.013994 | 211.0297 | 0.012659 | 211.1458 | 0.012591 | 211.2618 | 0.013553 | 211.3779 | 0.011711 | 211.494 | 0.010356 | 211.61 | 0.010941 | 211.7261 | 0.012537 | 211.8422 | 0.009462 | 212.0598 | 0.014609 | 212.176 | 0.0088444 | 212.292 | 0.013213 | 212.4081 | 2.9254 | 212.5242 | 0.012413 | 212.6403 | 0.013705 | 212.7564 | 0.01115 | 212.8724 | 0.012689 | 213.0899 | 0.0083724 | 213.206 | 0.012115 | 213.3221 | 0.011235 | 213.4381 | 0.0075683 | 213.5542 | 0.0093189 | 213.6703 | 0.0087404 | 213.7864 | 0.0078152 | 213.9025 | 3.8939e-05 | 214.1199 | 0.0076619 | 214.236 | 0.00022734 | 214.3521
2.9174 | 216.9997 | 0.010589 | 217.1159 | 0.012992 | 217.232 | 0.015067 | 217.3481 | 0.013183 | 217.4641 | 0.012121 | 217.5802 | 0.0088596 | 217.6963 | 0.012903 | 217.8124 | 0.013994 | 218.0298 | 0.012658 | 218.1459 | 0.012591 | 218.262 | 0.013553 | 218.3781 | 0.011712 | 218.4941 | 0.010357 | 218.6102 | 0.010942 | 218.7263 | 0.012537 | 218.8423 | 0.0094626 | 219.0598 | 0.014609 | 219.1759 | 0.0088443 | 219.292 | 0.013212 | 219.4081 | 2.9254 | 219.5242 | 0.012412 | 219.6402 | 0.013704 | 219.7563 | 0.011149 | 219.8724 | 0.012688 | 220.0899 | 0.008372 | 220.206 | 0.012115 | 220.322 | 0.011235 | 220.4381 | 0.0075683 | 220.5542 | 0.0093186 | 220.6703 | 0.0087406 | 220.7863 | 0.007815 | 220.9024 | 3.9356e-05 | 221.1199 | 0.0076616 | 221.236 | 0.00022714 | 221.352
2.9175 | 223.9996 | 0.010587 | 224.1157 | 0.012991 | 224.2318 | 0.015066 | 224.3479 | 0.013182 | 224.464 | 0.01212 | 224.5801 | 0.008857 | 224.6961 | 0.012902 | 224.8122 | 0.013993 | 225.0297 | 0.012658 | 225.1458 | 0.012591 | 225.2618 | 0.013554 | 225.3779 | 0.011711 | 225.494 | 0.010357 | 225.6101 | 0.010941 | 225.7262 | 0.012537 | 225.8422 | 0.0094623 | 226.0597 | 0.014609 | 226.1758 | 0.0088442 | 226.2919 | 0.013212 | 226.408 | 2.9255 | 226.5241 | 0.012411 | 226.6402 | 0.013704 | 226.7562 | 0.011148 | 226.8723 | 0.012686 | 227.0898 | 0.0083714 | 227.2059 | 0.012113 | 227.322 | 0.011234 | 227.4381 | 0.0075676 | 227.5542 | 0.0093171 | 227.6703 | 0.0087401 | 227.7864 | 0.0078145 | 227.9024 | 3.924e-05 | 228.1199 | 0.0076605 | 228.236 | 0.00022736 | 228.3521
2.9174 | 230.9996 | 0.010587 | 231.1157 | 0.01299 | 231.2318 | 0.015066 | 231.3479 | 0.013182 | 231.464 | 0.01212 | 231.5801 | 0.0088578 | 231.6962 | 0.012902 | 231.8122 | 0.013992 | 232.0297 | 0.012658 | 232.1458 | 0.012591 | 232.262 | 0.013553 | 232.3781 | 0.011711 | 232.4942 | 0.010356 | 232.6102 | 0.01094 | 232.7263 | 0.012536 | 232.8424 | 0.0094612 | 233.0599 | 0.014608 | 233.176 | 0.008844 | 233.2921 | 0.013212 | 233.4081 | 2.9255 | 233.5242 | 0.012411 | 233.6403 | 0.013704 | 233.7564 | 0.011147 | 233.8724 | 0.012686 | 234.0899 | 0.0083713 | 234.206 | 0.012112 | 234.3221 | 0.011233 | 234.4382 | 0.0075683 | 234.5543 | 0.0093162 | 234.6703 | 0.008739 | 234.7864 | 0.0078146 | 234.9025 | 3.8893e-05 | 235.12 | 0.0076606 | 235.2361 | 0.00022708 | 235.3521
2.9175 | 237.9997 | 0.010587 | 238.1158 | 0.012991 | 238.2318 | 0.015066 | 238.3479 | 0.013182 | 238.464 | 0.01212 | 238.5801 | 0.0088588 | 238.6962 | 0.012902 | 238.8122 | 0.013993 | 239.0297 | 0.012659 | 239.1458 | 0.012593 | 239.2619 | 0.013554 | 239.378 | 0.011712 | 239.494 | 0.010356 | 239.6101 | 0.010941 | 239.7262 | 0.012536 | 239.8423 | 0.0094616 | 240.0598 | 0.014608 | 240.1759 | 0.0088441 | 240.292 | 0.013212 | 240.408 | 2.9254 | 240.5241 | 0.012412 | 240.6402 | 0.013705 | 240.7563 | 0.011148 | 240.8724 | 0.012686 | 241.0898 | 0.0083718 | 241.2059 | 0.012113 | 241.322 | 0.011234 | 241.4381 | 0.0075679 | 241.5542 | 0.0093173 | 241.6703 | 0.0087397 | 241.7863 | 0.0078146 | 241.9024 | 3.904e-05 | 242.1199 | 0.0076612 | 242.236 | 0.00022699 | 242.3521
2.9174 | 244.9996 | 0.010587 | 245.1157 | 0.012991 | 245.2318 | 0.015066 | 245.3479 | 0.013182 | 245.464 | 0.01212 | 245.58 | 0.0088586 | 245.6961 | 0.012902 | 245.8122 | 0.013993 | 246.0297 | 0.012658 | 246.1458 | 0.012592 | 246.2619 | 0.013554 | 246.3779 | 0.011712 | 246.494 | 0.010356 | 246.6101 | 0.01094 | 246.7262 | 0.012537 | 246.8423 | 0.0094619 | 247.0598 | 0.014608 | 247.1759 | 0.0088442 | 247.2919 | 0.013213 | 247.4081 | 2.9254 | 247.5242 | 0.012412 | 247.6403 | 0.013704 | 247.7564 | 0.011148 | 247.8725 | 0.012687 | 248.09 | 0.0083717 | 248.2061 | 0.012114 | 248.3222 | 0.011235 | 248.4382 | 0.0075674 | 248.5543 | 0.0093178 | 248.6704 | 0.0087398 | 248.7865 | 0.0078148 | 248.9025 | 3.8954e-05 | 249.12 | 0.0076619 | 249.2361 | 0.00022717 | 249.3522
2.9174 | 251.9997 | 0.010587 | 252.1157 | 0.01299 | 252.2318 | 0.015066 | 252.3479 | 0.013182 | 252.4641 | 0.01212 | 252.5802 | 0.0088582 | 252.6963 | 0.012902 | 252.8124 | 0.013992 | 253.0299 | 0.012658 | 253.146 | 0.012591 | 253.262 | 0.013554 | 253.3781 | 0.011711 | 253.4942 | 0.010356 | 253.6103 | 0.010941 | 253.7263 | 0.012536 | 253.8424 | 0.0094618 | 254.0599 | 0.014608 | 254.176 | 0.008844 | 254.2921 | 0.013212 | 254.4082 | 2.9254 | 254.5243 | 0.012411 | 254.6404 | 0.013704 | 254.7564 | 0.011148 | 254.8725 | 0.012686 | 255.09 | 0.0083718 | 255.2061 | 0.012115 | 255.3222 | 0.011235 | 255.4383 | 0.0075681 | 255.5543 | 0.009318 | 255.6704 | 0.0087404 | 255.7865 | 0.0078154 | 255.9026 | 3.949e-05 | 256.1201 | 0.0076619 | 256.2361 | 0.00022709 | 256.3522
2.9175 | 258.9997 | 0.010587 | 259.1158 | 0.012991 | 259.2318 | 0.015066 | 259.3479 | 0.013181 | 259.464 | 0.012119 | 259.5801 | 0.0088574 | 259.6962 | 0.012902 | 259.8122 | 0.013992 | 260.0297 | 0.012657 | 260.1458 | 0.01259 | 260.2619 | 0.013552 | 260.3779 | 0.011709 | 260.494 | 0.010356 | 260.6101 | 0.01094 | 260.7262 | 0.012536 | 260.8422 | 0.0094621 | 261.0597 | 0.014608 | 261.1758 | 0.0088439 | 261.2919 | 0.013211 | 261.408 | 2.9254 | 261.5241 | 0.01241 | 261.6402 | 0.013702 | 261.7562 | 0.011146 | 261.8723 | 0.012685 | 262.0898 | 0.0083713 | 262.2059 | 0.012115 | 262.322 | 0.011235 | 262.4381 | 0.0075681 | 262.5543 | 0.009318 | 262.6704 | 0.00874 | 262.7865 | 0.0078151 | 262.9026 | 3.904e-05 | 263.12 | 0.0076614 | 263.2361 | 0.00022712 | 263.3522
2.9175 | 265.9996 | 0.010588 | 266.1157 | 0.01299 | 266.2318 | 0.015066 | 266.3479 | 0.013181 | 266.464 | 0.012118 | 266.58 | 0.0088577 | 266.6961 | 0.012902 | 266.8122 | 0.013991 | 267.0297 | 0.012656 | 267.1458 | 0.012588 | 267.2619 | 0.013551 | 267.3779 | 0.011708 | 267.494 | 0.010356 | 267.6102 | 0.01094 | 267.7263 | 0.012535 | 267.8424 | 0.009461 | 268.0599 | 0.014607 | 268.176 | 0.0088437 | 268.2921 | 0.01321 | 268.4081 | 2.9254 | 268.5242 | 0.012409 | 268.6403 | 0.013701 | 268.7564 | 0.011146 | 268.8725 | 0.012684 | 269.0899 | 0.0083701 | 269.206 | 0.012115 | 269.3221 | 0.011234 | 269.4382 | 0.0075674 | 269.5543 | 0.0093172 | 269.6703 | 0.0087395 | 269.7864 | 0.0078143 | 269.9025 | 3.9281e-05 | 270.12 | 0.0076607 | 270.236 | 0.00022662 | 270.3521
2.9174 | 272.9997 | 0.010587 | 273.1157 | 0.012989 | 273.2318 | 0.015065 | 273.3479 | 0.013181 | 273.464 | 0.012118 | 273.5801 | 0.0088573 | 273.6962 | 0.012901 | 273.8123 | 0.013992 | 274.0298 | 0.012656 | 274.1458 | 0.01259 | 274.2619 | 0.013552 | 274.378 | 0.011709 | 274.494 | 0.010355 | 274.6101 | 0.010939 | 274.7262 | 0.012534 | 274.8423 | 0.0094608 | 275.0598 | 0.014606 | 275.1759 | 0.0088431 | 275.2919 | 0.01321 | 275.408 | 2.9254 | 275.5241 | 0.012409 | 275.6402 | 0.013701 | 275.7563 | 0.011147 | 275.8724 | 0.012685 | 276.0899 | 0.0083697 | 276.2059 | 0.012114 | 276.322 | 0.011233 | 276.4381 | 0.0075672 | 276.5542 | 0.0093171 | 276.6703 | 0.0087389 | 276.7864 | 0.0078138 | 276.9024 | 3.9428e-05 | 277.1199 | 0.0076608 | 277.236 | 0.00022682 | 277.3521
2.9175 | 279.9996 | 0.010586 | 280.1158 | 0.01299 | 280.2319 | 0.015065 | 280.3479 | 0.013181 | 280.464 | 0.012118 | 280.5801 | 0.0088583 | 280.6962 | 0.012901 | 280.8123 | 0.013991 | 281.0297 | 0.012657 | 281.1458 | 0.012591 | 281.2619 | 0.013554 | 281.378 | 0.01171 | 281.4941 | 0.010355 | 281.6101 | 0.01094 | 281.7262 | 0.012535 | 281.8423 | 0.0094608 | 282.0598 | 0.014607 | 282.1759 | 0.0088436 | 282.2919 | 0.01321 | 282.408 | 2.9254 | 282.5241 | 0.01241 | 282.6402 | 0.013702 | 282.7564 | 0.011147 | 282.8725 | 0.012686 | 283.09 | 0.0083701 | 283.2061 | 0.012115 | 283.3222 | 0.011234 | 283.4383 | 0.0075676 | 283.5543 | 0.009318 | 283.6704 | 0.0087397 | 283.7865 | 0.0078139 | 283.9025 | 3.9083e-05 | 284.12 | 0.0076612 | 284.2361 | 0.00022672 | 284.3522
2.9175 | 286.9996 | 0.010586 | 287.1157 | 0.01299 | 287.2318 | 0.015065 | 287.3479 | 0.013181 | 287.464 | 0.012119 | 287.5801 | 0.0088594 | 287.6962 | 0.012901 | 287.8124 | 0.013992 | 288.0299 | 0.012657 | 288.146 | 0.012592 | 288.2621 | 0.013554 | 288.3781 | 0.011711 | 288.4942 | 0.010356 | 288.6103 | 0.010941 | 288.7264 | 0.012535 | 288.8425 | 0.0094613 | 289.06 | 0.014607 | 289.1761 | 0.0088431 | 289.2921 | 0.013211 | 289.4082 | 2.9254 | 289.5243 | 0.012411 | 289.6404 | 0.013704 | 289.7565 | 0.011148 | 289.8726 | 0.012687 | 290.0901 | 0.0083707 | 290.2062 | 0.012116 | 290.3222 | 0.011235 | 290.4383 | 0.007568 | 290.5544 | 0.0093192 | 290.6705 | 0.0087402 | 290.7866 | 0.0078144 | 290.9027 | 3.9162e-05 | 291.1201 | 0.0076616 | 291.2362 | 0.00022699 | 291.3523
2.9174 | 293.9997 | 0.010587 | 294.1158 | 0.012991 | 294.2319 | 0.015065 | 294.3479 | 0.013181 | 294.464 | 0.012119 | 294.5801 | 0.0088593 | 294.6962 | 0.012901 | 294.8123 | 0.013993 | 295.0298 | 0.012657 | 295.1458 | 0.012592 | 295.2619 | 0.013555 | 295.378 | 0.011711 | 295.4941 | 0.010356 | 295.6101 | 0.010941 | 295.7262 | 0.012536 | 295.8423 | 0.0094613 | 296.0598 | 0.014607 | 296.1759 | 0.0088431 | 296.292 | 0.013211 | 296.408 | 2.9254 | 296.5241 | 0.012411 | 296.6402 | 0.013704 | 296.7563 | 0.011148 | 296.8723 | 0.012688 | 297.0898 | 0.0083707 | 297.2059 | 0.012115 | 297.322 | 0.011235 | 297.4381 | 0.0075677 | 297.5542 | 0.0093187 | 297.6703 | 0.0087401 | 297.7863 | 0.0078141 | 297.9025 | 3.8888e-05 | 298.12 | 0.0076612 | 298.2361 | 0.00022706 | 298.3522
2.9175 | 300.9997 | 0.010587 | 301.1157 | 0.012991 | 301.2318 | 0.015065 | 301.3479 | 0.013181 | 301.464 | 0.012119 | 301.5801 | 0.0088592 | 301.6962 | 0.012902 | 301.8122 | 0.013993 | 302.0297 | 0.012658 | 302.1458 | 0.012592 | 302.2619 | 0.013554 | 302.3779 | 0.011711 | 302.494 | 0.010357 | 302.6101 | 0.010942 | 302.7262 | 0.012536 | 302.8423 | 0.0094621 | 303.0598 | 0.014608 | 303.1759 | 0.0088437 | 303.292 | 0.013212 | 303.4081 | 2.9255 | 303.5242 | 0.012412 | 303.6402 | 0.013704 | 303.7563 | 0.011148 | 303.8724 | 0.012687 | 304.0899 | 0.0083711 | 304.206 | 0.012114 | 304.322 | 0.011235 | 304.4381 | 0.0075683 | 304.5542 | 0.0093183 | 304.6703 | 0.0087401 | 304.7863 | 0.0078144 | 304.9024 | 3.9099e-05 | 305.1199 | 0.0076612 | 305.236 | 0.00022734 | 305.352
2.9175 | 308.0034 | 0.010587 | 308.1196 | 0.01299 | 308.2357 | 0.015065 | 308.3518 | 0.013181 | 308.4678 | 0.012118 | 308.5839 | 0.0088583 | 308.7 | 0.012901 | 308.8161 | 0.013992 | 309.0336 | 0.012657 | 309.1496 | 0.012588 | 309.2657 | 0.013551 | 309.3818 | 0.01171 | 309.4979 | 0.010356 | 309.6139 | 0.010941 | 309.73 | 0.012536 | 309.8461 | 0.0094615 | 310.0636 | 0.014608 | 310.1797 | 0.0088436 | 310.2958 | 0.013211 | 310.4118 | 2.9255 | 310.5279 | 0.012411 | 310.644 | 0.013701 | 310.7601 | 0.011148 | 310.8762 | 0.012687 | 311.0936 | 0.0083706 | 311.2097 | 0.012114 | 311.3258 | 0.011235 | 311.4419 | 0.0075675 | 311.558 | 0.0093171 | 311.674 | 0.0087391 | 311.7901 | 0.0078141 | 311.9062 | 3.9009e-05 | 312.1237 | 0.0076609 | 312.2398 | 0.0002274 | 312.3559
2.9175 | 314.9997 | 0.010586 | 315.1158 | 0.012989 | 315.2319 | 0.015064 | 315.3479 | 0.013181 | 315.464 | 0.012116 | 315.5801 | 0.0088572 | 315.6962 | 0.0129 | 315.8123 | 0.01399 | 316.0297 | 0.012657 | 316.1458 | 0.012587 | 316.2619 | 0.013549 | 316.378 | 0.011708 | 316.494 | 0.010355 | 316.6101 | 0.01094 | 316.7262 | 0.012535 | 316.8423 | 0.0094608 | 317.0598 | 0.014606 | 317.1759 | 0.0088428 | 317.292 | 0.01321 | 317.408 | 2.9255 | 317.5241 | 0.012409 | 317.6402 | 0.0137 | 317.7563 | 0.011147 | 317.8723 | 0.012686 | 318.0899 | 0.00837 | 318.2061 | 0.012112 | 318.3221 | 0.011233 | 318.4382 | 0.0075669 | 318.5543 | 0.0093167 | 318.6704 | 0.0087384 | 318.7865 | 0.0078137 | 318.9025 | 3.8469e-05 | 319.12 | 0.0076599 | 319.2361 | 0.00022665 | 319.3522
2.9175 | 321.9996 | 0.010585 | 322.1157 | 0.012989 | 322.2318 | 0.015063 | 322.3479 | 0.01318 | 322.464 | 0.012116 | 322.5801 | 0.0088571 | 322.6962 | 0.0129 | 322.8122 | 0.013991 | 323.0297 | 0.012657 | 323.1459 | 0.012589 | 323.262 | 0.013551 | 323.3781 | 0.011708 | 323.4942 | 0.010355 | 323.6102 | 0.01094 | 323.7263 | 0.012535 | 323.8424 | 0.0094609 | 324.0599 | 0.014606 | 324.176 | 0.0088434 | 324.2921 | 0.01321 | 324.4081 | 2.9254 | 324.5242 | 0.01241 | 324.6403 | 0.013701 | 324.7564 | 0.011147 | 324.8725 | 0.012686 | 325.09 | 0.0083699 | 325.2061 | 0.012113 | 325.3221 | 0.011233 | 325.4382 | 0.0075666 | 325.5543 | 0.0093171 | 325.6704 | 0.0087389 | 325.7865 | 0.0078135 | 325.9025 | 3.8652e-05 | 326.12 | 0.0076602 | 326.2361 | 0.00022673 | 326.3521
2.9175 | 328.9997 | 0.010586 | 329.1158 | 0.01299 | 329.2319 | 0.015063 | 329.348 | 0.013181 | 329.4641 | 0.012117 | 329.5801 | 0.0088562 | 329.6962 | 0.0129 | 329.8123 | 0.013992 | 330.0298 | 0.012656 | 330.1459 | 0.01259 | 330.2619 | 0.013552 | 330.378 | 0.011709 | 330.4941 | 0.010355 | 330.6102 | 0.01094 | 330.7263 | 0.012535 | 330.8424 | 0.009461 | 331.0599 | 0.014606 | 331.176 | 0.008843 | 331.292 | 0.01321 | 331.4081 | 2.9255 | 331.5242 | 0.01241 | 331.6403 | 0.013701 | 331.7564 | 0.011147 | 331.8724 | 0.012686 | 332.0899 | 0.0083703 | 332.206 | 0.012113 | 332.3221 | 0.011233 | 332.4382 | 0.0075668 | 332.5542 | 0.0093168 | 332.6703 | 0.0087387 | 332.7864 | 0.0078137 | 332.9024 | 3.8879e-05 | 333.1199 | 0.0076607 | 333.2361 | 0.00022684 | 333.3522
2.9175 | 335.9997 | 0.010587 | 336.1157 | 0.01299 | 336.2318 | 0.015065 | 336.3479 | 0.013181 | 336.464 | 0.012118 | 336.5801 | 0.0088561 | 336.6961 | 0.012901 | 336.8122 | 0.013992 | 337.0297 | 0.012657 | 337.1458 | 0.012592 | 337.2619 | 0.013554 | 337.378 | 0.011709 | 337.494 | 0.010355 | 337.6101 | 0.01094 | 337.7262 | 0.012535 | 337.8423 | 0.0094609 | 338.0598 | 0.014606 | 338.1759 | 0.0088435 | 338.292 | 0.01321 | 338.4081 | 2.9255 | 338.5242 | 0.01241 | 338.6403 | 0.013702 | 338.7564 | 0.011146 | 338.8725 | 0.012685 | 339.09 | 0.0083703 | 339.206 | 0.012113 | 339.3221 | 0.011233 | 339.4382 | 0.0075674 | 339.5543 | 0.009317 | 339.6704 | 0.0087388 | 339.7864 | 0.0078135 | 339.9025 | 3.9089e-05 | 340.12 | 0.0076605 | 340.2361 | 0.00022691 | 340.3521
2.9175 | 342.9997 | 0.010587 | 343.1158 | 0.012991 | 343.2318 | 0.015066 | 343.3525 | 0.013182 | 343.4686 | 0.012119 | 343.5847 | 0.0088567 | 343.7007 | 0.012902 | 343.8168 | 0.013992 | 344.0343 | 0.012656 | 344.1504 | 0.012592 | 344.2664 | 0.013554 | 344.3825 | 0.011709 | 344.4986 | 0.010355 | 344.6147 | 0.01094 | 344.7308 | 0.012534 | 344.8469 | 0.0094604 | 345.0644 | 0.014606 | 345.1805 | 0.0088439 | 345.2966 | 0.01321 | 345.4126 | 2.9255 | 345.5287 | 0.01241 | 345.6448 | 0.013702 | 345.7609 | 0.011146 | 345.877 | 0.012685 | 346.0945 | 0.0083703 | 346.2106 | 0.012112 | 346.3266 | 0.011233 | 346.4427 | 0.0075672 | 346.5588 | 0.0093169 | 346.6749 | 0.0087387 | 346.7909 | 0.0078142 | 346.907 | 3.856e-05 | 347.1245 | 0.0076604 | 347.2406 | 0.000227 | 347.3567