## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-18
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-18
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9167 | 0 | 0.010765 | 0.11614 | 0.013179 | 0.23225 | 0.01504 | 0.34833 | 0.013493 | 0.46441 | 0.012261 | 0.5805 | 0.0086256 | 0.69657 | 0.01276 | 0.81264 | 0.014129 | 1.0301 | 0.012715 | 1.1462 | 0.012764 | 1.2622 | 0.013779 | 1.3783 | 0.011663 | 1.4944 | 0.010238 | 1.6105 | 0.010934 | 1.7266 | 0.012561 | 1.8426 | 0.0095755 | 2.0601 | 0.014529 | 2.1762 | 0.0088254 | 2.2923 | 0.013054 | 2.4084 | 2.9246 | 2.5244 | 0.012311 | 2.6405 | 0.013657 | 2.7566 | 0.011167 | 2.8727 | 0.012647 | 3.0902 | 0.0082876 | 3.2063 | 0.012019 | 3.3223 | 0.011252 | 3.4384 | 0.0075142 | 3.5545 | 0.0092723 | 3.6706 | 0.0087432 | 3.7866 | 0.0078139 | 3.9027 | -3.8167e-05 | 4.1202 | 0.007666 | 4.2363 | 0.00015879 | 4.3523
2.9167 | 6.999 | 0.010765 | 7.1151 | 0.013178 | 7.2312 | 0.01504 | 7.3473 | 0.013493 | 7.4634 | 0.012262 | 7.5795 | 0.0086255 | 7.6956 | 0.01276 | 7.8116 | 0.014129 | 8.0291 | 0.012715 | 8.1452 | 0.012765 | 8.2612 | 0.013781 | 8.3773 | 0.011664 | 8.4934 | 0.010239 | 8.6095 | 0.010934 | 8.7256 | 0.01256 | 8.8416 | 0.0095749 | 9.0591 | 0.014529 | 9.1752 | 0.0088253 | 9.2913 | 0.013053 | 9.4074 | 2.9246 | 9.5234 | 0.012311 | 9.6395 | 0.013657 | 9.7556 | 0.011167 | 9.8717 | 0.012646 | 10.0892 | 0.0082883 | 10.2053 | 0.012018 | 10.3213 | 0.011251 | 10.4374 | 0.0075141 | 10.5535 | 0.0092717 | 10.6696 | 0.0087429 | 10.7856 | 0.0078136 | 10.9017 | -3.7842e-05 | 11.1192 | 0.0076655 | 11.2353 | 0.00015944 | 11.3514
2.9167 | 13.999 | 0.010765 | 14.1151 | 0.013178 | 14.2312 | 0.01504 | 14.3473 | 0.013493 | 14.4634 | 0.012261 | 14.5795 | 0.0086262 | 14.6955 | 0.012761 | 14.8116 | 0.01413 | 15.0291 | 0.012715 | 15.1452 | 0.012765 | 15.2613 | 0.013781 | 15.3774 | 0.011665 | 15.4934 | 0.010239 | 15.6095 | 0.010934 | 15.7256 | 0.012561 | 15.8417 | 0.0095753 | 16.0592 | 0.014529 | 16.1752 | 0.0088253 | 16.2913 | 0.013053 | 16.4074 | 2.9246 | 16.5235 | 0.012311 | 16.6396 | 0.013658 | 16.7557 | 0.011168 | 16.8717 | 0.012647 | 17.0892 | 0.0082881 | 17.2053 | 0.012017 | 17.3213 | 0.011251 | 17.4374 | 0.0075135 | 17.5535 | 0.0092719 | 17.6696 | 0.0087426 | 17.7857 | 0.0078133 | 17.9018 | -3.8192e-05 | 18.1192 | 0.0076654 | 18.2353 | 0.00015953 | 18.3514
2.9167 | 20.999 | 0.010765 | 21.1151 | 0.013179 | 21.2312 | 0.015039 | 21.3473 | 0.013493 | 21.4634 | 0.012261 | 21.5795 | 0.0086259 | 21.6956 | 0.01276 | 21.8116 | 0.014129 | 22.0291 | 0.012716 | 22.1452 | 0.012764 | 22.2613 | 0.01378 | 22.3773 | 0.011664 | 22.4934 | 0.010239 | 22.6095 | 0.010935 | 22.7256 | 0.01256 | 22.8416 | 0.0095754 | 23.0591 | 0.014529 | 23.1752 | 0.0088256 | 23.2913 | 0.013054 | 23.4073 | 2.9246 | 23.5234 | 0.012311 | 23.6395 | 0.013657 | 23.7556 | 0.011168 | 23.8716 | 0.012648 | 24.0891 | 0.0082879 | 24.2052 | 0.012018 | 24.3213 | 0.01125 | 24.4374 | 0.0075135 | 24.5534 | 0.0092715 | 24.6695 | 0.0087424 | 24.7856 | 0.0078132 | 24.9017 | -3.8371e-05 | 25.1192 | 0.0076653 | 25.2352 | 0.00015895 | 25.3514
2.9167 | 27.999 | 0.010765 | 28.1151 | 0.013177 | 28.2312 | 0.015039 | 28.3473 | 0.013493 | 28.4634 | 0.01226 | 28.5795 | 0.0086249 | 28.6955 | 0.01276 | 28.8116 | 0.014129 | 29.0291 | 0.012715 | 29.1452 | 0.012764 | 29.2613 | 0.013779 | 29.3773 | 0.011663 | 29.4934 | 0.010239 | 29.6095 | 0.010935 | 29.7256 | 0.01256 | 29.8417 | 0.0095749 | 30.0592 | 0.014528 | 30.1753 | 0.0088257 | 30.2915 | 0.013054 | 30.4076 | 2.9246 | 30.5237 | 0.01231 | 30.6397 | 0.013657 | 30.7558 | 0.011168 | 30.8719 | 0.012649 | 31.0894 | 0.008288 | 31.2055 | 0.012018 | 31.3216 | 0.01125 | 31.4376 | 0.0075124 | 31.5537 | 0.0092716 | 31.6698 | 0.0087417 | 31.7859 | 0.0078125 | 31.9019 | -3.907e-05 | 32.1194 | 0.007665 | 32.2355 | 0.00015893 | 32.3516
2.9167 | 34.999 | 0.010766 | 35.1151 | 0.013178 | 35.2312 | 0.015039 | 35.3474 | 0.013493 | 35.4635 | 0.012261 | 35.5796 | 0.0086258 | 35.6957 | 0.012761 | 35.8118 | 0.01413 | 36.0292 | 0.012715 | 36.1453 | 0.012765 | 36.2614 | 0.01378 | 36.3774 | 0.011663 | 36.4935 | 0.010239 | 36.6096 | 0.010935 | 36.7257 | 0.01256 | 36.8418 | 0.0095747 | 37.0593 | 0.014528 | 37.1754 | 0.0088253 | 37.2914 | 0.013054 | 37.4075 | 2.9246 | 37.5236 | 0.012311 | 37.6397 | 0.013657 | 37.7558 | 0.011169 | 37.8718 | 0.012649 | 38.0893 | 0.0082878 | 38.2054 | 0.012018 | 38.3215 | 0.01125 | 38.4376 | 0.0075126 | 38.5537 | 0.0092718 | 38.6697 | 0.0087426 | 38.7858 | 0.0078129 | 38.9019 | -3.8175e-05 | 39.1193 | 0.0076654 | 39.2354 | 0.0001593 | 39.3515
2.9167 | 41.999 | 0.010765 | 42.1152 | 0.013178 | 42.2312 | 0.015039 | 42.3473 | 0.013494 | 42.4634 | 0.012262 | 42.5795 | 0.0086264 | 42.6956 | 0.012761 | 42.8116 | 0.01413 | 43.0291 | 0.012715 | 43.1452 | 0.012765 | 43.2613 | 0.013781 | 43.3773 | 0.011663 | 43.4934 | 0.010239 | 43.6095 | 0.010935 | 43.7256 | 0.01256 | 43.8417 | 0.0095747 | 44.0592 | 0.014528 | 44.1752 | 0.0088253 | 44.2913 | 0.013053 | 44.4074 | 2.9246 | 44.5235 | 0.012311 | 44.6396 | 0.013658 | 44.7556 | 0.011169 | 44.8717 | 0.012649 | 45.0892 | 0.0082879 | 45.2052 | 0.012018 | 45.3213 | 0.01125 | 45.4375 | 0.0075123 | 45.5536 | 0.0092719 | 45.6697 | 0.0087422 | 45.7858 | 0.0078128 | 45.9018 | -3.8308e-05 | 46.1193 | 0.0076651 | 46.2354 | 0.0001588 | 46.3515
2.9167 | 48.999 | 0.010766 | 49.1151 | 0.013179 | 49.2312 | 0.01504 | 49.3473 | 0.013494 | 49.4634 | 0.012262 | 49.5794 | 0.0086264 | 49.6955 | 0.012761 | 49.8116 | 0.01413 | 50.0291 | 0.012715 | 50.1451 | 0.012766 | 50.2612 | 0.013781 | 50.3773 | 0.011663 | 50.4935 | 0.01024 | 50.6096 | 0.010935 | 50.7257 | 0.01256 | 50.8417 | 0.0095751 | 51.0592 | 0.014528 | 51.1753 | 0.0088257 | 51.2914 | 0.013053 | 51.4075 | 2.9246 | 51.5235 | 0.012312 | 51.6396 | 0.013658 | 51.7557 | 0.011169 | 51.8718 | 0.012649 | 52.0892 | 0.008288 | 52.2053 | 0.012018 | 52.3214 | 0.01125 | 52.4375 | 0.0075121 | 52.5536 | 0.0092717 | 52.6696 | 0.0087427 | 52.7857 | 0.0078131 | 52.9018 | -3.8423e-05 | 53.1193 | 0.0076653 | 53.2354 | 0.00015912 | 53.3515
2.9167 | 55.999 | 0.010765 | 56.1151 | 0.013178 | 56.2312 | 0.015039 | 56.3473 | 0.013493 | 56.4634 | 0.012262 | 56.5795 | 0.0086257 | 56.6955 | 0.012761 | 56.8116 | 0.01413 | 57.0291 | 0.012715 | 57.1452 | 0.012767 | 57.2612 | 0.013783 | 57.3773 | 0.011665 | 57.4934 | 0.01024 | 57.6094 | 0.010936 | 57.7255 | 0.01256 | 57.8416 | 0.0095752 | 58.0591 | 0.014528 | 58.1751 | 0.0088262 | 58.2912 | 0.013054 | 58.4073 | 2.9245 | 58.5234 | 0.012312 | 58.6395 | 0.013659 | 58.7555 | 0.011169 | 58.8716 | 0.01265 | 59.0891 | 0.0082881 | 59.2052 | 0.012018 | 59.3213 | 0.01125 | 59.4373 | 0.0075133 | 59.5534 | 0.0092716 | 59.6695 | 0.0087422 | 59.7856 | 0.0078133 | 59.9016 | -3.8248e-05 | 60.1191 | 0.0076654 | 60.2352 | 0.00015915 | 60.3513
2.9167 | 62.999 | 0.010765 | 63.1151 | 0.013177 | 63.2312 | 0.015039 | 63.3473 | 0.013493 | 63.4634 | 0.012262 | 63.5795 | 0.0086247 | 63.6956 | 0.012761 | 63.8117 | 0.01413 | 64.0292 | 0.012716 | 64.1452 | 0.012769 | 64.2613 | 0.013784 | 64.3774 | 0.011665 | 64.4935 | 0.010241 | 64.6095 | 0.010937 | 64.7256 | 0.012561 | 64.8417 | 0.0095754 | 65.0592 | 0.014529 | 65.1753 | 0.0088259 | 65.2913 | 0.013054 | 65.4074 | 2.9246 | 65.5235 | 0.012312 | 65.6397 | 0.013659 | 65.7558 | 0.01117 | 65.8719 | 0.012649 | 66.0894 | 0.0082883 | 66.2054 | 0.012018 | 66.3215 | 0.01125 | 66.4376 | 0.0075127 | 66.5537 | 0.0092721 | 66.6698 | 0.0087427 | 66.7859 | 0.0078133 | 66.902 | -3.8476e-05 | 67.1195 | 0.0076659 | 67.2355 | 0.00015901 | 67.3516
2.9167 | 69.999 | 0.010764 | 70.1151 | 0.013177 | 70.2312 | 0.015039 | 70.3473 | 0.013493 | 70.4633 | 0.012261 | 70.5794 | 0.0086244 | 70.6956 | 0.01276 | 70.8117 | 0.014131 | 71.0292 | 0.012716 | 71.1452 | 0.01277 | 71.2613 | 0.013784 | 71.3774 | 0.011666 | 71.4935 | 0.010241 | 71.6095 | 0.010936 | 71.7256 | 0.012561 | 71.8417 | 0.0095755 | 72.0592 | 0.014529 | 72.1753 | 0.008826 | 72.2913 | 0.013054 | 72.4074 | 2.9245 | 72.5235 | 0.012312 | 72.6396 | 0.01366 | 72.7557 | 0.011169 | 72.8717 | 0.012649 | 73.0892 | 0.0082883 | 73.2053 | 0.012019 | 73.3214 | 0.011251 | 73.4374 | 0.0075128 | 73.5535 | 0.0092723 | 73.6696 | 0.008743 | 73.7856 | 0.0078134 | 73.9017 | -3.8111e-05 | 74.1192 | 0.0076665 | 74.2353 | 0.00015904 | 74.3513
2.9167 | 76.999 | 0.010765 | 77.1151 | 0.013179 | 77.2312 | 0.01504 | 77.3473 | 0.013494 | 77.4634 | 0.012262 | 77.5795 | 0.008626 | 77.6956 | 0.012761 | 77.8117 | 0.014131 | 78.0291 | 0.012716 | 78.1452 | 0.01277 | 78.2613 | 0.013784 | 78.3773 | 0.011666 | 78.4934 | 0.010241 | 78.6095 | 0.010937 | 78.7256 | 0.012561 | 78.8417 | 0.0095758 | 79.0592 | 0.014529 | 79.1752 | 0.0088265 | 79.2913 | 0.013055 | 79.4074 | 2.9246 | 79.5235 | 0.012313 | 79.6395 | 0.013661 | 79.7556 | 0.011169 | 79.8717 | 0.01265 | 80.0892 | 0.0082888 | 80.2053 | 0.01202 | 80.3213 | 0.011251 | 80.4374 | 0.0075129 | 80.5535 | 0.0092726 | 80.6696 | 0.0087429 | 80.7858 | 0.0078134 | 80.9019 | -3.8115e-05 | 81.1194 | 0.0076662 | 81.2355 | 0.00015917 | 81.3515
2.9167 | 83.999 | 0.010767 | 84.1151 | 0.013181 | 84.2312 | 0.015041 | 84.3473 | 0.013496 | 84.4634 | 0.012264 | 84.5794 | 0.0086276 | 84.6955 | 0.012763 | 84.8116 | 0.014132 | 85.0291 | 0.012717 | 85.1451 | 0.01277 | 85.2612 | 0.013784 | 85.3773 | 0.011667 | 85.4934 | 0.010242 | 85.6095 | 0.010937 | 85.7256 | 0.012562 | 85.8418 | 0.0095761 | 86.0593 | 0.01453 | 86.1754 | 0.0088268 | 86.2915 | 0.013056 | 86.4075 | 2.9246 | 86.5236 | 0.012314 | 86.6397 | 0.013662 | 86.7558 | 0.011171 | 86.8719 | 0.012651 | 87.0893 | 0.0082898 | 87.2054 | 0.012021 | 87.3215 | 0.011252 | 87.4376 | 0.0075131 | 87.5537 | 0.0092733 | 87.6697 | 0.0087432 | 87.7858 | 0.007814 | 87.9019 | -3.8297e-05 | 88.1193 | 0.0076667 | 88.2354 | 0.00015911 | 88.3515
2.9167 | 90.999 | 0.010769 | 91.1152 | 0.013182 | 91.2313 | 0.015042 | 91.3473 | 0.013497 | 91.4634 | 0.012266 | 91.5795 | 0.008629 | 91.6956 | 0.012764 | 91.8116 | 0.014134 | 92.0291 | 0.012717 | 92.1452 | 0.012771 | 92.2613 | 0.013785 | 92.3774 | 0.011667 | 92.4935 | 0.010242 | 92.6095 | 0.010938 | 92.7256 | 0.012562 | 92.8417 | 0.009577 | 93.0592 | 0.014531 | 93.1753 | 0.0088271 | 93.2914 | 0.013056 | 93.4075 | 2.9246 | 93.5235 | 0.012314 | 93.6396 | 0.013663 | 93.7557 | 0.011171 | 93.8718 | 0.012651 | 94.0892 | 0.0082899 | 94.2053 | 0.012021 | 94.3214 | 0.011252 | 94.4375 | 0.0075141 | 94.5536 | 0.0092733 | 94.6696 | 0.0087433 | 94.7857 | 0.007814 | 94.9018 | -3.7647e-05 | 95.1193 | 0.0076665 | 95.2353 | 0.00015949 | 95.3514
2.9167 | 97.999 | 0.010768 | 98.1152 | 0.013182 | 98.2313 | 0.015043 | 98.3473 | 0.013496 | 98.4634 | 0.012265 | 98.5795 | 0.0086281 | 98.6956 | 0.012763 | 98.8117 | 0.014134 | 99.0291 | 0.012717 | 99.1452 | 0.01277 | 99.2613 | 0.013784 | 99.3774 | 0.011667 | 99.4934 | 0.010242 | 99.6095 | 0.010938 | 99.7256 | 0.012563 | 99.8417 | 0.0095772 | 100.0592 | 0.014531 | 100.1753 | 0.0088273 | 100.2914 | 0.013056 | 100.4074 | 2.9246 | 100.5235 | 0.012315 | 100.6396 | 0.013662 | 100.7557 | 0.01117 | 100.8718 | 0.01265 | 101.0893 | 0.0082902 | 101.2054 | 0.012021 | 101.3214 | 0.011252 | 101.4375 | 0.0075132 | 101.5536 | 0.0092728 | 101.6697 | 0.0087435 | 101.7858 | 0.0078141 | 101.9019 | -3.8237e-05 | 102.1193 | 0.0076659 | 102.2354 | 0.00015922 | 102.3515
2.9167 | 104.999 | 0.010766 | 105.1151 | 0.01318 | 105.2312 | 0.015041 | 105.3473 | 0.013495 | 105.4634 | 0.012264 | 105.5795 | 0.0086266 | 105.6955 | 0.012762 | 105.8116 | 0.014132 | 106.0292 | 0.012716 | 106.1453 | 0.01277 | 106.2614 | 0.013784 | 106.3775 | 0.011666 | 106.4936 | 0.010242 | 106.6096 | 0.010938 | 106.7257 | 0.012562 | 106.8418 | 0.0095766 | 107.0593 | 0.014531 | 107.1753 | 0.0088267 | 107.2914 | 0.013055 | 107.4075 | 2.9246 | 107.5236 | 0.012313 | 107.6397 | 0.01366 | 107.7557 | 0.011168 | 107.8718 | 0.012649 | 108.0893 | 0.0082891 | 108.2053 | 0.012019 | 108.3214 | 0.01125 | 108.4375 | 0.0075132 | 108.5536 | 0.0092711 | 108.6696 | 0.0087426 | 108.7857 | 0.0078137 | 108.9018 | -3.7893e-05 | 109.1193 | 0.0076648 | 109.2353 | 0.0001589 | 109.3514
2.9167 | 111.999 | 0.010765 | 112.1151 | 0.013179 | 112.2312 | 0.01504 | 112.3473 | 0.013494 | 112.4634 | 0.012262 | 112.5795 | 0.0086258 | 112.6956 | 0.012761 | 112.8116 | 0.014131 | 113.0291 | 0.012716 | 113.1452 | 0.012769 | 113.2613 | 0.013784 | 113.3773 | 0.011665 | 113.4934 | 0.010241 | 113.6095 | 0.010936 | 113.7256 | 0.012561 | 113.8417 | 0.0095759 | 114.0592 | 0.01453 | 114.1753 | 0.0088264 | 114.2913 | 0.013054 | 114.4074 | 2.9246 | 114.5235 | 0.012312 | 114.6396 | 0.013659 | 114.7557 | 0.011167 | 114.8717 | 0.012647 | 115.0892 | 0.0082884 | 115.2053 | 0.012017 | 115.3214 | 0.011249 | 115.4374 | 0.0075119 | 115.5535 | 0.0092701 | 115.6696 | 0.0087418 | 115.7856 | 0.0078125 | 115.9017 | -3.7585e-05 | 116.1193 | 0.0076637 | 116.2355 | 0.00015928 | 116.3515
2.9167 | 118.999 | 0.010764 | 119.1151 | 0.013178 | 119.2312 | 0.01504 | 119.3473 | 0.013493 | 119.4634 | 0.01226 | 119.5795 | 0.0086247 | 119.6955 | 0.01276 | 119.8116 | 0.01413 | 120.0291 | 0.012715 | 120.1451 | 0.012768 | 120.2612 | 0.013783 | 120.3773 | 0.011664 | 120.4934 | 0.01024 | 120.6095 | 0.010935 | 120.7255 | 0.01256 | 120.8416 | 0.0095746 | 121.0591 | 0.014528 | 121.1753 | 0.0088251 | 121.2914 | 0.013052 | 121.4075 | 2.9245 | 121.5236 | 0.012311 | 121.6397 | 0.013658 | 121.7558 | 0.011166 | 121.8719 | 0.012645 | 122.0893 | 0.0082883 | 122.2054 | 0.012016 | 122.3215 | 0.011248 | 122.4376 | 0.0075116 | 122.5537 | 0.0092695 | 122.6697 | 0.008741 | 122.7858 | 0.0078114 | 122.9019 | -3.8123e-05 | 123.1194 | 0.0076631 | 123.2355 | 0.00015907 | 123.3515
2.9167 | 125.999 | 0.010763 | 126.1151 | 0.013177 | 126.2313 | 0.015038 | 126.3474 | 0.013491 | 126.4635 | 0.012259 | 126.5796 | 0.0086234 | 126.6957 | 0.012758 | 126.8118 | 0.014129 | 127.0292 | 0.012715 | 127.1453 | 0.012766 | 127.2614 | 0.013782 | 127.3774 | 0.011664 | 127.4935 | 0.010239 | 127.6096 | 0.010934 | 127.7257 | 0.012559 | 127.8417 | 0.009574 | 128.0592 | 0.014527 | 128.1753 | 0.0088245 | 128.2914 | 0.013052 | 128.4075 | 2.9246 | 128.5235 | 0.01231 | 128.6396 | 0.013657 | 128.7557 | 0.011165 | 128.8718 | 0.012644 | 129.0892 | 0.0082871 | 129.2053 | 0.012015 | 129.3214 | 0.011247 | 129.4374 | 0.0075112 | 129.5535 | 0.0092693 | 129.6696 | 0.0087407 | 129.7857 | 0.0078111 | 129.9018 | -3.8269e-05 | 130.1192 | 0.0076627 | 130.2353 | 0.00015922 | 130.3514
2.9167 | 132.999 | 0.010763 | 133.1151 | 0.013176 | 133.2312 | 0.015038 | 133.3473 | 0.013491 | 133.4634 | 0.012259 | 133.5795 | 0.0086229 | 133.6955 | 0.012758 | 133.8116 | 0.014127 | 134.0291 | 0.012714 | 134.1452 | 0.012766 | 134.2612 | 0.013781 | 134.3773 | 0.011662 | 134.4934 | 0.010238 | 134.6095 | 0.010933 | 134.7256 | 0.012559 | 134.8416 | 0.0095736 | 135.0592 | 0.014527 | 135.1752 | 0.008824 | 135.2913 | 0.013051 | 135.4074 | 2.9246 | 135.5235 | 0.012309 | 135.6395 | 0.013656 | 135.7556 | 0.011165 | 135.8717 | 0.012644 | 136.0892 | 0.0082862 | 136.2053 | 0.012015 | 136.3214 | 0.011247 | 136.4376 | 0.0075105 | 136.5537 | 0.0092683 | 136.6697 | 0.0087401 | 136.7858 | 0.007811 | 136.9019 | -3.8537e-05 | 137.1194 | 0.0076632 | 137.2354 | 0.00015898 | 137.3515
2.9167 | 139.999 | 0.010763 | 140.1151 | 0.013177 | 140.2312 | 0.015038 | 140.3473 | 0.013491 | 140.4633 | 0.01226 | 140.5794 | 0.0086241 | 140.6955 | 0.012758 | 140.8116 | 0.014127 | 141.0291 | 0.012714 | 141.1451 | 0.012765 | 141.2612 | 0.013781 | 141.3774 | 0.011662 | 141.4935 | 0.010238 | 141.6096 | 0.010933 | 141.7257 | 0.012558 | 141.8418 | 0.0095731 | 142.0593 | 0.014526 | 142.1753 | 0.0088234 | 142.2914 | 0.013051 | 142.4075 | 2.9245 | 142.5236 | 0.012309 | 142.6397 | 0.013656 | 142.7557 | 0.011165 | 142.8718 | 0.012644 | 143.0893 | 0.0082856 | 143.2054 | 0.012014 | 143.3214 | 0.011247 | 143.4375 | 0.0075104 | 143.5536 | 0.0092683 | 143.6697 | 0.0087395 | 143.7857 | 0.0078108 | 143.9018 | -3.8653e-05 | 144.1192 | 0.0076634 | 144.2353 | 0.00015826 | 144.3514
2.9167 | 146.999 | 0.010764 | 147.1152 | 0.013178 | 147.2313 | 0.015038 | 147.3473 | 0.013492 | 147.4634 | 0.01226 | 147.5795 | 0.0086244 | 147.6956 | 0.012759 | 147.8117 | 0.014128 | 148.0291 | 0.012714 | 148.1452 | 0.012765 | 148.2613 | 0.01378 | 148.3773 | 0.011663 | 148.4934 | 0.010237 | 148.6095 | 0.010933 | 148.7256 | 0.012559 | 148.8416 | 0.0095735 | 149.0592 | 0.014527 | 149.1753 | 0.008824 | 149.2913 | 0.013051 | 149.4074 | 2.9246 | 149.5235 | 0.012309 | 149.6396 | 0.013657 | 149.7556 | 0.011165 | 149.8717 | 0.012645 | 150.0892 | 0.0082864 | 150.2053 | 0.012014 | 150.3213 | 0.011247 | 150.4374 | 0.0075109 | 150.5535 | 0.0092687 | 150.6696 | 0.0087402 | 150.7857 | 0.0078113 | 150.9017 | -3.8635e-05 | 151.1192 | 0.007664 | 151.2353 | 0.00015848 | 151.3514
2.9167 | 153.999 | 0.010765 | 154.1152 | 0.013178 | 154.2312 | 0.015039 | 154.3473 | 0.013492 | 154.4634 | 0.012259 | 154.5795 | 0.0086247 | 154.6956 | 0.01276 | 154.8117 | 0.014128 | 155.0291 | 0.012715 | 155.1452 | 0.012765 | 155.2613 | 0.013781 | 155.3773 | 0.011663 | 155.4934 | 0.010238 | 155.6095 | 0.010934 | 155.7256 | 0.012559 | 155.8417 | 0.0095739 | 156.0592 | 0.014527 | 156.1752 | 0.0088242 | 156.2913 | 0.013052 | 156.4074 | 2.9245 | 156.5236 | 0.01231 | 156.6397 | 0.013656 | 156.7558 | 0.011167 | 156.8719 | 0.012647 | 157.0893 | 0.0082868 | 157.2054 | 0.012015 | 157.3215 | 0.011248 | 157.4376 | 0.007511 | 157.5537 | 0.0092693 | 157.6697 | 0.0087402 | 157.7858 | 0.0078112 | 157.9019 | -3.9037e-05 | 158.1193 | 0.0076638 | 158.2354 | 0.00015872 | 158.3515
2.9167 | 160.999 | 0.010763 | 161.1151 | 0.013177 | 161.2312 | 0.015038 | 161.3473 | 0.013491 | 161.4634 | 0.012258 | 161.5796 | 0.0086246 | 161.6957 | 0.012759 | 161.8118 | 0.014128 | 162.0293 | 0.012715 | 162.1453 | 0.012765 | 162.2614 | 0.013781 | 162.3775 | 0.011663 | 162.4936 | 0.010238 | 162.6096 | 0.010934 | 162.7257 | 0.012559 | 162.8418 | 0.0095739 | 163.0593 | 0.014527 | 163.1754 | 0.0088249 | 163.2914 | 0.013052 | 163.4075 | 2.9245 | 163.5236 | 0.01231 | 163.6397 | 0.013656 | 163.7558 | 0.011167 | 163.8718 | 0.012647 | 164.0893 | 0.008287 | 164.2054 | 0.012016 | 164.3215 | 0.011248 | 164.4375 | 0.0075109 | 164.5536 | 0.0092695 | 164.6697 | 0.0087406 | 164.7858 | 0.0078115 | 164.9019 | -3.8877e-05 | 165.1193 | 0.0076642 | 165.2354 | 0.00015861 | 165.3515
2.9167 | 167.999 | 0.010764 | 168.1152 | 0.013177 | 168.2312 | 0.015038 | 168.3473 | 0.013492 | 168.4634 | 0.012259 | 168.5795 | 0.0086253 | 168.6956 | 0.012759 | 168.8116 | 0.014129 | 169.0291 | 0.012715 | 169.1452 | 0.012766 | 169.2612 | 0.013781 | 169.3773 | 0.011663 | 169.4934 | 0.010239 | 169.6095 | 0.010934 | 169.7256 | 0.012559 | 169.8416 | 0.0095747 | 170.0591 | 0.014527 | 170.1752 | 0.0088247 | 170.2913 | 0.013052 | 170.4074 | 2.9245 | 170.5235 | 0.012311 | 170.6396 | 0.013657 | 170.7557 | 0.011168 | 170.8717 | 0.012648 | 171.0892 | 0.0082873 | 171.2053 | 0.012017 | 171.3214 | 0.011249 | 171.4374 | 0.0075113 | 171.5535 | 0.0092704 | 171.6697 | 0.0087416 | 171.7859 | 0.0078121 | 171.9019 | -3.8361e-05 | 172.1194 | 0.0076646 | 172.2355 | 0.00015888 | 172.3516
2.9167 | 174.999 | 0.010764 | 175.1151 | 0.013177 | 175.2312 | 0.015038 | 175.3473 | 0.013491 | 175.4634 | 0.012259 | 175.5794 | 0.0086252 | 175.6955 | 0.012759 | 175.8116 | 0.014129 | 176.0291 | 0.012716 | 176.1451 | 0.012766 | 176.2612 | 0.013781 | 176.3773 | 0.011664 | 176.4934 | 0.010239 | 176.6094 | 0.010935 | 176.7256 | 0.01256 | 176.8417 | 0.0095746 | 177.0593 | 0.014527 | 177.1753 | 0.0088252 | 177.2914 | 0.013053 | 177.4075 | 2.9245 | 177.5236 | 0.012311 | 177.6397 | 0.013658 | 177.7557 | 0.011167 | 177.8718 | 0.012647 | 178.0893 | 0.0082883 | 178.2054 | 0.012017 | 178.3215 | 0.011249 | 178.4375 | 0.0075115 | 178.5536 | 0.0092704 | 178.6697 | 0.0087416 | 178.7858 | 0.0078117 | 178.9018 | -3.8608e-05 | 179.1193 | 0.0076644 | 179.2354 | 0.00015875 | 179.3514
2.9167 | 181.999 | 0.010763 | 182.1152 | 0.013176 | 182.2312 | 0.015039 | 182.3473 | 0.013491 | 182.4634 | 0.01226 | 182.5795 | 0.0086234 | 182.6956 | 0.012758 | 182.8116 | 0.014129 | 183.0291 | 0.012716 | 183.1452 | 0.012766 | 183.2612 | 0.013782 | 183.3773 | 0.011664 | 183.4934 | 0.010238 | 183.6095 | 0.010933 | 183.7256 | 0.012559 | 183.8417 | 0.0095743 | 184.0592 | 0.014528 | 184.1752 | 0.0088246 | 184.2913 | 0.013052 | 184.4074 | 2.9245 | 184.5235 | 0.01231 | 184.6396 | 0.013657 | 184.7556 | 0.011165 | 184.8717 | 0.012645 | 185.0892 | 0.0082873 | 185.2053 | 0.012015 | 185.3213 | 0.011248 | 185.4374 | 0.0075112 | 185.5535 | 0.0092694 | 185.6696 | 0.0087407 | 185.7857 | 0.0078113 | 185.9018 | -3.8653e-05 | 186.1192 | 0.0076634 | 186.2353 | 0.00015894 | 186.3514
2.9167 | 188.999 | 0.010763 | 189.1152 | 0.013177 | 189.2313 | 0.015039 | 189.3473 | 0.013491 | 189.4634 | 0.01226 | 189.5795 | 0.0086234 | 189.6956 | 0.012758 | 189.8116 | 0.014127 | 190.0291 | 0.012715 | 190.1452 | 0.012764 | 190.2613 | 0.01378 | 190.3774 | 0.011663 | 190.4934 | 0.010237 | 190.6095 | 0.010931 | 190.7256 | 0.012558 | 190.8417 | 0.0095735 | 191.0592 | 0.014527 | 191.1753 | 0.0088234 | 191.2913 | 0.013051 | 191.4074 | 2.9245 | 191.5235 | 0.012309 | 191.6396 | 0.013655 | 191.7557 | 0.011164 | 191.8719 | 0.012643 | 192.0894 | 0.0082867 | 192.2054 | 0.012014 | 192.3215 | 0.011247 | 192.4376 | 0.007511 | 192.5537 | 0.0092682 | 192.6698 | 0.0087402 | 192.7859 | 0.0078111 | 192.9019 | -3.8699e-05 | 193.1194 | 0.0076629 | 193.2355 | 0.00015839 | 193.3516
2.9166 | 195.999 | 0.010764 | 196.1151 | 0.013177 | 196.2312 | 0.01504 | 196.3473 | 0.013491 | 196.4634 | 0.01226 | 196.5795 | 0.0086236 | 196.6956 | 0.012759 | 196.8116 | 0.014127 | 197.0291 | 0.012714 | 197.1452 | 0.012764 | 197.2613 | 0.01378 | 197.3774 | 0.011662 | 197.4934 | 0.010237 | 197.6095 | 0.010932 | 197.7256 | 0.012558 | 197.8417 | 0.0095727 | 198.0592 | 0.014526 | 198.1752 | 0.0088236 | 198.2913 | 0.01305 | 198.4074 | 2.9245 | 198.5235 | 0.012309 | 198.6396 | 0.013655 | 198.7556 | 0.011164 | 198.8717 | 0.012644 | 199.0892 | 0.0082867 | 199.2052 | 0.012015 | 199.3213 | 0.011247 | 199.4374 | 0.0075106 | 199.5535 | 0.0092687 | 199.6695 | 0.0087399 | 199.7856 | 0.0078115 | 199.9017 | -3.9079e-05 | 200.1192 | 0.0076629 | 200.2352 | 0.00015856 | 200.3513
2.9167 | 202.999 | 0.010764 | 203.1151 | 0.013176 | 203.2312 | 0.015039 | 203.3473 | 0.013491 | 203.4634 | 0.01226 | 203.5795 | 0.0086233 | 203.6955 | 0.012759 | 203.8116 | 0.014127 | 204.0291 | 0.012714 | 204.1452 | 0.012765 | 204.2613 | 0.01378 | 204.3773 | 0.011663 | 204.4934 | 0.010238 | 204.6095 | 0.010933 | 204.7256 | 0.012557 | 204.8416 | 0.009573 | 205.0591 | 0.014526 | 205.1752 | 0.0088238 | 205.2913 | 0.013051 | 205.4073 | 2.9245 | 205.5234 | 0.012309 | 205.6395 | 0.013656 | 205.7555 | 0.011166 | 205.8716 | 0.012645 | 206.0891 | 0.0082862 | 206.2052 | 0.012014 | 206.3212 | 0.011247 | 206.4373 | 0.0075106 | 206.5534 | 0.0092689 | 206.6695 | 0.0087399 | 206.7856 | 0.0078106 | 206.9016 | -3.8661e-05 | 207.1192 | 0.007663 | 207.2352 | 0.00015885 | 207.3513
2.9167 | 209.999 | 0.010764 | 210.1151 | 0.013176 | 210.2312 | 0.015039 | 210.3473 | 0.013491 | 210.4634 | 0.01226 | 210.5795 | 0.0086242 | 210.6956 | 0.012759 | 210.8117 | 0.014129 | 211.0292 | 0.012715 | 211.1452 | 0.012766 | 211.2613 | 0.013781 | 211.3774 | 0.011663 | 211.4935 | 0.010239 | 211.6095 | 0.010934 | 211.7256 | 0.012559 | 211.8417 | 0.0095746 | 212.0593 | 0.014527 | 212.1754 | 0.0088244 | 212.2915 | 0.013052 | 212.4076 | 2.9245 | 212.5236 | 0.01231 | 212.6397 | 0.013658 | 212.7558 | 0.011168 | 212.8719 | 0.012648 | 213.0893 | 0.0082872 | 213.2054 | 0.012015 | 213.3215 | 0.011248 | 213.4376 | 0.0075108 | 213.5536 | 0.0092701 | 213.6697 | 0.0087406 | 213.7858 | 0.0078114 | 213.9019 | -3.8636e-05 | 214.1193 | 0.007664 | 214.2354 | 0.00015898 | 214.3515
2.9167 | 216.999 | 0.010765 | 217.1153 | 0.013177 | 217.2314 | 0.01504 | 217.3475 | 0.013492 | 217.4636 | 0.012262 | 217.5797 | 0.0086261 | 217.6957 | 0.01276 | 217.8118 | 0.014131 | 218.0293 | 0.012716 | 218.1454 | 0.012767 | 218.2614 | 0.013782 | 218.3775 | 0.011665 | 218.4936 | 0.010239 | 218.6097 | 0.010935 | 218.7257 | 0.01256 | 218.8418 | 0.0095745 | 219.0593 | 0.014527 | 219.1754 | 0.0088251 | 219.2915 | 0.013053 | 219.4076 | 2.9245 | 219.5237 | 0.012311 | 219.6397 | 0.013659 | 219.7558 | 0.011169 | 219.8719 | 0.012649 | 220.0894 | 0.0082881 | 220.2055 | 0.012016 | 220.3215 | 0.011249 | 220.4376 | 0.0075116 | 220.5537 | 0.0092711 | 220.6698 | 0.0087413 | 220.7858 | 0.007812 | 220.9019 | -3.8903e-05 | 221.1194 | 0.0076647 | 221.2355 | 0.0001589 | 221.3516
2.9167 | 223.999 | 0.010765 | 224.1152 | 0.013178 | 224.2312 | 0.01504 | 224.3473 | 0.013492 | 224.4634 | 0.012262 | 224.5795 | 0.0086264 | 224.6955 | 0.01276 | 224.8116 | 0.014131 | 225.0291 | 0.012717 | 225.1452 | 0.012767 | 225.2612 | 0.013783 | 225.3773 | 0.011666 | 225.4934 | 0.01024 | 225.6095 | 0.010935 | 225.7255 | 0.01256 | 225.8416 | 0.0095744 | 226.0591 | 0.014528 | 226.1752 | 0.0088251 | 226.2913 | 0.013054 | 226.4073 | 2.9246 | 226.5234 | 0.012312 | 226.6395 | 0.01366 | 226.7556 | 0.011169 | 226.8717 | 0.012649 | 227.0892 | 0.0082885 | 227.2052 | 0.012017 | 227.3214 | 0.01125 | 227.4374 | 0.007512 | 227.5535 | 0.0092714 | 227.6696 | 0.0087418 | 227.7857 | 0.0078125 | 227.9018 | -3.866e-05 | 228.1192 | 0.0076657 | 228.2353 | 0.00015884 | 228.3514
2.9167 | 230.999 | 0.010764 | 231.1151 | 0.013177 | 231.2312 | 0.015039 | 231.3473 | 0.013491 | 231.4634 | 0.012261 | 231.5795 | 0.0086252 | 231.6956 | 0.012759 | 231.8116 | 0.014131 | 232.0291 | 0.012719 | 232.1452 | 0.012768 | 232.2614 | 0.013783 | 232.3775 | 0.011666 | 232.4936 | 0.01024 | 232.6096 | 0.010935 | 232.7257 | 0.01256 | 232.8418 | 0.0095748 | 233.0593 | 0.014528 | 233.1753 | 0.008825 | 233.2914 | 0.013053 | 233.4075 | 2.9246 | 233.5236 | 0.012312 | 233.6397 | 0.01366 | 233.7557 | 0.011169 | 233.8718 | 0.012648 | 234.0893 | 0.0082884 | 234.2054 | 0.012018 | 234.3214 | 0.01125 | 234.4375 | 0.0075129 | 234.5536 | 0.0092715 | 234.6697 | 0.0087421 | 234.7857 | 0.0078126 | 234.9018 | -3.8393e-05 | 235.1193 | 0.0076656 | 235.2354 | 0.0001589 | 235.3514
2.9167 | 237.999 | 0.010764 | 238.1151 | 0.013177 | 238.2312 | 0.015039 | 238.3473 | 0.013492 | 238.4634 | 0.012261 | 238.5795 | 0.0086244 | 238.6956 | 0.012759 | 238.8116 | 0.01413 | 239.0291 | 0.012718 | 239.1452 | 0.012768 | 239.2613 | 0.013784 | 239.3773 | 0.011666 | 239.4934 | 0.010239 | 239.6095 | 0.010935 | 239.7256 | 0.01256 | 239.8417 | 0.0095748 | 240.0592 | 0.014527 | 240.1753 | 0.0088248 | 240.2914 | 0.013053 | 240.4074 | 2.9245 | 240.5235 | 0.012311 | 240.6396 | 0.013659 | 240.7557 | 0.011167 | 240.8717 | 0.012647 | 241.0892 | 0.0082887 | 241.2053 | 0.012017 | 241.3213 | 0.011249 | 241.4374 | 0.0075127 | 241.5535 | 0.0092709 | 241.6696 | 0.0087415 | 241.7856 | 0.0078125 | 241.9017 | -3.8214e-05 | 242.1192 | 0.0076648 | 242.2353 | 0.0001591 | 242.3514
2.9167 | 244.999 | 0.010764 | 245.1151 | 0.013176 | 245.2312 | 0.015039 | 245.3473 | 0.013492 | 245.4634 | 0.01226 | 245.5795 | 0.0086239 | 245.6956 | 0.012759 | 245.8116 | 0.014128 | 246.0291 | 0.012717 | 246.1452 | 0.012767 | 246.2612 | 0.013783 | 246.3773 | 0.011665 | 246.4934 | 0.010239 | 246.6095 | 0.010934 | 246.7255 | 0.012559 | 246.8416 | 0.009574 | 247.0591 | 0.014527 | 247.1752 | 0.0088242 | 247.2913 | 0.013052 | 247.4075 | 2.9245 | 247.5236 | 0.01231 | 247.6397 | 0.013658 | 247.7558 | 0.011166 | 247.8718 | 0.012645 | 248.0893 | 0.0082875 | 248.2054 | 0.012015 | 248.3214 | 0.011248 | 248.4375 | 0.0075122 | 248.5536 | 0.0092695 | 248.6697 | 0.0087411 | 248.7858 | 0.0078116 | 248.9018 | -3.8458e-05 | 249.1193 | 0.007664 | 249.2354 | 0.00015886 | 249.3514
2.9167 | 251.999 | 0.010763 | 252.1151 | 0.013176 | 252.2312 | 0.015039 | 252.3473 | 0.01349 | 252.4635 | 0.012259 | 252.5796 | 0.0086231 | 252.6957 | 0.012758 | 252.8118 | 0.014128 | 253.0292 | 0.012717 | 253.1453 | 0.012767 | 253.2613 | 0.013783 | 253.3774 | 0.011664 | 253.4935 | 0.010239 | 253.6096 | 0.010933 | 253.7257 | 0.012558 | 253.8417 | 0.0095736 | 254.0592 | 0.014527 | 254.1753 | 0.0088242 | 254.2914 | 0.013051 | 254.4074 | 2.9245 | 254.5235 | 0.01231 | 254.6396 | 0.013657 | 254.7557 | 0.011166 | 254.8718 | 0.012645 | 255.0893 | 0.0082871 | 255.2053 | 0.012015 | 255.3214 | 0.011247 | 255.4375 | 0.0075116 | 255.5536 | 0.0092689 | 255.6696 | 0.0087406 | 255.7857 | 0.0078119 | 255.9018 | -3.8565e-05 | 256.1192 | 0.0076636 | 256.2353 | 0.00015916 | 256.3514
2.9167 | 258.999 | 0.010762 | 259.1151 | 0.013175 | 259.2312 | 0.015038 | 259.3473 | 0.01349 | 259.4634 | 0.012259 | 259.5795 | 0.0086227 | 259.6956 | 0.012758 | 259.8116 | 0.014127 | 260.0291 | 0.012716 | 260.1452 | 0.012766 | 260.2612 | 0.013782 | 260.3773 | 0.011663 | 260.4934 | 0.010238 | 260.6095 | 0.010933 | 260.7255 | 0.012558 | 260.8416 | 0.009573 | 261.0591 | 0.014526 | 261.1752 | 0.0088238 | 261.2913 | 0.013051 | 261.4073 | 2.9246 | 261.5234 | 0.01231 | 261.6395 | 0.013656 | 261.7556 | 0.011165 | 261.8717 | 0.012645 | 262.0891 | 0.0082867 | 262.2052 | 0.012014 | 262.3213 | 0.011247 | 262.4374 | 0.0075114 | 262.5536 | 0.0092687 | 262.6697 | 0.00874 | 262.7858 | 0.0078114 | 262.9019 | -3.8659e-05 | 263.1193 | 0.0076635 | 263.2354 | 0.00015882 | 263.3515
2.9167 | 265.999 | 0.010763 | 266.1151 | 0.013176 | 266.2312 | 0.015039 | 266.3473 | 0.01349 | 266.4634 | 0.012259 | 266.5795 | 0.0086237 | 266.6955 | 0.012758 | 266.8116 | 0.014127 | 267.0291 | 0.012716 | 267.1452 | 0.012766 | 267.2612 | 0.013782 | 267.3773 | 0.011664 | 267.4934 | 0.010238 | 267.6096 | 0.010934 | 267.7257 | 0.012558 | 267.8418 | 0.0095733 | 268.0593 | 0.014527 | 268.1754 | 0.0088241 | 268.2915 | 0.013051 | 268.4075 | 2.9245 | 268.5236 | 0.01231 | 268.6397 | 0.013657 | 268.7558 | 0.011166 | 268.8719 | 0.012646 | 269.0893 | 0.0082867 | 269.2054 | 0.012014 | 269.3215 | 0.011247 | 269.4376 | 0.0075114 | 269.5536 | 0.009269 | 269.6697 | 0.0087401 | 269.7858 | 0.007811 | 269.9019 | -3.8784e-05 | 270.1194 | 0.0076634 | 270.2354 | 0.00015824 | 270.3515
2.9167 | 272.999 | 0.010764 | 273.1151 | 0.013177 | 273.2312 | 0.015039 | 273.3473 | 0.013491 | 273.4634 | 0.01226 | 273.5794 | 0.0086242 | 273.6955 | 0.012759 | 273.8116 | 0.014127 | 274.029 | 0.012716 | 274.1451 | 0.012766 | 274.2612 | 0.013782 | 274.3773 | 0.011664 | 274.4933 | 0.010239 | 274.6094 | 0.010934 | 274.7255 | 0.012558 | 274.8416 | 0.0095735 | 275.0591 | 0.014527 | 275.1752 | 0.0088245 | 275.2912 | 0.013052 | 275.4073 | 2.9246 | 275.5234 | 0.012311 | 275.6395 | 0.013658 | 275.7556 | 0.011166 | 275.8717 | 0.012646 | 276.0891 | 0.0082871 | 276.2052 | 0.012016 | 276.3213 | 0.011249 | 276.4373 | 0.0075113 | 276.5534 | 0.0092702 | 276.6695 | 0.0087412 | 276.7856 | 0.0078115 | 276.9017 | -3.8781e-05 | 277.1192 | 0.0076644 | 277.2352 | 0.00015892 | 277.3513
2.9167 | 279.999 | 0.010765 | 280.1151 | 0.013178 | 280.2312 | 0.01504 | 280.3473 | 0.013492 | 280.4634 | 0.012261 | 280.5795 | 0.008625 | 280.6956 | 0.01276 | 280.8117 | 0.014128 | 281.0291 | 0.012716 | 281.1452 | 0.012766 | 281.2613 | 0.013781 | 281.3774 | 0.011664 | 281.4934 | 0.010239 | 281.6095 | 0.010934 | 281.7256 | 0.012558 | 281.8416 | 0.0095736 | 282.0591 | 0.014527 | 282.1752 | 0.0088247 | 282.2913 | 0.013051 | 282.4074 | 2.9245 | 282.5235 | 0.01231 | 282.6395 | 0.013657 | 282.7557 | 0.011167 | 282.8718 | 0.012646 | 283.0893 | 0.0082873 | 283.2054 | 0.012017 | 283.3215 | 0.011249 | 283.4375 | 0.0075123 | 283.5536 | 0.0092712 | 283.6697 | 0.0087417 | 283.7858 | 0.0078123 | 283.9019 | -3.8323e-05 | 284.1193 | 0.0076646 | 284.2354 | 0.00015885 | 284.3515
2.9167 | 286.999 | 0.010765 | 287.1151 | 0.013178 | 287.2312 | 0.01504 | 287.3473 | 0.013492 | 287.4634 | 0.012261 | 287.5795 | 0.008625 | 287.6955 | 0.01276 | 287.8155 | 0.014128 | 288.033 | 0.012716 | 288.149 | 0.012766 | 288.2651 | 0.013781 | 288.3812 | 0.011664 | 288.4973 | 0.010238 | 288.6134 | 0.010934 | 288.7295 | 0.012558 | 288.8456 | 0.0095735 | 289.0631 | 0.014527 | 289.1792 | 0.0088242 | 289.2953 | 0.013052 | 289.4113 | 2.9245 | 289.5274 | 0.012311 | 289.6435 | 0.013657 | 289.7596 | 0.011167 | 289.8757 | 0.012646 | 290.0931 | 0.0082874 | 290.2092 | 0.012016 | 290.3253 | 0.011249 | 290.4413 | 0.0075118 | 290.5574 | 0.0092707 | 290.6735 | 0.0087414 | 290.7896 | 0.0078118 | 290.9056 | -3.8668e-05 | 291.1231 | 0.007664 | 291.2392 | 0.00015902 | 291.3553
2.9167 | 293.999 | 0.010765 | 294.1152 | 0.013177 | 294.2312 | 0.01504 | 294.3473 | 0.013492 | 294.4634 | 0.012261 | 294.5795 | 0.0086251 | 294.6956 | 0.01276 | 294.8116 | 0.014128 | 295.0291 | 0.012716 | 295.1452 | 0.012766 | 295.2612 | 0.013781 | 295.3773 | 0.011664 | 295.4934 | 0.010239 | 295.6095 | 0.010935 | 295.7255 | 0.012559 | 295.8416 | 0.0095739 | 296.0591 | 0.014527 | 296.1752 | 0.0088244 | 296.2913 | 0.013052 | 296.4074 | 2.9245 | 296.5234 | 0.01231 | 296.6395 | 0.013657 | 296.7556 | 0.011167 | 296.8717 | 0.012647 | 297.0891 | 0.0082871 | 297.2052 | 0.012015 | 297.3213 | 0.011248 | 297.4374 | 0.0075118 | 297.5535 | 0.0092699 | 297.6695 | 0.0087408 | 297.7856 | 0.0078114 | 297.9096 | -3.8649e-05 | 298.1271 | 0.0076638 | 298.2432 | 0.00015861 | 298.3593
2.9167 | 300.999 | 0.010764 | 301.1151 | 0.013177 | 301.2312 | 0.015039 | 301.3473 | 0.013492 | 301.4634 | 0.01226 | 301.5795 | 0.0086245 | 301.6956 | 0.01276 | 301.8117 | 0.014128 | 302.0291 | 0.012716 | 302.1452 | 0.012766 | 302.2613 | 0.013782 | 302.3774 | 0.011664 | 302.4934 | 0.010239 | 302.6095 | 0.010934 | 302.7256 | 0.012559 | 302.8417 | 0.0095743 | 303.0606 | 0.014527 | 303.1767 | 0.008825 | 303.2928 | 0.013053 | 303.4088 | 2.9245 | 303.5249 | 0.01231 | 303.641 | 0.013657 | 303.7571 | 0.011168 | 303.8732 | 0.012648 | 304.0906 | 0.0082871 | 304.2067 | 0.012015 | 304.3228 | 0.011248 | 304.4389 | 0.0075116 | 304.555 | 0.0092699 | 304.671 | 0.0087405 | 304.7871 | 0.0078116 | 304.9032 | -3.8979e-05 | 305.1207 | 0.007664 | 305.2367 | 0.00015887 | 305.3528
2.9167 | 307.9991 | 0.010764 | 308.1152 | 0.013176 | 308.2313 | 0.015039 | 308.3473 | 0.013492 | 308.4635 | 0.012261 | 308.5795 | 0.0086255 | 308.6956 | 0.01276 | 308.8117 | 0.014129 | 309.0292 | 0.012716 | 309.1452 | 0.012767 | 309.2613 | 0.013782 | 309.3773 | 0.011665 | 309.4934 | 0.010239 | 309.6095 | 0.010935 | 309.7256 | 0.01256 | 309.8417 | 0.0095746 | 310.0592 | 0.014527 | 310.1753 | 0.0088249 | 310.2913 | 0.013054 | 310.4074 | 2.9245 | 310.5235 | 0.012311 | 310.6396 | 0.013658 | 310.7557 | 0.011169 | 310.8718 | 0.01265 | 311.0892 | 0.0082879 | 311.2053 | 0.012017 | 311.3214 | 0.011249 | 311.4375 | 0.0075121 | 311.5536 | 0.0092709 | 311.6696 | 0.0087414 | 311.7857 | 0.0078122 | 311.9018 | -3.8552e-05 | 312.1192 | 0.0076645 | 312.2353 | 0.00015886 | 312.3514
2.9167 | 314.999 | 0.010765 | 315.1151 | 0.013177 | 315.2312 | 0.01504 | 315.3473 | 0.013492 | 315.4634 | 0.012261 | 315.5795 | 0.0086264 | 315.6956 | 0.01276 | 315.8116 | 0.01413 | 316.0291 | 0.012716 | 316.1452 | 0.012767 | 316.2612 | 0.013783 | 316.3773 | 0.011665 | 316.4934 | 0.01024 | 316.6095 | 0.010935 | 316.7255 | 0.01256 | 316.8416 | 0.0095751 | 317.0592 | 0.014529 | 317.1752 | 0.0088257 | 317.2913 | 0.013054 | 317.4074 | 2.9246 | 317.5235 | 0.012311 | 317.6395 | 0.013659 | 317.7556 | 0.011169 | 317.8717 | 0.01265 | 318.0964 | 0.0082883 | 318.2125 | 0.012018 | 318.3286 | 0.01125 | 318.4447 | 0.0075122 | 318.5607 | 0.0092715 | 318.6768 | 0.008742 | 318.7929 | 0.0078121 | 318.909 | -3.8433e-05 | 319.1265 | 0.007665 | 319.2426 | 0.00015871 | 319.3586
2.9167 | 321.999 | 0.010765 | 322.1152 | 0.013178 | 322.2313 | 0.01504 | 322.3473 | 0.013492 | 322.4634 | 0.012261 | 322.5795 | 0.008626 | 322.6956 | 0.01276 | 322.8116 | 0.014132 | 323.0291 | 0.012717 | 323.1505 | 0.012769 | 323.2666 | 0.013783 | 323.3827 | 0.011666 | 323.4988 | 0.01024 | 323.6149 | 0.010936 | 323.731 | 0.01256 | 323.847 | 0.0095758 | 324.0645 | 0.014529 | 324.1806 | 0.0088259 | 324.2967 | 0.013054 | 324.4128 | 2.9246 | 324.5289 | 0.012312 | 324.645 | 0.01366 | 324.761 | 0.011168 | 324.8771 | 0.012649 | 325.0946 | 0.0082884 | 325.2107 | 0.012018 | 325.3267 | 0.011249 | 325.4428 | 0.0075122 | 325.5589 | 0.0092707 | 325.675 | 0.0087418 | 325.7911 | 0.0078122 | 325.9071 | -3.8242e-05 | 326.1246 | 0.0076647 | 326.2407 | 0.00015873 | 326.3568
2.9167 | 328.999 | 0.010765 | 329.1152 | 0.013178 | 329.2312 | 0.01504 | 329.3473 | 0.013492 | 329.4634 | 0.012261 | 329.5795 | 0.0086255 | 329.6956 | 0.01276 | 329.8116 | 0.014132 | 330.0291 | 0.012717 | 330.1452 | 0.012768 | 330.2613 | 0.013783 | 330.3774 | 0.011665 | 330.4934 | 0.010239 | 330.6095 | 0.010935 | 330.7256 | 0.01256 | 330.8417 | 0.0095748 | 331.0591 | 0.014528 | 331.1752 | 0.0088255 | 331.2913 | 0.013053 | 331.4074 | 2.9246 | 331.5235 | 0.012312 | 331.6395 | 0.013659 | 331.7556 | 0.011168 | 331.8717 | 0.012647 | 332.0892 | 0.0082882 | 332.2053 | 0.012016 | 332.3213 | 0.011249 | 332.4374 | 0.0075118 | 332.5535 | 0.0092702 | 332.6696 | 0.0087416 | 332.7856 | 0.0078118 | 332.9017 | -3.8734e-05 | 333.1192 | 0.0076637 | 333.2441 | 0.00015888 | 333.3602
2.9167 | 335.999 | 0.010765 | 336.1151 | 0.013178 | 336.2312 | 0.015041 | 336.3473 | 0.013493 | 336.4634 | 0.012262 | 336.5795 | 0.0086261 | 336.6955 | 0.01276 | 336.8116 | 0.014131 | 337.0291 | 0.012716 | 337.1452 | 0.012766 | 337.2612 | 0.013781 | 337.3773 | 0.011664 | 337.4934 | 0.010238 | 337.6095 | 0.010933 | 337.7255 | 0.01256 | 337.8416 | 0.0095747 | 338.0591 | 0.014528 | 338.1752 | 0.0088257 | 338.2983 | 0.013053 | 338.4144 | 2.9246 | 338.5305 | 0.01231 | 338.6466 | 0.013657 | 338.7626 | 0.011167 | 338.8787 | 0.012647 | 339.0962 | 0.008288 | 339.2123 | 0.012014 | 339.3283 | 0.011247 | 339.4444 | 0.0075124 | 339.5605 | 0.0092684 | 339.6766 | 0.0087401 | 339.7926 | 0.0078113 | 339.9087 | -3.8883e-05 | 340.1262 | 0.0076633 | 340.2423 | 0.00015861 | 340.3583
2.9167 | 342.999 | 0.010766 | 343.1152 | 0.013178 | 343.2312 | 0.015041 | 343.3527 | 0.013493 | 343.4688 | 0.012262 | 343.5849 | 0.0086262 | 343.701 | 0.012761 | 343.817 | 0.014132 | 344.0345 | 0.012717 | 344.1506 | 0.012767 | 344.2667 | 0.013782 | 344.3827 | 0.011665 | 344.4988 | 0.010239 | 344.6149 | 0.010934 | 344.731 | 0.012561 | 344.8471 | 0.0095747 | 345.0646 | 0.014528 | 345.1807 | 0.0088261 | 345.2968 | 0.013053 | 345.4128 | 2.9245 | 345.5289 | 0.012311 | 345.645 | 0.013657 | 345.7611 | 0.011168 | 345.8772 | 0.012647 | 346.0947 | 0.0082886 | 346.2107 | 0.012013 | 346.3268 | 0.011247 | 346.4429 | 0.0075118 | 346.559 | 0.0092681 | 346.6751 | 0.0087396 | 346.7912 | 0.007811 | 346.9072 | -3.8753e-05 | 347.1247 | 0.0076628 | 347.2408 | 0.00015874 | 347.3568