## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-19
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-19
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9181 | 0 | 0.010722 | 0.11614 | 0.013178 | 0.23224 | 0.015046 | 0.34833 | 0.013498 | 0.46441 | 0.012256 | 0.58049 | 0.0085906 | 0.69658 | 0.012759 | 0.81265 | 0.014131 | 1.0301 | 0.012716 | 1.1462 | 0.012766 | 1.2623 | 0.013776 | 1.3783 | 0.011643 | 1.4944 | 0.010246 | 1.6105 | 0.010928 | 1.7265 | 0.012547 | 1.8426 | 0.0095747 | 2.0601 | 0.014514 | 2.1762 | 0.0088095 | 2.2923 | 0.013054 | 2.4084 | 2.9259 | 2.5245 | 0.012306 | 2.6406 | 0.013641 | 2.7566 | 0.01118 | 2.8727 | 0.012644 | 3.0902 | 0.0082892 | 3.2062 | 0.012006 | 3.3223 | 0.011249 | 3.4384 | 0.0075074 | 3.5545 | 0.0092546 | 3.6706 | 0.0087411 | 3.7867 | 0.0078124 | 3.9027 | 1.9862e-05 | 4.1202 | 0.0076665 | 4.2363 | 0.00015931 | 4.3524
2.918 | 6.9996 | 0.010724 | 7.1157 | 0.01318 | 7.2318 | 0.015049 | 7.3479 | 0.013501 | 7.464 | 0.012259 | 7.5801 | 0.0085924 | 7.6961 | 0.012762 | 7.8122 | 0.014134 | 8.0297 | 0.012718 | 8.1458 | 0.01277 | 8.2619 | 0.01378 | 8.378 | 0.011647 | 8.494 | 0.010248 | 8.6101 | 0.01093 | 8.7262 | 0.012549 | 8.8423 | 0.0095758 | 9.0598 | 0.014515 | 9.1759 | 0.0088106 | 9.292 | 0.013057 | 9.408 | 2.9258 | 9.5241 | 0.01231 | 9.6402 | 0.013646 | 9.7563 | 0.011183 | 9.8724 | 0.012648 | 10.0898 | 0.0082919 | 10.2059 | 0.01201 | 10.322 | 0.011253 | 10.4381 | 0.0075099 | 10.5542 | 0.009257 | 10.6703 | 0.0087427 | 10.7863 | 0.007815 | 10.9024 | 1.9232e-05 | 11.1199 | 0.0076692 | 11.2359 | 0.00015913 | 11.352
2.9179 | 13.9996 | 0.010727 | 14.1157 | 0.013183 | 14.2318 | 0.015051 | 14.3479 | 0.013503 | 14.464 | 0.012262 | 14.5801 | 0.0085955 | 14.6961 | 0.012765 | 14.8122 | 0.014136 | 15.0297 | 0.01272 | 15.1458 | 0.012773 | 15.2619 | 0.013784 | 15.3779 | 0.01165 | 15.494 | 0.010251 | 15.6101 | 0.010933 | 15.7262 | 0.012551 | 15.8423 | 0.0095782 | 16.0598 | 0.014518 | 16.1759 | 0.0088124 | 16.292 | 0.013059 | 16.408 | 2.9258 | 16.5241 | 0.012314 | 16.6402 | 0.013649 | 16.7563 | 0.011186 | 16.8723 | 0.012652 | 17.0898 | 0.0082936 | 17.2059 | 0.012013 | 17.322 | 0.011256 | 17.438 | 0.007512 | 17.5541 | 0.0092597 | 17.6702 | 0.0087455 | 17.7863 | 0.0078169 | 17.9023 | 1.9717e-05 | 18.1198 | 0.0076722 | 18.2359 | 0.00015968 | 18.352
2.9179 | 20.9996 | 0.010729 | 21.1157 | 0.013185 | 21.2318 | 0.015053 | 21.3479 | 0.013505 | 21.464 | 0.012264 | 21.5801 | 0.0085986 | 21.6962 | 0.012766 | 21.8122 | 0.014138 | 22.0297 | 0.012722 | 22.1458 | 0.012775 | 22.2619 | 0.013785 | 22.378 | 0.011652 | 22.494 | 0.010253 | 22.6101 | 0.010935 | 22.7262 | 0.012553 | 22.8423 | 0.0095801 | 23.0598 | 0.01452 | 23.1759 | 0.0088138 | 23.2919 | 0.013062 | 23.408 | 2.9257 | 23.5241 | 0.012316 | 23.6401 | 0.013652 | 23.7562 | 0.011188 | 23.8723 | 0.012654 | 24.0898 | 0.0082956 | 24.2058 | 0.012015 | 24.3219 | 0.011258 | 24.438 | 0.0075135 | 24.554 | 0.0092617 | 24.6701 | 0.0087472 | 24.7862 | 0.0078185 | 24.9023 | 1.9776e-05 | 25.1197 | 0.0076739 | 25.2358 | 0.00016006 | 25.3519
2.9179 | 27.9996 | 0.01073 | 28.1157 | 0.013187 | 28.2318 | 0.015054 | 28.3479 | 0.013506 | 28.4639 | 0.012264 | 28.58 | 0.0085986 | 28.6961 | 0.012767 | 28.8122 | 0.014139 | 29.0296 | 0.012723 | 29.1457 | 0.012776 | 29.2618 | 0.013786 | 29.3779 | 0.011653 | 29.4939 | 0.010253 | 29.61 | 0.010936 | 29.7261 | 0.012554 | 29.8422 | 0.0095817 | 30.0597 | 0.014521 | 30.1758 | 0.0088146 | 30.2919 | 0.013064 | 30.4081 | 2.9257 | 30.5241 | 0.012317 | 30.6402 | 0.013654 | 30.7563 | 0.011188 | 30.8724 | 0.012655 | 31.0898 | 0.0082967 | 31.2059 | 0.012015 | 31.322 | 0.011259 | 31.438 | 0.0075151 | 31.5541 | 0.0092628 | 31.6702 | 0.0087475 | 31.7863 | 0.0078189 | 31.9023 | 2.0265e-05 | 32.1198 | 0.0076751 | 32.2359 | 0.00015974 | 32.352
2.9179 | 34.9996 | 0.01073 | 35.1157 | 0.013187 | 35.2318 | 0.015055 | 35.348 | 0.013507 | 35.4641 | 0.012263 | 35.5802 | 0.0086001 | 35.6963 | 0.012768 | 35.8124 | 0.014141 | 36.0298 | 0.012724 | 36.1459 | 0.012778 | 36.262 | 0.013787 | 36.3781 | 0.011654 | 36.4941 | 0.010254 | 36.6102 | 0.010936 | 36.7263 | 0.012555 | 36.8424 | 0.0095827 | 37.0599 | 0.014523 | 37.176 | 0.0088162 | 37.2921 | 0.013065 | 37.4081 | 2.9257 | 37.5242 | 0.012318 | 37.6403 | 0.013655 | 37.7564 | 0.01119 | 37.8725 | 0.012656 | 38.0899 | 0.0082979 | 38.206 | 0.012018 | 38.3221 | 0.01126 | 38.4381 | 0.0075162 | 38.5542 | 0.0092641 | 38.6703 | 0.0087488 | 38.7864 | 0.0078197 | 38.9024 | 2.0525e-05 | 39.1199 | 0.0076758 | 39.236 | 0.00016 | 39.352
2.9179 | 41.9996 | 0.010732 | 42.1157 | 0.013188 | 42.2318 | 0.015056 | 42.3479 | 0.013508 | 42.464 | 0.012266 | 42.58 | 0.0086009 | 42.6961 | 0.012769 | 42.8122 | 0.014142 | 43.0297 | 0.012724 | 43.1457 | 0.012779 | 43.2618 | 0.013788 | 43.3779 | 0.011655 | 43.494 | 0.010254 | 43.61 | 0.010937 | 43.7261 | 0.012556 | 43.8422 | 0.0095832 | 44.0597 | 0.014524 | 44.1758 | 0.0088167 | 44.2918 | 0.013066 | 44.4079 | 2.9257 | 44.524 | 0.012318 | 44.6401 | 0.013656 | 44.7562 | 0.011191 | 44.8722 | 0.012657 | 45.0897 | 0.0082979 | 45.2058 | 0.012019 | 45.3219 | 0.011261 | 45.4381 | 0.0075169 | 45.5542 | 0.0092658 | 45.6703 | 0.0087501 | 45.7864 | 0.0078203 | 45.9025 | 2.0687e-05 | 46.1199 | 0.0076764 | 46.236 | 0.00016012 | 46.3521
2.9179 | 48.9996 | 0.010734 | 49.1157 | 0.013189 | 49.2318 | 0.015056 | 49.3479 | 0.013508 | 49.464 | 0.012268 | 49.5801 | 0.0086026 | 49.6961 | 0.01277 | 49.8122 | 0.014142 | 50.0297 | 0.012724 | 50.1457 | 0.012779 | 50.2618 | 0.013789 | 50.3779 | 0.011655 | 50.4941 | 0.010255 | 50.6102 | 0.010937 | 50.7263 | 0.012557 | 50.8423 | 0.0095842 | 51.0598 | 0.014524 | 51.1759 | 0.0088172 | 51.292 | 0.013067 | 51.4081 | 2.9257 | 51.5241 | 0.012318 | 51.6402 | 0.013656 | 51.7563 | 0.011191 | 51.8723 | 0.012657 | 52.0898 | 0.0082985 | 52.2059 | 0.01202 | 52.322 | 0.011262 | 52.4381 | 0.0075168 | 52.5541 | 0.0092657 | 52.6702 | 0.0087505 | 52.7863 | 0.0078206 | 52.9024 | 2.0955e-05 | 53.1198 | 0.007677 | 53.2359 | 0.00016055 | 53.352
2.9179 | 55.9996 | 0.010734 | 56.1157 | 0.01319 | 56.2318 | 0.015057 | 56.3479 | 0.013509 | 56.464 | 0.012269 | 56.5801 | 0.0086027 | 56.6962 | 0.01277 | 56.8122 | 0.014142 | 57.0297 | 0.012724 | 57.1458 | 0.012779 | 57.2618 | 0.013789 | 57.3779 | 0.011656 | 57.494 | 0.010256 | 57.6101 | 0.010937 | 57.7262 | 0.012559 | 57.8422 | 0.0095843 | 58.0597 | 0.014525 | 58.1758 | 0.0088175 | 58.2919 | 0.013067 | 58.408 | 2.9257 | 58.5241 | 0.012319 | 58.6401 | 0.013657 | 58.7562 | 0.011192 | 58.8723 | 0.012658 | 59.0898 | 0.0082986 | 59.2059 | 0.01202 | 59.3219 | 0.011263 | 59.438 | 0.0075172 | 59.5541 | 0.0092665 | 59.6702 | 0.0087511 | 59.7863 | 0.0078216 | 59.9024 | 2.1057e-05 | 60.1198 | 0.0076772 | 60.2359 | 0.00016071 | 60.352
2.9179 | 62.9996 | 0.010734 | 63.1157 | 0.01319 | 63.2318 | 0.015058 | 63.3479 | 0.013509 | 63.464 | 0.012268 | 63.58 | 0.0086035 | 63.6961 | 0.012771 | 63.8122 | 0.014142 | 64.0297 | 0.012725 | 64.1457 | 0.01278 | 64.2618 | 0.01379 | 64.3779 | 0.011656 | 64.4939 | 0.010256 | 64.61 | 0.010938 | 64.7261 | 0.01256 | 64.8422 | 0.0095847 | 65.0597 | 0.014526 | 65.1757 | 0.0088181 | 65.2918 | 0.013067 | 65.4079 | 2.9257 | 65.524 | 0.01232 | 65.6402 | 0.013658 | 65.7563 | 0.011193 | 65.8724 | 0.012659 | 66.0898 | 0.0082996 | 66.2059 | 0.012021 | 66.322 | 0.011263 | 66.4381 | 0.0075182 | 66.5542 | 0.0092671 | 66.6702 | 0.0087514 | 66.7863 | 0.0078223 | 66.9024 | 2.1587e-05 | 67.1199 | 0.0076781 | 67.2359 | 0.00016101 | 67.352
2.9179 | 69.9996 | 0.010734 | 70.1157 | 0.013191 | 70.2318 | 0.015058 | 70.3479 | 0.01351 | 70.4639 | 0.012269 | 70.58 | 0.0086046 | 70.6962 | 0.012771 | 70.8123 | 0.014142 | 71.0298 | 0.012726 | 71.1459 | 0.012781 | 71.2619 | 0.013791 | 71.378 | 0.011657 | 71.4941 | 0.010257 | 71.6102 | 0.01094 | 71.7263 | 0.012561 | 71.8423 | 0.0095854 | 72.0598 | 0.014527 | 72.1759 | 0.0088191 | 72.292 | 0.013068 | 72.4081 | 2.9257 | 72.5242 | 0.012321 | 72.6403 | 0.01366 | 72.7563 | 0.011194 | 72.8724 | 0.01266 | 73.0899 | 0.0083005 | 73.2059 | 0.012023 | 73.322 | 0.011265 | 73.4381 | 0.0075199 | 73.5542 | 0.0092685 | 73.6702 | 0.0087529 | 73.7863 | 0.0078235 | 73.9024 | 2.1546e-05 | 74.1198 | 0.0076794 | 74.2359 | 0.00016122 | 74.352
2.9179 | 76.9996 | 0.010735 | 77.1157 | 0.013193 | 77.2318 | 0.015058 | 77.3479 | 0.013511 | 77.464 | 0.01227 | 77.5801 | 0.0086056 | 77.6962 | 0.012772 | 77.8122 | 0.014144 | 78.0297 | 0.012727 | 78.1458 | 0.012783 | 78.2619 | 0.013793 | 78.3779 | 0.011659 | 78.494 | 0.010259 | 78.6101 | 0.010941 | 78.7262 | 0.012561 | 78.8422 | 0.0095861 | 79.0597 | 0.014528 | 79.1758 | 0.0088198 | 79.2919 | 0.01307 | 79.408 | 2.9257 | 79.5241 | 0.012323 | 79.6402 | 0.013661 | 79.7562 | 0.011195 | 79.8723 | 0.012662 | 80.0898 | 0.0083011 | 80.2059 | 0.012025 | 80.3219 | 0.011266 | 80.438 | 0.0075207 | 80.5541 | 0.0092697 | 80.6702 | 0.0087538 | 80.7864 | 0.0078244 | 80.9025 | 2.1998e-05 | 81.12 | 0.0076806 | 81.2361 | 0.00016133 | 81.3521
2.9178 | 83.9996 | 0.010735 | 84.1157 | 0.013193 | 84.2318 | 0.015059 | 84.3479 | 0.013511 | 84.464 | 0.012271 | 84.5801 | 0.0086068 | 84.6961 | 0.012773 | 84.8122 | 0.014145 | 85.0297 | 0.012727 | 85.1457 | 0.012783 | 85.2618 | 0.013794 | 85.3779 | 0.01166 | 85.494 | 0.01026 | 85.6101 | 0.010943 | 85.7261 | 0.012562 | 85.8423 | 0.0095872 | 86.0598 | 0.014529 | 86.1759 | 0.0088209 | 86.292 | 0.013071 | 86.4081 | 2.9257 | 86.5242 | 0.012324 | 86.6402 | 0.013662 | 86.7563 | 0.011196 | 86.8724 | 0.012663 | 87.0899 | 0.0083019 | 87.2059 | 0.012027 | 87.322 | 0.011267 | 87.4381 | 0.0075213 | 87.5542 | 0.0092713 | 87.6703 | 0.0087548 | 87.7863 | 0.0078251 | 87.9024 | 2.2153e-05 | 88.1199 | 0.0076809 | 88.236 | 0.00016151 | 88.3521
2.9178 | 90.9996 | 0.010735 | 91.1157 | 0.013193 | 91.2318 | 0.015059 | 91.3479 | 0.013511 | 91.464 | 0.012272 | 91.5801 | 0.0086068 | 91.6961 | 0.012773 | 91.8122 | 0.014144 | 92.0297 | 0.012727 | 92.1457 | 0.012783 | 92.2618 | 0.013794 | 92.3779 | 0.011659 | 92.494 | 0.01026 | 92.6101 | 0.010943 | 92.7261 | 0.012563 | 92.8422 | 0.0095869 | 93.0597 | 0.014529 | 93.1758 | 0.0088202 | 93.2919 | 0.013071 | 93.408 | 2.9257 | 93.524 | 0.012323 | 93.6401 | 0.013661 | 93.7562 | 0.011197 | 93.8723 | 0.012664 | 94.0897 | 0.0083023 | 94.2058 | 0.012028 | 94.3219 | 0.011268 | 94.438 | 0.0075214 | 94.554 | 0.0092714 | 94.6701 | 0.0087551 | 94.7862 | 0.0078252 | 94.9023 | 2.2034e-05 | 95.1197 | 0.0076811 | 95.2358 | 0.00016179 | 95.3519
2.9178 | 97.9996 | 0.010735 | 98.1157 | 0.013193 | 98.2318 | 0.015059 | 98.3479 | 0.013511 | 98.464 | 0.012272 | 98.58 | 0.0086064 | 98.6961 | 0.012772 | 98.8122 | 0.014143 | 99.0297 | 0.012727 | 99.1458 | 0.012783 | 99.2618 | 0.013794 | 99.3779 | 0.011659 | 99.494 | 0.01026 | 99.6101 | 0.010943 | 99.7261 | 0.012563 | 99.8422 | 0.0095869 | 100.0597 | 0.01453 | 100.1758 | 0.0088203 | 100.2919 | 0.013071 | 100.408 | 2.9257 | 100.5241 | 0.012323 | 100.6401 | 0.013661 | 100.7562 | 0.011197 | 100.8723 | 0.012663 | 101.0898 | 0.008302 | 101.2059 | 0.012029 | 101.322 | 0.011268 | 101.4381 | 0.0075215 | 101.5541 | 0.0092717 | 101.6702 | 0.0087549 | 101.7863 | 0.0078253 | 101.9024 | 2.2591e-05 | 102.1198 | 0.0076813 | 102.2359 | 0.00016225 | 102.352
2.9178 | 104.9996 | 0.010735 | 105.1157 | 0.013194 | 105.2318 | 0.015059 | 105.3479 | 0.013511 | 105.464 | 0.012273 | 105.5801 | 0.0086065 | 105.6962 | 0.012773 | 105.8122 | 0.014143 | 106.0298 | 0.012728 | 106.1459 | 0.012783 | 106.262 | 0.013794 | 106.3781 | 0.011659 | 106.4942 | 0.010261 | 106.6103 | 0.010943 | 106.7263 | 0.012563 | 106.8424 | 0.009587 | 107.0599 | 0.01453 | 107.176 | 0.0088207 | 107.2921 | 0.013072 | 107.4082 | 2.9257 | 107.5243 | 0.012325 | 107.6404 | 0.013662 | 107.7564 | 0.011197 | 107.8725 | 0.012664 | 108.09 | 0.0083025 | 108.2061 | 0.01203 | 108.3221 | 0.011269 | 108.4382 | 0.007522 | 108.5543 | 0.0092725 | 108.6704 | 0.008756 | 108.7864 | 0.0078264 | 108.9025 | 2.262e-05 | 109.12 | 0.0076818 | 109.2361 | 0.00016202 | 109.3522
2.9178 | 111.9996 | 0.010736 | 112.1157 | 0.013196 | 112.2318 | 0.015061 | 112.3479 | 0.013513 | 112.464 | 0.012273 | 112.5801 | 0.0086081 | 112.6961 | 0.012774 | 112.8122 | 0.014144 | 113.0297 | 0.012728 | 113.1458 | 0.012783 | 113.2618 | 0.013793 | 113.3779 | 0.011658 | 113.494 | 0.010262 | 113.6101 | 0.010945 | 113.7261 | 0.012564 | 113.8422 | 0.0095879 | 114.0597 | 0.014531 | 114.1758 | 0.008821 | 114.2919 | 0.013072 | 114.408 | 2.9257 | 114.5241 | 0.012325 | 114.6401 | 0.013662 | 114.7562 | 0.011198 | 114.8723 | 0.012665 | 115.0898 | 0.0083019 | 115.2059 | 0.012031 | 115.322 | 0.01127 | 115.438 | 0.0075223 | 115.5541 | 0.0092736 | 115.6702 | 0.0087568 | 115.7862 | 0.0078268 | 115.9023 | 2.2958e-05 | 116.1199 | 0.0076826 | 116.236 | 0.00016225 | 116.3521
2.9178 | 118.9996 | 0.010737 | 119.1157 | 0.013197 | 119.2318 | 0.015061 | 119.3479 | 0.013514 | 119.464 | 0.012272 | 119.58 | 0.0086085 | 119.6961 | 0.012775 | 119.8122 | 0.014146 | 120.0296 | 0.012728 | 120.1457 | 0.012783 | 120.2618 | 0.013792 | 120.3778 | 0.011659 | 120.4939 | 0.010262 | 120.61 | 0.010945 | 120.7261 | 0.012565 | 120.8421 | 0.0095889 | 121.0596 | 0.014531 | 121.1758 | 0.0088216 | 121.292 | 0.013073 | 121.408 | 2.9257 | 121.5241 | 0.012325 | 121.6402 | 0.013662 | 121.7563 | 0.011199 | 121.8724 | 0.012665 | 122.0898 | 0.0083028 | 122.2059 | 0.012033 | 122.322 | 0.011271 | 122.4381 | 0.0075229 | 122.5541 | 0.0092741 | 122.6702 | 0.0087578 | 122.7863 | 0.0078271 | 122.9024 | 2.2754e-05 | 123.1198 | 0.0076826 | 123.2359 | 0.00016225 | 123.352
2.9178 | 125.9996 | 0.010736 | 126.1157 | 0.013195 | 126.2319 | 0.01506 | 126.348 | 0.013513 | 126.4641 | 0.012271 | 126.5802 | 0.008606 | 126.6962 | 0.012773 | 126.8123 | 0.014146 | 127.0298 | 0.012727 | 127.1459 | 0.012782 | 127.2619 | 0.013792 | 127.378 | 0.011658 | 127.4941 | 0.01026 | 127.6102 | 0.010944 | 127.7262 | 0.012564 | 127.8423 | 0.0095894 | 128.0598 | 0.014531 | 128.1759 | 0.0088215 | 128.292 | 0.013073 | 128.4081 | 2.9256 | 128.5242 | 0.012324 | 128.6402 | 0.013662 | 128.7563 | 0.011198 | 128.8724 | 0.012663 | 129.0899 | 0.0083024 | 129.2059 | 0.012027 | 129.322 | 0.011269 | 129.4381 | 0.0075218 | 129.5542 | 0.0092724 | 129.6703 | 0.0087565 | 129.7863 | 0.0078268 | 129.9024 | 2.2445e-05 | 130.1199 | 0.0076812 | 130.2359 | 0.0001621 | 130.352
2.9178 | 132.9996 | 0.010736 | 133.1157 | 0.013193 | 133.2318 | 0.015059 | 133.3479 | 0.013512 | 133.464 | 0.012271 | 133.58 | 0.0086046 | 133.6961 | 0.012773 | 133.8122 | 0.014145 | 134.0297 | 0.012727 | 134.1458 | 0.012781 | 134.2618 | 0.013792 | 134.3779 | 0.011659 | 134.494 | 0.01026 | 134.6101 | 0.010943 | 134.7261 | 0.012563 | 134.8422 | 0.0095891 | 135.0597 | 0.014531 | 135.1758 | 0.008821 | 135.2919 | 0.013072 | 135.408 | 2.9256 | 135.524 | 0.012322 | 135.6401 | 0.01366 | 135.7562 | 0.011196 | 135.8723 | 0.012661 | 136.0897 | 0.0083022 | 136.2058 | 0.012024 | 136.322 | 0.011267 | 136.4381 | 0.0075216 | 136.5542 | 0.0092707 | 136.6703 | 0.0087553 | 136.7863 | 0.0078258 | 136.9024 | 2.2617e-05 | 137.1199 | 0.0076801 | 137.236 | 0.00016213 | 137.352
2.9178 | 139.9996 | 0.010736 | 140.1157 | 0.013193 | 140.2318 | 0.015059 | 140.3479 | 0.013511 | 140.464 | 0.01227 | 140.5801 | 0.008603 | 140.6961 | 0.012772 | 140.8122 | 0.014144 | 141.0297 | 0.012726 | 141.1457 | 0.012781 | 141.2618 | 0.013791 | 141.378 | 0.011659 | 141.4941 | 0.010259 | 141.6102 | 0.010942 | 141.7262 | 0.012563 | 141.8423 | 0.0095886 | 142.0598 | 0.014531 | 142.1759 | 0.0088207 | 142.2919 | 0.013072 | 142.408 | 2.9256 | 142.5241 | 0.012322 | 142.6402 | 0.01366 | 142.7563 | 0.011195 | 142.8723 | 0.01266 | 143.0898 | 0.0083017 | 143.2059 | 0.012024 | 143.322 | 0.011267 | 143.438 | 0.0075219 | 143.5541 | 0.0092704 | 143.6702 | 0.0087551 | 143.7863 | 0.0078257 | 143.9023 | 2.1975e-05 | 144.1198 | 0.0076798 | 144.2359 | 0.00016216 | 144.3519
2.9178 | 146.9996 | 0.010735 | 147.1157 | 0.013192 | 147.2318 | 0.015059 | 147.3479 | 0.013511 | 147.464 | 0.01227 | 147.5801 | 0.0086038 | 147.6962 | 0.012772 | 147.8123 | 0.014144 | 148.0297 | 0.012727 | 148.1458 | 0.012782 | 148.2619 | 0.013792 | 148.3779 | 0.01166 | 148.494 | 0.01026 | 148.6101 | 0.010943 | 148.7262 | 0.012564 | 148.8423 | 0.0095888 | 149.0598 | 0.014531 | 149.1758 | 0.0088211 | 149.2919 | 0.013072 | 149.408 | 2.9256 | 149.5241 | 0.012323 | 149.6401 | 0.013662 | 149.7562 | 0.011196 | 149.8723 | 0.012661 | 150.0898 | 0.0083023 | 150.2058 | 0.012025 | 150.3219 | 0.011268 | 150.438 | 0.0075227 | 150.5541 | 0.0092716 | 150.6701 | 0.0087559 | 150.7862 | 0.0078264 | 150.9023 | 2.2846e-05 | 151.1198 | 0.0076812 | 151.2358 | 0.00016191 | 151.3519
2.9178 | 153.9996 | 0.010736 | 154.1157 | 0.013193 | 154.2318 | 0.015059 | 154.3479 | 0.013511 | 154.464 | 0.012271 | 154.5801 | 0.0086052 | 154.6962 | 0.012773 | 154.8122 | 0.014145 | 155.0297 | 0.012728 | 155.1458 | 0.012783 | 155.2618 | 0.013793 | 155.3779 | 0.01166 | 155.494 | 0.01026 | 155.6101 | 0.010943 | 155.7261 | 0.012565 | 155.8422 | 0.0095883 | 156.0597 | 0.014531 | 156.1758 | 0.0088218 | 156.2919 | 0.013073 | 156.408 | 2.9256 | 156.5242 | 0.012324 | 156.6403 | 0.013663 | 156.7564 | 0.011197 | 156.8724 | 0.012662 | 157.0899 | 0.008303 | 157.206 | 0.012027 | 157.3221 | 0.011269 | 157.4382 | 0.0075234 | 157.5542 | 0.0092723 | 157.6703 | 0.0087561 | 157.7864 | 0.0078273 | 157.9025 | 2.2912e-05 | 158.1199 | 0.0076815 | 158.236 | 0.00016219 | 158.3521
2.9178 | 160.9996 | 0.010736 | 161.1157 | 0.013194 | 161.2318 | 0.015059 | 161.3479 | 0.013512 | 161.4639 | 0.01227 | 161.5801 | 0.0086056 | 161.6962 | 0.012773 | 161.8123 | 0.014145 | 162.0298 | 0.012728 | 162.1458 | 0.012784 | 162.2619 | 0.013794 | 162.378 | 0.011659 | 162.4941 | 0.010261 | 162.6101 | 0.010943 | 162.7262 | 0.012564 | 162.8423 | 0.0095884 | 163.0598 | 0.014531 | 163.1759 | 0.0088218 | 163.292 | 0.013072 | 163.408 | 2.9257 | 163.5241 | 0.012324 | 163.6402 | 0.013663 | 163.7562 | 0.011196 | 163.8723 | 0.012662 | 164.0898 | 0.0083032 | 164.2058 | 0.012026 | 164.3219 | 0.011269 | 164.438 | 0.0075232 | 164.5541 | 0.0092719 | 164.6702 | 0.0087561 | 164.7862 | 0.007827 | 164.9023 | 2.1963e-05 | 165.1198 | 0.007681 | 165.2359 | 0.00016212 | 165.3519
2.9178 | 167.9996 | 0.010736 | 168.1157 | 0.013193 | 168.2318 | 0.01506 | 168.3479 | 0.013512 | 168.464 | 0.012271 | 168.5801 | 0.0086047 | 168.6961 | 0.012774 | 168.8122 | 0.014145 | 169.0297 | 0.012729 | 169.1457 | 0.012783 | 169.2618 | 0.013794 | 169.3779 | 0.01166 | 169.494 | 0.010261 | 169.61 | 0.010943 | 169.7261 | 0.012564 | 169.8422 | 0.0095881 | 170.0597 | 0.014531 | 170.1758 | 0.0088216 | 170.2919 | 0.013073 | 170.408 | 2.9257 | 170.5241 | 0.012324 | 170.6402 | 0.013663 | 170.7562 | 0.011197 | 170.8723 | 0.012663 | 171.0898 | 0.0083031 | 171.2058 | 0.012026 | 171.3219 | 0.011268 | 171.438 | 0.0075229 | 171.5541 | 0.0092717 | 171.6702 | 0.0087555 | 171.7864 | 0.0078266 | 171.9024 | 2.2475e-05 | 172.1199 | 0.0076807 | 172.236 | 0.00016208 | 172.3521
2.9178 | 174.9996 | 0.010735 | 175.1157 | 0.013192 | 175.2318 | 0.01506 | 175.3479 | 0.013512 | 175.464 | 0.012272 | 175.58 | 0.008605 | 175.6961 | 0.012774 | 175.8122 | 0.014145 | 176.0297 | 0.012729 | 176.1457 | 0.012784 | 176.2618 | 0.013794 | 176.3779 | 0.011661 | 176.4939 | 0.010262 | 176.61 | 0.010944 | 176.7262 | 0.012564 | 176.8423 | 0.0095883 | 177.0598 | 0.014531 | 177.1759 | 0.0088215 | 177.292 | 0.013073 | 177.4081 | 2.9256 | 177.5241 | 0.012325 | 177.6402 | 0.013665 | 177.7563 | 0.011197 | 177.8724 | 0.012662 | 178.0899 | 0.0083035 | 178.2059 | 0.012027 | 178.322 | 0.011268 | 178.4381 | 0.0075234 | 178.5542 | 0.0092723 | 178.6702 | 0.0087559 | 178.7863 | 0.0078274 | 178.9024 | 2.2912e-05 | 179.1199 | 0.0076822 | 179.2359 | 0.0001622 | 179.352
2.9178 | 181.9996 | 0.010736 | 182.1157 | 0.013193 | 182.2319 | 0.01506 | 182.3479 | 0.013512 | 182.464 | 0.012272 | 182.5801 | 0.0086053 | 182.6962 | 0.012774 | 182.8123 | 0.014147 | 183.0297 | 0.01273 | 183.1458 | 0.012784 | 183.2619 | 0.013794 | 183.378 | 0.011662 | 183.494 | 0.010262 | 183.6101 | 0.010945 | 183.7262 | 0.012565 | 183.8423 | 0.0095886 | 184.0598 | 0.014532 | 184.1758 | 0.0088222 | 184.2919 | 0.013074 | 184.408 | 2.9257 | 184.5241 | 0.012326 | 184.6402 | 0.013665 | 184.7563 | 0.011198 | 184.8724 | 0.012663 | 185.0898 | 0.0083045 | 185.2059 | 0.01203 | 185.322 | 0.011271 | 185.4381 | 0.0075248 | 185.5541 | 0.0092739 | 185.6702 | 0.0087581 | 185.7863 | 0.0078286 | 185.9024 | 2.3246e-05 | 186.1198 | 0.0076834 | 186.2359 | 0.00016254 | 186.352
2.9179 | 188.9996 | 0.010737 | 189.1157 | 0.013194 | 189.2318 | 0.01506 | 189.3479 | 0.013512 | 189.464 | 0.012271 | 189.5801 | 0.0086052 | 189.6962 | 0.012774 | 189.8122 | 0.014146 | 190.0297 | 0.012729 | 190.1458 | 0.012784 | 190.2618 | 0.013795 | 190.3779 | 0.011661 | 190.494 | 0.010262 | 190.6101 | 0.010945 | 190.7261 | 0.012566 | 190.8422 | 0.009589 | 191.0597 | 0.014532 | 191.1758 | 0.0088219 | 191.2919 | 0.013074 | 191.408 | 2.9257 | 191.5241 | 0.012326 | 191.6402 | 0.013665 | 191.7562 | 0.011197 | 191.8724 | 0.012662 | 192.0899 | 0.008304 | 192.206 | 0.01203 | 192.3221 | 0.01127 | 192.4381 | 0.0075248 | 192.5542 | 0.0092732 | 192.6703 | 0.008758 | 192.7864 | 0.0078285 | 192.9025 | 2.2896e-05 | 193.1199 | 0.0076826 | 193.236 | 0.00016234 | 193.3521
2.9178 | 195.9996 | 0.010738 | 196.1157 | 0.013194 | 196.2318 | 0.015061 | 196.3479 | 0.013512 | 196.464 | 0.012273 | 196.58 | 0.0086052 | 196.6961 | 0.012774 | 196.8122 | 0.014147 | 197.0297 | 0.012729 | 197.1458 | 0.012784 | 197.2619 | 0.013795 | 197.3779 | 0.011662 | 197.494 | 0.010262 | 197.6101 | 0.010944 | 197.7261 | 0.012565 | 197.8422 | 0.0095892 | 198.0597 | 0.014532 | 198.1758 | 0.0088218 | 198.2919 | 0.013074 | 198.408 | 2.9257 | 198.5241 | 0.012325 | 198.6401 | 0.013664 | 198.7562 | 0.011197 | 198.8723 | 0.012663 | 199.0898 | 0.0083032 | 199.2058 | 0.012027 | 199.3219 | 0.011269 | 199.438 | 0.0075241 | 199.5541 | 0.0092723 | 199.6702 | 0.0087568 | 199.7862 | 0.0078278 | 199.9023 | 2.2578e-05 | 200.1198 | 0.007682 | 200.2359 | 0.00016248 | 200.3519
2.9178 | 202.9996 | 0.010736 | 203.1157 | 0.013192 | 203.2318 | 0.01506 | 203.3479 | 0.013511 | 203.464 | 0.012271 | 203.5801 | 0.0086035 | 203.6961 | 0.012773 | 203.8122 | 0.014144 | 204.0297 | 0.012728 | 204.1458 | 0.012782 | 204.2618 | 0.013792 | 204.3779 | 0.011659 | 204.494 | 0.010261 | 204.6101 | 0.010943 | 204.7261 | 0.012564 | 204.8422 | 0.0095886 | 205.0597 | 0.014531 | 205.1758 | 0.008821 | 205.2919 | 0.013072 | 205.4079 | 2.9256 | 205.524 | 0.012323 | 205.6401 | 0.013661 | 205.7562 | 0.011196 | 205.8723 | 0.012661 | 206.0898 | 0.0083018 | 206.2058 | 0.012025 | 206.3219 | 0.011267 | 206.438 | 0.0075224 | 206.5541 | 0.0092705 | 206.6701 | 0.0087551 | 206.7862 | 0.0078256 | 206.9023 | 2.2841e-05 | 207.1198 | 0.0076806 | 207.2359 | 0.00016194 | 207.3519
2.9178 | 209.9996 | 0.010734 | 210.1157 | 0.01319 | 210.2318 | 0.015059 | 210.3479 | 0.013509 | 210.4639 | 0.01227 | 210.58 | 0.0086017 | 210.6961 | 0.01277 | 210.8122 | 0.014142 | 211.0296 | 0.012727 | 211.1457 | 0.012781 | 211.2618 | 0.013791 | 211.3778 | 0.011658 | 211.4939 | 0.010261 | 211.61 | 0.010943 | 211.7261 | 0.012564 | 211.8422 | 0.0095877 | 212.0598 | 0.014531 | 212.1759 | 0.0088209 | 212.292 | 0.013072 | 212.408 | 2.9257 | 212.5241 | 0.012322 | 212.6402 | 0.01366 | 212.7563 | 0.011195 | 212.8723 | 0.01266 | 213.0898 | 0.008301 | 213.2059 | 0.012025 | 213.322 | 0.011266 | 213.438 | 0.0075213 | 213.5541 | 0.0092698 | 213.6702 | 0.0087537 | 213.7863 | 0.0078255 | 213.9023 | 2.2412e-05 | 214.1198 | 0.0076801 | 214.2359 | 0.00016224 | 214.352
2.9178 | 216.9996 | 0.010733 | 217.1158 | 0.013189 | 217.2319 | 0.015058 | 217.348 | 0.013509 | 217.4641 | 0.01227 | 217.5802 | 0.0086016 | 217.6963 | 0.012769 | 217.8124 | 0.014142 | 218.0298 | 0.012726 | 218.1459 | 0.012781 | 218.2619 | 0.013791 | 218.378 | 0.011657 | 218.4941 | 0.01026 | 218.6102 | 0.010942 | 218.7263 | 0.012562 | 218.8423 | 0.0095866 | 219.0598 | 0.01453 | 219.1759 | 0.0088199 | 219.292 | 0.013071 | 219.4081 | 2.9256 | 219.5242 | 0.012321 | 219.6403 | 0.013658 | 219.7563 | 0.011194 | 219.8724 | 0.012659 | 220.0899 | 0.0083 | 220.206 | 0.012026 | 220.322 | 0.011265 | 220.4381 | 0.0075206 | 220.5542 | 0.0092696 | 220.6702 | 0.0087539 | 220.7863 | 0.0078246 | 220.9024 | 2.2383e-05 | 221.1199 | 0.0076798 | 221.2359 | 0.00016144 | 221.352
2.9178 | 223.9996 | 0.010735 | 224.1157 | 0.013191 | 224.2318 | 0.01506 | 224.3479 | 0.013509 | 224.464 | 0.01227 | 224.58 | 0.0086026 | 224.6961 | 0.01277 | 224.8122 | 0.014143 | 225.0297 | 0.012726 | 225.1457 | 0.012781 | 225.2618 | 0.013791 | 225.3779 | 0.011656 | 225.494 | 0.010259 | 225.61 | 0.010942 | 225.7261 | 0.012562 | 225.8422 | 0.0095868 | 226.0597 | 0.014529 | 226.1758 | 0.0088199 | 226.2918 | 0.01307 | 226.4079 | 2.9256 | 226.524 | 0.012322 | 226.6401 | 0.013658 | 226.7562 | 0.011194 | 226.8722 | 0.01266 | 227.0897 | 0.0083006 | 227.2058 | 0.012026 | 227.3219 | 0.011266 | 227.438 | 0.0075208 | 227.5541 | 0.0092696 | 227.6701 | 0.0087543 | 227.7862 | 0.0078247 | 227.9023 | 2.2804e-05 | 228.1198 | 0.0076797 | 228.2358 | 0.00016183 | 228.3519
2.9178 | 230.9996 | 0.010735 | 231.1157 | 0.013192 | 231.2318 | 0.015061 | 231.3479 | 0.01351 | 231.464 | 0.012271 | 231.58 | 0.0086037 | 231.6961 | 0.012772 | 231.8122 | 0.014144 | 232.0297 | 0.012726 | 232.1457 | 0.012781 | 232.2619 | 0.013792 | 232.3781 | 0.011657 | 232.4941 | 0.010259 | 232.6102 | 0.010942 | 232.7263 | 0.012562 | 232.8424 | 0.0095873 | 233.0599 | 0.01453 | 233.176 | 0.0088199 | 233.292 | 0.013071 | 233.4081 | 2.9256 | 233.5242 | 0.012322 | 233.6403 | 0.01366 | 233.7564 | 0.011195 | 233.8724 | 0.01266 | 234.0899 | 0.0083014 | 234.206 | 0.012025 | 234.3221 | 0.011266 | 234.4381 | 0.0075214 | 234.5542 | 0.0092702 | 234.6703 | 0.0087554 | 234.7864 | 0.0078251 | 234.9024 | 2.2446e-05 | 235.1199 | 0.0076803 | 235.236 | 0.00016196 | 235.3521
2.9178 | 237.9996 | 0.010736 | 238.1157 | 0.013193 | 238.2318 | 0.01506 | 238.3479 | 0.013511 | 238.464 | 0.012269 | 238.5801 | 0.0086035 | 238.6962 | 0.012772 | 238.8123 | 0.014145 | 239.0297 | 0.012726 | 239.1458 | 0.012782 | 239.2619 | 0.013792 | 239.3779 | 0.011658 | 239.494 | 0.01026 | 239.6101 | 0.010942 | 239.7261 | 0.012563 | 239.8422 | 0.0095872 | 240.0598 | 0.01453 | 240.1758 | 0.0088202 | 240.2919 | 0.013071 | 240.408 | 2.9256 | 240.5241 | 0.012323 | 240.6402 | 0.013661 | 240.7562 | 0.011195 | 240.8723 | 0.012661 | 241.0898 | 0.0083018 | 241.2059 | 0.012026 | 241.3219 | 0.011267 | 241.438 | 0.007522 | 241.5541 | 0.0092706 | 241.6702 | 0.0087552 | 241.7862 | 0.0078258 | 241.9023 | 2.2e-05 | 242.1198 | 0.0076806 | 242.2359 | 0.00016151 | 242.3521
2.9178 | 244.9996 | 0.010734 | 245.1157 | 0.01319 | 245.2318 | 0.015057 | 245.3479 | 0.013509 | 245.464 | 0.012266 | 245.5801 | 0.0086018 | 245.6962 | 0.012771 | 245.8122 | 0.014145 | 246.0297 | 0.012727 | 246.1458 | 0.012782 | 246.2619 | 0.013793 | 246.3779 | 0.011659 | 246.494 | 0.01026 | 246.6101 | 0.010942 | 246.7262 | 0.012564 | 246.8422 | 0.0095881 | 247.0598 | 0.014531 | 247.1758 | 0.0088209 | 247.2919 | 0.013072 | 247.4081 | 2.9256 | 247.5242 | 0.012324 | 247.6403 | 0.013662 | 247.7563 | 0.011195 | 247.8724 | 0.012661 | 248.0899 | 0.0083021 | 248.2059 | 0.012026 | 248.322 | 0.011267 | 248.4381 | 0.0075221 | 248.5542 | 0.009271 | 248.6702 | 0.0087555 | 248.7863 | 0.0078262 | 248.9024 | 2.2507e-05 | 249.1199 | 0.0076803 | 249.2359 | 0.00016205 | 249.352
2.9178 | 251.9996 | 0.010733 | 252.1157 | 0.013189 | 252.2318 | 0.015056 | 252.3479 | 0.013507 | 252.4641 | 0.012266 | 252.5802 | 0.0086005 | 252.6963 | 0.012769 | 252.8123 | 0.014144 | 253.0298 | 0.012728 | 253.1459 | 0.012781 | 253.262 | 0.013791 | 253.3781 | 0.011659 | 253.4941 | 0.01026 | 253.6102 | 0.010943 | 253.7263 | 0.012564 | 253.8423 | 0.0095877 | 254.0598 | 0.014531 | 254.1759 | 0.00882 | 254.292 | 0.013072 | 254.4081 | 2.9256 | 254.5241 | 0.012323 | 254.6402 | 0.01366 | 254.7563 | 0.011195 | 254.8724 | 0.012661 | 255.0898 | 0.0083015 | 255.2059 | 0.012025 | 255.3219 | 0.011267 | 255.438 | 0.0075218 | 255.5541 | 0.0092707 | 255.6702 | 0.0087555 | 255.7863 | 0.0078255 | 255.9023 | 2.2309e-05 | 256.1198 | 0.0076803 | 256.2359 | 0.00016191 | 256.352
2.9178 | 258.9996 | 0.010732 | 259.1157 | 0.013187 | 259.2318 | 0.015055 | 259.3479 | 0.013507 | 259.464 | 0.012265 | 259.5801 | 0.0085989 | 259.6962 | 0.012768 | 259.8122 | 0.014143 | 260.0297 | 0.012727 | 260.1458 | 0.01278 | 260.2619 | 0.01379 | 260.3779 | 0.011658 | 260.494 | 0.010259 | 260.6101 | 0.010941 | 260.7262 | 0.012563 | 260.8422 | 0.0095874 | 261.0598 | 0.014529 | 261.1758 | 0.0088201 | 261.2919 | 0.013071 | 261.408 | 2.9256 | 261.5241 | 0.012322 | 261.6401 | 0.013659 | 261.7562 | 0.011194 | 261.8723 | 0.012659 | 262.0897 | 0.0083007 | 262.2058 | 0.012025 | 262.3219 | 0.011266 | 262.4379 | 0.0075212 | 262.554 | 0.0092693 | 262.6701 | 0.0087546 | 262.7862 | 0.007825 | 262.9023 | 2.232e-05 | 263.1198 | 0.0076794 | 263.2359 | 0.0001614 | 263.3519
2.9178 | 265.9996 | 0.010731 | 266.1157 | 0.013185 | 266.2318 | 0.015055 | 266.3479 | 0.013506 | 266.464 | 0.012265 | 266.58 | 0.0085983 | 266.6961 | 0.012767 | 266.8122 | 0.014142 | 267.0297 | 0.012726 | 267.1457 | 0.012779 | 267.2618 | 0.013789 | 267.3779 | 0.011656 | 267.494 | 0.010258 | 267.6102 | 0.010941 | 267.7263 | 0.012562 | 267.8424 | 0.0095865 | 268.0599 | 0.014529 | 268.1759 | 0.0088195 | 268.292 | 0.01307 | 268.4081 | 2.9256 | 268.5241 | 0.012321 | 268.6402 | 0.013657 | 268.7563 | 0.011193 | 268.8724 | 0.012658 | 269.0898 | 0.0083002 | 269.2059 | 0.012023 | 269.322 | 0.011265 | 269.438 | 0.0075199 | 269.5541 | 0.0092684 | 269.6702 | 0.0087533 | 269.7863 | 0.0078236 | 269.9023 | 2.2107e-05 | 270.1198 | 0.0076776 | 270.2359 | 0.00016165 | 270.352
2.9178 | 272.9996 | 0.01073 | 273.1157 | 0.013184 | 273.2318 | 0.015053 | 273.3479 | 0.013504 | 273.464 | 0.012264 | 273.58 | 0.0085966 | 273.6961 | 0.012765 | 273.8122 | 0.01414 | 274.0297 | 0.012725 | 274.1458 | 0.012776 | 274.2618 | 0.013787 | 274.3779 | 0.011653 | 274.494 | 0.010256 | 274.61 | 0.010939 | 274.7261 | 0.01256 | 274.8422 | 0.0095849 | 275.0597 | 0.014527 | 275.1758 | 0.0088186 | 275.2919 | 0.013067 | 275.408 | 2.9256 | 275.5241 | 0.012319 | 275.6402 | 0.013654 | 275.7562 | 0.011191 | 275.8723 | 0.012656 | 276.0898 | 0.0082988 | 276.2059 | 0.012021 | 276.3219 | 0.011261 | 276.438 | 0.0075179 | 276.5541 | 0.0092661 | 276.6702 | 0.0087511 | 276.7863 | 0.0078217 | 276.9023 | 2.1718e-05 | 277.1198 | 0.007676 | 277.2359 | 0.00016119 | 277.352
2.9178 | 279.9996 | 0.010729 | 280.1157 | 0.013184 | 280.2318 | 0.015053 | 280.3479 | 0.013505 | 280.464 | 0.012263 | 280.58 | 0.0085972 | 280.6961 | 0.012765 | 280.8122 | 0.014139 | 281.0297 | 0.012724 | 281.1457 | 0.012777 | 281.2618 | 0.013786 | 281.3779 | 0.011653 | 281.494 | 0.010256 | 281.61 | 0.010938 | 281.7261 | 0.012558 | 281.8422 | 0.0095838 | 282.0597 | 0.014526 | 282.1758 | 0.0088174 | 282.2919 | 0.013067 | 282.4079 | 2.9256 | 282.524 | 0.012318 | 282.6401 | 0.013654 | 282.7563 | 0.01119 | 282.8724 | 0.012655 | 283.0899 | 0.0082984 | 283.206 | 0.01202 | 283.322 | 0.011261 | 283.4381 | 0.0075175 | 283.5542 | 0.0092661 | 283.6703 | 0.0087506 | 283.7863 | 0.0078214 | 283.9024 | 2.1144e-05 | 284.1198 | 0.007676 | 284.2359 | 0.00016093 | 284.352
2.9178 | 286.9996 | 0.01073 | 287.1157 | 0.013185 | 287.2318 | 0.015053 | 287.3479 | 0.013505 | 287.464 | 0.012263 | 287.58 | 0.0085982 | 287.6961 | 0.012766 | 287.8164 | 0.01414 | 288.0339 | 0.012724 | 288.15 | 0.012777 | 288.2661 | 0.013788 | 288.3821 | 0.011654 | 288.4982 | 0.010256 | 288.6143 | 0.010939 | 288.7304 | 0.012559 | 288.8465 | 0.0095836 | 289.0639 | 0.014526 | 289.18 | 0.008818 | 289.2961 | 0.013067 | 289.4122 | 2.9256 | 289.5283 | 0.012318 | 289.6443 | 0.013655 | 289.7604 | 0.011191 | 289.8765 | 0.012657 | 290.094 | 0.0082989 | 290.21 | 0.012021 | 290.3261 | 0.011262 | 290.4422 | 0.0075177 | 290.5583 | 0.0092662 | 290.6744 | 0.0087507 | 290.7904 | 0.0078218 | 290.9065 | 2.1815e-05 | 291.124 | 0.0076766 | 291.2401 | 0.00016113 | 291.3561
2.9178 | 293.9996 | 0.010732 | 294.1157 | 0.013186 | 294.2318 | 0.015054 | 294.3479 | 0.013506 | 294.464 | 0.012265 | 294.5801 | 0.0086001 | 294.6962 | 0.012767 | 294.8123 | 0.01414 | 295.0297 | 0.012724 | 295.1458 | 0.012777 | 295.2619 | 0.013788 | 295.378 | 0.011655 | 295.4941 | 0.010256 | 295.6101 | 0.01094 | 295.7262 | 0.01256 | 295.8423 | 0.0095848 | 296.0598 | 0.014526 | 296.1759 | 0.0088177 | 296.292 | 0.013068 | 296.4081 | 2.9256 | 296.5241 | 0.012319 | 296.6402 | 0.013657 | 296.7563 | 0.011191 | 296.8724 | 0.012657 | 297.0899 | 0.0082982 | 297.2059 | 0.012021 | 297.322 | 0.011263 | 297.4381 | 0.0075187 | 297.5542 | 0.0092668 | 297.6702 | 0.0087525 | 297.7863 | 0.0078231 | 297.9104 | 2.0969e-05 | 298.1279 | 0.007678 | 298.244 | 0.00016138 | 298.3601
2.9178 | 300.9996 | 0.010732 | 301.1157 | 0.013187 | 301.2318 | 0.015054 | 301.3479 | 0.013506 | 301.464 | 0.012264 | 301.5801 | 0.0086007 | 301.6961 | 0.012768 | 301.8122 | 0.014142 | 302.0297 | 0.012725 | 302.1458 | 0.012778 | 302.2619 | 0.013788 | 302.3779 | 0.011655 | 302.494 | 0.010257 | 302.6101 | 0.01094 | 302.7261 | 0.01256 | 302.8422 | 0.0095853 | 303.0614 | 0.014527 | 303.1775 | 0.0088183 | 303.2936 | 0.013068 | 303.4097 | 2.9257 | 303.5258 | 0.01232 | 303.6418 | 0.013657 | 303.7579 | 0.011192 | 303.874 | 0.012657 | 304.0915 | 0.0082985 | 304.2075 | 0.012022 | 304.3236 | 0.011265 | 304.4397 | 0.0075203 | 304.5558 | 0.0092681 | 304.6718 | 0.0087536 | 304.7879 | 0.0078243 | 304.904 | 2.145e-05 | 305.1215 | 0.0076789 | 305.2376 | 0.00016118 | 305.3537
2.9178 | 307.9996 | 0.010731 | 308.1157 | 0.013186 | 308.2318 | 0.015053 | 308.3479 | 0.013505 | 308.464 | 0.012261 | 308.5801 | 0.0086002 | 308.6961 | 0.012766 | 308.8122 | 0.01414 | 309.0297 | 0.012724 | 309.1457 | 0.012776 | 309.2618 | 0.013787 | 309.3779 | 0.011654 | 309.494 | 0.010256 | 309.61 | 0.010939 | 309.7261 | 0.01256 | 309.8422 | 0.0095851 | 310.0597 | 0.014527 | 310.1758 | 0.0088185 | 310.2919 | 0.013068 | 310.4079 | 2.9256 | 310.524 | 0.012319 | 310.6401 | 0.013655 | 310.7562 | 0.011191 | 310.8722 | 0.012656 | 311.0897 | 0.0082987 | 311.2058 | 0.012022 | 311.3219 | 0.011264 | 311.4379 | 0.0075197 | 311.554 | 0.0092675 | 311.6701 | 0.0087527 | 311.7862 | 0.0078235 | 311.9023 | 2.1665e-05 | 312.1197 | 0.0076785 | 312.2358 | 0.00016119 | 312.3519
2.9178 | 314.9996 | 0.010729 | 315.1157 | 0.013184 | 315.2318 | 0.01505 | 315.3479 | 0.013502 | 315.464 | 0.01226 | 315.5801 | 0.0085974 | 315.6962 | 0.012764 | 315.8122 | 0.014138 | 316.0297 | 0.012722 | 316.1458 | 0.012773 | 316.2619 | 0.013784 | 316.378 | 0.011651 | 316.494 | 0.010254 | 316.6101 | 0.010937 | 316.7262 | 0.012559 | 316.8423 | 0.0095843 | 317.0598 | 0.014526 | 317.1758 | 0.008818 | 317.2919 | 0.013067 | 317.408 | 2.9256 | 317.5241 | 0.012316 | 317.6402 | 0.013652 | 317.7562 | 0.01119 | 317.8723 | 0.012655 | 318.0973 | 0.0082966 | 318.2133 | 0.012019 | 318.3294 | 0.011261 | 318.4455 | 0.007517 | 318.5616 | 0.0092649 | 318.6777 | 0.0087505 | 318.7938 | 0.0078206 | 318.9098 | 2.1576e-05 | 319.1273 | 0.0076752 | 319.2434 | 0.00016099 | 319.3595
2.9178 | 321.9996 | 0.01073 | 322.1157 | 0.013185 | 322.2318 | 0.015051 | 322.3479 | 0.013504 | 322.464 | 0.012263 | 322.58 | 0.0085985 | 322.6961 | 0.012766 | 322.8122 | 0.014139 | 323.0297 | 0.012722 | 323.1513 | 0.012775 | 323.2674 | 0.013785 | 323.3835 | 0.011652 | 323.4996 | 0.010255 | 323.6157 | 0.010938 | 323.7318 | 0.012558 | 323.8478 | 0.0095843 | 324.0654 | 0.014526 | 324.1814 | 0.0088176 | 324.2975 | 0.013067 | 324.4136 | 2.9256 | 324.5297 | 0.012318 | 324.6458 | 0.013654 | 324.7619 | 0.011191 | 324.8779 | 0.012657 | 325.0954 | 0.0082975 | 325.2115 | 0.012022 | 325.3276 | 0.011263 | 325.4436 | 0.0075177 | 325.5597 | 0.0092662 | 325.6758 | 0.0087511 | 325.7919 | 0.0078217 | 325.9079 | 2.1579e-05 | 326.1254 | 0.0076767 | 326.2415 | 0.0001608 | 326.3576
2.9178 | 328.9996 | 0.010733 | 329.1157 | 0.013189 | 329.2318 | 0.015056 | 329.3479 | 0.013508 | 329.464 | 0.012267 | 329.5801 | 0.0086011 | 329.6962 | 0.012769 | 329.8122 | 0.014141 | 330.0297 | 0.012724 | 330.1458 | 0.012777 | 330.2618 | 0.013786 | 330.3779 | 0.011655 | 330.494 | 0.010257 | 330.6101 | 0.01094 | 330.7261 | 0.01256 | 330.8422 | 0.0095849 | 331.0597 | 0.014527 | 331.1758 | 0.0088181 | 331.2918 | 0.013068 | 331.4079 | 2.9256 | 331.524 | 0.012321 | 331.6401 | 0.013656 | 331.7562 | 0.011193 | 331.8722 | 0.012659 | 332.0897 | 0.0082989 | 332.2058 | 0.012025 | 332.3219 | 0.011265 | 332.4379 | 0.0075189 | 332.554 | 0.0092679 | 332.6701 | 0.0087528 | 332.7862 | 0.0078234 | 332.9022 | 2.2197e-05 | 333.1197 | 0.0076783 | 333.2449 | 0.00016121 | 333.361
2.9178 | 335.9996 | 0.010735 | 336.1157 | 0.013191 | 336.2318 | 0.015058 | 336.3479 | 0.01351 | 336.464 | 0.01227 | 336.58 | 0.0086028 | 336.6961 | 0.012771 | 336.8122 | 0.014143 | 337.0297 | 0.012725 | 337.1458 | 0.012779 | 337.2618 | 0.013788 | 337.3779 | 0.011655 | 337.494 | 0.010257 | 337.61 | 0.01094 | 337.7261 | 0.012561 | 337.8422 | 0.0095857 | 338.0597 | 0.014527 | 338.1758 | 0.008819 | 338.2993 | 0.013069 | 338.4154 | 2.9256 | 338.5314 | 0.012321 | 338.6475 | 0.013658 | 338.7636 | 0.011194 | 338.8797 | 0.012658 | 339.0972 | 0.0082996 | 339.2133 | 0.012025 | 339.3293 | 0.011265 | 339.4454 | 0.0075197 | 339.5615 | 0.0092686 | 339.6776 | 0.008754 | 339.7937 | 0.0078247 | 339.9097 | 2.2036e-05 | 340.1272 | 0.0076785 | 340.2433 | 0.00016131 | 340.3593
2.9178 | 342.9996 | 0.010735 | 343.1157 | 0.013191 | 343.2318 | 0.015059 | 343.3535 | 0.01351 | 343.4697 | 0.012271 | 343.5857 | 0.008604 | 343.7018 | 0.012771 | 343.8179 | 0.014143 | 344.0354 | 0.012725 | 344.1515 | 0.01278 | 344.2676 | 0.013789 | 344.3836 | 0.011657 | 344.4997 | 0.010257 | 344.6158 | 0.010941 | 344.7319 | 0.012562 | 344.848 | 0.0095863 | 345.0655 | 0.014528 | 345.1816 | 0.008819 | 345.2976 | 0.013069 | 345.4137 | 2.9256 | 345.5298 | 0.012322 | 345.6459 | 0.013659 | 345.762 | 0.011194 | 345.878 | 0.012659 | 346.0955 | 0.0083008 | 346.2116 | 0.012024 | 346.3277 | 0.011266 | 346.4438 | 0.0075206 | 346.5599 | 0.0092692 | 346.6759 | 0.008754 | 346.792 | 0.0078249 | 346.9081 | 2.1684e-05 | 347.1256 | 0.0076793 | 347.2417 | 0.00016155 | 347.3577