## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-18
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-18
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9115 | 0 | 0.010501 | 0.11613 | 0.012856 | 0.23224 | 0.015033 | 0.34831 | 0.013154 | 0.46438 | 0.012447 | 0.58045 | 0.0088008 | 0.69653 | 0.012701 | 0.81262 | 0.01409 | 1.0301 | 0.012679 | 1.1462 | 0.012864 | 1.2622 | 0.013801 | 1.3783 | 0.011688 | 1.4944 | 0.010247 | 1.6105 | 0.010876 | 1.7265 | 0.01249 | 1.8426 | 0.0095164 | 2.0601 | 0.014511 | 2.1762 | 0.0087654 | 2.2923 | 0.012974 | 2.4084 | 2.92 | 2.5245 | 0.012334 | 2.6406 | 0.013613 | 2.7566 | 0.011143 | 2.8727 | 0.012605 | 3.0901 | 0.0082659 | 3.2062 | 0.011924 | 3.3223 | 0.011296 | 3.4384 | 0.0072125 | 3.5544 | 0.0092872 | 3.6705 | 0.0087646 | 3.7866 | 0.0078419 | 3.9027 | 0.00084887 | 4.1202 | 0.0073784 | 4.2363 | -0.00027369 | 4.3523
2.9115 | 6.9996 | 0.010502 | 7.1157 | 0.012856 | 7.2318 | 0.015034 | 7.3479 | 0.013154 | 7.464 | 0.012448 | 7.5801 | 0.0088021 | 7.6961 | 0.012702 | 7.8122 | 0.014089 | 8.0297 | 0.012678 | 8.1457 | 0.012861 | 8.2618 | 0.013798 | 8.3779 | 0.011687 | 8.494 | 0.010246 | 8.6101 | 0.010875 | 8.7261 | 0.012488 | 8.8422 | 0.0095149 | 9.0597 | 0.014509 | 9.1758 | 0.0087643 | 9.2919 | 0.012973 | 9.4079 | 2.92 | 9.524 | 0.012334 | 9.6401 | 0.013612 | 9.7562 | 0.011143 | 9.8723 | 0.012604 | 10.0897 | 0.0082661 | 10.2058 | 0.011923 | 10.3219 | 0.011296 | 10.438 | 0.0072127 | 10.5541 | 0.0092868 | 10.6702 | 0.0087644 | 10.7863 | 0.0078415 | 10.9024 | 0.00084869 | 11.1198 | 0.0073785 | 11.2359 | -0.0002738 | 11.352
2.9115 | 13.9996 | 0.010503 | 14.1157 | 0.012857 | 14.2318 | 0.015034 | 14.3479 | 0.013155 | 14.464 | 0.012448 | 14.58 | 0.0088027 | 14.6961 | 0.012701 | 14.8122 | 0.014089 | 15.0297 | 0.012678 | 15.1457 | 0.012861 | 15.2618 | 0.013799 | 15.3779 | 0.011687 | 15.494 | 0.010247 | 15.6101 | 0.010876 | 15.7261 | 0.012489 | 15.8422 | 0.0095158 | 16.0597 | 0.01451 | 16.1758 | 0.0087655 | 16.2919 | 0.012974 | 16.4079 | 2.92 | 16.524 | 0.012335 | 16.6401 | 0.013613 | 16.7562 | 0.011144 | 16.8723 | 0.012604 | 17.0897 | 0.0082671 | 17.2058 | 0.011922 | 17.3219 | 0.011296 | 17.438 | 0.0072129 | 17.5541 | 0.009287 | 17.6701 | 0.0087638 | 17.7862 | 0.0078419 | 17.9023 | 0.00084873 | 18.1198 | 0.0073795 | 18.2359 | -0.00027334 | 18.3519
2.9115 | 20.9996 | 0.010503 | 21.1157 | 0.012857 | 21.2318 | 0.015035 | 21.3479 | 0.013155 | 21.464 | 0.012449 | 21.5801 | 0.0088028 | 21.6961 | 0.012701 | 21.8122 | 0.014089 | 22.0297 | 0.012679 | 22.1458 | 0.012861 | 22.2619 | 0.013798 | 22.3779 | 0.011688 | 22.494 | 0.010247 | 22.6101 | 0.010876 | 22.7262 | 0.012491 | 22.8423 | 0.0095174 | 23.0598 | 0.014512 | 23.1758 | 0.0087667 | 23.2919 | 0.012975 | 23.408 | 2.92 | 23.5241 | 0.012335 | 23.6401 | 0.013612 | 23.7562 | 0.011143 | 23.8723 | 0.012603 | 24.0898 | 0.0082673 | 24.2058 | 0.011922 | 24.3219 | 0.011296 | 24.438 | 0.0072134 | 24.5541 | 0.0092873 | 24.6701 | 0.0087638 | 24.7862 | 0.0078421 | 24.9023 | 0.00084844 | 25.1197 | 0.0073798 | 25.2359 | -0.00027342 | 25.352
2.9115 | 27.9996 | 0.010503 | 28.1157 | 0.012858 | 28.2318 | 0.015036 | 28.3479 | 0.013155 | 28.464 | 0.012449 | 28.58 | 0.0088029 | 28.6961 | 0.012702 | 28.8122 | 0.014088 | 29.0297 | 0.012679 | 29.1458 | 0.012861 | 29.2618 | 0.013797 | 29.3779 | 0.011687 | 29.494 | 0.010247 | 29.6101 | 0.010875 | 29.7261 | 0.01249 | 29.8422 | 0.0095167 | 30.0597 | 0.014511 | 30.1758 | 0.0087656 | 30.292 | 0.012974 | 30.4081 | 2.92 | 30.5242 | 0.012334 | 30.6402 | 0.013611 | 30.7563 | 0.011143 | 30.8724 | 0.012602 | 31.0899 | 0.008266 | 31.2059 | 0.01192 | 31.322 | 0.011295 | 31.4381 | 0.0072123 | 31.5542 | 0.0092864 | 31.6703 | 0.0087634 | 31.7863 | 0.0078409 | 31.9024 | 0.00084863 | 32.1199 | 0.0073789 | 32.236 | -0.00027382 | 32.352
2.9115 | 34.9996 | 0.010502 | 35.1157 | 0.012857 | 35.2318 | 0.015035 | 35.348 | 0.013155 | 35.4641 | 0.012448 | 35.5802 | 0.0088023 | 35.6963 | 0.012701 | 35.8124 | 0.014088 | 36.0298 | 0.012679 | 36.1459 | 0.01286 | 36.262 | 0.013796 | 36.3781 | 0.011686 | 36.4941 | 0.010246 | 36.6102 | 0.010875 | 36.7263 | 0.01249 | 36.8424 | 0.0095155 | 37.0599 | 0.014511 | 37.176 | 0.0087654 | 37.292 | 0.012973 | 37.4081 | 2.92 | 37.5242 | 0.012333 | 37.6403 | 0.01361 | 37.7564 | 0.011141 | 37.8724 | 0.012601 | 38.0899 | 0.008266 | 38.206 | 0.01192 | 38.322 | 0.011295 | 38.4381 | 0.0072118 | 38.5542 | 0.0092863 | 38.6703 | 0.0087628 | 38.7863 | 0.0078409 | 38.9024 | 0.00084813 | 39.1199 | 0.0073788 | 39.2359 | -0.00027368 | 39.352
2.9115 | 41.9996 | 0.010501 | 42.1157 | 0.012855 | 42.2318 | 0.015034 | 42.3479 | 0.013154 | 42.464 | 0.012448 | 42.5801 | 0.0088016 | 42.6962 | 0.012701 | 42.8122 | 0.014088 | 43.0297 | 0.012678 | 43.1458 | 0.012859 | 43.2618 | 0.013796 | 43.3779 | 0.011685 | 43.494 | 0.010245 | 43.6101 | 0.010874 | 43.7262 | 0.012488 | 43.8422 | 0.0095153 | 44.0598 | 0.01451 | 44.1758 | 0.0087645 | 44.2919 | 0.012972 | 44.408 | 2.9199 | 44.5241 | 0.012333 | 44.6401 | 0.013609 | 44.7562 | 0.011141 | 44.8723 | 0.012601 | 45.0898 | 0.0082658 | 45.2059 | 0.011921 | 45.3219 | 0.011295 | 45.4381 | 0.0072117 | 45.5543 | 0.0092864 | 45.6703 | 0.0087632 | 45.7864 | 0.0078411 | 45.9025 | 0.00084834 | 46.12 | 0.0073785 | 46.2361 | -0.00027376 | 46.3521
2.9115 | 48.9996 | 0.010502 | 49.1157 | 0.012856 | 49.2318 | 0.015034 | 49.3479 | 0.013154 | 49.4639 | 0.012448 | 49.58 | 0.0088017 | 49.6961 | 0.012702 | 49.8122 | 0.014087 | 50.0297 | 0.012678 | 50.1457 | 0.012859 | 50.2618 | 0.013795 | 50.3779 | 0.011685 | 50.494 | 0.010245 | 50.6102 | 0.010874 | 50.7262 | 0.012489 | 50.8423 | 0.0095153 | 51.0598 | 0.014509 | 51.1759 | 0.0087649 | 51.292 | 0.012972 | 51.4081 | 2.9199 | 51.5242 | 0.012334 | 51.6403 | 0.013609 | 51.7564 | 0.011141 | 51.8725 | 0.012601 | 52.0899 | 0.0082668 | 52.206 | 0.011921 | 52.3221 | 0.011295 | 52.4382 | 0.0072123 | 52.5542 | 0.0092865 | 52.6703 | 0.0087632 | 52.7864 | 0.0078415 | 52.9024 | 0.0008486 | 53.1199 | 0.0073788 | 53.236 | -0.00027373 | 53.352
2.9114 | 55.9996 | 0.010502 | 56.1157 | 0.012856 | 56.2318 | 0.015034 | 56.3479 | 0.013154 | 56.464 | 0.012447 | 56.5801 | 0.008802 | 56.6962 | 0.012701 | 56.8123 | 0.014087 | 57.0297 | 0.012679 | 57.1458 | 0.012859 | 57.2619 | 0.013795 | 57.378 | 0.011686 | 57.4941 | 0.010246 | 57.6101 | 0.010875 | 57.7262 | 0.012489 | 57.8423 | 0.0095155 | 58.0598 | 0.014509 | 58.1759 | 0.0087653 | 58.2919 | 0.012972 | 58.408 | 2.9199 | 58.5241 | 0.012333 | 58.6402 | 0.01361 | 58.7563 | 0.011141 | 58.8723 | 0.012602 | 59.0898 | 0.0082664 | 59.2059 | 0.011921 | 59.322 | 0.011295 | 59.438 | 0.0072127 | 59.5541 | 0.0092867 | 59.6702 | 0.0087632 | 59.7863 | 0.0078419 | 59.9024 | 0.00084842 | 60.1199 | 0.0073787 | 60.2359 | -0.00027343 | 60.352
2.9114 | 62.9996 | 0.010502 | 63.1157 | 0.012856 | 63.2318 | 0.015035 | 63.3479 | 0.013155 | 63.464 | 0.012448 | 63.5801 | 0.0088027 | 63.6961 | 0.012702 | 63.8122 | 0.014088 | 64.0297 | 0.01268 | 64.1457 | 0.012859 | 64.2618 | 0.013796 | 64.3779 | 0.011688 | 64.4939 | 0.010246 | 64.61 | 0.010875 | 64.7261 | 0.012489 | 64.8422 | 0.0095159 | 65.0597 | 0.01451 | 65.1757 | 0.0087654 | 65.2918 | 0.012973 | 65.4079 | 2.9199 | 65.524 | 0.012334 | 65.6402 | 0.01361 | 65.7563 | 0.011142 | 65.8724 | 0.012602 | 66.0899 | 0.0082667 | 66.2059 | 0.01192 | 66.322 | 0.011295 | 66.4381 | 0.0072127 | 66.5542 | 0.0092868 | 66.6702 | 0.0087635 | 66.7863 | 0.0078417 | 66.9024 | 0.00084881 | 67.1199 | 0.0073794 | 67.2359 | -0.00027338 | 67.352
2.9114 | 69.9996 | 0.010502 | 70.1157 | 0.012856 | 70.2318 | 0.015034 | 70.3479 | 0.013154 | 70.4639 | 0.012448 | 70.58 | 0.0088024 | 70.6962 | 0.012702 | 70.8123 | 0.014088 | 71.0298 | 0.01268 | 71.1458 | 0.01286 | 71.2619 | 0.013797 | 71.378 | 0.011688 | 71.4941 | 0.010247 | 71.6101 | 0.010876 | 71.7262 | 0.012489 | 71.8423 | 0.0095162 | 72.0598 | 0.01451 | 72.1759 | 0.0087657 | 72.2919 | 0.012973 | 72.408 | 2.9199 | 72.5241 | 0.012334 | 72.6402 | 0.013611 | 72.7562 | 0.011141 | 72.8723 | 0.012602 | 73.0898 | 0.008267 | 73.2059 | 0.011921 | 73.3219 | 0.011296 | 73.438 | 0.0072125 | 73.5541 | 0.0092869 | 73.6702 | 0.0087637 | 73.7862 | 0.0078422 | 73.9023 | 0.00084882 | 74.1198 | 0.0073795 | 74.2359 | -0.00027321 | 74.352
2.9114 | 76.9996 | 0.010503 | 77.1157 | 0.012856 | 77.2318 | 0.015035 | 77.3479 | 0.013155 | 77.464 | 0.012449 | 77.58 | 0.0088026 | 77.6961 | 0.012702 | 77.8122 | 0.014089 | 78.0297 | 0.01268 | 78.1457 | 0.01286 | 78.2618 | 0.013797 | 78.3779 | 0.011688 | 78.4939 | 0.010247 | 78.61 | 0.010875 | 78.7261 | 0.012489 | 78.8422 | 0.0095161 | 79.0597 | 0.014511 | 79.1757 | 0.0087659 | 79.2918 | 0.012973 | 79.4079 | 2.9199 | 79.524 | 0.012334 | 79.6401 | 0.013612 | 79.7562 | 0.011143 | 79.8722 | 0.012602 | 80.0897 | 0.008267 | 80.2058 | 0.011921 | 80.3219 | 0.011296 | 80.4379 | 0.0072129 | 80.554 | 0.0092873 | 80.6701 | 0.0087643 | 80.7863 | 0.0078421 | 80.9024 | 0.00084864 | 81.1199 | 0.0073799 | 81.236 | -0.00027303 | 81.3521
2.9114 | 83.9996 | 0.010503 | 84.1157 | 0.012857 | 84.2318 | 0.015035 | 84.3479 | 0.013155 | 84.464 | 0.012449 | 84.58 | 0.0088025 | 84.6961 | 0.012702 | 84.8122 | 0.014089 | 85.0297 | 0.012681 | 85.1458 | 0.012861 | 85.2618 | 0.013797 | 85.3779 | 0.011688 | 85.494 | 0.010248 | 85.6101 | 0.010876 | 85.7261 | 0.012489 | 85.8423 | 0.0095165 | 86.0599 | 0.014511 | 86.1759 | 0.0087664 | 86.292 | 0.012973 | 86.4081 | 2.9199 | 86.5242 | 0.012334 | 86.6402 | 0.013611 | 86.7563 | 0.011143 | 86.8724 | 0.012603 | 87.0899 | 0.0082672 | 87.206 | 0.011922 | 87.322 | 0.011297 | 87.4381 | 0.0072135 | 87.5542 | 0.009288 | 87.6703 | 0.0087642 | 87.7863 | 0.0078427 | 87.9024 | 0.00084848 | 88.1199 | 0.0073795 | 88.2359 | -0.0002734 | 88.352
2.9114 | 90.9996 | 0.010503 | 91.1157 | 0.012857 | 91.2318 | 0.015036 | 91.3479 | 0.013155 | 91.464 | 0.01245 | 91.5801 | 0.0088031 | 91.6961 | 0.012703 | 91.8122 | 0.014088 | 92.0297 | 0.012681 | 92.1458 | 0.012861 | 92.2618 | 0.013797 | 92.3779 | 0.011688 | 92.494 | 0.010248 | 92.6101 | 0.010876 | 92.7262 | 0.01249 | 92.8422 | 0.009517 | 93.0598 | 0.014512 | 93.1758 | 0.008767 | 93.2919 | 0.012974 | 93.408 | 2.9199 | 93.5241 | 0.012334 | 93.6401 | 0.013611 | 93.7562 | 0.011143 | 93.8723 | 0.012602 | 94.0898 | 0.0082672 | 94.2059 | 0.011922 | 94.3219 | 0.011297 | 94.438 | 0.0072129 | 94.5541 | 0.0092872 | 94.6701 | 0.0087637 | 94.7862 | 0.0078422 | 94.9023 | 0.00084878 | 95.1198 | 0.0073796 | 95.2358 | -0.00027352 | 95.3519
2.9114 | 97.9996 | 0.010503 | 98.1157 | 0.012857 | 98.2318 | 0.015036 | 98.3479 | 0.013155 | 98.464 | 0.01245 | 98.5801 | 0.008803 | 98.6962 | 0.012702 | 98.8122 | 0.014089 | 99.0297 | 0.012681 | 99.1458 | 0.012861 | 99.2619 | 0.013798 | 99.3779 | 0.011688 | 99.494 | 0.010248 | 99.6101 | 0.010876 | 99.7262 | 0.01249 | 99.8423 | 0.0095167 | 100.0598 | 0.014512 | 100.1759 | 0.008766 | 100.2919 | 0.012973 | 100.408 | 2.9199 | 100.5241 | 0.012334 | 100.6402 | 0.013611 | 100.7562 | 0.011142 | 100.8723 | 0.012601 | 101.0898 | 0.0082664 | 101.2059 | 0.011921 | 101.322 | 0.011295 | 101.4381 | 0.0072126 | 101.5542 | 0.0092868 | 101.6703 | 0.0087633 | 101.7863 | 0.0078417 | 101.9024 | 0.00084871 | 102.1199 | 0.0073778 | 102.2359 | -0.00027323 | 102.352
2.9115 | 104.9996 | 0.010502 | 105.1157 | 0.012857 | 105.2318 | 0.015035 | 105.3479 | 0.013154 | 105.464 | 0.012449 | 105.5801 | 0.0088026 | 105.6961 | 0.012702 | 105.8122 | 0.014087 | 106.0298 | 0.01268 | 106.1459 | 0.01286 | 106.262 | 0.013797 | 106.3781 | 0.011687 | 106.4941 | 0.010247 | 106.6102 | 0.010875 | 106.7263 | 0.012489 | 106.8424 | 0.0095155 | 107.0598 | 0.01451 | 107.1759 | 0.0087653 | 107.292 | 0.012971 | 107.4081 | 2.92 | 107.5242 | 0.012333 | 107.6403 | 0.01361 | 107.7564 | 0.011141 | 107.8724 | 0.0126 | 108.0899 | 0.0082648 | 108.206 | 0.01192 | 108.3221 | 0.011294 | 108.4382 | 0.0072111 | 108.5542 | 0.0092857 | 108.6703 | 0.0087623 | 108.7864 | 0.0078401 | 108.9025 | 0.00084865 | 109.1199 | 0.0073764 | 109.236 | -0.00027382 | 109.3521
2.9115 | 111.9996 | 0.010502 | 112.1157 | 0.012856 | 112.2318 | 0.015034 | 112.3479 | 0.013154 | 112.464 | 0.012449 | 112.58 | 0.0088023 | 112.6961 | 0.012701 | 112.8122 | 0.014086 | 113.0297 | 0.012679 | 113.1458 | 0.012859 | 113.2618 | 0.013796 | 113.3779 | 0.011686 | 113.494 | 0.010246 | 113.6101 | 0.010874 | 113.7262 | 0.012488 | 113.8422 | 0.0095151 | 114.0597 | 0.014509 | 114.1758 | 0.008765 | 114.2919 | 0.012972 | 114.408 | 2.9199 | 114.5241 | 0.012333 | 114.6401 | 0.013609 | 114.7562 | 0.011142 | 114.8723 | 0.012602 | 115.0897 | 0.0082646 | 115.2058 | 0.01192 | 115.3219 | 0.011293 | 115.438 | 0.0072108 | 115.5541 | 0.0092854 | 115.6702 | 0.0087625 | 115.7862 | 0.0078404 | 115.9023 | 0.00084794 | 116.1198 | 0.0073767 | 116.236 | -0.00027399 | 116.352
2.9115 | 118.9996 | 0.0105 | 119.1157 | 0.012856 | 119.2318 | 0.015033 | 119.3479 | 0.013153 | 119.464 | 0.012447 | 119.5801 | 0.0088013 | 119.6961 | 0.012699 | 119.8122 | 0.014087 | 120.0297 | 0.012678 | 120.1457 | 0.012859 | 120.2618 | 0.013796 | 120.3779 | 0.011686 | 120.494 | 0.010246 | 120.61 | 0.010874 | 120.7261 | 0.012489 | 120.8422 | 0.0095152 | 121.0597 | 0.01451 | 121.1759 | 0.0087653 | 121.292 | 0.012973 | 121.4081 | 2.9199 | 121.5242 | 0.012333 | 121.6402 | 0.013609 | 121.7563 | 0.011141 | 121.8724 | 0.012601 | 122.0899 | 0.0082651 | 122.2059 | 0.01192 | 122.322 | 0.011294 | 122.4381 | 0.007211 | 122.5542 | 0.0092857 | 122.6703 | 0.0087627 | 122.7863 | 0.0078406 | 122.9024 | 0.00084826 | 123.1199 | 0.0073771 | 123.236 | -0.00027407 | 123.352
2.9115 | 125.9996 | 0.010501 | 126.1157 | 0.012854 | 126.2319 | 0.015033 | 126.348 | 0.013153 | 126.4641 | 0.012447 | 126.5802 | 0.0088006 | 126.6963 | 0.012699 | 126.8124 | 0.014088 | 127.0298 | 0.012679 | 127.1459 | 0.012859 | 127.2619 | 0.013796 | 127.378 | 0.011686 | 127.4941 | 0.010247 | 127.6102 | 0.010875 | 127.7263 | 0.01249 | 127.8423 | 0.0095162 | 128.0599 | 0.014511 | 128.1759 | 0.0087657 | 128.292 | 0.012973 | 128.4081 | 2.92 | 128.5242 | 0.012334 | 128.6402 | 0.01361 | 128.7563 | 0.011142 | 128.8724 | 0.012602 | 129.0898 | 0.0082654 | 129.2059 | 0.011921 | 129.322 | 0.011295 | 129.4381 | 0.0072115 | 129.5542 | 0.0092861 | 129.6703 | 0.008763 | 129.7863 | 0.0078413 | 129.9024 | 0.00084827 | 130.1199 | 0.0073783 | 130.236 | -0.00027387 | 130.352
2.9115 | 132.9996 | 0.010501 | 133.1157 | 0.012855 | 133.2318 | 0.015033 | 133.3479 | 0.013153 | 133.464 | 0.012447 | 133.5801 | 0.0088006 | 133.6961 | 0.0127 | 133.8122 | 0.014088 | 134.0297 | 0.012679 | 134.1458 | 0.012859 | 134.2618 | 0.013796 | 134.3779 | 0.011687 | 134.494 | 0.010247 | 134.6101 | 0.010876 | 134.7261 | 0.01249 | 134.8422 | 0.0095167 | 135.0597 | 0.014511 | 135.1758 | 0.0087659 | 135.2919 | 0.012974 | 135.4079 | 2.92 | 135.524 | 0.012334 | 135.6401 | 0.013609 | 135.7562 | 0.011142 | 135.8723 | 0.012602 | 136.0897 | 0.0082656 | 136.2058 | 0.011921 | 136.3219 | 0.011295 | 136.438 | 0.0072123 | 136.5541 | 0.0092869 | 136.6702 | 0.0087638 | 136.7862 | 0.0078414 | 136.9023 | 0.00084839 | 137.1198 | 0.0073784 | 137.2359 | -0.00027357 | 137.3519
2.9115 | 139.9996 | 0.010502 | 140.1157 | 0.012855 | 140.2318 | 0.015034 | 140.3478 | 0.013153 | 140.4639 | 0.012448 | 140.58 | 0.0088013 | 140.6961 | 0.012701 | 140.8122 | 0.014088 | 141.0296 | 0.012679 | 141.1457 | 0.012859 | 141.2618 | 0.013796 | 141.378 | 0.011687 | 141.4941 | 0.010247 | 141.6102 | 0.010875 | 141.7262 | 0.012489 | 141.8423 | 0.0095161 | 142.0598 | 0.014511 | 142.1759 | 0.0087656 | 142.292 | 0.012973 | 142.4081 | 2.92 | 142.5242 | 0.012333 | 142.6402 | 0.013609 | 142.7563 | 0.011142 | 142.8724 | 0.012602 | 143.0899 | 0.0082655 | 143.2059 | 0.011921 | 143.322 | 0.011295 | 143.4381 | 0.0072124 | 143.5542 | 0.0092867 | 143.6703 | 0.0087635 | 143.7863 | 0.0078414 | 143.9024 | 0.00084866 | 144.1199 | 0.0073784 | 144.236 | -0.00027369 | 144.3521
2.9115 | 146.9996 | 0.010502 | 147.1157 | 0.012856 | 147.2318 | 0.015034 | 147.3479 | 0.013154 | 147.464 | 0.012449 | 147.5801 | 0.0088019 | 147.6961 | 0.012701 | 147.8122 | 0.014088 | 148.0297 | 0.012679 | 148.1457 | 0.012859 | 148.2618 | 0.013796 | 148.3779 | 0.011687 | 148.494 | 0.010247 | 148.61 | 0.010875 | 148.7261 | 0.012489 | 148.8422 | 0.009516 | 149.0597 | 0.01451 | 149.1758 | 0.0087654 | 149.2919 | 0.012973 | 149.4079 | 2.9199 | 149.524 | 0.012333 | 149.6401 | 0.013609 | 149.7562 | 0.011142 | 149.8722 | 0.012601 | 150.0897 | 0.0082659 | 150.2058 | 0.011921 | 150.3219 | 0.011295 | 150.438 | 0.0072117 | 150.554 | 0.0092868 | 150.6701 | 0.0087635 | 150.7862 | 0.0078414 | 150.9022 | 0.00084817 | 151.1197 | 0.0073785 | 151.2358 | -0.00027404 | 151.3519
2.9115 | 153.9996 | 0.010503 | 154.1157 | 0.012857 | 154.2318 | 0.015035 | 154.3479 | 0.013154 | 154.464 | 0.012449 | 154.58 | 0.0088021 | 154.6961 | 0.012701 | 154.8122 | 0.014089 | 155.0297 | 0.012679 | 155.1457 | 0.01286 | 155.2618 | 0.013797 | 155.3779 | 0.011687 | 155.494 | 0.010246 | 155.61 | 0.010875 | 155.7261 | 0.012489 | 155.8422 | 0.0095155 | 156.0597 | 0.01451 | 156.1758 | 0.0087648 | 156.2919 | 0.012972 | 156.4079 | 2.9199 | 156.5241 | 0.012333 | 156.6402 | 0.01361 | 156.7563 | 0.011142 | 156.8724 | 0.012601 | 157.0899 | 0.0082658 | 157.2059 | 0.011921 | 157.322 | 0.011295 | 157.4381 | 0.0072121 | 157.5542 | 0.0092867 | 157.6702 | 0.0087635 | 157.7863 | 0.0078412 | 157.9024 | 0.00084845 | 158.1199 | 0.0073783 | 158.2359 | -0.00027381 | 158.352
2.9115 | 160.9996 | 0.010502 | 161.1157 | 0.012857 | 161.2318 | 0.015035 | 161.3478 | 0.013154 | 161.4639 | 0.012448 | 161.5801 | 0.0088018 | 161.6962 | 0.012701 | 161.8123 | 0.014088 | 162.0298 | 0.012679 | 162.1459 | 0.01286 | 162.2619 | 0.013796 | 162.378 | 0.011686 | 162.4941 | 0.010246 | 162.6102 | 0.010874 | 162.7263 | 0.012488 | 162.8423 | 0.009516 | 163.0598 | 0.01451 | 163.1759 | 0.0087647 | 163.292 | 0.012972 | 163.4081 | 2.9199 | 163.5241 | 0.012332 | 163.6402 | 0.013609 | 163.7563 | 0.011141 | 163.8724 | 0.012599 | 164.0898 | 0.0082655 | 164.2059 | 0.01192 | 164.322 | 0.011295 | 164.4381 | 0.007212 | 164.5541 | 0.0092862 | 164.6702 | 0.0087631 | 164.7863 | 0.0078411 | 164.9023 | 0.00084852 | 165.1198 | 0.0073785 | 165.2359 | -0.00027372 | 165.3519
2.9115 | 167.9996 | 0.010501 | 168.1157 | 0.012856 | 168.2318 | 0.015034 | 168.3479 | 0.013154 | 168.464 | 0.012448 | 168.5801 | 0.0088017 | 168.6961 | 0.0127 | 168.8122 | 0.014086 | 169.0297 | 0.012678 | 169.1458 | 0.012859 | 169.2618 | 0.013796 | 169.3779 | 0.011685 | 169.494 | 0.010247 | 169.61 | 0.010875 | 169.7261 | 0.012489 | 169.8422 | 0.009516 | 170.0597 | 0.01451 | 170.1758 | 0.0087651 | 170.2919 | 0.012973 | 170.4079 | 2.9199 | 170.524 | 0.012332 | 170.6401 | 0.013608 | 170.7562 | 0.011136 | 170.8723 | 0.012594 | 171.0898 | 0.0082659 | 171.2058 | 0.011919 | 171.3219 | 0.011295 | 171.438 | 0.0072114 | 171.5541 | 0.0092856 | 171.6703 | 0.0087629 | 171.7864 | 0.0078412 | 171.9025 | 0.00084836 | 172.12 | 0.0073787 | 172.236 | -0.00027383 | 172.3521
2.9115 | 174.9996 | 0.010501 | 175.1157 | 0.012856 | 175.2318 | 0.015034 | 175.3479 | 0.013154 | 175.464 | 0.012447 | 175.58 | 0.0088007 | 175.6961 | 0.0127 | 175.8122 | 0.014087 | 176.0296 | 0.012678 | 176.1457 | 0.012859 | 176.2618 | 0.013795 | 176.3779 | 0.011684 | 176.4939 | 0.010247 | 176.61 | 0.010874 | 176.7262 | 0.012489 | 176.8423 | 0.0095156 | 177.0598 | 0.01451 | 177.1759 | 0.0087649 | 177.292 | 0.012972 | 177.4081 | 2.9199 | 177.5241 | 0.012332 | 177.6402 | 0.013607 | 177.7563 | 0.01113 | 177.8724 | 0.012588 | 178.0899 | 0.0082639 | 178.2059 | 0.011919 | 178.322 | 0.011294 | 178.4381 | 0.0072112 | 178.5542 | 0.009285 | 178.6702 | 0.0087627 | 178.7863 | 0.0078405 | 178.9024 | 0.00084854 | 179.1199 | 0.0073782 | 179.236 | -0.0002738 | 179.3521
2.9115 | 181.9996 | 0.010498 | 182.1157 | 0.012852 | 182.2318 | 0.015029 | 182.3479 | 0.013151 | 182.464 | 0.01244 | 182.5801 | 0.008799 | 182.6962 | 0.012695 | 182.8122 | 0.01408 | 183.0297 | 0.012674 | 183.1458 | 0.012854 | 183.2619 | 0.01379 | 183.378 | 0.011678 | 183.494 | 0.010243 | 183.6101 | 0.010871 | 183.7262 | 0.012486 | 183.8423 | 0.009514 | 184.0597 | 0.014504 | 184.1758 | 0.0087622 | 184.2919 | 0.01297 | 184.408 | 2.9199 | 184.5241 | 0.012327 | 184.6401 | 0.013599 | 184.7562 | 0.01112 | 184.8723 | 0.012579 | 185.0898 | 0.0082615 | 185.2058 | 0.011917 | 185.3219 | 0.011291 | 185.438 | 0.0072094 | 185.5541 | 0.0092832 | 185.6701 | 0.0087609 | 185.7862 | 0.0078382 | 185.9023 | 0.00084799 | 186.1198 | 0.007375 | 186.2359 | -0.00027424 | 186.3519
2.9115 | 188.9996 | 0.010492 | 189.1157 | 0.012846 | 189.2318 | 0.015023 | 189.3479 | 0.013144 | 189.464 | 0.012434 | 189.5801 | 0.008794 | 189.6961 | 0.012689 | 189.8122 | 0.014077 | 190.0297 | 0.012671 | 190.1458 | 0.012849 | 190.2618 | 0.013786 | 190.3779 | 0.011674 | 190.494 | 0.010239 | 190.6101 | 0.010867 | 190.7262 | 0.012482 | 190.8422 | 0.0095097 | 191.0597 | 0.0145 | 191.1758 | 0.0087588 | 191.2919 | 0.012964 | 191.4079 | 2.9199 | 191.524 | 0.012322 | 191.6401 | 0.013593 | 191.7562 | 0.01112 | 191.8723 | 0.012579 | 192.0898 | 0.0082544 | 192.2059 | 0.01191 | 192.322 | 0.011283 | 192.4381 | 0.007204 | 192.5541 | 0.0092774 | 192.6702 | 0.0087551 | 192.7863 | 0.0078322 | 192.9024 | 0.00084764 | 193.1198 | 0.0073675 | 193.2359 | -0.00027479 | 193.352
2.9115 | 195.9996 | 0.010487 | 196.1157 | 0.01284 | 196.2318 | 0.015017 | 196.3479 | 0.013141 | 196.464 | 0.012429 | 196.58 | 0.0087884 | 196.6961 | 0.012684 | 196.8122 | 0.014073 | 197.0305 | 0.012666 | 197.1466 | 0.012843 | 197.2627 | 0.013781 | 197.3788 | 0.011668 | 197.4948 | 0.010231 | 197.6109 | 0.010859 | 197.727 | 0.012472 | 197.8431 | 0.009501 | 198.0606 | 0.014489 | 198.1767 | 0.0087511 | 198.2927 | 0.012953 | 198.4088 | 2.92 | 198.5249 | 0.012312 | 198.641 | 0.013584 | 198.757 | 0.011111 | 198.8731 | 0.012564 | 199.0906 | 0.0082459 | 199.2067 | 0.011901 | 199.3228 | 0.011275 | 199.4388 | 0.007197 | 199.5549 | 0.0092704 | 199.671 | 0.0087489 | 199.787 | 0.007825 | 199.9031 | 0.00084535 | 200.1206 | 0.0073586 | 200.2366 | -0.00027577 | 200.3527
2.9115 | 202.9996 | 0.01048 | 203.1157 | 0.012831 | 203.2318 | 0.015011 | 203.3479 | 0.013132 | 203.464 | 0.012417 | 203.5801 | 0.0087826 | 203.6962 | 0.012676 | 203.8122 | 0.014069 | 204.0297 | 0.012661 | 204.1458 | 0.012836 | 204.2618 | 0.013775 | 204.3779 | 0.011663 | 204.494 | 0.010222 | 204.6101 | 0.01085 | 204.7262 | 0.012462 | 204.8422 | 0.0094928 | 205.0597 | 0.01448 | 205.1758 | 0.0087446 | 205.2919 | 0.012944 | 205.408 | 2.9199 | 205.5241 | 0.012305 | 205.6401 | 0.013577 | 205.7562 | 0.011103 | 205.8723 | 0.012558 | 206.0897 | 0.0082414 | 206.2058 | 0.011895 | 206.3219 | 0.01127 | 206.438 | 0.0071925 | 206.5541 | 0.0092649 | 206.6702 | 0.0087441 | 206.7862 | 0.0078215 | 206.9023 | 0.00084373 | 207.1241 | 0.0073556 | 207.2402 | -0.00027666 | 207.3562
2.9115 | 209.9996 | 0.010479 | 210.1157 | 0.012829 | 210.2318 | 0.015009 | 210.3479 | 0.01313 | 210.464 | 0.012417 | 210.58 | 0.0087801 | 210.6961 | 0.012675 | 210.8122 | 0.014065 | 211.0297 | 0.012658 | 211.1458 | 0.012833 | 211.2618 | 0.013771 | 211.3779 | 0.01166 | 211.494 | 0.010219 | 211.6101 | 0.010846 | 211.7262 | 0.012457 | 211.8422 | 0.0094886 | 212.0598 | 0.014474 | 212.176 | 0.0087415 | 212.2921 | 0.012939 | 212.4081 | 2.92 | 212.5242 | 0.012303 | 212.6403 | 0.013573 | 212.7564 | 0.011107 | 212.8724 | 0.012561 | 213.0899 | 0.0082396 | 213.206 | 0.011893 | 213.3221 | 0.011265 | 213.4382 | 0.0071881 | 213.5542 | 0.0092611 | 213.6703 | 0.0087414 | 213.7864 | 0.0078176 | 213.9024 | 0.00084342 | 214.1199 | 0.0073523 | 214.236 | -0.00027783 | 214.3521
2.9115 | 216.9996 | 0.010478 | 217.12 | 0.012828 | 217.2361 | 0.015009 | 217.3521 | 0.013129 | 217.4682 | 0.012417 | 217.5843 | 0.0087785 | 217.7003 | 0.012675 | 217.8164 | 0.014061 | 218.0339 | 0.012655 | 218.15 | 0.012828 | 218.266 | 0.013768 | 218.3821 | 0.011656 | 218.4982 | 0.010214 | 218.6143 | 0.010841 | 218.7304 | 0.012449 | 218.8465 | 0.0094829 | 219.064 | 0.014466 | 219.1801 | 0.0087356 | 219.2962 | 0.012931 | 219.4122 | 2.92 | 219.5283 | 0.012299 | 219.6444 | 0.013569 | 219.7605 | 0.011105 | 219.8766 | 0.012562 | 220.094 | 0.0082355 | 220.2101 | 0.011889 | 220.3262 | 0.01126 | 220.4422 | 0.0071835 | 220.5583 | 0.0092571 | 220.6744 | 0.0087373 | 220.7905 | 0.0078141 | 220.9065 | 0.00084221 | 221.124 | 0.0073478 | 221.2401 | -0.00027874 | 221.3562
2.9115 | 223.9996 | 0.010478 | 224.1157 | 0.012827 | 224.2318 | 0.015008 | 224.3479 | 0.013126 | 224.464 | 0.012417 | 224.5801 | 0.0087758 | 224.6961 | 0.012673 | 224.8122 | 0.014058 | 225.0297 | 0.012652 | 225.1458 | 0.012825 | 225.2618 | 0.013765 | 225.3779 | 0.011653 | 225.494 | 0.010213 | 225.6101 | 0.010839 | 225.7262 | 0.012446 | 225.8422 | 0.0094807 | 226.0597 | 0.014463 | 226.1758 | 0.0087332 | 226.2919 | 0.012927 | 226.408 | 2.92 | 226.5241 | 0.012296 | 226.6402 | 0.013568 | 226.7563 | 0.011105 | 226.8723 | 0.012562 | 227.0898 | 0.0082317 | 227.206 | 0.011886 | 227.3221 | 0.011257 | 227.4382 | 0.0071812 | 227.5542 | 0.0092544 | 227.6703 | 0.0087345 | 227.7864 | 0.0078116 | 227.9025 | 0.00084127 | 228.1199 | 0.0073449 | 228.236 | -0.00027996 | 228.3521
2.9115 | 230.9996 | 0.010477 | 231.1157 | 0.012827 | 231.2318 | 0.015007 | 231.3479 | 0.013125 | 231.464 | 0.012418 | 231.58 | 0.008776 | 231.6961 | 0.012671 | 231.8122 | 0.014056 | 232.0296 | 0.012648 | 232.1457 | 0.012825 | 232.2678 | 0.013765 | 232.3839 | 0.011652 | 232.4999 | 0.010212 | 232.616 | 0.010839 | 232.7321 | 0.012446 | 232.8482 | 0.0094808 | 233.0657 | 0.014463 | 233.1818 | 0.0087343 | 233.2978 | 0.012928 | 233.4139 | 2.92 | 233.53 | 0.012297 | 233.6461 | 0.013568 | 233.7622 | 0.011106 | 233.8783 | 0.012563 | 234.0957 | 0.0082313 | 234.2118 | 0.011886 | 234.3279 | 0.011257 | 234.444 | 0.0071808 | 234.56 | 0.0092539 | 234.6761 | 0.0087342 | 234.7922 | 0.0078109 | 234.9083 | 0.00084099 | 235.1258 | 0.0073452 | 235.2418 | -0.0002812 | 235.3579
2.9115 | 237.9996 | 0.010476 | 238.1157 | 0.012828 | 238.2318 | 0.015007 | 238.3479 | 0.013126 | 238.464 | 0.012419 | 238.5801 | 0.0087768 | 238.6961 | 0.012672 | 238.8122 | 0.014054 | 239.0297 | 0.012645 | 239.1457 | 0.012822 | 239.2618 | 0.013763 | 239.3779 | 0.01165 | 239.494 | 0.010212 | 239.6101 | 0.010839 | 239.7261 | 0.012446 | 239.8422 | 0.0094815 | 240.0597 | 0.014463 | 240.1758 | 0.0087349 | 240.2918 | 0.012929 | 240.4079 | 2.92 | 240.524 | 0.012299 | 240.6401 | 0.013569 | 240.7562 | 0.011106 | 240.8723 | 0.012564 | 241.0897 | 0.0082335 | 241.2058 | 0.011884 | 241.3219 | 0.011254 | 241.438 | 0.0071798 | 241.5541 | 0.0092526 | 241.6702 | 0.0087324 | 241.7862 | 0.0078091 | 241.9023 | 0.00084059 | 242.1198 | 0.0073446 | 242.2359 | -0.00028126 | 242.357
2.9115 | 244.9996 | 0.010477 | 245.1157 | 0.012829 | 245.2318 | 0.015007 | 245.3479 | 0.013126 | 245.4639 | 0.01242 | 245.58 | 0.0087782 | 245.6961 | 0.012672 | 245.8122 | 0.014053 | 246.0297 | 0.012643 | 246.1457 | 0.012823 | 246.2618 | 0.013763 | 246.3779 | 0.01165 | 246.494 | 0.010213 | 246.6101 | 0.01084 | 246.7262 | 0.012447 | 246.8422 | 0.0094828 | 247.0598 | 0.014464 | 247.1758 | 0.0087361 | 247.2919 | 0.01293 | 247.4081 | 2.92 | 247.5242 | 0.0123 | 247.6403 | 0.01357 | 247.7563 | 0.011107 | 247.8724 | 0.012565 | 248.0899 | 0.0082341 | 248.206 | 0.011885 | 248.322 | 0.011257 | 248.4381 | 0.0071811 | 248.5542 | 0.0092542 | 248.6703 | 0.0087337 | 248.7863 | 0.0078107 | 248.9024 | 0.00084066 | 249.1199 | 0.0073465 | 249.236 | -0.00028188 | 249.352
2.9115 | 251.9996 | 0.010477 | 252.1157 | 0.012829 | 252.2318 | 0.015007 | 252.3479 | 0.013125 | 252.4701 | 0.012418 | 252.5862 | 0.0087787 | 252.7023 | 0.012671 | 252.8183 | 0.014052 | 253.0358 | 0.012642 | 253.1518 | 0.012823 | 253.2679 | 0.013763 | 253.384 | 0.01165 | 253.5001 | 0.010214 | 253.6162 | 0.010841 | 253.7322 | 0.012448 | 253.8483 | 0.0094829 | 254.0659 | 0.014464 | 254.1819 | 0.0087367 | 254.298 | 0.01293 | 254.4141 | 2.92 | 254.5302 | 0.012301 | 254.6462 | 0.01357 | 254.7623 | 0.011109 | 254.8784 | 0.012567 | 255.0958 | 0.0082334 | 255.2119 | 0.011885 | 255.328 | 0.011256 | 255.4441 | 0.0071811 | 255.5602 | 0.0092538 | 255.6762 | 0.0087334 | 255.7923 | 0.0078105 | 255.9084 | 0.00084067 | 256.1259 | 0.0073465 | 256.2419 | -0.00028161 | 256.358
2.9115 | 258.9996 | 0.010478 | 259.1157 | 0.012828 | 259.2318 | 0.015007 | 259.3479 | 0.013125 | 259.464 | 0.012418 | 259.5801 | 0.0087791 | 259.6961 | 0.012672 | 259.8122 | 0.014052 | 260.0297 | 0.012643 | 260.1458 | 0.012824 | 260.2619 | 0.013764 | 260.3779 | 0.011651 | 260.494 | 0.010215 | 260.6101 | 0.010841 | 260.7262 | 0.012449 | 260.8422 | 0.0094837 | 261.0598 | 0.014466 | 261.1758 | 0.0087371 | 261.2919 | 0.012931 | 261.408 | 2.92 | 261.5241 | 0.012301 | 261.6401 | 0.01357 | 261.7562 | 0.011114 | 261.8723 | 0.012573 | 262.0898 | 0.0082337 | 262.2059 | 0.011886 | 262.3219 | 0.011258 | 262.438 | 0.0071823 | 262.5544 | 0.009255 | 262.6705 | 0.0087347 | 262.7865 | 0.0078118 | 262.9026 | 0.00084046 | 263.1201 | 0.0073477 | 263.2362 | -0.00028172 | 263.3523
2.9114 | 265.9996 | 0.010478 | 266.1157 | 0.012828 | 266.2318 | 0.015007 | 266.3479 | 0.013125 | 266.464 | 0.012419 | 266.5801 | 0.0087791 | 266.6962 | 0.012672 | 266.8122 | 0.014055 | 267.0297 | 0.012644 | 267.1458 | 0.012826 | 267.2619 | 0.013766 | 267.3779 | 0.011653 | 267.494 | 0.010217 | 267.6183 | 0.010842 | 267.7344 | 0.012451 | 267.8505 | 0.0094857 | 268.068 | 0.014468 | 268.1841 | 0.0087387 | 268.3002 | 0.012933 | 268.4163 | 2.9199 | 268.5324 | 0.012302 | 268.6484 | 0.013572 | 268.7645 | 0.011118 | 268.8806 | 0.012577 | 269.0981 | 0.0082362 | 269.2141 | 0.011888 | 269.3302 | 0.01126 | 269.4463 | 0.0071837 | 269.5624 | 0.0092563 | 269.6784 | 0.0087364 | 269.7945 | 0.0078135 | 269.9106 | 0.00084136 | 270.1281 | 0.0073507 | 270.2441 | -0.00028151 | 270.3602
2.9114 | 272.9996 | 0.01048 | 273.1157 | 0.012831 | 273.2318 | 0.015009 | 273.3479 | 0.013128 | 273.464 | 0.012423 | 273.5801 | 0.008781 | 273.6962 | 0.012675 | 273.8122 | 0.014059 | 274.0297 | 0.012647 | 274.1458 | 0.01283 | 274.2619 | 0.013769 | 274.378 | 0.011657 | 274.4941 | 0.010219 | 274.6101 | 0.010845 | 274.7262 | 0.012453 | 274.8423 | 0.0094874 | 275.0598 | 0.01447 | 275.1758 | 0.0087411 | 275.2919 | 0.012936 | 275.408 | 2.9199 | 275.5241 | 0.012305 | 275.6402 | 0.013576 | 275.7563 | 0.01112 | 275.8723 | 0.012578 | 276.0898 | 0.0082383 | 276.2059 | 0.01189 | 276.3219 | 0.011263 | 276.438 | 0.0071854 | 276.5541 | 0.0092582 | 276.6702 | 0.0087379 | 276.7862 | 0.0078156 | 276.9023 | 0.00084156 | 277.1198 | 0.0073527 | 277.2359 | -0.00028102 | 277.3519
2.9115 | 279.9996 | 0.010482 | 280.1157 | 0.012833 | 280.2318 | 0.015011 | 280.3479 | 0.01313 | 280.464 | 0.012425 | 280.5801 | 0.0087824 | 280.6961 | 0.012677 | 280.8122 | 0.01406 | 281.0297 | 0.012648 | 281.1457 | 0.012833 | 281.2618 | 0.013771 | 281.3779 | 0.011659 | 281.4939 | 0.01022 | 281.61 | 0.010846 | 281.7261 | 0.012455 | 281.8422 | 0.0094889 | 282.0597 | 0.014473 | 282.1758 | 0.0087421 | 282.2918 | 0.012938 | 282.4079 | 2.92 | 282.524 | 0.012307 | 282.6401 | 0.013578 | 282.7565 | 0.011118 | 282.8726 | 0.012576 | 283.09 | 0.0082396 | 283.2061 | 0.011891 | 283.3222 | 0.011264 | 283.4383 | 0.0071868 | 283.5544 | 0.0092595 | 283.6704 | 0.008739 | 283.7865 | 0.0078168 | 283.9026 | 0.00084165 | 284.1201 | 0.0073533 | 284.2362 | -0.00028114 | 284.3523
2.9115 | 286.9996 | 0.010484 | 287.1157 | 0.012833 | 287.2318 | 0.015012 | 287.3478 | 0.013131 | 287.4639 | 0.012426 | 287.58 | 0.0087828 | 287.6961 | 0.012678 | 287.8206 | 0.014061 | 288.0381 | 0.012649 | 288.1542 | 0.012833 | 288.2702 | 0.013771 | 288.3863 | 0.011659 | 288.5024 | 0.010221 | 288.6184 | 0.010847 | 288.7345 | 0.012456 | 288.8506 | 0.00949 | 289.0681 | 0.014474 | 289.1842 | 0.0087432 | 289.3002 | 0.012939 | 289.4163 | 2.92 | 289.5324 | 0.012307 | 289.6485 | 0.013579 | 289.7645 | 0.011118 | 289.8806 | 0.012577 | 290.0981 | 0.0082397 | 290.2142 | 0.011892 | 290.3303 | 0.011265 | 290.4463 | 0.0071871 | 290.5624 | 0.0092604 | 290.6785 | 0.0087398 | 290.7946 | 0.0078172 | 290.9106 | 0.000842 | 291.1281 | 0.007354 | 291.2442 | -0.00028098 | 291.3603
2.9114 | 293.9996 | 0.010483 | 294.1157 | 0.012833 | 294.2318 | 0.015012 | 294.3479 | 0.013131 | 294.4639 | 0.012427 | 294.58 | 0.0087831 | 294.6961 | 0.012678 | 294.8122 | 0.014061 | 295.0297 | 0.01265 | 295.1457 | 0.012834 | 295.2618 | 0.013772 | 295.3779 | 0.01166 | 295.4939 | 0.010223 | 295.61 | 0.010849 | 295.7261 | 0.012459 | 295.8422 | 0.0094917 | 296.0597 | 0.014476 | 296.1758 | 0.0087449 | 296.2918 | 0.012942 | 296.4079 | 2.9199 | 296.524 | 0.012308 | 296.6401 | 0.013579 | 296.7562 | 0.01112 | 296.8722 | 0.012578 | 297.0897 | 0.0082409 | 297.2058 | 0.011893 | 297.3219 | 0.011267 | 297.4379 | 0.0071885 | 297.554 | 0.0092612 | 297.6701 | 0.0087406 | 297.7862 | 0.0078186 | 297.9024 | 0.00084188 | 298.1199 | 0.0073553 | 298.2359 | -0.00028071 | 298.352
2.9114 | 300.9996 | 0.010483 | 301.1157 | 0.012835 | 301.2318 | 0.015012 | 301.3479 | 0.013132 | 301.4639 | 0.012428 | 301.58 | 0.0087835 | 301.6961 | 0.012679 | 301.8121 | 0.014062 | 302.0296 | 0.012651 | 302.1457 | 0.012835 | 302.2618 | 0.013773 | 302.3778 | 0.01166 | 302.4939 | 0.010224 | 302.61 | 0.01085 | 302.7261 | 0.012461 | 302.8422 | 0.0094932 | 303.0597 | 0.014479 | 303.1758 | 0.0087465 | 303.2918 | 0.012944 | 303.4079 | 2.9199 | 303.524 | 0.012309 | 303.6401 | 0.013579 | 303.7561 | 0.01112 | 303.8722 | 0.012579 | 304.0897 | 0.0082419 | 304.2058 | 0.011893 | 304.3219 | 0.011268 | 304.4379 | 0.0071893 | 304.554 | 0.0092623 | 304.6701 | 0.0087413 | 304.7862 | 0.0078193 | 304.9023 | 0.00084212 | 305.1198 | 0.0073562 | 305.2359 | -0.00028047 | 305.3519
2.9115 | 307.9996 | 0.010484 | 308.1157 | 0.012835 | 308.2318 | 0.015013 | 308.3479 | 0.013133 | 308.464 | 0.012428 | 308.5801 | 0.0087847 | 308.6962 | 0.012679 | 308.8122 | 0.014063 | 309.0297 | 0.012652 | 309.1458 | 0.012836 | 309.2618 | 0.013774 | 309.3779 | 0.011661 | 309.494 | 0.010225 | 309.6101 | 0.010852 | 309.7261 | 0.012462 | 309.8422 | 0.0094946 | 310.0597 | 0.01448 | 310.1758 | 0.008747 | 310.2919 | 0.012944 | 310.4079 | 2.92 | 310.524 | 0.01231 | 310.6401 | 0.013581 | 310.7562 | 0.011124 | 310.8722 | 0.012582 | 311.0897 | 0.0082423 | 311.2058 | 0.011895 | 311.3219 | 0.011269 | 311.4379 | 0.0071904 | 311.554 | 0.0092634 | 311.6701 | 0.0087414 | 311.7862 | 0.0078201 | 311.9022 | 0.0008424 | 312.1197 | 0.0073566 | 312.2358 | -0.00028092 | 312.3519
2.9115 | 314.9996 | 0.010486 | 315.1157 | 0.012836 | 315.2318 | 0.015013 | 315.3479 | 0.013134 | 315.464 | 0.012428 | 315.5801 | 0.0087851 | 315.6962 | 0.01268 | 315.8123 | 0.014065 | 316.0297 | 0.012654 | 316.1458 | 0.012837 | 316.2619 | 0.013775 | 316.3779 | 0.011663 | 316.494 | 0.010226 | 316.6101 | 0.010853 | 316.7262 | 0.012463 | 316.8422 | 0.0094953 | 317.0597 | 0.014481 | 317.1758 | 0.0087478 | 317.2919 | 0.012945 | 317.408 | 2.92 | 317.524 | 0.012311 | 317.6401 | 0.013583 | 317.7562 | 0.011123 | 317.8723 | 0.012582 | 318.0898 | 0.0082437 | 318.206 | 0.011895 | 318.322 | 0.01127 | 318.4381 | 0.0071908 | 318.5542 | 0.009264 | 318.6703 | 0.0087429 | 318.7864 | 0.0078205 | 318.9024 | 0.00084293 | 319.1199 | 0.0073574 | 319.236 | -0.00028046 | 319.3521
2.9115 | 321.9996 | 0.010486 | 322.1157 | 0.012838 | 322.2318 | 0.015014 | 322.3479 | 0.013135 | 322.464 | 0.012428 | 322.5801 | 0.0087865 | 322.6961 | 0.01268 | 322.8122 | 0.014067 | 323.0297 | 0.012655 | 323.155 | 0.012837 | 323.271 | 0.013776 | 323.3871 | 0.011665 | 323.5032 | 0.010226 | 323.6193 | 0.010853 | 323.7353 | 0.012463 | 323.8514 | 0.009496 | 324.0689 | 0.014481 | 324.185 | 0.0087478 | 324.3011 | 0.012946 | 324.4171 | 2.92 | 324.5332 | 0.012311 | 324.6493 | 0.013584 | 324.7654 | 0.011123 | 324.8815 | 0.012583 | 325.0989 | 0.0082445 | 325.215 | 0.011896 | 325.3311 | 0.01127 | 325.4471 | 0.0071913 | 325.5632 | 0.0092644 | 325.6793 | 0.0087434 | 325.7954 | 0.0078217 | 325.9114 | 0.00084256 | 326.1289 | 0.0073585 | 326.245 | -0.00027989 | 326.3611
2.9115 | 328.9996 | 0.010487 | 329.1157 | 0.012839 | 329.2318 | 0.015015 | 329.3479 | 0.013136 | 329.464 | 0.012431 | 329.5801 | 0.0087871 | 329.6962 | 0.012682 | 329.8122 | 0.014067 | 330.0297 | 0.012657 | 330.1458 | 0.012839 | 330.2619 | 0.013777 | 330.3779 | 0.011665 | 330.494 | 0.010228 | 330.6101 | 0.010855 | 330.7262 | 0.012465 | 330.8422 | 0.0094973 | 331.0598 | 0.014484 | 331.1759 | 0.0087496 | 331.2919 | 0.012948 | 331.408 | 2.92 | 331.5241 | 0.012313 | 331.6402 | 0.013585 | 331.7562 | 0.011125 | 331.8723 | 0.012585 | 332.0898 | 0.0082459 | 332.2059 | 0.011898 | 332.322 | 0.011272 | 332.4381 | 0.0071928 | 332.5542 | 0.0092658 | 332.6702 | 0.0087447 | 332.7863 | 0.0078227 | 332.9024 | 0.00084282 | 333.1198 | 0.0073599 | 333.236 | -0.00027986 | 333.3521
2.9115 | 335.9996 | 0.010488 | 336.1157 | 0.01284 | 336.2318 | 0.015017 | 336.3479 | 0.013137 | 336.464 | 0.012432 | 336.58 | 0.0087879 | 336.6961 | 0.012683 | 336.8122 | 0.014068 | 337.0297 | 0.012657 | 337.1458 | 0.01284 | 337.2618 | 0.013778 | 337.3779 | 0.011666 | 337.494 | 0.010229 | 337.61 | 0.010856 | 337.7261 | 0.012467 | 337.8422 | 0.0094984 | 338.0597 | 0.014486 | 338.1758 | 0.0087513 | 338.2919 | 0.01295 | 338.408 | 2.92 | 338.5241 | 0.012314 | 338.6402 | 0.013586 | 338.7563 | 0.011128 | 338.8723 | 0.012586 | 339.0898 | 0.0082465 | 339.2059 | 0.0119 | 339.322 | 0.011274 | 339.4381 | 0.0071944 | 339.5542 | 0.0092673 | 339.6702 | 0.0087462 | 339.7863 | 0.0078245 | 339.9024 | 0.00084329 | 340.1199 | 0.0073621 | 340.2359 | -0.00027969 | 340.352
2.9115 | 342.9996 | 0.010487 | 343.1157 | 0.01284 | 343.2318 | 0.015018 | 343.3527 | 0.013138 | 343.4688 | 0.012432 | 343.5849 | 0.0087882 | 343.701 | 0.012684 | 343.817 | 0.014069 | 344.0345 | 0.012658 | 344.1506 | 0.012842 | 344.2667 | 0.013779 | 344.3828 | 0.011667 | 344.4988 | 0.010231 | 344.6149 | 0.010857 | 344.731 | 0.012468 | 344.8471 | 0.0094994 | 345.0646 | 0.014487 | 345.1806 | 0.0087521 | 345.2967 | 0.012951 | 345.4128 | 2.92 | 345.5289 | 0.012314 | 345.6449 | 0.013586 | 345.761 | 0.011126 | 345.8771 | 0.012585 | 346.0946 | 0.0082469 | 346.2107 | 0.0119 | 346.3267 | 0.011275 | 346.4428 | 0.0071955 | 346.5589 | 0.0092682 | 346.675 | 0.0087472 | 346.791 | 0.0078249 | 346.9071 | 0.00084395 | 347.1246 | 0.0073626 | 347.2407 | -0.00027902 | 347.3568