## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-18
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-18
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 100000
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9078 | 0 | 0.010462 | 0.11612 | 0.01282 | 6.9999 | 0.014976 | 7.116 | 0.013128 | 7.2321 | 0.012153 | 7.3482 | 0.0087974 | 7.4643 | 0.012871 | 7.5803 | 0.014162 | 7.6964 | 0.012743 | 7.8125 | 0.012777 | 8.0299 | 0.013648 | 8.146 | 0.011694 | 8.2621 | 0.010221 | 8.3782 | 0.010821 | 8.4943 | 0.012477 | 8.6104 | 0.0094811 | 8.7264 | 0.014457 | 8.8425 | 0.0087135 | 9.06 | 0.012956 | 9.1761 | 2.9162 | 9.2921 | 0.012312 | 9.4082 | 0.013561 | 9.5243 | 0.011113 | 9.6404 | 0.01256 | 9.7565 | 0.008232 | 9.8726 | 0.011902 | 10.09 | 0.011217 | 10.2061 | 0.0072353 | 10.3222 | 0.0092575 | 10.4383 | 0.0087458 | 10.5544 | 0.0078286 | 10.6704 | 0.00085121 | 10.7865 | 0.0073487 | 10.9026 | -0.00031783 | 11.1201
2.9078 | 11.2362 | 0.01046 | 11.3522 | 0.012819 | 13.9999 | 0.014974 | 14.116 | 0.013129 | 14.2321 | 0.012153 | 14.3482 | 0.0087968 | 14.4642 | 0.012871 | 14.5803 | 0.014163 | 14.6964 | 0.012744 | 14.8124 | 0.012777 | 15.0299 | 0.013648 | 15.146 | 0.011694 | 15.2621 | 0.010221 | 15.3782 | 0.01082 | 15.4943 | 0.012478 | 15.6104 | 0.0094812 | 15.7264 | 0.014459 | 15.8425 | 0.0087143 | 16.06 | 0.012957 | 16.1761 | 2.9162 | 16.2922 | 0.012313 | 16.4082 | 0.013562 | 16.5243 | 0.011116 | 16.6404 | 0.012563 | 16.7565 | 0.0082334 | 16.8726 | 0.011901 | 17.09 | 0.011218 | 17.2061 | 0.0072355 | 17.3222 | 0.0092575 | 17.4383 | 0.0087462 | 17.5543 | 0.007829 | 17.6704 | 0.00085117 | 17.7865 | 0.0073493 | 17.9026 | -0.00031767 | 18.1201
2.9078 | 18.2361 | 0.01046 | 18.3522 | 0.01282 | 20.9999 | 0.014975 | 21.116 | 0.013129 | 21.2321 | 0.012154 | 21.3482 | 0.008797 | 21.4643 | 0.012871 | 21.5803 | 0.014164 | 21.6964 | 0.012746 | 21.8125 | 0.012778 | 22.03 | 0.013649 | 22.146 | 0.011695 | 22.2621 | 0.010223 | 22.3782 | 0.010821 | 22.4943 | 0.012478 | 22.6104 | 0.0094814 | 22.7265 | 0.014459 | 22.8426 | 0.0087149 | 23.0601 | 0.012957 | 23.1761 | 2.9162 | 23.2922 | 0.012312 | 23.4083 | 0.013562 | 23.5244 | 0.011115 | 23.6405 | 0.012562 | 23.7566 | 0.008233 | 23.8727 | 0.011901 | 24.0901 | 0.011218 | 24.2062 | 0.0072355 | 24.3223 | 0.0092574 | 24.4384 | 0.0087465 | 24.5544 | 0.0078287 | 24.6705 | 0.00085112 | 24.7866 | 0.0073491 | 24.9027 | -0.00031798 | 25.1202
2.9078 | 25.2364 | 0.01046 | 25.3525 | 0.012821 | 27.9999 | 0.014976 | 28.116 | 0.013129 | 28.2321 | 0.012154 | 28.3481 | 0.0087968 | 28.4642 | 0.012872 | 28.5803 | 0.014164 | 28.6964 | 0.012746 | 28.8124 | 0.012779 | 29.0299 | 0.013649 | 29.146 | 0.011696 | 29.2621 | 0.010223 | 29.3781 | 0.010821 | 29.4942 | 0.012478 | 29.6103 | 0.0094819 | 29.7264 | 0.01446 | 29.8425 | 0.0087148 | 30.06 | 0.012957 | 30.176 | 2.9162 | 30.2922 | 0.012313 | 30.4084 | 0.013562 | 30.5244 | 0.011116 | 30.6405 | 0.012563 | 30.7566 | 0.0082333 | 30.8727 | 0.011901 | 31.0902 | 0.011218 | 31.2063 | 0.0072364 | 31.3223 | 0.0092574 | 31.4384 | 0.0087459 | 31.5545 | 0.0078291 | 31.6706 | 0.00085086 | 31.7867 | 0.007349 | 31.9027 | -0.00031792 | 32.1202
2.9078 | 32.2363 | 0.010461 | 32.3523 | 0.012822 | 34.9999 | 0.014977 | 35.116 | 0.01313 | 35.2321 | 0.012156 | 35.3482 | 0.0087987 | 35.4643 | 0.012873 | 35.5804 | 0.014165 | 35.6965 | 0.012746 | 35.8126 | 0.012779 | 36.03 | 0.01365 | 36.1461 | 0.011696 | 36.2622 | 0.010223 | 36.3783 | 0.010822 | 36.4944 | 0.012478 | 36.6105 | 0.0094826 | 36.7265 | 0.01446 | 36.8426 | 0.0087151 | 37.0601 | 0.012958 | 37.1762 | 2.9162 | 37.2923 | 0.012312 | 37.4083 | 0.013561 | 37.5244 | 0.011116 | 37.6405 | 0.012563 | 37.7566 | 0.0082333 | 37.8727 | 0.011902 | 38.0902 | 0.011219 | 38.2062 | 0.0072364 | 38.3223 | 0.0092584 | 38.4384 | 0.0087468 | 38.5544 | 0.0078293 | 38.6705 | 0.00085074 | 38.7866 | 0.00735 | 38.9027 | -0.00031778 | 39.1201
2.9078 | 39.2362 | 0.010463 | 39.3523 | 0.012823 | 41.9999 | 0.014978 | 42.116 | 0.013131 | 42.2321 | 0.012157 | 42.3482 | 0.0087997 | 42.4642 | 0.012874 | 42.5803 | 0.014164 | 42.6964 | 0.012746 | 42.8125 | 0.012778 | 43.03 | 0.013649 | 43.1461 | 0.011695 | 43.2621 | 0.010224 | 43.3782 | 0.010822 | 43.4943 | 0.012478 | 43.6104 | 0.0094827 | 43.7265 | 0.01446 | 43.8425 | 0.0087151 | 44.06 | 0.012958 | 44.1761 | 2.9162 | 44.2922 | 0.012312 | 44.4083 | 0.013561 | 44.5244 | 0.011114 | 44.6404 | 0.012561 | 44.7565 | 0.0082336 | 44.8726 | 0.011902 | 45.0901 | 0.01122 | 45.2061 | 0.0072372 | 45.3222 | 0.0092589 | 45.4384 | 0.008747 | 45.5545 | 0.0078297 | 45.6706 | 0.00085108 | 45.7867 | 0.0073504 | 45.9027 | -0.00031767 | 46.1202
2.9078 | 46.2363 | 0.010463 | 46.3524 | 0.012822 | 48.9999 | 0.014978 | 49.116 | 0.013132 | 49.2321 | 0.012157 | 49.3482 | 0.0088001 | 49.4643 | 0.012874 | 49.5803 | 0.014164 | 49.6964 | 0.012746 | 49.8125 | 0.01278 | 50.03 | 0.013649 | 50.146 | 0.011697 | 50.2621 | 0.010224 | 50.3782 | 0.010823 | 50.4943 | 0.012479 | 50.6105 | 0.009482 | 50.7266 | 0.01446 | 50.8426 | 0.0087145 | 51.0601 | 0.012958 | 51.1762 | 2.9162 | 51.2923 | 0.012312 | 51.4084 | 0.013562 | 51.5245 | 0.011116 | 51.6406 | 0.012564 | 51.7567 | 0.0082335 | 51.8727 | 0.011901 | 52.0902 | 0.01122 | 52.2063 | 0.0072368 | 52.3223 | 0.0092583 | 52.4384 | 0.0087469 | 52.5545 | 0.0078302 | 52.6706 | 0.00085116 | 52.7866 | 0.0073506 | 52.9027 | -0.00031748 | 53.1202
2.9078 | 53.2363 | 0.010463 | 53.3523 | 0.012823 | 55.9999 | 0.014977 | 56.116 | 0.01313 | 56.2321 | 0.012157 | 56.3482 | 0.0087998 | 56.4642 | 0.012873 | 56.5803 | 0.014165 | 56.6964 | 0.012746 | 56.8125 | 0.01278 | 57.0299 | 0.01365 | 57.146 | 0.011697 | 57.2621 | 0.010224 | 57.3782 | 0.010823 | 57.4942 | 0.012479 | 57.6103 | 0.0094827 | 57.7264 | 0.014461 | 57.8425 | 0.0087151 | 58.06 | 0.012958 | 58.1761 | 2.9162 | 58.2921 | 0.012312 | 58.4082 | 0.013563 | 58.5243 | 0.011116 | 58.6404 | 0.012564 | 58.7565 | 0.008233 | 58.8725 | 0.011902 | 59.09 | 0.01122 | 59.206 | 0.0072367 | 59.3221 | 0.0092589 | 59.4382 | 0.0087467 | 59.5543 | 0.0078305 | 59.6704 | 0.00085086 | 59.7864 | 0.0073506 | 59.9025 | -0.00031743 | 60.12
2.9078 | 60.2361 | 0.010463 | 60.3522 | 0.012823 | 62.9999 | 0.014978 | 63.116 | 0.013131 | 63.2321 | 0.012156 | 63.3482 | 0.0087999 | 63.4643 | 0.012873 | 63.5804 | 0.014166 | 63.6964 | 0.012747 | 63.8125 | 0.01278 | 64.03 | 0.013651 | 64.146 | 0.011698 | 64.2621 | 0.010225 | 64.3782 | 0.010824 | 64.4943 | 0.01248 | 64.6103 | 0.0094831 | 64.7264 | 0.014462 | 64.8425 | 0.0087156 | 65.06 | 0.012959 | 65.1761 | 2.9162 | 65.2922 | 0.012314 | 65.4082 | 0.013564 | 65.5243 | 0.011118 | 65.6405 | 0.012566 | 65.7566 | 0.0082341 | 65.8727 | 0.011902 | 66.0902 | 0.01122 | 66.2062 | 0.0072372 | 66.3223 | 0.0092596 | 66.4384 | 0.0087471 | 66.5545 | 0.0078301 | 66.6706 | 0.00085105 | 66.7866 | 0.0073506 | 66.9027 | -0.00031731 | 67.1202
2.9078 | 67.2363 | 0.010464 | 67.3524 | 0.012823 | 69.9999 | 0.014978 | 70.116 | 0.013132 | 70.2321 | 0.012157 | 70.3481 | 0.0088004 | 70.4642 | 0.012873 | 70.5803 | 0.014168 | 70.6965 | 0.012748 | 70.8126 | 0.012782 | 71.0301 | 0.013652 | 71.1461 | 0.011699 | 71.2622 | 0.010226 | 71.3783 | 0.010825 | 71.4944 | 0.012481 | 71.6105 | 0.0094847 | 71.7266 | 0.014463 | 71.8427 | 0.0087173 | 72.0602 | 0.01296 | 72.1763 | 2.9162 | 72.2923 | 0.012314 | 72.4084 | 0.013565 | 72.5245 | 0.011119 | 72.6406 | 0.012566 | 72.7566 | 0.0082352 | 72.8727 | 0.011903 | 73.0902 | 0.011221 | 73.2063 | 0.0072376 | 73.3224 | 0.0092599 | 73.4384 | 0.0087479 | 73.5545 | 0.007831 | 73.6706 | 0.00085087 | 73.7866 | 0.0073514 | 73.9027 | -0.00031707 | 74.1202
2.9078 | 74.2363 | 0.010464 | 74.3524 | 0.012824 | 76.9999 | 0.014978 | 77.116 | 0.013132 | 77.2321 | 0.012158 | 77.3482 | 0.0088014 | 77.4642 | 0.012874 | 77.5803 | 0.01417 | 77.6964 | 0.01275 | 77.8125 | 0.012783 | 78.03 | 0.013654 | 78.146 | 0.011701 | 78.2621 | 0.010227 | 78.3782 | 0.010825 | 78.4943 | 0.012482 | 78.6104 | 0.0094855 | 78.7265 | 0.014465 | 78.8426 | 0.0087179 | 79.0601 | 0.012962 | 79.1761 | 2.9162 | 79.2922 | 0.012315 | 79.4083 | 0.013565 | 79.5244 | 0.011118 | 79.6405 | 0.012566 | 79.7565 | 0.0082351 | 79.8726 | 0.011903 | 80.0901 | 0.011223 | 80.2062 | 0.0072387 | 80.3223 | 0.0092606 | 80.4383 | 0.0087486 | 80.5544 | 0.0078318 | 80.6705 | 0.00085157 | 80.7867 | 0.007353 | 80.9028 | -0.00031702 | 81.1203
2.9078 | 81.2364 | 0.010465 | 81.3525 | 0.012824 | 83.9999 | 0.014979 | 84.116 | 0.013133 | 84.2321 | 0.012159 | 84.3482 | 0.0088014 | 84.4642 | 0.012875 | 84.5803 | 0.01417 | 84.6964 | 0.01275 | 84.8124 | 0.012784 | 85.0299 | 0.013653 | 85.146 | 0.011701 | 85.2621 | 0.010228 | 85.3781 | 0.010826 | 85.4942 | 0.012484 | 85.6103 | 0.0094864 | 85.7264 | 0.014465 | 85.8426 | 0.0087187 | 86.0601 | 0.012962 | 86.1762 | 2.9162 | 86.2923 | 0.012315 | 86.4084 | 0.013564 | 86.5245 | 0.011118 | 86.6405 | 0.012564 | 86.7566 | 0.0082355 | 86.8727 | 0.011903 | 87.0901 | 0.011223 | 87.2062 | 0.0072391 | 87.3223 | 0.0092613 | 87.4384 | 0.008749 | 87.5545 | 0.0078326 | 87.6705 | 0.00085164 | 87.7866 | 0.0073538 | 87.9027 | -0.00031744 | 88.1201
2.9078 | 88.2362 | 0.010464 | 88.3523 | 0.012824 | 90.9999 | 0.014978 | 91.116 | 0.013131 | 91.2321 | 0.012158 | 91.3482 | 0.0088009 | 91.4643 | 0.012874 | 91.5803 | 0.014169 | 91.6964 | 0.01275 | 91.8125 | 0.012784 | 92.03 | 0.013653 | 92.146 | 0.011701 | 92.2621 | 0.010228 | 92.3782 | 0.010827 | 92.4943 | 0.012484 | 92.6104 | 0.0094866 | 92.7265 | 0.014466 | 92.8425 | 0.0087189 | 93.06 | 0.012963 | 93.1761 | 2.9162 | 93.2922 | 0.012315 | 93.4083 | 0.013564 | 93.5243 | 0.011118 | 93.6404 | 0.012565 | 93.7565 | 0.0082367 | 93.8726 | 0.011904 | 94.09 | 0.011223 | 94.2061 | 0.0072395 | 94.3222 | 0.0092613 | 94.4383 | 0.008749 | 94.5543 | 0.0078325 | 94.6704 | 0.0008516 | 94.7865 | 0.0073542 | 94.9026 | -0.00031747 | 95.1201
2.9078 | 95.2361 | 0.010463 | 95.3522 | 0.012824 | 97.9999 | 0.014978 | 98.116 | 0.013132 | 98.2321 | 0.012158 | 98.3482 | 0.0088007 | 98.4643 | 0.012874 | 98.5804 | 0.014169 | 98.6964 | 0.01275 | 98.8125 | 0.012784 | 99.03 | 0.013654 | 99.1461 | 0.011702 | 99.2621 | 0.010229 | 99.3782 | 0.010827 | 99.4943 | 0.012485 | 99.6104 | 0.0094874 | 99.7265 | 0.014467 | 99.8426 | 0.0087194 | 100.0601 | 0.012963 | 100.1761 | 2.9162 | 100.2922 | 0.012316 | 100.4083 | 0.013566 | 100.5244 | 0.011118 | 100.6405 | 0.012566 | 100.7566 | 0.0082369 | 100.8726 | 0.011904 | 101.0902 | 0.011223 | 101.2062 | 0.0072397 | 101.3223 | 0.0092615 | 101.4384 | 0.0087495 | 101.5545 | 0.007833 | 101.6706 | 0.00085151 | 101.7866 | 0.0073544 | 101.9027 | -0.00031684 | 102.1202
2.9078 | 102.2363 | 0.010463 | 102.3524 | 0.012824 | 104.9999 | 0.014979 | 105.116 | 0.013132 | 105.2321 | 0.012158 | 105.3482 | 0.0088009 | 105.4643 | 0.012876 | 105.5803 | 0.014169 | 105.6964 | 0.012751 | 105.8125 | 0.012784 | 106.0301 | 0.013653 | 106.1462 | 0.011701 | 106.2622 | 0.010229 | 106.3783 | 0.010827 | 106.4944 | 0.012485 | 106.6105 | 0.009487 | 106.7266 | 0.014467 | 106.8427 | 0.0087199 | 107.0602 | 0.012964 | 107.1763 | 2.9162 | 107.2923 | 0.012316 | 107.4084 | 0.013565 | 107.5245 | 0.01112 | 107.6406 | 0.012568 | 107.7567 | 0.0082372 | 107.8727 | 0.011905 | 108.0902 | 0.011224 | 108.2063 | 0.0072401 | 108.3224 | 0.0092625 | 108.4384 | 0.00875 | 108.5545 | 0.0078333 | 108.6706 | 0.00085164 | 108.7867 | 0.007355 | 108.9028 | -0.00031672 | 109.1203
2.9078 | 109.2364 | 0.010464 | 109.3524 | 0.012824 | 111.9999 | 0.014979 | 112.116 | 0.013133 | 112.2321 | 0.012159 | 112.3482 | 0.0088014 | 112.4643 | 0.012876 | 112.5803 | 0.014169 | 112.6964 | 0.012751 | 112.8125 | 0.012783 | 113.03 | 0.013652 | 113.146 | 0.011701 | 113.2621 | 0.010229 | 113.3782 | 0.010828 | 113.4943 | 0.012485 | 113.6103 | 0.0094872 | 113.7264 | 0.014467 | 113.8425 | 0.0087192 | 114.06 | 0.012964 | 114.1761 | 2.9162 | 114.2922 | 0.012316 | 114.4082 | 0.013565 | 114.5243 | 0.01112 | 114.6404 | 0.012567 | 114.7565 | 0.0082375 | 114.8725 | 0.011905 | 115.09 | 0.011225 | 115.2061 | 0.0072404 | 115.3222 | 0.0092626 | 115.4383 | 0.0087503 | 115.5544 | 0.0078337 | 115.6704 | 0.00085166 | 115.7865 | 0.0073544 | 115.9026 | -0.00031671 | 116.1202
2.9078 | 116.2363 | 0.010464 | 116.3524 | 0.012824 | 118.9999 | 0.01498 | 119.116 | 0.013133 | 119.2321 | 0.012159 | 119.3482 | 0.008801 | 119.4642 | 0.012876 | 119.5803 | 0.01417 | 119.6964 | 0.012751 | 119.8125 | 0.012783 | 120.0299 | 0.013652 | 120.146 | 0.011701 | 120.2621 | 0.010228 | 120.3782 | 0.010827 | 120.4943 | 0.012484 | 120.6103 | 0.0094864 | 120.7264 | 0.014466 | 120.8425 | 0.0087187 | 121.06 | 0.012963 | 121.1762 | 2.9162 | 121.2923 | 0.012316 | 121.4084 | 0.013565 | 121.5245 | 0.011119 | 121.6406 | 0.012566 | 121.7567 | 0.0082375 | 121.8728 | 0.011905 | 122.0902 | 0.011224 | 122.2063 | 0.0072402 | 122.3224 | 0.0092624 | 122.4384 | 0.0087501 | 122.5545 | 0.0078336 | 122.6706 | 0.00085167 | 122.7866 | 0.0073532 | 122.9027 | -0.00031708 | 123.1202
2.9078 | 123.2363 | 0.010464 | 123.3523 | 0.012823 | 125.9999 | 0.014979 | 126.116 | 0.013133 | 126.2322 | 0.012158 | 126.3483 | 0.0088006 | 126.4644 | 0.012875 | 126.5805 | 0.014169 | 126.6965 | 0.012749 | 126.8126 | 0.012782 | 127.0301 | 0.013652 | 127.1462 | 0.0117 | 127.2623 | 0.010227 | 127.3783 | 0.010826 | 127.4944 | 0.012483 | 127.6105 | 0.0094854 | 127.7266 | 0.014464 | 127.8426 | 0.0087181 | 128.0602 | 0.012962 | 128.1762 | 2.9162 | 128.2923 | 0.012316 | 128.4084 | 0.013565 | 128.5245 | 0.011119 | 128.6406 | 0.012567 | 128.7567 | 0.0082368 | 128.8727 | 0.011905 | 129.0902 | 0.011224 | 129.2063 | 0.0072399 | 129.3223 | 0.0092619 | 129.4384 | 0.0087501 | 129.5545 | 0.0078328 | 129.6706 | 0.00085183 | 129.7866 | 0.0073528 | 129.9027 | -0.0003164 | 130.1202
2.9078 | 130.2363 | 0.010464 | 130.3524 | 0.012822 | 132.9999 | 0.014978 | 133.116 | 0.013132 | 133.2321 | 0.012156 | 133.3482 | 0.0088 | 133.4642 | 0.012875 | 133.5803 | 0.014169 | 133.6964 | 0.012748 | 133.8125 | 0.012783 | 134.0299 | 0.013652 | 134.146 | 0.0117 | 134.2621 | 0.010228 | 134.3782 | 0.010826 | 134.4943 | 0.012484 | 134.6103 | 0.0094859 | 134.7264 | 0.014465 | 134.8425 | 0.008718 | 135.06 | 0.012962 | 135.1761 | 2.9162 | 135.2922 | 0.012316 | 135.4082 | 0.013565 | 135.5243 | 0.011118 | 135.6404 | 0.012566 | 135.7565 | 0.0082367 | 135.8725 | 0.011904 | 136.09 | 0.011223 | 136.2061 | 0.0072398 | 136.3222 | 0.0092619 | 136.4383 | 0.0087496 | 136.5544 | 0.0078329 | 136.6704 | 0.00085179 | 136.7865 | 0.0073532 | 136.9026 | -0.0003167 | 137.12
2.9078 | 137.2361 | 0.010464 | 137.3522 | 0.012823 | 139.9999 | 0.014979 | 140.116 | 0.013132 | 140.2321 | 0.012157 | 140.3482 | 0.0088003 | 140.4642 | 0.012875 | 140.5803 | 0.014168 | 140.6964 | 0.012749 | 140.8124 | 0.012784 | 141.0299 | 0.013652 | 141.146 | 0.0117 | 141.2621 | 0.010228 | 141.3783 | 0.010826 | 141.4944 | 0.012484 | 141.6105 | 0.0094867 | 141.7266 | 0.014465 | 141.8427 | 0.0087186 | 142.0602 | 0.012963 | 142.1763 | 2.9162 | 142.2923 | 0.012317 | 142.4084 | 0.013566 | 142.5245 | 0.011118 | 142.6406 | 0.012565 | 142.7566 | 0.0082372 | 142.8727 | 0.011905 | 143.0902 | 0.011223 | 143.2063 | 0.0072402 | 143.3223 | 0.0092618 | 143.4384 | 0.0087497 | 143.5545 | 0.0078328 | 143.6705 | 0.000852 | 143.7866 | 0.0073535 | 143.9027 | -0.00031672 | 144.1202
2.9078 | 144.2363 | 0.010464 | 144.3523 | 0.012825 | 146.9999 | 0.014979 | 147.116 | 0.013133 | 147.2321 | 0.012158 | 147.3482 | 0.0088002 | 147.4643 | 0.012875 | 147.5803 | 0.014169 | 147.6964 | 0.012749 | 147.8125 | 0.012784 | 148.03 | 0.013653 | 148.146 | 0.011701 | 148.2621 | 0.010229 | 148.3782 | 0.010827 | 148.4943 | 0.012485 | 148.6103 | 0.009487 | 148.7264 | 0.014466 | 148.8425 | 0.0087193 | 149.06 | 0.012964 | 149.1761 | 2.9163 | 149.2922 | 0.012318 | 149.4083 | 0.013566 | 149.5244 | 0.011117 | 149.6404 | 0.012564 | 149.7565 | 0.0082384 | 149.8726 | 0.011905 | 150.0901 | 0.011224 | 150.2061 | 0.0072401 | 150.3222 | 0.009262 | 150.4383 | 0.0087499 | 150.5544 | 0.0078333 | 150.6705 | 0.00085144 | 150.7865 | 0.0073535 | 150.9026 | -0.00031676 | 151.1201
2.9078 | 151.2362 | 0.010464 | 151.3522 | 0.012825 | 153.9999 | 0.014979 | 154.116 | 0.013133 | 154.2321 | 0.012159 | 154.3482 | 0.0088006 | 154.4643 | 0.012876 | 154.5803 | 0.01417 | 154.6964 | 0.01275 | 154.8125 | 0.012785 | 155.03 | 0.013655 | 155.146 | 0.011702 | 155.2621 | 0.010229 | 155.3782 | 0.010828 | 155.4942 | 0.012486 | 155.6103 | 0.009488 | 155.7264 | 0.014467 | 155.8425 | 0.00872 | 156.06 | 0.012964 | 156.1761 | 2.9163 | 156.2922 | 0.012318 | 156.4083 | 0.013567 | 156.5245 | 0.011119 | 156.6406 | 0.012567 | 156.7567 | 0.0082386 | 156.8728 | 0.011906 | 157.0902 | 0.011224 | 157.2063 | 0.0072401 | 157.3224 | 0.0092625 | 157.4385 | 0.00875 | 157.5546 | 0.0078329 | 157.6706 | 0.00085204 | 157.7867 | 0.0073536 | 157.9028 | -0.00031697 | 158.1203
2.9078 | 158.2363 | 0.010465 | 158.3524 | 0.012826 | 160.9999 | 0.01498 | 161.116 | 0.013133 | 161.2321 | 0.012159 | 161.3482 | 0.0088012 | 161.4642 | 0.012876 | 161.5804 | 0.014171 | 161.6965 | 0.012751 | 161.8126 | 0.012786 | 162.0301 | 0.013655 | 162.1461 | 0.011703 | 162.2622 | 0.010229 | 162.3783 | 0.010827 | 162.4944 | 0.012486 | 162.6104 | 0.0094876 | 162.7265 | 0.014468 | 162.8426 | 0.0087201 | 163.0601 | 0.012964 | 163.1762 | 2.9162 | 163.2923 | 0.012318 | 163.4084 | 0.013567 | 163.5244 | 0.01112 | 163.6405 | 0.012568 | 163.7566 | 0.0082386 | 163.8726 | 0.011906 | 164.0901 | 0.011224 | 164.2062 | 0.0072405 | 164.3223 | 0.0092623 | 164.4383 | 0.0087509 | 164.5544 | 0.0078337 | 164.6705 | 0.0008518 | 164.7865 | 0.0073545 | 164.9026 | -0.0003169 | 165.1201
2.9078 | 165.2362 | 0.010465 | 165.3523 | 0.012827 | 167.9999 | 0.01498 | 168.116 | 0.013134 | 168.2321 | 0.01216 | 168.3481 | 0.0088016 | 168.4642 | 0.012877 | 168.5803 | 0.014171 | 168.6963 | 0.012751 | 168.8124 | 0.012785 | 169.0299 | 0.013655 | 169.146 | 0.011702 | 169.2621 | 0.010229 | 169.3781 | 0.010828 | 169.4942 | 0.012485 | 169.6103 | 0.0094877 | 169.7264 | 0.014467 | 169.8425 | 0.0087201 | 170.06 | 0.012965 | 170.1761 | 2.9162 | 170.2921 | 0.012319 | 170.4082 | 0.013567 | 170.5243 | 0.011119 | 170.6403 | 0.012567 | 170.7565 | 0.0082384 | 170.8725 | 0.011907 | 171.09 | 0.011225 | 171.2061 | 0.0072409 | 171.3222 | 0.0092634 | 171.4382 | 0.0087511 | 171.5543 | 0.0078339 | 171.6704 | 0.00085188 | 171.7865 | 0.0073546 | 171.9026 | -0.00031631 | 172.12
2.9078 | 172.2361 | 0.010466 | 172.3522 | 0.012827 | 174.9999 | 0.014981 | 175.116 | 0.013135 | 175.2321 | 0.012161 | 175.3482 | 0.0088023 | 175.4642 | 0.012877 | 175.5803 | 0.01417 | 175.6964 | 0.012751 | 175.8124 | 0.012785 | 176.0299 | 0.013655 | 176.146 | 0.011702 | 176.2621 | 0.010229 | 176.3781 | 0.010828 | 176.4942 | 0.012485 | 176.6103 | 0.0094878 | 176.7265 | 0.014467 | 176.8426 | 0.0087201 | 177.0601 | 0.012964 | 177.1762 | 2.9162 | 177.2923 | 0.012317 | 177.4084 | 0.013568 | 177.5244 | 0.011119 | 177.6405 | 0.012567 | 177.7566 | 0.0082388 | 177.8727 | 0.011907 | 178.0901 | 0.011226 | 178.2062 | 0.0072414 | 178.3223 | 0.0092638 | 178.4384 | 0.0087518 | 178.5544 | 0.0078341 | 178.6705 | 0.00085185 | 178.7866 | 0.0073553 | 178.9027 | -0.00031658 | 179.1201
2.9078 | 179.2362 | 0.010466 | 179.3523 | 0.012826 | 181.9999 | 0.01498 | 182.116 | 0.013134 | 182.2321 | 0.01216 | 182.3481 | 0.0088024 | 182.4642 | 0.012877 | 182.5803 | 0.014171 | 182.6964 | 0.01275 | 182.8125 | 0.012787 | 183.0299 | 0.013656 | 183.146 | 0.011704 | 183.2621 | 0.010229 | 183.3782 | 0.010828 | 183.4942 | 0.012486 | 183.6103 | 0.0094883 | 183.7264 | 0.014468 | 183.8425 | 0.0087204 | 184.06 | 0.012965 | 184.176 | 2.9162 | 184.2921 | 0.012319 | 184.4082 | 0.013572 | 184.5243 | 0.01112 | 184.6403 | 0.012568 | 184.7564 | 0.0082397 | 184.8725 | 0.011907 | 185.09 | 0.011227 | 185.206 | 0.0072419 | 185.3221 | 0.0092641 | 185.4382 | 0.0087517 | 185.5543 | 0.0078342 | 185.6703 | 0.00085183 | 185.7864 | 0.0073563 | 185.9025 | -0.00031636 | 186.12
2.9078 | 186.2361 | 0.010466 | 186.3521 | 0.012826 | 188.9999 | 0.014981 | 189.116 | 0.013134 | 189.2321 | 0.01216 | 189.3482 | 0.0088022 | 189.4643 | 0.012877 | 189.5803 | 0.014173 | 189.6964 | 0.012751 | 189.8125 | 0.012789 | 190.03 | 0.013657 | 190.146 | 0.011705 | 190.2621 | 0.010231 | 190.3782 | 0.010829 | 190.4942 | 0.012487 | 190.6103 | 0.0094883 | 190.7264 | 0.014468 | 190.8425 | 0.0087203 | 191.06 | 0.012965 | 191.1761 | 2.9162 | 191.2922 | 0.012319 | 191.4083 | 0.013572 | 191.5243 | 0.011121 | 191.6404 | 0.012569 | 191.7565 | 0.0082407 | 191.8727 | 0.011908 | 192.0902 | 0.011227 | 192.2063 | 0.0072418 | 192.3223 | 0.0092642 | 192.4384 | 0.0087522 | 192.5545 | 0.0078349 | 192.6706 | 0.0008521 | 192.7867 | 0.0073557 | 192.9027 | -0.00031646 | 193.1202
2.9078 | 193.2363 | 0.010466 | 193.3524 | 0.012827 | 195.9999 | 0.014981 | 196.116 | 0.013134 | 196.2321 | 0.012161 | 196.3481 | 0.0088025 | 196.4642 | 0.012877 | 196.5803 | 0.014173 | 196.6963 | 0.012751 | 196.8124 | 0.012788 | 197.0299 | 0.013657 | 197.146 | 0.011705 | 197.2621 | 0.010231 | 197.3782 | 0.010829 | 197.4943 | 0.012487 | 197.6103 | 0.0094886 | 197.7264 | 0.014468 | 197.8425 | 0.0087207 | 198.06 | 0.012965 | 198.1761 | 2.9163 | 198.2922 | 0.012319 | 198.4083 | 0.01357 | 198.5244 | 0.011122 | 198.6404 | 0.01257 | 198.7565 | 0.0082407 | 198.8726 | 0.011908 | 199.0901 | 0.011227 | 199.2061 | 0.0072425 | 199.3222 | 0.0092647 | 199.4383 | 0.0087521 | 199.5543 | 0.0078352 | 199.6704 | 0.00085254 | 199.7865 | 0.0073567 | 199.9026 | -0.00031585 | 200.1201
2.9078 | 200.2362 | 0.010467 | 200.3522 | 0.012827 | 202.9999 | 0.014982 | 203.116 | 0.013135 | 203.2321 | 0.012161 | 203.3482 | 0.008803 | 203.4642 | 0.012877 | 203.5803 | 0.014174 | 203.6964 | 0.012752 | 203.8125 | 0.012788 | 204.03 | 0.013656 | 204.146 | 0.011705 | 204.2621 | 0.010231 | 204.3782 | 0.010829 | 204.4943 | 0.012488 | 204.6103 | 0.0094895 | 204.7264 | 0.014469 | 204.8425 | 0.0087211 | 205.06 | 0.012966 | 205.1761 | 2.9162 | 205.2922 | 0.01232 | 205.4083 | 0.013571 | 205.5243 | 0.011123 | 205.6404 | 0.012571 | 205.7565 | 0.0082408 | 205.8726 | 0.011908 | 206.0901 | 0.011228 | 206.2061 | 0.0072428 | 206.3222 | 0.0092648 | 206.4383 | 0.0087524 | 206.5544 | 0.0078354 | 206.6705 | 0.00085254 | 206.7866 | 0.0073571 | 206.9026 | -0.00031601 | 207.1201
2.9078 | 207.2362 | 0.010467 | 207.3523 | 0.012828 | 209.9999 | 0.014982 | 210.116 | 0.013135 | 210.232 | 0.012161 | 210.3481 | 0.0088033 | 210.4642 | 0.012877 | 210.5803 | 0.014174 | 210.6963 | 0.012752 | 210.8124 | 0.012787 | 211.0299 | 0.013656 | 211.1459 | 0.011705 | 211.262 | 0.010231 | 211.3781 | 0.010829 | 211.4942 | 0.012488 | 211.6102 | 0.0094904 | 211.7263 | 0.014469 | 211.8424 | 0.0087221 | 212.06 | 0.012967 | 212.1761 | 2.9162 | 212.2922 | 0.01232 | 212.4083 | 0.013569 | 212.5244 | 0.01112 | 212.6404 | 0.012568 | 212.7565 | 0.0082408 | 212.8726 | 0.011908 | 213.0901 | 0.011228 | 213.2062 | 0.0072434 | 213.3222 | 0.0092654 | 213.4383 | 0.0087526 | 213.5544 | 0.0078359 | 213.6705 | 0.00085299 | 213.7865 | 0.0073576 | 213.9026 | -0.0003158 | 214.1201
2.9078 | 214.2362 | 0.010468 | 214.3522 | 0.012829 | 216.9999 | 0.014983 | 217.1161 | 0.013136 | 217.2322 | 0.012162 | 217.3483 | 0.0088038 | 217.4644 | 0.012878 | 217.5805 | 0.014174 | 217.6965 | 0.012753 | 217.8126 | 0.012787 | 218.0301 | 0.013656 | 218.1462 | 0.011705 | 218.2622 | 0.010231 | 218.3783 | 0.010829 | 218.4944 | 0.012488 | 218.6104 | 0.0094899 | 218.7265 | 0.014469 | 218.8426 | 0.0087216 | 219.0601 | 0.012967 | 219.1762 | 2.9162 | 219.2923 | 0.012319 | 219.4084 | 0.013568 | 219.5244 | 0.011122 | 219.6405 | 0.01257 | 219.7566 | 0.0082401 | 219.8726 | 0.011908 | 220.0901 | 0.011227 | 220.2062 | 0.0072431 | 220.3223 | 0.0092654 | 220.4383 | 0.0087529 | 220.5544 | 0.0078356 | 220.6705 | 0.00085275 | 220.7866 | 0.0073564 | 220.9026 | -0.00031554 | 221.1201
2.9078 | 221.2362 | 0.010469 | 221.3522 | 0.012829 | 223.9999 | 0.014984 | 224.116 | 0.013137 | 224.2321 | 0.012163 | 224.3482 | 0.0088042 | 224.4642 | 0.012879 | 224.5803 | 0.014173 | 224.6964 | 0.012753 | 224.8125 | 0.012786 | 225.03 | 0.013655 | 225.146 | 0.011704 | 225.2621 | 0.010231 | 225.3782 | 0.010829 | 225.4943 | 0.012488 | 225.6104 | 0.0094896 | 225.7264 | 0.014469 | 225.8425 | 0.0087218 | 226.06 | 0.012967 | 226.1761 | 2.9162 | 226.2922 | 0.012318 | 226.4083 | 0.013568 | 226.5243 | 0.011121 | 226.6404 | 0.012569 | 226.7565 | 0.00824 | 226.8726 | 0.011909 | 227.0901 | 0.011228 | 227.2061 | 0.0072433 | 227.3223 | 0.0092653 | 227.4383 | 0.0087528 | 227.5544 | 0.0078357 | 227.6705 | 0.00085235 | 227.7866 | 0.0073569 | 227.9026 | -0.00031562 | 228.1201
2.9078 | 228.2362 | 0.010468 | 228.3523 | 0.012828 | 230.9999 | 0.014983 | 231.116 | 0.013136 | 231.2321 | 0.012163 | 231.3482 | 0.0088031 | 231.4642 | 0.012879 | 231.5803 | 0.014172 | 231.6964 | 0.012752 | 231.8125 | 0.012786 | 232.03 | 0.013655 | 232.146 | 0.011703 | 232.2622 | 0.010231 | 232.3783 | 0.010829 | 232.4944 | 0.012488 | 232.6105 | 0.0094896 | 232.7266 | 0.014469 | 232.8427 | 0.0087208 | 233.0602 | 0.012966 | 233.1763 | 2.9162 | 233.2924 | 0.012318 | 233.4085 | 0.013568 | 233.5245 | 0.011123 | 233.6406 | 0.01257 | 233.7567 | 0.0082395 | 233.8727 | 0.011909 | 234.0902 | 0.011227 | 234.2063 | 0.0072426 | 234.3223 | 0.0092654 | 234.4384 | 0.0087529 | 234.5545 | 0.0078358 | 234.6706 | 0.00085299 | 234.7866 | 0.0073561 | 234.9027 | -0.00031586 | 235.1202
2.9078 | 235.2363 | 0.010466 | 235.3524 | 0.012828 | 237.9999 | 0.014982 | 238.116 | 0.013136 | 238.2321 | 0.012162 | 238.3482 | 0.0088026 | 238.4643 | 0.012878 | 238.5803 | 0.014172 | 238.6964 | 0.012753 | 238.8125 | 0.012786 | 239.03 | 0.013656 | 239.146 | 0.011704 | 239.2621 | 0.010231 | 239.3782 | 0.010829 | 239.4943 | 0.012487 | 239.6104 | 0.0094893 | 239.7265 | 0.014469 | 239.8426 | 0.008721 | 240.0601 | 0.012966 | 240.1761 | 2.9163 | 240.2922 | 0.012319 | 240.4083 | 0.013569 | 240.5244 | 0.011123 | 240.6405 | 0.01257 | 240.7566 | 0.0082401 | 240.8726 | 0.011909 | 241.0901 | 0.011228 | 241.2062 | 0.007243 | 241.3222 | 0.0092652 | 241.4383 | 0.008753 | 241.5544 | 0.0078357 | 241.6705 | 0.00085266 | 241.7866 | 0.0073562 | 241.9026 | -0.00031574 | 242.1201
2.9079 | 242.2362 | 0.010466 | 242.3524 | 0.012827 | 244.9999 | 0.014982 | 245.116 | 0.013135 | 245.2321 | 0.012161 | 245.3482 | 0.0088019 | 245.4642 | 0.012878 | 245.5803 | 0.014172 | 245.6964 | 0.012753 | 245.8125 | 0.012786 | 246.0299 | 0.013655 | 246.146 | 0.011703 | 246.2621 | 0.010231 | 246.3782 | 0.010829 | 246.4942 | 0.012487 | 246.6103 | 0.0094884 | 246.7264 | 0.014468 | 246.8425 | 0.0087206 | 247.0599 | 0.012965 | 247.176 | 2.9163 | 247.2921 | 0.012318 | 247.4083 | 0.013567 | 247.5244 | 0.011118 | 247.6405 | 0.012565 | 247.7566 | 0.0082382 | 247.8727 | 0.011908 | 248.0901 | 0.011226 | 248.2062 | 0.007242 | 248.3223 | 0.0092647 | 248.4384 | 0.0087526 | 248.5544 | 0.0078353 | 248.6705 | 0.00085237 | 248.7866 | 0.0073544 | 248.9027 | -0.00031585 | 249.1201
2.9079 | 249.2362 | 0.010466 | 249.3523 | 0.012827 | 251.9999 | 0.014981 | 252.116 | 0.013135 | 252.2321 | 0.01216 | 252.3481 | 0.0088018 | 252.4643 | 0.012877 | 252.5804 | 0.01417 | 252.6965 | 0.012752 | 252.8126 | 0.012784 | 253.0301 | 0.013653 | 253.1461 | 0.0117 | 253.2622 | 0.010229 | 253.3783 | 0.010827 | 253.4944 | 0.012484 | 253.6105 | 0.0094859 | 253.7265 | 0.014464 | 253.8426 | 0.008718 | 254.0601 | 0.012962 | 254.1762 | 2.9163 | 254.2923 | 0.012316 | 254.4083 | 0.013565 | 254.5244 | 0.011117 | 254.6405 | 0.012564 | 254.7566 | 0.0082363 | 254.8727 | 0.011907 | 255.0901 | 0.011224 | 255.2062 | 0.0072405 | 255.3223 | 0.0092628 | 255.4384 | 0.0087511 | 255.5544 | 0.0078332 | 255.6705 | 0.00085216 | 255.7866 | 0.0073521 | 255.9027 | -0.00031635 | 256.1202
2.9079 | 256.2362 | 0.010467 | 256.3523 | 0.012826 | 258.9999 | 0.014981 | 259.116 | 0.013134 | 259.2321 | 0.01216 | 259.3482 | 0.0088012 | 259.4642 | 0.012876 | 259.5803 | 0.014167 | 259.6964 | 0.012748 | 259.8125 | 0.012782 | 260.0299 | 0.013652 | 260.146 | 0.011699 | 260.2621 | 0.010226 | 260.3782 | 0.010825 | 260.4943 | 0.012483 | 260.6104 | 0.0094844 | 260.7264 | 0.014463 | 260.8425 | 0.0087167 | 261.06 | 0.01296 | 261.1761 | 2.9163 | 261.2922 | 0.012315 | 261.4083 | 0.013564 | 261.5243 | 0.011118 | 261.6404 | 0.012566 | 261.7565 | 0.0082351 | 261.8725 | 0.011906 | 262.09 | 0.011223 | 262.2061 | 0.007239 | 262.3222 | 0.0092615 | 262.4382 | 0.0087501 | 262.5544 | 0.0078317 | 262.6706 | 0.00085205 | 262.7866 | 0.0073518 | 262.9027 | -0.00031682 | 263.1202
2.9079 | 263.2363 | 0.010463 | 263.3523 | 0.012824 | 265.9999 | 0.014977 | 266.116 | 0.013132 | 266.2321 | 0.012156 | 266.3482 | 0.0087987 | 266.4642 | 0.012873 | 266.5803 | 0.014168 | 266.6964 | 0.012748 | 266.8125 | 0.012782 | 267.03 | 0.013652 | 267.146 | 0.011699 | 267.2621 | 0.010225 | 267.3782 | 0.010824 | 267.4943 | 0.012482 | 267.6105 | 0.0094845 | 267.7266 | 0.014462 | 267.8427 | 0.0087164 | 268.0602 | 0.01296 | 268.1763 | 2.9163 | 268.2924 | 0.012314 | 268.4084 | 0.013564 | 268.5245 | 0.011118 | 268.6406 | 0.012566 | 268.7567 | 0.0082353 | 268.8728 | 0.011905 | 269.0902 | 0.011223 | 269.2063 | 0.0072393 | 269.3224 | 0.0092618 | 269.4385 | 0.0087495 | 269.5545 | 0.0078323 | 269.6706 | 0.00085218 | 269.7867 | 0.0073521 | 269.9027 | -0.00031684 | 270.1202
2.9079 | 270.2363 | 0.010462 | 270.3524 | 0.012824 | 272.9999 | 0.014978 | 273.116 | 0.013131 | 273.2321 | 0.012156 | 273.3482 | 0.0087992 | 273.4643 | 0.012874 | 273.5804 | 0.014167 | 273.6964 | 0.012748 | 273.8125 | 0.012782 | 274.03 | 0.013652 | 274.1461 | 0.011698 | 274.2621 | 0.010226 | 274.3782 | 0.010824 | 274.4943 | 0.012481 | 274.6104 | 0.0094842 | 274.7265 | 0.014462 | 274.8425 | 0.0087167 | 275.0601 | 0.01296 | 275.1761 | 2.9163 | 275.2922 | 0.012314 | 275.4083 | 0.013564 | 275.5244 | 0.011118 | 275.6405 | 0.012565 | 275.7565 | 0.0082354 | 275.8726 | 0.011904 | 276.0901 | 0.011223 | 276.2062 | 0.007239 | 276.3223 | 0.0092614 | 276.4383 | 0.0087495 | 276.5544 | 0.0078315 | 276.6705 | 0.00085152 | 276.7866 | 0.0073523 | 276.9026 | -0.00031708 | 277.1201
2.9078 | 277.2362 | 0.010463 | 277.3522 | 0.012825 | 279.9999 | 0.014979 | 280.116 | 0.013133 | 280.2321 | 0.012158 | 280.3481 | 0.0087998 | 280.4642 | 0.012875 | 280.5803 | 0.014167 | 280.6964 | 0.012748 | 280.8125 | 0.012782 | 281.03 | 0.013652 | 281.146 | 0.011698 | 281.2621 | 0.010226 | 281.3782 | 0.010824 | 281.4942 | 0.012481 | 281.6103 | 0.0094835 | 281.7264 | 0.014461 | 281.8425 | 0.0087162 | 282.06 | 0.012959 | 282.176 | 2.9163 | 282.2921 | 0.012314 | 282.4082 | 0.013564 | 282.5243 | 0.011119 | 282.6404 | 0.012567 | 282.7566 | 0.0082354 | 282.8727 | 0.011904 | 283.0901 | 0.011223 | 283.2062 | 0.0072391 | 283.3223 | 0.0092612 | 283.4384 | 0.0087491 | 283.5544 | 0.0078321 | 283.6705 | 0.00085164 | 283.7866 | 0.0073525 | 283.9027 | -0.00031671 | 284.1201
2.9079 | 284.2362 | 0.010464 | 284.3523 | 0.012825 | 286.9999 | 0.014979 | 287.116 | 0.013132 | 287.2321 | 0.012158 | 287.3481 | 0.0087996 | 287.4642 | 0.012874 | 287.5803 | 0.014167 | 287.6964 | 0.012747 | 287.8126 | 0.012783 | 288.0301 | 0.013653 | 288.1462 | 0.011699 | 288.2622 | 0.010226 | 288.3783 | 0.010824 | 288.4944 | 0.012481 | 288.6105 | 0.0094838 | 288.7266 | 0.014461 | 288.8427 | 0.0087168 | 289.0602 | 0.01296 | 289.1763 | 2.9163 | 289.2923 | 0.012314 | 289.4084 | 0.013564 | 289.5245 | 0.011121 | 289.6406 | 0.012569 | 289.7566 | 0.0082352 | 289.8727 | 0.011905 | 290.0902 | 0.011224 | 290.2063 | 0.0072394 | 290.3223 | 0.0092623 | 290.4384 | 0.0087496 | 290.5545 | 0.0078324 | 290.6706 | 0.00085194 | 290.7866 | 0.0073529 | 290.9027 | -0.00031654 | 291.1202
2.9079 | 291.2362 | 0.010464 | 291.3523 | 0.012824 | 293.9999 | 0.014979 | 294.116 | 0.013131 | 294.2321 | 0.012158 | 294.3482 | 0.0087993 | 294.4642 | 0.012873 | 294.5803 | 0.014167 | 294.6964 | 0.012747 | 294.8125 | 0.012783 | 295.03 | 0.013652 | 295.146 | 0.011698 | 295.2621 | 0.010226 | 295.3782 | 0.010824 | 295.4942 | 0.012482 | 295.6103 | 0.0094846 | 295.7264 | 0.014463 | 295.8425 | 0.0087171 | 296.06 | 0.01296 | 296.1761 | 2.9163 | 296.2922 | 0.012314 | 296.4082 | 0.013564 | 296.5243 | 0.011123 | 296.6404 | 0.01257 | 296.7565 | 0.0082356 | 296.8725 | 0.011906 | 297.09 | 0.011224 | 297.2061 | 0.0072399 | 297.3222 | 0.0092622 | 297.4382 | 0.0087499 | 297.5543 | 0.0078322 | 297.6704 | 0.00085208 | 297.7865 | 0.0073539 | 297.9026 | -0.00031676 | 298.1202
2.9079 | 298.2362 | 0.010463 | 298.3523 | 0.012825 | 300.9999 | 0.014979 | 301.116 | 0.013131 | 301.2321 | 0.012159 | 301.3481 | 0.0088 | 301.4642 | 0.012873 | 301.5803 | 0.014167 | 301.6964 | 0.012747 | 301.8125 | 0.012784 | 302.03 | 0.013654 | 302.1461 | 0.011698 | 302.2621 | 0.010227 | 302.3782 | 0.010826 | 302.4943 | 0.012483 | 302.6104 | 0.0094854 | 302.7265 | 0.014464 | 302.8426 | 0.0087181 | 303.0601 | 0.012961 | 303.1762 | 2.9163 | 303.2923 | 0.012315 | 303.4083 | 0.013564 | 303.5244 | 0.011122 | 303.6405 | 0.012569 | 303.7566 | 0.0082354 | 303.8727 | 0.011908 | 304.0901 | 0.011224 | 304.2062 | 0.0072398 | 304.3223 | 0.0092624 | 304.4384 | 0.0087498 | 304.5544 | 0.0078325 | 304.6705 | 0.00085193 | 304.7866 | 0.007354 | 304.9027 | -0.0003169 | 305.1202
2.9079 | 305.2362 | 0.010463 | 305.3523 | 0.012824 | 308.0042 | 0.014978 | 308.1203 | 0.013131 | 308.2364 | 0.012158 | 308.3525 | 0.008799 | 308.4686 | 0.012873 | 308.5847 | 0.014168 | 308.7008 | 0.012748 | 308.8168 | 0.012784 | 309.0343 | 0.013653 | 309.1504 | 0.011699 | 309.2665 | 0.010228 | 309.3825 | 0.010826 | 309.4986 | 0.012483 | 309.6147 | 0.0094858 | 309.7308 | 0.014464 | 309.8469 | 0.0087183 | 310.0644 | 0.012961 | 310.1805 | 2.9163 | 310.2966 | 0.012315 | 310.4126 | 0.013564 | 310.5287 | 0.011119 | 310.6448 | 0.012566 | 310.7609 | 0.0082352 | 310.877 | 0.011907 | 311.0945 | 0.011224 | 311.2105 | 0.0072394 | 311.3266 | 0.0092618 | 311.4427 | 0.0087499 | 311.5588 | 0.0078322 | 311.6748 | 0.00085207 | 311.7909 | 0.0073531 | 311.907 | -0.0003166 | 312.1245
2.9079 | 312.2405 | 0.010462 | 312.3566 | 0.012823 | 314.9999 | 0.014977 | 315.116 | 0.013131 | 315.2321 | 0.012158 | 315.3482 | 0.0087992 | 315.4642 | 0.012873 | 315.5803 | 0.014167 | 315.6964 | 0.012747 | 315.8125 | 0.012783 | 316.0299 | 0.013652 | 316.146 | 0.011698 | 316.2621 | 0.010227 | 316.3782 | 0.010825 | 316.4942 | 0.012483 | 316.6103 | 0.009485 | 316.7264 | 0.014462 | 316.8425 | 0.008717 | 317.06 | 0.01296 | 317.1761 | 2.9163 | 317.2922 | 0.012314 | 317.4082 | 0.013564 | 317.5243 | 0.011118 | 317.6404 | 0.012566 | 317.7565 | 0.0082352 | 317.8726