## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-18
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-18
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9116 | 0 | 0.010497 | 0.11611 | 0.012851 | 0.23221 | 0.01501 | 0.3483 | 0.013149 | 0.46438 | 0.012263 | 0.58047 | 0.0088098 | 0.69653 | 0.012832 | 0.8126 | 0.01416 | 1.0301 | 0.012739 | 1.1462 | 0.012818 | 1.2622 | 0.013709 | 1.3783 | 0.01171 | 1.4944 | 0.010243 | 1.6104 | 0.010848 | 1.7265 | 0.0125 | 1.8426 | 0.0095026 | 2.0601 | 0.014491 | 2.1762 | 0.0087384 | 2.2922 | 0.01298 | 2.4083 | 2.92 | 2.5244 | 0.012334 | 2.6405 | 0.013591 | 2.7566 | 0.011136 | 2.8726 | 0.012588 | 3.0901 | 0.0082516 | 3.2062 | 0.011922 | 3.3223 | 0.011254 | 3.4383 | 0.0072394 | 3.5544 | 0.0092795 | 3.6705 | 0.0087614 | 3.7866 | 0.0078408 | 3.9026 | 0.00085176 | 4.1201 | 0.0073681 | 4.2362 | -0.00030497 | 4.3523
2.9116 | 6.9999 | 0.010498 | 7.1161 | 0.012852 | 7.2322 | 0.01501 | 7.3482 | 0.013149 | 7.4643 | 0.012264 | 7.5804 | 0.0088104 | 7.6965 | 0.012833 | 7.8126 | 0.01416 | 8.03 | 0.012739 | 8.1461 | 0.012818 | 8.2622 | 0.013708 | 8.3783 | 0.011711 | 8.4944 | 0.010244 | 8.6105 | 0.010849 | 8.7265 | 0.0125 | 8.8426 | 0.0095033 | 9.0601 | 0.014492 | 9.1762 | 0.0087387 | 9.2923 | 0.01298 | 9.4084 | 2.92 | 9.5245 | 0.012333 | 9.6405 | 0.01359 | 9.7566 | 0.011137 | 9.8727 | 0.012589 | 10.0902 | 0.0082521 | 10.2063 | 0.011922 | 10.3224 | 0.011255 | 10.4384 | 0.0072392 | 10.5545 | 0.0092799 | 10.6706 | 0.0087615 | 10.7867 | 0.0078409 | 10.9027 | 0.00085161 | 11.1202 | 0.0073683 | 11.2363 | -0.00030525 | 11.3524
2.9115 | 14 | 0.010498 | 14.1161 | 0.012851 | 14.2322 | 0.01501 | 14.3482 | 0.013149 | 14.4643 | 0.012264 | 14.5804 | 0.0088103 | 14.6965 | 0.012832 | 14.8125 | 0.01416 | 15.03 | 0.012739 | 15.1461 | 0.012818 | 15.2622 | 0.013708 | 15.3783 | 0.01171 | 15.4944 | 0.010244 | 15.6105 | 0.010849 | 15.7265 | 0.012501 | 15.8426 | 0.0095034 | 16.0601 | 0.014492 | 16.1762 | 0.0087394 | 16.2923 | 0.012981 | 16.4084 | 2.92 | 16.5245 | 0.012333 | 16.6405 | 0.01359 | 16.7566 | 0.011137 | 16.8727 | 0.012587 | 17.0902 | 0.0082525 | 17.2062 | 0.011922 | 17.3223 | 0.011255 | 17.4384 | 0.0072397 | 17.5545 | 0.0092798 | 17.6705 | 0.0087614 | 17.7866 | 0.0078403 | 17.9027 | 0.00085169 | 18.1202 | 0.0073683 | 18.2362 | -0.00030522 | 18.3523
2.9116 | 20.9999 | 0.010496 | 21.1161 | 0.012851 | 21.2322 | 0.015011 | 21.3482 | 0.01315 | 21.4643 | 0.012263 | 21.5804 | 0.0088102 | 21.6965 | 0.012832 | 21.8126 | 0.01416 | 22.03 | 0.01274 | 22.1461 | 0.012819 | 22.2622 | 0.013709 | 22.3782 | 0.011711 | 22.4943 | 0.010245 | 22.6104 | 0.010851 | 22.7265 | 0.012501 | 22.8426 | 0.0095044 | 23.0601 | 0.014493 | 23.1762 | 0.0087399 | 23.2922 | 0.012981 | 23.4083 | 2.92 | 23.5244 | 0.012334 | 23.6405 | 0.013592 | 23.7566 | 0.011136 | 23.8726 | 0.012587 | 24.0901 | 0.0082528 | 24.2062 | 0.011922 | 24.3223 | 0.011254 | 24.4383 | 0.0072397 | 24.5544 | 0.0092802 | 24.6705 | 0.0087616 | 24.7866 | 0.0078409 | 24.9026 | 0.00085144 | 25.1201 | 0.0073688 | 25.2363 | -0.00030517 | 25.3524
2.9116 | 27.9999 | 0.010496 | 28.116 | 0.01285 | 28.2321 | 0.01501 | 28.3482 | 0.013149 | 28.4643 | 0.012263 | 28.5804 | 0.0088102 | 28.6965 | 0.012832 | 28.8125 | 0.014161 | 29.03 | 0.012741 | 29.1461 | 0.01282 | 29.2622 | 0.013711 | 29.3782 | 0.011713 | 29.4943 | 0.010245 | 29.6104 | 0.010851 | 29.7265 | 0.012501 | 29.8426 | 0.0095043 | 30.0601 | 0.014493 | 30.1762 | 0.0087395 | 30.2923 | 0.012981 | 30.4085 | 2.92 | 30.5245 | 0.012335 | 30.6406 | 0.013594 | 30.7567 | 0.011136 | 30.8728 | 0.012587 | 31.0902 | 0.0082531 | 31.2063 | 0.011922 | 31.3224 | 0.011254 | 31.4384 | 0.0072396 | 31.5545 | 0.0092801 | 31.6706 | 0.0087619 | 31.7867 | 0.007841 | 31.9028 | 0.00085148 | 32.1202 | 0.0073684 | 32.2363 | -0.00030496 | 32.3524
2.9116 | 35 | 0.010495 | 35.1161 | 0.012851 | 35.2322 | 0.015009 | 35.3484 | 0.013149 | 35.4645 | 0.012262 | 35.5806 | 0.0088095 | 35.6966 | 0.012832 | 35.8127 | 0.01416 | 36.0302 | 0.01274 | 36.1462 | 0.012818 | 36.2623 | 0.013708 | 36.3784 | 0.011711 | 36.4945 | 0.010243 | 36.6106 | 0.010849 | 36.7266 | 0.0125 | 36.8427 | 0.0095027 | 37.0602 | 0.014491 | 37.1763 | 0.0087381 | 37.2924 | 0.012979 | 37.4085 | 2.9199 | 37.5246 | 0.012334 | 37.6407 | 0.013592 | 37.7567 | 0.011134 | 37.8728 | 0.012585 | 38.0903 | 0.0082524 | 38.2064 | 0.011922 | 38.3224 | 0.011254 | 38.4385 | 0.0072387 | 38.5546 | 0.0092794 | 38.6707 | 0.0087612 | 38.7867 | 0.0078401 | 38.9028 | 0.00085161 | 39.1203 | 0.0073672 | 39.2364 | -0.00030507 | 39.3524
2.9116 | 41.9999 | 0.010496 | 42.116 | 0.01285 | 42.2321 | 0.01501 | 42.3482 | 0.013148 | 42.4643 | 0.012263 | 42.5804 | 0.0088093 | 42.6965 | 0.012832 | 42.8125 | 0.014158 | 43.03 | 0.012738 | 43.1461 | 0.012816 | 43.2622 | 0.013707 | 43.3783 | 0.01171 | 43.4943 | 0.010241 | 43.6104 | 0.010847 | 43.7265 | 0.012498 | 43.8426 | 0.0095006 | 44.0601 | 0.014489 | 44.1761 | 0.0087361 | 44.2922 | 0.012977 | 44.4083 | 2.92 | 44.5244 | 0.012332 | 44.6405 | 0.013592 | 44.7566 | 0.011133 | 44.8726 | 0.012584 | 45.0901 | 0.0082513 | 45.2062 | 0.01192 | 45.3223 | 0.011252 | 45.4385 | 0.0072384 | 45.5546 | 0.0092783 | 45.6707 | 0.0087602 | 45.7868 | 0.007839 | 45.9029 | 0.00085114 | 46.1203 | 0.0073661 | 46.2364 | -0.00030566 | 46.3525
2.9115 | 49 | 0.010496 | 49.1161 | 0.01285 | 49.2321 | 0.015009 | 49.3482 | 0.013149 | 49.4643 | 0.012262 | 49.5804 | 0.0088092 | 49.6965 | 0.012832 | 49.8125 | 0.014159 | 50.03 | 0.012738 | 50.1461 | 0.012816 | 50.2622 | 0.013707 | 50.3782 | 0.01171 | 50.4944 | 0.01024 | 50.6105 | 0.010846 | 50.7266 | 0.012496 | 50.8427 | 0.0095 | 51.0602 | 0.014488 | 51.1763 | 0.008736 | 51.2923 | 0.012976 | 51.4084 | 2.92 | 51.5245 | 0.012332 | 51.6406 | 0.013592 | 51.7566 | 0.011133 | 51.8727 | 0.012585 | 52.0902 | 0.0082511 | 52.2062 | 0.01192 | 52.3223 | 0.011252 | 52.4384 | 0.0072376 | 52.5545 | 0.009278 | 52.6706 | 0.0087603 | 52.7867 | 0.0078392 | 52.9027 | 0.00085098 | 53.1202 | 0.0073659 | 53.2363 | -0.00030559 | 53.3523
2.9115 | 56 | 0.010496 | 56.1161 | 0.012849 | 56.2321 | 0.015009 | 56.3482 | 0.013147 | 56.4643 | 0.012261 | 56.5804 | 0.0088078 | 56.6965 | 0.012831 | 56.8126 | 0.014159 | 57.03 | 0.012737 | 57.1461 | 0.012815 | 57.2622 | 0.013706 | 57.3783 | 0.011709 | 57.4943 | 0.010239 | 57.6104 | 0.010846 | 57.7265 | 0.012496 | 57.8426 | 0.0094997 | 58.0601 | 0.014487 | 58.1762 | 0.0087356 | 58.2922 | 0.012976 | 58.4083 | 2.92 | 58.5244 | 0.012331 | 58.6405 | 0.01359 | 58.7565 | 0.011134 | 58.8726 | 0.012586 | 59.0901 | 0.0082507 | 59.2062 | 0.011919 | 59.3223 | 0.011253 | 59.4383 | 0.0072376 | 59.5544 | 0.0092781 | 59.6705 | 0.0087601 | 59.7866 | 0.0078393 | 59.9026 | 0.00085102 | 60.1201 | 0.0073665 | 60.2362 | -0.00030551 | 60.3523
2.9116 | 63 | 0.010495 | 63.1161 | 0.012848 | 63.2321 | 0.015009 | 63.3482 | 0.013148 | 63.4643 | 0.012261 | 63.5804 | 0.008808 | 63.6965 | 0.012831 | 63.8126 | 0.014159 | 64.03 | 0.012737 | 64.1461 | 0.012815 | 64.2622 | 0.013705 | 64.3783 | 0.011709 | 64.4943 | 0.01024 | 64.6104 | 0.010846 | 64.7265 | 0.012496 | 64.8426 | 0.0095 | 65.0601 | 0.014488 | 65.1761 | 0.0087363 | 65.2922 | 0.012976 | 65.4083 | 2.92 | 65.5244 | 0.012331 | 65.6406 | 0.013589 | 65.7567 | 0.011135 | 65.8728 | 0.012586 | 66.0902 | 0.0082504 | 66.2063 | 0.011921 | 66.3224 | 0.011253 | 66.4385 | 0.0072382 | 66.5545 | 0.0092784 | 66.6706 | 0.0087605 | 66.7867 | 0.0078393 | 66.9028 | 0.00085102 | 67.1202 | 0.0073667 | 67.2363 | -0.00030545 | 67.3524
2.9115 | 70 | 0.010494 | 70.1161 | 0.012847 | 70.2322 | 0.015007 | 70.3482 | 0.013146 | 70.4643 | 0.01226 | 70.5804 | 0.0088066 | 70.7011 | 0.012829 | 70.8172 | 0.014158 | 71.0347 | 0.012738 | 71.1508 | 0.012815 | 71.2668 | 0.013705 | 71.3829 | 0.01171 | 71.499 | 0.01024 | 71.6151 | 0.010845 | 71.7311 | 0.012497 | 71.8472 | 0.0095009 | 72.0647 | 0.014489 | 72.1808 | 0.0087373 | 72.2969 | 0.012977 | 72.413 | 2.92 | 72.529 | 0.012331 | 72.6451 | 0.01359 | 72.7612 | 0.011132 | 72.8773 | 0.012583 | 73.0947 | 0.0082506 | 73.2108 | 0.011919 | 73.3269 | 0.011253 | 73.443 | 0.0072377 | 73.559 | 0.0092784 | 73.6751 | 0.0087604 | 73.7912 | 0.0078395 | 73.9073 | 0.00085096 | 74.1247 | 0.007367 | 74.2408 | -0.00030582 | 74.3569
2.9116 | 76.9999 | 0.010495 | 77.1161 | 0.012849 | 77.2322 | 0.015009 | 77.3482 | 0.013148 | 77.4643 | 0.012262 | 77.5804 | 0.0088084 | 77.6965 | 0.012831 | 77.8126 | 0.014159 | 78.0301 | 0.012738 | 78.1461 | 0.012816 | 78.2622 | 0.013706 | 78.3783 | 0.011709 | 78.4943 | 0.010241 | 78.6104 | 0.010847 | 78.7265 | 0.012498 | 78.8426 | 0.0095019 | 79.0601 | 0.014489 | 79.1762 | 0.0087376 | 79.2922 | 0.012978 | 79.4083 | 2.92 | 79.5244 | 0.012331 | 79.6405 | 0.013588 | 79.7565 | 0.011133 | 79.8726 | 0.012583 | 80.0901 | 0.008251 | 80.2062 | 0.01192 | 80.3222 | 0.011253 | 80.4383 | 0.0072378 | 80.5544 | 0.0092786 | 80.6705 | 0.0087607 | 80.7952 | 0.0078394 | 80.9113 | 0.00085055 | 81.1287 | 0.0073669 | 81.2448 | -0.00030549 | 81.3609
2.9116 | 83.9999 | 0.010492 | 84.116 | 0.012846 | 84.2321 | 0.015005 | 84.3482 | 0.013145 | 84.4643 | 0.012258 | 84.5804 | 0.0088059 | 84.6965 | 0.012828 | 84.8125 | 0.014157 | 85.03 | 0.012737 | 85.1461 | 0.012814 | 85.2622 | 0.013705 | 85.3782 | 0.011708 | 85.4943 | 0.010241 | 85.6104 | 0.010846 | 85.7265 | 0.012498 | 85.8495 | 0.0095019 | 86.067 | 0.014489 | 86.1831 | 0.0087383 | 86.2992 | 0.012978 | 86.4153 | 2.92 | 86.5314 | 0.01233 | 86.6475 | 0.013587 | 86.7635 | 0.011134 | 86.8796 | 0.012584 | 87.0971 | 0.0082505 | 87.2132 | 0.011921 | 87.3293 | 0.011253 | 87.4453 | 0.0072383 | 87.5614 | 0.0092786 | 87.6775 | 0.0087607 | 87.7936 | 0.0078397 | 87.9097 | 0.00085089 | 88.1271 | 0.0073678 | 88.2432 | -0.00030531 | 88.3593
2.9116 | 90.9999 | 0.010491 | 91.1161 | 0.012845 | 91.2322 | 0.015004 | 91.3482 | 0.013144 | 91.4643 | 0.012257 | 91.5804 | 0.008805 | 91.6965 | 0.012826 | 91.8125 | 0.014157 | 92.03 | 0.012736 | 92.1461 | 0.012815 | 92.2621 | 0.013704 | 92.3782 | 0.011708 | 92.4943 | 0.010239 | 92.6103 | 0.010845 | 92.7264 | 0.012497 | 92.8425 | 0.0095008 | 93.06 | 0.014487 | 93.1761 | 0.0087361 | 93.2922 | 0.012976 | 93.4083 | 2.92 | 93.5244 | 0.012329 | 93.6405 | 0.013587 | 93.7565 | 0.011132 | 93.8726 | 0.012583 | 94.0901 | 0.0082495 | 94.2062 | 0.01192 | 94.3222 | 0.011253 | 94.4383 | 0.0072381 | 94.5544 | 0.0092788 | 94.6705 | 0.0087603 | 94.7865 | 0.0078395 | 94.9026 | 0.00085061 | 95.1201 | 0.0073677 | 95.2362 | -0.00030581 | 95.3522
2.9116 | 98 | 0.010492 | 98.1161 | 0.012846 | 98.2322 | 0.015004 | 98.3482 | 0.013145 | 98.4643 | 0.012258 | 98.5804 | 0.0088053 | 98.6965 | 0.012827 | 98.8126 | 0.014158 | 99.03 | 0.012737 | 99.1461 | 0.012816 | 99.2622 | 0.013705 | 99.3783 | 0.011708 | 99.4943 | 0.010239 | 99.6104 | 0.010845 | 99.7265 | 0.012495 | 99.8426 | 0.0094998 | 100.0601 | 0.014485 | 100.1761 | 0.0087352 | 100.2922 | 0.012974 | 100.4083 | 2.92 | 100.5243 | 0.012329 | 100.6404 | 0.013587 | 100.7565 | 0.01113 | 100.8726 | 0.012579 | 101.0945 | 0.0082496 | 101.2106 | 0.01192 | 101.3266 | 0.011253 | 101.4427 | 0.0072382 | 101.5588 | 0.0092785 | 101.6749 | 0.0087602 | 101.791 | 0.0078389 | 101.907 | 0.0008507 | 102.1245 | 0.0073665 | 102.2406 | -0.00030523 | 102.3566
2.9115 | 104.9999 | 0.010492 | 105.116 | 0.012846 | 105.2321 | 0.015005 | 105.3482 | 0.013145 | 105.4643 | 0.012259 | 105.5803 | 0.0088059 | 105.6964 | 0.012828 | 105.8125 | 0.014156 | 106.0359 | 0.012736 | 106.1519 | 0.012812 | 106.268 | 0.013703 | 106.3841 | 0.011707 | 106.5002 | 0.010237 | 106.6162 | 0.010844 | 106.7323 | 0.012492 | 106.8484 | 0.0094971 | 107.0659 | 0.014482 | 107.182 | 0.0087335 | 107.2981 | 0.012972 | 107.4142 | 2.92 | 107.5302 | 0.012329 | 107.6463 | 0.013586 | 107.7624 | 0.01113 | 107.8785 | 0.01258 | 108.096 | 0.0082479 | 108.212 | 0.011917 | 108.3281 | 0.011249 | 108.4442 | 0.0072354 | 108.5603 | 0.0092755 | 108.6764 | 0.0087576 | 108.7924 | 0.0078364 | 108.9085 | 0.00085024 | 109.126 | 0.0073625 | 109.242 | -0.00030609 | 109.3581
2.9116 | 111.9999 | 0.010493 | 112.1161 | 0.012846 | 112.2321 | 0.015006 | 112.3482 | 0.013146 | 112.4643 | 0.012259 | 112.5804 | 0.0088058 | 112.6964 | 0.012828 | 112.8125 | 0.014156 | 113.03 | 0.012735 | 113.1461 | 0.012812 | 113.2622 | 0.013703 | 113.3783 | 0.011706 | 113.4944 | 0.010237 | 113.6104 | 0.010843 | 113.7265 | 0.012492 | 113.8426 | 0.0094972 | 114.0601 | 0.014483 | 114.1762 | 0.0087338 | 114.2923 | 0.012972 | 114.4083 | 2.92 | 114.5244 | 0.012328 | 114.6405 | 0.013585 | 114.7566 | 0.011132 | 114.8726 | 0.012582 | 115.0901 | 0.008247 | 115.2062 | 0.011917 | 115.3223 | 0.011249 | 115.4383 | 0.0072351 | 115.5544 | 0.0092753 | 115.6705 | 0.0087575 | 115.7866 | 0.0078358 | 115.9027 | 0.00085001 | 116.1251 | 0.0073632 | 116.2412 | -0.00030651 | 116.3573
2.9116 | 118.9999 | 0.010493 | 119.116 | 0.012847 | 119.2321 | 0.015006 | 119.3482 | 0.013146 | 119.4643 | 0.012259 | 119.5804 | 0.0088054 | 119.6964 | 0.012828 | 119.8125 | 0.014156 | 120.03 | 0.012736 | 120.1461 | 0.012813 | 120.2621 | 0.013704 | 120.3782 | 0.011706 | 120.4943 | 0.010238 | 120.6103 | 0.010844 | 120.7264 | 0.012494 | 120.8425 | 0.0094986 | 121.06 | 0.014484 | 121.1842 | 0.0087345 | 121.3003 | 0.012974 | 121.4164 | 2.92 | 121.5324 | 0.012328 | 121.6485 | 0.013584 | 121.7646 | 0.011134 | 121.8807 | 0.012585 | 122.0981 | 0.008247 | 122.2142 | 0.011919 | 122.3303 | 0.01125 | 122.4464 | 0.0072356 | 122.5625 | 0.0092758 | 122.6786 | 0.008758 | 122.7947 | 0.0078368 | 122.9107 | 0.00085034 | 123.1282 | 0.0073643 | 123.2443 | -0.00030581 | 123.3604
2.9115 | 125.9999 | 0.010493 | 126.116 | 0.012847 | 126.2386 | 0.015006 | 126.3547 | 0.013145 | 126.4708 | 0.01226 | 126.5868 | 0.0088054 | 126.7029 | 0.012828 | 126.819 | 0.014155 | 127.0365 | 0.012736 | 127.1525 | 0.012813 | 127.2686 | 0.013704 | 127.3847 | 0.011706 | 127.5007 | 0.01024 | 127.6168 | 0.010846 | 127.7329 | 0.012495 | 127.849 | 0.0094994 | 128.0665 | 0.014486 | 128.1826 | 0.0087358 | 128.2987 | 0.012975 | 128.4147 | 2.92 | 128.5308 | 0.012328 | 128.6469 | 0.013584 | 128.763 | 0.011135 | 128.8791 | 0.012587 | 129.0965 | 0.0082483 | 129.2126 | 0.011921 | 129.3287 | 0.011251 | 129.4447 | 0.0072367 | 129.5608 | 0.0092771 | 129.6769 | 0.008759 | 129.793 | 0.0078377 | 129.9091 | 0.00085044 | 130.1265 | 0.0073659 | 130.2426 | -0.00030587 | 130.3587
2.9116 | 133 | 0.010492 | 133.1161 | 0.012847 | 133.2322 | 0.015007 | 133.3482 | 0.013146 | 133.4643 | 0.01226 | 133.5804 | 0.0088058 | 133.6965 | 0.012829 | 133.8125 | 0.014156 | 134.03 | 0.012737 | 134.1461 | 0.012814 | 134.2622 | 0.013705 | 134.3783 | 0.011705 | 134.4943 | 0.01024 | 134.6104 | 0.010847 | 134.7265 | 0.012496 | 134.8426 | 0.0095 | 135.0601 | 0.014487 | 135.1762 | 0.0087362 | 135.2922 | 0.012975 | 135.4083 | 2.92 | 135.5244 | 0.012329 | 135.6404 | 0.013583 | 135.7565 | 0.011136 | 135.8726 | 0.012587 | 136.0901 | 0.0082474 | 136.2061 | 0.011921 | 136.3223 | 0.011252 | 136.4384 | 0.0072374 | 136.5545 | 0.0092774 | 136.6706 | 0.0087593 | 136.7867 | 0.0078384 | 136.9028 | 0.00085054 | 137.1202 | 0.0073665 | 137.2363 | -0.00030572 | 137.3524
2.9116 | 140 | 0.010493 | 140.1161 | 0.012848 | 140.2321 | 0.015006 | 140.3482 | 0.013146 | 140.4643 | 0.01226 | 140.5804 | 0.0088062 | 140.6965 | 0.012829 | 140.8126 | 0.014155 | 141.0301 | 0.012737 | 141.1461 | 0.012814 | 141.2622 | 0.013705 | 141.3859 | 0.011705 | 141.5019 | 0.010241 | 141.618 | 0.010846 | 141.7341 | 0.012496 | 141.8502 | 0.0094998 | 142.0677 | 0.014487 | 142.1838 | 0.008736 | 142.2999 | 0.012975 | 142.4159 | 2.92 | 142.532 | 0.012329 | 142.6481 | 0.013583 | 142.7642 | 0.011136 | 142.8803 | 0.012586 | 143.0978 | 0.0082479 | 143.2138 | 0.01192 | 143.3299 | 0.011252 | 143.446 | 0.0072369 | 143.5621 | 0.0092776 | 143.6781 | 0.0087586 | 143.7942 | 0.0078381 | 143.9103 | 0.00085091 | 144.1278 | 0.0073665 | 144.2438 | -0.00030562 | 144.3599
2.9115 | 147 | 0.010494 | 147.1161 | 0.012847 | 147.2322 | 0.015007 | 147.3482 | 0.013147 | 147.4643 | 0.01226 | 147.5804 | 0.0088064 | 147.6965 | 0.01283 | 147.8125 | 0.014155 | 148.03 | 0.012737 | 148.1461 | 0.012813 | 148.2621 | 0.013704 | 148.3782 | 0.011705 | 148.4943 | 0.01024 | 148.6104 | 0.010846 | 148.7265 | 0.012495 | 148.8426 | 0.0094996 | 149.0601 | 0.014486 | 149.1762 | 0.0087359 | 149.2922 | 0.012975 | 149.4083 | 2.92 | 149.5244 | 0.012328 | 149.6405 | 0.013584 | 149.7566 | 0.011133 | 149.8727 | 0.012584 | 150.0901 | 0.0082478 | 150.2062 | 0.011919 | 150.3223 | 0.011252 | 150.4383 | 0.0072369 | 150.5544 | 0.0092775 | 150.6705 | 0.008759 | 150.7866 | 0.0078383 | 150.9026 | 0.00085069 | 151.1201 | 0.0073659 | 151.2362 | -0.00030603 | 151.3523
2.9116 | 153.9999 | 0.010494 | 154.116 | 0.012847 | 154.2322 | 0.015007 | 154.3482 | 0.013146 | 154.4643 | 0.01226 | 154.5804 | 0.0088066 | 154.6965 | 0.012829 | 154.8126 | 0.014155 | 155.03 | 0.012737 | 155.1461 | 0.012813 | 155.2622 | 0.013703 | 155.3782 | 0.011705 | 155.4943 | 0.010239 | 155.6104 | 0.010845 | 155.7265 | 0.012495 | 155.8425 | 0.009499 | 156.06 | 0.014486 | 156.1761 | 0.0087352 | 156.2922 | 0.012975 | 156.4083 | 2.92 | 156.5247 | 0.012329 | 156.6408 | 0.013585 | 156.7569 | 0.011132 | 156.873 | 0.012582 | 157.0904 | 0.0082485 | 157.2065 | 0.011918 | 157.3226 | 0.011251 | 157.4387 | 0.0072366 | 157.5547 | 0.0092771 | 157.6708 | 0.0087587 | 157.7869 | 0.0078377 | 157.903 | 0.00085024 | 158.1204 | 0.0073658 | 158.2365 | -0.00030567 | 158.3526
2.9116 | 160.9999 | 0.010493 | 161.116 | 0.012847 | 161.2321 | 0.015007 | 161.3482 | 0.013146 | 161.4643 | 0.012259 | 161.5884 | 0.008806 | 161.7045 | 0.012829 | 161.8206 | 0.014156 | 162.0381 | 0.012737 | 162.1541 | 0.012813 | 162.2702 | 0.013704 | 162.3863 | 0.011707 | 162.5023 | 0.010239 | 162.6184 | 0.010845 | 162.7345 | 0.012494 | 162.8506 | 0.0094989 | 163.0681 | 0.014487 | 163.1842 | 0.0087354 | 163.3003 | 0.012975 | 163.4164 | 2.92 | 163.5325 | 0.012329 | 163.6486 | 0.013586 | 163.7646 | 0.011133 | 163.8807 | 0.012584 | 164.0982 | 0.0082492 | 164.2143 | 0.011918 | 164.3303 | 0.011252 | 164.4464 | 0.0072364 | 164.5625 | 0.009277 | 164.6786 | 0.0087585 | 164.7946 | 0.0078381 | 164.9107 | 0.00085024 | 165.1282 | 0.0073662 | 165.2442 | -0.00030584 | 165.3603
2.9116 | 168 | 0.010494 | 168.1161 | 0.012846 | 168.2322 | 0.015007 | 168.3482 | 0.013146 | 168.4643 | 0.01226 | 168.5804 | 0.0088062 | 168.6965 | 0.012829 | 168.8126 | 0.014157 | 169.03 | 0.012737 | 169.1461 | 0.012814 | 169.2622 | 0.013704 | 169.3782 | 0.011707 | 169.4943 | 0.01024 | 169.6104 | 0.010845 | 169.7265 | 0.012496 | 169.8426 | 0.0094996 | 170.0601 | 0.014487 | 170.1761 | 0.0087359 | 170.2922 | 0.012976 | 170.4083 | 2.92 | 170.5244 | 0.012329 | 170.6405 | 0.013585 | 170.7566 | 0.011134 | 170.8726 | 0.012585 | 171.0901 | 0.0082487 | 171.2062 | 0.011919 | 171.3222 | 0.011253 | 171.4383 | 0.0072371 | 171.5544 | 0.0092777 | 171.6706 | 0.0087594 | 171.7867 | 0.0078388 | 171.9027 | 0.00085052 | 172.1202 | 0.0073669 | 172.2363 | -0.00030544 | 172.3524
2.9116 | 174.9999 | 0.010494 | 175.1161 | 0.012848 | 175.2321 | 0.015007 | 175.3482 | 0.013146 | 175.4643 | 0.01226 | 175.5804 | 0.0088062 | 175.6964 | 0.012829 | 175.8125 | 0.014157 | 176.03 | 0.012737 | 176.1461 | 0.012814 | 176.2622 | 0.013704 | 176.3782 | 0.011707 | 176.4943 | 0.010241 | 176.6104 | 0.010847 | 176.7268 | 0.012496 | 176.8429 | 0.0095003 | 177.0604 | 0.014488 | 177.1765 | 0.0087367 | 177.2926 | 0.012976 | 177.4087 | 2.92 | 177.5247 | 0.012329 | 177.6408 | 0.013585 | 177.7569 | 0.011134 | 177.873 | 0.012584 | 178.0905 | 0.0082484 | 178.2066 | 0.011919 | 178.3226 | 0.011253 | 178.4387 | 0.0072375 | 178.5548 | 0.0092785 | 178.6709 | 0.0087597 | 178.7869 | 0.0078394 | 178.903 | 0.00085072 | 179.1205 | 0.0073683 | 179.2366 | -0.00030533 | 179.3526
2.9116 | 181.9999 | 0.010495 | 182.1161 | 0.012849 | 182.2322 | 0.015008 | 182.3482 | 0.013147 | 182.4643 | 0.012261 | 182.5804 | 0.0088073 | 182.6964 | 0.01283 | 182.8125 | 0.014157 | 183.03 | 0.012737 | 183.1461 | 0.012815 | 183.2621 | 0.013705 | 183.3782 | 0.011708 | 183.4943 | 0.010242 | 183.6104 | 0.010847 | 183.7264 | 0.012497 | 183.8425 | 0.0095016 | 184.0601 | 0.014489 | 184.1761 | 0.0087376 | 184.2922 | 0.012977 | 184.4083 | 2.92 | 184.5243 | 0.012329 | 184.6404 | 0.013586 | 184.7565 | 0.011136 | 184.8726 | 0.012587 | 185.09 | 0.0082498 | 185.2061 | 0.011919 | 185.3222 | 0.011254 | 185.4382 | 0.0072383 | 185.5543 | 0.0092788 | 185.6704 | 0.0087604 | 185.7864 | 0.0078397 | 185.9025 | 0.00085067 | 186.12 | 0.0073685 | 186.2361 | -0.00030561 | 186.3521
2.9116 | 189 | 0.010494 | 189.1161 | 0.012848 | 189.2322 | 0.015008 | 189.3482 | 0.013147 | 189.4643 | 0.012261 | 189.5804 | 0.0088072 | 189.6965 | 0.012829 | 189.8125 | 0.014158 | 190.03 | 0.012738 | 190.1461 | 0.012817 | 190.2622 | 0.013706 | 190.3782 | 0.01171 | 190.4943 | 0.010242 | 190.6104 | 0.010847 | 190.7265 | 0.012497 | 190.8426 | 0.0095016 | 191.0601 | 0.014489 | 191.1761 | 0.0087381 | 191.2922 | 0.012978 | 191.4083 | 2.92 | 191.5244 | 0.01233 | 191.6405 | 0.013588 | 191.7565 | 0.011136 | 191.8727 | 0.012587 | 192.0902 | 0.0082505 | 192.2063 | 0.01192 | 192.3224 | 0.011254 | 192.4384 | 0.0072383 | 192.5545 | 0.0092792 | 192.6706 | 0.0087604 | 192.7867 | 0.0078399 | 192.9028 | 0.00085075 | 193.1202 | 0.0073687 | 193.2363 | -0.00030546 | 193.3524
2.9116 | 195.9999 | 0.010494 | 196.116 | 0.012848 | 196.2321 | 0.015008 | 196.3482 | 0.013146 | 196.4643 | 0.012261 | 196.5804 | 0.0088071 | 196.6965 | 0.01283 | 196.8126 | 0.01416 | 197.0301 | 0.012739 | 197.1462 | 0.012818 | 197.2623 | 0.013708 | 197.3784 | 0.011711 | 197.4944 | 0.010242 | 197.6105 | 0.010848 | 197.7266 | 0.012497 | 197.8427 | 0.0095021 | 198.0602 | 0.014489 | 198.1763 | 0.0087378 | 198.2924 | 0.012978 | 198.4085 | 2.92 | 198.5245 | 0.012332 | 198.6406 | 0.013589 | 198.7567 | 0.011137 | 198.8728 | 0.012588 | 199.0903 | 0.008251 | 199.2063 | 0.011921 | 199.3224 | 0.011254 | 199.4385 | 0.0072388 | 199.5546 | 0.0092794 | 199.6706 | 0.0087608 | 199.7867 | 0.0078403 | 199.9028 | 0.00085098 | 200.1203 | 0.0073691 | 200.2363 | -0.00030521 | 200.3524
2.9115 | 202.9999 | 0.010495 | 203.1161 | 0.012848 | 203.2321 | 0.015008 | 203.3482 | 0.013147 | 203.4643 | 0.012262 | 203.5804 | 0.0088072 | 203.6965 | 0.012831 | 203.8125 | 0.014161 | 204.03 | 0.01274 | 204.1461 | 0.012818 | 204.2622 | 0.013708 | 204.3783 | 0.011713 | 204.4943 | 0.010243 | 204.6104 | 0.010848 | 204.7265 | 0.012497 | 204.8426 | 0.0095016 | 205.0601 | 0.014489 | 205.1762 | 0.0087382 | 205.2922 | 0.012978 | 205.4083 | 2.92 | 205.5244 | 0.012333 | 205.6405 | 0.01359 | 205.7566 | 0.011139 | 205.8727 | 0.01259 | 206.0901 | 0.0082517 | 206.2062 | 0.011922 | 206.3223 | 0.011255 | 206.4383 | 0.0072396 | 206.5544 | 0.0092798 | 206.6705 | 0.008761 | 206.7866 | 0.0078408 | 206.9026 | 0.00085128 | 207.1201 | 0.0073702 | 207.2362 | -0.00030538 | 207.3523
2.9115 | 210 | 0.010495 | 210.1161 | 0.012849 | 210.2321 | 0.015009 | 210.3482 | 0.013148 | 210.4643 | 0.012262 | 210.5804 | 0.008808 | 210.6965 | 0.012832 | 210.8126 | 0.014161 | 211.0301 | 0.01274 | 211.1461 | 0.012818 | 211.2622 | 0.013708 | 211.3783 | 0.011713 | 211.4944 | 0.010243 | 211.6105 | 0.010848 | 211.7265 | 0.012498 | 211.8426 | 0.0095019 | 212.0602 | 0.01449 | 212.1763 | 0.0087385 | 212.2924 | 0.012978 | 212.4085 | 2.92 | 212.5246 | 0.012333 | 212.6406 | 0.013589 | 212.7567 | 0.011139 | 212.8728 | 0.012589 | 213.0903 | 0.0082522 | 213.2063 | 0.011922 | 213.3224 | 0.011256 | 213.4385 | 0.0072399 | 213.5546 | 0.0092801 | 213.6706 | 0.0087617 | 213.7867 | 0.0078413 | 213.9028 | 0.00085144 | 214.1203 | 0.0073699 | 214.2364 | -0.00030496 | 214.3524
2.9115 | 216.9999 | 0.010496 | 217.1252 | 0.012851 | 217.2413 | 0.01501 | 217.3574 | 0.013149 | 217.4735 | 0.012262 | 217.5896 | 0.0088083 | 217.7056 | 0.012832 | 217.8217 | 0.014161 | 218.0392 | 0.012741 | 218.1553 | 0.012819 | 218.2714 | 0.013709 | 218.3874 | 0.011713 | 218.5035 | 0.010243 | 218.6196 | 0.010849 | 218.7357 | 0.012498 | 218.8518 | 0.009503 | 219.0693 | 0.01449 | 219.1854 | 0.008739 | 219.3014 | 0.012979 | 219.4175 | 2.92 | 219.5336 | 0.012333 | 219.6497 | 0.01359 | 219.7657 | 0.011139 | 219.8818 | 0.012589 | 220.0993 | 0.0082515 | 220.2154 | 0.011922 | 220.3315 | 0.011256 | 220.4476 | 0.0072398 | 220.5636 | 0.0092803 | 220.6797 | 0.0087617 | 220.7958 | 0.0078414 | 220.9119 | 0.00085137 | 221.1293 | 0.0073698 | 221.2454 | -0.00030511 | 221.3615
2.9115 | 224 | 0.010496 | 224.1161 | 0.012851 | 224.2321 | 0.01501 | 224.3482 | 0.013149 | 224.4643 | 0.012262 | 224.5804 | 0.008809 | 224.6965 | 0.012833 | 224.8125 | 0.01416 | 225.03 | 0.01274 | 225.1461 | 0.012818 | 225.2621 | 0.013708 | 225.3782 | 0.011711 | 225.4943 | 0.010243 | 225.6103 | 0.010848 | 225.7264 | 0.012498 | 225.8425 | 0.0095022 | 226.06 | 0.01449 | 226.1761 | 0.0087377 | 226.2922 | 0.012978 | 226.4083 | 2.92 | 226.5244 | 0.012332 | 226.6404 | 0.013588 | 226.7565 | 0.011136 | 226.8726 | 0.012587 | 227.09 | 0.0082513 | 227.2061 | 0.011921 | 227.3222 | 0.011254 | 227.4383 | 0.0072391 | 227.5544 | 0.0092791 | 227.6704 | 0.008761 | 227.7865 | 0.00784 | 227.9026 | 0.00085137 | 228.1201 | 0.0073687 | 228.2361 | -0.00030506 | 228.3522
2.9115 | 230.9999 | 0.010496 | 231.1161 | 0.01285 | 231.2322 | 0.01501 | 231.3482 | 0.013149 | 231.4643 | 0.012262 | 231.5804 | 0.0088086 | 231.6965 | 0.012831 | 231.8126 | 0.014159 | 232.03 | 0.012739 | 232.1461 | 0.012817 | 232.2623 | 0.013707 | 232.3784 | 0.011711 | 232.4945 | 0.010243 | 232.6105 | 0.010849 | 232.7266 | 0.012499 | 232.8427 | 0.0095023 | 233.0602 | 0.014491 | 233.1763 | 0.008738 | 233.2924 | 0.012979 | 233.4085 | 2.92 | 233.5245 | 0.012332 | 233.6406 | 0.013589 | 233.7567 | 0.011134 | 233.8728 | 0.012585 | 234.0902 | 0.0082513 | 234.2063 | 0.01192 | 234.3224 | 0.011253 | 234.4385 | 0.0072383 | 234.5545 | 0.0092783 | 234.6706 | 0.0087605 | 234.7867 | 0.0078392 | 234.9027 | 0.00085104 | 235.1202 | 0.0073676 | 235.2363 | -0.00030526 | 235.3524
2.9115 | 237.9999 | 0.010496 | 238.1161 | 0.01285 | 238.2321 | 0.015009 | 238.3482 | 0.013149 | 238.4643 | 0.012262 | 238.5804 | 0.0088084 | 238.6964 | 0.012832 | 238.8125 | 0.01416 | 239.03 | 0.012739 | 239.1461 | 0.012818 | 239.2622 | 0.013708 | 239.3782 | 0.011712 | 239.4943 | 0.010243 | 239.6104 | 0.010849 | 239.7264 | 0.012499 | 239.8425 | 0.0095025 | 240.06 | 0.014491 | 240.1761 | 0.0087381 | 240.2922 | 0.012978 | 240.4083 | 2.92 | 240.5243 | 0.012332 | 240.6404 | 0.013589 | 240.7565 | 0.011133 | 240.8725 | 0.012584 | 241.09 | 0.0082512 | 241.2061 | 0.01192 | 241.3222 | 0.011253 | 241.4383 | 0.0072382 | 241.5543 | 0.0092789 | 241.6704 | 0.008761 | 241.7865 | 0.0078399 | 241.9026 | 0.00085125 | 242.12 | 0.0073677 | 242.2361 | -0.00030561 | 242.3523
2.9115 | 245 | 0.010496 | 245.1161 | 0.01285 | 245.2321 | 0.015009 | 245.3482 | 0.013148 | 245.4643 | 0.012261 | 245.5804 | 0.0088085 | 245.6964 | 0.012832 | 245.8125 | 0.01416 | 246.03 | 0.012739 | 246.146 | 0.012817 | 246.2621 | 0.013708 | 246.3782 | 0.011712 | 246.4942 | 0.010243 | 246.6103 | 0.010849 | 246.7264 | 0.012499 | 246.8425 | 0.0095027 | 247.06 | 0.014491 | 247.1761 | 0.0087381 | 247.2922 | 0.012978 | 247.4084 | 2.92 | 247.5245 | 0.012332 | 247.6406 | 0.01359 | 247.7566 | 0.011134 | 247.8727 | 0.012585 | 248.0902 | 0.0082517 | 248.2062 | 0.011921 | 248.3223 | 0.011254 | 248.4384 | 0.0072388 | 248.5545 | 0.0092793 | 248.6706 | 0.0087609 | 248.7867 | 0.0078402 | 248.9027 | 0.00085103 | 249.1202 | 0.0073688 | 249.2363 | -0.00030539 | 249.3524
2.9115 | 252 | 0.010496 | 252.1161 | 0.01285 | 252.2321 | 0.01501 | 252.3482 | 0.013149 | 252.4644 | 0.012263 | 252.5805 | 0.0088087 | 252.6966 | 0.012832 | 252.8127 | 0.01416 | 253.0301 | 0.012739 | 253.1462 | 0.012817 | 253.2623 | 0.013707 | 253.3784 | 0.011712 | 253.4944 | 0.010244 | 253.6105 | 0.010849 | 253.7266 | 0.0125 | 253.8427 | 0.0095034 | 254.0602 | 0.014491 | 254.1763 | 0.0087388 | 254.2924 | 0.012979 | 254.4085 | 2.92 | 254.5246 | 0.012333 | 254.6406 | 0.01359 | 254.7567 | 0.011137 | 254.8728 | 0.012588 | 255.0903 | 0.0082527 | 255.2063 | 0.011921 | 255.3224 | 0.011255 | 255.4385 | 0.0072395 | 255.5546 | 0.0092797 | 255.6706 | 0.0087616 | 255.7867 | 0.0078407 | 255.9028 | 0.0008512 | 256.1203 | 0.0073688 | 256.2363 | -0.00030509 | 256.3524
2.9115 | 259 | 0.010497 | 259.1161 | 0.012851 | 259.2322 | 0.015009 | 259.3482 | 0.013149 | 259.4643 | 0.012263 | 259.5804 | 0.0088086 | 259.6965 | 0.012832 | 259.8126 | 0.014161 | 260.03 | 0.01274 | 260.1461 | 0.012817 | 260.2622 | 0.013708 | 260.3782 | 0.011712 | 260.4943 | 0.010244 | 260.6104 | 0.010849 | 260.7264 | 0.0125 | 260.8425 | 0.0095032 | 261.06 | 0.014492 | 261.1761 | 0.0087393 | 261.2922 | 0.012981 | 261.4082 | 2.9199 | 261.5243 | 0.012333 | 261.6404 | 0.01359 | 261.7565 | 0.011138 | 261.8725 | 0.012588 | 262.09 | 0.0082528 | 262.2061 | 0.011921 | 262.3222 | 0.011254 | 262.4382 | 0.0072394 | 262.5544 | 0.0092797 | 262.6705 | 0.0087615 | 262.7866 | 0.0078408 | 262.9026 | 0.00085148 | 263.1201 | 0.0073694 | 263.2362 | -0.00030496 | 263.3523
2.9115 | 266 | 0.010497 | 266.1161 | 0.01285 | 266.2322 | 0.01501 | 266.3482 | 0.013149 | 266.4643 | 0.012263 | 266.5804 | 0.0088086 | 266.6965 | 0.012832 | 266.8126 | 0.014162 | 267.03 | 0.012741 | 267.1461 | 0.012818 | 267.2622 | 0.013709 | 267.3783 | 0.011715 | 267.4943 | 0.010245 | 267.6105 | 0.01085 | 267.7267 | 0.012502 | 267.8427 | 0.0095046 | 268.0603 | 0.014492 | 268.1763 | 0.0087398 | 268.2924 | 0.012981 | 268.4085 | 2.92 | 268.5246 | 0.012334 | 268.6406 | 0.013589 | 268.7567 | 0.011138 | 268.8728 | 0.012588 | 269.0902 | 0.0082528 | 269.2063 | 0.011921 | 269.3224 | 0.011255 | 269.4385 | 0.0072398 | 269.5546 | 0.0092801 | 269.6707 | 0.008762 | 269.7867 | 0.0078408 | 269.9028 | 0.00085124 | 270.1203 | 0.0073696 | 270.2364 | -0.00030542 | 270.3524
2.9116 | 272.9999 | 0.010497 | 273.1161 | 0.012851 | 273.2322 | 0.015009 | 273.3482 | 0.013149 | 273.4643 | 0.012263 | 273.5804 | 0.0088091 | 273.6965 | 0.012831 | 273.8125 | 0.014161 | 274.03 | 0.012742 | 274.1461 | 0.012817 | 274.2621 | 0.013708 | 274.3782 | 0.011713 | 274.4943 | 0.010244 | 274.6103 | 0.01085 | 274.7264 | 0.012502 | 274.8425 | 0.0095041 | 275.06 | 0.014493 | 275.1761 | 0.0087404 | 275.2922 | 0.012982 | 275.4083 | 2.92 | 275.5243 | 0.012333 | 275.6404 | 0.013589 | 275.7565 | 0.011135 | 275.8726 | 0.012586 | 276.09 | 0.0082522 | 276.2061 | 0.011921 | 276.3222 | 0.011254 | 276.4383 | 0.0072394 | 276.5543 | 0.0092795 | 276.6704 | 0.0087612 | 276.7865 | 0.0078404 | 276.9026 | 0.00085121 | 277.12 | 0.0073684 | 277.2361 | -0.0003047 | 277.3522
2.9115 | 280 | 0.010496 | 280.1161 | 0.01285 | 280.2321 | 0.015009 | 280.3482 | 0.013148 | 280.4643 | 0.012261 | 280.5804 | 0.0088083 | 280.6964 | 0.012831 | 280.8125 | 0.014161 | 281.03 | 0.012741 | 281.1461 | 0.012818 | 281.2622 | 0.013709 | 281.3783 | 0.011712 | 281.4943 | 0.010244 | 281.6104 | 0.010848 | 281.7265 | 0.012501 | 281.8425 | 0.0095039 | 282.0601 | 0.014494 | 282.1761 | 0.0087399 | 282.2922 | 0.012981 | 282.4083 | 2.92 | 282.5244 | 0.012333 | 282.6404 | 0.013589 | 282.7566 | 0.011134 | 282.8727 | 0.012585 | 283.0902 | 0.0082518 | 283.2063 | 0.01192 | 283.3224 | 0.011254 | 283.4385 | 0.0072395 | 283.5545 | 0.0092795 | 283.6706 | 0.008761 | 283.7867 | 0.0078404 | 283.9028 | 0.0008509 | 284.1202 | 0.007369 | 284.2363 | -0.00030542 | 284.3524
2.9116 | 286.9999 | 0.010495 | 287.1161 | 0.012849 | 287.2322 | 0.015009 | 287.3482 | 0.013148 | 287.4643 | 0.012262 | 287.5804 | 0.008808 | 287.6964 | 0.012831 | 287.8126 | 0.014161 | 288.0301 | 0.012741 | 288.1462 | 0.012819 | 288.2623 | 0.01371 | 288.3784 | 0.011713 | 288.4944 | 0.010244 | 288.6105 | 0.01085 | 288.7266 | 0.012501 | 288.8427 | 0.0095039 | 289.0602 | 0.014494 | 289.1762 | 0.0087404 | 289.2923 | 0.012981 | 289.4084 | 2.92 | 289.5245 | 0.012333 | 289.6406 | 0.01359 | 289.7566 | 0.011135 | 289.8727 | 0.012586 | 290.0902 | 0.0082516 | 290.2063 | 0.011921 | 290.3223 | 0.011255 | 290.4384 | 0.0072398 | 290.5545 | 0.00928 | 290.6706 | 0.0087616 | 290.7866 | 0.0078406 | 290.9027 | 0.00085074 | 291.1202 | 0.0073694 | 291.2362 | -0.00030565 | 291.3523
2.9116 | 293.9999 | 0.010496 | 294.116 | 0.01285 | 294.2321 | 0.015009 | 294.3482 | 0.013149 | 294.4643 | 0.012263 | 294.5804 | 0.0088082 | 294.6965 | 0.012831 | 294.8126 | 0.014162 | 295.03 | 0.012742 | 295.1461 | 0.01282 | 295.2622 | 0.013711 | 295.3783 | 0.011714 | 295.4944 | 0.010245 | 295.6105 | 0.01085 | 295.7265 | 0.012501 | 295.8426 | 0.0095046 | 296.0601 | 0.014493 | 296.1762 | 0.0087398 | 296.2923 | 0.012982 | 296.4084 | 2.92 | 296.5245 | 0.012333 | 296.6405 | 0.013591 | 296.7566 | 0.011136 | 296.8727 | 0.012586 | 297.0901 | 0.0082525 | 297.2062 | 0.011922 | 297.3223 | 0.011256 | 297.4384 | 0.0072402 | 297.5545 | 0.0092808 | 297.6705 | 0.0087624 | 297.7866 | 0.0078418 | 297.9028 | 0.00085129 | 298.1203 | 0.0073701 | 298.2364 | -0.00030509 | 298.3525
2.9116 | 300.9999 | 0.010497 | 301.116 | 0.012851 | 301.2321 | 0.01501 | 301.3482 | 0.013149 | 301.4643 | 0.012263 | 301.5804 | 0.0088089 | 301.6965 | 0.012832 | 301.8125 | 0.014162 | 302.03 | 0.012742 | 302.1461 | 0.012819 | 302.2622 | 0.013711 | 302.3783 | 0.011715 | 302.4944 | 0.010244 | 302.6104 | 0.01085 | 302.7265 | 0.012502 | 302.8426 | 0.0095045 | 303.0602 | 0.014494 | 303.1762 | 0.0087405 | 303.2923 | 0.012982 | 303.4084 | 2.92 | 303.5245 | 0.012334 | 303.6406 | 0.013592 | 303.7566 | 0.011138 | 303.8727 | 0.01259 | 304.0902 | 0.0082535 | 304.2063 | 0.011923 | 304.3224 | 0.011257 | 304.4385 | 0.0072411 | 304.5546 | 0.0092816 | 304.6706 | 0.0087629 | 304.7867 | 0.0078418 | 304.9028 | 0.00085177 | 305.1203 | 0.0073711 | 305.2363 | -0.00030482 | 305.3524
2.9116 | 308 | 0.010496 | 308.1161 | 0.012851 | 308.2322 | 0.01501 | 308.3482 | 0.01315 | 308.4643 | 0.012263 | 308.5804 | 0.0088092 | 308.6965 | 0.012832 | 308.8125 | 0.014163 | 309.03 | 0.012743 | 309.1461 | 0.01282 | 309.2622 | 0.013711 | 309.3782 | 0.011714 | 309.4943 | 0.010246 | 309.6104 | 0.010851 | 309.7265 | 0.012502 | 309.8426 | 0.0095057 | 310.0601 | 0.014494 | 310.1762 | 0.0087417 | 310.2922 | 0.012983 | 310.4083 | 2.92 | 310.5244 | 0.012335 | 310.6405 | 0.013591 | 310.7565 | 0.011138 | 310.8726 | 0.01259 | 311.0901 | 0.0082546 | 311.2062 | 0.011924 | 311.3223 | 0.011257 | 311.4384 | 0.0072416 | 311.5544 | 0.0092818 | 311.6705 | 0.0087632 | 311.7866 | 0.0078427 | 311.9026 | 0.00085176 | 312.1201 | 0.0073717 | 312.2362 | -0.00030502 | 312.3522
2.9115 | 314.9999 | 0.010497 | 315.1161 | 0.012851 | 315.2322 | 0.015011 | 315.3482 | 0.01315 | 315.4643 | 0.012263 | 315.5804 | 0.0088091 | 315.6965 | 0.012832 | 315.8125 | 0.014164 | 316.03 | 0.012744 | 316.1461 | 0.01282 | 316.2622 | 0.013711 | 316.3782 | 0.011714 | 316.4943 | 0.010246 | 316.6104 | 0.010851 | 316.7265 | 0.012502 | 316.8426 | 0.0095062 | 317.0601 | 0.014495 | 317.1761 | 0.008742 | 317.2922 | 0.012983 | 317.4083 | 2.92 | 317.5244 | 0.012335 | 317.6405 | 0.013592 | 317.7566 | 0.01114 | 317.8726 | 0.012591 | 318.0902 | 0.0082549 | 318.2063 | 0.011924 | 318.3224 | 0.011258 | 318.4385 | 0.0072424 | 318.5546 | 0.0092823 | 318.6707 | 0.0087638 | 318.7867 | 0.0078428 | 318.9028 | 0.00085199 | 319.1203 | 0.007372 | 319.2364 | -0.00030447 | 319.3524
2.9115 | 322 | 0.010498 | 322.1161 | 0.012852 | 322.2321 | 0.015011 | 322.3482 | 0.013151 | 322.4643 | 0.012264 | 322.5804 | 0.0088094 | 322.6965 | 0.012833 | 322.8125 | 0.014164 | 323.03 | 0.012744 | 323.1462 | 0.012821 | 323.2623 | 0.013712 | 323.3784 | 0.011715 | 323.4945 | 0.010246 | 323.6105 | 0.010852 | 323.7266 | 0.012502 | 323.8427 | 0.0095057 | 324.0602 | 0.014494 | 324.1763 | 0.0087415 | 324.2924 | 0.012983 | 324.4085 | 2.9199 | 324.5245 | 0.012336 | 324.6406 | 0.013593 | 324.7567 | 0.01114 | 324.8728 | 0.012591 | 325.0902 | 0.0082554 | 325.2063 | 0.011924 | 325.3224 | 0.011257 | 325.4385 | 0.0072421 | 325.5545 | 0.0092823 | 325.6706 | 0.0087639 | 325.7867 | 0.0078432 | 325.9028 | 0.00085208 | 326.1202 | 0.0073715 | 326.2363 | -0.00030435 | 326.3524
2.9115 | 328.9999 | 0.010499 | 329.1161 | 0.012852 | 329.2322 | 0.015011 | 329.3482 | 0.013151 | 329.4643 | 0.012264 | 329.5804 | 0.0088096 | 329.6965 | 0.012834 | 329.8126 | 0.014164 | 330.03 | 0.012743 | 330.1461 | 0.012821 | 330.2622 | 0.013712 | 330.3782 | 0.011716 | 330.4943 | 0.010246 | 330.6104 | 0.010851 | 330.7265 | 0.012502 | 330.8426 | 0.0095064 | 331.0601 | 0.014495 | 331.1762 | 0.0087413 | 331.2922 | 0.012983 | 331.4083 | 2.9199 | 331.5244 | 0.012336 | 331.6405 | 0.013592 | 331.7566 | 0.011138 | 331.8726 | 0.012589 | 332.0901 | 0.0082552 | 332.2062 | 0.011925 | 332.3223 | 0.011258 | 332.4383 | 0.0072422 | 332.5544 | 0.0092826 | 332.6705 | 0.0087637 | 332.7866 | 0.0078431 | 332.9026 | 0.0008519 | 333.1201 | 0.0073718 | 333.2363 | -0.00030439 | 333.3524
2.9115 | 336 | 0.010499 | 336.1161 | 0.012853 | 336.2321 | 0.015012 | 336.3482 | 0.013151 | 336.4643 | 0.012265 | 336.5804 | 0.0088098 | 336.6965 | 0.012834 | 336.8125 | 0.014164 | 337.03 | 0.012743 | 337.1461 | 0.012821 | 337.2622 | 0.013712 | 337.3782 | 0.011715 | 337.4943 | 0.010247 | 337.6104 | 0.010852 | 337.7265 | 0.012503 | 337.8425 | 0.0095062 | 338.0601 | 0.014496 | 338.1761 | 0.0087419 | 338.2923 | 0.012983 | 338.4085 | 2.92 | 338.5246 | 0.012336 | 338.6406 | 0.013592 | 338.7567 | 0.011137 | 338.8728 | 0.012588 | 339.0903 | 0.0082555 | 339.2063 | 0.011925 | 339.3224 | 0.011259 | 339.4385 | 0.0072426 | 339.5546 | 0.0092834 | 339.6706 | 0.008764 | 339.7867 | 0.0078436 | 339.9028 | 0.00085191 | 340.1202 | 0.007372 | 340.2363 | -0.00030433 | 340.3524
2.9115 | 342.9999 | 0.010498 | 343.1161 | 0.012852 | 343.2321 | 0.015012 | 343.3483 | 0.013151 | 343.4644 | 0.012265 | 343.5805 | 0.0088099 | 343.6966 | 0.012834 | 343.8127 | 0.014164 | 344.0301 | 0.012743 | 344.1462 | 0.012822 | 344.2623 | 0.013712 | 344.3783 | 0.011716 | 344.4944 | 0.010247 | 344.6105 | 0.010853 | 344.7266 | 0.012504 | 344.8426 | 0.0095068 | 345.0601 | 0.014496 | 345.1762 | 0.0087425 | 345.2923 | 0.012984 | 345.4084 | 2.92 | 345.5245 | 0.012337 | 345.6405 | 0.013594 | 345.7566 | 0.011138 | 345.8727 | 0.012589 | 346.0902 | 0.0082561 | 346.2062 | 0.011926 | 346.3223 | 0.011258 | 346.4384 | 0.0072422 | 346.5544 | 0.0092831 | 346.6705 | 0.0087645 | 346.7866 | 0.0078436 | 346.9027 | 0.00085228 | 347.1201 | 0.0073719 | 347.2362 | -0.00030449 | 347.3523