## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-18
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-18
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9115 | 0 | 0.0105 | 0.11615 | 0.012853 | 0.23226 | 0.015023 | 0.34832 | 0.013152 | 0.46441 | 0.012354 | 0.58049 | 0.0088062 | 0.69657 | 0.01277 | 0.81265 | 0.014123 | 1.0301 | 0.012709 | 1.1462 | 0.012837 | 1.2622 | 0.013751 | 1.3783 | 0.011699 | 1.4944 | 0.010245 | 1.6105 | 0.010861 | 1.7265 | 0.012495 | 1.8426 | 0.0095084 | 2.0601 | 0.0145 | 2.1762 | 0.0087507 | 2.2923 | 0.012977 | 2.4083 | 2.92 | 2.5244 | 0.012332 | 2.6405 | 0.013596 | 2.7566 | 0.011138 | 2.8726 | 0.012594 | 3.0901 | 0.0082567 | 3.2062 | 0.011922 | 3.3223 | 0.011274 | 3.4384 | 0.007226 | 3.5545 | 0.0092848 | 3.6705 | 0.008762 | 3.7866 | 0.0078397 | 3.9027 | 0.00085089 | 4.1202 | 0.0073737 | 4.2362 | -0.00029064 | 4.3523
2.9115 | 6.9997 | 0.0105 | 7.1158 | 0.012854 | 7.2319 | 0.015023 | 7.348 | 0.013153 | 7.4641 | 0.012356 | 7.5801 | 0.0088063 | 7.6962 | 0.01277 | 7.8123 | 0.014124 | 8.0298 | 0.01271 | 8.1458 | 0.012837 | 8.2619 | 0.01375 | 8.378 | 0.011699 | 8.4941 | 0.010245 | 8.6101 | 0.010861 | 8.7262 | 0.012496 | 8.8423 | 0.0095093 | 9.0598 | 0.014501 | 9.1759 | 0.0087512 | 9.292 | 0.012978 | 9.4081 | 2.9199 | 9.5241 | 0.012332 | 9.6402 | 0.013597 | 9.7563 | 0.011137 | 9.8724 | 0.012593 | 10.0899 | 0.0082571 | 10.206 | 0.011922 | 10.322 | 0.011275 | 10.4381 | 0.0072264 | 10.5542 | 0.009285 | 10.6703 | 0.0087624 | 10.7863 | 0.00784 | 10.9024 | 0.00085091 | 11.1199 | 0.0073745 | 11.2359 | -0.00029062 | 11.352
2.9115 | 13.9997 | 0.0105 | 14.1158 | 0.012854 | 14.2319 | 0.015024 | 14.348 | 0.013153 | 14.464 | 0.012355 | 14.5801 | 0.0088067 | 14.6962 | 0.01277 | 14.8123 | 0.014125 | 15.0297 | 0.01271 | 15.1458 | 0.012838 | 15.2619 | 0.013751 | 15.378 | 0.011701 | 15.4941 | 0.010246 | 15.6102 | 0.010861 | 15.7263 | 0.012497 | 15.8423 | 0.0095093 | 16.0598 | 0.014502 | 16.1759 | 0.0087515 | 16.292 | 0.012979 | 16.4081 | 2.9199 | 16.5242 | 0.012332 | 16.6403 | 0.013598 | 16.7564 | 0.011138 | 16.8724 | 0.012593 | 17.0899 | 0.0082573 | 17.206 | 0.011922 | 17.322 | 0.011276 | 17.4381 | 0.0072263 | 17.5542 | 0.0092852 | 17.6703 | 0.0087622 | 17.7863 | 0.0078405 | 17.9024 | 0.0008507 | 18.1199 | 0.0073753 | 18.236 | -0.00029 | 18.352
2.9115 | 20.9997 | 0.0105 | 21.1158 | 0.012852 | 21.2319 | 0.015023 | 21.348 | 0.013153 | 21.464 | 0.012354 | 21.5801 | 0.0088063 | 21.6962 | 0.012769 | 21.8123 | 0.014126 | 22.0298 | 0.012711 | 22.1458 | 0.012841 | 22.2619 | 0.013753 | 22.378 | 0.011702 | 22.4941 | 0.010247 | 22.6101 | 0.010863 | 22.7262 | 0.012497 | 22.8423 | 0.00951 | 23.0598 | 0.014503 | 23.1759 | 0.0087519 | 23.292 | 0.012979 | 23.4081 | 2.9199 | 23.5241 | 0.012332 | 23.6402 | 0.013598 | 23.7563 | 0.011138 | 23.8724 | 0.012592 | 24.0899 | 0.0082574 | 24.2059 | 0.011922 | 24.322 | 0.011276 | 24.4381 | 0.0072266 | 24.5542 | 0.0092854 | 24.6702 | 0.0087629 | 24.7863 | 0.0078409 | 24.9024 | 0.00085092 | 25.1198 | 0.0073758 | 25.236 | -0.00029034 | 25.3521
2.9115 | 27.9997 | 0.0105 | 28.1158 | 0.012853 | 28.2319 | 0.015023 | 28.348 | 0.013152 | 28.464 | 0.012353 | 28.5801 | 0.0088061 | 28.6962 | 0.012769 | 28.8123 | 0.014126 | 29.0297 | 0.012711 | 29.1458 | 0.01284 | 29.2619 | 0.013753 | 29.378 | 0.011702 | 29.4941 | 0.010246 | 29.6101 | 0.010863 | 29.7262 | 0.012497 | 29.8423 | 0.00951 | 30.0598 | 0.014502 | 30.1759 | 0.0087518 | 30.2921 | 0.012979 | 30.4082 | 2.9199 | 30.5243 | 0.012333 | 30.6404 | 0.013599 | 30.7564 | 0.011137 | 30.8725 | 0.012591 | 31.09 | 0.0082582 | 31.2061 | 0.011921 | 31.3221 | 0.011276 | 31.4382 | 0.0072265 | 31.5543 | 0.0092858 | 31.6704 | 0.0087625 | 31.7865 | 0.0078405 | 31.9025 | 0.00085115 | 32.12 | 0.0073751 | 32.2361 | -0.0002902 | 32.3522
2.9115 | 34.9997 | 0.010499 | 35.1158 | 0.012853 | 35.2319 | 0.015023 | 35.3538 | 0.013152 | 35.4699 | 0.012354 | 35.586 | 0.008806 | 35.702 | 0.012769 | 35.8181 | 0.014127 | 36.0356 | 0.012711 | 36.1517 | 0.01284 | 36.2677 | 0.013752 | 36.3838 | 0.011702 | 36.4999 | 0.010246 | 36.616 | 0.010862 | 36.7321 | 0.012497 | 36.8481 | 0.0095099 | 37.0657 | 0.014502 | 37.1818 | 0.0087518 | 37.2978 | 0.012978 | 37.4139 | 2.9199 | 37.53 | 0.012333 | 37.6461 | 0.013599 | 37.7621 | 0.011138 | 37.8782 | 0.012593 | 38.0957 | 0.0082584 | 38.2118 | 0.011921 | 38.3278 | 0.011276 | 38.4439 | 0.0072265 | 38.56 | 0.0092855 | 38.6761 | 0.0087622 | 38.7921 | 0.0078401 | 38.9082 | 0.0008508 | 39.1257 | 0.0073754 | 39.2418 | -0.00028976 | 39.3579
2.9115 | 41.9997 | 0.010499 | 42.1158 | 0.012853 | 42.2319 | 0.015023 | 42.348 | 0.013151 | 42.464 | 0.012354 | 42.5801 | 0.0088061 | 42.6962 | 0.012769 | 42.8122 | 0.014127 | 43.0297 | 0.012711 | 43.1458 | 0.012839 | 43.2619 | 0.013752 | 43.378 | 0.011702 | 43.4941 | 0.010246 | 43.6101 | 0.010862 | 43.7262 | 0.012496 | 43.8423 | 0.0095098 | 44.0598 | 0.014502 | 44.1759 | 0.0087515 | 44.292 | 0.012978 | 44.408 | 2.9199 | 44.5241 | 0.012333 | 44.6402 | 0.013598 | 44.7563 | 0.011139 | 44.8724 | 0.012595 | 45.0898 | 0.0082583 | 45.2059 | 0.011922 | 45.322 | 0.011275 | 45.4384 | 0.0072264 | 45.5545 | 0.0092852 | 45.6706 | 0.0087623 | 45.7866 | 0.0078403 | 45.9027 | 0.00085047 | 46.1202 | 0.0073748 | 46.2363 | -0.0002899 | 46.3524
2.9115 | 48.9997 | 0.010499 | 49.1158 | 0.012853 | 49.2319 | 0.015023 | 49.3479 | 0.013152 | 49.464 | 0.012353 | 49.5801 | 0.0088054 | 49.6961 | 0.012769 | 49.8122 | 0.014126 | 50.0297 | 0.012711 | 50.1458 | 0.012839 | 50.2619 | 0.013752 | 50.3779 | 0.011702 | 50.5021 | 0.010245 | 50.6182 | 0.010861 | 50.7343 | 0.012496 | 50.8504 | 0.0095097 | 51.0679 | 0.014501 | 51.184 | 0.0087516 | 51.3001 | 0.012978 | 51.4162 | 2.9199 | 51.5323 | 0.012333 | 51.6483 | 0.013599 | 51.7644 | 0.01114 | 51.8805 | 0.012595 | 52.098 | 0.0082588 | 52.214 | 0.011921 | 52.3301 | 0.011276 | 52.4462 | 0.0072271 | 52.5623 | 0.0092859 | 52.6784 | 0.0087628 | 52.7944 | 0.007841 | 52.9105 | 0.00085031 | 53.128 | 0.0073753 | 53.2441 | -0.00028986 | 53.3601
2.9115 | 55.9997 | 0.0105 | 56.1158 | 0.012853 | 56.2319 | 0.015023 | 56.348 | 0.013152 | 56.4641 | 0.012354 | 56.5801 | 0.0088054 | 56.6962 | 0.012769 | 56.8123 | 0.014127 | 57.0297 | 0.012712 | 57.1458 | 0.012839 | 57.2619 | 0.013752 | 57.3779 | 0.011701 | 57.494 | 0.010245 | 57.6101 | 0.010862 | 57.7262 | 0.012496 | 57.8423 | 0.0095098 | 58.0598 | 0.014501 | 58.1759 | 0.0087518 | 58.2919 | 0.012978 | 58.408 | 2.9199 | 58.5241 | 0.012334 | 58.6402 | 0.013599 | 58.7562 | 0.01114 | 58.8723 | 0.012594 | 59.0898 | 0.0082588 | 59.2059 | 0.011922 | 59.322 | 0.011276 | 59.4381 | 0.0072273 | 59.5541 | 0.0092856 | 59.6702 | 0.0087626 | 59.7863 | 0.0078409 | 59.9024 | 0.00085089 | 60.1198 | 0.0073755 | 60.2359 | -0.00029034 | 60.352
2.9115 | 62.9997 | 0.0105 | 63.1158 | 0.012854 | 63.2319 | 0.015023 | 63.3479 | 0.013152 | 63.464 | 0.012354 | 63.5801 | 0.0088057 | 63.6962 | 0.012769 | 63.8123 | 0.014126 | 64.0298 | 0.012712 | 64.1458 | 0.012839 | 64.2619 | 0.013752 | 64.378 | 0.011701 | 64.4941 | 0.010246 | 64.6101 | 0.010862 | 64.7262 | 0.012496 | 64.8423 | 0.0095093 | 65.0598 | 0.014501 | 65.1759 | 0.0087521 | 65.2919 | 0.012978 | 65.408 | 2.9199 | 65.5241 | 0.012333 | 65.6405 | 0.013598 | 65.7566 | 0.011139 | 65.8727 | 0.012593 | 66.0902 | 0.0082588 | 66.2063 | 0.011923 | 66.3224 | 0.011277 | 66.4384 | 0.0072274 | 66.5545 | 0.009286 | 66.6706 | 0.0087624 | 66.7867 | 0.0078409 | 66.9028 | 0.00085111 | 67.1202 | 0.0073761 | 67.2363 | -0.00029016 | 67.3524
2.9115 | 69.9997 | 0.0105 | 70.1158 | 0.012854 | 70.2319 | 0.015024 | 70.348 | 0.013152 | 70.464 | 0.012356 | 70.5801 | 0.0088065 | 70.7043 | 0.012769 | 70.8204 | 0.014126 | 71.0378 | 0.012711 | 71.1539 | 0.012839 | 71.27 | 0.013751 | 71.3861 | 0.011701 | 71.5022 | 0.010246 | 71.6183 | 0.010862 | 71.7343 | 0.012496 | 71.8504 | 0.0095097 | 72.0679 | 0.014501 | 72.184 | 0.0087516 | 72.3001 | 0.012978 | 72.4162 | 2.9199 | 72.5323 | 0.012333 | 72.6484 | 0.0136 | 72.7644 | 0.011138 | 72.8805 | 0.012592 | 73.098 | 0.0082585 | 73.2141 | 0.011922 | 73.3301 | 0.011277 | 73.4462 | 0.0072276 | 73.5623 | 0.0092859 | 73.6784 | 0.0087631 | 73.7945 | 0.007841 | 73.9106 | 0.00085061 | 74.128 | 0.0073762 | 74.2441 | -0.00029006 | 74.3602
2.9115 | 76.9997 | 0.0105 | 77.1158 | 0.012854 | 77.2319 | 0.015024 | 77.348 | 0.013153 | 77.4641 | 0.012354 | 77.5802 | 0.0088063 | 77.6962 | 0.012769 | 77.8123 | 0.014127 | 78.0298 | 0.012712 | 78.1459 | 0.01284 | 78.262 | 0.013752 | 78.378 | 0.011702 | 78.4941 | 0.010246 | 78.6102 | 0.010863 | 78.7263 | 0.012497 | 78.8424 | 0.0095102 | 79.0599 | 0.014502 | 79.176 | 0.0087519 | 79.2921 | 0.012978 | 79.4081 | 2.92 | 79.5242 | 0.012333 | 79.6403 | 0.0136 | 79.7564 | 0.011138 | 79.8725 | 0.012592 | 80.09 | 0.008259 | 80.206 | 0.011922 | 80.3221 | 0.011276 | 80.4382 | 0.0072275 | 80.5543 | 0.0092857 | 80.6703 | 0.0087628 | 80.7865 | 0.0078411 | 80.9026 | 0.00085085 | 81.1201 | 0.0073754 | 81.2362 | -0.00028973 | 81.3523
2.9115 | 83.9997 | 0.010499 | 84.1158 | 0.012853 | 84.2319 | 0.015023 | 84.3479 | 0.013152 | 84.464 | 0.012354 | 84.5801 | 0.008806 | 84.6962 | 0.012769 | 84.8123 | 0.014126 | 85.0297 | 0.012711 | 85.1458 | 0.012839 | 85.2619 | 0.013752 | 85.378 | 0.011702 | 85.4941 | 0.010245 | 85.6101 | 0.010862 | 85.7262 | 0.012496 | 85.8426 | 0.0095093 | 86.0602 | 0.014501 | 86.1763 | 0.0087514 | 86.2923 | 0.012978 | 86.4084 | 2.9199 | 86.5245 | 0.012333 | 86.6406 | 0.0136 | 86.7566 | 0.011138 | 86.8727 | 0.012592 | 87.0902 | 0.0082597 | 87.2063 | 0.011922 | 87.3224 | 0.011275 | 87.4384 | 0.0072271 | 87.5545 | 0.0092854 | 87.6706 | 0.0087627 | 87.7867 | 0.0078401 | 87.9028 | 0.00085092 | 88.1202 | 0.0073753 | 88.2363 | -0.00029025 | 88.3524
2.9115 | 90.9997 | 0.010499 | 91.1158 | 0.012854 | 91.2319 | 0.015022 | 91.348 | 0.013151 | 91.4641 | 0.012353 | 91.5802 | 0.008806 | 91.6962 | 0.012769 | 91.8123 | 0.014126 | 92.0298 | 0.012711 | 92.1459 | 0.012838 | 92.2619 | 0.013751 | 92.378 | 0.011701 | 92.4941 | 0.010244 | 92.6101 | 0.01086 | 92.7262 | 0.012494 | 92.8423 | 0.0095083 | 93.0598 | 0.014501 | 93.1759 | 0.0087505 | 93.292 | 0.012977 | 93.4081 | 2.9199 | 93.5242 | 0.012333 | 93.6402 | 0.013598 | 93.7563 | 0.011139 | 93.8724 | 0.012593 | 94.0898 | 0.00826 | 94.2059 | 0.011921 | 94.322 | 0.011274 | 94.4381 | 0.0072265 | 94.5542 | 0.0092845 | 94.6703 | 0.0087617 | 94.7863 | 0.0078401 | 94.9024 | 0.00085078 | 95.1199 | 0.0073745 | 95.236 | -0.00029 | 95.3521
2.9115 | 97.9997 | 0.0105 | 98.1158 | 0.012853 | 98.2319 | 0.015023 | 98.348 | 0.013151 | 98.4641 | 0.012353 | 98.5802 | 0.0088057 | 98.6962 | 0.012768 | 98.8123 | 0.014126 | 99.0298 | 0.012711 | 99.1459 | 0.012837 | 99.2619 | 0.01375 | 99.378 | 0.0117 | 99.4941 | 0.010243 | 99.6102 | 0.010859 | 99.7263 | 0.012494 | 99.8424 | 0.0095077 | 100.0599 | 0.014499 | 100.176 | 0.0087499 | 100.2921 | 0.012976 | 100.4081 | 2.9199 | 100.5242 | 0.012332 | 100.6403 | 0.013598 | 100.7564 | 0.011139 | 100.8724 | 0.012593 | 101.09 | 0.0082584 | 101.206 | 0.01192 | 101.3221 | 0.011274 | 101.4382 | 0.0072261 | 101.5543 | 0.0092842 | 101.6704 | 0.0087614 | 101.7865 | 0.0078391 | 101.9025 | 0.00085061 | 102.12 | 0.0073744 | 102.2361 | -0.00029047 | 102.3521
2.9115 | 104.9997 | 0.010499 | 105.1158 | 0.012852 | 105.2319 | 0.015022 | 105.348 | 0.013151 | 105.4641 | 0.012353 | 105.5801 | 0.0088049 | 105.6962 | 0.012768 | 105.8123 | 0.014126 | 106.0385 | 0.01271 | 106.1546 | 0.012837 | 106.2707 | 0.01375 | 106.3868 | 0.011701 | 106.5028 | 0.010243 | 106.6189 | 0.01086 | 106.735 | 0.012494 | 106.8511 | 0.0095079 | 107.0686 | 0.014499 | 107.1846 | 0.0087507 | 107.3007 | 0.012976 | 107.4168 | 2.9199 | 107.5329 | 0.012332 | 107.649 | 0.013599 | 107.7651 | 0.011141 | 107.8812 | 0.012595 | 108.0986 | 0.0082574 | 108.2147 | 0.011919 | 108.3308 | 0.011274 | 108.4469 | 0.0072257 | 108.5629 | 0.0092839 | 108.679 | 0.0087614 | 108.7951 | 0.0078393 | 108.9112 | 0.00085 | 109.1286 | 0.0073741 | 109.2447 | -0.00029048 | 109.3608
2.9115 | 111.9997 | 0.0105 | 112.1158 | 0.012852 | 112.2319 | 0.015022 | 112.348 | 0.013151 | 112.4641 | 0.012352 | 112.5802 | 0.0088048 | 112.6962 | 0.012767 | 112.8123 | 0.014126 | 113.0298 | 0.012711 | 113.1459 | 0.012838 | 113.2619 | 0.01375 | 113.378 | 0.011701 | 113.4941 | 0.010244 | 113.6102 | 0.010861 | 113.7262 | 0.012495 | 113.8423 | 0.0095085 | 114.0599 | 0.0145 | 114.1759 | 0.008751 | 114.292 | 0.012977 | 114.4081 | 2.9199 | 114.5242 | 0.012332 | 114.6403 | 0.013599 | 114.7563 | 0.011141 | 114.8724 | 0.012595 | 115.0899 | 0.0082571 | 115.206 | 0.01192 | 115.322 | 0.011275 | 115.4381 | 0.0072259 | 115.5542 | 0.0092841 | 115.6703 | 0.0087617 | 115.7864 | 0.0078394 | 115.9025 | 0.00085062 | 116.1201 | 0.0073752 | 116.2362 | -0.00029014 | 116.3523
2.9115 | 118.9997 | 0.0105 | 119.1158 | 0.012853 | 119.2319 | 0.015023 | 119.348 | 0.013151 | 119.464 | 0.012353 | 119.5801 | 0.0088047 | 119.6962 | 0.012768 | 119.8123 | 0.014127 | 120.0297 | 0.012712 | 120.1458 | 0.012839 | 120.2619 | 0.013752 | 120.3779 | 0.011703 | 120.494 | 0.010246 | 120.6101 | 0.010862 | 120.7262 | 0.012495 | 120.8423 | 0.0095092 | 121.0598 | 0.014501 | 121.1759 | 0.0087517 | 121.2921 | 0.012978 | 121.4081 | 2.9199 | 121.5242 | 0.012333 | 121.6403 | 0.013599 | 121.7564 | 0.011141 | 121.8725 | 0.012596 | 122.0899 | 0.0082592 | 122.206 | 0.011922 | 122.3221 | 0.011275 | 122.4382 | 0.0072269 | 122.5543 | 0.0092848 | 122.6703 | 0.0087622 | 122.7864 | 0.0078408 | 122.9025 | 0.00085068 | 123.12 | 0.007376 | 123.2361 | -0.00029017 | 123.3522
2.9115 | 125.9997 | 0.010501 | 126.1158 | 0.012854 | 126.232 | 0.015024 | 126.3481 | 0.013152 | 126.4642 | 0.012354 | 126.5803 | 0.0088053 | 126.6964 | 0.012769 | 126.8125 | 0.014127 | 127.0299 | 0.012712 | 127.146 | 0.01284 | 127.2621 | 0.013753 | 127.3782 | 0.011704 | 127.4943 | 0.010246 | 127.6103 | 0.010862 | 127.7264 | 0.012496 | 127.8425 | 0.0095099 | 128.06 | 0.014502 | 128.1761 | 0.0087521 | 128.2922 | 0.012979 | 128.4082 | 2.9199 | 128.5243 | 0.012334 | 128.6404 | 0.0136 | 128.7565 | 0.011141 | 128.8726 | 0.012595 | 129.09 | 0.0082593 | 129.2061 | 0.011922 | 129.3222 | 0.011276 | 129.4383 | 0.0072274 | 129.5544 | 0.0092858 | 129.6704 | 0.0087623 | 129.7865 | 0.0078407 | 129.9026 | 0.00085065 | 130.12 | 0.0073764 | 130.2361 | -0.00029021 | 130.3522
2.9115 | 132.9997 | 0.010501 | 133.1158 | 0.012854 | 133.2319 | 0.015024 | 133.348 | 0.013153 | 133.464 | 0.012355 | 133.5801 | 0.0088063 | 133.6962 | 0.01277 | 133.8123 | 0.014126 | 134.0297 | 0.012711 | 134.1458 | 0.012839 | 134.2618 | 0.013752 | 134.3779 | 0.011703 | 134.494 | 0.010246 | 134.6101 | 0.010862 | 134.7261 | 0.012496 | 134.8422 | 0.0095093 | 135.0597 | 0.014502 | 135.1758 | 0.0087523 | 135.2919 | 0.012978 | 135.408 | 2.9199 | 135.5241 | 0.012334 | 135.6401 | 0.013601 | 135.7562 | 0.01114 | 135.8723 | 0.012595 | 136.0898 | 0.0082597 | 136.2059 | 0.011923 | 136.3219 | 0.011277 | 136.4381 | 0.0072274 | 136.5541 | 0.009286 | 136.6702 | 0.0087631 | 136.7863 | 0.0078412 | 136.9024 | 0.00085108 | 137.1199 | 0.0073766 | 137.2359 | -0.00029032 | 137.352
2.9115 | 139.9997 | 0.010501 | 140.1158 | 0.012855 | 140.2319 | 0.015024 | 140.348 | 0.013153 | 140.4641 | 0.012356 | 140.5801 | 0.0088068 | 140.6962 | 0.012769 | 140.8123 | 0.014126 | 141.0298 | 0.012712 | 141.1459 | 0.012839 | 141.2619 | 0.013752 | 141.3781 | 0.011703 | 141.4942 | 0.010246 | 141.6103 | 0.010862 | 141.7264 | 0.012497 | 141.8425 | 0.0095098 | 142.06 | 0.014502 | 142.1761 | 0.0087524 | 142.2922 | 0.012979 | 142.4082 | 2.9199 | 142.5243 | 0.012334 | 142.6404 | 0.0136 | 142.7565 | 0.011139 | 142.8725 | 0.012594 | 143.09 | 0.0082597 | 143.2061 | 0.011924 | 143.3222 | 0.011278 | 143.4382 | 0.0072277 | 143.5543 | 0.0092865 | 143.6704 | 0.0087632 | 143.7865 | 0.0078414 | 143.9025 | 0.00085074 | 144.12 | 0.0073772 | 144.2361 | -0.00028985 | 144.3522
2.9115 | 146.9997 | 0.010501 | 147.1158 | 0.012855 | 147.2319 | 0.015024 | 147.348 | 0.013153 | 147.4641 | 0.012356 | 147.5802 | 0.0088067 | 147.6962 | 0.01277 | 147.8123 | 0.014127 | 148.0298 | 0.012712 | 148.1458 | 0.01284 | 148.2619 | 0.013753 | 148.378 | 0.011704 | 148.4941 | 0.010247 | 148.6102 | 0.010863 | 148.7262 | 0.012498 | 148.8423 | 0.0095109 | 149.0598 | 0.014504 | 149.1759 | 0.0087534 | 149.292 | 0.012979 | 149.408 | 2.9199 | 149.5241 | 0.012335 | 149.6402 | 0.013601 | 149.7563 | 0.011139 | 149.8724 | 0.012594 | 150.0899 | 0.0082603 | 150.2059 | 0.011923 | 150.322 | 0.011278 | 150.4381 | 0.0072279 | 150.5542 | 0.0092866 | 150.6703 | 0.0087632 | 150.7863 | 0.0078418 | 150.9024 | 0.00085089 | 151.1199 | 0.007377 | 151.2359 | -0.00028969 | 151.352
2.9115 | 153.9997 | 0.0105 | 154.1158 | 0.012855 | 154.2319 | 0.015024 | 154.348 | 0.013152 | 154.4641 | 0.012355 | 154.5801 | 0.008807 | 154.6962 | 0.012769 | 154.8123 | 0.014129 | 155.0298 | 0.012713 | 155.1458 | 0.012841 | 155.2619 | 0.013754 | 155.3779 | 0.011705 | 155.494 | 0.010248 | 155.6101 | 0.010865 | 155.7262 | 0.012499 | 155.8423 | 0.0095118 | 156.0598 | 0.014505 | 156.1759 | 0.0087532 | 156.292 | 0.01298 | 156.408 | 2.92 | 156.5242 | 0.012335 | 156.6403 | 0.013602 | 156.7564 | 0.011141 | 156.8725 | 0.012596 | 157.09 | 0.0082605 | 157.2061 | 0.011923 | 157.3222 | 0.011277 | 157.4382 | 0.007228 | 157.5543 | 0.0092869 | 157.6704 | 0.0087634 | 157.7865 | 0.007842 | 157.9026 | 0.00085081 | 158.12 | 0.0073767 | 158.2361 | -0.0002903 | 158.3522
2.9115 | 160.9997 | 0.010501 | 161.1158 | 0.012854 | 161.2319 | 0.015024 | 161.348 | 0.013152 | 161.464 | 0.012354 | 161.5802 | 0.0088069 | 161.6963 | 0.012769 | 161.8124 | 0.014128 | 162.0299 | 0.012712 | 162.1459 | 0.012841 | 162.262 | 0.013753 | 162.3781 | 0.011705 | 162.4942 | 0.010249 | 162.6103 | 0.010864 | 162.7263 | 0.012499 | 162.8424 | 0.009512 | 163.0599 | 0.014505 | 163.176 | 0.008754 | 163.2921 | 0.012981 | 163.4082 | 2.9199 | 163.5242 | 0.012335 | 163.6403 | 0.013602 | 163.7564 | 0.011139 | 163.8725 | 0.012594 | 164.09 | 0.0082605 | 164.206 | 0.011924 | 164.3221 | 0.011278 | 164.4382 | 0.0072284 | 164.5543 | 0.0092869 | 164.6703 | 0.0087636 | 164.7864 | 0.0078419 | 164.9025 | 0.00085098 | 165.12 | 0.0073771 | 165.236 | -0.0002902 | 165.3521
2.9115 | 167.9997 | 0.0105 | 168.1158 | 0.012854 | 168.2319 | 0.015024 | 168.348 | 0.013153 | 168.4641 | 0.012354 | 168.5801 | 0.0088062 | 168.6962 | 0.012769 | 168.8123 | 0.014128 | 169.0298 | 0.012713 | 169.1458 | 0.012842 | 169.2619 | 0.013754 | 169.378 | 0.011704 | 169.4941 | 0.010248 | 169.6101 | 0.010864 | 169.7262 | 0.012499 | 169.8423 | 0.0095114 | 170.0598 | 0.014504 | 170.1759 | 0.0087538 | 170.292 | 0.01298 | 170.4081 | 2.9199 | 170.5242 | 0.012335 | 170.6402 | 0.013602 | 170.7563 | 0.011139 | 170.8724 | 0.012594 | 171.0899 | 0.0082601 | 171.2059 | 0.011924 | 171.322 | 0.011277 | 171.4381 | 0.0072283 | 171.5542 | 0.0092868 | 171.6703 | 0.0087635 | 171.7864 | 0.0078416 | 171.9025 | 0.00085073 | 172.12 | 0.0073766 | 172.2361 | -0.00028995 | 172.3521
2.9115 | 174.9997 | 0.010501 | 175.1158 | 0.012855 | 175.2319 | 0.015024 | 175.3479 | 0.013153 | 175.464 | 0.012355 | 175.5801 | 0.0088066 | 175.6962 | 0.01277 | 175.8122 | 0.014127 | 176.0297 | 0.012711 | 176.1458 | 0.01284 | 176.2619 | 0.013754 | 176.3779 | 0.011704 | 176.494 | 0.010247 | 176.6101 | 0.010863 | 176.7263 | 0.012498 | 176.8424 | 0.0095104 | 177.0599 | 0.014503 | 177.176 | 0.0087531 | 177.2921 | 0.01298 | 177.4082 | 2.9199 | 177.5243 | 0.012334 | 177.6403 | 0.013602 | 177.7564 | 0.011138 | 177.8725 | 0.012594 | 178.09 | 0.0082597 | 178.2061 | 0.011923 | 178.3221 | 0.011277 | 178.4382 | 0.0072278 | 178.5543 | 0.009286 | 178.6704 | 0.0087634 | 178.7864 | 0.0078412 | 178.9025 | 0.0008507 | 179.12 | 0.0073762 | 179.236 | -0.00028977 | 179.3521
2.9115 | 181.9997 | 0.0105 | 182.1158 | 0.012854 | 182.2319 | 0.015024 | 182.348 | 0.013153 | 182.4641 | 0.012354 | 182.5801 | 0.0088064 | 182.6962 | 0.01277 | 182.8123 | 0.014126 | 183.0298 | 0.012711 | 183.1458 | 0.01284 | 183.2619 | 0.013753 | 183.378 | 0.011703 | 183.4941 | 0.010247 | 183.6102 | 0.010863 | 183.7262 | 0.012497 | 183.8423 | 0.0095102 | 184.0598 | 0.014503 | 184.1759 | 0.0087526 | 184.292 | 0.012979 | 184.408 | 2.9199 | 184.5241 | 0.012334 | 184.6402 | 0.0136 | 184.7563 | 0.011139 | 184.8724 | 0.012594 | 185.0899 | 0.0082599 | 185.2059 | 0.011922 | 185.322 | 0.011276 | 185.4381 | 0.0072277 | 185.5542 | 0.0092855 | 185.6702 | 0.0087627 | 185.7863 | 0.0078407 | 185.9024 | 0.00085101 | 186.1199 | 0.0073758 | 186.236 | -0.0002901 | 186.352
2.9115 | 188.9997 | 0.0105 | 189.1158 | 0.012854 | 189.2319 | 0.015024 | 189.348 | 0.013153 | 189.4641 | 0.012354 | 189.5802 | 0.0088059 | 189.6963 | 0.012769 | 189.8123 | 0.014125 | 190.0298 | 0.01271 | 190.1459 | 0.012839 | 190.262 | 0.013752 | 190.378 | 0.011701 | 190.4941 | 0.010246 | 190.6102 | 0.010862 | 190.7263 | 0.012497 | 190.8424 | 0.0095098 | 191.0599 | 0.014502 | 191.176 | 0.008752 | 191.292 | 0.012979 | 191.4081 | 2.9199 | 191.5242 | 0.012333 | 191.6403 | 0.013599 | 191.7564 | 0.01114 | 191.8726 | 0.012594 | 192.0901 | 0.0082593 | 192.2062 | 0.011921 | 192.3222 | 0.011275 | 192.4383 | 0.007227 | 192.5544 | 0.0092852 | 192.6705 | 0.0087628 | 192.7865 | 0.0078403 | 192.9026 | 0.00085123 | 193.1201 | 0.0073752 | 193.2362 | -0.00029006 | 193.3523
2.9115 | 195.9997 | 0.010501 | 196.1158 | 0.012854 | 196.2319 | 0.015024 | 196.3479 | 0.013153 | 196.464 | 0.012354 | 196.5801 | 0.0088061 | 196.6962 | 0.012768 | 196.8122 | 0.014125 | 197.0297 | 0.01271 | 197.1458 | 0.012838 | 197.2619 | 0.013751 | 197.378 | 0.011701 | 197.4941 | 0.010246 | 197.6101 | 0.010862 | 197.7262 | 0.012497 | 197.8423 | 0.0095097 | 198.0598 | 0.014502 | 198.1759 | 0.0087522 | 198.292 | 0.012979 | 198.4081 | 2.9199 | 198.5241 | 0.012332 | 198.6402 | 0.013597 | 198.7563 | 0.01114 | 198.8724 | 0.012594 | 199.0898 | 0.0082584 | 199.2059 | 0.011921 | 199.322 | 0.011276 | 199.438 | 0.0072272 | 199.5541 | 0.0092855 | 199.6702 | 0.0087628 | 199.7863 | 0.0078406 | 199.9024 | 0.00085083 | 200.1198 | 0.0073752 | 200.2359 | -0.00029001 | 200.352
2.9115 | 202.9997 | 0.010501 | 203.1158 | 0.012853 | 203.2319 | 0.015024 | 203.348 | 0.013153 | 203.4641 | 0.012353 | 203.5801 | 0.0088056 | 203.6962 | 0.012768 | 203.8123 | 0.014126 | 204.0298 | 0.012712 | 204.1459 | 0.012838 | 204.2619 | 0.013751 | 204.378 | 0.011702 | 204.4941 | 0.010246 | 204.6102 | 0.010862 | 204.7262 | 0.012498 | 204.8423 | 0.0095107 | 205.0599 | 0.014503 | 205.1759 | 0.008753 | 205.292 | 0.012979 | 205.4081 | 2.9199 | 205.5242 | 0.012333 | 205.6403 | 0.013597 | 205.7563 | 0.01114 | 205.8724 | 0.012595 | 206.0899 | 0.0082588 | 206.206 | 0.011921 | 206.3221 | 0.011276 | 206.4381 | 0.0072274 | 206.5542 | 0.0092857 | 206.6703 | 0.0087632 | 206.7863 | 0.0078408 | 206.9024 | 0.00085078 | 207.1199 | 0.0073757 | 207.236 | -0.00028988 | 207.3521
2.9115 | 209.9997 | 0.010501 | 210.1158 | 0.012854 | 210.2319 | 0.015023 | 210.3479 | 0.013152 | 210.464 | 0.012353 | 210.5801 | 0.0088052 | 210.6962 | 0.012768 | 210.8122 | 0.014126 | 211.0297 | 0.012712 | 211.1458 | 0.012839 | 211.2619 | 0.013752 | 211.3779 | 0.011702 | 211.494 | 0.010247 | 211.6101 | 0.010862 | 211.7262 | 0.012498 | 211.8423 | 0.0095112 | 212.0599 | 0.014504 | 212.176 | 0.0087534 | 212.2921 | 0.01298 | 212.4082 | 2.9199 | 212.5243 | 0.012334 | 212.6404 | 0.013598 | 212.7565 | 0.011141 | 212.8726 | 0.012596 | 213.09 | 0.0082595 | 213.2061 | 0.011923 | 213.3222 | 0.011277 | 213.4383 | 0.0072276 | 213.5544 | 0.0092862 | 213.6704 | 0.0087631 | 213.7865 | 0.0078412 | 213.9026 | 0.00085104 | 214.1201 | 0.0073762 | 214.2362 | -0.0002899 | 214.3522
2.9115 | 216.9997 | 0.010501 | 217.1159 | 0.012854 | 217.232 | 0.015023 | 217.3481 | 0.013152 | 217.4642 | 0.012354 | 217.5803 | 0.0088054 | 217.6964 | 0.012768 | 217.8125 | 0.014127 | 218.0299 | 0.012712 | 218.146 | 0.01284 | 218.2621 | 0.013753 | 218.3782 | 0.011703 | 218.4942 | 0.010247 | 218.6103 | 0.010863 | 218.7264 | 0.012499 | 218.8425 | 0.0095117 | 219.06 | 0.014504 | 219.1761 | 0.0087536 | 219.2922 | 0.01298 | 219.4083 | 2.9199 | 219.5243 | 0.012333 | 219.6404 | 0.013599 | 219.7565 | 0.011142 | 219.8726 | 0.012597 | 220.09 | 0.0082589 | 220.2061 | 0.011923 | 220.3222 | 0.011277 | 220.4383 | 0.007228 | 220.5544 | 0.0092869 | 220.6704 | 0.0087635 | 220.7865 | 0.0078413 | 220.9026 | 0.00085082 | 221.12 | 0.007377 | 221.2361 | -0.00028978 | 221.3522
2.9115 | 223.9997 | 0.010501 | 224.1158 | 0.012854 | 224.2319 | 0.015023 | 224.348 | 0.013153 | 224.4641 | 0.012355 | 224.5802 | 0.008806 | 224.6963 | 0.012769 | 224.8124 | 0.014128 | 225.0298 | 0.012713 | 225.1459 | 0.012841 | 225.262 | 0.013754 | 225.378 | 0.011704 | 225.4941 | 0.010248 | 225.6102 | 0.010864 | 225.7263 | 0.012499 | 225.8424 | 0.0095117 | 226.0599 | 0.014505 | 226.176 | 0.0087543 | 226.2921 | 0.012981 | 226.4082 | 2.92 | 226.5243 | 0.012334 | 226.6403 | 0.013599 | 226.7564 | 0.011143 | 226.8725 | 0.012599 | 227.0899 | 0.0082595 | 227.206 | 0.011924 | 227.3221 | 0.011277 | 227.4382 | 0.0072286 | 227.5543 | 0.0092869 | 227.6704 | 0.0087641 | 227.7864 | 0.0078419 | 227.9025 | 0.00085102 | 228.12 | 0.0073776 | 228.236 | -0.00028978 | 228.3521
2.9115 | 230.9997 | 0.010502 | 231.1158 | 0.012856 | 231.2319 | 0.015025 | 231.348 | 0.013154 | 231.464 | 0.012356 | 231.5801 | 0.0088072 | 231.6962 | 0.01277 | 231.8123 | 0.014128 | 232.0297 | 0.012713 | 232.1458 | 0.012841 | 232.262 | 0.013754 | 232.3781 | 0.011704 | 232.4941 | 0.010249 | 232.6102 | 0.010864 | 232.7263 | 0.012499 | 232.8424 | 0.0095121 | 233.0599 | 0.014505 | 233.176 | 0.0087544 | 233.292 | 0.012981 | 233.4081 | 2.92 | 233.5242 | 0.012335 | 233.6403 | 0.0136 | 233.7564 | 0.011144 | 233.8725 | 0.0126 | 234.0899 | 0.00826 | 234.206 | 0.011925 | 234.3221 | 0.011278 | 234.4381 | 0.0072291 | 234.5542 | 0.0092872 | 234.6703 | 0.0087643 | 234.7864 | 0.0078419 | 234.9024 | 0.00085086 | 235.1199 | 0.0073772 | 235.236 | -0.00028974 | 235.352
2.9115 | 237.9997 | 0.010502 | 238.1158 | 0.012856 | 238.2319 | 0.015025 | 238.348 | 0.013154 | 238.4641 | 0.012357 | 238.5801 | 0.0088074 | 238.6962 | 0.01277 | 238.8123 | 0.014127 | 239.0298 | 0.012712 | 239.1458 | 0.01284 | 239.2619 | 0.013754 | 239.378 | 0.011704 | 239.4941 | 0.010248 | 239.6101 | 0.010864 | 239.7262 | 0.012499 | 239.8423 | 0.0095118 | 240.0599 | 0.014504 | 240.1759 | 0.0087536 | 240.292 | 0.012981 | 240.4081 | 2.92 | 240.5242 | 0.012334 | 240.6402 | 0.013601 | 240.7563 | 0.011144 | 240.8724 | 0.0126 | 241.0899 | 0.0082604 | 241.206 | 0.011925 | 241.322 | 0.011278 | 241.4381 | 0.0072293 | 241.5542 | 0.0092874 | 241.6703 | 0.0087647 | 241.7864 | 0.0078425 | 241.9024 | 0.00085104 | 242.1199 | 0.0073773 | 242.236 | -0.00028981 | 242.3522
2.9115 | 244.9997 | 0.010502 | 245.1158 | 0.012855 | 245.2319 | 0.015026 | 245.3479 | 0.013154 | 245.464 | 0.012356 | 245.5801 | 0.0088074 | 245.6962 | 0.01277 | 245.8123 | 0.014128 | 246.0297 | 0.012713 | 246.1458 | 0.01284 | 246.2619 | 0.013754 | 246.3779 | 0.011704 | 246.494 | 0.010248 | 246.6101 | 0.010865 | 246.7262 | 0.012499 | 246.8423 | 0.0095113 | 247.0598 | 0.014504 | 247.1759 | 0.0087535 | 247.2919 | 0.012981 | 247.4081 | 2.92 | 247.5243 | 0.012335 | 247.6404 | 0.013601 | 247.7564 | 0.011142 | 247.8725 | 0.012598 | 248.09 | 0.008261 | 248.2061 | 0.011924 | 248.3221 | 0.011278 | 248.4382 | 0.0072291 | 248.5543 | 0.0092872 | 248.6704 | 0.0087642 | 248.7864 | 0.0078424 | 248.9025 | 0.00085135 | 249.12 | 0.0073773 | 249.2361 | -0.00028949 | 249.3522
2.9115 | 251.9997 | 0.010502 | 252.1158 | 0.012855 | 252.2319 | 0.015026 | 252.348 | 0.013154 | 252.4642 | 0.012357 | 252.5803 | 0.0088073 | 252.6964 | 0.012771 | 252.8124 | 0.014128 | 253.0299 | 0.012713 | 253.146 | 0.012841 | 253.262 | 0.013754 | 253.3781 | 0.011705 | 253.4942 | 0.010248 | 253.6103 | 0.010864 | 253.7264 | 0.012498 | 253.8425 | 0.0095111 | 254.06 | 0.014504 | 254.1761 | 0.0087528 | 254.2921 | 0.01298 | 254.4082 | 2.92 | 254.5243 | 0.012334 | 254.6404 | 0.0136 | 254.7565 | 0.01114 | 254.8726 | 0.012595 | 255.09 | 0.0082595 | 255.2061 | 0.011925 | 255.3222 | 0.011279 | 255.4383 | 0.0072289 | 255.5543 | 0.0092877 | 255.6704 | 0.0087643 | 255.7865 | 0.0078422 | 255.9025 | 0.00085095 | 256.12 | 0.0073772 | 256.2361 | -0.00028958 | 256.3522
2.9115 | 258.9997 | 0.010502 | 259.1158 | 0.012856 | 259.2319 | 0.015026 | 259.348 | 0.013154 | 259.4641 | 0.012357 | 259.5802 | 0.0088066 | 259.6962 | 0.01277 | 259.8123 | 0.014128 | 260.0298 | 0.012713 | 260.1459 | 0.01284 | 260.2619 | 0.013753 | 260.378 | 0.011704 | 260.4941 | 0.010247 | 260.6102 | 0.010864 | 260.7262 | 0.012498 | 260.8423 | 0.0095112 | 261.0598 | 0.014504 | 261.1759 | 0.0087525 | 261.292 | 0.012981 | 261.4081 | 2.92 | 261.5242 | 0.012334 | 261.6403 | 0.013601 | 261.7564 | 0.01114 | 261.8724 | 0.012596 | 262.0899 | 0.0082597 | 262.206 | 0.011925 | 262.3221 | 0.011279 | 262.4381 | 0.0072289 | 262.5543 | 0.0092877 | 262.6704 | 0.0087645 | 262.7865 | 0.0078421 | 262.9026 | 0.00085136 | 263.1201 | 0.0073775 | 263.2362 | -0.00028955 | 263.3523
2.9115 | 265.9997 | 0.010502 | 266.1158 | 0.012856 | 266.2319 | 0.015026 | 266.348 | 0.013154 | 266.464 | 0.012357 | 266.5801 | 0.0088067 | 266.6962 | 0.01277 | 266.8122 | 0.014128 | 267.0297 | 0.012713 | 267.1458 | 0.012841 | 267.2619 | 0.013755 | 267.3779 | 0.011705 | 267.494 | 0.010247 | 267.6102 | 0.010863 | 267.7263 | 0.012498 | 267.8424 | 0.0095112 | 268.0599 | 0.014504 | 268.176 | 0.008753 | 268.2921 | 0.01298 | 268.4082 | 2.92 | 268.5242 | 0.012334 | 268.6403 | 0.013602 | 268.7564 | 0.01114 | 268.8725 | 0.012596 | 269.09 | 0.0082606 | 269.206 | 0.011924 | 269.3221 | 0.011279 | 269.4382 | 0.0072287 | 269.5543 | 0.0092874 | 269.6704 | 0.0087644 | 269.7864 | 0.0078421 | 269.9025 | 0.00085117 | 270.12 | 0.0073776 | 270.236 | -0.00028997 | 270.3521
2.9115 | 272.9997 | 0.010502 | 273.1158 | 0.012856 | 273.2319 | 0.015025 | 273.348 | 0.013154 | 273.4641 | 0.012357 | 273.5802 | 0.0088071 | 273.6963 | 0.01277 | 273.8123 | 0.014128 | 274.0298 | 0.012713 | 274.1459 | 0.012842 | 274.2619 | 0.013755 | 274.378 | 0.011704 | 274.4941 | 0.010247 | 274.6102 | 0.010863 | 274.7262 | 0.012499 | 274.8423 | 0.0095109 | 275.0598 | 0.014504 | 275.1759 | 0.0087529 | 275.292 | 0.01298 | 275.4081 | 2.92 | 275.5242 | 0.012334 | 275.6402 | 0.013601 | 275.7563 | 0.011139 | 275.8724 | 0.012594 | 276.0899 | 0.0082594 | 276.206 | 0.011924 | 276.322 | 0.011278 | 276.4381 | 0.0072283 | 276.5542 | 0.0092868 | 276.6703 | 0.0087638 | 276.7864 | 0.0078415 | 276.9024 | 0.00085168 | 277.1199 | 0.0073771 | 277.236 | -0.00028972 | 277.3521
2.9115 | 279.9997 | 0.010502 | 280.1158 | 0.012856 | 280.2319 | 0.015026 | 280.348 | 0.013154 | 280.464 | 0.012357 | 280.5801 | 0.0088071 | 280.6962 | 0.01277 | 280.8123 | 0.014128 | 281.0298 | 0.012712 | 281.1458 | 0.012842 | 281.2619 | 0.013755 | 281.378 | 0.011704 | 281.4941 | 0.010247 | 281.6102 | 0.010863 | 281.7262 | 0.012499 | 281.8423 | 0.0095111 | 282.0598 | 0.014504 | 282.1759 | 0.0087531 | 282.292 | 0.01298 | 282.4081 | 2.92 | 282.5241 | 0.012334 | 282.6402 | 0.013603 | 282.7564 | 0.01114 | 282.8725 | 0.012596 | 283.09 | 0.0082593 | 283.2061 | 0.011924 | 283.3222 | 0.011278 | 283.4382 | 0.007228 | 283.5543 | 0.0092873 | 283.6704 | 0.0087635 | 283.7865 | 0.0078415 | 283.9025 | 0.0008512 | 284.12 | 0.0073768 | 284.2361 | -0.00029004 | 284.3522
2.9115 | 286.9997 | 0.010502 | 287.1158 | 0.012856 | 287.2319 | 0.015025 | 287.348 | 0.013153 | 287.4641 | 0.012357 | 287.5801 | 0.0088072 | 287.6962 | 0.01277 | 287.8124 | 0.014128 | 288.0299 | 0.012713 | 288.146 | 0.012842 | 288.2621 | 0.013755 | 288.3782 | 0.011705 | 288.4942 | 0.010247 | 288.6103 | 0.010864 | 288.7264 | 0.012498 | 288.8425 | 0.0095113 | 289.06 | 0.014504 | 289.1761 | 0.0087534 | 289.2921 | 0.01298 | 289.4082 | 2.92 | 289.5243 | 0.012335 | 289.6404 | 0.013602 | 289.7564 | 0.01114 | 289.8725 | 0.012595 | 290.09 | 0.0082599 | 290.2061 | 0.011924 | 290.3222 | 0.011278 | 290.4382 | 0.0072287 | 290.5543 | 0.0092871 | 290.6704 | 0.0087638 | 290.7865 | 0.0078419 | 290.9026 | 0.00085118 | 291.12 | 0.0073776 | 291.2361 | -0.00028938 | 291.3522
2.9115 | 293.9997 | 0.010502 | 294.1158 | 0.012856 | 294.2319 | 0.015025 | 294.3479 | 0.013154 | 294.464 | 0.012357 | 294.5801 | 0.0088076 | 294.6962 | 0.01277 | 294.8122 | 0.014128 | 295.0297 | 0.012713 | 295.1458 | 0.012842 | 295.2619 | 0.013754 | 295.3779 | 0.011705 | 295.494 | 0.010248 | 295.6101 | 0.010864 | 295.7262 | 0.012498 | 295.8423 | 0.0095112 | 296.0598 | 0.014504 | 296.1759 | 0.008753 | 296.2919 | 0.01298 | 296.408 | 2.92 | 296.5241 | 0.012334 | 296.6402 | 0.013603 | 296.7563 | 0.01114 | 296.8723 | 0.012595 | 297.0898 | 0.00826 | 297.2059 | 0.011924 | 297.3219 | 0.011278 | 297.438 | 0.0072285 | 297.5541 | 0.009287 | 297.6702 | 0.0087643 | 297.7863 | 0.007842 | 297.9024 | 0.00085156 | 298.1199 | 0.0073778 | 298.236 | -0.00028935 | 298.3521
2.9115 | 300.9997 | 0.010502 | 301.1158 | 0.012857 | 301.2319 | 0.015026 | 301.348 | 0.013154 | 301.464 | 0.012357 | 301.5801 | 0.0088076 | 301.6962 | 0.01277 | 301.8123 | 0.014128 | 302.0298 | 0.012713 | 302.1458 | 0.012841 | 302.2619 | 0.013753 | 302.378 | 0.011705 | 302.4941 | 0.010247 | 302.6102 | 0.010863 | 302.7263 | 0.012498 | 302.8423 | 0.0095105 | 303.0599 | 0.014503 | 303.176 | 0.0087527 | 303.2921 | 0.012979 | 303.4081 | 2.92 | 303.5242 | 0.012335 | 303.6403 | 0.013603 | 303.7564 | 0.011139 | 303.8724 | 0.012594 | 304.0899 | 0.0082613 | 304.206 | 0.011923 | 304.3221 | 0.011278 | 304.4382 | 0.0072285 | 304.5542 | 0.009287 | 304.6703 | 0.0087639 | 304.7864 | 0.0078417 | 304.9025 | 0.00085152 | 305.1199 | 0.0073769 | 305.236 | -0.00028954 | 305.352
2.9115 | 307.9999 | 0.010502 | 308.116 | 0.012857 | 308.2321 | 0.015026 | 308.3482 | 0.013154 | 308.4643 | 0.012357 | 308.5803 | 0.0088072 | 308.6964 | 0.01277 | 308.8125 | 0.014128 | 309.03 | 0.012712 | 309.146 | 0.012839 | 309.2621 | 0.013752 | 309.3782 | 0.011703 | 309.4943 | 0.010246 | 309.6103 | 0.010863 | 309.7264 | 0.012498 | 309.8425 | 0.0095102 | 310.06 | 0.014503 | 310.1761 | 0.0087525 | 310.2922 | 0.012979 | 310.4082 | 2.92 | 310.5243 | 0.012334 | 310.6404 | 0.013601 | 310.7565 | 0.011139 | 310.8726 | 0.012594 | 311.0901 | 0.0082617 | 311.2062 | 0.011923 | 311.3222 | 0.011277 | 311.4383 | 0.0072277 | 311.5544 | 0.0092865 | 311.6705 | 0.008764 | 311.7865 | 0.0078412 | 311.9026 | 0.00085116 | 312.1201 | 0.0073758 | 312.2362 | -0.00029005 | 312.3522
2.9115 | 314.9997 | 0.010501 | 315.1158 | 0.012856 | 315.2319 | 0.015025 | 315.348 | 0.013153 | 315.4641 | 0.012356 | 315.5802 | 0.0088064 | 315.6962 | 0.012769 | 315.8123 | 0.014126 | 316.0298 | 0.012711 | 316.1459 | 0.012838 | 316.262 | 0.013752 | 316.378 | 0.011702 | 316.4941 | 0.010246 | 316.6102 | 0.010862 | 316.7263 | 0.012498 | 316.8423 | 0.0095096 | 317.0599 | 0.014502 | 317.176 | 0.0087521 | 317.2921 | 0.012979 | 317.4081 | 2.9199 | 317.5242 | 0.012335 | 317.6403 | 0.013602 | 317.7564 | 0.01114 | 317.8725 | 0.012595 | 318.0901 | 0.0082609 | 318.2062 | 0.011923 | 318.3223 | 0.011277 | 318.4383 | 0.0072276 | 318.5544 | 0.0092864 | 318.6705 | 0.0087636 | 318.7866 | 0.0078409 | 318.9027 | 0.00085125 | 319.1201 | 0.0073757 | 319.2362 | -0.00028973 | 319.3523
2.9115 | 321.9997 | 0.010501 | 322.1158 | 0.012855 | 322.2319 | 0.015025 | 322.348 | 0.013153 | 322.464 | 0.012355 | 322.5801 | 0.0088062 | 322.6962 | 0.012769 | 322.8123 | 0.014126 | 323.0298 | 0.012711 | 323.1459 | 0.012839 | 323.2621 | 0.013753 | 323.3782 | 0.011703 | 323.4942 | 0.010246 | 323.6103 | 0.010862 | 323.7264 | 0.012497 | 323.8425 | 0.0095102 | 324.06 | 0.014502 | 324.1761 | 0.0087524 | 324.2922 | 0.012979 | 324.4083 | 2.9199 | 324.5243 | 0.012334 | 324.6404 | 0.013601 | 324.7565 | 0.01114 | 324.8726 | 0.012594 | 325.0901 | 0.0082595 | 325.2061 | 0.011923 | 325.3222 | 0.011277 | 325.4383 | 0.0072276 | 325.5544 | 0.0092863 | 325.6704 | 0.0087633 | 325.7865 | 0.0078405 | 325.9026 | 0.00085096 | 326.1201 | 0.0073759 | 326.2361 | -0.00029036 | 326.3522
2.9115 | 328.9997 | 0.010501 | 329.1158 | 0.012856 | 329.2319 | 0.015024 | 329.348 | 0.013153 | 329.4641 | 0.012355 | 329.5802 | 0.0088064 | 329.6963 | 0.012769 | 329.8123 | 0.014126 | 330.0298 | 0.012711 | 330.1459 | 0.012839 | 330.2619 | 0.013752 | 330.378 | 0.011703 | 330.4941 | 0.010246 | 330.6102 | 0.010862 | 330.7263 | 0.012497 | 330.8424 | 0.0095096 | 331.0598 | 0.014502 | 331.1759 | 0.0087522 | 331.292 | 0.012978 | 331.4081 | 2.9199 | 331.5242 | 0.012333 | 331.6403 | 0.0136 | 331.7563 | 0.011139 | 331.8724 | 0.012594 | 332.0899 | 0.0082584 | 332.206 | 0.011922 | 332.322 | 0.011275 | 332.4381 | 0.007227 | 332.5542 | 0.0092856 | 332.6703 | 0.0087625 | 332.7863 | 0.00784 | 332.9024 | 0.00085104 | 333.1199 | 0.0073753 | 333.236 | -0.00028983 | 333.3522
2.9115 | 335.9997 | 0.010501 | 336.1158 | 0.012855 | 336.2319 | 0.015025 | 336.3479 | 0.013153 | 336.464 | 0.012356 | 336.5801 | 0.0088064 | 336.6962 | 0.01277 | 336.8123 | 0.014125 | 337.0298 | 0.01271 | 337.1458 | 0.012838 | 337.2619 | 0.013751 | 337.378 | 0.011701 | 337.4941 | 0.010245 | 337.6101 | 0.010861 | 337.7262 | 0.012497 | 337.8423 | 0.0095097 | 338.0598 | 0.014501 | 338.1759 | 0.008752 | 338.2921 | 0.012978 | 338.4082 | 2.9199 | 338.5243 | 0.012333 | 338.6404 | 0.013598 | 338.7565 | 0.011138 | 338.8726 | 0.012592 | 339.09 | 0.0082578 | 339.2061 | 0.011921 | 339.3222 | 0.011274 | 339.4383 | 0.0072265 | 339.5544 | 0.0092846 | 339.6704 | 0.0087622 | 339.7865 | 0.0078396 | 339.9026 | 0.00085075 | 340.1201 | 0.0073747 | 340.2361 | -0.00029031 | 340.3522
2.9115 | 342.9997 | 0.010501 | 343.1158 | 0.012855 | 343.2319 | 0.015025 | 343.3481 | 0.013152 | 343.4642 | 0.012355 | 343.5803 | 0.0088056 | 343.6963 | 0.012769 | 343.8124 | 0.014125 | 344.0299 | 0.012709 | 344.146 | 0.012838 | 344.262 | 0.013751 | 344.3781 | 0.011701 | 344.4942 | 0.010246 | 344.6103 | 0.010862 | 344.7264 | 0.012497 | 344.8424 | 0.0095096 | 345.06 | 0.014502 | 345.176 | 0.0087521 | 345.2921 | 0.012978 | 345.4082 | 2.9199 | 345.5243 | 0.012333 | 345.6403 | 0.013598 | 345.7564 | 0.011139 | 345.8725 | 0.012594 | 346.09 | 0.0082576 | 346.2061 | 0.011921 | 346.3221 | 0.011275 | 346.4382 | 0.0072264 | 346.5543 | 0.0092848 | 346.6704 | 0.008762 | 346.7864 | 0.0078397 | 346.9025 | 0.00085096 | 347.12 | 0.0073742 | 347.2361 | -0.00029019 | 347.3522