## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-17
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-17
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 300
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9154 | 0 | 0.010784 | 0.11612 | 0.013132 | 0.23221 | 0.015033 | 0.34828 | 0.013491 | 0.46435 | 0.012259 | 0.58043 | 0.0086028 | 0.6965 | 0.012766 | 0.81259 | 0.014141 | 1.0301 | 0.012702 | 1.1461 | 0.012752 | 1.2622 | 0.013752 | 1.3783 | 0.011724 | 1.4944 | 0.010255 | 1.6105 | 0.010857 | 1.7265 | 0.012583 | 1.8426 | 0.0095147 | 2.0601 | 0.014465 | 2.1762 | 0.0087507 | 2.2923 | 0.012962 | 2.4084 | 2.9235 | 2.5245 | 0.01225 | 2.6405 | 0.013582 | 2.7566 | 0.011089 | 2.8727 | 0.012602 | 3.0902 | 0.0082552 | 3.2063 | 0.011907 | 3.3224 | 0.011317 | 3.4384 | 0.0071949 | 3.5545 | 0.00927 | 3.6706 | 0.0086651 | 3.7867 | 0.0078108 | 3.9027 | 0.00093393 | 4.1202 | 0.0074696 | 4.2363 | -0.00041442 | 4.3524
2.9154 | 6.9998 | 0.010784 | 7.1159 | 0.013132 | 7.232 | 0.015033 | 7.348 | 0.013492 | 7.4641 | 0.01226 | 7.5802 | 0.0086035 | 7.6963 | 0.012766 | 7.8124 | 0.014141 | 8.0299 | 0.012701 | 8.1459 | 0.012751 | 8.262 | 0.013751 | 8.3781 | 0.011723 | 8.4942 | 0.010254 | 8.6103 | 0.010857 | 8.7263 | 0.012583 | 8.8424 | 0.0095143 | 9.0599 | 0.014464 | 9.176 | 0.0087504 | 9.2921 | 0.012961 | 9.4081 | 2.9235 | 9.5242 | 0.01225 | 9.6403 | 0.013582 | 9.7564 | 0.011088 | 9.8725 | 0.012601 | 10.0899 | 0.0082552 | 10.206 | 0.011906 | 10.3221 | 0.011316 | 10.4382 | 0.0071937 | 10.5543 | 0.0092694 | 10.6704 | 0.0086648 | 10.7864 | 0.00781 | 10.9025 | 0.00093349 | 11.12 | 0.0074678 | 11.2361 | -0.00041458 | 11.3521
2.9154 | 13.9998 | 0.010784 | 14.1159 | 0.013131 | 14.232 | 0.015033 | 14.348 | 0.013491 | 14.4641 | 0.012259 | 14.5802 | 0.0086028 | 14.6963 | 0.012766 | 14.8123 | 0.014141 | 15.0298 | 0.012703 | 15.1459 | 0.012751 | 15.262 | 0.013751 | 15.378 | 0.011722 | 15.4941 | 0.010254 | 15.6102 | 0.010857 | 15.7263 | 0.012582 | 15.8424 | 0.0095138 | 16.0599 | 0.014464 | 16.176 | 0.00875 | 16.2921 | 0.01296 | 16.4081 | 2.9235 | 16.5242 | 0.012251 | 16.6403 | 0.013582 | 16.7564 | 0.011088 | 16.8725 | 0.012602 | 17.0899 | 0.0082554 | 17.206 | 0.011906 | 17.3221 | 0.011315 | 17.4382 | 0.0071925 | 17.5543 | 0.0092685 | 17.6703 | 0.0086645 | 17.7864 | 0.0078097 | 17.9025 | 0.00093381 | 18.1199 | 0.0074663 | 18.236 | -0.00041528 | 18.3521
2.9154 | 20.9998 | 0.010783 | 21.1159 | 0.013131 | 21.232 | 0.015032 | 21.3481 | 0.013491 | 21.4641 | 0.012258 | 21.5802 | 0.008603 | 21.6963 | 0.012766 | 21.8124 | 0.014141 | 22.0298 | 0.012702 | 22.1459 | 0.012751 | 22.262 | 0.013751 | 22.3781 | 0.011722 | 22.4941 | 0.010253 | 22.6102 | 0.010857 | 22.7263 | 0.012582 | 22.8424 | 0.009513 | 23.0599 | 0.014462 | 23.1759 | 0.0087492 | 23.292 | 0.012959 | 23.4081 | 2.9236 | 23.5242 | 0.012252 | 23.6403 | 0.013583 | 23.7563 | 0.011089 | 23.8724 | 0.012602 | 24.0899 | 0.0082556 | 24.206 | 0.011905 | 24.3221 | 0.011314 | 24.4381 | 0.007192 | 24.5542 | 0.0092677 | 24.6703 | 0.0086631 | 24.7863 | 0.0078082 | 24.9024 | 0.0009333 | 25.1199 | 0.0074656 | 25.2361 | -0.00041551 | 25.3522
2.9154 | 27.9998 | 0.010784 | 28.1159 | 0.013132 | 28.232 | 0.015033 | 28.3481 | 0.013491 | 28.4642 | 0.012259 | 28.5802 | 0.0086027 | 28.6963 | 0.012766 | 28.8124 | 0.01414 | 29.0298 | 0.012701 | 29.1459 | 0.012749 | 29.262 | 0.01375 | 29.378 | 0.011721 | 29.4941 | 0.010252 | 29.6102 | 0.010856 | 29.7263 | 0.012581 | 29.8424 | 0.0095119 | 30.0599 | 0.014461 | 30.176 | 0.0087483 | 30.2922 | 0.012958 | 30.4083 | 2.9236 | 30.5244 | 0.012251 | 30.6405 | 0.013583 | 30.7565 | 0.011087 | 30.8726 | 0.0126 | 31.0901 | 0.0082547 | 31.2062 | 0.011903 | 31.3223 | 0.011313 | 31.4383 | 0.0071914 | 31.5544 | 0.009267 | 31.6705 | 0.0086625 | 31.7866 | 0.0078075 | 31.9026 | 0.00093334 | 32.1201 | 0.0074647 | 32.2362 | -0.00041558 | 32.3523
2.9154 | 34.9998 | 0.010783 | 35.1159 | 0.013131 | 35.232 | 0.015032 | 35.3482 | 0.013491 | 35.4643 | 0.012258 | 35.5804 | 0.0086022 | 35.6964 | 0.012765 | 35.8125 | 0.014138 | 36.0299 | 0.012699 | 36.146 | 0.012748 | 36.2621 | 0.013749 | 36.3782 | 0.01172 | 36.4943 | 0.010251 | 36.6103 | 0.010855 | 36.7264 | 0.01258 | 36.8425 | 0.0095118 | 37.06 | 0.014461 | 37.1761 | 0.0087488 | 37.2922 | 0.012958 | 37.4083 | 2.9236 | 37.5243 | 0.012251 | 37.6404 | 0.013582 | 37.7565 | 0.011084 | 37.8726 | 0.012598 | 38.09 | 0.0082531 | 38.2061 | 0.011903 | 38.3222 | 0.011312 | 38.4383 | 0.0071909 | 38.5544 | 0.0092662 | 38.6704 | 0.0086619 | 38.7865 | 0.0078073 | 38.9026 | 0.00093312 | 39.12 | 0.0074641 | 39.2361 | -0.00041532 | 39.3522
2.9154 | 41.9998 | 0.010784 | 42.1159 | 0.013131 | 42.232 | 0.015032 | 42.348 | 0.013491 | 42.4641 | 0.012258 | 42.5802 | 0.0086016 | 42.6963 | 0.012766 | 42.8123 | 0.014136 | 43.0298 | 0.012697 | 43.1459 | 0.012746 | 43.2619 | 0.013748 | 43.378 | 0.011718 | 43.4941 | 0.01025 | 43.6102 | 0.010854 | 43.7262 | 0.01258 | 43.8423 | 0.0095111 | 44.0598 | 0.014459 | 44.1759 | 0.0087484 | 44.292 | 0.012957 | 44.4081 | 2.9236 | 44.5242 | 0.01225 | 44.6403 | 0.013581 | 44.7563 | 0.011083 | 44.8724 | 0.012596 | 45.0899 | 0.0082527 | 45.206 | 0.011902 | 45.3221 | 0.011311 | 45.4382 | 0.0071904 | 45.5543 | 0.0092651 | 45.6704 | 0.0086615 | 45.7865 | 0.007806 | 45.9026 | 0.00093268 | 46.1201 | 0.0074633 | 46.2361 | -0.00041547 | 46.3522
2.9155 | 48.9998 | 0.010784 | 49.1159 | 0.013132 | 49.2319 | 0.015033 | 49.348 | 0.013491 | 49.4641 | 0.012259 | 49.5802 | 0.0086022 | 49.6963 | 0.012765 | 49.8123 | 0.014138 | 50.0298 | 0.012698 | 50.1459 | 0.012746 | 50.2619 | 0.013748 | 50.378 | 0.011719 | 50.4942 | 0.01025 | 50.6103 | 0.010854 | 50.7264 | 0.012579 | 50.8425 | 0.0095106 | 51.06 | 0.014459 | 51.1761 | 0.0087475 | 51.2922 | 0.012957 | 51.4083 | 2.9236 | 51.5244 | 0.01225 | 51.6404 | 0.013582 | 51.7565 | 0.011083 | 51.8726 | 0.012598 | 52.0901 | 0.0082535 | 52.2061 | 0.011901 | 52.3222 | 0.01131 | 52.4383 | 0.0071895 | 52.5544 | 0.0092647 | 52.6704 | 0.0086606 | 52.7865 | 0.0078058 | 52.9026 | 0.00093266 | 53.1201 | 0.0074627 | 53.2361 | -0.00041575 | 53.3522
2.9155 | 55.9998 | 0.010784 | 56.1159 | 0.013131 | 56.232 | 0.015032 | 56.3481 | 0.013491 | 56.4641 | 0.012257 | 56.5802 | 0.008602 | 56.6963 | 0.012765 | 56.8124 | 0.014137 | 57.0298 | 0.012697 | 57.1459 | 0.012747 | 57.262 | 0.013748 | 57.3781 | 0.011718 | 57.4942 | 0.01025 | 57.6102 | 0.010854 | 57.7263 | 0.01258 | 57.8424 | 0.0095108 | 58.0599 | 0.014459 | 58.176 | 0.0087474 | 58.2921 | 0.012958 | 58.4081 | 2.9236 | 58.5242 | 0.012249 | 58.6403 | 0.013583 | 58.7564 | 0.011086 | 58.8725 | 0.0126 | 59.0899 | 0.0082528 | 59.206 | 0.011902 | 59.3221 | 0.011311 | 59.4382 | 0.00719 | 59.5542 | 0.0092649 | 59.6703 | 0.0086613 | 59.7864 | 0.0078065 | 59.9025 | 0.0009329 | 60.12 | 0.0074635 | 60.236 | -0.0004158 | 60.3521
2.9155 | 62.9998 | 0.010783 | 63.1159 | 0.013131 | 63.232 | 0.015033 | 63.3481 | 0.013491 | 63.4641 | 0.012257 | 63.5802 | 0.0086011 | 63.6963 | 0.012765 | 63.8124 | 0.014139 | 64.0298 | 0.012699 | 64.1459 | 0.012748 | 64.262 | 0.013749 | 64.3781 | 0.011719 | 64.4942 | 0.010251 | 64.6102 | 0.010855 | 64.7263 | 0.012581 | 64.8424 | 0.0095111 | 65.0599 | 0.01446 | 65.176 | 0.0087479 | 65.2921 | 0.012958 | 65.4082 | 2.9237 | 65.5243 | 0.012251 | 65.6404 | 0.013583 | 65.7566 | 0.011088 | 65.8726 | 0.012601 | 66.0901 | 0.0082537 | 66.2062 | 0.011903 | 66.3223 | 0.011312 | 66.4384 | 0.0071903 | 66.5544 | 0.0092655 | 66.6705 | 0.0086616 | 66.7866 | 0.0078065 | 66.9027 | 0.00093242 | 67.1201 | 0.0074638 | 67.2362 | -0.00041588 | 67.3523
2.9155 | 69.9998 | 0.010783 | 70.1159 | 0.013131 | 70.232 | 0.015032 | 70.348 | 0.013491 | 70.4641 | 0.012257 | 70.5802 | 0.0086013 | 70.6964 | 0.012765 | 70.8125 | 0.014141 | 71.03 | 0.012701 | 71.146 | 0.012749 | 71.2621 | 0.01375 | 71.3782 | 0.01172 | 71.4943 | 0.010252 | 71.6103 | 0.010856 | 71.7264 | 0.012581 | 71.8425 | 0.0095109 | 72.06 | 0.014461 | 72.1761 | 0.0087483 | 72.2921 | 0.012958 | 72.4082 | 2.9237 | 72.5243 | 0.012251 | 72.6404 | 0.013583 | 72.7565 | 0.011086 | 72.8725 | 0.012599 | 73.09 | 0.0082542 | 73.2061 | 0.011903 | 73.3221 | 0.011313 | 73.4382 | 0.0071907 | 73.5543 | 0.0092662 | 73.6704 | 0.0086621 | 73.7865 | 0.0078071 | 73.9025 | 0.00093284 | 74.12 | 0.0074642 | 74.2361 | -0.00041626 | 74.3522
2.9155 | 76.9998 | 0.010782 | 77.1159 | 0.01313 | 77.232 | 0.015032 | 77.3481 | 0.01349 | 77.4642 | 0.012257 | 77.5802 | 0.0086013 | 77.6963 | 0.012765 | 77.8124 | 0.014139 | 78.0298 | 0.0127 | 78.1459 | 0.012748 | 78.262 | 0.013749 | 78.3781 | 0.011718 | 78.4941 | 0.010251 | 78.6102 | 0.010855 | 78.7263 | 0.01258 | 78.8424 | 0.0095108 | 79.0599 | 0.014461 | 79.176 | 0.0087473 | 79.292 | 0.012958 | 79.4081 | 2.9237 | 79.5242 | 0.012251 | 79.6403 | 0.013583 | 79.7563 | 0.011084 | 79.8724 | 0.012597 | 80.0899 | 0.008254 | 80.206 | 0.011902 | 80.322 | 0.011311 | 80.4381 | 0.0071901 | 80.5542 | 0.0092656 | 80.6702 | 0.0086615 | 80.7864 | 0.0078059 | 80.9025 | 0.00093279 | 81.12 | 0.0074634 | 81.2361 | -0.00041565 | 81.3521
2.9155 | 83.9998 | 0.010783 | 84.1159 | 0.013129 | 84.232 | 0.015032 | 84.348 | 0.01349 | 84.4641 | 0.012257 | 84.5802 | 0.0086008 | 84.6963 | 0.012764 | 84.8123 | 0.014136 | 85.0298 | 0.012698 | 85.1459 | 0.012744 | 85.2619 | 0.013745 | 85.378 | 0.011715 | 85.4941 | 0.010248 | 85.6102 | 0.010852 | 85.7262 | 0.012578 | 85.8424 | 0.0095086 | 86.06 | 0.014458 | 86.1761 | 0.0087451 | 86.2921 | 0.012955 | 86.4082 | 2.9237 | 86.5243 | 0.012249 | 86.6404 | 0.01358 | 86.7565 | 0.011082 | 86.8725 | 0.012596 | 87.09 | 0.008253 | 87.2061 | 0.0119 | 87.3222 | 0.011309 | 87.4382 | 0.0071883 | 87.5543 | 0.0092639 | 87.6704 | 0.0086598 | 87.7864 | 0.0078044 | 87.9025 | 0.00093224 | 88.12 | 0.0074611 | 88.2361 | -0.00041647 | 88.3522
2.9155 | 90.9998 | 0.010783 | 91.1159 | 0.013129 | 91.232 | 0.015031 | 91.3481 | 0.01349 | 91.4641 | 0.012257 | 91.5802 | 0.0086003 | 91.6963 | 0.012764 | 91.8123 | 0.014137 | 92.0298 | 0.012697 | 92.1459 | 0.012742 | 92.262 | 0.013744 | 92.378 | 0.011717 | 92.4941 | 0.010247 | 92.6102 | 0.01085 | 92.7263 | 0.012577 | 92.8423 | 0.0095077 | 93.0599 | 0.014457 | 93.176 | 0.0087447 | 93.292 | 0.012955 | 93.4081 | 2.9237 | 93.5242 | 0.012248 | 93.6403 | 0.01358 | 93.7563 | 0.011084 | 93.8724 | 0.012597 | 94.0899 | 0.0082527 | 94.206 | 0.011899 | 94.322 | 0.011309 | 94.4381 | 0.0071888 | 94.5542 | 0.0092638 | 94.6703 | 0.0086605 | 94.7863 | 0.0078051 | 94.9024 | 0.0009321 | 95.1199 | 0.007462 | 95.236 | -0.00041629 | 95.3521
2.9156 | 97.9998 | 0.010782 | 98.1159 | 0.013128 | 98.232 | 0.015031 | 98.348 | 0.01349 | 98.4641 | 0.012257 | 98.5802 | 0.0086008 | 98.6962 | 0.012764 | 98.8123 | 0.014139 | 99.0298 | 0.012697 | 99.1459 | 0.012745 | 99.2619 | 0.013746 | 99.378 | 0.01172 | 99.4941 | 0.010248 | 99.6102 | 0.010851 | 99.7262 | 0.012578 | 99.8423 | 0.0095085 | 100.0598 | 0.014458 | 100.1759 | 0.0087457 | 100.292 | 0.012956 | 100.4081 | 2.9237 | 100.5242 | 0.012248 | 100.6402 | 0.013581 | 100.7563 | 0.011086 | 100.8724 | 0.012599 | 101.0899 | 0.0082523 | 101.206 | 0.0119 | 101.3221 | 0.01131 | 101.4382 | 0.0071893 | 101.5542 | 0.0092642 | 101.6703 | 0.0086604 | 101.7864 | 0.0078055 | 101.9025 | 0.00093213 | 102.1199 | 0.0074623 | 102.236 | -0.00041613 | 102.3521
2.9156 | 104.9998 | 0.010782 | 105.1159 | 0.013129 | 105.232 | 0.015031 | 105.348 | 0.01349 | 105.4641 | 0.012258 | 105.5802 | 0.0086011 | 105.6963 | 0.012764 | 105.8124 | 0.01414 | 106.0299 | 0.012698 | 106.146 | 0.012747 | 106.2621 | 0.013747 | 106.3782 | 0.01172 | 106.4943 | 0.010249 | 106.6103 | 0.010851 | 106.7264 | 0.012578 | 106.8425 | 0.0095094 | 107.06 | 0.014459 | 107.1761 | 0.0087467 | 107.2922 | 0.012957 | 107.4082 | 2.9238 | 107.5243 | 0.012248 | 107.6404 | 0.01358 | 107.7565 | 0.011089 | 107.8725 | 0.012603 | 108.09 | 0.0082526 | 108.2061 | 0.011901 | 108.3222 | 0.011311 | 108.4382 | 0.0071899 | 108.5543 | 0.0092653 | 108.6704 | 0.008661 | 108.7865 | 0.0078062 | 108.9025 | 0.00093232 | 109.12 | 0.0074637 | 109.2361 | -0.00041624 | 109.3522
2.9156 | 111.9998 | 0.010783 | 112.1159 | 0.01313 | 112.232 | 0.015032 | 112.348 | 0.01349 | 112.4641 | 0.012258 | 112.5802 | 0.0086016 | 112.6963 | 0.012764 | 112.8124 | 0.01414 | 113.0298 | 0.012699 | 113.1459 | 0.012747 | 113.262 | 0.013748 | 113.3781 | 0.01172 | 113.4942 | 0.010249 | 113.6102 | 0.010852 | 113.7263 | 0.012579 | 113.8424 | 0.0095102 | 114.0599 | 0.014459 | 114.1759 | 0.0087469 | 114.292 | 0.012957 | 114.4081 | 2.9238 | 114.5242 | 0.012248 | 114.6403 | 0.013581 | 114.7564 | 0.011089 | 114.8724 | 0.012602 | 115.0899 | 0.0082534 | 115.206 | 0.011901 | 115.322 | 0.011312 | 115.4381 | 0.0071905 | 115.5542 | 0.0092655 | 115.6703 | 0.0086616 | 115.7863 | 0.0078067 | 115.9024 | 0.00093241 | 116.12 | 0.0074645 | 116.2361 | -0.00041623 | 116.3522
2.9156 | 118.9998 | 0.010784 | 119.1159 | 0.013131 | 119.2319 | 0.015032 | 119.348 | 0.01349 | 119.4641 | 0.012258 | 119.5802 | 0.0086017 | 119.6963 | 0.012765 | 119.8123 | 0.014141 | 120.0298 | 0.012699 | 120.1459 | 0.012749 | 120.2619 | 0.013749 | 120.378 | 0.011721 | 120.4941 | 0.010249 | 120.6102 | 0.010853 | 120.7263 | 0.012579 | 120.8424 | 0.0095108 | 121.0599 | 0.01446 | 121.1761 | 0.0087474 | 121.2922 | 0.012958 | 121.4083 | 2.9238 | 121.5244 | 0.012249 | 121.6404 | 0.013583 | 121.7565 | 0.011087 | 121.8726 | 0.012599 | 122.0901 | 0.0082538 | 122.2062 | 0.011902 | 122.3223 | 0.011312 | 122.4383 | 0.0071914 | 122.5544 | 0.0092664 | 122.6705 | 0.008662 | 122.7865 | 0.0078071 | 122.9026 | 0.0009327 | 123.1201 | 0.0074651 | 123.2362 | -0.00041573 | 123.3523
2.9156 | 125.9998 | 0.010784 | 126.1158 | 0.013131 | 126.232 | 0.015033 | 126.3482 | 0.013491 | 126.4643 | 0.012259 | 126.5804 | 0.0086027 | 126.6965 | 0.012765 | 126.8125 | 0.01414 | 127.03 | 0.012699 | 127.1461 | 0.012748 | 127.2621 | 0.013749 | 127.3782 | 0.011722 | 127.4943 | 0.01025 | 127.6104 | 0.010853 | 127.7265 | 0.012579 | 127.8425 | 0.0095108 | 128.0601 | 0.01446 | 128.1761 | 0.0087471 | 128.2922 | 0.012958 | 128.4083 | 2.9238 | 128.5244 | 0.01225 | 128.6405 | 0.013584 | 128.7565 | 0.011086 | 128.8726 | 0.012599 | 129.0901 | 0.0082548 | 129.2062 | 0.011901 | 129.3222 | 0.011311 | 129.4383 | 0.0071898 | 129.5544 | 0.009265 | 129.6704 | 0.0086609 | 129.7865 | 0.0078063 | 129.9026 | 0.0009328 | 130.1201 | 0.0074637 | 130.2361 | -0.00041606 | 130.3522
2.9156 | 132.9998 | 0.010784 | 133.1159 | 0.013131 | 133.232 | 0.015032 | 133.3481 | 0.013491 | 133.4641 | 0.012258 | 133.5802 | 0.0086025 | 133.6963 | 0.012765 | 133.8124 | 0.014139 | 134.0299 | 0.012698 | 134.1459 | 0.012747 | 134.262 | 0.013748 | 134.3781 | 0.01172 | 134.4942 | 0.01025 | 134.6102 | 0.010854 | 134.7263 | 0.012579 | 134.8424 | 0.0095106 | 135.0599 | 0.01446 | 135.176 | 0.0087474 | 135.2921 | 0.012957 | 135.4082 | 2.9238 | 135.5243 | 0.012251 | 135.6403 | 0.013583 | 135.7564 | 0.011084 | 135.8725 | 0.012597 | 136.09 | 0.0082549 | 136.2061 | 0.0119 | 136.3223 | 0.01131 | 136.4384 | 0.0071891 | 136.5545 | 0.0092644 | 136.6705 | 0.0086607 | 136.7866 | 0.0078053 | 136.9027 | 0.00093214 | 137.1202 | 0.007464 | 137.2363 | -0.00041622 | 137.3523
2.9156 | 139.9998 | 0.010784 | 140.1159 | 0.013131 | 140.232 | 0.015032 | 140.348 | 0.013491 | 140.4641 | 0.012258 | 140.5802 | 0.0086025 | 140.6963 | 0.012765 | 140.8124 | 0.014138 | 141.0298 | 0.012697 | 141.1459 | 0.012746 | 141.262 | 0.013747 | 141.3782 | 0.011719 | 141.4943 | 0.010251 | 141.6103 | 0.010854 | 141.7264 | 0.01258 | 141.8425 | 0.0095108 | 142.06 | 0.01446 | 142.1761 | 0.0087476 | 142.2922 | 0.012958 | 142.4083 | 2.9238 | 142.5244 | 0.01225 | 142.6404 | 0.013583 | 142.7565 | 0.011086 | 142.8726 | 0.012599 | 143.0901 | 0.0082543 | 143.2062 | 0.011902 | 143.3222 | 0.011311 | 143.4383 | 0.0071903 | 143.5544 | 0.0092652 | 143.6704 | 0.0086617 | 143.7865 | 0.0078064 | 143.9026 | 0.0009325 | 144.1201 | 0.0074647 | 144.2361 | -0.00041605 | 144.3522
2.9156 | 146.9998 | 0.010784 | 147.1159 | 0.013132 | 147.232 | 0.015033 | 147.348 | 0.013491 | 147.4641 | 0.012259 | 147.5802 | 0.0086033 | 147.6963 | 0.012766 | 147.8124 | 0.01414 | 148.0298 | 0.0127 | 148.1459 | 0.012748 | 148.262 | 0.013748 | 148.3781 | 0.01172 | 148.4941 | 0.010252 | 148.6102 | 0.010855 | 148.7263 | 0.01258 | 148.8423 | 0.0095112 | 149.0599 | 0.014462 | 149.1759 | 0.0087485 | 149.292 | 0.012959 | 149.4081 | 2.9238 | 149.5242 | 0.012251 | 149.6402 | 0.013584 | 149.7563 | 0.011089 | 149.8724 | 0.012603 | 150.0899 | 0.0082555 | 150.206 | 0.011904 | 150.322 | 0.011313 | 150.4381 | 0.0071913 | 150.5542 | 0.0092665 | 150.6702 | 0.008663 | 150.7863 | 0.0078076 | 150.9024 | 0.00093277 | 151.1199 | 0.0074663 | 151.2359 | -0.00041549 | 151.352
2.9156 | 153.9998 | 0.010784 | 154.1159 | 0.013132 | 154.232 | 0.015033 | 154.3481 | 0.013492 | 154.4641 | 0.012259 | 154.5802 | 0.0086038 | 154.6963 | 0.012766 | 154.8124 | 0.014142 | 155.0298 | 0.012702 | 155.1459 | 0.01275 | 155.262 | 0.01375 | 155.378 | 0.011722 | 155.4941 | 0.010253 | 155.6102 | 0.010856 | 155.7263 | 0.012581 | 155.8424 | 0.0095117 | 156.0599 | 0.014462 | 156.1759 | 0.0087489 | 156.292 | 0.01296 | 156.4081 | 2.9238 | 156.5242 | 0.012252 | 156.6404 | 0.013583 | 156.7564 | 0.011089 | 156.8725 | 0.012603 | 157.09 | 0.008255 | 157.206 | 0.011904 | 157.3221 | 0.011314 | 157.4382 | 0.007192 | 157.5543 | 0.0092672 | 157.6703 | 0.0086629 | 157.7864 | 0.007808 | 157.9025 | 0.00093262 | 158.1199 | 0.0074664 | 158.236 | -0.00041534 | 158.3521
2.9156 | 160.9998 | 0.010783 | 161.1159 | 0.013131 | 161.232 | 0.015032 | 161.348 | 0.013491 | 161.4641 | 0.012258 | 161.585 | 0.0086027 | 161.7011 | 0.012765 | 161.8172 | 0.014142 | 162.0347 | 0.012702 | 162.1507 | 0.01275 | 162.2668 | 0.013751 | 162.3829 | 0.011722 | 162.499 | 0.010254 | 162.615 | 0.010857 | 162.7311 | 0.012582 | 162.8472 | 0.0095123 | 163.0647 | 0.014462 | 163.1808 | 0.0087492 | 163.2969 | 0.01296 | 163.4129 | 2.9238 | 163.529 | 0.012251 | 163.6451 | 0.013582 | 163.7611 | 0.011089 | 163.8772 | 0.012601 | 164.0947 | 0.0082542 | 164.2108 | 0.011903 | 164.3268 | 0.011314 | 164.4429 | 0.0071918 | 164.559 | 0.009267 | 164.675 | 0.0086632 | 164.7911 | 0.0078087 | 164.9072 | 0.00093295 | 165.1247 | 0.0074662 | 165.2408 | -0.00041565 | 165.3568
2.9156 | 167.9998 | 0.010784 | 168.1159 | 0.013131 | 168.232 | 0.015032 | 168.3481 | 0.013491 | 168.4641 | 0.012258 | 168.5802 | 0.0086026 | 168.6963 | 0.012766 | 168.8124 | 0.014141 | 169.0299 | 0.012701 | 169.1459 | 0.012749 | 169.262 | 0.01375 | 169.3781 | 0.011722 | 169.4942 | 0.010253 | 169.6103 | 0.010856 | 169.7264 | 0.012581 | 169.8425 | 0.0095119 | 170.0599 | 0.014462 | 170.176 | 0.0087486 | 170.2921 | 0.012959 | 170.4082 | 2.9238 | 170.5243 | 0.012251 | 170.6404 | 0.013583 | 170.7565 | 0.011085 | 170.8725 | 0.012599 | 171.09 | 0.0082543 | 171.2061 | 0.011902 | 171.3221 | 0.011313 | 171.4382 | 0.0071913 | 171.5543 | 0.009266 | 171.6791 | 0.0086627 | 171.7953 | 0.0078071 | 171.9113 | 0.00093263 | 172.1288 | 0.0074642 | 172.2449 | -0.00041574 | 172.3609
2.9156 | 174.9998 | 0.010784 | 175.1159 | 0.013132 | 175.232 | 0.015033 | 175.348 | 0.013492 | 175.4641 | 0.012258 | 175.5802 | 0.0086021 | 175.6962 | 0.012766 | 175.8123 | 0.014139 | 176.0298 | 0.0127 | 176.1458 | 0.012749 | 176.2619 | 0.013749 | 176.378 | 0.011722 | 176.4941 | 0.010252 | 176.6101 | 0.010855 | 176.7335 | 0.01258 | 176.8496 | 0.0095114 | 177.0671 | 0.014461 | 177.1832 | 0.0087485 | 177.2992 | 0.012958 | 177.4153 | 2.9238 | 177.5314 | 0.012251 | 177.6475 | 0.013583 | 177.7635 | 0.011085 | 177.8796 | 0.012599 | 178.0971 | 0.0082535 | 178.2132 | 0.011903 | 178.3293 | 0.011313 | 178.4453 | 0.0071911 | 178.5614 | 0.0092666 | 178.6775 | 0.0086626 | 178.7936 | 0.0078081 | 178.9096 | 0.00093311 | 179.1271 | 0.0074652 | 179.2432 | -0.00041539 | 179.3593
2.9157 | 181.9998 | 0.010784 | 182.1159 | 0.013132 | 182.232 | 0.015033 | 182.3481 | 0.013492 | 182.4641 | 0.012259 | 182.5802 | 0.0086029 | 182.6963 | 0.012767 | 182.8124 | 0.014141 | 183.0298 | 0.012703 | 183.1459 | 0.012752 | 183.262 | 0.013752 | 183.3781 | 0.011723 | 183.4941 | 0.010254 | 183.6102 | 0.010858 | 183.7263 | 0.012581 | 183.8424 | 0.0095123 | 184.0599 | 0.014461 | 184.176 | 0.0087489 | 184.292 | 0.012959 | 184.4081 | 2.9238 | 184.5242 | 0.012252 | 184.6403 | 0.013584 | 184.7563 | 0.011088 | 184.8724 | 0.012601 | 185.0899 | 0.0082545 | 185.206 | 0.011905 | 185.322 | 0.011315 | 185.4381 | 0.0071924 | 185.5542 | 0.0092679 | 185.6703 | 0.0086638 | 185.7863 | 0.0078094 | 185.9024 | 0.00093298 | 186.1199 | 0.0074676 | 186.2359 | -0.00041504 | 186.352
2.9157 | 188.9998 | 0.010786 | 189.1159 | 0.013135 | 189.232 | 0.015035 | 189.3481 | 0.013495 | 189.4641 | 0.012261 | 189.5802 | 0.0086046 | 189.6963 | 0.012769 | 189.8124 | 0.014143 | 190.0298 | 0.012705 | 190.1459 | 0.012753 | 190.262 | 0.013753 | 190.3781 | 0.011724 | 190.4941 | 0.010256 | 190.6102 | 0.01086 | 190.7263 | 0.012582 | 190.8424 | 0.0095136 | 191.0599 | 0.014462 | 191.176 | 0.0087497 | 191.292 | 0.01296 | 191.4081 | 2.9239 | 191.5242 | 0.012253 | 191.6403 | 0.013586 | 191.7564 | 0.011092 | 191.8812 | 0.012605 | 192.0987 | 0.0082562 | 192.2148 | 0.011907 | 192.3308 | 0.011317 | 192.4469 | 0.0071947 | 192.563 | 0.0092698 | 192.6791 | 0.0086657 | 192.7951 | 0.0078112 | 192.9112 | 0.00093338 | 193.1287 | 0.007469 | 193.2448 | -0.0004148 | 193.3609
2.9157 | 195.9998 | 0.010787 | 196.1159 | 0.013135 | 196.232 | 0.015035 | 196.3481 | 0.013495 | 196.4641 | 0.012261 | 196.5802 | 0.0086051 | 196.6963 | 0.01277 | 196.8124 | 0.014144 | 197.0325 | 0.012706 | 197.1485 | 0.012753 | 197.2646 | 0.013753 | 197.3807 | 0.011724 | 197.4967 | 0.010256 | 197.6128 | 0.010861 | 197.7289 | 0.012582 | 197.845 | 0.0095133 | 198.0625 | 0.014463 | 198.1785 | 0.0087501 | 198.2946 | 0.01296 | 198.4107 | 2.9239 | 198.5268 | 0.012253 | 198.6429 | 0.013585 | 198.759 | 0.011093 | 198.875 | 0.012606 | 199.0925 | 0.0082575 | 199.2086 | 0.011907 | 199.3246 | 0.011318 | 199.4407 | 0.0071948 | 199.5568 | 0.0092702 | 199.6729 | 0.008666 | 199.7889 | 0.007811 | 199.905 | 0.00093363 | 200.1225 | 0.0074694 | 200.2385 | -0.00041487 | 200.3546
2.9157 | 202.9998 | 0.010788 | 203.1159 | 0.013136 | 203.232 | 0.015036 | 203.348 | 0.013496 | 203.4641 | 0.012261 | 203.5802 | 0.0086055 | 203.6963 | 0.01277 | 203.8124 | 0.014145 | 204.0298 | 0.012707 | 204.1459 | 0.012752 | 204.262 | 0.013752 | 204.378 | 0.011725 | 204.4941 | 0.010256 | 204.6102 | 0.010861 | 204.7262 | 0.012584 | 204.8423 | 0.0095139 | 205.0598 | 0.014463 | 205.1759 | 0.0087502 | 205.292 | 0.01296 | 205.4081 | 2.9239 | 205.5242 | 0.012253 | 205.6402 | 0.013586 | 205.7563 | 0.011093 | 205.8724 | 0.012605 | 206.0899 | 0.0082576 | 206.2059 | 0.011908 | 206.322 | 0.011318 | 206.4381 | 0.0071952 | 206.5542 | 0.0092703 | 206.6702 | 0.0086659 | 206.7863 | 0.0078116 | 206.9024 | 0.00093337 | 207.1199 | 0.0074691 | 207.236 | -0.00041504 | 207.352
2.9157 | 209.9998 | 0.010787 | 210.1159 | 0.013136 | 210.2319 | 0.015035 | 210.348 | 0.013496 | 210.4641 | 0.012261 | 210.5802 | 0.0086062 | 210.6963 | 0.01277 | 210.8123 | 0.014145 | 211.0298 | 0.012707 | 211.1459 | 0.012753 | 211.2619 | 0.013753 | 211.378 | 0.011725 | 211.4941 | 0.010256 | 211.6102 | 0.01086 | 211.7262 | 0.012584 | 211.8423 | 0.0095144 | 212.0676 | 0.014464 | 212.1837 | 0.008751 | 212.2998 | 0.012962 | 212.4158 | 2.9239 | 212.5319 | 0.012254 | 212.648 | 0.013586 | 212.7641 | 0.011093 | 212.8801 | 0.012605 | 213.0976 | 0.0082579 | 213.2137 | 0.011908 | 213.3298 | 0.011319 | 213.4459 | 0.0071957 | 213.562 | 0.0092711 | 213.678 | 0.0086668 | 213.7941 | 0.0078119 | 213.9102 | 0.00093353 | 214.1277 | 0.0074697 | 214.2437 | -0.00041476 | 214.3598
2.9157 | 216.9998 | 0.010787 | 217.1222 | 0.013136 | 217.2383 | 0.015035 | 217.3544 | 0.013496 | 217.4705 | 0.012262 | 217.5865 | 0.0086061 | 217.7026 | 0.01277 | 217.8187 | 0.014145 | 218.0362 | 0.012708 | 218.1523 | 0.012754 | 218.2684 | 0.013753 | 218.3844 | 0.011727 | 218.5005 | 0.010257 | 218.6166 | 0.010861 | 218.7327 | 0.012585 | 218.8487 | 0.0095155 | 219.0663 | 0.014465 | 219.1824 | 0.0087521 | 219.2984 | 0.012963 | 219.4145 | 2.9239 | 219.5306 | 0.012255 | 219.6467 | 0.013588 | 219.7627 | 0.011094 | 219.8788 | 0.012607 | 220.0963 | 0.0082591 | 220.2124 | 0.01191 | 220.3285 | 0.01132 | 220.4445 | 0.0071965 | 220.5606 | 0.0092721 | 220.6767 | 0.0086672 | 220.7928 | 0.0078126 | 220.9088 | 0.00093409 | 221.1263 | 0.0074698 | 221.2424 | -0.00041495 | 221.3585
2.9157 | 223.9998 | 0.010787 | 224.1159 | 0.013136 | 224.232 | 0.015036 | 224.348 | 0.013496 | 224.4641 | 0.012263 | 224.5802 | 0.0086055 | 224.6963 | 0.01277 | 224.8124 | 0.014146 | 225.0299 | 0.012708 | 225.1459 | 0.012755 | 225.262 | 0.013754 | 225.3781 | 0.011726 | 225.4942 | 0.010257 | 225.6102 | 0.010861 | 225.7263 | 0.012585 | 225.8424 | 0.0095161 | 226.0599 | 0.014466 | 226.176 | 0.0087524 | 226.2921 | 0.012963 | 226.4082 | 2.9239 | 226.5243 | 0.012256 | 226.6404 | 0.013588 | 226.7564 | 0.011094 | 226.8725 | 0.012607 | 227.09 | 0.0082596 | 227.2061 | 0.01191 | 227.3223 | 0.01132 | 227.4383 | 0.007197 | 227.5544 | 0.0092729 | 227.6705 | 0.0086689 | 227.7866 | 0.0078135 | 227.9027 | 0.00093401 | 228.1202 | 0.0074707 | 228.2362 | -0.00041433 | 228.3523
2.9157 | 230.9998 | 0.010787 | 231.1159 | 0.013135 | 231.232 | 0.015035 | 231.348 | 0.013495 | 231.4641 | 0.012262 | 231.5802 | 0.0086055 | 231.6963 | 0.01277 | 231.8124 | 0.014145 | 232.0298 | 0.012707 | 232.1459 | 0.012755 | 232.2696 | 0.013755 | 232.3857 | 0.011725 | 232.5018 | 0.010257 | 232.6179 | 0.010861 | 232.7339 | 0.012585 | 232.85 | 0.0095162 | 233.0675 | 0.014466 | 233.1836 | 0.008752 | 233.2997 | 0.012963 | 233.4158 | 2.9239 | 233.5319 | 0.012254 | 233.648 | 0.013587 | 233.764 | 0.011093 | 233.8801 | 0.012606 | 234.0976 | 0.008258 | 234.2137 | 0.011911 | 234.3298 | 0.01132 | 234.4458 | 0.0071969 | 234.5619 | 0.0092729 | 234.678 | 0.0086682 | 234.7941 | 0.0078129 | 234.9101 | 0.00093416 | 235.1276 | 0.00747 | 235.2437 | -0.00041383 | 235.3598
2.9157 | 237.9998 | 0.010787 | 238.1159 | 0.013135 | 238.232 | 0.015036 | 238.3481 | 0.013496 | 238.4641 | 0.012263 | 238.5802 | 0.0086056 | 238.6963 | 0.012771 | 238.8124 | 0.014144 | 239.0298 | 0.012707 | 239.1459 | 0.012754 | 239.262 | 0.013754 | 239.3781 | 0.011726 | 239.4941 | 0.010255 | 239.6102 | 0.01086 | 239.7263 | 0.012584 | 239.8424 | 0.0095147 | 240.0599 | 0.014464 | 240.176 | 0.008751 | 240.292 | 0.012962 | 240.4081 | 2.9239 | 240.5242 | 0.012255 | 240.6403 | 0.013588 | 240.7563 | 0.01109 | 240.8724 | 0.012602 | 241.0899 | 0.0082569 | 241.206 | 0.01191 | 241.322 | 0.011318 | 241.4381 | 0.007195 | 241.5542 | 0.0092717 | 241.6703 | 0.0086674 | 241.7864 | 0.0078115 | 241.9025 | 0.00093417 | 242.1199 | 0.0074685 | 242.236 | -0.00041492 | 242.3522
2.9157 | 244.9998 | 0.010787 | 245.1159 | 0.013135 | 245.232 | 0.015036 | 245.348 | 0.013495 | 245.4641 | 0.012263 | 245.5802 | 0.0086056 | 245.6963 | 0.01277 | 245.8123 | 0.014142 | 246.0298 | 0.012704 | 246.1459 | 0.012751 | 246.2619 | 0.013751 | 246.378 | 0.011722 | 246.4941 | 0.010253 | 246.6102 | 0.010857 | 246.7263 | 0.012583 | 246.8423 | 0.0095141 | 247.0598 | 0.014463 | 247.1759 | 0.0087499 | 247.292 | 0.012961 | 247.4084 | 2.9239 | 247.5245 | 0.012252 | 247.6406 | 0.013585 | 247.7566 | 0.011089 | 247.8727 | 0.012603 | 248.0902 | 0.0082569 | 248.2063 | 0.011908 | 248.3224 | 0.011317 | 248.4384 | 0.0071936 | 248.5545 | 0.0092702 | 248.6706 | 0.0086659 | 248.7867 | 0.0078105 | 248.9028 | 0.00093376 | 249.1202 | 0.0074673 | 249.2363 | -0.00041461 | 249.3524
2.9157 | 251.9998 | 0.010787 | 252.1159 | 0.013135 | 252.2319 | 0.015035 | 252.348 | 0.013495 | 252.4724 | 0.012262 | 252.5885 | 0.0086049 | 252.7045 | 0.012768 | 252.8206 | 0.014141 | 253.0381 | 0.012704 | 253.1542 | 0.01275 | 253.2702 | 0.013751 | 253.3863 | 0.011722 | 253.5024 | 0.010253 | 253.6185 | 0.010856 | 253.7345 | 0.012582 | 253.8506 | 0.009513 | 254.0681 | 0.014463 | 254.1842 | 0.0087494 | 254.3002 | 0.012961 | 254.4163 | 2.9239 | 254.5324 | 0.012252 | 254.6485 | 0.013585 | 254.7646 | 0.011091 | 254.8807 | 0.012604 | 255.0981 | 0.0082567 | 255.2142 | 0.011907 | 255.3303 | 0.011316 | 255.4464 | 0.0071936 | 255.5625 | 0.0092696 | 255.6785 | 0.0086652 | 255.7946 | 0.0078098 | 255.9107 | 0.00093394 | 256.1281 | 0.0074673 | 256.2442 | -0.00041466 | 256.3603
2.9157 | 258.9998 | 0.010788 | 259.1159 | 0.013135 | 259.232 | 0.015036 | 259.348 | 0.013495 | 259.4641 | 0.012262 | 259.5802 | 0.0086048 | 259.6963 | 0.012769 | 259.8124 | 0.014144 | 260.0298 | 0.012705 | 260.1459 | 0.012751 | 260.262 | 0.013752 | 260.378 | 0.011725 | 260.4941 | 0.010252 | 260.6102 | 0.010856 | 260.7263 | 0.012581 | 260.8423 | 0.0095124 | 261.0599 | 0.014463 | 261.1759 | 0.0087488 | 261.292 | 0.01296 | 261.4081 | 2.9239 | 261.5242 | 0.012252 | 261.6403 | 0.013586 | 261.7563 | 0.011092 | 261.8724 | 0.012607 | 262.0899 | 0.0082566 | 262.2059 | 0.011906 | 262.322 | 0.011315 | 262.4381 | 0.0071936 | 262.5542 | 0.0092686 | 262.6703 | 0.0086644 | 262.7864 | 0.0078092 | 262.9025 | 0.0009335 | 263.1199 | 0.007466 | 263.236 | -0.00041506 | 263.3521
2.9157 | 265.9998 | 0.010788 | 266.1159 | 0.013136 | 266.232 | 0.015037 | 266.348 | 0.013495 | 266.4641 | 0.012263 | 266.5802 | 0.0086063 | 266.6963 | 0.01277 | 266.8124 | 0.014146 | 267.0298 | 0.012705 | 267.1459 | 0.012753 | 267.2619 | 0.013754 | 267.378 | 0.011727 | 267.4941 | 0.010252 | 267.6104 | 0.010856 | 267.7266 | 0.012581 | 267.8426 | 0.0095125 | 268.0601 | 0.014463 | 268.1762 | 0.0087497 | 268.2923 | 0.01296 | 268.4084 | 2.9239 | 268.5245 | 0.012253 | 268.6406 | 0.013587 | 268.7567 | 0.011093 | 268.8728 | 0.012607 | 269.0902 | 0.0082579 | 269.2063 | 0.011906 | 269.3224 | 0.011315 | 269.4385 | 0.0071936 | 269.5545 | 0.0092685 | 269.6706 | 0.0086647 | 269.7867 | 0.0078098 | 269.9028 | 0.00093359 | 270.1202 | 0.007467 | 270.2363 | -0.0004146 | 270.3524
2.9157 | 272.9998 | 0.010788 | 273.1159 | 0.013136 | 273.232 | 0.015038 | 273.3481 | 0.013496 | 273.4641 | 0.012265 | 273.5802 | 0.0086063 | 273.6963 | 0.01277 | 273.8124 | 0.014146 | 274.0298 | 0.012705 | 274.1459 | 0.012754 | 274.262 | 0.013755 | 274.378 | 0.011728 | 274.4941 | 0.010254 | 274.6102 | 0.010857 | 274.7263 | 0.012583 | 274.8424 | 0.0095133 | 275.0599 | 0.014464 | 275.176 | 0.0087498 | 275.2921 | 0.012963 | 275.4081 | 2.9239 | 275.5242 | 0.012253 | 275.6403 | 0.013588 | 275.7564 | 0.011092 | 275.8725 | 0.012606 | 276.0899 | 0.008258 | 276.206 | 0.011908 | 276.3221 | 0.011318 | 276.4382 | 0.007195 | 276.5542 | 0.0092706 | 276.6703 | 0.0086665 | 276.7864 | 0.0078117 | 276.9025 | 0.0009338 | 277.1199 | 0.0074694 | 277.236 | -0.00041521 | 277.3521
2.9157 | 279.9998 | 0.010787 | 280.1159 | 0.013135 | 280.232 | 0.015037 | 280.3481 | 0.013494 | 280.4642 | 0.012263 | 280.5803 | 0.0086057 | 280.6964 | 0.012769 | 280.8124 | 0.014144 | 281.0299 | 0.012703 | 281.146 | 0.012754 | 281.262 | 0.013753 | 281.3781 | 0.011727 | 281.4942 | 0.010254 | 281.6103 | 0.010858 | 281.7263 | 0.012585 | 281.8424 | 0.0095147 | 282.0599 | 0.014465 | 282.176 | 0.0087513 | 282.292 | 0.012964 | 282.4081 | 2.9239 | 282.5242 | 0.012253 | 282.6403 | 0.013587 | 282.7564 | 0.011093 | 282.8726 | 0.012606 | 283.09 | 0.0082585 | 283.2061 | 0.01191 | 283.3222 | 0.011319 | 283.4383 | 0.007196 | 283.5544 | 0.0092715 | 283.6704 | 0.0086668 | 283.7865 | 0.0078124 | 283.9026 | 0.0009338 | 284.12 | 0.0074704 | 284.2361 | -0.00041482 | 284.3522
2.9157 | 286.9998 | 0.010787 | 287.1159 | 0.013135 | 287.232 | 0.015037 | 287.348 | 0.013494 | 287.4641 | 0.012262 | 287.5802 | 0.0086058 | 287.6963 | 0.012769 | 287.8126 | 0.014144 | 288.0302 | 0.012704 | 288.1462 | 0.012754 | 288.2623 | 0.013754 | 288.3784 | 0.011727 | 288.4945 | 0.010255 | 288.6106 | 0.010858 | 288.7266 | 0.012586 | 288.8427 | 0.0095151 | 289.0602 | 0.014466 | 289.1763 | 0.008752 | 289.2924 | 0.012964 | 289.4085 | 2.9239 | 289.5245 | 0.012255 | 289.6406 | 0.01359 | 289.7567 | 0.011094 | 289.8728 | 0.012608 | 290.0903 | 0.0082597 | 290.2063 | 0.01191 | 290.3224 | 0.01132 | 290.4385 | 0.0071961 | 290.5546 | 0.0092719 | 290.6706 | 0.0086671 | 290.7867 | 0.0078122 | 290.9028 | 0.00093403 | 291.1203 | 0.0074698 | 291.2363 | -0.00041456 | 291.3524
2.9157 | 293.9998 | 0.010787 | 294.1159 | 0.013135 | 294.232 | 0.015037 | 294.3481 | 0.013495 | 294.4641 | 0.012262 | 294.5802 | 0.0086054 | 294.6963 | 0.012769 | 294.8124 | 0.014146 | 295.0299 | 0.012706 | 295.1459 | 0.012755 | 295.262 | 0.013755 | 295.3781 | 0.011727 | 295.4941 | 0.010256 | 295.6102 | 0.01086 | 295.7263 | 0.012585 | 295.8424 | 0.0095153 | 296.0599 | 0.014467 | 296.1759 | 0.008752 | 296.292 | 0.012963 | 296.4081 | 2.9239 | 296.5242 | 0.012256 | 296.6403 | 0.013589 | 296.7563 | 0.011093 | 296.8724 | 0.012607 | 297.0899 | 0.0082598 | 297.206 | 0.011909 | 297.322 | 0.011319 | 297.4381 | 0.0071958 | 297.5542 | 0.009271 | 297.6703 | 0.0086666 | 297.7864 | 0.0078115 | 297.9025 | 0.00093347 | 298.12 | 0.0074696 | 298.2361 | -0.00041458 | 298.3522
2.9158 | 300.9998 | 0.010787 | 301.1158 | 0.013136 | 301.2319 | 0.015036 | 301.348 | 0.013494 | 301.4641 | 0.012261 | 301.5802 | 0.0086056 | 301.6963 | 0.012769 | 301.8123 | 0.014145 | 302.0298 | 0.012706 | 302.1459 | 0.012755 | 302.262 | 0.013755 | 302.378 | 0.011728 | 302.4941 | 0.010256 | 302.6102 | 0.010861 | 302.7263 | 0.012585 | 302.8423 | 0.0095151 | 303.0599 | 0.014465 | 303.176 | 0.0087518 | 303.2921 | 0.012963 | 303.4082 | 2.9239 | 303.5243 | 0.012255 | 303.6404 | 0.013589 | 303.7564 | 0.011091 | 303.8725 | 0.012605 | 304.09 | 0.0082585 | 304.2061 | 0.011909 | 304.3221 | 0.01132 | 304.4382 | 0.0071955 | 304.5543 | 0.0092712 | 304.6703 | 0.0086669 | 304.7864 | 0.0078121 | 304.9025 | 0.00093379 | 305.12 | 0.0074695 | 305.236 | -0.00041512 | 305.3521
2.9157 | 307.9998 | 0.010787 | 308.1159 | 0.013135 | 308.232 | 0.015035 | 308.3481 | 0.013495 | 308.4642 | 0.012261 | 308.5802 | 0.0086051 | 308.6963 | 0.012769 | 308.8124 | 0.014145 | 309.0299 | 0.012705 | 309.1459 | 0.012754 | 309.262 | 0.013755 | 309.3781 | 0.011727 | 309.4941 | 0.010256 | 309.6102 | 0.010861 | 309.7263 | 0.012585 | 309.8424 | 0.0095154 | 310.0599 | 0.014466 | 310.176 | 0.0087514 | 310.2921 | 0.012963 | 310.4081 | 2.9239 | 310.5242 | 0.012255 | 310.6403 | 0.013589 | 310.7564 | 0.011094 | 310.8725 | 0.012609 | 311.0899 | 0.0082594 | 311.206 | 0.011909 | 311.3221 | 0.011319 | 311.4382 | 0.0071956 | 311.5543 | 0.0092716 | 311.6703 | 0.0086665 | 311.7864 | 0.0078115 | 311.9025 | 0.00093386 | 312.1199 | 0.007469 | 312.236 | -0.00041426 | 312.3521
2.9157 | 314.9998 | 0.010787 | 315.1159 | 0.013136 | 315.232 | 0.015036 | 315.3481 | 0.013495 | 315.4642 | 0.012262 | 315.5802 | 0.0086052 | 315.6963 | 0.012769 | 315.8124 | 0.014146 | 316.0298 | 0.012705 | 316.1459 | 0.012755 | 316.262 | 0.013755 | 316.3781 | 0.011728 | 316.4942 | 0.010256 | 316.6103 | 0.010859 | 316.7263 | 0.012585 | 316.8424 | 0.0095151 | 317.0599 | 0.014466 | 317.176 | 0.0087511 | 317.2921 | 0.012963 | 317.4081 | 2.9239 | 317.5242 | 0.012256 | 317.6403 | 0.01359 | 317.7564 | 0.011095 | 317.8725 | 0.012609 | 318.09 | 0.0082592 | 318.2061 | 0.01191 | 318.3222 | 0.011319 | 318.4383 | 0.0071954 | 318.5544 | 0.0092713 | 318.6705 | 0.0086666 | 318.7866 | 0.0078116 | 318.9026 | 0.00093375 | 319.1201 | 0.007469 | 319.2362 | -0.00041462 | 319.3523
2.9157 | 321.9998 | 0.010787 | 322.1159 | 0.013136 | 322.232 | 0.015036 | 322.3481 | 0.013495 | 322.4641 | 0.012263 | 322.5802 | 0.0086052 | 322.6963 | 0.012769 | 322.8123 | 0.014145 | 323.0298 | 0.012704 | 323.146 | 0.012755 | 323.2621 | 0.013754 | 323.3782 | 0.011727 | 323.4943 | 0.010256 | 323.6103 | 0.010859 | 323.7264 | 0.012584 | 323.8425 | 0.0095143 | 324.06 | 0.014465 | 324.1761 | 0.0087505 | 324.2921 | 0.012961 | 324.4082 | 2.9239 | 324.5243 | 0.012255 | 324.6404 | 0.013589 | 324.7565 | 0.011094 | 324.8725 | 0.012608 | 325.09 | 0.008258 | 325.2061 | 0.011908 | 325.3222 | 0.011317 | 325.4382 | 0.0071947 | 325.5543 | 0.0092701 | 325.6704 | 0.0086659 | 325.7864 | 0.0078105 | 325.9025 | 0.00093373 | 326.12 | 0.0074669 | 326.2361 | -0.00041431 | 326.3522
2.9157 | 328.9998 | 0.010786 | 329.1159 | 0.013135 | 329.232 | 0.015036 | 329.348 | 0.013494 | 329.4641 | 0.012261 | 329.5802 | 0.008604 | 329.6963 | 0.012768 | 329.8123 | 0.014143 | 330.0298 | 0.012703 | 330.1459 | 0.012753 | 330.262 | 0.013753 | 330.378 | 0.011724 | 330.4941 | 0.010253 | 330.6102 | 0.010857 | 330.7262 | 0.012581 | 330.8423 | 0.0095127 | 331.0598 | 0.014461 | 331.1759 | 0.0087495 | 331.292 | 0.012959 | 331.4081 | 2.9239 | 331.5242 | 0.012253 | 331.6403 | 0.013586 | 331.7563 | 0.011093 | 331.8724 | 0.012606 | 332.0899 | 0.0082553 | 332.206 | 0.011906 | 332.3221 | 0.011315 | 332.4381 | 0.0071921 | 332.5542 | 0.0092684 | 332.6703 | 0.0086639 | 332.7864 | 0.0078088 | 332.9025 | 0.00093372 | 333.1199