## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-18
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-18
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9114 | 0 | 0.010743 | 0.11613 | 0.013142 | 0.23222 | 0.015037 | 0.3483 | 0.013495 | 0.4644 | 0.012271 | 0.58047 | 0.0086278 | 0.69654 | 0.012771 | 0.81261 | 0.014145 | 1.0301 | 0.012705 | 1.1462 | 0.012766 | 1.2623 | 0.013764 | 1.3783 | 0.01167 | 1.4944 | 0.010267 | 1.6105 | 0.010865 | 1.7266 | 0.012535 | 1.8426 | 0.0095249 | 2.0601 | 0.01442 | 2.1762 | 0.0086957 | 2.2923 | 0.012974 | 2.4084 | 2.9199 | 2.5244 | 0.012274 | 2.6405 | 0.013604 | 2.7566 | 0.011109 | 2.8727 | 0.012622 | 3.0901 | 0.0082733 | 3.2062 | 0.011921 | 3.3223 | 0.011327 | 3.4384 | 0.007204 | 3.5545 | 0.0092833 | 3.6706 | 0.0086788 | 3.7866 | 0.0078144 | 3.9027 | 0.00094208 | 4.1201 | 0.0074807 | 4.2362 | -0.00040777 | 4.3523
2.9114 | 6.9998 | 0.010743 | 7.1159 | 0.013142 | 7.232 | 0.015037 | 7.3481 | 0.013495 | 7.4642 | 0.012271 | 7.5803 | 0.0086274 | 7.6963 | 0.01277 | 7.8124 | 0.014146 | 8.0299 | 0.012705 | 8.146 | 0.012766 | 8.262 | 0.013763 | 8.3781 | 0.01167 | 8.4942 | 0.010267 | 8.6103 | 0.010865 | 8.7264 | 0.012536 | 8.8424 | 0.0095253 | 9.0599 | 0.01442 | 9.176 | 0.0086963 | 9.2921 | 0.012975 | 9.4082 | 2.9199 | 9.5243 | 0.012274 | 9.6403 | 0.013604 | 9.7564 | 0.01111 | 9.8725 | 0.012623 | 10.09 | 0.008273 | 10.2061 | 0.011921 | 10.3222 | 0.011328 | 10.4383 | 0.0072045 | 10.5544 | 0.0092835 | 10.6704 | 0.0086784 | 10.7865 | 0.0078146 | 10.9026 | 0.00094212 | 11.12 | 0.0074803 | 11.2361 | -0.0004079 | 11.3522
2.9114 | 13.9998 | 0.010743 | 14.1159 | 0.013141 | 14.232 | 0.015037 | 14.3481 | 0.013494 | 14.4642 | 0.012271 | 14.5803 | 0.0086274 | 14.6963 | 0.01277 | 14.8124 | 0.014146 | 15.0299 | 0.012706 | 15.1459 | 0.012767 | 15.2621 | 0.013765 | 15.3781 | 0.011671 | 15.4942 | 0.010268 | 15.6103 | 0.010866 | 15.7264 | 0.012536 | 15.8424 | 0.0095255 | 16.0599 | 0.014421 | 16.176 | 0.0086966 | 16.2921 | 0.012975 | 16.4081 | 2.9199 | 16.5242 | 0.012275 | 16.6403 | 0.013606 | 16.7564 | 0.011111 | 16.8725 | 0.012623 | 17.0899 | 0.0082731 | 17.206 | 0.011922 | 17.3221 | 0.011328 | 17.4381 | 0.0072048 | 17.5542 | 0.0092839 | 17.6703 | 0.008679 | 17.7864 | 0.007815 | 17.9025 | 0.000942 | 18.1199 | 0.0074809 | 18.236 | -0.00040762 | 18.3521
2.9114 | 20.9998 | 0.010742 | 21.1159 | 0.01314 | 21.232 | 0.015036 | 21.3481 | 0.013494 | 21.4642 | 0.01227 | 21.5802 | 0.0086268 | 21.6963 | 0.012769 | 21.8124 | 0.014146 | 22.0299 | 0.012706 | 22.1459 | 0.012767 | 22.262 | 0.013765 | 22.3781 | 0.011672 | 22.4942 | 0.010269 | 22.6103 | 0.010867 | 22.7263 | 0.012536 | 22.8424 | 0.0095252 | 23.0599 | 0.014421 | 23.176 | 0.0086965 | 23.292 | 0.012975 | 23.4081 | 2.9199 | 23.5242 | 0.012276 | 23.6403 | 0.013606 | 23.7564 | 0.01111 | 23.8724 | 0.012623 | 24.0899 | 0.0082743 | 24.206 | 0.011922 | 24.3221 | 0.011327 | 24.4381 | 0.0072047 | 24.5542 | 0.0092833 | 24.6703 | 0.0086781 | 24.7863 | 0.0078138 | 24.9024 | 0.00094191 | 25.1199 | 0.0074801 | 25.2361 | -0.00040806 | 25.3522
2.9114 | 27.9998 | 0.010742 | 28.1159 | 0.013141 | 28.232 | 0.015036 | 28.3481 | 0.013494 | 28.4642 | 0.01227 | 28.5802 | 0.0086266 | 28.6963 | 0.012769 | 28.8124 | 0.014147 | 29.0299 | 0.012706 | 29.1459 | 0.012768 | 29.262 | 0.013765 | 29.3781 | 0.011673 | 29.4942 | 0.01027 | 29.6102 | 0.010868 | 29.7263 | 0.012536 | 29.8424 | 0.0095259 | 30.0599 | 0.014421 | 30.1759 | 0.0086972 | 30.2921 | 0.012976 | 30.4083 | 2.9199 | 30.5244 | 0.012277 | 30.6404 | 0.013607 | 30.7565 | 0.011109 | 30.8726 | 0.012621 | 31.0901 | 0.008275 | 31.2061 | 0.011922 | 31.3222 | 0.011327 | 31.4383 | 0.0072047 | 31.5544 | 0.0092832 | 31.6705 | 0.0086786 | 31.7865 | 0.0078142 | 31.9026 | 0.00094207 | 32.1201 | 0.0074805 | 32.2362 | -0.0004081 | 32.3523
2.9114 | 34.9998 | 0.010742 | 35.1159 | 0.013141 | 35.232 | 0.015036 | 35.3518 | 0.013494 | 35.4679 | 0.01227 | 35.584 | 0.0086264 | 35.7001 | 0.01277 | 35.8161 | 0.014145 | 36.0336 | 0.012706 | 36.1497 | 0.012767 | 36.2658 | 0.013764 | 36.3819 | 0.011672 | 36.498 | 0.01027 | 36.614 | 0.010868 | 36.7301 | 0.012537 | 36.8462 | 0.0095262 | 37.0637 | 0.014422 | 37.1798 | 0.0086973 | 37.2959 | 0.012977 | 37.4119 | 2.9199 | 37.528 | 0.012277 | 37.6441 | 0.013606 | 37.7602 | 0.011109 | 37.8762 | 0.012621 | 38.0937 | 0.0082747 | 38.2098 | 0.011921 | 38.3259 | 0.011328 | 38.4419 | 0.0072046 | 38.558 | 0.0092832 | 38.6741 | 0.0086787 | 38.7902 | 0.0078142 | 38.9063 | 0.0009417 | 39.1237 | 0.007481 | 39.2398 | -0.00040808 | 39.3559
2.9114 | 41.9998 | 0.010742 | 42.1159 | 0.013141 | 42.232 | 0.015036 | 42.3481 | 0.013494 | 42.4642 | 0.012269 | 42.5803 | 0.008627 | 42.6963 | 0.01277 | 42.8124 | 0.014145 | 43.0299 | 0.012706 | 43.146 | 0.012766 | 43.262 | 0.013764 | 43.3781 | 0.011671 | 43.4942 | 0.01027 | 43.6102 | 0.010869 | 43.7263 | 0.012537 | 43.8424 | 0.0095268 | 44.0599 | 0.014422 | 44.176 | 0.0086977 | 44.2921 | 0.012977 | 44.4082 | 2.9199 | 44.5242 | 0.012277 | 44.6403 | 0.013605 | 44.7564 | 0.011106 | 44.8725 | 0.012618 | 45.09 | 0.0082747 | 45.206 | 0.011922 | 45.3221 | 0.011329 | 45.4383 | 0.0072049 | 45.5544 | 0.0092838 | 45.6705 | 0.0086792 | 45.7866 | 0.0078147 | 45.9027 | 0.00094205 | 46.1201 | 0.0074818 | 46.2362 | -0.00040828 | 46.3523
2.9114 | 48.9998 | 0.010742 | 49.1159 | 0.013142 | 49.232 | 0.015036 | 49.3481 | 0.013495 | 49.4642 | 0.012268 | 49.5803 | 0.0086265 | 49.6963 | 0.012769 | 49.8124 | 0.014145 | 50.0299 | 0.012706 | 50.146 | 0.012767 | 50.262 | 0.013764 | 50.3781 | 0.01167 | 50.4943 | 0.010271 | 50.6104 | 0.010869 | 50.7265 | 0.012537 | 50.8426 | 0.0095263 | 51.0601 | 0.014422 | 51.1762 | 0.0086971 | 51.2923 | 0.012977 | 51.4083 | 2.9199 | 51.5244 | 0.012277 | 51.6405 | 0.013604 | 51.7566 | 0.011105 | 51.8727 | 0.012616 | 52.0901 | 0.0082743 | 52.2062 | 0.011921 | 52.3223 | 0.011328 | 52.4384 | 0.0072049 | 52.5545 | 0.0092833 | 52.6706 | 0.008679 | 52.7866 | 0.0078145 | 52.9027 | 0.00094199 | 53.1201 | 0.0074809 | 53.2362 | -0.00040798 | 53.3523
2.9114 | 55.9998 | 0.010737 | 56.1159 | 0.013137 | 56.232 | 0.01503 | 56.3481 | 0.013491 | 56.4642 | 0.012261 | 56.5802 | 0.0086214 | 56.6963 | 0.012763 | 56.8124 | 0.014142 | 57.0299 | 0.012702 | 57.1459 | 0.012764 | 57.262 | 0.013761 | 57.3781 | 0.011667 | 57.4942 | 0.010268 | 57.6102 | 0.010867 | 57.7263 | 0.012535 | 57.8424 | 0.0095242 | 58.0598 | 0.014418 | 58.1759 | 0.0086945 | 58.292 | 0.012974 | 58.4081 | 2.9199 | 58.5242 | 0.012273 | 58.6402 | 0.013601 | 58.7563 | 0.011107 | 58.8724 | 0.012618 | 59.0899 | 0.0082708 | 59.206 | 0.01192 | 59.322 | 0.011326 | 59.4381 | 0.0072036 | 59.5542 | 0.0092822 | 59.6703 | 0.0086778 | 59.7863 | 0.0078131 | 59.9024 | 0.00094179 | 60.1199 | 0.0074791 | 60.236 | -0.00040816 | 60.352
2.9114 | 62.9998 | 0.010734 | 63.1159 | 0.013134 | 63.232 | 0.015027 | 63.3481 | 0.013487 | 63.4642 | 0.012259 | 63.5803 | 0.0086187 | 63.6964 | 0.012762 | 63.8125 | 0.014139 | 64.0299 | 0.0127 | 64.146 | 0.012762 | 64.2621 | 0.01376 | 64.3782 | 0.011665 | 64.4942 | 0.010267 | 64.6103 | 0.010865 | 64.7264 | 0.012533 | 64.8425 | 0.0095229 | 65.06 | 0.014416 | 65.1761 | 0.0086927 | 65.2921 | 0.012971 | 65.4082 | 2.9199 | 65.5243 | 0.012271 | 65.6481 | 0.013599 | 65.7642 | 0.011108 | 65.8803 | 0.012621 | 66.0978 | 0.0082672 | 66.2138 | 0.011919 | 66.3299 | 0.011324 | 66.446 | 0.0072019 | 66.5621 | 0.0092804 | 66.6781 | 0.008677 | 66.7942 | 0.0078116 | 66.9103 | 0.00094155 | 67.1278 | 0.0074769 | 67.2439 | -0.0004083 | 67.3599
2.9114 | 69.9998 | 0.010736 | 70.1159 | 0.013135 | 70.232 | 0.015029 | 70.3481 | 0.013489 | 70.4642 | 0.012263 | 70.5802 | 0.0086207 | 70.7023 | 0.012764 | 70.8184 | 0.014137 | 71.0358 | 0.012698 | 71.1519 | 0.012761 | 71.268 | 0.013759 | 71.3841 | 0.011664 | 71.5001 | 0.010265 | 71.6162 | 0.010864 | 71.7323 | 0.01253 | 71.8484 | 0.0095202 | 72.0659 | 0.014414 | 72.1819 | 0.0086904 | 72.298 | 0.012969 | 72.4141 | 2.9199 | 72.5302 | 0.01227 | 72.6463 | 0.013598 | 72.7624 | 0.011107 | 72.8785 | 0.01262 | 73.0959 | 0.0082658 | 73.212 | 0.011918 | 73.3281 | 0.011323 | 73.4442 | 0.0072012 | 73.5603 | 0.0092795 | 73.6764 | 0.0086762 | 73.7924 | 0.0078107 | 73.9085 | 0.00094116 | 74.126 | 0.0074759 | 74.242 | -0.00040844 | 74.3581
2.9114 | 76.9998 | 0.010737 | 77.1159 | 0.013135 | 77.232 | 0.01503 | 77.3481 | 0.01349 | 77.4642 | 0.012264 | 77.5803 | 0.0086222 | 77.6964 | 0.012765 | 77.8124 | 0.014138 | 78.0299 | 0.012698 | 78.146 | 0.012761 | 78.2621 | 0.013759 | 78.3781 | 0.011664 | 78.4942 | 0.010263 | 78.6103 | 0.010862 | 78.7264 | 0.012528 | 78.8425 | 0.0095193 | 79.06 | 0.014411 | 79.176 | 0.0086897 | 79.2921 | 0.012967 | 79.4082 | 2.9199 | 79.5243 | 0.012268 | 79.6404 | 0.013598 | 79.7565 | 0.011103 | 79.8726 | 0.012614 | 80.09 | 0.0082648 | 80.2061 | 0.011918 | 80.3222 | 0.011323 | 80.4382 | 0.0072002 | 80.5543 | 0.0092792 | 80.6704 | 0.008675 | 80.7866 | 0.0078101 | 80.9027 | 0.00094084 | 81.1201 | 0.007475 | 81.2362 | -0.00040841 | 81.3523
2.9114 | 83.9998 | 0.010737 | 84.1159 | 0.013134 | 84.232 | 0.01503 | 84.3481 | 0.013489 | 84.4642 | 0.012263 | 84.5803 | 0.008621 | 84.6963 | 0.012763 | 84.8124 | 0.014136 | 85.0299 | 0.012696 | 85.146 | 0.012758 | 85.262 | 0.013757 | 85.3781 | 0.011662 | 85.4942 | 0.01026 | 85.6103 | 0.01086 | 85.7263 | 0.012527 | 85.8502 | 0.0095177 | 86.0677 | 0.014408 | 86.1838 | 0.0086884 | 86.2999 | 0.012965 | 86.416 | 2.9199 | 86.532 | 0.012266 | 86.6481 | 0.013595 | 86.7642 | 0.0111 | 86.8803 | 0.012611 | 87.0978 | 0.0082641 | 87.2139 | 0.011915 | 87.33 | 0.011319 | 87.446 | 0.0071974 | 87.5621 | 0.0092763 | 87.6782 | 0.0086723 | 87.7943 | 0.007807 | 87.9104 | 0.00094097 | 88.1279 | 0.0074719 | 88.2439 | -0.00040911 | 88.36
2.9114 | 90.9998 | 0.010736 | 91.1159 | 0.013132 | 91.232 | 0.015028 | 91.3481 | 0.013487 | 91.4642 | 0.012261 | 91.5803 | 0.0086193 | 91.6963 | 0.012762 | 91.8124 | 0.014136 | 92.0299 | 0.012696 | 92.1459 | 0.012757 | 92.262 | 0.013755 | 92.3781 | 0.01166 | 92.4942 | 0.01026 | 92.6102 | 0.01086 | 92.7263 | 0.012527 | 92.8424 | 0.0095179 | 93.0599 | 0.014408 | 93.176 | 0.0086886 | 93.2921 | 0.012966 | 93.4082 | 2.9199 | 93.5242 | 0.012266 | 93.6403 | 0.013593 | 93.7564 | 0.011103 | 93.8725 | 0.012614 | 94.0899 | 0.0082636 | 94.206 | 0.011914 | 94.3221 | 0.011319 | 94.4382 | 0.0071973 | 94.5542 | 0.0092757 | 94.6703 | 0.0086727 | 94.7864 | 0.0078072 | 94.9025 | 0.00094038 | 95.1199 | 0.0074729 | 95.236 | -0.00040951 | 95.3521
2.9114 | 97.9998 | 0.010736 | 98.1159 | 0.013133 | 98.232 | 0.015029 | 98.3481 | 0.013488 | 98.4642 | 0.012263 | 98.5803 | 0.0086195 | 98.6963 | 0.012763 | 98.8124 | 0.014137 | 99.0299 | 0.012699 | 99.146 | 0.012758 | 99.2621 | 0.013757 | 99.3781 | 0.011661 | 99.4942 | 0.010263 | 99.6103 | 0.010861 | 99.7264 | 0.012528 | 99.8424 | 0.0095191 | 100.0599 | 0.01441 | 100.176 | 0.0086904 | 100.2921 | 0.012966 | 100.4082 | 2.9199 | 100.5242 | 0.012268 | 100.6403 | 0.013594 | 100.7564 | 0.011106 | 100.8725 | 0.012617 | 101.0901 | 0.0082651 | 101.2062 | 0.011915 | 101.3223 | 0.011321 | 101.4384 | 0.0071987 | 101.5545 | 0.0092772 | 101.6705 | 0.0086737 | 101.7866 | 0.0078087 | 101.9027 | 0.00094058 | 102.1201 | 0.007475 | 102.2362 | -0.00040946 | 102.3522
2.9114 | 104.9998 | 0.010737 | 105.1159 | 0.013135 | 105.232 | 0.01503 | 105.3481 | 0.013489 | 105.4641 | 0.012264 | 105.5802 | 0.0086209 | 105.6963 | 0.012763 | 105.8124 | 0.014138 | 106.0365 | 0.0127 | 106.1526 | 0.01276 | 106.2687 | 0.013757 | 106.3847 | 0.011662 | 106.5008 | 0.010264 | 106.6169 | 0.010862 | 106.733 | 0.012529 | 106.8491 | 0.0095199 | 107.0666 | 0.014411 | 107.1826 | 0.0086912 | 107.2987 | 0.012967 | 107.4148 | 2.9199 | 107.5309 | 0.012269 | 107.647 | 0.013596 | 107.763 | 0.011106 | 107.8791 | 0.012617 | 108.0966 | 0.0082658 | 108.2126 | 0.011916 | 108.3287 | 0.011321 | 108.4448 | 0.0071991 | 108.5609 | 0.0092774 | 108.677 | 0.0086739 | 108.7931 | 0.0078086 | 108.9091 | 0.00094044 | 109.1266 | 0.0074747 | 109.2427 | -0.00040937 | 109.3587
2.9114 | 111.9998 | 0.010736 | 112.1159 | 0.013135 | 112.232 | 0.015029 | 112.3481 | 0.013488 | 112.4642 | 0.012262 | 112.5803 | 0.0086211 | 112.6963 | 0.012762 | 112.8124 | 0.014137 | 113.0299 | 0.012699 | 113.146 | 0.012758 | 113.2621 | 0.013758 | 113.3781 | 0.011661 | 113.4942 | 0.010264 | 113.6103 | 0.010863 | 113.7264 | 0.012527 | 113.8425 | 0.0095189 | 114.06 | 0.01441 | 114.1761 | 0.0086897 | 114.2921 | 0.012965 | 114.4082 | 2.9199 | 114.5243 | 0.012269 | 114.6404 | 0.013595 | 114.7564 | 0.011105 | 114.8725 | 0.012616 | 115.09 | 0.0082656 | 115.2061 | 0.011916 | 115.3221 | 0.01132 | 115.4382 | 0.0071986 | 115.5543 | 0.0092768 | 115.6704 | 0.0086729 | 115.7865 | 0.0078076 | 115.9025 | 0.00094046 | 116.1202 | 0.0074732 | 116.2364 | -0.00040955 | 116.3524
2.9114 | 118.9998 | 0.010736 | 119.1159 | 0.013134 | 119.232 | 0.015028 | 119.3481 | 0.013488 | 119.4642 | 0.012261 | 119.5803 | 0.0086195 | 119.6964 | 0.012762 | 119.8124 | 0.014135 | 120.0299 | 0.012697 | 120.146 | 0.012757 | 120.2621 | 0.013756 | 120.3781 | 0.011659 | 120.4942 | 0.010261 | 120.6103 | 0.01086 | 120.7264 | 0.012524 | 120.8425 | 0.0095165 | 121.06 | 0.014407 | 121.1849 | 0.0086877 | 121.301 | 0.012963 | 121.417 | 2.9199 | 121.5331 | 0.012267 | 121.6492 | 0.013594 | 121.7653 | 0.011105 | 121.8814 | 0.012615 | 122.0988 | 0.0082653 | 122.2149 | 0.011913 | 122.331 | 0.011317 | 122.4471 | 0.0071969 | 122.5632 | 0.0092756 | 122.6792 | 0.0086714 | 122.7953 | 0.0078061 | 122.9114 | 0.0009399 | 123.1289 | 0.0074715 | 123.245 | -0.00040919 | 123.361
2.9114 | 125.9998 | 0.010735 | 126.1159 | 0.013134 | 126.2393 | 0.015029 | 126.3554 | 0.013488 | 126.4714 | 0.01226 | 126.5875 | 0.0086184 | 126.7036 | 0.012763 | 126.8197 | 0.014135 | 127.0371 | 0.012696 | 127.1532 | 0.012757 | 127.2693 | 0.013756 | 127.3853 | 0.01166 | 127.5014 | 0.01026 | 127.6175 | 0.010858 | 127.7336 | 0.012524 | 127.8496 | 0.0095157 | 128.0671 | 0.014407 | 128.1832 | 0.0086873 | 128.2993 | 0.012963 | 128.4154 | 2.9199 | 128.5315 | 0.012266 | 128.6475 | 0.013595 | 128.7636 | 0.011105 | 128.8797 | 0.012616 | 129.0972 | 0.0082641 | 129.2132 | 0.011913 | 129.3293 | 0.011317 | 129.4454 | 0.0071965 | 129.5615 | 0.0092747 | 129.6776 | 0.0086709 | 129.7936 | 0.0078059 | 129.9097 | 0.00093978 | 130.1272 | 0.0074714 | 130.2432 | -0.00040947 | 130.3593
2.9114 | 132.9998 | 0.010736 | 133.1159 | 0.013133 | 133.232 | 0.015028 | 133.3481 | 0.013488 | 133.4642 | 0.01226 | 133.5802 | 0.0086183 | 133.6963 | 0.012762 | 133.8124 | 0.014136 | 134.0299 | 0.012696 | 134.1459 | 0.012757 | 134.262 | 0.013757 | 134.3781 | 0.011662 | 134.4941 | 0.01026 | 134.6102 | 0.010858 | 134.7263 | 0.012525 | 134.8424 | 0.0095163 | 135.0599 | 0.014407 | 135.176 | 0.0086876 | 135.292 | 0.012963 | 135.4081 | 2.9199 | 135.5242 | 0.012267 | 135.6403 | 0.013595 | 135.7564 | 0.011102 | 135.8725 | 0.012613 | 136.0899 | 0.008265 | 136.206 | 0.011913 | 136.3221 | 0.011318 | 136.4382 | 0.0071967 | 136.5543 | 0.0092749 | 136.6704 | 0.0086713 | 136.7865 | 0.0078063 | 136.9025 | 0.00093998 | 137.12 | 0.0074717 | 137.2361 | -0.00040953 | 137.3522
2.9114 | 139.9998 | 0.010736 | 140.1159 | 0.013133 | 140.232 | 0.015029 | 140.3481 | 0.013488 | 140.4642 | 0.012261 | 140.5803 | 0.0086196 | 140.6963 | 0.012763 | 140.8124 | 0.014137 | 141.0299 | 0.012697 | 141.146 | 0.012757 | 141.2621 | 0.013756 | 141.3866 | 0.01166 | 141.5027 | 0.010261 | 141.6188 | 0.01086 | 141.7348 | 0.012526 | 141.8509 | 0.009518 | 142.0684 | 0.014409 | 142.1845 | 0.0086892 | 142.3005 | 0.012965 | 142.4166 | 2.9199 | 142.5327 | 0.012267 | 142.6488 | 0.013595 | 142.7649 | 0.011102 | 142.881 | 0.012614 | 143.0984 | 0.0082657 | 143.2145 | 0.011912 | 143.3306 | 0.011318 | 143.4467 | 0.0071968 | 143.5628 | 0.009275 | 143.6788 | 0.0086714 | 143.7949 | 0.0078066 | 143.911 | 0.00093998 | 144.1285 | 0.0074722 | 144.2445 | -0.00040945 | 144.3606
2.9114 | 146.9998 | 0.010737 | 147.1159 | 0.013134 | 147.232 | 0.015029 | 147.3481 | 0.013488 | 147.4642 | 0.012262 | 147.5803 | 0.0086206 | 147.6963 | 0.012763 | 147.8124 | 0.014137 | 148.0299 | 0.012698 | 148.146 | 0.012756 | 148.262 | 0.013756 | 148.3781 | 0.011661 | 148.4942 | 0.010261 | 148.6103 | 0.01086 | 148.7263 | 0.012527 | 148.8424 | 0.0095183 | 149.0599 | 0.01441 | 149.176 | 0.0086897 | 149.292 | 0.012966 | 149.4081 | 2.9199 | 149.5242 | 0.012269 | 149.6403 | 0.013596 | 149.7564 | 0.011103 | 149.8724 | 0.012615 | 150.0899 | 0.0082667 | 150.206 | 0.011913 | 150.3221 | 0.011318 | 150.4381 | 0.0071966 | 150.5542 | 0.0092753 | 150.6703 | 0.0086713 | 150.7864 | 0.0078065 | 150.9024 | 0.00094011 | 151.1199 | 0.0074724 | 151.236 | -0.00040994 | 151.3521
2.9114 | 153.9998 | 0.010737 | 154.1159 | 0.013135 | 154.232 | 0.01503 | 154.3481 | 0.013488 | 154.4642 | 0.012263 | 154.5802 | 0.008621 | 154.6963 | 0.012764 | 154.8124 | 0.014138 | 155.0299 | 0.012699 | 155.146 | 0.012758 | 155.262 | 0.013757 | 155.3781 | 0.011662 | 155.4942 | 0.010262 | 155.6103 | 0.01086 | 155.7263 | 0.012528 | 155.8424 | 0.0095186 | 156.0599 | 0.014411 | 156.176 | 0.0086904 | 156.2921 | 0.012967 | 156.4082 | 2.9199 | 156.5242 | 0.012268 | 156.6404 | 0.013597 | 156.7564 | 0.011103 | 156.8725 | 0.012615 | 157.09 | 0.0082669 | 157.2061 | 0.011914 | 157.3222 | 0.011319 | 157.4383 | 0.0071971 | 157.5543 | 0.0092757 | 157.6704 | 0.0086719 | 157.7865 | 0.0078076 | 157.9026 | 0.00093982 | 158.12 | 0.0074733 | 158.2361 | -0.00040963 | 158.3522
2.9114 | 160.9998 | 0.010737 | 161.1159 | 0.013134 | 161.232 | 0.01503 | 161.3481 | 0.013488 | 161.4642 | 0.012262 | 161.5887 | 0.0086211 | 161.7048 | 0.012763 | 161.8209 | 0.014138 | 162.0384 | 0.012699 | 162.1545 | 0.012759 | 162.2705 | 0.013758 | 162.3866 | 0.011663 | 162.5027 | 0.010263 | 162.6188 | 0.010861 | 162.7349 | 0.012529 | 162.8509 | 0.0095197 | 163.0684 | 0.014412 | 163.1845 | 0.008691 | 163.3006 | 0.012967 | 163.4167 | 2.9199 | 163.5328 | 0.012269 | 163.6489 | 0.013597 | 163.765 | 0.011106 | 163.881 | 0.012617 | 164.0985 | 0.0082669 | 164.2146 | 0.011914 | 164.3307 | 0.01132 | 164.4468 | 0.0071982 | 164.5628 | 0.0092767 | 164.6789 | 0.0086732 | 164.795 | 0.007808 | 164.9111 | 0.00094031 | 165.1286 | 0.0074747 | 165.2446 | -0.00040939 | 165.3607
2.9114 | 167.9998 | 0.010737 | 168.1159 | 0.013134 | 168.232 | 0.01503 | 168.3481 | 0.013488 | 168.4642 | 0.012264 | 168.5802 | 0.0086214 | 168.6963 | 0.012764 | 168.8124 | 0.014139 | 169.0299 | 0.0127 | 169.146 | 0.012761 | 169.262 | 0.01376 | 169.3781 | 0.011664 | 169.4942 | 0.010264 | 169.6103 | 0.010862 | 169.7264 | 0.01253 | 169.8424 | 0.0095208 | 170.0599 | 0.014413 | 170.176 | 0.0086928 | 170.2921 | 0.012969 | 170.4082 | 2.9199 | 170.5243 | 0.01227 | 170.6404 | 0.013598 | 170.7564 | 0.011104 | 170.8725 | 0.012616 | 171.0899 | 0.0082674 | 171.206 | 0.011916 | 171.3221 | 0.011321 | 171.4382 | 0.0071989 | 171.5543 | 0.0092777 | 171.6704 | 0.0086735 | 171.7866 | 0.0078089 | 171.9027 | 0.00094048 | 172.1201 | 0.0074756 | 172.2362 | -0.00040913 | 172.3523
2.9114 | 174.9998 | 0.010737 | 175.1159 | 0.013134 | 175.232 | 0.015031 | 175.3481 | 0.013488 | 175.4642 | 0.012264 | 175.5802 | 0.0086219 | 175.6963 | 0.012764 | 175.8124 | 0.01414 | 176.0299 | 0.0127 | 176.146 | 0.012762 | 176.2621 | 0.013759 | 176.3781 | 0.011664 | 176.4942 | 0.010265 | 176.6103 | 0.010863 | 176.7264 | 0.01253 | 176.8425 | 0.0095203 | 177.06 | 0.014413 | 177.1761 | 0.0086925 | 177.2922 | 0.012968 | 177.4083 | 2.9199 | 177.5244 | 0.012269 | 177.6404 | 0.013597 | 177.7565 | 0.011104 | 177.8726 | 0.012616 | 178.09 | 0.0082669 | 178.2061 | 0.011917 | 178.3222 | 0.011321 | 178.4383 | 0.007199 | 178.5544 | 0.0092777 | 178.6704 | 0.0086736 | 178.7865 | 0.0078088 | 178.9026 | 0.00094044 | 179.1201 | 0.0074755 | 179.2362 | -0.0004095 | 179.3522
2.9114 | 181.9998 | 0.010737 | 182.1159 | 0.013135 | 182.232 | 0.01503 | 182.3481 | 0.013489 | 182.4642 | 0.012263 | 182.5802 | 0.0086215 | 182.6963 | 0.012763 | 182.8124 | 0.014139 | 183.0299 | 0.012699 | 183.146 | 0.01276 | 183.262 | 0.013758 | 183.3781 | 0.011663 | 183.4942 | 0.010264 | 183.6103 | 0.010862 | 183.7263 | 0.012529 | 183.8424 | 0.0095198 | 184.0599 | 0.014413 | 184.176 | 0.0086911 | 184.2921 | 0.012968 | 184.4081 | 2.9199 | 184.5242 | 0.012268 | 184.6403 | 0.013595 | 184.7564 | 0.011105 | 184.8725 | 0.012617 | 185.0899 | 0.0082658 | 185.206 | 0.011916 | 185.3221 | 0.011322 | 185.4381 | 0.0071987 | 185.5542 | 0.0092778 | 185.6703 | 0.0086734 | 185.7864 | 0.007809 | 185.9025 | 0.00094061 | 186.1199 | 0.0074753 | 186.236 | -0.00040928 | 186.3521
2.9114 | 188.9998 | 0.010737 | 189.1159 | 0.013135 | 189.232 | 0.01503 | 189.3481 | 0.013489 | 189.4642 | 0.012263 | 189.5802 | 0.0086213 | 189.6963 | 0.012764 | 189.8124 | 0.014139 | 190.0299 | 0.012699 | 190.146 | 0.01276 | 190.2621 | 0.013758 | 190.3781 | 0.011663 | 190.4942 | 0.010263 | 190.6103 | 0.010861 | 190.7264 | 0.012529 | 190.8425 | 0.0095193 | 191.0599 | 0.014412 | 191.176 | 0.0086914 | 191.2921 | 0.012968 | 191.4082 | 2.9198 | 191.5243 | 0.012268 | 191.6404 | 0.013596 | 191.7564 | 0.011106 | 191.8726 | 0.01262 | 192.0901 | 0.0082656 | 192.2062 | 0.011915 | 192.3223 | 0.011321 | 192.4384 | 0.0071989 | 192.5544 | 0.0092781 | 192.6705 | 0.0086739 | 192.7866 | 0.007809 | 192.9027 | 0.00094059 | 193.1202 | 0.0074752 | 193.2362 | -0.00040928 | 193.3523
2.9113 | 195.9998 | 0.010736 | 196.1159 | 0.013134 | 196.232 | 0.015029 | 196.3481 | 0.013488 | 196.4642 | 0.012263 | 196.5803 | 0.008621 | 196.6963 | 0.012764 | 196.8124 | 0.01414 | 197.03 | 0.012699 | 197.146 | 0.012762 | 197.2621 | 0.013759 | 197.3782 | 0.011664 | 197.4943 | 0.010263 | 197.6104 | 0.010861 | 197.7264 | 0.012528 | 197.8425 | 0.0095194 | 198.06 | 0.014412 | 198.1761 | 0.0086912 | 198.2922 | 0.012967 | 198.4082 | 2.9198 | 198.5243 | 0.012268 | 198.6404 | 0.013598 | 198.7565 | 0.011108 | 198.8726 | 0.012622 | 199.0901 | 0.0082657 | 199.2061 | 0.011915 | 199.3222 | 0.011321 | 199.4383 | 0.0071991 | 199.5544 | 0.0092779 | 199.6705 | 0.0086738 | 199.7866 | 0.0078089 | 199.9026 | 0.00094037 | 200.1201 | 0.0074756 | 200.2362 | -0.00040919 | 200.3523
2.9114 | 202.9998 | 0.010737 | 203.1159 | 0.013135 | 203.232 | 0.015031 | 203.3481 | 0.013489 | 203.4642 | 0.012264 | 203.5802 | 0.0086217 | 203.6963 | 0.012765 | 203.8124 | 0.01414 | 204.0299 | 0.012699 | 204.1459 | 0.012762 | 204.262 | 0.01376 | 204.3781 | 0.011665 | 204.4942 | 0.010263 | 204.6102 | 0.010863 | 204.7263 | 0.012529 | 204.8424 | 0.00952 | 205.0599 | 0.014412 | 205.176 | 0.0086911 | 205.292 | 0.012967 | 205.4081 | 2.9198 | 205.5242 | 0.012269 | 205.6403 | 0.013598 | 205.7563 | 0.011108 | 205.8724 | 0.01262 | 206.0899 | 0.0082664 | 206.206 | 0.011915 | 206.3221 | 0.011322 | 206.4381 | 0.0071996 | 206.5542 | 0.0092782 | 206.6703 | 0.0086741 | 206.7863 | 0.0078094 | 206.9024 | 0.00094065 | 207.1199 | 0.0074761 | 207.236 | -0.00040895 | 207.3521
2.9114 | 209.9998 | 0.010738 | 210.1159 | 0.013136 | 210.232 | 0.015031 | 210.3481 | 0.01349 | 210.4642 | 0.012264 | 210.5802 | 0.0086223 | 210.6963 | 0.012765 | 210.8124 | 0.014139 | 211.0299 | 0.0127 | 211.1459 | 0.012761 | 211.262 | 0.013758 | 211.3781 | 0.011664 | 211.4942 | 0.010263 | 211.6102 | 0.010863 | 211.7263 | 0.01253 | 211.8424 | 0.0095202 | 212.06 | 0.014413 | 212.1761 | 0.0086914 | 212.2922 | 0.012967 | 212.4083 | 2.9198 | 212.5244 | 0.01227 | 212.6404 | 0.013598 | 212.7565 | 0.011106 | 212.8726 | 0.012618 | 213.0901 | 0.0082668 | 213.2061 | 0.011916 | 213.3222 | 0.011322 | 213.4383 | 0.0072001 | 213.5544 | 0.0092786 | 213.6704 | 0.0086746 | 213.7865 | 0.0078099 | 213.9026 | 0.00094053 | 214.1201 | 0.0074761 | 214.2362 | -0.00040928 | 214.3522
2.9114 | 216.9998 | 0.010737 | 217.1162 | 0.013136 | 217.2323 | 0.01503 | 217.3484 | 0.013489 | 217.4645 | 0.012263 | 217.5806 | 0.0086217 | 217.6967 | 0.012763 | 217.8128 | 0.01414 | 218.0302 | 0.0127 | 218.1463 | 0.012762 | 218.2624 | 0.01376 | 218.3785 | 0.011666 | 218.4945 | 0.010264 | 218.6106 | 0.010863 | 218.7267 | 0.01253 | 218.8428 | 0.0095204 | 219.0603 | 0.014413 | 219.1764 | 0.0086918 | 219.2924 | 0.012968 | 219.4085 | 2.9198 | 219.5246 | 0.012271 | 219.6407 | 0.013599 | 219.7568 | 0.011105 | 219.8728 | 0.012617 | 220.0903 | 0.0082672 | 220.2064 | 0.011916 | 220.3225 | 0.011322 | 220.4385 | 0.0071994 | 220.5546 | 0.009278 | 220.6707 | 0.008674 | 220.7868 | 0.0078094 | 220.9029 | 0.00094064 | 221.1204 | 0.0074754 | 221.2364 | -0.00040926 | 221.3525
2.9114 | 223.9998 | 0.010738 | 224.1159 | 0.013137 | 224.232 | 0.01503 | 224.3481 | 0.01349 | 224.4642 | 0.012264 | 224.5803 | 0.0086226 | 224.6964 | 0.012765 | 224.8124 | 0.014142 | 225.0299 | 0.012703 | 225.146 | 0.012763 | 225.2621 | 0.013762 | 225.3781 | 0.011667 | 225.4942 | 0.010266 | 225.6103 | 0.010866 | 225.7264 | 0.012531 | 225.8425 | 0.0095214 | 226.0599 | 0.014414 | 226.176 | 0.0086927 | 226.2921 | 0.012969 | 226.4082 | 2.9199 | 226.5243 | 0.012271 | 226.6403 | 0.013601 | 226.7564 | 0.011109 | 226.8725 | 0.012622 | 227.09 | 0.0082681 | 227.2061 | 0.011917 | 227.3222 | 0.011322 | 227.4383 | 0.0072004 | 227.5544 | 0.0092786 | 227.6704 | 0.0086749 | 227.7865 | 0.0078096 | 227.9026 | 0.00094089 | 228.1201 | 0.0074765 | 228.2362 | -0.0004092 | 228.3522
2.9114 | 230.9998 | 0.010739 | 231.1159 | 0.013137 | 231.232 | 0.015031 | 231.3481 | 0.013491 | 231.4641 | 0.012265 | 231.5802 | 0.0086235 | 231.6963 | 0.012765 | 231.8124 | 0.014142 | 232.0299 | 0.012703 | 232.146 | 0.012763 | 232.2621 | 0.013762 | 232.3782 | 0.011667 | 232.4943 | 0.010265 | 232.6104 | 0.010865 | 232.7265 | 0.012531 | 232.8426 | 0.0095214 | 233.0601 | 0.014415 | 233.1761 | 0.0086929 | 233.2922 | 0.01297 | 233.4083 | 2.9199 | 233.5244 | 0.012271 | 233.6405 | 0.013601 | 233.7566 | 0.011109 | 233.8726 | 0.012621 | 234.0901 | 0.008268 | 234.2062 | 0.011917 | 234.3223 | 0.011323 | 234.4383 | 0.007201 | 234.5544 | 0.0092793 | 234.6705 | 0.0086756 | 234.7866 | 0.0078105 | 234.9026 | 0.00094042 | 235.1201 | 0.0074771 | 235.2362 | -0.00040886 | 235.3523
2.9114 | 237.9998 | 0.01074 | 238.1159 | 0.013137 | 238.232 | 0.015032 | 238.3481 | 0.013491 | 238.4642 | 0.012265 | 238.5803 | 0.0086232 | 238.6963 | 0.012766 | 238.8124 | 0.014141 | 239.0299 | 0.012702 | 239.146 | 0.012764 | 239.2621 | 0.013762 | 239.3781 | 0.011666 | 239.4942 | 0.010267 | 239.6103 | 0.010865 | 239.7264 | 0.012532 | 239.8425 | 0.0095221 | 240.0599 | 0.014415 | 240.176 | 0.0086933 | 240.2921 | 0.01297 | 240.4082 | 2.9198 | 240.5243 | 0.012271 | 240.6403 | 0.0136 | 240.7564 | 0.011108 | 240.8725 | 0.01262 | 241.09 | 0.0082678 | 241.2061 | 0.011917 | 241.3222 | 0.011323 | 241.4383 | 0.0072005 | 241.5543 | 0.0092796 | 241.6704 | 0.0086752 | 241.7865 | 0.0078105 | 241.9026 | 0.00094067 | 242.12 | 0.0074776 | 242.2361 | -0.00040855 | 242.3523
2.9114 | 244.9998 | 0.010739 | 245.1159 | 0.013138 | 245.232 | 0.015032 | 245.3481 | 0.013491 | 245.4642 | 0.012266 | 245.5803 | 0.0086232 | 245.6964 | 0.012765 | 245.8124 | 0.014142 | 246.0299 | 0.012702 | 246.146 | 0.012764 | 246.2621 | 0.013762 | 246.3781 | 0.011666 | 246.4942 | 0.010266 | 246.6103 | 0.010864 | 246.7264 | 0.012532 | 246.8424 | 0.0095224 | 247.0599 | 0.014415 | 247.176 | 0.008693 | 247.2921 | 0.012969 | 247.4083 | 2.9198 | 247.5244 | 0.012271 | 247.6405 | 0.0136 | 247.7565 | 0.011109 | 247.8726 | 0.012622 | 248.0901 | 0.0082688 | 248.2062 | 0.011918 | 248.3222 | 0.011324 | 248.4383 | 0.0072014 | 248.5544 | 0.0092795 | 248.6705 | 0.0086753 | 248.7866 | 0.0078109 | 248.9026 | 0.00094076 | 249.1201 | 0.0074778 | 249.2362 | -0.00040821 | 249.3523
2.9114 | 251.9998 | 0.010739 | 252.1159 | 0.013137 | 252.232 | 0.015032 | 252.3481 | 0.013491 | 252.4642 | 0.012265 | 252.5804 | 0.0086232 | 252.6965 | 0.012766 | 252.8125 | 0.014143 | 253.03 | 0.012703 | 253.1461 | 0.012764 | 253.2622 | 0.013762 | 253.3783 | 0.011667 | 253.4943 | 0.010267 | 253.6104 | 0.010866 | 253.7265 | 0.012533 | 253.8426 | 0.0095233 | 254.0601 | 0.014416 | 254.1761 | 0.0086942 | 254.2922 | 0.012971 | 254.4083 | 2.9198 | 254.5244 | 0.012273 | 254.6405 | 0.013602 | 254.7566 | 0.011112 | 254.8727 | 0.012625 | 255.0901 | 0.0082694 | 255.2062 | 0.011919 | 255.3223 | 0.011324 | 255.4384 | 0.0072016 | 255.5544 | 0.00928 | 255.6705 | 0.0086757 | 255.7866 | 0.0078115 | 255.9026 | 0.00094086 | 256.1201 | 0.007478 | 256.2362 | -0.00040857 | 256.3523
2.9114 | 258.9998 | 0.01074 | 259.1159 | 0.013138 | 259.232 | 0.015033 | 259.3481 | 0.013492 | 259.4642 | 0.012266 | 259.5803 | 0.0086244 | 259.6964 | 0.012767 | 259.8124 | 0.014145 | 260.0299 | 0.012705 | 260.146 | 0.012766 | 260.262 | 0.013764 | 260.3781 | 0.011669 | 260.4942 | 0.010267 | 260.6103 | 0.010867 | 260.7263 | 0.012534 | 260.8424 | 0.009524 | 261.0599 | 0.014417 | 261.176 | 0.0086951 | 261.2921 | 0.012972 | 261.4082 | 2.9199 | 261.5243 | 0.012273 | 261.6403 | 0.013603 | 261.7564 | 0.011113 | 261.8725 | 0.012627 | 262.09 | 0.0082714 | 262.2061 | 0.01192 | 262.3222 | 0.011326 | 262.4383 | 0.0072028 | 262.5544 | 0.0092809 | 262.6706 | 0.0086769 | 262.7866 | 0.0078124 | 262.9027 | 0.00094116 | 263.1202 | 0.0074795 | 263.2363 | -0.00040875 | 263.3524
2.9114 | 265.9998 | 0.010741 | 266.1159 | 0.013138 | 266.232 | 0.015034 | 266.3481 | 0.013493 | 266.4642 | 0.012267 | 266.5803 | 0.0086256 | 266.6963 | 0.012768 | 266.8124 | 0.014145 | 267.0299 | 0.012705 | 267.146 | 0.012766 | 267.2621 | 0.013764 | 267.3781 | 0.01167 | 267.4942 | 0.010267 | 267.6104 | 0.010867 | 267.7265 | 0.012534 | 267.8426 | 0.0095241 | 268.0601 | 0.014418 | 268.1762 | 0.0086952 | 268.2923 | 0.012972 | 268.4084 | 2.9198 | 268.5244 | 0.012273 | 268.6405 | 0.013604 | 268.7566 | 0.011114 | 268.8727 | 0.012626 | 269.0902 | 0.0082713 | 269.2063 | 0.011921 | 269.3223 | 0.011326 | 269.4384 | 0.0072034 | 269.5545 | 0.009282 | 269.6706 | 0.0086777 | 269.7867 | 0.0078131 | 269.9027 | 0.00094164 | 270.1202 | 0.0074795 | 270.2363 | -0.00040803 | 270.3524
2.9114 | 272.9998 | 0.010741 | 273.1159 | 0.013138 | 273.232 | 0.015034 | 273.3481 | 0.013493 | 273.4642 | 0.012267 | 273.5803 | 0.0086256 | 273.6964 | 0.012768 | 273.8125 | 0.014143 | 274.0299 | 0.012703 | 274.146 | 0.012765 | 274.2621 | 0.013764 | 274.3782 | 0.01167 | 274.4942 | 0.010267 | 274.6103 | 0.010867 | 274.7264 | 0.012533 | 274.8425 | 0.0095237 | 275.06 | 0.014417 | 275.1761 | 0.0086941 | 275.2922 | 0.012972 | 275.4082 | 2.9198 | 275.5243 | 0.012274 | 275.6404 | 0.013603 | 275.7565 | 0.01111 | 275.8726 | 0.012624 | 276.09 | 0.0082718 | 276.2061 | 0.01192 | 276.3222 | 0.011327 | 276.4383 | 0.0072032 | 276.5544 | 0.0092823 | 276.6705 | 0.0086779 | 276.7865 | 0.0078134 | 276.9026 | 0.00094123 | 277.1201 | 0.00748 | 277.2361 | -0.00040821 | 277.3522
2.9114 | 279.9998 | 0.010742 | 280.1159 | 0.013139 | 280.232 | 0.015035 | 280.3481 | 0.013493 | 280.4642 | 0.012268 | 280.5803 | 0.008626 | 280.6964 | 0.012768 | 280.8124 | 0.014144 | 281.0299 | 0.012704 | 281.146 | 0.012765 | 281.262 | 0.013763 | 281.3781 | 0.01167 | 281.4942 | 0.010268 | 281.6102 | 0.010867 | 281.7263 | 0.012534 | 281.8424 | 0.0095238 | 282.0599 | 0.014418 | 282.176 | 0.0086948 | 282.292 | 0.012972 | 282.4081 | 2.9198 | 282.5242 | 0.012275 | 282.6403 | 0.013604 | 282.7565 | 0.01111 | 282.8726 | 0.012623 | 283.0901 | 0.008273 | 283.2061 | 0.011921 | 283.3222 | 0.011327 | 283.4383 | 0.0072039 | 283.5544 | 0.0092825 | 283.6704 | 0.0086786 | 283.7865 | 0.0078138 | 283.9026 | 0.00094144 | 284.1201 | 0.0074798 | 284.2361 | -0.00040809 | 284.3522
2.9114 | 286.9998 | 0.010742 | 287.1159 | 0.01314 | 287.232 | 0.015035 | 287.3481 | 0.013493 | 287.4642 | 0.012267 | 287.5803 | 0.0086253 | 287.6964 | 0.012769 | 287.8126 | 0.014145 | 288.0301 | 0.012705 | 288.1461 | 0.012765 | 288.2622 | 0.013764 | 288.3783 | 0.01167 | 288.4944 | 0.010267 | 288.6105 | 0.010866 | 288.7265 | 0.012534 | 288.8426 | 0.0095236 | 289.0601 | 0.014418 | 289.1762 | 0.0086946 | 289.2923 | 0.012972 | 289.4083 | 2.9199 | 289.5244 | 0.012275 | 289.6405 | 0.013605 | 289.7566 | 0.01111 | 289.8727 | 0.012623 | 290.0901 | 0.0082727 | 290.2062 | 0.011922 | 290.3223 | 0.011327 | 290.4384 | 0.0072038 | 290.5544 | 0.0092824 | 290.6705 | 0.0086784 | 290.7866 | 0.0078139 | 290.9026 | 0.0009416 | 291.1201 | 0.0074801 | 291.2362 | -0.00040761 | 291.3523
2.9114 | 293.9998 | 0.010742 | 294.1159 | 0.01314 | 294.232 | 0.015036 | 294.3481 | 0.013494 | 294.4642 | 0.012268 | 294.5803 | 0.0086249 | 294.6963 | 0.012769 | 294.8124 | 0.014145 | 295.0299 | 0.012705 | 295.146 | 0.012766 | 295.2621 | 0.013764 | 295.3781 | 0.01167 | 295.4942 | 0.010267 | 295.6103 | 0.010866 | 295.7264 | 0.012534 | 295.8424 | 0.0095237 | 296.0599 | 0.014418 | 296.176 | 0.0086948 | 296.2921 | 0.012972 | 296.4082 | 2.9199 | 296.5243 | 0.012275 | 296.6404 | 0.013605 | 296.7564 | 0.01111 | 296.8725 | 0.012623 | 297.09 | 0.0082727 | 297.2061 | 0.011922 | 297.3222 | 0.011327 | 297.4382 | 0.0072038 | 297.5543 | 0.0092821 | 297.6704 | 0.0086783 | 297.7865 | 0.0078134 | 297.9027 | 0.00094157 | 298.1202 | 0.0074795 | 298.2363 | -0.00040787 | 298.3524
2.9114 | 300.9998 | 0.010742 | 301.1159 | 0.01314 | 301.232 | 0.015036 | 301.3481 | 0.013494 | 301.4642 | 0.012267 | 301.5803 | 0.0086254 | 301.6963 | 0.012769 | 301.8124 | 0.014144 | 302.0299 | 0.012705 | 302.1459 | 0.012765 | 302.262 | 0.013763 | 302.3781 | 0.01167 | 302.4942 | 0.010267 | 302.6103 | 0.010867 | 302.7264 | 0.012535 | 302.8424 | 0.0095237 | 303.06 | 0.014419 | 303.1761 | 0.0086962 | 303.2922 | 0.012973 | 303.4083 | 2.9199 | 303.5244 | 0.012275 | 303.6404 | 0.013605 | 303.7565 | 0.01111 | 303.8726 | 0.012623 | 304.0901 | 0.0082732 | 304.2062 | 0.011921 | 304.3222 | 0.011327 | 304.4383 | 0.0072041 | 304.5544 | 0.0092826 | 304.6705 | 0.0086785 | 304.7865 | 0.0078132 | 304.9026 | 0.00094158 | 305.1201 | 0.0074803 | 305.2362 | -0.00040823 | 305.3522
2.9114 | 307.9998 | 0.010741 | 308.116 | 0.013139 | 308.2321 | 0.015035 | 308.3481 | 0.013493 | 308.4642 | 0.012267 | 308.5803 | 0.008625 | 308.6964 | 0.012768 | 308.8125 | 0.014144 | 309.0299 | 0.012706 | 309.146 | 0.012765 | 309.2621 | 0.013764 | 309.3781 | 0.01167 | 309.4942 | 0.010268 | 309.6103 | 0.010867 | 309.7264 | 0.012535 | 309.8425 | 0.0095244 | 310.06 | 0.014419 | 310.176 | 0.008696 | 310.2921 | 0.012974 | 310.4082 | 2.9199 | 310.5243 | 0.012275 | 310.6403 | 0.013604 | 310.7564 | 0.01111 | 310.8725 | 0.012623 | 311.0899 | 0.008273 | 311.206 | 0.011921 | 311.3221 | 0.011327 | 311.4382 | 0.0072045 | 311.5543 | 0.0092827 | 311.6703 | 0.0086784 | 311.7864 | 0.0078137 | 311.9025 | 0.00094154 | 312.1199 | 0.007481 | 312.236 | -0.00040795 | 312.3521
2.9114 | 314.9998 | 0.01074 | 315.1159 | 0.013137 | 315.232 | 0.015033 | 315.3481 | 0.013492 | 315.4642 | 0.012265 | 315.5802 | 0.0086231 | 315.6963 | 0.012767 | 315.8124 | 0.014144 | 316.0298 | 0.012705 | 316.1459 | 0.012765 | 316.262 | 0.013763 | 316.3781 | 0.011669 | 316.4942 | 0.010267 | 316.6102 | 0.010866 | 316.7263 | 0.012535 | 316.8424 | 0.009524 | 317.0599 | 0.014419 | 317.176 | 0.0086963 | 317.2921 | 0.012973 | 317.4082 | 2.9198 | 317.5242 | 0.012274 | 317.6403 | 0.013603 | 317.7564 | 0.011109 | 317.8725 | 0.012621 | 318.0901 | 0.0082719 | 318.2062 | 0.01192 | 318.3223 | 0.011327 | 318.4384 | 0.0072043 | 318.5545 | 0.0092826 | 318.6706 | 0.0086784 | 318.7867 | 0.0078132 | 318.9027 | 0.00094133 | 319.1202 | 0.0074804 | 319.2363 | -0.00040763 | 319.3524
2.9114 | 321.9998 | 0.010741 | 322.1159 | 0.013138 | 322.232 | 0.015033 | 322.3481 | 0.013492 | 322.4642 | 0.012266 | 322.5803 | 0.0086238 | 322.6963 | 0.012768 | 322.8124 | 0.014144 | 323.0299 | 0.012705 | 323.1461 | 0.012765 | 323.2622 | 0.013763 | 323.3783 | 0.011669 | 323.4944 | 0.010267 | 323.6104 | 0.010866 | 323.7265 | 0.012534 | 323.8426 | 0.0095236 | 324.0601 | 0.014419 | 324.1762 | 0.0086961 | 324.2923 | 0.012972 | 324.4083 | 2.9198 | 324.5244 | 0.012274 | 324.6405 | 0.013605 | 324.7566 | 0.011109 | 324.8726 | 0.012621 | 325.0901 | 0.0082733 | 325.2062 | 0.011921 | 325.3222 | 0.011327 | 325.4383 | 0.0072039 | 325.5544 | 0.009283 | 325.6705 | 0.0086782 | 325.7866 | 0.0078135 | 325.9027 | 0.00094162 | 326.1201 | 0.0074806 | 326.2362 | -0.00040795 | 326.3523
2.9114 | 328.9998 | 0.010742 | 329.1159 | 0.013139 | 329.232 | 0.015034 | 329.3481 | 0.013493 | 329.4642 | 0.012268 | 329.5803 | 0.0086259 | 329.6963 | 0.012768 | 329.8124 | 0.014145 | 330.0299 | 0.012706 | 330.146 | 0.012765 | 330.262 | 0.013763 | 330.3781 | 0.01167 | 330.4942 | 0.010266 | 330.6103 | 0.010866 | 330.7264 | 0.012534 | 330.8425 | 0.0095233 | 331.06 | 0.014419 | 331.1761 | 0.0086948 | 331.2921 | 0.012972 | 331.4082 | 2.9198 | 331.5243 | 0.012275 | 331.6404 | 0.013606 | 331.7565 | 0.011108 | 331.8725 | 0.012622 | 332.09 | 0.0082736 | 332.2061 | 0.01192 | 332.3222 | 0.011327 | 332.4382 | 0.0072036 | 332.5543 | 0.0092824 | 332.6704 | 0.008678 | 332.7865 | 0.0078136 | 332.9025 | 0.00094159 | 333.12 | 0.0074803 | 333.2362 | -0.0004078 | 333.3523
2.9114 | 335.9998 | 0.010743 | 336.1159 | 0.013139 | 336.232 | 0.015035 | 336.3481 | 0.013493 | 336.4642 | 0.012268 | 336.5802 | 0.0086262 | 336.6963 | 0.012769 | 336.8124 | 0.014145 | 337.0299 | 0.012705 | 337.146 | 0.012766 | 337.262 | 0.013763 | 337.3781 | 0.01167 | 337.4942 | 0.010266 | 337.6102 | 0.010866 | 337.7263 | 0.012535 | 337.8424 | 0.0095244 | 338.0599 | 0.01442 | 338.176 | 0.0086956 | 338.2922 | 0.012973 | 338.4083 | 2.9198 | 338.5244 | 0.012275 | 338.6405 | 0.013606 | 338.7565 | 0.011109 | 338.8726 | 0.012622 | 339.0901 | 0.0082739 | 339.2062 | 0.01192 | 339.3222 | 0.011327 | 339.4383 | 0.0072037 | 339.5544 | 0.0092825 | 339.6705 | 0.0086777 | 339.7866 | 0.0078137 | 339.9026 | 0.00094153 | 340.1201 | 0.0074803 | 340.2362 | -0.00040755 | 340.3523
2.9113 | 342.9998 | 0.010742 | 343.1159 | 0.013138 | 343.232 | 0.015035 | 343.3482 | 0.013493 | 343.4643 | 0.012268 | 343.5804 | 0.008626 | 343.6965 | 0.012769 | 343.8126 | 0.014144 | 344.03 | 0.012706 | 344.1461 | 0.012765 | 344.2622 | 0.013762 | 344.3783 | 0.01167 | 344.4944 | 0.010268 | 344.6105 | 0.010867 | 344.7265 | 0.012535 | 344.8426 | 0.0095249 | 345.0601 | 0.01442 | 345.1762 | 0.0086965 | 345.2923 | 0.012974 | 345.4084 | 2.9198 | 345.5245 | 0.012275 | 345.6406 | 0.013604 | 345.7566 | 0.011108 | 345.8727 | 0.01262 | 346.0902 | 0.0082737 | 346.2063 | 0.01192 | 346.3223 | 0.011327 | 346.4384 | 0.0072038 | 346.5545 | 0.009283 | 346.6705 | 0.0086783 | 346.7866 | 0.0078139 | 346.9027 | 0.00094149 | 347.1202 | 0.0074808 | 347.2363 | -0.00040773 | 347.3523