## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-21
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-20
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9076 | 0 | 0.010684 | 0.11614 | 0.013173 | 0.23222 | 0.014997 | 0.3483 | 0.013466 | 0.46438 | 9.9e+37 | 0.58048 | 0.0087397 | 0.59659 | 0.012566 | 0.71265 | 0.014224 | 0.93014 | 0.013171 | 1.0462 | 0.013072 | 1.1623 | 0.013948 | 1.2784 | 0.01236 | 1.3944 | 0.010439 | 1.5105 | 0.01152 | 1.6266 | 0.013639 | 1.7427 | 0.0083945 | 1.9602 | 0.013843 | 2.0762 | 0.0085837 | 2.1923 | 0.014836 | 2.3084 | 2.9156 | 2.4245 | 0.011941 | 2.5406 | 0.014649 | 2.6566 | 0.010203 | 2.7727 | 0.014321 | 2.9902 | 0.0082652 | 3.1063 | 0.011969 | 3.2223 | 0.011753 | 3.3384 | 0.007453 | 3.4545 | 0.0076523 | 3.5706 | 0.0086562 | 3.6867 | 0.0062347 | 3.8028 | -0.00063679 | 4.0202 | 0.0075979 | 4.1363 | -0.00091956 | 4.2524
2.9076 | 6.9996 | 0.010685 | 7.1157 | 0.013175 | 7.2318 | 0.014999 | 7.3479 | 0.013468 | 7.464 | 9.9e+37 | 7.58 | 0.0087401 | 7.5961 | 0.012567 | 7.7122 | 0.014227 | 7.9297 | 0.013173 | 8.0458 | 0.013074 | 8.1619 | 0.013951 | 8.2779 | 0.012363 | 8.394 | 0.010441 | 8.5101 | 0.01152 | 8.6262 | 0.013639 | 8.7423 | 0.008398 | 8.9597 | 0.013845 | 9.0758 | 0.0085858 | 9.1919 | 0.014835 | 9.308 | 2.9156 | 9.424 | 0.011944 | 9.5401 | 0.01465 | 9.6562 | 0.010208 | 9.7722 | 0.01432 | 9.9897 | 0.0082673 | 10.1059 | 0.01197 | 10.222 | 0.011754 | 10.3381 | 0.0074533 | 10.4542 | 0.0076562 | 10.5703 | 0.0086578 | 10.6864 | 0.0062377 | 10.8025 | -0.00063566 | 11.02 | 0.0075997 | 11.136 | -0.00091823 | 11.2521
2.9076 | 13.9996 | 0.010685 | 14.1157 | 0.013174 | 14.2318 | 0.014999 | 14.3479 | 0.013467 | 14.4639 | 9.9e+37 | 14.58 | 0.0087394 | 14.5961 | 0.012567 | 14.7122 | 0.014226 | 14.9297 | 0.013171 | 15.0457 | 0.013074 | 15.1619 | 0.01395 | 15.278 | 0.01236 | 15.3941 | 0.010441 | 15.5102 | 0.011519 | 15.6263 | 0.013638 | 15.7424 | 0.0083997 | 15.9599 | 0.013847 | 16.076 | 0.0085863 | 16.192 | 0.014832 | 16.3081 | 2.9156 | 16.4242 | 0.011944 | 16.5403 | 0.014647 | 16.6563 | 0.01021 | 16.7724 | 0.014319 | 16.9899 | 0.0082666 | 17.106 | 0.01197 | 17.2221 | 0.011755 | 17.3382 | 0.0074525 | 17.4542 | 0.0076578 | 17.5703 | 0.0086581 | 17.6864 | 0.0062405 | 17.8025 | -0.00063413 | 18.0199 | 0.0076003 | 18.136 | -0.00091731 | 18.2521
2.9076 | 20.9996 | 0.010685 | 21.1157 | 0.013174 | 21.2318 | 0.015 | 21.3479 | 0.013467 | 21.464 | 9.9e+37 | 21.58 | 0.0087404 | 21.5961 | 0.012567 | 21.7122 | 0.014226 | 21.9297 | 0.013171 | 22.0458 | 0.013074 | 22.1618 | 0.013951 | 22.2779 | 0.012361 | 22.394 | 0.010441 | 22.5101 | 0.011519 | 22.6261 | 0.013637 | 22.7422 | 0.008402 | 22.9597 | 0.013848 | 23.0758 | 0.008587 | 23.1919 | 0.014831 | 23.308 | 2.9156 | 23.4241 | 0.011946 | 23.5402 | 0.014647 | 23.6562 | 0.010211 | 23.7723 | 0.014318 | 23.9898 | 0.0082672 | 24.1058 | 0.011971 | 24.2219 | 0.011754 | 24.338 | 0.0074535 | 24.4541 | 0.0076593 | 24.5701 | 0.008659 | 24.6862 | 0.0062429 | 24.8023 | -0.00063324 | 25.0198 | 0.0076009 | 25.1358 | -0.00091577 | 25.252
2.9076 | 27.9996 | 0.010685 | 28.1157 | 0.013175 | 28.2318 | 0.015 | 28.3478 | 0.013468 | 28.4639 | 9.9e+37 | 28.58 | 0.0087404 | 28.5961 | 0.012568 | 28.7122 | 0.014226 | 28.9297 | 0.013172 | 29.0458 | 0.013075 | 29.1618 | 0.013951 | 29.2779 | 0.012361 | 29.394 | 0.010441 | 29.5101 | 0.011519 | 29.6262 | 0.013636 | 29.7422 | 0.0084036 | 29.9597 | 0.013849 | 30.0758 | 0.0085877 | 30.1919 | 0.014829 | 30.3081 | 2.9156 | 30.4242 | 0.011946 | 30.5402 | 0.014646 | 30.6563 | 0.010212 | 30.7724 | 0.014316 | 30.9899 | 0.0082672 | 31.106 | 0.011971 | 31.222 | 0.011754 | 31.3381 | 0.007453 | 31.4542 | 0.0076609 | 31.5703 | 0.0086589 | 31.6864 | 0.0062442 | 31.8024 | -0.00063244 | 32.0199 | 0.0076006 | 32.136 | -0.00091482 | 32.2521
2.9077 | 34.9996 | 0.010682 | 35.1157 | 0.013172 | 35.2318 | 0.014997 | 35.3478 | 0.013465 | 35.464 | 9.9e+37 | 35.58 | 0.0087376 | 35.5962 | 0.012564 | 35.7122 | 0.014226 | 35.9297 | 0.013172 | 36.0458 | 0.013074 | 36.1618 | 0.01395 | 36.2779 | 0.012359 | 36.394 | 0.010441 | 36.5101 | 0.011518 | 36.6262 | 0.013635 | 36.7423 | 0.0084049 | 36.9597 | 0.01385 | 37.0758 | 0.0085876 | 37.1919 | 0.014827 | 37.308 | 2.9156 | 37.4241 | 0.011947 | 37.5401 | 0.014645 | 37.6562 | 0.010213 | 37.7723 | 0.014314 | 37.9898 | 0.0082675 | 38.1058 | 0.011971 | 38.2219 | 0.011754 | 38.338 | 0.0074525 | 38.4541 | 0.0076618 | 38.5702 | 0.0086589 | 38.6862 | 0.006246 | 38.8023 | -0.00063126 | 39.067 | 0.0076007 | 39.183 | -0.00091406 | 39.2991
2.9077 | 41.9996 | 0.010682 | 42.1157 | 0.013171 | 42.2318 | 0.014998 | 42.3479 | 0.013465 | 42.464 | 9.9e+37 | 42.58 | 0.0087381 | 42.5961 | 0.012565 | 42.7122 | 0.014225 | 42.9297 | 0.01317 | 43.0458 | 0.013073 | 43.1618 | 0.013949 | 43.2779 | 0.012358 | 43.394 | 0.010441 | 43.5101 | 0.011517 | 43.6261 | 0.013634 | 43.7422 | 0.0084055 | 43.9597 | 0.013851 | 44.0758 | 0.0085885 | 44.1919 | 0.014826 | 44.308 | 2.9157 | 44.4241 | 0.011948 | 44.5401 | 0.014644 | 44.6562 | 0.010214 | 44.7723 | 0.014312 | 45.037 | 0.0082678 | 45.1531 | 0.011971 | 45.2692 | 0.011753 | 45.3852 | 0.0074526 | 45.5014 | 0.0076633 | 45.6174 | 0.0086589 | 45.7335 | 0.0062472 | 45.8496 | -0.00063077 | 46.0671 | 0.0076009 | 46.1832 | -0.00091299 | 46.2992
2.9077 | 48.9996 | 0.010684 | 49.1157 | 0.013173 | 49.2318 | 0.014998 | 49.3479 | 0.013467 | 49.464 | 9.9e+37 | 49.58 | 0.0087397 | 49.5961 | 0.012567 | 49.7122 | 0.014226 | 49.9297 | 0.013171 | 50.0458 | 0.013074 | 50.1619 | 0.013951 | 50.2779 | 0.012359 | 50.394 | 0.010442 | 50.5102 | 0.011518 | 50.6263 | 0.013635 | 50.7423 | 0.0084081 | 51.007 | 0.013853 | 51.1231 | 0.0085894 | 51.2392 | 0.014826 | 51.3552 | 2.9156 | 51.4713 | 0.01195 | 51.5874 | 0.014645 | 51.7035 | 0.010216 | 51.8196 | 0.014312 | 52.037 | 0.008269 | 52.1531 | 0.011971 | 52.2692 | 0.011754 | 52.3853 | 0.0074532 | 52.5014 | 0.0076655 | 52.6174 | 0.0086601 | 52.7335 | 0.0062491 | 52.8496 | -0.00062972 | 53.0671 | 0.0076018 | 53.1831 | -0.00091244 | 53.2992
2.9077 | 55.9996 | 0.010686 | 56.1157 | 0.013175 | 56.2318 | 0.015001 | 56.3479 | 0.013469 | 56.464 | 9.9e+37 | 56.58 | 0.0087416 | 56.5961 | 0.012568 | 56.7122 | 0.014227 | 56.9768 | 0.013172 | 57.0929 | 0.013075 | 57.209 | 0.013951 | 57.3251 | 0.01236 | 57.4412 | 0.010443 | 57.5573 | 0.011518 | 57.6733 | 0.013635 | 57.7894 | 0.0084089 | 58.0069 | 0.013854 | 58.123 | 0.00859 | 58.239 | 0.014824 | 58.3551 | 2.9157 | 58.4712 | 0.01195 | 58.5873 | 0.014644 | 58.7033 | 0.010218 | 58.8194 | 0.014312 | 59.0369 | 0.0082691 | 59.153 | 0.011972 | 59.2691 | 0.011754 | 59.3852 | 0.0074527 | 59.5012 | 0.007667 | 59.6173 | 0.0086609 | 59.7334 | 0.0062514 | 59.8494 | -0.00062946 | 60.0669 | 0.0076032 | 60.183 | -0.00091156 | 60.2991
2.9077 | 62.9996 | 0.010686 | 63.1157 | 0.013176 | 63.2318 | 0.015001 | 63.3479 | 0.013469 | 63.4639 | 9.9e+37 | 63.58 | 0.008742 | 63.5961 | 0.012569 | 63.7122 | 0.014226 | 63.9297 | 0.01317 | 64.0457 | 0.013074 | 64.1618 | 0.013949 | 64.2779 | 0.012358 | 64.394 | 0.010442 | 64.5101 | 0.011517 | 64.6261 | 0.013633 | 64.7422 | 0.0084104 | 64.9597 | 0.013853 | 65.0758 | 0.0085899 | 65.1919 | 0.014823 | 65.3079 | 2.9157 | 65.424 | 0.011949 | 65.5401 | 0.014642 | 65.6562 | 0.010218 | 65.7723 | 0.01431 | 65.9898 | 0.0082675 | 66.1059 | 0.011972 | 66.2219 | 0.011754 | 66.338 | 0.007452 | 66.4541 | 0.007668 | 66.5702 | 0.0086606 | 66.6862 | 0.0062529 | 66.8023 | -0.00062856 | 67.0198 | 0.0076032 | 67.1359 | -0.00091057 | 67.252
2.9077 | 69.9996 | 0.010684 | 70.1157 | 0.013174 | 70.2318 | 0.014999 | 70.3479 | 0.013467 | 70.4639 | 9.9e+37 | 70.58 | 0.0087392 | 70.5961 | 0.012566 | 70.7122 | 0.014225 | 70.9297 | 0.013168 | 71.0458 | 0.013072 | 71.1618 | 0.013947 | 71.2779 | 0.012355 | 71.394 | 0.01044 | 71.5101 | 0.011515 | 71.6261 | 0.013629 | 71.7422 | 0.0084087 | 71.9597 | 0.013849 | 72.0758 | 0.0085881 | 72.1918 | 0.014819 | 72.3079 | 2.9157 | 72.424 | 0.011946 | 72.5401 | 0.014637 | 72.6562 | 0.010217 | 72.7723 | 0.014305 | 72.9897 | 0.0082642 | 73.1058 | 0.011971 | 73.2219 | 0.011753 | 73.338 | 0.0074509 | 73.454 | 0.0076679 | 73.5701 | 0.0086596 | 73.6862 | 0.0062526 | 73.8022 | -0.00062773 | 74.0197 | 0.0076013 | 74.1358 | -0.00091045 | 74.2519
2.9077 | 76.9996 | 0.010682 | 77.1157 | 0.013172 | 77.2318 | 0.014996 | 77.3479 | 0.013466 | 77.4639 | 9.9e+37 | 77.58 | 0.0087381 | 77.5961 | 0.012564 | 77.7122 | 0.014222 | 77.9297 | 0.013166 | 78.0457 | 0.01307 | 78.1618 | 0.013944 | 78.2778 | 0.012352 | 78.3939 | 0.010438 | 78.51 | 0.011513 | 78.6261 | 0.013627 | 78.7422 | 0.0084063 | 78.9597 | 0.013846 | 79.0757 | 0.0085868 | 79.1918 | 0.014817 | 79.3079 | 2.9157 | 79.4239 | 0.011944 | 79.54 | 0.014636 | 79.6561 | 0.010214 | 79.7722 | 0.014305 | 79.9897 | 0.0082631 | 80.1058 | 0.01197 | 80.2218 | 0.011752 | 80.3379 | 0.0074498 | 80.454 | 0.007665 | 80.5701 | 0.0086588 | 80.6862 | 0.0062506 | 80.8023 | -0.00062905 | 81.0197 | 0.0076004 | 81.1358 | -0.00091143 | 81.2519
2.9077 | 83.9996 | 0.010682 | 84.1157 | 0.013172 | 84.2318 | 0.014995 | 84.3479 | 0.013465 | 84.4639 | 9.9e+37 | 84.58 | 0.0087379 | 84.5961 | 0.012564 | 84.7122 | 0.014221 | 84.9297 | 0.013165 | 85.0457 | 0.013068 | 85.1618 | 0.013942 | 85.2779 | 0.012351 | 85.3939 | 0.010437 | 85.51 | 0.011511 | 85.6261 | 0.013627 | 85.7422 | 0.0084062 | 85.9597 | 0.013845 | 86.0758 | 0.0085864 | 86.1919 | 0.014817 | 86.308 | 2.9157 | 86.4241 | 0.011943 | 86.5401 | 0.014634 | 86.6562 | 0.010212 | 86.7723 | 0.014306 | 86.9897 | 0.0082621 | 87.1058 | 0.011969 | 87.2219 | 0.011751 | 87.338 | 0.0074488 | 87.4541 | 0.0076634 | 87.5702 | 0.0086588 | 87.6862 | 0.006249 | 87.8023 | -0.00062935 | 88.0198 | 0.0076003 | 88.1359 | -0.00091232 | 88.2519
2.9077 | 90.9996 | 0.010682 | 91.1157 | 0.013171 | 91.2318 | 0.014995 | 91.3479 | 0.013465 | 91.464 | 9.9e+37 | 91.58 | 0.0087382 | 91.5961 | 0.012564 | 91.7122 | 0.01422 | 91.9297 | 0.013163 | 92.0458 | 0.013067 | 92.1619 | 0.013941 | 92.278 | 0.012349 | 92.394 | 0.010436 | 92.5101 | 0.011511 | 92.6262 | 0.013626 | 92.7423 | 0.0084057 | 92.9597 | 0.013844 | 93.0758 | 0.0085857 | 93.1919 | 0.014817 | 93.308 | 2.9157 | 93.4241 | 0.011941 | 93.5401 | 0.014632 | 93.6562 | 0.010212 | 93.7723 | 0.014304 | 93.9898 | 0.0082607 | 94.1058 | 0.011969 | 94.2219 | 0.011751 | 94.338 | 0.0074486 | 94.454 | 0.0076641 | 94.5701 | 0.0086584 | 94.6862 | 0.0062494 | 94.8023 | -0.00062918 | 95.0198 | 0.0076003 | 95.1359 | -0.00091176 | 95.2519
2.9077 | 97.9996 | 0.01068 | 98.1157 | 0.013169 | 98.2318 | 0.014993 | 98.3478 | 0.013463 | 98.4639 | 9.9e+37 | 98.58 | 0.0087358 | 98.5961 | 0.012562 | 98.7122 | 0.014217 | 98.9296 | 0.013161 | 99.0457 | 0.013065 | 99.1618 | 0.013939 | 99.2779 | 0.012347 | 99.394 | 0.010435 | 99.51 | 0.011509 | 99.6261 | 0.013624 | 99.7422 | 0.0084056 | 99.9596 | 0.013844 | 100.0757 | 0.008585 | 100.1918 | 0.014815 | 100.3079 | 2.9157 | 100.424 | 0.01194 | 100.5401 | 0.01463 | 100.6561 | 0.010211 | 100.7722 | 0.014302 | 100.9898 | 0.0082597 | 101.1059 | 0.011969 | 101.2219 | 0.01175 | 101.338 | 0.0074482 | 101.4541 | 0.0076641 | 101.5702 | 0.0086579 | 101.6862 | 0.0062497 | 101.8023 | -0.00062863 | 102.067 | 0.0075999 | 102.1831 | -0.00091169 | 102.2992
2.9077 | 104.9996 | 0.01068 | 105.1157 | 0.013168 | 105.2318 | 0.014993 | 105.3478 | 0.013462 | 105.4639 | 9.9e+37 | 105.58 | 0.0087355 | 105.596 | 0.012561 | 105.7121 | 0.014216 | 105.9296 | 0.013159 | 106.0457 | 0.013064 | 106.1617 | 0.013937 | 106.2778 | 0.012346 | 106.3939 | 0.010434 | 106.51 | 0.011508 | 106.6261 | 0.013623 | 106.7422 | 0.0084054 | 106.9597 | 0.013845 | 107.0758 | 0.008585 | 107.1918 | 0.014813 | 107.3079 | 2.9157 | 107.424 | 0.01194 | 107.5401 | 0.014629 | 107.6562 | 0.010212 | 107.7722 | 0.014301 | 108.0369 | 0.0082599 | 108.153 | 0.011969 | 108.269 | 0.01175 | 108.3851 | 0.0074482 | 108.5012 | 0.0076644 | 108.6173 | 0.0086585 | 108.7334 | 0.006251 | 108.8494 | -0.00062831 | 109.0669 | 0.0076002 | 109.183 | -0.00091108 | 109.2991
2.9077 | 111.9996 | 0.010679 | 112.1157 | 0.013168 | 112.2318 | 0.014992 | 112.3479 | 0.013461 | 112.464 | 9.9e+37 | 112.58 | 0.0087351 | 112.5961 | 0.012561 | 112.7122 | 0.014215 | 112.9297 | 0.013159 | 113.0458 | 0.013063 | 113.1618 | 0.013937 | 113.2779 | 0.012345 | 113.394 | 0.010434 | 113.5101 | 0.011508 | 113.6261 | 0.013623 | 113.7422 | 0.0084064 | 114.0069 | 0.013846 | 114.123 | 0.0085858 | 114.2391 | 0.014813 | 114.3551 | 2.9157 | 114.4712 | 0.011942 | 114.5873 | 0.01463 | 114.7034 | 0.010213 | 114.8195 | 0.0143 | 115.037 | 0.0082607 | 115.1531 | 0.011969 | 115.2691 | 0.01175 | 115.3852 | 0.0074485 | 115.5013 | 0.0076659 | 115.6174 | 0.0086586 | 115.7334 | 0.0062523 | 115.8495 | -0.00062777 | 116.0671 | 0.0076004 | 116.1832 | -0.00091039 | 116.2992
2.9077 | 118.9996 | 0.010678 | 119.1157 | 0.013167 | 119.2318 | 0.014992 | 119.3478 | 0.013461 | 119.4639 | 9.9e+37 | 119.58 | 0.0087352 | 119.5961 | 0.01256 | 119.7122 | 0.014215 | 119.9768 | 0.013159 | 120.0929 | 0.013064 | 120.209 | 0.013937 | 120.3251 | 0.012345 | 120.4412 | 0.010435 | 120.5572 | 0.011508 | 120.6733 | 0.013623 | 120.7894 | 0.0084076 | 121.0069 | 0.013848 | 121.123 | 0.0085856 | 121.2391 | 0.014811 | 121.3552 | 2.9157 | 121.4713 | 0.011942 | 121.5874 | 0.01463 | 121.7034 | 0.010214 | 121.8195 | 0.0143 | 122.037 | 0.0082606 | 122.1531 | 0.011969 | 122.2692 | 0.01175 | 122.3853 | 0.0074485 | 122.5013 | 0.0076672 | 122.6174 | 0.0086585 | 122.7335 | 0.0062529 | 122.8496 | -0.00062697 | 123.0671 | 0.007601 | 123.1832 | -0.00090982 | 123.2992
2.9077 | 125.9996 | 0.010679 | 126.1157 | 0.013168 | 126.2318 | 0.014992 | 126.3479 | 0.013462 | 126.464 | 9.9e+37 | 126.5801 | 0.0087362 | 126.5962 | 0.012561 | 126.7122 | 0.014216 | 126.9297 | 0.01316 | 127.0458 | 0.013065 | 127.1618 | 0.013939 | 127.2779 | 0.012346 | 127.394 | 0.010436 | 127.5101 | 0.011509 | 127.6261 | 0.013624 | 127.7422 | 0.0084089 | 127.9597 | 0.013849 | 128.0757 | 0.0085865 | 128.1918 | 0.014812 | 128.3079 | 2.9157 | 128.424 | 0.011943 | 128.5401 | 0.01463 | 128.6561 | 0.010215 | 128.7722 | 0.014299 | 128.9897 | 0.0082618 | 129.1058 | 0.011969 | 129.2218 | 0.01175 | 129.3379 | 0.0074483 | 129.454 | 0.0076676 | 129.5701 | 0.008659 | 129.6861 | 0.0062545 | 129.8022 | -0.00062679 | 130.0197 | 0.0076009 | 130.1357 | -0.00090942 | 130.2518
2.9077 | 132.9996 | 0.01068 | 133.1157 | 0.013169 | 133.2318 | 0.014993 | 133.3478 | 0.013463 | 133.4639 | 9.9e+37 | 133.58 | 0.0087366 | 133.5961 | 0.012562 | 133.7122 | 0.014217 | 133.9297 | 0.013161 | 134.0457 | 0.013066 | 134.1618 | 0.01394 | 134.2779 | 0.012347 | 134.394 | 0.010437 | 134.51 | 0.01151 | 134.6261 | 0.013624 | 134.7422 | 0.0084101 | 134.9597 | 0.01385 | 135.0758 | 0.0085871 | 135.1919 | 0.014812 | 135.3079 | 2.9157 | 135.424 | 0.011945 | 135.5401 | 0.014632 | 135.6562 | 0.010216 | 135.7722 | 0.014299 | 135.9897 | 0.0082626 | 136.1058 | 0.011969 | 136.2219 | 0.011751 | 136.338 | 0.0074488 | 136.454 | 0.0076685 | 136.5701 | 0.0086588 | 136.6862 | 0.0062553 | 136.8023 | -0.00062641 | 137.0198 | 0.0076015 | 137.1358 | -0.00090882 | 137.2519
2.9077 | 139.9996 | 0.010681 | 140.1157 | 0.013169 | 140.2318 | 0.014993 | 140.3479 | 0.013463 | 140.4639 | 9.9e+37 | 140.58 | 0.0087368 | 140.5961 | 0.012562 | 140.7122 | 0.014219 | 140.9297 | 0.013162 | 141.0457 | 0.013067 | 141.1618 | 0.013942 | 141.2779 | 0.012349 | 141.394 | 0.010438 | 141.5101 | 0.011511 | 141.6262 | 0.013624 | 141.7423 | 0.008412 | 141.9597 | 0.013852 | 142.0758 | 0.0085879 | 142.1919 | 0.014812 | 142.308 | 2.9157 | 142.424 | 0.011947 | 142.5401 | 0.014633 | 142.6562 | 0.010219 | 142.7723 | 0.0143 | 142.9898 | 0.0082642 | 143.1058 | 0.01197 | 143.2219 | 0.011752 | 143.338 | 0.0074499 | 143.4541 | 0.0076704 | 143.5701 | 0.0086601 | 143.6862 | 0.0062572 | 143.8023 | -0.00062608 | 144.0198 | 0.0076025 | 144.1358 | -0.00090802 | 144.2519
2.9077 | 146.9996 | 0.010681 | 147.1157 | 0.013171 | 147.2318 | 0.014995 | 147.3478 | 0.013464 | 147.4639 | 9.9e+37 | 147.58 | 0.0087373 | 147.5961 | 0.012564 | 147.7122 | 0.014221 | 147.9296 | 0.013165 | 148.0457 | 0.013068 | 148.1618 | 0.013945 | 148.2779 | 0.012352 | 148.3939 | 0.010439 | 148.51 | 0.011511 | 148.6261 | 0.013625 | 148.7422 | 0.0084133 | 148.9597 | 0.013854 | 149.0757 | 0.0085893 | 149.1918 | 0.014812 | 149.3079 | 2.9157 | 149.424 | 0.011949 | 149.5401 | 0.014635 | 149.6562 | 0.01022 | 149.7722 | 0.0143 | 149.9897 | 0.0082655 | 150.1058 | 0.01197 | 150.2219 | 0.011752 | 150.338 | 0.0074506 | 150.454 | 0.0076716 | 150.5701 | 0.0086605 | 150.6862 | 0.0062579 | 150.8022 | -0.0006259 | 151.0197 | 0.0076023 | 151.1358 | -0.00090785 | 151.2518
2.9077 | 153.9996 | 0.010681 | 154.1157 | 0.013169 | 154.2318 | 0.014995 | 154.3479 | 0.013464 | 154.4639 | 9.9e+37 | 154.58 | 0.0087371 | 154.5961 | 0.012563 | 154.7122 | 0.014219 | 154.9297 | 0.013163 | 155.0458 | 0.013068 | 155.1619 | 0.013943 | 155.2779 | 0.01235 | 155.394 | 0.010438 | 155.5101 | 0.011511 | 155.6262 | 0.013625 | 155.7423 | 0.0084133 | 155.9598 | 0.013855 | 156.0758 | 0.0085891 | 156.1919 | 0.014812 | 156.308 | 2.9157 | 156.4241 | 0.011948 | 156.5402 | 0.014632 | 156.6563 | 0.01022 | 156.7724 | 0.0143 | 156.9898 | 0.0082647 | 157.1059 | 0.01197 | 157.222 | 0.011751 | 157.338 | 0.0074485 | 157.4541 | 0.0076716 | 157.5702 | 0.0086601 | 157.6863 | 0.0062578 | 157.8023 | -0.00062523 | 158.0198 | 0.0076023 | 158.1359 | -0.00090764 | 158.252
2.9077 | 160.9996 | 0.01068 | 161.1157 | 0.013169 | 161.2318 | 0.014994 | 161.3479 | 0.013463 | 161.464 | 9.9e+37 | 161.5801 | 0.008737 | 161.5962 | 0.012562 | 161.7122 | 0.014217 | 161.9297 | 0.013161 | 162.0458 | 0.013068 | 162.1619 | 0.013943 | 162.2779 | 0.012348 | 162.394 | 0.010439 | 162.5101 | 0.011511 | 162.6262 | 0.013625 | 162.7423 | 0.0084143 | 162.9598 | 0.013855 | 163.0758 | 0.008589 | 163.1919 | 0.014812 | 163.308 | 2.9157 | 163.4241 | 0.011948 | 163.5402 | 0.014631 | 163.6562 | 0.010221 | 163.7723 | 0.014299 | 163.9898 | 0.0082644 | 164.1059 | 0.011971 | 164.2219 | 0.011751 | 164.338 | 0.0074484 | 164.4541 | 0.0076715 | 164.5702 | 0.0086605 | 164.6863 | 0.0062588 | 164.8023 | -0.00062491 | 165.067 | 0.0076035 | 165.1831 | -0.0009075 | 165.2992
2.9077 | 167.9996 | 0.010681 | 168.1157 | 0.013169 | 168.2318 | 0.014994 | 168.3479 | 0.013463 | 168.464 | 9.9e+37 | 168.5801 | 0.0087376 | 168.5962 | 0.012562 | 168.7122 | 0.014217 | 168.9297 | 0.013161 | 169.0458 | 0.013068 | 169.1618 | 0.013943 | 169.2779 | 0.012348 | 169.394 | 0.010439 | 169.5101 | 0.011511 | 169.6261 | 0.013625 | 169.7422 | 0.0084149 | 169.9597 | 0.013855 | 170.0758 | 0.0085889 | 170.1919 | 0.014811 | 170.308 | 2.9157 | 170.4241 | 0.011948 | 170.5401 | 0.01463 | 170.6562 | 0.010222 | 170.7723 | 0.014299 | 171.0369 | 0.0082641 | 171.153 | 0.011971 | 171.2691 | 0.011751 | 171.3852 | 0.0074488 | 171.5013 | 0.0076727 | 171.6174 | 0.0086606 | 171.7335 | 0.0062597 | 171.8496 | -0.00062451 | 172.067 | 0.0076035 | 172.1831 | -0.0009066 | 172.2992
2.9077 | 174.9996 | 0.010681 | 175.1157 | 0.01317 | 175.2318 | 0.014994 | 175.3479 | 0.013463 | 175.464 | 9.9e+37 | 175.58 | 0.008738 | 175.5961 | 0.012563 | 175.7122 | 0.014216 | 175.9297 | 0.01316 | 176.0458 | 0.013067 | 176.1619 | 0.013942 | 176.278 | 0.012347 | 176.394 | 0.010438 | 176.5102 | 0.011509 | 176.6263 | 0.013624 | 176.7424 | 0.0084153 | 177.0071 | 0.013854 | 177.1232 | 0.0085889 | 177.2392 | 0.01481 | 177.3553 | 2.9157 | 177.4714 | 0.011948 | 177.5874 | 0.01463 | 177.7035 | 0.010221 | 177.8196 | 0.014297 | 178.0371 | 0.0082633 | 178.1532 | 0.011971 | 178.2692 | 0.011751 | 178.3853 | 0.0074485 | 178.5014 | 0.0076727 | 178.6175 | 0.0086601 | 178.7336 | 0.0062604 | 178.8497 | -0.00062429 | 179.0672 | 0.0076032 | 179.1832 | -0.00090616 | 179.2993
2.9077 | 181.9996 | 0.010683 | 182.1157 | 0.013172 | 182.2318 | 0.014995 | 182.3479 | 0.013465 | 182.4639 | 9.9e+37 | 182.58 | 0.0087393 | 182.5961 | 0.012564 | 182.7122 | 0.014217 | 182.9769 | 0.013161 | 183.0929 | 0.013067 | 183.209 | 0.013942 | 183.3251 | 0.012347 | 183.4412 | 0.010439 | 183.5573 | 0.01151 | 183.6734 | 0.013624 | 183.7894 | 0.0084158 | 184.0069 | 0.013855 | 184.123 | 0.0085885 | 184.2391 | 0.014809 | 184.3552 | 2.9157 | 184.4713 | 0.011949 | 184.5873 | 0.01463 | 184.7034 | 0.010222 | 184.8195 | 0.014296 | 185.037 | 0.0082639 | 185.1531 | 0.011971 | 185.2692 | 0.011751 | 185.3852 | 0.0074491 | 185.5013 | 0.0076735 | 185.6174 | 0.0086605 | 185.7335 | 0.0062615 | 185.8495 | -0.00062386 | 186.067 | 0.0076034 | 186.1831 | -0.0009059 | 186.2992
2.9077 | 188.9996 | 0.010683 | 189.1157 | 0.013173 | 189.2318 | 0.014997 | 189.3478 | 0.013466 | 189.4639 | 9.9e+37 | 189.58 | 0.0087396 | 189.5961 | 0.012565 | 189.7122 | 0.014219 | 189.9297 | 0.013161 | 190.0457 | 0.013068 | 190.1618 | 0.013943 | 190.2779 | 0.012349 | 190.3939 | 0.01044 | 190.51 | 0.011511 | 190.6261 | 0.013624 | 190.7422 | 0.008417 | 190.9597 | 0.013856 | 191.0758 | 0.0085899 | 191.1919 | 0.01481 | 191.3079 | 2.9157 | 191.424 | 0.01195 | 191.5401 | 0.014631 | 191.6563 | 0.010223 | 191.7724 | 0.014296 | 191.9899 | 0.0082652 | 192.106 | 0.011971 | 192.2221 | 0.011751 | 192.3382 | 0.0074498 | 192.4543 | 0.0076746 | 192.5703 | 0.0086607 | 192.6864 | 0.006262 | 192.8025 | -0.00062355 | 193.02 | 0.0076037 | 193.136 | -0.0009054 | 193.2521
2.9077 | 195.9996 | 0.010684 | 196.1157 | 0.013173 | 196.2318 | 0.014998 | 196.3479 | 0.013465 | 196.4639 | 9.9e+37 | 196.58 | 0.0087402 | 196.5961 | 0.012566 | 196.7169 | 0.014219 | 196.9344 | 0.013163 | 197.0505 | 0.013069 | 197.1666 | 0.013945 | 197.2826 | 0.01235 | 197.3987 | 0.01044 | 197.5148 | 0.011512 | 197.6309 | 0.013625 | 197.747 | 0.0084184 | 197.9644 | 0.013858 | 198.0805 | 0.0085905 | 198.1966 | 0.014809 | 198.3127 | 2.9157 | 198.4288 | 0.011951 | 198.5448 | 0.014632 | 198.6609 | 0.010224 | 198.777 | 0.014297 | 198.9944 | 0.0082662 | 199.1105 | 0.011972 | 199.2266 | 0.011752 | 199.3427 | 0.0074497 | 199.4587 | 0.0076755 | 199.5748 | 0.0086614 | 199.6909 | 0.0062633 | 199.807 | -0.00062273 | 200.0245 | 0.0076045 | 200.1406 | -0.00090514 | 200.2567
2.9078 | 202.9996 | 0.010684 | 203.1157 | 0.013173 | 203.2318 | 0.014998 | 203.3479 | 0.013466 | 203.464 | 9.9e+37 | 203.58 | 0.0087401 | 203.5961 | 0.012566 | 203.7122 | 0.014222 | 203.9297 | 0.013165 | 204.0458 | 0.013071 | 204.1618 | 0.013947 | 204.2779 | 0.012352 | 204.394 | 0.010442 | 204.5101 | 0.011513 | 204.6262 | 0.013626 | 204.7422 | 0.00842 | 204.9597 | 0.01386 | 205.0758 | 0.0085917 | 205.1918 | 0.01481 | 205.3079 | 2.9158 | 205.424 | 0.011953 | 205.5401 | 0.014635 | 205.6562 | 0.010226 | 205.7723 | 0.014298 | 205.9898 | 0.0082678 | 206.1059 | 0.011972 | 206.222 | 0.011753 | 206.338 | 0.0074507 | 206.4541 | 0.0076772 | 206.5702 | 0.0086625 | 206.6863 | 0.0062647 | 206.8024 | -0.00062247 | 207.0199 | 0.0076055 | 207.136 | -0.00090488 | 207.2521
2.9078 | 209.9996 | 0.010682 | 210.1157 | 0.013171 | 210.2318 | 0.014997 | 210.3478 | 0.013466 | 210.4639 | 9.9e+37 | 210.58 | 0.008739 | 210.5961 | 0.012565 | 210.7122 | 0.014224 | 210.9296 | 0.013167 | 211.0457 | 0.013073 | 211.1618 | 0.01395 | 211.2779 | 0.012354 | 211.394 | 0.010444 | 211.51 | 0.011514 | 211.6261 | 0.013627 | 211.7422 | 0.008421 | 211.9597 | 0.013862 | 212.0758 | 0.0085928 | 212.1919 | 0.014811 | 212.308 | 2.9158 | 212.4241 | 0.011954 | 212.5402 | 0.014636 | 212.6563 | 0.010229 | 212.7723 | 0.014299 | 212.9898 | 0.0082687 | 213.1059 | 0.011973 | 213.2219 | 0.011755 | 213.338 | 0.0074512 | 213.4541 | 0.0076784 | 213.5702 | 0.008663 | 213.6862 | 0.0062661 | 213.8023 | -0.00062218 | 214.0198 | 0.0076061 | 214.1359 | -0.00090431 | 214.2519
2.9078 | 216.9996 | 0.010683 | 217.1157 | 0.013173 | 217.2318 | 0.014997 | 217.3479 | 0.013466 | 217.464 | 9.9e+37 | 217.5801 | 0.0087384 | 217.5962 | 0.012565 | 217.7122 | 0.014223 | 217.9297 | 0.013166 | 218.0458 | 0.013073 | 218.1619 | 0.013949 | 218.278 | 0.012353 | 218.394 | 0.010443 | 218.5101 | 0.011513 | 218.6262 | 0.013626 | 218.7423 | 0.0084216 | 218.9597 | 0.013862 | 219.0758 | 0.0085931 | 219.1919 | 0.01481 | 219.3079 | 2.9158 | 219.424 | 0.011955 | 219.5401 | 0.014635 | 219.6562 | 0.010229 | 219.7723 | 0.014298 | 219.9898 | 0.0082685 | 220.1058 | 0.011974 | 220.2219 | 0.011754 | 220.338 | 0.0074505 | 220.4541 | 0.0076787 | 220.5702 | 0.0086634 | 220.6862 | 0.0062665 | 220.8023 | -0.00062191 | 221.0198 | 0.0076062 | 221.1359 | -0.00090374 | 221.252
2.9078 | 223.9996 | 0.010681 | 224.1157 | 0.01317 | 224.2318 | 0.014995 | 224.3479 | 0.013464 | 224.4639 | 9.9e+37 | 224.58 | 0.0087369 | 224.5961 | 0.012562 | 224.7122 | 0.014221 | 224.9296 | 0.013163 | 225.0457 | 0.01307 | 225.1618 | 0.013946 | 225.2778 | 0.01235 | 225.3939 | 0.010442 | 225.51 | 0.011511 | 225.6261 | 0.013624 | 225.7422 | 0.0084203 | 225.9597 | 0.01386 | 226.0758 | 0.0085919 | 226.1918 | 0.014809 | 226.3079 | 2.9158 | 226.424 | 0.011953 | 226.5401 | 0.014632 | 226.6562 | 0.010228 | 226.7723 | 0.014297 | 226.9899 | 0.0082666 | 227.106 | 0.011972 | 227.2221 | 0.011753 | 227.3382 | 0.0074496 | 227.4542 | 0.0076779 | 227.5703 | 0.0086624 | 227.6864 | 0.0062657 | 227.8025 | -0.00062145 | 228.0672 | 0.0076054 | 228.1833 | -0.00090398 | 228.2993
2.9078 | 230.9996 | 0.01068 | 231.1157 | 0.013168 | 231.2317 | 0.014993 | 231.3478 | 0.013462 | 231.4639 | 9.9e+37 | 231.58 | 0.0087369 | 231.5961 | 0.012562 | 231.7121 | 0.014219 | 231.9296 | 0.013162 | 232.0513 | 0.013069 | 232.1674 | 0.013944 | 232.2835 | 0.012348 | 232.3995 | 0.010441 | 232.5156 | 0.01151 | 232.6317 | 0.013624 | 232.7478 | 0.0084199 | 232.9653 | 0.013859 | 233.0814 | 0.0085914 | 233.1974 | 0.014807 | 233.3135 | 2.9158 | 233.4296 | 0.011953 | 233.5457 | 0.014631 | 233.6618 | 0.010227 | 233.7778 | 0.014295 | 234.0425 | 0.008266 | 234.1586 | 0.011972 | 234.2747 | 0.011752 | 234.3908 | 0.0074495 | 234.5069 | 0.0076776 | 234.623 | 0.0086618 | 234.739 | 0.0062662 | 234.8551 | -0.00062151 | 235.0726 | 0.007605 | 235.1887 | -0.00090345 | 235.3048
2.9078 | 237.9996 | 0.01068 | 238.1157 | 0.013168 | 238.2318 | 0.014993 | 238.3479 | 0.013462 | 238.464 | 9.9e+37 | 238.58 | 0.0087365 | 238.5961 | 0.012562 | 238.7122 | 0.014219 | 238.9297 | 0.013161 | 239.0458 | 0.013069 | 239.1619 | 0.013943 | 239.2779 | 0.012347 | 239.394 | 0.010441 | 239.5101 | 0.01151 | 239.6262 | 0.013623 | 239.7422 | 0.0084199 | 240.007 | 0.013859 | 240.123 | 0.0085909 | 240.2391 | 0.014807 | 240.3552 | 2.9158 | 240.4712 | 0.011953 | 240.5873 | 0.01463 | 240.7034 | 0.010227 | 240.8195 | 0.014294 | 241.037 | 0.0082661 | 241.1531 | 0.011971 | 241.2692 | 0.011751 | 241.3853 | 0.007449 | 241.5013 | 0.0076779 | 241.6174 | 0.0086619 | 241.7335 | 0.0062663 | 241.8496 | -0.0006215 | 242.0671 | 0.007605 | 242.1832 | -0.00090361 | 242.2993
2.9078 | 244.9996 | 0.01068 | 245.1157 | 0.01317 | 245.2318 | 0.014995 | 245.3479 | 0.013463 | 245.4639 | 9.9e+37 | 245.58 | 0.008737 | 245.5961 | 0.012562 | 245.7122 | 0.014218 | 245.9769 | 0.01316 | 246.093 | 0.013068 | 246.2091 | 0.013944 | 246.3251 | 0.012347 | 246.4412 | 0.01044 | 246.5573 | 0.011509 | 246.6734 | 0.013622 | 246.7894 | 0.0084206 | 247.0069 | 0.013859 | 247.123 | 0.008591 | 247.2392 | 0.014805 | 247.3552 | 2.9158 | 247.4713 | 0.011953 | 247.5874 | 0.014629 | 247.7035 | 0.010227 | 247.8196 | 0.014293 | 248.037 | 0.0082658 | 248.1531 | 0.011971 | 248.2692 | 0.011751 | 248.3853 | 0.0074484 | 248.5014 | 0.0076783 | 248.6174 | 0.0086614 | 248.7335 | 0.0062664 | 248.8496 | -0.00062112 | 249.0671 | 0.0076048 | 249.1832 | -0.00090293 | 249.2992
2.9078 | 251.9996 | 0.010679 | 252.1157 | 0.013169 | 252.2318 | 0.014994 | 252.3479 | 0.013462 | 252.464 | 9.9e+37 | 252.5801 | 0.008737 | 252.5962 | 0.012561 | 252.7123 | 0.014218 | 252.9297 | 0.013159 | 253.0458 | 0.013067 | 253.1619 | 0.013942 | 253.278 | 0.012345 | 253.394 | 0.01044 | 253.5101 | 0.011508 | 253.6262 | 0.013621 | 253.7423 | 0.0084199 | 253.9598 | 0.013858 | 254.0758 | 0.0085897 | 254.1919 | 0.014803 | 254.308 | 2.9158 | 254.4241 | 0.011951 | 254.5402 | 0.014626 | 254.6562 | 0.010226 | 254.7723 | 0.014291 | 254.9898 | 0.0082644 | 255.1059 | 0.01197 | 255.222 | 0.01175 | 255.3381 | 0.0074474 | 255.4542 | 0.0076777 | 255.5702 | 0.0086609 | 255.6863 | 0.0062666 | 255.8024 | -0.00062069 | 256.0198 | 0.0076042 | 256.1359 | -0.00090306 | 256.252
2.9078 | 258.9996 | 0.01068 | 259.1157 | 0.013169 | 259.2318 | 0.014993 | 259.3479 | 0.013461 | 259.464 | 9.9e+37 | 259.58 | 0.0087372 | 259.5962 | 0.012561 | 259.7122 | 0.014215 | 259.9297 | 0.013156 | 260.0458 | 0.013064 | 260.1619 | 0.01394 | 260.2779 | 0.012343 | 260.394 | 0.010438 | 260.5101 | 0.011506 | 260.6262 | 0.01362 | 260.7423 | 0.0084193 | 260.9598 | 0.013858 | 261.0758 | 0.0085898 | 261.1919 | 0.014802 | 261.308 | 2.9158 | 261.4241 | 0.01195 | 261.5402 | 0.014624 | 261.6562 | 0.010226 | 261.7723 | 0.01429 | 261.9898 | 0.0082629 | 262.1059 | 0.01197 | 262.2219 | 0.011749 | 262.338 | 0.0074468 | 262.4541 | 0.007678 | 262.5702 | 0.0086602 | 262.6863 | 0.0062664 | 262.8023 | -0.00062087 | 263.0199 | 0.0076039 | 263.1359 | -0.00090257 | 263.252
2.9078 | 265.9996 | 0.010679 | 266.1157 | 0.013168 | 266.2318 | 0.014991 | 266.3479 | 0.01346 | 266.4639 | 9.9e+37 | 266.58 | 0.0087371 | 266.5962 | 0.012562 | 266.7122 | 0.014214 | 266.9297 | 0.013156 | 267.0458 | 0.013064 | 267.1619 | 0.013939 | 267.278 | 0.012342 | 267.3941 | 0.010438 | 267.5102 | 0.011506 | 267.6262 | 0.013619 | 267.7423 | 0.0084194 | 267.9598 | 0.013858 | 268.0758 | 0.00859 | 268.1919 | 0.014801 | 268.308 | 2.9158 | 268.4241 | 0.01195 | 268.5402 | 0.014624 | 268.6562 | 0.010226 | 268.7723 | 0.01429 | 268.9898 | 0.0082619 | 269.1059 | 0.01197 | 269.222 | 0.011749 | 269.3381 | 0.0074473 | 269.4542 | 0.0076781 | 269.5703 | 0.0086603 | 269.6863 | 0.0062673 | 269.8024 | -0.00062031 | 270.0199 | 0.0076038 | 270.1359 | -0.00090261 | 270.252
2.9078 | 272.9996 | 0.01068 | 273.1157 | 0.013169 | 273.2318 | 0.014993 | 273.3479 | 0.013462 | 273.4639 | 9.9e+37 | 273.58 | 0.0087383 | 273.5961 | 0.012562 | 273.7122 | 0.014214 | 273.9297 | 0.013156 | 274.0458 | 0.013065 | 274.1618 | 0.013939 | 274.2779 | 0.012342 | 274.394 | 0.010439 | 274.5101 | 0.011507 | 274.6262 | 0.013619 | 274.7423 | 0.0084202 | 274.9598 | 0.013858 | 275.0759 | 0.0085904 | 275.192 | 0.014802 | 275.308 | 2.9158 | 275.4241 | 0.01195 | 275.5402 | 0.014624 | 275.6563 | 0.010226 | 275.7723 | 0.014289 | 275.9898 | 0.0082628 | 276.1059 | 0.01197 | 276.222 | 0.011749 | 276.338 | 0.0074474 | 276.4541 | 0.0076789 | 276.5702 | 0.0086605 | 276.6863 | 0.0062681 | 276.8023 | -0.0006203 | 277.0198 | 0.0076042 | 277.1359 | -0.0009024 | 277.252
2.9078 | 279.9996 | 0.010682 | 280.1157 | 0.01317 | 280.2318 | 0.014995 | 280.3478 | 0.013463 | 280.4639 | 9.9e+37 | 280.58 | 0.0087396 | 280.5961 | 0.012564 | 280.7122 | 0.014216 | 280.9297 | 0.013156 | 281.0457 | 0.013066 | 281.1618 | 0.01394 | 281.2779 | 0.012342 | 281.394 | 0.010439 | 281.5101 | 0.011507 | 281.6261 | 0.013618 | 281.7422 | 0.0084201 | 281.9597 | 0.013858 | 282.0758 | 0.0085902 | 282.1918 | 0.014801 | 282.3079 | 2.9158 | 282.424 | 0.01195 | 282.5402 | 0.014624 | 282.6562 | 0.010226 | 282.7723 | 0.014288 | 282.9898 | 0.0082631 | 283.1059 | 0.011971 | 283.222 | 0.011749 | 283.338 | 0.0074472 | 283.4541 | 0.0076791 | 283.5702 | 0.0086605 | 283.6863 | 0.006268 | 283.8024 | -0.00061988 | 284.0199 | 0.0076042 | 284.136 | -0.000902 | 284.252
2.9078 | 286.9996 | 0.010683 | 287.1157 | 0.013172 | 287.2318 | 0.014995 | 287.3479 | 0.013465 | 287.4639 | 9.9e+37 | 287.58 | 0.0087398 | 287.5961 | 0.012565 | 287.7122 | 0.014216 | 287.9297 | 0.013157 | 288.0457 | 0.013066 | 288.1618 | 0.01394 | 288.2779 | 0.012343 | 288.394 | 0.010439 | 288.5101 | 0.011507 | 288.6261 | 0.013618 | 288.7422 | 0.0084204 | 288.9597 | 0.013858 | 289.0758 | 0.0085902 | 289.1919 | 0.0148 | 289.3079 | 2.9158 | 289.424 | 0.01195 | 289.5401 | 0.014624 | 289.6562 | 0.010226 | 289.7723 | 0.014288 | 289.9898 | 0.0082636 | 290.1059 | 0.01197 | 290.222 | 0.01175 | 290.338 | 0.0074474 | 290.4541 | 0.0076798 | 290.5702 | 0.0086609 | 290.6863 | 0.0062692 | 290.8024 | -0.00061999 | 291.0671 | 0.0076046 | 291.1831 | -0.00090176 | 291.2992
2.9078 | 293.9996 | 0.010683 | 294.1157 | 0.013171 | 294.2318 | 0.014996 | 294.3479 | 0.013464 | 294.464 | 9.9e+37 | 294.58 | 0.008739 | 294.5961 | 0.012564 | 294.7122 | 0.014217 | 294.9297 | 0.013159 | 295.0458 | 0.013067 | 295.1618 | 0.013943 | 295.2779 | 0.012345 | 295.394 | 0.01044 | 295.5101 | 0.011508 | 295.6262 | 0.013619 | 295.7423 | 0.0084221 | 295.9598 | 0.013859 | 296.0758 | 0.0085913 | 296.1919 | 0.014801 | 296.308 | 2.9158 | 296.4241 | 0.011951 | 296.5401 | 0.014627 | 296.6562 | 0.010228 | 296.7723 | 0.014288 | 297.037 | 0.0082648 | 297.153 | 0.011972 | 297.2691 | 0.011751 | 297.3852 | 0.0074487 | 297.5013 | 0.0076812 | 297.6174 | 0.0086621 | 297.7335 | 0.0062703 | 297.8496 | -0.00061949 | 298.067 | 0.0076053 | 298.1831 | -0.00090196 | 298.2992
2.9078 | 300.9996 | 0.010682 | 301.1157 | 0.013171 | 301.2318 | 0.014996 | 301.3478 | 0.013464 | 301.4639 | 9.9e+37 | 301.58 | 0.0087384 | 301.5961 | 0.012564 | 301.7122 | 0.01422 | 301.9297 | 0.013161 | 302.0457 | 0.013068 | 302.1618 | 0.013944 | 302.2779 | 0.012347 | 302.394 | 0.010441 | 302.51 | 0.011509 | 302.6262 | 0.01362 | 302.7423 | 0.0084237 | 303.0071 | 0.013862 | 303.1232 | 0.0085923 | 303.2393 | 0.014801 | 303.3553 | 2.9158 | 303.4714 | 0.011954 | 303.5875 | 0.014629 | 303.7036 | 0.01023 | 303.8197 | 0.01429 | 304.0372 | 0.0082669 | 304.1532 | 0.011972 | 304.2693 | 0.011752 | 304.3854 | 0.0074493 | 304.5015 | 0.0076819 | 304.6176 | 0.0086624 | 304.7337 | 0.006271 | 304.8497 | -0.00061932 | 305.0672 | 0.0076056 | 305.1833 | -0.000901 | 305.2994
2.9078 | 307.9996 | 0.010682 | 308.1157 | 0.013171 | 308.2318 | 0.014996 | 308.3479 | 0.013464 | 308.4639 | 9.9e+37 | 308.58 | 0.0087379 | 308.5961 | 0.012564 | 308.7122 | 0.014221 | 308.9769 | 0.013163 | 309.093 | 0.013069 | 309.2091 | 0.013946 | 309.3251 | 0.012349 | 309.4412 | 0.010442 | 309.5573 | 0.01151 | 309.6734 | 0.013621 | 309.7894 | 0.0084247 | 310.0069 | 0.013863 | 310.123 | 0.0085927 | 310.2391 | 0.014802 | 310.3552 | 2.9158 | 310.4713 | 0.011956 | 310.5873 | 0.014631 | 310.7034 | 0.010231 | 310.8195 | 0.01429 | 311.037 | 0.0082681 | 311.153 | 0.011973 | 311.2691 | 0.011752 | 311.3852 | 0.0074499 | 311.5013 | 0.007683 | 311.6174 | 0.0086633 | 311.7335 | 0.0062721 | 311.8495 | -0.00061883 | 312.067 | 0.0076067 | 312.1831 | -0.00090059 | 312.2992
2.9078 | 314.9996 | 0.010681 | 315.1157 | 0.01317 | 315.2318 | 0.014996 | 315.3479 | 0.013464 | 315.4639 | 9.9e+37 | 315.58 | 0.0087378 | 315.5961 | 0.012563 | 315.7122 | 0.014221 | 315.9297 | 0.013164 | 316.0457 | 0.013071 | 316.1618 | 0.013947 | 316.2779 | 0.01235 | 316.394 | 0.010443 | 316.51 | 0.011511 | 316.6261 | 0.013622 | 316.7422 | 0.0084253 | 316.9597 | 0.013864 | 317.0758 | 0.0085936 | 317.1919 | 0.014802 | 317.308 | 2.9158 | 317.424 | 0.011956 | 317.5401 | 0.014629 | 317.6562 | 0.010232 | 317.7724 | 0.01429 | 317.9899 | 0.0082681 | 318.106 | 0.011973 | 318.2221 | 0.011752 | 318.3382 | 0.007449 | 318.4542 | 0.0076832 | 318.5703 | 0.0086637 | 318.6864 | 0.0062724 | 318.8025 | -0.00061863 | 319.0199 | 0.0076064 | 319.136 | -0.00090017 | 319.2521
2.9078 | 321.9996 | 0.01068 | 322.1157 | 0.013169 | 322.2318 | 0.014995 | 322.3479 | 0.013463 | 322.4639 | 9.9e+37 | 322.58 | 0.0087368 | 322.5961 | 0.012562 | 322.7122 | 0.014219 | 322.9297 | 0.013161 | 323.0458 | 0.01307 | 323.1619 | 0.013945 | 323.278 | 0.012347 | 323.3941 | 0.010442 | 323.5102 | 0.011509 | 323.6263 | 0.01362 | 323.7424 | 0.0084253 | 323.9599 | 0.013862 | 324.0759 | 0.008593 | 324.192 | 0.014801 | 324.3081 | 2.9158 | 324.4242 | 0.011955 | 324.5402 | 0.014628 | 324.6563 | 0.010232 | 324.7724 | 0.01429 | 324.9899 | 0.0082668 | 325.1059 | 0.011973 | 325.222 | 0.011751 | 325.3381 | 0.0074492 | 325.4542 | 0.0076831 | 325.5702 | 0.008663 | 325.6863 | 0.0062724 | 325.8024 | -0.00061864 | 326.0199 | 0.0076063 | 326.1359 | -0.00089988 | 326.252
2.9078 | 328.9996 | 0.010679 | 329.1157 | 0.013168 | 329.2318 | 0.014992 | 329.3479 | 0.01346 | 329.464 | 9.9e+37 | 329.58 | 0.0087357 | 329.5961 | 0.01256 | 329.7122 | 0.014219 | 329.9297 | 0.013161 | 330.0457 | 0.013069 | 330.1618 | 0.013945 | 330.2779 | 0.012346 | 330.394 | 0.010441 | 330.5101 | 0.011509 | 330.6261 | 0.013621 | 330.7422 | 0.0084255 | 330.9597 | 0.013862 | 331.0758 | 0.0085926 | 331.1919 | 0.014801 | 331.3079 | 2.9158 | 331.424 | 0.011955 | 331.5401 | 0.014626 | 331.6562 | 0.010232 | 331.7723 | 0.014289 | 331.9898 | 0.0082662 | 332.1059 | 0.011972 | 332.2219 | 0.011751 | 332.338 | 0.0074483 | 332.4541 | 0.0076832 | 332.5702 | 0.0086627 | 332.6862 | 0.0062724 | 332.8023 | -0.00061807 | 333.0241 | 0.007606 | 333.1402 | -0.0009 | 333.2563
2.9078 | 335.9996 | 0.010677 | 336.1157 | 0.013166 | 336.2318 | 0.014989 | 336.3478 | 0.013459 | 336.4639 | 9.9e+37 | 336.58 | 0.0087345 | 336.5961 | 0.012558 | 336.7122 | 0.014216 | 336.9296 | 0.013157 | 337.0457 | 0.013067 | 337.1618 | 0.013942 | 337.2778 | 0.012343 | 337.3939 | 0.01044 | 337.51 | 0.011507 | 337.6261 | 0.013618 | 337.7422 | 0.0084241 | 337.9598 | 0.01386 | 338.0759 | 0.0085915 | 338.192 | 0.0148 | 338.3081 | 2.9158 | 338.4242 | 0.011953 | 338.5403 | 0.014623 | 338.6563 | 0.01023 | 338.7724 | 0.014287 | 338.9899 | 0.0082645 | 339.106 | 0.011971 | 339.2221 | 0.01175 | 339.3382 | 0.0074474 | 339.4543 | 0.0076824 | 339.5704 | 0.0086618 | 339.6864 | 0.0062724 | 339.8025 | -0.00061841 | 340.02 | 0.0076054 | 340.136 | -0.00090006 | 340.2521
2.9078 | 342.9996 | 0.010676 | 343.1157 | 0.013166 | 343.2318 | 0.014989 | 343.3479 | 0.013458 | 343.464 | 9.9e+37 | 343.58 | 0.0087342 | 343.5962 | 0.012559 | 343.7122 | 0.014215 | 343.9297 | 0.013156 | 344.0458 | 0.013066 | 344.1619 | 0.013941 | 344.278 | 0.012341 | 344.394 | 0.010439 | 344.5101 | 0.011506 | 344.6262 | 0.013616 | 344.7422 | 0.0084234 | 344.9597 | 0.013859 | 345.0758 | 0.0085916 | 345.1919 | 0.014797 | 345.3079 | 2.9158 | 345.424 | 0.011952 | 345.5401 | 0.014622 | 345.6562 | 0.010229 | 345.7723 | 0.014286 | 345.9897 | 0.0082631 | 346.1058 | 0.011971 | 346.2219 | 0.011749 | 346.338 | 0.007447 | 346.4541 | 0.0076825 | 346.5701 | 0.0086614 | 346.6862 | 0.0062719 | 346.8023 | -0.000618 | 347.0198 | 0.0076051 | 347.1359 | -0.0009 | 347.252