## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-21
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-21
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 6 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9075 | 0 | 0.01068 | 0.11613 | 0.013181 | 0.23225 | 0.014986 | 0.34833 | 0.013478 | 0.46441 | 9.9e+37 | 0.58049 | 0.0087312 | 0.59659 | 0.012521 | 0.71267 | 0.014606 | 0.93013 | 0.013668 | 1.0462 | 0.013261 | 1.1623 | 0.014097 | 1.2784 | 0.013075 | 1.3944 | 0.01048 | 1.5105 | 0.012126 | 1.6266 | 0.0147 | 1.7427 | 0.007195 | 1.9602 | 0.013138 | 2.0763 | 0.0082742 | 2.1924 | 0.016512 | 2.3084 | 2.9155 | 2.4245 | 0.011475 | 2.5406 | 0.015613 | 2.6566 | 0.0092025 | 2.7727 | 0.015909 | 2.9902 | 0.008278 | 3.1062 | 0.011942 | 3.2223 | 0.011919 | 3.3384 | 0.007671 | 3.4544 | 0.0060769 | 3.5705 | 0.0091511 | 3.6866 | 0.0045557 | 3.8027 | -0.0017629 | 4.0201 | 0.0080169 | 4.1362 | -0.0020228 | 4.2523
2.9075 | 5.9997 | 0.01068 | 6.1158 | 0.01318 | 6.2319 | 0.014985 | 6.348 | 0.013477 | 6.4641 | 9.9e+37 | 6.5802 | 0.0087303 | 6.5963 | 0.012521 | 6.7123 | 0.014606 | 6.9298 | 0.013668 | 7.0459 | 0.013261 | 7.162 | 0.014098 | 7.2781 | 0.013073 | 7.3942 | 0.01048 | 7.5102 | 0.012124 | 7.6263 | 0.014698 | 7.7424 | 0.0071974 | 7.9599 | 0.01314 | 8.076 | 0.0082748 | 8.192 | 0.016508 | 8.3081 | 2.9155 | 8.4242 | 0.011477 | 8.5403 | 0.015611 | 8.6564 | 0.009205 | 8.7724 | 0.015907 | 8.9899 | 0.0082785 | 9.106 | 0.011943 | 9.222 | 0.011919 | 9.3381 | 0.0076712 | 9.4542 | 0.0060811 | 9.5703 | 0.0091515 | 9.6863 | 0.0045605 | 9.8024 | -0.001761 | 10.0199 | 0.0080177 | 10.136 | -0.0020204 | 10.2521
2.9075 | 11.9997 | 0.010679 | 12.1158 | 0.013181 | 12.2319 | 0.014985 | 12.348 | 0.013477 | 12.464 | 9.9e+37 | 12.5801 | 0.0087306 | 12.5962 | 0.012521 | 12.7123 | 0.014606 | 12.9298 | 0.013667 | 13.0458 | 0.013261 | 13.1619 | 0.014098 | 13.278 | 0.013072 | 13.3941 | 0.01048 | 13.5102 | 0.012124 | 13.6262 | 0.014696 | 13.7423 | 0.0072004 | 13.9598 | 0.013141 | 14.0758 | 0.0082754 | 14.1919 | 0.016505 | 14.308 | 2.9155 | 14.4241 | 0.011478 | 14.5401 | 0.01561 | 14.6562 | 0.0092083 | 14.7723 | 0.015904 | 14.9898 | 0.0082794 | 15.1059 | 0.011945 | 15.222 | 0.011919 | 15.3381 | 0.0076711 | 15.4542 | 0.0060846 | 15.5702 | 0.0091528 | 15.6863 | 0.0045644 | 15.8024 | -0.0017586 | 16.0198 | 0.0080191 | 16.1359 | -0.0020185 | 16.252
2.9075 | 17.9997 | 0.010681 | 18.1158 | 0.013182 | 18.2319 | 0.014986 | 18.348 | 0.013478 | 18.4641 | 9.9e+37 | 18.5801 | 0.0087317 | 18.5962 | 0.012522 | 18.7123 | 0.014606 | 18.9298 | 0.013667 | 19.0459 | 0.013261 | 19.162 | 0.014099 | 19.2781 | 0.013071 | 19.3941 | 0.01048 | 19.5102 | 0.012123 | 19.6263 | 0.014695 | 19.7424 | 0.007203 | 19.9599 | 0.013144 | 20.076 | 0.0082763 | 20.1921 | 0.016502 | 20.3082 | 2.9155 | 20.4243 | 0.01148 | 20.5404 | 0.01561 | 20.6565 | 0.0092107 | 20.7725 | 0.015901 | 20.99 | 0.0082802 | 21.1061 | 0.011945 | 21.2222 | 0.01192 | 21.3382 | 0.0076715 | 21.4543 | 0.0060875 | 21.5704 | 0.0091533 | 21.6865 | 0.004568 | 21.8026 | -0.0017572 | 22.02 | 0.0080195 | 22.1361 | -0.0020166 | 22.2522
2.9075 | 23.9997 | 0.010681 | 24.1158 | 0.013182 | 24.2319 | 0.014987 | 24.348 | 0.013479 | 24.4641 | 9.9e+37 | 24.5801 | 0.0087324 | 24.5962 | 0.012523 | 24.7123 | 0.014608 | 24.9298 | 0.013668 | 25.0459 | 0.013263 | 25.162 | 0.014101 | 25.2781 | 0.013072 | 25.3942 | 0.010482 | 25.5103 | 0.012124 | 25.6263 | 0.014694 | 25.7424 | 0.0072062 | 25.9599 | 0.013146 | 26.0759 | 0.008277 | 26.192 | 0.0165 | 26.3081 | 2.9155 | 26.4242 | 0.011481 | 26.5403 | 0.015609 | 26.6564 | 0.0092136 | 26.7725 | 0.015899 | 26.99 | 0.0082807 | 27.106 | 0.011945 | 27.2221 | 0.01192 | 27.3382 | 0.0076713 | 27.4543 | 0.0060906 | 27.5703 | 0.0091535 | 27.6864 | 0.0045714 | 27.8025 | -0.0017559 | 28.02 | 0.0080201 | 28.1361 | -0.0020154 | 28.2522
2.9075 | 29.9997 | 0.010682 | 30.1158 | 0.013184 | 30.2319 | 0.014988 | 30.348 | 0.01348 | 30.4641 | 9.9e+37 | 30.5802 | 0.0087336 | 30.5963 | 0.012524 | 30.7124 | 0.014608 | 30.9298 | 0.013667 | 31.0459 | 0.013263 | 31.162 | 0.014101 | 31.2781 | 0.013071 | 31.3942 | 0.010482 | 31.5103 | 0.012123 | 31.6263 | 0.014692 | 31.7424 | 0.0072079 | 31.9599 | 0.013146 | 32.076 | 0.0082775 | 32.192 | 0.016497 | 32.3081 | 2.9155 | 32.4242 | 0.011482 | 32.5403 | 0.015607 | 32.6564 | 0.0092156 | 32.7725 | 0.015896 | 32.99 | 0.0082802 | 33.1061 | 0.011946 | 33.2222 | 0.01192 | 33.3382 | 0.0076709 | 33.4543 | 0.0060928 | 33.5704 | 0.0091531 | 33.6865 | 0.0045742 | 33.8026 | -0.0017544 | 34.0672 | 0.0080205 | 34.1833 | -0.0020133 | 34.2994
2.9075 | 35.9997 | 0.010683 | 36.1158 | 0.013184 | 36.2319 | 0.014989 | 36.348 | 0.013481 | 36.4641 | 9.9e+37 | 36.5802 | 0.0087337 | 36.5963 | 0.012524 | 36.7123 | 0.014608 | 36.9298 | 0.013667 | 37.0458 | 0.013263 | 37.1619 | 0.014101 | 37.278 | 0.013071 | 37.394 | 0.010483 | 37.5101 | 0.012123 | 37.6262 | 0.014691 | 37.7423 | 0.0072094 | 37.9598 | 0.013148 | 38.0759 | 0.008278 | 38.192 | 0.016495 | 38.3081 | 2.9155 | 38.4241 | 0.011483 | 38.5402 | 0.015606 | 38.6563 | 0.0092178 | 38.7724 | 0.015894 | 39.037 | 0.0082807 | 39.1531 | 0.011946 | 39.2692 | 0.011919 | 39.3853 | 0.0076706 | 39.5014 | 0.0060947 | 39.6175 | 0.0091533 | 39.7335 | 0.0045767 | 39.8496 | -0.001753 | 40.0671 | 0.0080209 | 40.1832 | -0.0020121 | 40.2992
2.9075 | 41.9997 | 0.010682 | 42.1158 | 0.013183 | 42.2319 | 0.014988 | 42.348 | 0.01348 | 42.4641 | 9.9e+37 | 42.5802 | 0.0087329 | 42.5962 | 0.012524 | 42.7123 | 0.014607 | 42.9298 | 0.013666 | 43.0459 | 0.013262 | 43.162 | 0.014099 | 43.278 | 0.013069 | 43.3941 | 0.010482 | 43.5102 | 0.012121 | 43.6263 | 0.01469 | 43.7424 | 0.0072115 | 44.007 | 0.013149 | 44.1231 | 0.0082786 | 44.2392 | 0.016492 | 44.3553 | 2.9155 | 44.4714 | 0.011483 | 44.5875 | 0.015603 | 44.7035 | 0.0092189 | 44.8196 | 0.015891 | 45.0371 | 0.0082803 | 45.1532 | 0.011946 | 45.2693 | 0.011919 | 45.3853 | 0.0076701 | 45.5015 | 0.0060964 | 45.6176 | 0.0091535 | 45.7336 | 0.0045795 | 45.8497 | -0.0017522 | 46.0672 | 0.0080208 | 46.1833 | -0.0020106 | 46.2993
2.9075 | 47.9997 | 0.010682 | 48.1158 | 0.013184 | 48.2319 | 0.014988 | 48.348 | 0.013481 | 48.4641 | 9.9e+37 | 48.5801 | 0.0087332 | 48.5962 | 0.012524 | 48.7123 | 0.014606 | 48.977 | 0.013664 | 49.093 | 0.01326 | 49.2091 | 0.014097 | 49.3252 | 0.013068 | 49.4413 | 0.010481 | 49.5574 | 0.012119 | 49.6734 | 0.014688 | 49.7895 | 0.0072125 | 50.007 | 0.01315 | 50.1231 | 0.0082788 | 50.2392 | 0.01649 | 50.3552 | 2.9155 | 50.4714 | 0.011484 | 50.5875 | 0.015601 | 50.7036 | 0.0092202 | 50.8197 | 0.015888 | 51.0372 | 0.0082806 | 51.1533 | 0.011946 | 51.2694 | 0.011918 | 51.3855 | 0.0076696 | 51.5016 | 0.0060981 | 51.6176 | 0.0091532 | 51.7337 | 0.0045814 | 51.8498 | -0.0017511 | 52.0673 | 0.0080213 | 52.1833 | -0.0020097 | 52.2994
2.9075 | 54.0294 | 0.010682 | 54.1455 | 0.013183 | 54.2616 | 0.014988 | 54.3777 | 0.01348 | 54.4938 | 9.9e+37 | 54.6099 | 0.0087323 | 54.626 | 0.012524 | 54.7421 | 0.014605 | 54.9595 | 0.013664 | 55.0756 | 0.01326 | 55.1917 | 0.014098 | 55.3078 | 0.013067 | 55.4238 | 0.010482 | 55.5404 | 0.012119 | 55.6564 | 0.014688 | 55.7726 | 0.0072139 | 55.99 | 0.01315 | 56.1061 | 0.0082791 | 56.2222 | 0.016488 | 56.3383 | 2.9155 | 56.4543 | 0.011484 | 56.5704 | 0.0156 | 56.6865 | 0.0092213 | 56.8026 | 0.015886 | 57.0201 | 0.0082803 | 57.1361 | 0.011946 | 57.2522 | 0.011918 | 57.3683 | 0.0076694 | 57.4844 | 0.0061001 | 57.6004 | 0.009153 | 57.7165 | 0.0045836 | 57.8326 | -0.0017495 | 58.0501 | 0.0080215 | 58.1662 | -0.0020083 | 58.2822
2.9075 | 59.9997 | 0.010682 | 60.1158 | 0.013183 | 60.2319 | 0.014988 | 60.348 | 0.01348 | 60.4641 | 9.9e+37 | 60.5803 | 0.0087324 | 60.5966 | 0.012523 | 60.7127 | 0.014603 | 60.9302 | 0.013662 | 61.0463 | 0.013258 | 61.1624 | 0.014094 | 61.2785 | 0.013063 | 61.3945 | 0.01048 | 61.5106 | 0.012117 | 61.6267 | 0.014684 | 61.7428 | 0.0072141 | 61.9603 | 0.013149 | 62.0764 | 0.008278 | 62.1925 | 0.016484 | 62.3085 | 2.9155 | 62.4246 | 0.011482 | 62.5407 | 0.015594 | 62.6568 | 0.0092204 | 62.7728 | 0.015882 | 62.9903 | 0.0082789 | 63.1064 | 0.011945 | 63.2225 | 0.011917 | 63.3385 | 0.0076686 | 63.4546 | 0.0061018 | 63.5707 | 0.0091529 | 63.6868 | 0.0045849 | 63.8028 | -0.0017488 | 64.0203 | 0.0080209 | 64.1364 | -0.0020074 | 64.2524
2.9075 | 65.9997 | 0.010682 | 66.1158 | 0.013183 | 66.2319 | 0.014987 | 66.348 | 0.01348 | 66.4641 | 9.9e+37 | 66.5802 | 0.0087323 | 66.5963 | 0.012524 | 66.7123 | 0.014602 | 66.9298 | 0.01366 | 67.0459 | 0.013255 | 67.162 | 0.014092 | 67.2781 | 0.013059 | 67.3941 | 0.010478 | 67.5102 | 0.012114 | 67.6263 | 0.014682 | 67.7424 | 0.0072142 | 67.9598 | 0.013148 | 68.0759 | 0.0082777 | 68.192 | 0.01648 | 68.3081 | 2.9155 | 68.4242 | 0.011481 | 68.5402 | 0.015591 | 68.6563 | 0.0092201 | 68.7724 | 0.015879 | 68.9898 | 0.0082781 | 69.1059 | 0.011945 | 69.222 | 0.011917 | 69.3381 | 0.0076684 | 69.4542 | 0.0061032 | 69.5702 | 0.0091529 | 69.6863 | 0.0045863 | 69.8024 | -0.0017478 | 70.0199 | 0.0080213 | 70.1359 | -0.0020064 | 70.252
2.9075 | 71.9997 | 0.010683 | 72.1158 | 0.013184 | 72.2319 | 0.014988 | 72.348 | 0.013481 | 72.464 | 9.9e+37 | 72.5801 | 0.0087335 | 72.5962 | 0.012525 | 72.7123 | 0.014601 | 72.9298 | 0.013659 | 73.0459 | 0.013255 | 73.162 | 0.014093 | 73.2781 | 0.013059 | 73.3941 | 0.010479 | 73.5102 | 0.012114 | 73.6263 | 0.014681 | 73.7424 | 0.0072159 | 73.9598 | 0.013149 | 74.0759 | 0.0082776 | 74.192 | 0.016479 | 74.3081 | 2.9155 | 74.4241 | 0.011483 | 74.5402 | 0.015592 | 74.6563 | 0.0092215 | 74.7724 | 0.015877 | 74.9899 | 0.0082787 | 75.106 | 0.011946 | 75.222 | 0.011917 | 75.3381 | 0.0076692 | 75.4542 | 0.006106 | 75.5702 | 0.0091538 | 75.6863 | 0.0045894 | 75.8024 | -0.0017467 | 76.0199 | 0.0080223 | 76.136 | -0.002005 | 76.2521
2.9075 | 77.9997 | 0.010684 | 78.1158 | 0.013186 | 78.2319 | 0.014991 | 78.348 | 0.013482 | 78.4641 | 9.9e+37 | 78.5802 | 0.008735 | 78.5963 | 0.012527 | 78.7124 | 0.014603 | 78.9298 | 0.013659 | 79.0459 | 0.013256 | 79.162 | 0.014095 | 79.278 | 0.013061 | 79.3941 | 0.010479 | 79.5102 | 0.012115 | 79.6263 | 0.014681 | 79.7423 | 0.0072176 | 79.9599 | 0.013151 | 80.076 | 0.0082785 | 80.1921 | 0.016478 | 80.3082 | 2.9155 | 80.4243 | 0.011485 | 80.5403 | 0.015594 | 80.6564 | 0.0092241 | 80.7726 | 0.015877 | 80.9901 | 0.0082796 | 81.1062 | 0.011947 | 81.2223 | 0.011918 | 81.3383 | 0.00767 | 81.4544 | 0.0061083 | 81.5705 | 0.0091545 | 81.6866 | 0.0045915 | 81.8026 | -0.0017458 | 82.0201 | 0.0080233 | 82.1362 | -0.0020036 | 82.2523
2.9075 | 83.9997 | 0.010685 | 84.1158 | 0.013187 | 84.2319 | 0.014992 | 84.348 | 0.013482 | 84.4641 | 9.9e+37 | 84.5801 | 0.0087359 | 84.5962 | 0.012527 | 84.7123 | 0.014604 | 84.9298 | 0.013661 | 85.0459 | 0.013258 | 85.162 | 0.014097 | 85.2781 | 0.013062 | 85.3941 | 0.010481 | 85.5102 | 0.012116 | 85.6263 | 0.014682 | 85.7424 | 0.0072197 | 85.9599 | 0.013153 | 86.076 | 0.0082792 | 86.1921 | 0.016478 | 86.3082 | 2.9155 | 86.4243 | 0.011487 | 86.5403 | 0.015596 | 86.6564 | 0.0092266 | 86.7725 | 0.015876 | 86.99 | 0.0082807 | 87.1061 | 0.011948 | 87.2221 | 0.011919 | 87.3382 | 0.0076706 | 87.4543 | 0.0061102 | 87.5704 | 0.009155 | 87.6864 | 0.0045937 | 87.8025 | -0.0017447 | 88.02 | 0.0080241 | 88.1361 | -0.0020029 | 88.2522
2.9075 | 89.9997 | 0.010684 | 90.1158 | 0.013186 | 90.2319 | 0.01499 | 90.348 | 0.013481 | 90.4641 | 9.9e+37 | 90.5801 | 0.0087351 | 90.5962 | 0.012526 | 90.7123 | 0.014605 | 90.9298 | 0.013662 | 91.0459 | 0.01326 | 91.162 | 0.014099 | 91.2781 | 0.013063 | 91.3941 | 0.010482 | 91.5102 | 0.012116 | 91.6263 | 0.014681 | 91.7424 | 0.0072214 | 91.9599 | 0.013155 | 92.0759 | 0.0082802 | 92.192 | 0.016477 | 92.3081 | 2.9155 | 92.4242 | 0.011488 | 92.5403 | 0.015596 | 92.6563 | 0.0092291 | 92.7724 | 0.015875 | 92.99 | 0.0082822 | 93.106 | 0.011948 | 93.2221 | 0.011919 | 93.3382 | 0.0076707 | 93.4542 | 0.0061122 | 93.5703 | 0.0091554 | 93.6864 | 0.0045963 | 93.8024 | -0.0017439 | 94.0671 | 0.0080244 | 94.1832 | -0.0020021 | 94.2993
2.9075 | 95.9997 | 0.010684 | 96.1158 | 0.013186 | 96.2319 | 0.01499 | 96.348 | 0.013481 | 96.4641 | 9.9e+37 | 96.5802 | 0.0087353 | 96.5963 | 0.012527 | 96.7123 | 0.014606 | 96.9298 | 0.013662 | 97.0459 | 0.013261 | 97.162 | 0.0141 | 97.278 | 0.013064 | 97.3941 | 0.010482 | 97.5102 | 0.012116 | 97.6263 | 0.014681 | 97.7424 | 0.0072232 | 97.9599 | 0.013156 | 98.0759 | 0.0082806 | 98.192 | 0.016475 | 98.3081 | 2.9155 | 98.4242 | 0.011489 | 98.5403 | 0.015596 | 98.6563 | 0.0092305 | 98.7724 | 0.015875 | 99.0371 | 0.0082828 | 99.1532 | 0.011948 | 99.2692 | 0.011919 | 99.3853 | 0.0076706 | 99.5014 | 0.0061133 | 99.6175 | 0.009156 | 99.7336 | 0.0045979 | 99.8496 | -0.0017432 | 100.0671 | 0.0080245 | 100.1832 | -0.0020014 | 100.2993
2.9075 | 101.9997 | 0.010686 | 102.1158 | 0.013188 | 102.2319 | 0.014992 | 102.348 | 0.013483 | 102.464 | 9.9e+37 | 102.5801 | 0.0087369 | 102.5962 | 0.012528 | 102.7123 | 0.014607 | 102.9298 | 0.013663 | 103.0459 | 0.013262 | 103.162 | 0.014101 | 103.278 | 0.013063 | 103.3941 | 0.010482 | 103.5102 | 0.012116 | 103.6263 | 0.014681 | 103.7423 | 0.0072243 | 104.0069 | 0.013157 | 104.123 | 0.0082814 | 104.2391 | 0.016474 | 104.3552 | 2.9155 | 104.4713 | 0.01149 | 104.5873 | 0.015595 | 104.7034 | 0.0092312 | 104.8195 | 0.015873 | 105.037 | 0.0082835 | 105.153 | 0.011948 | 105.2691 | 0.011919 | 105.3852 | 0.0076702 | 105.5012 | 0.0061144 | 105.6173 | 0.0091554 | 105.7334 | 0.004599 | 105.8495 | -0.0017422 | 106.067 | 0.0080244 | 106.1831 | -0.0019999 | 106.2992
2.9075 | 107.9997 | 0.010686 | 108.1158 | 0.013187 | 108.2319 | 0.014992 | 108.348 | 0.013484 | 108.4641 | 9.9e+37 | 108.5801 | 0.0087371 | 108.5962 | 0.012529 | 108.7123 | 0.014607 | 108.977 | 0.013663 | 109.093 | 0.013261 | 109.2091 | 0.014101 | 109.3252 | 0.013063 | 109.4413 | 0.010482 | 109.5573 | 0.012115 | 109.6734 | 0.014679 | 109.7895 | 0.007225 | 110.007 | 0.013157 | 110.123 | 0.0082812 | 110.2391 | 0.016472 | 110.3552 | 2.9155 | 110.4713 | 0.01149 | 110.5873 | 0.015595 | 110.7034 | 0.0092323 | 110.8195 | 0.015871 | 111.037 | 0.0082835 | 111.1531 | 0.011948 | 111.2692 | 0.011918 | 111.3853 | 0.0076697 | 111.5014 | 0.006115 | 111.6174 | 0.009155 | 111.7335 | 0.0046007 | 111.8496 | -0.0017416 | 112.067 | 0.0080244 | 112.1831 | -0.0019994 | 112.2992
2.9075 | 114.0293 | 0.010686 | 114.1454 | 0.013187 | 114.2614 | 0.014992 | 114.3775 | 0.013483 | 114.4936 | 9.9e+37 | 114.6097 | 0.0087365 | 114.6258 | 0.012529 | 114.7419 | 0.014606 | 114.9594 | 0.013662 | 115.0754 | 0.013261 | 115.1915 | 0.014101 | 115.3076 | 0.013062 | 115.4237 | 0.010482 | 115.5398 | 0.012115 | 115.6558 | 0.014678 | 115.7719 | 0.0072254 | 115.9894 | 0.013157 | 116.113 | 0.0082812 | 116.2291 | 0.016471 | 116.3451 | 2.9155 | 116.4612 | 0.01149 | 116.5773 | 0.015594 | 116.6934 | 0.0092329 | 116.8094 | 0.01587 | 117.0269 | 0.008283 | 117.143 | 0.011947 | 117.2591 | 0.011917 | 117.3751 | 0.0076691 | 117.4912 | 0.0061163 | 117.6073 | 0.0091549 | 117.7234 | 0.0046016 | 117.8394 | -0.0017408 | 118.0569 | 0.0080243 | 118.173 | -0.0019987 | 118.289
2.9075 | 119.9997 | 0.010687 | 120.1158 | 0.013188 | 120.2319 | 0.014993 | 120.348 | 0.013484 | 120.4641 | 9.9e+37 | 120.5802 | 0.0087367 | 120.5963 | 0.012529 | 120.7124 | 0.014607 | 120.9298 | 0.013662 | 121.0459 | 0.013261 | 121.1676 | 0.014101 | 121.2836 | 0.013062 | 121.3997 | 0.010482 | 121.5158 | 0.012115 | 121.6319 | 0.014678 | 121.748 | 0.0072267 | 121.9655 | 0.013158 | 122.0816 | 0.0082816 | 122.1976 | 0.016469 | 122.3137 | 2.9155 | 122.4298 | 0.011491 | 122.5459 | 0.015593 | 122.6619 | 0.0092345 | 122.778 | 0.015869 | 122.9955 | 0.0082834 | 123.1116 | 0.011947 | 123.2276 | 0.011917 | 123.3437 | 0.0076692 | 123.4598 | 0.0061179 | 123.5759 | 0.0091552 | 123.692 | 0.0046036 | 123.808 | -0.0017403 | 124.0255 | 0.0080253 | 124.1416 | -0.0019975 | 124.2577
2.9075 | 125.9997 | 0.010686 | 126.1158 | 0.013188 | 126.2319 | 0.014992 | 126.348 | 0.013483 | 126.4641 | 9.9e+37 | 126.5802 | 0.0087359 | 126.5963 | 0.012529 | 126.7123 | 0.014607 | 126.9298 | 0.013662 | 127.0459 | 0.013262 | 127.162 | 0.014101 | 127.278 | 0.013062 | 127.3941 | 0.010483 | 127.5102 | 0.012115 | 127.6263 | 0.014678 | 127.7423 | 0.0072283 | 127.9598 | 0.013159 | 128.0759 | 0.0082822 | 128.192 | 0.016469 | 128.3081 | 2.9155 | 128.4242 | 0.011492 | 128.5403 | 0.015593 | 128.6563 | 0.009236 | 128.7724 | 0.015868 | 128.9899 | 0.0082834 | 129.106 | 0.011948 | 129.2221 | 0.011918 | 129.3382 | 0.0076693 | 129.4542 | 0.0061191 | 129.5703 | 0.0091555 | 129.6864 | 0.0046051 | 129.8025 | -0.0017393 | 130.02 | 0.0080255 | 130.1361 | -0.0019971 | 130.2521
2.9075 | 131.9997 | 0.010684 | 132.1158 | 0.013185 | 132.2319 | 0.014989 | 132.348 | 0.013481 | 132.4641 | 9.9e+37 | 132.5801 | 0.0087332 | 132.5962 | 0.012526 | 132.7123 | 0.014606 | 132.9298 | 0.013661 | 133.0458 | 0.01326 | 133.1619 | 0.014099 | 133.278 | 0.01306 | 133.3941 | 0.010482 | 133.5101 | 0.012113 | 133.6262 | 0.014676 | 133.7423 | 0.0072287 | 133.9598 | 0.013159 | 134.0759 | 0.008282 | 134.192 | 0.016467 | 134.308 | 2.9155 | 134.4241 | 0.011491 | 134.5402 | 0.015589 | 134.6563 | 0.0092359 | 134.7723 | 0.015866 | 134.9899 | 0.0082816 | 135.1059 | 0.011948 | 135.222 | 0.011918 | 135.3381 | 0.0076688 | 135.4542 | 0.0061205 | 135.5702 | 0.0091555 | 135.6863 | 0.0046058 | 135.8024 | -0.0017387 | 136.0198 | 0.0080251 | 136.1359 | -0.0019966 | 136.252
2.9075 | 137.9997 | 0.010682 | 138.1158 | 0.013183 | 138.2319 | 0.014987 | 138.348 | 0.013479 | 138.4641 | 9.9e+37 | 138.5801 | 0.008732 | 138.5962 | 0.012524 | 138.7123 | 0.014604 | 138.9298 | 0.013658 | 139.0458 | 0.013259 | 139.1619 | 0.014097 | 139.278 | 0.013058 | 139.3941 | 0.010481 | 139.5102 | 0.012112 | 139.6262 | 0.014675 | 139.7423 | 0.0072285 | 139.9598 | 0.013159 | 140.0759 | 0.0082822 | 140.192 | 0.016466 | 140.3081 | 2.9155 | 140.4242 | 0.011491 | 140.5402 | 0.015588 | 140.6563 | 0.0092363 | 140.7724 | 0.015865 | 140.9899 | 0.0082812 | 141.1059 | 0.011948 | 141.222 | 0.011917 | 141.3381 | 0.0076682 | 141.4542 | 0.0061206 | 141.5703 | 0.0091551 | 141.6863 | 0.004607 | 141.8024 | -0.0017379 | 142.0199 | 0.008025 | 142.136 | -0.0019956 | 142.2521
2.9075 | 143.9997 | 0.010681 | 144.1158 | 0.013183 | 144.2319 | 0.014987 | 144.348 | 0.013479 | 144.4641 | 9.9e+37 | 144.5802 | 0.0087322 | 144.5963 | 0.012524 | 144.7124 | 0.014602 | 144.9299 | 0.013657 | 145.0459 | 0.013258 | 145.162 | 0.014097 | 145.2781 | 0.013058 | 145.3942 | 0.010481 | 145.5102 | 0.01211 | 145.6263 | 0.014674 | 145.7424 | 0.0072291 | 145.9599 | 0.013158 | 146.0759 | 0.0082817 | 146.192 | 0.016464 | 146.3081 | 2.9155 | 146.4274 | 0.011491 | 146.5434 | 0.015588 | 146.6595 | 0.0092372 | 146.7756 | 0.015864 | 146.9931 | 0.0082815 | 147.1091 | 0.011948 | 147.2252 | 0.011917 | 147.3413 | 0.0076682 | 147.4574 | 0.006122 | 147.5735 | 0.0091555 | 147.6895 | 0.0046081 | 147.8056 | -0.0017375 | 148.0231 | 0.0080255 | 148.1392 | -0.0019952 | 148.2553
2.9075 | 149.9997 | 0.010682 | 150.1158 | 0.013184 | 150.2319 | 0.014987 | 150.348 | 0.013479 | 150.4641 | 9.9e+37 | 150.5801 | 0.0087327 | 150.5962 | 0.012525 | 150.7123 | 0.014603 | 150.9298 | 0.013658 | 151.0458 | 0.013259 | 151.1619 | 0.014098 | 151.278 | 0.013058 | 151.3941 | 0.010481 | 151.5102 | 0.01211 | 151.6263 | 0.014673 | 151.7424 | 0.0072301 | 151.9599 | 0.013159 | 152.076 | 0.0082818 | 152.1921 | 0.016463 | 152.3081 | 2.9155 | 152.4242 | 0.011492 | 152.5403 | 0.015588 | 152.6564 | 0.0092378 | 152.7725 | 0.015863 | 152.99 | 0.0082821 | 153.1061 | 0.011948 | 153.2221 | 0.011917 | 153.3382 | 0.0076689 | 153.4543 | 0.0061234 | 153.5704 | 0.0091558 | 153.6865 | 0.0046098 | 153.8025 | -0.0017371 | 154.0672 | 0.0080256 | 154.1833 | -0.0019942 | 154.2994
2.9075 | 155.9997 | 0.010681 | 156.1158 | 0.013183 | 156.2319 | 0.014987 | 156.348 | 0.013479 | 156.4641 | 9.9e+37 | 156.5802 | 0.0087324 | 156.5963 | 0.012525 | 156.7124 | 0.014603 | 156.9298 | 0.013657 | 157.0459 | 0.013258 | 157.162 | 0.014096 | 157.2781 | 0.013056 | 157.3941 | 0.01048 | 157.5102 | 0.012109 | 157.6263 | 0.014672 | 157.7424 | 0.0072301 | 157.9599 | 0.013158 | 158.076 | 0.0082814 | 158.1921 | 0.016461 | 158.3082 | 2.9155 | 158.4243 | 0.011491 | 158.5403 | 0.015586 | 158.6564 | 0.0092381 | 158.7725 | 0.015861 | 159.0371 | 0.0082809 | 159.1532 | 0.011946 | 159.2693 | 0.011916 | 159.3854 | 0.0076678 | 159.5015 | 0.0061238 | 159.6176 | 0.0091552 | 159.7336 | 0.0046105 | 159.8497 | -0.0017362 | 160.0672 | 0.0080252 | 160.1833 | -0.0019934 | 160.2993
2.9075 | 161.9997 | 0.010681 | 162.1158 | 0.013182 | 162.2319 | 0.014987 | 162.348 | 0.013479 | 162.4641 | 9.9e+37 | 162.5801 | 0.0087317 | 162.5962 | 0.012525 | 162.7123 | 0.014601 | 162.9298 | 0.013656 | 163.0459 | 0.013256 | 163.162 | 0.014093 | 163.278 | 0.013055 | 163.3941 | 0.010479 | 163.5102 | 0.012108 | 163.6263 | 0.01467 | 163.7424 | 0.00723 | 164.007 | 0.013158 | 164.1231 | 0.0082813 | 164.2392 | 0.01646 | 164.3553 | 2.9155 | 164.4714 | 0.011491 | 164.5874 | 0.015584 | 164.7035 | 0.0092379 | 164.8196 | 0.015859 | 165.0371 | 0.008281 | 165.1532 | 0.011946 | 165.2693 | 0.011916 | 165.3853 | 0.0076675 | 165.5014 | 0.0061243 | 165.6175 | 0.0091551 | 165.7336 | 0.0046112 | 165.8497 | -0.0017362 | 166.0672 | 0.0080255 | 166.1832 | -0.0019929 | 166.2993
2.9076 | 167.9997 | 0.010681 | 168.1158 | 0.013181 | 168.2319 | 0.014986 | 168.348 | 0.013479 | 168.4641 | 9.9e+37 | 168.5802 | 0.0087316 | 168.5963 | 0.012525 | 168.7124 | 0.014601 | 168.977 | 0.013655 | 169.0931 | 0.013256 | 169.2092 | 0.014093 | 169.3253 | 0.013054 | 169.4414 | 0.010479 | 169.5575 | 0.012108 | 169.6735 | 0.01467 | 169.7896 | 0.0072304 | 170.0071 | 0.013158 | 170.1232 | 0.0082813 | 170.2393 | 0.016458 | 170.3554 | 2.9156 | 170.4715 | 0.011491 | 170.5875 | 0.015583 | 170.7036 | 0.0092379 | 170.8197 | 0.015857 | 171.0372 | 0.0082809 | 171.1533 | 0.011946 | 171.2694 | 0.011916 | 171.3854 | 0.0076672 | 171.5015 | 0.0061252 | 171.6176 | 0.0091553 | 171.7337 | 0.0046123 | 171.8498 | -0.001735 | 172.0673 | 0.0080251 | 172.1834 | -0.0019924 | 172.2994
2.9076 | 174.0295 | 0.010682 | 174.1456 | 0.013182 | 174.2617 | 0.014987 | 174.3778 | 0.013479 | 174.4939 | 9.9e+37 | 174.6099 | 0.0087325 | 174.626 | 0.012525 | 174.7421 | 0.014601 | 174.9595 | 0.013655 | 175.0756 | 0.013257 | 175.1917 | 0.014094 | 175.3078 | 0.013054 | 175.4239 | 0.010479 | 175.5399 | 0.012107 | 175.656 | 0.014668 | 175.7721 | 0.0072313 | 175.9896 | 0.013158 | 176.1057 | 0.0082814 | 176.2218 | 0.016457 | 176.3378 | 2.9156 | 176.4539 | 0.011491 | 176.57 | 0.015583 | 176.6918 | 0.0092384 | 176.8079 | 0.015857 | 177.0254 | 0.0082802 | 177.1415 | 0.011947 | 177.2575 | 0.011915 | 177.3736 | 0.0076672 | 177.4897 | 0.0061262 | 177.6058 | 0.0091551 | 177.7219 | 0.0046134 | 177.838 | -0.0017344 | 178.0554 | 0.0080252 | 178.1715 | -0.0019922 | 178.2876
2.9076 | 179.9997 | 0.010681 | 180.1158 | 0.013182 | 180.2319 | 0.014988 | 180.348 | 0.013479 | 180.4641 | 9.9e+37 | 180.5801 | 0.0087324 | 180.5962 | 0.012524 | 180.7123 | 0.014602 | 180.9298 | 0.013656 | 181.0459 | 0.013257 | 181.1619 | 0.014096 | 181.278 | 0.013055 | 181.3941 | 0.01048 | 181.5102 | 0.012108 | 181.6262 | 0.014669 | 181.7468 | 0.0072326 | 181.9643 | 0.013159 | 182.0804 | 0.0082816 | 182.1965 | 0.016457 | 182.3126 | 2.9156 | 182.4286 | 0.011492 | 182.5447 | 0.015584 | 182.6608 | 0.0092396 | 182.7769 | 0.015856 | 182.9944 | 0.0082811 | 183.1105 | 0.011947 | 183.2265 | 0.011915 | 183.3426 | 0.007667 | 183.4587 | 0.0061273 | 183.5748 | 0.0091547 | 183.6908 | 0.0046145 | 183.8069 | -0.0017341 | 184.0244 | 0.0080246 | 184.1405 | -0.0019914 | 184.2565
2.9076 | 185.9997 | 0.010683 | 186.1158 | 0.013184 | 186.2319 | 0.01499 | 186.348 | 0.013481 | 186.4641 | 9.9e+37 | 186.5802 | 0.0087332 | 186.5963 | 0.012526 | 186.7123 | 0.014603 | 186.9299 | 0.013657 | 187.0459 | 0.013259 | 187.162 | 0.014098 | 187.2781 | 0.013056 | 187.3942 | 0.010482 | 187.5102 | 0.012109 | 187.6263 | 0.01467 | 187.7424 | 0.0072347 | 187.9599 | 0.013161 | 188.076 | 0.0082829 | 188.1921 | 0.016458 | 188.3081 | 2.9156 | 188.4242 | 0.011494 | 188.5403 | 0.015585 | 188.6564 | 0.0092421 | 188.7725 | 0.015857 | 188.9899 | 0.0082823 | 189.106 | 0.011946 | 189.2221 | 0.011916 | 189.3382 | 0.0076671 | 189.4543 | 0.0061284 | 189.5703 | 0.0091554 | 189.6864 | 0.0046159 | 189.8025 | -0.0017337 | 190.02 | 0.0080256 | 190.1361 | -0.0019909 | 190.2521
2.9076 | 191.9997 | 0.010684 | 192.1158 | 0.013185 | 192.2319 | 0.01499 | 192.348 | 0.013482 | 192.4641 | 9.9e+37 | 192.5802 | 0.0087348 | 192.5963 | 0.012527 | 192.7123 | 0.014605 | 192.9298 | 0.013658 | 193.0459 | 0.01326 | 193.1619 | 0.0141 | 193.278 | 0.013057 | 193.3941 | 0.010482 | 193.5101 | 0.01211 | 193.6262 | 0.014671 | 193.7423 | 0.0072362 | 193.9598 | 0.013163 | 194.0759 | 0.0082835 | 194.192 | 0.016458 | 194.308 | 2.9156 | 194.4241 | 0.011494 | 194.5402 | 0.015586 | 194.6563 | 0.0092436 | 194.7724 | 0.015856 | 194.9899 | 0.0082833 | 195.106 | 0.011947 | 195.2221 | 0.011916 | 195.3381 | 0.0076681 | 195.4542 | 0.0061301 | 195.5703 | 0.0091558 | 195.6864 | 0.0046174 | 195.8025 | -0.0017329 | 196.0199 | 0.0080269 | 196.136 | -0.0019904 | 196.2521
2.9076 | 197.9997 | 0.010684 | 198.1158 | 0.013185 | 198.2319 | 0.01499 | 198.348 | 0.013483 | 198.4641 | 9.9e+37 | 198.5802 | 0.0087344 | 198.5963 | 0.012527 | 198.7124 | 0.014606 | 198.9298 | 0.013659 | 199.0459 | 0.013261 | 199.162 | 0.0141 | 199.2781 | 0.013058 | 199.3941 | 0.010483 | 199.5102 | 0.01211 | 199.6263 | 0.014671 | 199.7423 | 0.0072375 | 199.9599 | 0.013164 | 200.0759 | 0.0082834 | 200.192 | 0.016457 | 200.3081 | 2.9156 | 200.4242 | 0.011495 | 200.5403 | 0.015587 | 200.6564 | 0.0092452 | 200.7724 | 0.015856 | 200.9899 | 0.0082839 | 201.106 | 0.011949 | 201.2221 | 0.011917 | 201.3381 | 0.0076689 | 201.4542 | 0.0061313 | 201.5703 | 0.0091566 | 201.6863 | 0.0046191 | 201.8024 | -0.0017325 | 202.0199 | 0.0080277 | 202.136 | -0.0019896 | 202.2521
2.9076 | 203.9997 | 0.010685 | 204.1158 | 0.013186 | 204.2319 | 0.014991 | 204.348 | 0.013483 | 204.4641 | 9.9e+37 | 204.5802 | 0.0087353 | 204.5963 | 0.012528 | 204.7123 | 0.014604 | 204.9299 | 0.013658 | 205.0459 | 0.01326 | 205.162 | 0.014099 | 205.2781 | 0.013056 | 205.3942 | 0.010482 | 205.5102 | 0.012109 | 205.6263 | 0.01467 | 205.7424 | 0.0072376 | 205.9599 | 0.013164 | 206.076 | 0.0082838 | 206.192 | 0.016456 | 206.3081 | 2.9156 | 206.4242 | 0.011495 | 206.5403 | 0.015584 | 206.6564 | 0.0092451 | 206.7724 | 0.015855 | 206.99 | 0.0082833 | 207.1061 | 0.011948 | 207.2222 | 0.011917 | 207.3382 | 0.0076677 | 207.4543 | 0.0061318 | 207.5704 | 0.0091562 | 207.6865 | 0.0046193 | 207.8026 | -0.001732 | 208.0201 | 0.0080274 | 208.1361 | -0.001989 | 208.2522
2.9076 | 209.9997 | 0.010684 | 210.1158 | 0.013185 | 210.2319 | 0.014991 | 210.348 | 0.013482 | 210.4641 | 9.9e+37 | 210.5802 | 0.0087342 | 210.5963 | 0.012527 | 210.7123 | 0.014602 | 210.9298 | 0.013656 | 211.0459 | 0.013258 | 211.162 | 0.014096 | 211.278 | 0.013054 | 211.3941 | 0.010481 | 211.5102 | 0.012107 | 211.6263 | 0.014668 | 211.7424 | 0.0072375 | 211.9599 | 0.013163 | 212.076 | 0.0082834 | 212.1921 | 0.016454 | 212.3081 | 2.9156 | 212.4242 | 0.011494 | 212.5403 | 0.015581 | 212.6564 | 0.0092447 | 212.7725 | 0.015853 | 212.9899 | 0.0082832 | 213.106 | 0.011947 | 213.2221 | 0.011916 | 213.3382 | 0.007667 | 213.4543 | 0.0061323 | 213.5703 | 0.0091559 | 213.6864 | 0.0046198 | 213.8025 | -0.0017317 | 214.0672 | 0.0080269 | 214.1833 | -0.0019887 | 214.2993
2.9077 | 215.9997 | 0.010682 | 216.1158 | 0.013183 | 216.2319 | 0.014988 | 216.348 | 0.01348 | 216.4641 | 9.9e+37 | 216.5802 | 0.0087323 | 216.5963 | 0.012525 | 216.7123 | 0.014601 | 216.9298 | 0.013653 | 217.046 | 0.013256 | 217.1621 | 0.014094 | 217.2782 | 0.013052 | 217.3943 | 0.01048 | 217.5104 | 0.012106 | 217.6264 | 0.014667 | 217.7425 | 0.0072372 | 217.96 | 0.013162 | 218.0761 | 0.0082829 | 218.1922 | 0.016452 | 218.3083 | 2.9157 | 218.4244 | 0.011493 | 218.5404 | 0.015579 | 218.6565 | 0.0092445 | 218.7726 | 0.015852 | 219.0373 | 0.008281 | 219.1533 | 0.011947 | 219.2694 | 0.011915 | 219.3855 | 0.0076669 | 219.5016 | 0.0061327 | 219.6177 | 0.0091558 | 219.7338 | 0.0046203 | 219.8498 | -0.0017317 | 220.0673 | 0.0080264 | 220.1834 | -0.001988 | 220.2995
2.9077 | 221.9997 | 0.010682 | 222.1193 | 0.013182 | 222.2354 | 0.014987 | 222.3515 | 0.013479 | 222.4676 | 9.9e+37 | 222.5837 | 0.0087323 | 222.5998 | 0.012525 | 222.7158 | 0.014601 | 222.9334 | 0.013654 | 223.0494 | 0.013256 | 223.1655 | 0.014094 | 223.2816 | 0.013051 | 223.3976 | 0.01048 | 223.5137 | 0.012106 | 223.6298 | 0.014665 | 223.7459 | 0.0072365 | 224.0106 | 0.01316 | 224.1267 | 0.0082827 | 224.2427 | 0.01645 | 224.3588 | 2.9157 | 224.4749 | 0.011492 | 224.591 | 0.015578 | 224.707 | 0.0092442 | 224.8231 | 0.015849 | 225.0406 | 0.0082801 | 225.1567 | 0.011947 | 225.2728 | 0.011915 | 225.3888 | 0.0076666 | 225.5049 | 0.0061326 | 225.621 | 0.0091551 | 225.7371 | 0.0046208 | 225.8532 | -0.0017312 | 226.0707 | 0.0080259 | 226.1867 | -0.0019877 | 226.3028
2.9077 | 227.9997 | 0.010681 | 228.1158 | 0.013182 | 228.2319 | 0.014987 | 228.348 | 0.013479 | 228.4641 | 9.9e+37 | 228.5802 | 0.0087319 | 228.5963 | 0.012524 | 228.7123 | 0.014601 | 228.9298 | 0.013654 | 229.0459 | 0.013256 | 229.162 | 0.014096 | 229.2781 | 0.013051 | 229.3941 | 0.01048 | 229.5102 | 0.012106 | 229.6263 | 0.014665 | 229.7424 | 0.0072377 | 230.007 | 0.013161 | 230.1231 | 0.008283 | 230.2392 | 0.01645 | 230.3553 | 2.9157 | 230.4714 | 0.011493 | 230.5874 | 0.015579 | 230.7035 | 0.0092448 | 230.8196 | 0.015849 | 231.0371 | 0.0082802 | 231.1532 | 0.011947 | 231.2692 | 0.011915 | 231.3853 | 0.0076664 | 231.5014 | 0.0061333 | 231.6175 | 0.0091551 | 231.7336 | 0.0046219 | 231.8496 | -0.0017306 | 232.0671 | 0.0080263 | 232.1832 | -0.0019872 | 232.2993
2.9077 | 233.9997 | 0.010681 | 234.1158 | 0.013182 | 234.2319 | 0.014987 | 234.348 | 0.013479 | 234.4641 | 9.9e+37 | 234.5802 | 0.0087323 | 234.5963 | 0.012525 | 234.7124 | 0.014602 | 234.977 | 0.013655 | 235.0931 | 0.013257 | 235.2091 | 0.014096 | 235.3252 | 0.013051 | 235.4413 | 0.01048 | 235.5574 | 0.012106 | 235.6735 | 0.014665 | 235.7895 | 0.0072386 | 236.007 | 0.013161 | 236.1231 | 0.0082832 | 236.2392 | 0.016449 | 236.3552 | 2.9157 | 236.4713 | 0.011494 | 236.5874 | 0.015579 | 236.7034 | 0.0092456 | 236.8195 | 0.015848 | 237.0371 | 0.0082811 | 237.1531 | 0.011946 | 237.2693 | 0.011915 | 237.3854 | 0.0076664 | 237.5015 | 0.0061338 | 237.6175 | 0.009155 | 237.7336 | 0.0046228 | 237.8497 | -0.0017301 | 238.0672 | 0.0080262 | 238.1833 | -0.001987 | 238.2993
2.9077 | 240.0295 | 0.010681 | 240.1456 | 0.013182 | 240.2617 | 0.014984 | 240.3778 | 0.013478 | 240.4938 | 9.9e+37 | 240.6099 | 0.0087313 | 240.626 | 0.012524 | 240.7421 | 0.014602 | 240.9595 | 0.013655 | 241.0756 | 0.013257 | 241.1917 | 0.014097 | 241.3078 | 0.013051 | 241.4239 | 0.010479 | 241.54 | 0.012104 | 241.656 | 0.014664 | 241.7721 | 0.0072385 | 241.9896 | 0.013161 | 242.1057 | 0.0082829 | 242.2218 | 0.016447 | 242.3379 | 2.9157 | 242.454 | 0.011494 | 242.57 | 0.015579 | 242.6861 | 0.0092462 | 242.8022 | 0.015847 | 243.0197 | 0.0082807 | 243.1358 | 0.011946 | 243.2518 | 0.011914 | 243.3679 | 0.0076659 | 243.484 | 0.0061339 | 243.6001 | 0.0091546 | 243.7162 | 0.0046229 | 243.8322 | -0.0017299 | 244.0497 | 0.0080256 | 244.1658 | -0.0019865 | 244.2819
2.9078 | 245.9997 | 0.010681 | 246.1158 | 0.013181 | 246.2319 | 0.014985 | 246.348 | 0.013478 | 246.4641 | 9.9e+37 | 246.5802 | 0.0087309 | 246.5963 | 0.012524 | 246.7123 | 0.014602 | 246.9298 | 0.013654 | 247.0459 | 0.013256 | 247.162 | 0.014094 | 247.278 | 0.013051 | 247.3942 | 0.010479 | 247.5103 | 0.012103 | 247.6263 | 0.014663 | 247.7424 | 0.0072385 | 247.9599 | 0.013162 | 248.076 | 0.0082834 | 248.1921 | 0.016446 | 248.3081 | 2.9158 | 248.4242 | 0.011492 | 248.5402 | 0.015575 | 248.6563 | 0.0092455 | 248.7724 | 0.015845 | 248.9899 | 0.0082803 | 249.106 | 0.011944 | 249.222 | 0.011913 | 249.3381 | 0.0076651 | 249.4542 | 0.0061342 | 249.5703 | 0.0091538 | 249.6864 | 0.0046228 | 249.8025 | -0.0017298 | 250.0199 | 0.0080256 | 250.136 | -0.0019865 | 250.2521
2.9078 | 251.9997 | 0.010681 | 252.1158 | 0.013181 | 252.2319 | 0.014986 | 252.348 | 0.013479 | 252.4641 | 9.9e+37 | 252.5802 | 0.0087327 | 252.5963 | 0.012524 | 252.7124 | 0.014601 | 252.9299 | 0.013653 | 253.046 | 0.013253 | 253.1621 | 0.014092 | 253.2782 | 0.013051 | 253.3942 | 0.010479 | 253.5103 | 0.012102 | 253.6264 | 0.014663 | 253.7424 | 0.0072393 | 253.9599 | 0.013163 | 254.076 | 0.0082831 | 254.1921 | 0.016447 | 254.3082 | 2.9158 | 254.4243 | 0.011494 | 254.5403 | 0.015575 | 254.6564 | 0.0092461 | 254.7725 | 0.015845 | 254.9899 | 0.0082808 | 255.106 | 0.011944 | 255.2221 | 0.011913 | 255.3382 | 0.0076655 | 255.4543 | 0.0061353 | 255.5703 | 0.0091541 | 255.6864 | 0.0046239 | 255.8025 | -0.001729 | 256.02 | 0.0080257 | 256.1361 | -0.0019862 | 256.2522
2.9078 | 257.9997 | 0.010684 | 258.1158 | 0.013184 | 258.2319 | 0.014992 | 258.348 | 0.013482 | 258.4641 | 9.9e+37 | 258.5802 | 0.0087349 | 258.5963 | 0.012527 | 258.7123 | 0.014602 | 258.9298 | 0.013653 | 259.0459 | 0.013254 | 259.162 | 0.014093 | 259.278 | 0.013051 | 259.3941 | 0.010478 | 259.5102 | 0.012102 | 259.6263 | 0.014663 | 259.7424 | 0.0072398 | 259.9599 | 0.013162 | 260.076 | 0.0082828 | 260.192 | 0.016445 | 260.3081 | 2.9158 | 260.4242 | 0.011493 | 260.5403 | 0.015575 | 260.6564 | 0.0092464 | 260.7725 | 0.015843 | 260.99 | 0.0082798 | 261.106 | 0.011944 | 261.2221 | 0.011913 | 261.3382 | 0.0076647 | 261.4543 | 0.0061355 | 261.5704 | 0.0091539 | 261.6865 | 0.0046245 | 261.8025 | -0.0017291 | 262.02 | 0.0080252 | 262.1361 | -0.0019856 | 262.2522
2.9078 | 263.9997 | 0.010682 | 264.1158 | 0.013182 | 264.2319 | 0.014989 | 264.348 | 0.013479 | 264.4641 | 9.9e+37 | 264.5802 | 0.008732 | 264.5963 | 0.012524 | 264.7123 | 0.014601 | 264.9298 | 0.013653 | 265.0459 | 0.013253 | 265.162 | 0.014092 | 265.278 | 0.013049 | 265.3941 | 0.010477 | 265.5102 | 0.012101 | 265.6263 | 0.014661 | 265.7423 | 0.0072389 | 265.9598 | 0.01316 | 266.0759 | 0.0082821 | 266.192 | 0.016443 | 266.3081 | 2.9158 | 266.4242 | 0.011492 | 266.5402 | 0.015574 | 266.6563 | 0.009246 | 266.7724 | 0.015842 | 266.9899 | 0.0082787 | 267.1059 | 0.011944 | 267.222 | 0.011912 | 267.3381 | 0.007663 | 267.4542 | 0.006136 | 267.5703 | 0.009153 | 267.6864 | 0.0046251 | 267.8025 | -0.0017285 | 268.0199 | 0.008025 | 268.136 | -0.0019849 | 268.2521
2.9077 | 269.9997 | 0.010681 | 270.1158 | 0.013181 | 270.2319 | 0.014987 | 270.348 | 0.013478 | 270.4641 | 9.9e+37 | 270.5802 | 0.0087317 | 270.5963 | 0.012524 | 270.7123 | 0.0146 | 270.9298 | 0.013653 | 271.0459 | 0.013253 | 271.162 | 0.014092 | 271.2781 | 0.013048 | 271.3942 | 0.010476 | 271.5102 | 0.0121 | 271.6263 | 0.01466 | 271.7424 | 0.0072393 | 271.9599 | 0.01316 | 272.076 | 0.0082818 | 272.192 | 0.016442 | 272.3081 | 2.9158 | 272.4242 | 0.011492 | 272.5403 | 0.015574 | 272.6564 | 0.0092465 | 272.7725 | 0.015841 | 272.99 | 0.008279 | 273.106 | 0.011944 | 273.2221 | 0.011912 | 273.3382 | 0.007663 | 273.4543 | 0.0061357 | 273.5704 | 0.0091531 | 273.6865 | 0.0046256 | 273.8025 | -0.0017284 | 274.0201 | 0.008025 | 274.1361 | -0.0019848 | 274.2522
2.9078 | 275.9997 | 0.010684 | 276.1158 | 0.013183 | 276.2319 | 0.014989 | 276.348 | 0.01348 | 276.4641 | 9.9e+37 | 276.5801 | 0.0087337 | 276.5962 | 0.012526 | 276.7123 | 0.014601 | 276.9298 | 0.013653 | 277.0459 | 0.013254 | 277.1619 | 0.014093 | 277.278 | 0.013048 | 277.3941 | 0.010477 | 277.5102 | 0.012101 | 277.6263 | 0.01466 | 277.7424 | 0.0072401 | 277.9599 | 0.013161 | 278.076 | 0.0082818 | 278.1921 | 0.016441 | 278.3082 | 2.9158 | 278.4243 | 0.011493 | 278.5403 | 0.015574 | 278.6564 | 0.0092474 | 278.7725 | 0.015841 | 278.99 | 0.0082798 | 279.1061 | 0.011944 | 279.2222 | 0.011912 | 279.3383 | 0.0076636 | 279.4543 | 0.0061366 | 279.5704 | 0.0091532 | 279.6865 | 0.0046267 | 279.8025 | -0.0017277 | 280.0672 | 0.0080246 | 280.1833 | -0.0019844 | 280.2994
2.9078 | 281.9997 | 0.010686 | 282.1158 | 0.013186 | 282.2319 | 0.014992 | 282.348 | 0.013483 | 282.4641 | 9.9e+37 | 282.5802 | 0.0087363 | 282.5963 | 0.012529 | 282.7124 | 0.014602 | 282.9299 | 0.013653 | 283.046 | 0.013255 | 283.162 | 0.014094 | 283.2781 | 0.013049 | 283.3942 | 0.010478 | 283.5103 | 0.012102 | 283.6263 | 0.01466 | 283.7424 | 0.0072416 | 283.9599 | 0.013162 | 284.076 | 0.0082825 | 284.1921 | 0.016441 | 284.3082 | 2.9157 | 284.4243 | 0.011494 | 284.5404 | 0.015575 | 284.6564 | 0.0092485 | 284.7725 | 0.01584 | 285.0372 | 0.0082808 | 285.1533 | 0.011944 | 285.2694 | 0.011912 | 285.3855 | 0.007665 | 285.5015 | 0.0061386 | 285.6176 | 0.0091537 | 285.7337 | 0.0046281 | 285.8498 | -0.0017273 | 286.0673 | 0.0080261 | 286.1833 | -0.0019837 | 286.2994
2.9077 | 287.9997 | 0.010687 | 288.1158 | 0.013188 | 288.2319 | 0.014994 | 288.348 | 0.013485 | 288.4641 | 9.9e+37 | 288.5802 | 0.0087371 | 288.5963 | 0.01253 | 288.7124 | 0.014603 | 288.9298 | 0.013654 | 289.0459 | 0.013257 | 289.162 | 0.014096 | 289.2781 | 0.01305 | 289.3942 | 0.010479 | 289.5102 | 0.012103 | 289.6263 | 0.014661 | 289.7424 | 0.0072434 | 290.0071 | 0.013165 | 290.1232 | 0.0082839 | 290.2393 | 0.016442 | 290.3554 | 2.9157 | 290.4714 | 0.011496 | 290.5875 | 0.015576 | 290.7036 | 0.0092505 | 290.8197 | 0.015842 | 291.0372 | 0.0082825 | 291.1532 | 0.011947 | 291.2693 | 0.011914 | 291.3854 | 0.0076658 | 291.5015 | 0.0061403 | 291.6175 | 0.009155 | 291.7336 | 0.0046299 | 291.8497 | -0.0017268 | 292.0672 | 0.0080277 | 292.1833 | -0.0019832 | 292.2994
2.9077 | 293.9997 | 0.010687 | 294.1158 | 0.013188 | 294.2319 | 0.014995 | 294.348 | 0.013485 | 294.4641 | 9.9e+37 | 294.5802 | 0.0087368 | 294.5963 | 0.012531 | 294.7123 | 0.014605 | 294.9769 | 0.013655 | 295.093 | 0.013258 | 295.2091 | 0.014098 | 295.3252 | 0.013052 | 295.4413 | 0.010481 | 295.5574 | 0.012104 | 295.6734 | 0.014662 | 295.7895 | 0.0072444 | 296.007 | 0.013167 | 296.1231 | 0.0082847 | 296.2392 | 0.016442 | 296.3552 | 2.9157 | 296.4713 | 0.011498 | 296.5874 | 0.015577 | 296.7035 | 0.0092518 | 296.8196 | 0.015842 | 297.0371 | 0.0082831 | 297.1531 | 0.011947 | 297.2692 | 0.011915 | 297.3853 | 0.0076669 | 297.5014 | 0.0061419 | 297.6175 | 0.0091553 | 297.7336 | 0.0046308 | 297.8497 | -0.0017262 | 298.0672 | 0.0080285 | 298.1833 | -0.0019827 | 298.2994