## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-21
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-21
| Status/Cmds | Collecting data...
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9076 | 0 | 0.010702 | 0.11613 | 0.013224 | 0.23224 | 0.015004 | 0.3483 | 0.013504 | 0.46438 | 9.9e+37 | 0.58045 | 0.0087438 | 0.59655 | 0.012541 | 0.71263 | 0.014854 | 0.93008 | 0.014087 | 1.0461 | 0.013497 | 1.1622 | 0.01439 | 1.2783 | 0.013611 | 1.3944 | 0.010486 | 1.5104 | 0.012731 | 1.6265 | 0.015535 | 1.7426 | 0.0062313 | 1.9601 | 0.01265 | 2.0761 | 0.0081269 | 2.1922 | 0.017879 | 2.3083 | 2.9156 | 2.4243 | 0.011014 | 2.5404 | 0.016566 | 2.6565 | 0.0082146 | 6.999 | 0.017425 | 7.1151 | 0.0082965 | 7.2312 | 0.011954 | 7.3472 | 0.012213 | 7.4633 | 0.0077116 | 7.5794 | 0.0044947 | 7.6955 | 0.0098283 | 7.8115 | 0.0029631 | 8.029 | -0.00292 | 8.1451 | 0.0085762 | 8.2611 | -0.0033291 | 8.3772
2.9076 | 8.4933 | 0.010699 | 8.6094 | 0.013221 | 8.7255 | 0.015 | 8.8416 | 0.013501 | 9.0591 | 9.9e+37 | 9.1751 | 0.0087413 | 9.1912 | 0.012538 | 9.3073 | 0.014851 | 9.4234 | 0.014084 | 9.5394 | 0.013494 | 9.6555 | 0.014387 | 9.7716 | 0.013607 | 9.9891 | 0.010484 | 10.1052 | 0.012727 | 10.2213 | 0.015532 | 10.3374 | 0.0062328 | 10.4535 | 0.012651 | 10.5696 | 0.008127 | 10.6856 | 0.017874 | 10.8017 | 2.9156 | 11.0663 | 0.011014 | 11.1824 | 0.016561 | 11.2985 | 0.0082149 | 13.999 | 0.017421 | 14.1151 | 0.0082952 | 14.2311 | 0.011954 | 14.3472 | 0.012212 | 14.4633 | 0.0077108 | 14.5794 | 0.0044967 | 14.6955 | 0.0098282 | 14.8115 | 0.0029655 | 15.029 | -0.002918 | 15.1451 | 0.0085762 | 15.2612 | -0.0033279 | 15.3773
2.9076 | 15.4934 | 0.010698 | 15.6095 | 0.013221 | 15.7256 | 0.014999 | 15.8416 | 0.0135 | 16.0591 | 9.9e+37 | 16.1752 | 0.0087409 | 16.1913 | 0.012537 | 16.3074 | 0.014848 | 16.4235 | 0.014081 | 16.5395 | 0.013492 | 16.6556 | 0.014385 | 16.7717 | 0.013604 | 17.0363 | 0.010483 | 17.1524 | 0.012726 | 17.2685 | 0.01553 | 17.3846 | 0.0062339 | 17.5006 | 0.012651 | 17.6167 | 0.0081267 | 17.7328 | 0.01787 | 17.8489 | 2.9156 | 18.0664 | 0.011013 | 18.1825 | 0.016557 | 18.2985 | 0.0082153 | 20.999 | 0.017418 | 21.1151 | 0.0082942 | 21.2312 | 0.011954 | 21.3473 | 0.012211 | 21.4633 | 0.0077091 | 21.5794 | 0.0044981 | 21.6955 | 0.0098276 | 21.8116 | 0.0029669 | 22.029 | -0.0029166 | 22.1451 | 0.0085762 | 22.2612 | -0.0033265 | 22.3773
2.9076 | 22.4934 | 0.010697 | 22.6095 | 0.013219 | 22.7255 | 0.014997 | 22.8416 | 0.013499 | 23.1063 | 9.9e+37 | 23.2223 | 0.0087396 | 23.2384 | 0.012536 | 23.3545 | 0.014847 | 23.4706 | 0.014079 | 23.5867 | 0.013491 | 23.7027 | 0.014384 | 23.8188 | 0.013601 | 24.0363 | 0.010483 | 24.1523 | 0.012724 | 24.2684 | 0.015527 | 24.3845 | 0.0062347 | 24.5006 | 0.012651 | 24.6166 | 0.0081261 | 24.7327 | 0.017867 | 24.8488 | 2.9156 | 25.0663 | 0.011012 | 25.1824 | 0.016555 | 25.2985 | 0.0082161 | 27.999 | 0.017414 | 28.1151 | 0.0082927 | 28.2311 | 0.011953 | 28.3472 | 0.012211 | 28.4633 | 0.0077088 | 28.5794 | 0.0045002 | 28.6954 | 0.0098271 | 28.8115 | 0.0029683 | 29.0761 | -0.0029155 | 29.1922 | 0.0085761 | 29.3083 | -0.0033247 | 29.4244
2.9076 | 29.5404 | 0.010698 | 29.6565 | 0.01322 | 29.7726 | 0.014998 | 29.8887 | 0.013499 | 30.1061 | 9.9e+37 | 30.2222 | 0.0087416 | 30.2383 | 0.012537 | 30.3544 | 0.014845 | 30.4705 | 0.014076 | 30.5865 | 0.01349 | 30.7026 | 0.014383 | 30.8187 | 0.013599 | 31.0362 | 0.010482 | 31.1522 | 0.012723 | 31.2683 | 0.015525 | 31.3844 | 0.0062361 | 31.5005 | 0.01265 | 31.6166 | 0.008126 | 31.7326 | 0.017864 | 31.8487 | 2.9156 | 32.0662 | 0.011012 | 32.1823 | 0.016553 | 32.2983 | 0.0082168 | 34.999 | 0.017412 | 35.1151 | 0.0082928 | 35.2311 | 0.011953 | 35.3473 | 0.01221 | 35.4634 | 0.0077075 | 35.5794 | 0.004502 | 35.6955 | 0.0098274 | 35.8116 | 0.0029702 | 36.0291 | -0.0029141 | 36.1451 | 0.0085761 | 36.2612 | -0.0033237 | 36.3773
2.9076 | 36.4934 | 0.0107 | 36.6094 | 0.013222 | 36.7255 | 0.015 | 36.8416 | 0.013501 | 37.0591 | 9.9e+37 | 37.1752 | 0.0087437 | 37.1913 | 0.012539 | 37.3074 | 0.014846 | 37.4234 | 0.014076 | 37.5395 | 0.01349 | 37.6556 | 0.014383 | 37.7717 | 0.013599 | 37.9892 | 0.010482 | 38.1052 | 0.012722 | 38.2213 | 0.015524 | 38.3374 | 0.006238 | 38.4535 | 0.012651 | 38.5696 | 0.0081259 | 38.6856 | 0.017861 | 38.8017 | 2.9157 | 39.0192 | 0.011013 | 39.1352 | 0.016552 | 39.2513 | 0.008219 | 41.999 | 0.017409 | 42.1151 | 0.0082938 | 42.2312 | 0.011953 | 42.3472 | 0.012211 | 42.4633 | 0.0077079 | 42.5794 | 0.0045049 | 42.6955 | 0.0098283 | 42.8116 | 0.0029721 | 43.029 | -0.0029129 | 43.1451 | 0.0085772 | 43.2612 | -0.003322 | 43.3773
2.9077 | 43.4934 | 0.010701 | 43.6094 | 0.013223 | 43.7255 | 0.015002 | 43.8416 | 0.013503 | 44.0591 | 9.9e+37 | 44.1752 | 0.0087438 | 44.1913 | 0.01254 | 44.3073 | 0.014847 | 44.4234 | 0.014077 | 44.5395 | 0.013491 | 44.6555 | 0.014385 | 44.7716 | 0.013599 | 44.9891 | 0.010482 | 45.1052 | 0.012723 | 45.2213 | 0.015523 | 45.3373 | 0.0062396 | 45.4535 | 0.012653 | 45.5696 | 0.0081263 | 45.6856 | 0.017859 | 45.8017 | 2.9157 | 46.0192 | 0.011014 | 46.1353 | 0.016552 | 46.2514 | 0.00822 | 48.999 | 0.017408 | 49.1151 | 0.0082939 | 49.2312 | 0.011954 | 49.3472 | 0.012211 | 49.4633 | 0.0077079 | 49.5794 | 0.0045069 | 49.6954 | 0.0098283 | 49.8115 | 0.0029737 | 50.029 | -0.0029115 | 50.1451 | 0.0085777 | 50.2612 | -0.0033208 | 50.3773
2.9077 | 50.4934 | 0.0107 | 50.6095 | 0.013222 | 50.7256 | 0.015001 | 50.8417 | 0.013502 | 51.0591 | 9.9e+37 | 51.1752 | 0.0087429 | 51.1913 | 0.012539 | 51.3074 | 0.014845 | 51.4235 | 0.014076 | 51.5395 | 0.01349 | 51.6556 | 0.014383 | 51.7717 | 0.013598 | 51.9892 | 0.010482 | 52.1052 | 0.012721 | 52.2213 | 0.015521 | 52.3374 | 0.0062401 | 52.4535 | 0.012653 | 52.5695 | 0.008127 | 52.6856 | 0.017857 | 52.8017 | 2.9157 | 53.0191 | 0.011014 | 53.1352 | 0.01655 | 53.2513 | 0.0082211 | 55.999 | 0.017405 | 56.1151 | 0.0082946 | 56.2312 | 0.011954 | 56.3472 | 0.01221 | 56.4633 | 0.0077069 | 56.5794 | 0.0045084 | 56.6955 | 0.0098278 | 56.8115 | 0.0029758 | 57.029 | -0.0029106 | 57.1451 | 0.0085778 | 57.2612 | -0.00332 | 57.3772
2.9077 | 57.4933 | 0.010703 | 57.6094 | 0.013224 | 57.7255 | 0.015005 | 57.8416 | 0.013504 | 58.0591 | 9.9e+37 | 58.1751 | 0.0087466 | 58.1912 | 0.012542 | 58.3073 | 0.014846 | 58.4234 | 0.014076 | 58.5395 | 0.013491 | 58.6556 | 0.014385 | 58.7716 | 0.013598 | 58.9891 | 0.010483 | 59.1052 | 0.012722 | 59.2213 | 0.015521 | 59.3373 | 0.0062426 | 59.4534 | 0.012655 | 59.5695 | 0.0081275 | 59.6856 | 0.017855 | 59.8016 | 2.9157 | 60.0191 | 0.011016 | 60.1352 | 0.016551 | 60.2513 | 0.008223 | 62.999 | 0.017404 | 63.1151 | 0.0082957 | 63.2312 | 0.011955 | 63.3472 | 0.012212 | 63.4633 | 0.0077071 | 63.5794 | 0.0045108 | 63.6955 | 0.0098286 | 63.8115 | 0.0029772 | 64.0291 | -0.0029097 | 64.1451 | 0.008579 | 64.2612 | -0.0033187 | 64.3773
2.9077 | 64.4934 | 0.010704 | 64.6095 | 0.013225 | 64.7256 | 0.015006 | 64.8416 | 0.013505 | 65.0591 | 9.9e+37 | 65.1752 | 0.0087471 | 65.1913 | 0.012543 | 65.3073 | 0.014848 | 65.4234 | 0.014077 | 65.5395 | 0.013492 | 65.6556 | 0.014386 | 65.7717 | 0.013598 | 65.9891 | 0.010483 | 66.1052 | 0.012722 | 66.2213 | 0.015521 | 66.3374 | 0.0062441 | 66.4535 | 0.012657 | 66.5695 | 0.0081282 | 66.6856 | 0.017855 | 66.8017 | 2.9157 | 67.0192 | 0.011017 | 67.1353 | 0.016549 | 67.2514 | 0.0082238 | 69.999 | 0.017403 | 70.1151 | 0.0082955 | 70.2311 | 0.011956 | 70.3472 | 0.012212 | 70.4633 | 0.0077073 | 70.5794 | 0.0045136 | 70.6955 | 0.0098293 | 70.8116 | 0.0029791 | 71.029 | -0.0029077 | 71.1451 | 0.00858 | 71.2612 | -0.0033179 | 71.3773
2.9077 | 71.4934 | 0.010703 | 71.6094 | 0.013225 | 71.7255 | 0.015004 | 71.8416 | 0.013504 | 72.0591 | 9.9e+37 | 72.1751 | 0.0087462 | 72.1912 | 0.012542 | 72.3073 | 0.014847 | 72.4234 | 0.014075 | 72.5395 | 0.013491 | 72.6555 | 0.014384 | 72.7716 | 0.013596 | 72.9891 | 0.010482 | 73.1052 | 0.012721 | 73.2212 | 0.01552 | 73.3373 | 0.0062451 | 73.4534 | 0.012657 | 73.5695 | 0.008128 | 73.6855 | 0.017853 | 73.8016 | 2.9157 | 74.0662 | 0.011016 | 74.1823 | 0.016547 | 74.2984 | 0.0082259 | 76.999 | 0.017402 | 77.1151 | 0.0082946 | 77.2312 | 0.011957 | 77.3473 | 0.012213 | 77.4633 | 0.0077077 | 77.5794 | 0.0045152 | 77.6955 | 0.0098298 | 77.8116 | 0.0029807 | 78.0291 | -0.0029071 | 78.1451 | 0.0085802 | 78.2612 | -0.0033172 | 78.3773
2.9077 | 78.4934 | 0.010704 | 78.6094 | 0.013226 | 78.7255 | 0.015007 | 78.8416 | 0.013506 | 79.0591 | 9.9e+37 | 79.1752 | 0.008748 | 79.1913 | 0.012543 | 79.3074 | 0.014847 | 79.4235 | 0.014075 | 79.5395 | 0.013491 | 79.6556 | 0.014386 | 79.7717 | 0.013595 | 80.0363 | 0.010482 | 80.1524 | 0.012721 | 80.2685 | 0.015518 | 80.3845 | 0.0062459 | 80.5006 | 0.012656 | 80.6167 | 0.0081276 | 80.7328 | 0.01785 | 80.8489 | 2.9157 | 81.0664 | 0.011016 | 81.1825 | 0.016548 | 81.2986 | 0.0082264 | 83.999 | 0.0174 | 84.1151 | 0.0082957 | 84.2312 | 0.011957 | 84.3472 | 0.012212 | 84.4633 | 0.0077072 | 84.5794 | 0.0045167 | 84.6954 | 0.0098297 | 84.8115 | 0.0029822 | 85.029 | -0.0029063 | 85.1451 | 0.0085803 | 85.2612 | -0.003316 | 85.3772
2.9077 | 85.4933 | 0.010706 | 85.6094 | 0.013229 | 85.7257 | 0.015009 | 85.8418 | 0.013508 | 86.1064 | 9.9e+37 | 86.2224 | 0.0087498 | 86.2385 | 0.012546 | 86.3546 | 0.014848 | 86.4707 | 0.014076 | 86.5868 | 0.013492 | 86.7028 | 0.014387 | 86.8189 | 0.013596 | 87.0364 | 0.010483 | 87.1525 | 0.012721 | 87.2686 | 0.015518 | 87.3846 | 0.0062481 | 87.5007 | 0.012657 | 87.6168 | 0.0081285 | 87.7329 | 0.01785 | 87.849 | 2.9157 | 88.0664 | 0.011018 | 88.1825 | 0.016548 | 88.2986 | 0.0082283 | 90.999 | 0.017399 | 91.1151 | 0.0082968 | 91.2312 | 0.011957 | 91.3473 | 0.012212 | 91.4633 | 0.0077075 | 91.5794 | 0.0045186 | 91.6955 | 0.0098304 | 91.8116 | 0.0029838 | 92.0762 | -0.0029053 | 92.1923 | 0.008581 | 92.3084 | -0.0033147 | 92.4244
2.9077 | 92.5405 | 0.010705 | 92.6566 | 0.013227 | 92.7727 | 0.015008 | 92.8888 | 0.013506 | 93.1062 | 9.9e+37 | 93.2223 | 0.0087479 | 93.2384 | 0.012544 | 93.3545 | 0.01485 | 93.4706 | 0.01408 | 93.5866 | 0.013495 | 93.7027 | 0.014389 | 93.8188 | 0.013604 | 94.0363 | 0.010485 | 94.1523 | 0.012729 | 94.2684 | 0.01553 | 94.3845 | 0.0062376 | 94.5006 | 0.012655 | 94.6167 | 0.0081293 | 94.7327 | 0.017873 | 94.8488 | 2.9157 | 95.0663 | 0.011015 | 95.1824 | 0.016563 | 95.2985 | 0.00821 | 97.999 | 0.017436 | 98.1151 | 0.0082976 | 98.2312 | 0.011957 | 98.3473 | 0.012217 | 98.4633 | 0.007712 | 98.5794 | 0.0044837 | 98.6955 | 0.0098365 | 98.8115 | 0.0029481 | 99.029 | -0.0029275 | 99.1451 | 0.0085814 | 99.2612 | -0.0033395 | 99.3773
2.9077 | 99.4933 | 0.010702 | 99.6094 | 0.013223 | 99.7255 | 0.015002 | 99.8416 | 0.013503 | 100.0591 | 9.9e+37 | 100.1752 | 0.0087437 | 100.1913 | 0.012538 | 100.3073 | 0.014854 | 100.4234 | 0.014088 | 100.5395 | 0.013498 | 100.6556 | 0.014391 | 100.7716 | 0.013616 | 100.9892 | 0.010488 | 101.1052 | 0.012739 | 101.2213 | 0.015548 | 101.3374 | 0.0062197 | 101.4535 | 0.012647 | 101.5696 | 0.0081279 | 101.6856 | 0.017907 | 101.8017 | 2.9157 | 102.0192 | 0.011009 | 102.1353 | 0.016581 | 102.2514 | 0.0081924 | 104.999 | 0.017473 | 105.1151 | 0.0082964 | 105.2311 | 0.011956 | 105.3472 | 0.012222 | 105.4633 | 0.0077151 | 105.5794 | 0.0044385 | 105.6954 | 0.0098426 | 105.8115 | 0.0028998 | 106.029 | -0.0029581 | 106.1451 | 0.0085817 | 106.2612 | -0.003374 | 106.3773
2.9077 | 106.4934 | 0.0107 | 106.6094 | 0.013222 | 106.7255 | 0.015 | 106.8416 | 0.013501 | 107.0591 | 9.9e+37 | 107.1751 | 0.0087428 | 107.1912 | 0.012534 | 107.3073 | 0.014858 | 107.4234 | 0.014099 | 107.5395 | 0.013504 | 107.6555 | 0.014394 | 107.7716 | 0.013633 | 107.9891 | 0.010491 | 108.1052 | 0.012755 | 108.2212 | 0.015573 | 108.3373 | 0.0061954 | 108.4534 | 0.012636 | 108.5695 | 0.0081263 | 108.6856 | 0.017944 | 108.8017 | 2.9157 | 109.0192 | 0.011002 | 109.1353 | 0.016601 | 109.2513 | 0.0081552 | 111.999 | 0.017535 | 112.1151 | 0.0082954 | 112.2312 | 0.011955 | 112.3473 | 0.012229 | 112.4633 | 0.0077209 | 112.5794 | 0.0043971 | 112.6955 | 0.0098472 | 112.8116 | 0.0028584 | 113.0291 | -0.0029816 | 113.1451 | 0.0085842 | 113.2612 | -0.0033956 | 113.3773
2.9077 | 113.4934 | 0.010699 | 113.6095 | 0.013222 | 113.7255 | 0.014999 | 113.8416 | 0.013501 | 114.0591 | 9.9e+37 | 114.1752 | 0.0087423 | 114.1912 | 0.012533 | 114.3073 | 0.014862 | 114.4234 | 0.014108 | 114.5395 | 0.013508 | 114.6556 | 0.014396 | 114.7716 | 0.013644 | 114.9891 | 0.010494 | 115.1052 | 0.012767 | 115.2213 | 0.01559 | 115.3374 | 0.0061771 | 115.4535 | 0.012628 | 115.5695 | 0.0081247 | 115.6856 | 0.017975 | 115.8017 | 2.9157 | 116.0192 | 0.010995 | 116.1353 | 0.016621 | 116.2514 | 0.0081614 | 118.999 | 0.017521 | 119.1151 | 0.0082951 | 119.2312 | 0.011956 | 119.3472 | 0.012229 | 119.4633 | 0.0077195 | 119.5794 | 0.0044082 | 119.6955 | 0.0098458 | 119.8115 | 0.0028504 | 120.029 | -0.0030008 | 120.1451 | 0.0085855 | 120.2612 | -0.0034361 | 120.3772
2.9077 | 120.4933 | 0.010698 | 120.6094 | 0.013222 | 120.7255 | 0.014997 | 120.8416 | 0.013501 | 121.0591 | 9.9e+37 | 121.1752 | 0.0087411 | 121.1913 | 0.012529 | 121.3074 | 0.014871 | 121.4235 | 0.01413 | 121.5396 | 0.01352 | 121.6556 | 0.014405 | 121.7717 | 0.013683 | 121.9892 | 0.010505 | 122.1053 | 0.01281 | 122.2214 | 0.015657 | 122.3374 | 0.0061145 | 122.4535 | 0.012602 | 122.5696 | 0.0081223 | 122.6857 | 0.01808 | 122.8018 | 2.9157 | 123.0192 | 0.010977 | 123.1353 | 0.016681 | 123.2514 | 0.0080964 | 125.999 | 0.017637 | 126.1151 | 0.0082934 | 126.2312 | 0.011954 | 126.3473 | 0.012245 | 126.4634 | 0.0077287 | 126.5795 | 0.0043087 | 126.6955 | 0.0098593 | 126.8116 | 0.002756 | 127.0291 | -0.0030394 | 127.1452 | 0.0085893 | 127.2613 | -0.0034583 | 127.3774
2.9077 | 127.4935 | 0.010698 | 127.6095 | 0.013222 | 127.7256 | 0.014996 | 127.8417 | 0.013501 | 128.0591 | 9.9e+37 | 128.1752 | 0.0087415 | 128.1913 | 0.012527 | 128.3074 | 0.014873 | 128.4235 | 0.014134 | 128.5396 | 0.013523 | 128.6556 | 0.014405 | 128.7717 | 0.013675 | 128.9892 | 0.010502 | 129.1053 | 0.012804 | 129.2213 | 0.01564 | 129.3374 | 0.0061289 | 129.4535 | 0.012609 | 129.5696 | 0.0081248 | 129.6857 | 0.018064 | 129.8018 | 2.9157 | 130.0193 | 0.010975 | 130.1353 | 0.016677 | 130.2514 | 0.0081075 | 132.999 | 0.017615 | 133.1151 | 0.008294 | 133.2312 | 0.011954 | 133.3473 | 0.012244 | 133.4633 | 0.0077239 | 133.5794 | 0.0043208 | 133.6955 | 0.0098593 | 133.8116 | 0.0027661 | 134.029 | -0.0030324 | 134.1451 | 0.00859 | 134.2612 | -0.0034536 | 134.3773
2.9077 | 134.4933 | 0.010699 | 134.6094 | 0.013223 | 134.7255 | 0.014998 | 134.8416 | 0.013501 | 135.0591 | 9.9e+37 | 135.1752 | 0.0087422 | 135.1913 | 0.012525 | 135.3074 | 0.014885 | 135.4234 | 0.014161 | 135.5395 | 0.013539 | 135.6556 | 0.014418 | 135.7716 | 0.013721 | 135.9891 | 0.010516 | 136.1052 | 0.012855 | 136.2214 | 0.015717 | 136.3374 | 0.0060562 | 136.4535 | 0.012581 | 136.5696 | 0.0081256 | 136.6857 | 0.018195 | 136.8018 | 2.9157 | 137.0664 | 0.010953 | 137.1825 | 0.016755 | 137.2986 | 0.0080395 | 139.999 | 0.017741 | 140.1151 | 0.0082938 | 140.2311 | 0.011953 | 140.3472 | 0.012268 | 140.4633 | 0.0077286 | 140.5794 | 0.0041915 | 140.6955 | 0.0098883 | 140.8115 | 0.0026118 | 141.029 | -0.0031226 | 141.1451 | 0.0086019 | 141.2612 | -0.0035567 | 141.3773
2.9077 | 141.4934 | 0.0107 | 141.6094 | 0.013226 | 141.7255 | 0.014998 | 141.8416 | 0.013502 | 142.0591 | 9.9e+37 | 142.1752 | 0.008743 | 142.1913 | 0.012525 | 142.3073 | 0.01489 | 142.4234 | 0.014169 | 142.5395 | 0.013546 | 142.6556 | 0.014427 | 142.7717 | 0.013708 | 143.0363 | 0.010512 | 143.1523 | 0.012854 | 143.2684 | 0.015695 | 143.3845 | 0.0060737 | 143.5006 | 0.01259 | 143.6167 | 0.0081317 | 143.7328 | 0.018172 | 143.8488 | 2.9157 | 144.0663 | 0.010944 | 144.1824 | 0.016758 | 144.2985 | 0.0080142 | 146.999 | 0.017775 | 147.1151 | 0.0082926 | 147.2312 | 0.011952 | 147.3473 | 0.012277 | 147.4633 | 0.0077225 | 147.5794 | 0.0041487 | 147.6955 | 0.0099059 | 147.8116 | 0.0025609 | 148.0291 | -0.0031517 | 148.1451 | 0.0086173 | 148.2612 | -0.0035941 | 148.3773
2.9077 | 148.4934 | 0.010699 | 148.6095 | 0.013226 | 148.7255 | 0.014997 | 148.8416 | 0.013501 | 149.1063 | 9.9e+37 | 149.2223 | 0.0087416 | 149.2384 | 0.012525 | 149.3545 | 0.014894 | 149.4706 | 0.014175 | 149.5866 | 0.01355 | 149.7027 | 0.014434 | 149.8188 | 0.013709 | 150.0363 | 0.010509 | 150.1523 | 0.012863 | 150.2684 | 0.015699 | 150.3845 | 0.0060654 | 150.5006 | 0.012585 | 150.6167 | 0.0081323 | 150.7328 | 0.018184 | 150.8488 | 2.9157 | 151.0664 | 0.010933 | 151.1825 | 0.016772 | 151.2986 | 0.0080076 | 153.999 | 0.017778 | 154.1151 | 0.0082924 | 154.2312 | 0.011952 | 154.3472 | 0.012282 | 154.4633 | 0.0077146 | 154.5794 | 0.0041397 | 154.6955 | 0.0099172 | 154.8116 | 0.0025504 | 155.0762 | -0.0031557 | 155.1922 | 0.0086274 | 155.3083 | -0.0036005 | 155.4244
2.9077 | 155.5405 | 0.0107 | 155.6565 | 0.013227 | 155.7726 | 0.014998 | 155.8887 | 0.013502 | 156.1062 | 9.9e+37 | 156.2222 | 0.0087424 | 156.2383 | 0.012528 | 156.3545 | 0.014894 | 156.4705 | 0.014173 | 156.5866 | 0.013549 | 156.7027 | 0.014439 | 156.8188 | 0.013697 | 157.0363 | 0.010504 | 157.1523 | 0.012856 | 157.2684 | 0.015681 | 157.3845 | 0.0060833 | 157.5006 | 0.012594 | 157.6166 | 0.0081347 | 157.7327 | 0.01815 | 157.8488 | 2.9157 | 158.0663 | 0.010933 | 158.1823 | 0.016761 | 158.2984 | 0.0079933 | 160.999 | 0.017802 | 161.1151 | 0.0082929 | 161.2311 | 0.011953 | 161.3473 | 0.012289 | 161.4634 | 0.0077124 | 161.5795 | 0.0041116 | 161.6956 | 0.0099286 | 161.8117 | 0.0025198 | 162.0292 | -0.0031742 | 162.1453 | 0.0086346 | 162.2613 | -0.0036226 | 162.3774
2.9077 | 162.4935 | 0.0107 | 162.6096 | 0.013226 | 162.7257 | 0.014997 | 162.8417 | 0.013502 | 163.0592 | 9.9e+37 | 163.1753 | 0.0087415 | 163.1914 | 0.012528 | 163.3075 | 0.014897 | 163.4236 | 0.014177 | 163.5396 | 0.013552 | 163.6557 | 0.014443 | 163.7717 | 0.013699 | 163.9892 | 0.010504 | 164.1053 | 0.012862 | 164.2214 | 0.015683 | 164.3375 | 0.0060799 | 164.4536 | 0.012595 | 164.5696 | 0.0081362 | 164.6857 | 0.018155 | 164.8018 | 2.9157 | 165.0193 | 0.010929 | 165.1353 | 0.016768 | 165.2514 | 0.0080071 | 167.999 | 0.017773 | 168.1151 | 0.0082934 | 168.2312 | 0.011953 | 168.3472 | 0.012288 | 168.4633 | 0.0077062 | 168.5794 | 0.0041335 | 168.6955 | 0.0099292 | 168.8116 | 0.0025391 | 169.0291 | -0.0031615 | 169.1451 | 0.0086385 | 169.2612 | -0.0036097 | 169.3773
2.9077 | 169.4934 | 0.010699 | 169.6094 | 0.013226 | 169.7255 | 0.014997 | 169.8416 | 0.013502 | 170.0591 | 9.9e+37 | 170.1752 | 0.0087416 | 170.1912 | 0.01253 | 170.3073 | 0.014895 | 170.4234 | 0.014173 | 170.5395 | 0.013549 | 170.6555 | 0.014442 | 170.7716 | 0.01369 | 170.9891 | 0.010501 | 171.1052 | 0.012855 | 171.2212 | 0.015672 | 171.3373 | 0.0060909 | 171.4577 | 0.012599 | 171.5738 | 0.0081378 | 171.6899 | 0.018137 | 171.8059 | 2.9157 | 172.0235 | 0.010931 | 172.1395 | 0.01676 | 172.2556 | 0.0080133 | 174.999 | 0.017762 | 175.1151 | 0.0082942 | 175.2311 | 0.011953 | 175.3472 | 0.012287 | 175.4633 | 0.0077034 | 175.5794 | 0.0041408 | 175.6955 | 0.0099307 | 175.8115 | 0.0025454 | 176.029 | -0.0031571 | 176.1451 | 0.0086405 | 176.2612 | -0.0036059 | 176.3772
2.9077 | 176.4934 | 0.010701 | 176.6096 | 0.013228 | 176.7256 | 0.015 | 176.8417 | 0.013503 | 177.0592 | 9.9e+37 | 177.1753 | 0.0087435 | 177.1914 | 0.012531 | 177.3074 | 0.014894 | 177.4235 | 0.014172 | 177.5396 | 0.013549 | 177.6557 | 0.014442 | 177.7717 | 0.013687 | 177.9892 | 0.010501 | 178.1053 | 0.012852 | 178.2214 | 0.015666 | 178.3375 | 0.0060986 | 178.4535 | 0.012604 | 178.5696 | 0.0081393 | 178.6857 | 0.018127 | 178.8018 | 2.9157 | 179.0193 | 0.010933 | 179.1353 | 0.016755 | 179.2514 | 0.0080176 | 181.999 | 0.017755 | 182.1151 | 0.0082936 | 182.2312 | 0.011953 | 182.3472 | 0.012286 | 182.4633 | 0.0077018 | 182.5794 | 0.0041462 | 182.6955 | 0.0099316 | 182.8116 | 0.0025499 | 183.029 | -0.0031542 | 183.1451 | 0.0086413 | 183.2612 | -0.0036028 | 183.3773
2.9077 | 183.4934 | 0.010701 | 183.6094 | 0.013228 | 183.7255 | 0.014999 | 183.8416 | 0.013502 | 184.0591 | 9.9e+37 | 184.1752 | 0.0087435 | 184.1913 | 0.012532 | 184.3073 | 0.014893 | 184.4234 | 0.014169 | 184.5395 | 0.013547 | 184.6555 | 0.01444 | 184.7716 | 0.013682 | 184.9891 | 0.0105 | 185.1051 | 0.012849 | 185.2212 | 0.015661 | 185.3373 | 0.0061033 | 185.4534 | 0.012606 | 185.5695 | 0.00814 | 185.6856 | 0.018119 | 185.8017 | 2.9158 | 186.0191 | 0.010934 | 186.1352 | 0.016751 | 186.2513 | 0.0080206 | 188.999 | 0.017749 | 189.1151 | 0.0082934 | 189.2312 | 0.011953 | 189.3473 | 0.012285 | 189.4633 | 0.0077004 | 189.5794 | 0.0041501 | 189.6955 | 0.0099324 | 189.8116 | 0.0025533 | 190.0291 | -0.0031514 | 190.1452 | 0.0086419 | 190.2612 | -0.0035999 | 190.3773
2.9077 | 190.4934 | 0.010701 | 190.6095 | 0.013228 | 190.7255 | 0.014998 | 190.8416 | 0.013502 | 191.0591 | 9.9e+37 | 191.1752 | 0.0087431 | 191.1913 | 0.012531 | 191.3073 | 0.014891 | 191.4234 | 0.014167 | 191.5395 | 0.013545 | 191.657 | 0.014438 | 191.7731 | 0.013679 | 191.9905 | 0.010499 | 192.1066 | 0.012847 | 192.2227 | 0.015657 | 192.3387 | 0.0061069 | 192.4548 | 0.012607 | 192.5709 | 0.0081409 | 192.687 | 0.018113 | 192.8031 | 2.9157 | 193.0206 | 0.010934 | 193.1367 | 0.016746 | 193.2528 | 0.0080233 | 195.999 | 0.017744 | 196.1151 | 0.0082925 | 196.2311 | 0.011953 | 196.3472 | 0.012285 | 196.4633 | 0.0076992 | 196.5794 | 0.0041539 | 196.6955 | 0.0099326 | 196.8116 | 0.0025579 | 197.0291 | -0.00315 | 197.1452 | 0.008642 | 197.2612 | -0.0035974 | 197.3773
2.9077 | 197.4934 | 0.0107 | 197.6095 | 0.013227 | 197.7256 | 0.014998 | 197.8417 | 0.013501 | 198.0591 | 9.9e+37 | 198.1752 | 0.0087424 | 198.1913 | 0.012531 | 198.3074 | 0.014891 | 198.4235 | 0.014165 | 198.5395 | 0.013545 | 198.6556 | 0.014439 | 198.7717 | 0.013676 | 198.9892 | 0.010498 | 199.1053 | 0.012845 | 199.2214 | 0.015653 | 199.3374 | 0.0061107 | 199.4535 | 0.012608 | 199.5696 | 0.0081409 | 199.6857 | 0.018107 | 199.8018 | 2.9158 | 200.0664 | 0.010934 | 200.1825 | 0.016743 | 200.2986 | 0.0080243 | 202.999 | 0.017738 | 203.1151 | 0.0082915 | 203.2312 | 0.011952 | 203.3473 | 0.012284 | 203.4633 | 0.0076972 | 203.5794 | 0.0041563 | 203.6955 | 0.0099324 | 203.8116 | 0.0025633 | 204.0291 | -0.003148 | 204.1452 | 0.0086405 | 204.2612 | -0.0035954 | 204.3773
2.9077 | 204.4934 | 0.0107 | 204.6095 | 0.013227 | 204.7255 | 0.014997 | 204.8416 | 0.013501 | 205.0591 | 9.9e+37 | 205.1752 | 0.0087427 | 205.1913 | 0.01253 | 205.3073 | 0.01489 | 205.4234 | 0.014163 | 205.5395 | 0.013543 | 205.6556 | 0.014435 | 205.7716 | 0.013673 | 206.0363 | 0.010496 | 206.1524 | 0.012842 | 206.2685 | 0.015648 | 206.3845 | 0.0061122 | 206.5006 | 0.012608 | 206.6167 | 0.0081408 | 206.7327 | 0.018101 | 206.8489 | 2.9158 | 207.0663 | 0.010932 | 207.1824 | 0.016739 | 207.2985 | 0.0080255 | 209.999 | 0.017733 | 210.1151 | 0.0082909 | 210.2312 | 0.011951 | 210.3473 | 0.012283 | 210.4633 | 0.0076959 | 210.5794 | 0.0041589 | 210.6955 | 0.0099319 | 210.8116 | 0.0025651 | 211.0291 | -0.0031464 | 211.1452 | 0.00864 | 211.2612 | -0.003594 | 211.3773
2.9077 | 211.4934 | 0.0107 | 211.6095 | 0.013226 | 211.7256 | 0.014996 | 211.8428 | 0.0135 | 212.1075 | 9.9e+37 | 212.2236 | 0.0087425 | 212.2397 | 0.012531 | 212.3558 | 0.01489 | 212.4719 | 0.014162 | 212.5879 | 0.013541 | 212.704 | 0.014434 | 212.8201 | 0.01367 | 213.0376 | 0.010495 | 213.1537 | 0.01284 | 213.2697 | 0.015645 | 213.3858 | 0.0061145 | 213.5019 | 0.012608 | 213.618 | 0.0081405 | 213.7341 | 0.018096 | 213.8501 | 2.9157 | 214.0676 | 0.010933 | 214.1837 | 0.016737 | 214.2998 | 0.0080272 | 216.999 | 0.01773 | 217.1151 | 0.0082908 | 217.2312 | 0.01195 | 217.3473 | 0.012282 | 217.4633 | 0.0076949 | 217.5794 | 0.0041608 | 217.6955 | 0.0099316 | 217.8116 | 0.0025676 | 218.0762 | -0.0031448 | 218.1923 | 0.0086403 | 218.3084 | -0.0035924 | 218.4245
2.9077 | 218.5405 | 0.0107 | 218.6566 | 0.013226 | 218.7727 | 0.014997 | 218.8888 | 0.013501 | 219.1063 | 9.9e+37 | 219.2223 | 0.0087424 | 219.2384 | 0.012531 | 219.3545 | 0.01489 | 219.4706 | 0.014163 | 219.5867 | 0.013542 | 219.7027 | 0.014436 | 219.8188 | 0.01367 | 220.0363 | 0.010496 | 220.1524 | 0.01284 | 220.2685 | 0.015644 | 220.3846 | 0.006118 | 220.5007 | 0.01261 | 220.6167 | 0.0081409 | 220.7328 | 0.018093 | 220.8489 | 2.9158 | 221.0664 | 0.010936 | 221.1825 | 0.016736 | 221.2985 | 0.0080302 | 223.999 | 0.017728 | 224.1151 | 0.008293 | 224.2312 | 0.011952 | 224.3473 | 0.012283 | 224.4633 | 0.0076953 | 224.5794 | 0.0041642 | 224.6955 | 0.0099327 | 224.8116 | 0.0025708 | 225.029 | -0.003143 | 225.1451 | 0.0086412 | 225.2612 | -0.0035907 | 225.3773
2.9078 | 225.4933 | 0.0107 | 225.6094 | 0.013227 | 225.7255 | 0.014998 | 225.8416 | 0.013501 | 226.0591 | 9.9e+37 | 226.1752 | 0.0087424 | 226.1913 | 0.012531 | 226.3073 | 0.014892 | 226.4234 | 0.014163 | 226.5395 | 0.013544 | 226.6556 | 0.014438 | 226.7716 | 0.013671 | 226.9926 | 0.010497 | 227.1087 | 0.01284 | 227.2247 | 0.015643 | 227.3408 | 0.0061211 | 227.4569 | 0.012612 | 227.573 | 0.0081421 | 227.6891 | 0.018091 | 227.8051 | 2.9158 | 228.0226 | 0.010937 | 228.1387 | 0.016736 | 228.2548 | 0.0080331 | 230.999 | 0.017727 | 231.1151 | 0.0082943 | 231.2311 | 0.011952 | 231.3472 | 0.012283 | 231.4633 | 0.0076952 | 231.5794 | 0.0041663 | 231.6955 | 0.0099332 | 231.8116 | 0.0025727 | 232.0291 | -0.0031415 | 232.1453 | 0.008642 | 232.2614 | -0.0035888 | 232.3775
2.9078 | 232.4935 | 0.0107 | 232.6096 | 0.013227 | 232.7257 | 0.014997 | 232.8418 | 0.013502 | 233.0593 | 9.9e+37 | 233.1754 | 0.0087423 | 233.1914 | 0.012531 | 233.3075 | 0.014891 | 233.4236 | 0.014162 | 233.5397 | 0.013543 | 233.6557 | 0.014438 | 233.7718 | 0.01367 | 233.9893 | 0.010497 | 234.1054 | 0.012838 | 234.2214 | 0.015642 | 234.3375 | 0.0061224 | 234.4536 | 0.012614 | 234.5697 | 0.0081423 | 234.6857 | 0.018088 | 234.8018 | 2.9158 | 235.0193 | 0.010938 | 235.1354 | 0.016735 | 235.2515 | 0.0080344 | 237.999 | 0.017723 | 238.1151 | 0.0082931 | 238.2312 | 0.011952 | 238.3472 | 0.012283 | 238.4633 | 0.0076941 | 238.5794 | 0.0041683 | 238.6955 | 0.0099335 | 238.8116 | 0.0025746 | 239.029 | -0.0031406 | 239.1451 | 0.0086416 | 239.2612 | -0.0035876 | 239.3773
2.9078 | 239.4933 | 0.010701 | 239.6094 | 0.013228 | 239.7255 | 0.014999 | 239.8416 | 0.013502 | 240.0591 | 9.9e+37 | 240.1751 | 0.0087433 | 240.1912 | 0.012533 | 240.3073 | 0.01489 | 240.4234 | 0.014161 | 240.5394 | 0.013542 | 240.6555 | 0.014438 | 240.7716 | 0.013667 | 240.9891 | 0.010495 | 241.1052 | 0.012837 | 241.2212 | 0.01564 | 241.3373 | 0.0061234 | 241.4534 | 0.012614 | 241.5695 | 0.0081419 | 241.6856 | 0.018085 | 241.8017 | 2.9158 | 242.0191 | 0.010937 | 242.1436 | 0.016732 | 242.2597 | 0.0080351 | 244.999 | 0.01772 | 245.1151 | 0.0082925 | 245.2312 | 0.011952 | 245.3472 | 0.012282 | 245.4633 | 0.0076929 | 245.5794 | 0.00417 | 245.6955 | 0.0099331 | 245.8116 | 0.0025752 | 246.0291 | -0.0031392 | 246.1452 | 0.0086419 | 246.2612 | -0.0035862 | 246.3773
2.9078 | 246.4934 | 0.010701 | 246.6095 | 0.013227 | 246.7255 | 0.014999 | 246.8416 | 0.013502 | 247.0591 | 9.9e+37 | 247.1753 | 0.0087432 | 247.1918 | 0.012532 | 247.3079 | 0.014889 | 247.4239 | 0.014159 | 247.54 | 0.013541 | 247.6561 | 0.014436 | 247.7722 | 0.013665 | 247.9896 | 0.010495 | 248.1057 | 0.012836 | 248.2218 | 0.015637 | 248.3379 | 0.0061251 | 248.454 | 0.012614 | 248.5701 | 0.0081421 | 248.6861 | 0.018082 | 248.8022 | 2.9158 | 249.0197 | 0.010937 | 249.1358 | 0.01673 | 249.2519 | 0.0080356 | 251.999 | 0.017718 | 252.1151 | 0.008292 | 252.2312 | 0.011951 | 252.3473 | 0.012282 | 252.4634 | 0.0076922 | 252.5795 | 0.0041713 | 252.6955 | 0.0099333 | 252.8116 | 0.0025768 | 253.0291 | -0.0031384 | 253.1452 | 0.0086414 | 253.2612 | -0.0035851 | 253.3773
2.9078 | 253.4934 | 0.010701 | 253.6095 | 0.013227 | 253.7256 | 0.014999 | 253.8416 | 0.013502 | 254.0591 | 9.9e+37 | 254.1752 | 0.0087434 | 254.1913 | 0.012532 | 254.3074 | 0.014888 | 254.4234 | 0.014158 | 254.5395 | 0.01354 | 254.6556 | 0.014434 | 254.7716 | 0.013664 | 254.9891 | 0.010495 | 255.1052 | 0.012834 | 255.2213 | 0.015636 | 255.3373 | 0.0061264 | 255.4534 | 0.012615 | 255.5695 | 0.0081422 | 255.6856 | 0.01808 | 255.8017 | 2.9158 | 256.0192 | 0.010937 | 256.1352 | 0.016727 | 256.2513 | 0.0080372 | 258.999 | 0.017715 | 259.1151 | 0.0082918 | 259.2312 | 0.01195 | 259.3472 | 0.012282 | 259.4633 | 0.0076919 | 259.5794 | 0.0041731 | 259.6955 | 0.009933 | 259.8115 | 0.002578 | 260.029 | -0.0031372 | 260.1451 | 0.0086412 | 260.2611 | -0.0035842 | 260.3772
2.9078 | 260.4933 | 0.010702 | 260.6094 | 0.013227 | 260.7255 | 0.015 | 260.8416 | 0.013502 | 261.059 | 9.9e+37 | 261.1751 | 0.0087431 | 261.1912 | 0.012532 | 261.3073 | 0.014889 | 261.4234 | 0.014158 | 261.5394 | 0.013539 | 261.6555 | 0.014434 | 261.7716 | 0.013663 | 261.9891 | 0.010494 | 262.1052 | 0.012833 | 262.2212 | 0.015634 | 262.3438 | 0.0061274 | 262.4599 | 0.012614 | 262.576 | 0.0081421 | 262.692 | 0.018076 | 262.8081 | 2.9158 | 263.0728 | 0.010938 | 263.1889 | 0.016726 | 263.305 | 0.0080375 | 265.999 | 0.017712 | 266.1151 | 0.0082915 | 266.2312 | 0.011951 | 266.3472 | 0.012281 | 266.4633 | 0.0076908 | 266.5794 | 0.0041746 | 266.6955 | 0.0099328 | 266.8116 | 0.0025792 | 267.029 | -0.0031362 | 267.1451 | 0.0086415 | 267.2612 | -0.003583 | 267.3774
2.9078 | 267.4935 | 0.010703 | 267.6096 | 0.013228 | 267.7257 | 0.015 | 267.8418 | 0.013504 | 268.0593 | 9.9e+37 | 268.1753 | 0.0087443 | 268.1914 | 0.012534 | 268.3075 | 0.014888 | 268.4236 | 0.014158 | 268.5397 | 0.013539 | 268.6557 | 0.014434 | 268.7718 | 0.013661 | 269.0364 | 0.010493 | 269.1525 | 0.012831 | 269.2686 | 0.015632 | 269.3847 | 0.0061284 | 269.5007 | 0.012614 | 269.6168 | 0.0081418 | 269.7329 | 0.018074 | 269.849 | 2.9157 | 270.0665 | 0.010937 | 270.1825 | 0.016724 | 270.2986 | 0.008038 | 272.999 | 0.01771 | 273.1151 | 0.0082918 | 273.2312 | 0.01195 | 273.3473 | 0.012281 | 273.4633 | 0.0076903 | 273.5794 | 0.0041764 | 273.6955 | 0.0099331 | 273.8116 | 0.00258 | 274.0291 | -0.0031355 | 274.1451 | 0.008642 | 274.2612 | -0.0035816 | 274.3773
2.9078 | 274.4934 | 0.010705 | 274.6094 | 0.01323 | 274.7255 | 0.015004 | 274.8416 | 0.013506 | 275.1063 | 9.9e+37 | 275.2224 | 0.0087471 | 275.2385 | 0.012536 | 275.3545 | 0.014889 | 275.4706 | 0.014158 | 275.5867 | 0.013539 | 275.7028 | 0.014435 | 275.8188 | 0.013662 | 276.0363 | 0.010494 | 276.1524 | 0.012832 | 276.2685 | 0.015631 | 276.3846 | 0.0061299 | 276.5006 | 0.012615 | 276.6167 | 0.0081425 | 276.7328 | 0.018072 | 276.8489 | 2.9158 | 277.0664 | 0.010939 | 277.1824 | 0.016725 | 277.2985 | 0.0080401 | 279.999 | 0.017709 | 280.1151 | 0.0082929 | 280.2311 | 0.011952 | 280.3472 | 0.012281 | 280.4633 | 0.0076915 | 280.5794 | 0.0041788 | 280.6955 | 0.0099341 | 280.8115 | 0.002582 | 281.0761 | -0.0031341 | 281.1922 | 0.0086425 | 281.3083 | -0.0035806 | 281.4244
2.9078 | 281.5405 | 0.010704 | 281.6566 | 0.013228 | 281.7726 | 0.015003 | 281.8887 | 0.013504 | 282.1062 | 9.9e+37 | 282.2223 | 0.0087445 | 282.2383 | 0.012534 | 282.3544 | 0.01489 | 282.4705 | 0.014158 | 282.5866 | 0.013541 | 282.7027 | 0.014437 | 282.8188 | 0.013663 | 283.0363 | 0.010494 | 283.1523 | 0.012832 | 283.2684 | 0.015631 | 283.3845 | 0.0061318 | 283.5006 | 0.012618 | 283.6167 | 0.0081426 | 283.7327 | 0.018071 | 283.8488 | 2.9158 | 284.0663 | 0.01094 | 284.1824 | 0.016725 | 284.2985 | 0.008042 | 286.999 | 0.017708 | 287.1151 | 0.0082932 | 287.2312 | 0.011952 | 287.3473 | 0.012281 | 287.4633 | 0.0076908 | 287.5821 | 0.00418 | 287.6982 | 0.0099343 | 287.8142 | 0.0025835 | 288.0317 | -0.0031331 | 288.1478 | 0.0086425 | 288.2639 | -0.0035794 | 288.38
2.9078 | 288.4961 | 0.010698 | 288.6121 | 0.013223 | 288.7282 | 0.014995 | 288.8443 | 0.013498 | 289.0618 | 9.9e+37 | 289.1779 | 0.0087396 | 289.194 | 0.012528 | 289.31 | 0.014889 | 289.4261 | 0.014157 | 289.5422 | 0.01354 | 289.6583 | 0.014435 | 289.7744 | 0.013661 | 289.9918 | 0.010494 | 290.1079 | 0.012831 | 290.224 | 0.01563 | 290.34 | 0.0061329 | 290.4561 | 0.012618 | 290.5722 | 0.0081431 | 290.6883 | 0.018069 | 290.8044 | 2.9158 | 291.0219 | 0.01094 | 291.1379 | 0.016723 | 291.254 | 0.0080424 | 293.999 | 0.017706 | 294.1151 | 0.0082923 | 294.2312 | 0.011951 | 294.3473 | 0.012281 | 294.4633 | 0.0076896 | 294.5794 | 0.0041808 | 294.6955 | 0.0099339 | 294.8116 | 0.0025836 | 295.029 | -0.0031324 | 295.1451 | 0.0086424 | 295.2612 | -0.0035789 | 295.3773
2.9078 | 295.4934 | 0.010699 | 295.6095 | 0.013224 | 295.7256 | 0.014997 | 295.8416 | 0.0135 | 296.0591 | 9.9e+37 | 296.1752 | 0.0087417 | 296.1913 | 0.01253 | 296.3073 | 0.014888 | 296.4234 | 0.014156 | 296.5395 | 0.013539 | 296.6556 | 0.014435 | 296.7716 | 0.013659 | 296.9891 | 0.010493 | 297.1052 | 0.01283 | 297.2213 | 0.015628 | 297.3373 | 0.0061336 | 297.4534 | 0.012617 | 297.5695 | 0.0081427 | 297.6857 | 0.018066 | 297.8018 | 2.9158 | 298.0193 | 0.01094 | 298.1353 | 0.016722 | 298.2514 | 0.0080434 | 300.999 | 0.017704 | 301.1151 | 0.0082917 | 301.2312 | 0.01195 | 301.3472 | 0.01228 | 301.4633 | 0.007689 | 301.5794 | 0.0041816 | 301.6955 | 0.0099334 | 301.8116 | 0.0025843 | 302.029 | -0.0031314 | 302.1451 | 0.0086416 | 302.2612 | -0.003578 | 302.3772
2.9078 | 302.4933 | 0.010702 | 302.6094 | 0.013227 | 302.7256 | 0.015002 | 302.8416 | 0.013503 | 303.0591 | 9.9e+37 | 303.1752 | 0.0087449 | 303.1913 | 0.012534 | 303.3074 | 0.01489 | 303.4234 | 0.014157 | 303.5395 | 0.01354 | 303.6556 | 0.014437 | 303.7717 | 0.01366 | 303.9892 | 0.010494 | 304.1053 | 0.01283 | 304.2213 | 0.015627 | 304.3374 | 0.006135 | 304.4535 | 0.012617 | 304.5696 | 0.0081431 | 304.6857 | 0.018065 | 304.8017 | 2.9158 | 305.0192 | 0.010941 | 305.1352 | 0.016723 | 305.2513 | 0.0080447 | 307.999 | 0.017703 | 308.1151 | 0.008293 | 308.2312 | 0.011949 | 308.3472 | 0.01228 | 308.4633 | 0.0076889 | 308.5794 | 0.0041826 | 308.6954 | 0.0099331 | 308.8115 | 0.0025853 | 309.029 | -0.0031309 | 309.1451 | 0.0086421 | 309.2612 | -0.0035774 | 309.3772
2.9078 | 309.4933 | 0.010705 | 309.6094 | 0.01323 | 309.7255 | 0.015005 | 309.8416 | 0.013506 | 310.0591 | 9.9e+37 | 310.1752 | 0.008747 | 310.1913 | 0.012537 | 310.3074 | 0.014891 | 310.4234 | 0.014159 | 310.5395 | 0.013541 | 310.6556 | 0.014438 | 310.7717 | 0.013661 | 310.9892 | 0.010494 | 311.1052 | 0.012831 | 311.2213 | 0.015626 | 311.3374 | 0.0061367 | 311.4534 | 0.012619 | 311.5695 | 0.0081439 | 311.6856 | 0.018063 | 311.8017 | 2.9158 | 312.0192 | 0.010941 | 312.1353 | 0.016722 | 312.2514 | 0.0080459 | 314.999 | 0.017701 | 315.1151 | 0.0082941 | 315.2311 | 0.011949 | 315.3472 | 0.01228 | 315.4633 | 0.0076893 | 315.5794 | 0.004184 | 315.6955 | 0.0099334 | 315.8115 | 0.0025862 | 316.0291 | -0.0031297 | 316.1451 | 0.008642 | 316.2612 | -0.0035761 | 316.3773
2.9078 | 316.4933 | 0.010705 | 316.6094 | 0.01323 | 316.7255 | 0.015005 | 316.8416 | 0.013506 | 317.0591 | 9.9e+37 | 317.1751 | 0.0087471 | 317.1912 | 0.012537 | 317.3073 | 0.014892 | 317.4234 | 0.014159 | 317.5395 | 0.013542 | 317.6556 | 0.014439 | 317.7716 | 0.013662 | 317.9891 | 0.010494 | 318.1052 | 0.01283 | 318.2213 | 0.015626 | 318.3374 | 0.0061384 | 318.4535 | 0.01262 | 318.5696 | 0.008144 | 318.6857 | 0.018063 | 318.8017 | 2.9158 | 319.0192 | 0.010943 | 319.1353 | 0.016722 | 319.2514 | 0.0080471 | 321.999 | 0.0177 | 322.1151 | 0.0082946 | 322.2312 | 0.01195 | 322.3472 | 0.01228 | 322.4633 | 0.0076895 | 322.5794 | 0.0041859 | 322.6955 | 0.0099338 | 322.8116 | 0.0025875 | 323.0291 | -0.0031294 | 323.1451 | 0.0086425 | 323.2612 | -0.0035754 | 323.3773
2.9078 | 323.4934 | 0.010704 | 323.6095 | 0.01323 | 323.7256 | 0.015005 | 323.8417 | 0.013505 | 324.0591 | 9.9e+37 | 324.1752 | 0.0087456 | 324.1913 | 0.012536 | 324.3074 | 0.014893 | 324.4234 | 0.014159 | 324.5395 | 0.013542 | 324.6556 | 0.01444 | 324.7717 | 0.013662 | 324.9892 | 0.010495 | 325.1053 | 0.01283 | 325.2213 | 0.015626 | 325.3374 | 0.0061396 | 325.4535 | 0.012621 | 325.5696 | 0.0081449 | 325.6857 | 0.018062 | 325.8017 | 2.9158 | 326.0664 | 0.010943 | 326.1825 | 0.016722 | 326.2985 | 0.0080475 | 328.999 | 0.017699 | 329.1151 | 0.0082942 | 329.2312 | 0.011951 | 329.3472 | 0.01228 | 329.4633 | 0.0076888 | 329.5794 | 0.004187 | 329.6955 | 0.0099337 | 329.8115 | 0.0025886 | 330.029 | -0.0031284 | 330.1451 | 0.0086429 | 330.2612 | -0.0035741 | 330.3772
2.9078 | 330.4933 | 0.010703 | 330.6094 | 0.013227 | 330.7255 | 0.015002 | 330.8416 | 0.013503 | 331.0591 | 9.9e+37 | 331.1751 | 0.0087439 | 331.1912 | 0.012534 | 331.3073 | 0.014892 | 331.4233 | 0.014158 | 331.5394 | 0.013542 | 331.6555 | 0.014439 | 331.7716 | 0.01366 | 332.0363 | 0.010494 | 332.1524 | 0.012829 | 332.2684 | 0.015625 | 332.3845 | 0.0061403 | 332.5006 | 0.012622 | 332.6167 | 0.0081448 | 332.7328 | 0.01806 | 332.8488 | 2.9158 | 333.0692 | 0.010943 | 333.1853 | 0.01672 | 333.3014 | 0.0080486 | 335.999 | 0.017697 | 336.1151 | 0.0082941 | 336.2311 | 0.01195 | 336.3472 | 0.01228 | 336.4633 | 0.0076885 | 336.5794 | 0.0041884 | 336.6955 | 0.0099339 | 336.8115 | 0.0025892 | 337.029 | -0.0031272 | 337.1451 | 0.008643 | 337.2612 | -0.0035737 | 337.3773
2.9078 | 337.4934 | 0.010702 | 337.6095 | 0.013227 | 337.7255 | 0.015001 | 337.8416 | 0.013503 | 338.1063 | 9.9e+37 | 338.2224 | 0.0087426 | 338.2385 | 0.012533 | 338.3546 | 0.014891 | 338.4707 | 0.014158 | 338.5867 | 0.013541 | 338.7028 | 0.014439 | 338.8189 | 0.01366 | 339.0364 | 0.010493 | 339.1524 | 0.012829 | 339.2685 | 0.015624 | 339.3846 | 0.0061416 | 339.5007 | 0.012623 | 339.6168 | 0.0081452 | 339.7329 | 0.018059 | 339.849 | 2.9158 | 340.0664 | 0.010945 | 340.1825 | 0.01672 | 340.2986 | 0.0080504 | 342.999 | 0.017697 | 343.1151 | 0.008295 | 343.2312 | 0.01195 | 343.3473 | 0.01228 | 343.4634 | 0.0076891 | 343.5794 | 0.0041902 | 343.6955 | 0.0099343 | 343.8116 | 0.0025903 | 344.0762 | -0.0031264 | 344.1923 | 0.0086436 | 344.3084 | -0.0035726 | 344.4245
2.9078 | 344.5406 | 0.010702 | 344.6567 | 0.013227 | 344.7727 | 0.015001 | 344.8888 | 0.013504 | 345.1063 | 9.9e+37 | 345.2224 | 0.0087434 | 345.2384 | 0.012534 | 345.3545 | 0.014891 | 345.4706 | 0.014158 | 345.5867 | 0.013541 | 345.7028 | 0.014439 | 345.8188 | 0.013659 | 346.0363 | 0.010494 | 346.1524 | 0.012828 | 346.2685 | 0.015624 | 346.3846 | 0.0061428 | 346.5007 | 0.012624 | 346.6167 | 0.0081454 | 346.7328 | 0.018058 | 346.8489 | 2.9158 | 347.0664 | 0.010945 | 347.1825 | 0.01672 | 347.2985