## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-21
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-21
| Status/Cmds | Collecting data...
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 6 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9082 | 0 | 0.010722 | 0.11612 | 0.01328 | 0.23223 | 0.014981 | 0.3483 | 0.013558 | 0.46439 | 9.9e+37 | 0.58048 | 0.0087553 | 0.59658 | 0.012282 | 0.71264 | 0.015445 | 0.93013 | 0.015098 | 1.0462 | 0.014047 | 1.1622 | 0.014914 | 1.2783 | 0.013957 | 1.3944 | 0.011028 | 1.5105 | 0.013291 | 1.6265 | 0.0161 | 1.7426 | 0.0064163 | 1.9601 | 0.01307 | 2.0762 | 0.0088611 | 2.1923 | 0.019872 | 2.3083 | 2.9163 | 2.4244 | 0.01117 | 2.5405 | 0.017471 | 2.6566 | 0.0079147 | 2.7727 | 0.020503 | 2.9902 | 0.0083305 | 3.1062 | 0.011972 | 3.2223 | 0.012502 | 3.3383 | 0.0080383 | 3.4544 | -0.00048873 | 3.5705 | 0.01088 | 3.6866 | -0.0025483 | 3.8026 | -0.0058346 | 4.0201 | 0.0085638 | 4.1362 | -0.0066837 | 4.2523
2.9082 | 5.999 | 0.01072 | 6.1152 | 0.013278 | 6.2312 | 0.01498 | 6.3473 | 0.013556 | 6.4634 | 9.9e+37 | 6.5795 | 0.0087548 | 6.5956 | 0.01228 | 6.7116 | 0.015445 | 6.9291 | 0.015096 | 7.0452 | 0.014046 | 7.1613 | 0.014914 | 7.2773 | 0.013956 | 7.3934 | 0.011028 | 7.5095 | 0.013291 | 7.6256 | 0.016099 | 7.7416 | 0.0064165 | 7.9591 | 0.01307 | 8.0752 | 0.0088611 | 8.1913 | 0.01987 | 8.3073 | 2.9163 | 8.4234 | 0.01117 | 8.5395 | 0.017471 | 8.6556 | 0.0079146 | 8.7717 | 0.020502 | 8.9891 | 0.0083307 | 9.1052 | 0.011972 | 9.2213 | 0.012501 | 9.3374 | 0.0080379 | 9.4535 | -0.00048796 | 9.5695 | 0.01088 | 9.6856 | -0.0025474 | 9.8017 | -0.0058336 | 10.0192 | 0.0085636 | 10.1353 | -0.0066837 | 10.2514
2.9083 | 11.999 | 0.010719 | 12.1151 | 0.013278 | 12.2312 | 0.014979 | 12.3473 | 0.013555 | 12.4634 | 9.9e+37 | 12.5794 | 0.0087544 | 12.5955 | 0.01228 | 12.7116 | 0.015446 | 12.9291 | 0.015097 | 13.0452 | 0.014047 | 13.1612 | 0.014915 | 13.2773 | 0.013956 | 13.3934 | 0.011028 | 13.5095 | 0.013291 | 13.6256 | 0.016098 | 13.7417 | 0.0064177 | 13.9592 | 0.013071 | 14.0752 | 0.0088609 | 14.1913 | 0.01987 | 14.3074 | 2.9163 | 14.4235 | 0.011172 | 14.5396 | 0.017472 | 14.6556 | 0.0079155 | 14.7717 | 0.020501 | 14.9892 | 0.0083315 | 15.1053 | 0.011973 | 15.2215 | 0.012502 | 15.3375 | 0.0080385 | 15.4536 | -0.00048762 | 15.5697 | 0.01088 | 15.6857 | -0.0025462 | 15.8018 | -0.0058334 | 16.0192 | 0.0085643 | 16.1353 | -0.0066839 | 16.2514
2.9083 | 17.999 | 0.010721 | 18.1151 | 0.01328 | 18.2312 | 0.014981 | 18.3473 | 0.013558 | 18.4634 | 9.9e+37 | 18.5794 | 0.0087557 | 18.5955 | 0.012282 | 18.7116 | 0.015446 | 18.9291 | 0.015097 | 19.0451 | 0.014047 | 19.1612 | 0.014916 | 19.2773 | 0.013957 | 19.3934 | 0.011029 | 19.5094 | 0.013291 | 19.6255 | 0.016098 | 19.7416 | 0.0064187 | 19.9591 | 0.013072 | 20.0752 | 0.0088611 | 20.1914 | 0.019869 | 20.3075 | 2.9163 | 20.4236 | 0.011172 | 20.5397 | 0.017471 | 20.6557 | 0.0079162 | 20.7718 | 0.020501 | 20.9893 | 0.0083316 | 21.1053 | 0.011973 | 21.2214 | 0.012502 | 21.3375 | 0.0080383 | 21.4536 | -0.00048703 | 21.5697 | 0.010881 | 21.6857 | -0.0025457 | 21.8018 | -0.0058325 | 22.0192 | 0.0085641 | 22.1353 | -0.0066837 | 22.2514
2.9083 | 23.999 | 0.010722 | 24.1152 | 0.01328 | 24.2312 | 0.014982 | 24.3473 | 0.013558 | 24.4634 | 9.9e+37 | 24.5794 | 0.0087565 | 24.5955 | 0.012283 | 24.7116 | 0.015445 | 24.9291 | 0.015097 | 25.0452 | 0.014047 | 25.1613 | 0.014916 | 25.2774 | 0.013955 | 25.3935 | 0.011028 | 25.5096 | 0.01329 | 25.6257 | 0.016098 | 25.7417 | 0.006419 | 25.9592 | 0.013073 | 26.0753 | 0.0088612 | 26.1914 | 0.019869 | 26.3074 | 2.9163 | 26.4235 | 0.011172 | 26.5396 | 0.01747 | 26.6557 | 0.0079174 | 26.7718 | 0.0205 | 26.9893 | 0.0083318 | 27.1054 | 0.011973 | 27.2215 | 0.012502 | 27.3375 | 0.0080382 | 27.4536 | -0.00048666 | 27.5697 | 0.01088 | 27.6858 | -0.0025447 | 27.8019 | -0.0058325 | 28.0194 | 0.0085638 | 28.1355 | -0.0066843 | 28.2516
2.9083 | 29.999 | 0.010722 | 30.1152 | 0.013281 | 30.2312 | 0.014982 | 30.3474 | 0.013558 | 30.4635 | 9.9e+37 | 30.5795 | 0.008757 | 30.5956 | 0.012283 | 30.7117 | 0.015446 | 30.9292 | 0.015096 | 31.0452 | 0.014047 | 31.1613 | 0.014915 | 31.2774 | 0.013954 | 31.3935 | 0.011028 | 31.5096 | 0.01329 | 31.6257 | 0.016098 | 31.7417 | 0.0064197 | 31.9592 | 0.013072 | 32.0753 | 0.0088609 | 32.1914 | 0.019868 | 32.3074 | 2.9163 | 32.4235 | 0.011172 | 32.5396 | 0.017468 | 32.6557 | 0.0079178 | 32.7718 | 0.020499 | 32.9893 | 0.0083309 | 33.1054 | 0.011973 | 33.2215 | 0.012502 | 33.3376 | 0.0080373 | 33.4537 | -0.00048664 | 33.5697 | 0.01088 | 33.6858 | -0.002544 | 33.8019 | -0.0058322 | 34.0665 | 0.0085635 | 34.1826 | -0.0066842 | 34.2987
2.9083 | 35.999 | 0.01072 | 36.1152 | 0.013279 | 36.2313 | 0.014981 | 36.3473 | 0.013556 | 36.4634 | 9.9e+37 | 36.5795 | 0.0087558 | 36.5956 | 0.012282 | 36.7117 | 0.015443 | 36.9291 | 0.015094 | 37.0452 | 0.014045 | 37.1613 | 0.014913 | 37.2773 | 0.013951 | 37.3934 | 0.011026 | 37.5095 | 0.013288 | 37.6255 | 0.016095 | 37.7416 | 0.0064187 | 37.9592 | 0.013071 | 38.0752 | 0.0088606 | 38.1913 | 0.019866 | 38.3074 | 2.9163 | 38.4235 | 0.01117 | 38.5396 | 0.017466 | 38.6557 | 0.0079174 | 38.7717 | 0.020497 | 39.0364 | 0.0083298 | 39.1524 | 0.011973 | 39.2685 | 0.012502 | 39.3846 | 0.0080366 | 39.5007 | -0.00048681 | 39.6167 | 0.01088 | 39.7328 | -0.0025436 | 39.8489 | -0.0058317 | 40.0664 | 0.0085636 | 40.1824 | -0.0066841 | 40.2985
2.9083 | 41.999 | 0.010719 | 42.1151 | 0.013277 | 42.2312 | 0.014979 | 42.3473 | 0.013555 | 42.4634 | 9.9e+37 | 42.5795 | 0.008755 | 42.5956 | 0.01228 | 42.7117 | 0.015442 | 42.9292 | 0.015092 | 43.0453 | 0.014044 | 43.1613 | 0.014913 | 43.2774 | 0.01395 | 43.3935 | 0.011026 | 43.5096 | 0.013287 | 43.6257 | 0.016094 | 43.7418 | 0.0064192 | 44.0064 | 0.013071 | 44.1225 | 0.0088592 | 44.2385 | 0.019864 | 44.3546 | 2.9162 | 44.4707 | 0.011171 | 44.5868 | 0.017464 | 44.7029 | 0.0079178 | 44.819 | 0.020496 | 45.0364 | 0.0083292 | 45.1525 | 0.011972 | 45.2686 | 0.012501 | 45.3846 | 0.0080362 | 45.5008 | -0.00048625 | 45.6168 | 0.01088 | 45.7329 | -0.0025433 | 45.849 | -0.0058319 | 46.0665 | 0.008563 | 46.1826 | -0.0066841 | 46.2987
2.9083 | 47.999 | 0.010719 | 48.1151 | 0.013277 | 48.2312 | 0.014979 | 48.3473 | 0.013555 | 48.4634 | 9.9e+37 | 48.5794 | 0.0087552 | 48.5955 | 0.01228 | 48.7116 | 0.015442 | 48.9762 | 0.015092 | 49.0922 | 0.014044 | 49.2083 | 0.014913 | 49.3244 | 0.01395 | 49.4405 | 0.011026 | 49.5566 | 0.013287 | 49.6726 | 0.016094 | 49.7887 | 0.0064195 | 50.0062 | 0.013071 | 50.1223 | 0.0088594 | 50.2384 | 0.019863 | 50.3545 | 2.9163 | 50.4706 | 0.011171 | 50.5867 | 0.017464 | 50.7027 | 0.0079186 | 50.8188 | 0.020495 | 51.0363 | 0.0083299 | 51.1524 | 0.011972 | 51.2685 | 0.0125 | 51.3846 | 0.0080359 | 51.5006 | -0.00048595 | 51.6167 | 0.01088 | 51.7328 | -0.0025426 | 51.8489 | -0.0058316 | 52.0663 | 0.0085631 | 52.1824 | -0.006684 | 52.2985
2.9083 | 54.0286 | 0.010719 | 54.1447 | 0.013277 | 54.2608 | 0.01498 | 54.3768 | 0.013555 | 54.4929 | 9.9e+37 | 54.609 | 0.008756 | 54.6251 | 0.01228 | 54.7412 | 0.015442 | 54.9586 | 0.015092 | 55.0747 | 0.014044 | 55.1908 | 0.014912 | 55.3069 | 0.013949 | 55.423 | 0.011026 | 55.5391 | 0.013287 | 55.6552 | 0.016093 | 55.7713 | 0.0064196 | 55.9888 | 0.013071 | 56.1049 | 0.00886 | 56.221 | 0.019862 | 56.337 | 2.9163 | 56.4531 | 0.011171 | 56.5692 | 0.017463 | 56.6853 | 0.0079184 | 56.8014 | 0.020494 | 57.0188 | 0.0083303 | 57.1349 | 0.011973 | 57.251 | 0.0125 | 57.3671 | 0.0080361 | 57.4832 | -0.00048591 | 57.5992 | 0.010879 | 57.7153 | -0.0025422 | 57.8314 | -0.0058312 | 58.0488 | 0.008563 | 58.1649 | -0.0066835 | 58.281
2.9083 | 59.999 | 0.01072 | 60.1151 | 0.013279 | 60.2312 | 0.014982 | 60.3473 | 0.013557 | 60.4634 | 9.9e+37 | 60.5795 | 0.0087577 | 60.5956 | 0.012281 | 60.7117 | 0.015441 | 60.9291 | 0.015091 | 61.0452 | 0.014044 | 61.1613 | 0.014912 | 61.2774 | 0.013948 | 61.3935 | 0.011026 | 61.5095 | 0.013286 | 61.6256 | 0.016092 | 61.7417 | 0.0064198 | 61.9592 | 0.01307 | 62.0753 | 0.0088591 | 62.1914 | 0.01986 | 62.3075 | 2.9162 | 62.4235 | 0.01117 | 62.5396 | 0.017462 | 62.6557 | 0.0079183 | 62.7718 | 0.020493 | 62.9893 | 0.0083296 | 63.1054 | 0.011972 | 63.2214 | 0.0125 | 63.3375 | 0.0080355 | 63.4536 | -0.00048549 | 63.5697 | 0.010879 | 63.6857 | -0.0025417 | 63.8018 | -0.0058308 | 64.0193 | 0.0085631 | 64.1354 | -0.0066841 | 64.2515
2.9083 | 65.999 | 0.010719 | 66.1152 | 0.013278 | 66.2312 | 0.01498 | 66.3473 | 0.013555 | 66.4634 | 9.9e+37 | 66.5795 | 0.0087566 | 66.5956 | 0.01228 | 66.7117 | 0.015441 | 66.9292 | 0.01509 | 67.0452 | 0.014043 | 67.1613 | 0.014912 | 67.2774 | 0.013948 | 67.3935 | 0.011026 | 67.5096 | 0.013286 | 67.6256 | 0.016091 | 67.7417 | 0.0064208 | 67.9592 | 0.01307 | 68.0753 | 0.0088589 | 68.1914 | 0.01986 | 68.3075 | 2.9163 | 68.4236 | 0.01117 | 68.5397 | 0.017461 | 68.6557 | 0.007919 | 68.7718 | 0.020492 | 68.9893 | 0.0083292 | 69.1054 | 0.011972 | 69.2214 | 0.0125 | 69.3375 | 0.0080351 | 69.4536 | -0.00048522 | 69.5697 | 0.010879 | 69.6857 | -0.002541 | 69.8018 | -0.0058304 | 70.0193 | 0.0085629 | 70.1354 | -0.0066836 | 70.2515
2.9083 | 71.999 | 0.01072 | 72.1151 | 0.013278 | 72.2312 | 0.014979 | 72.3473 | 0.013555 | 72.4634 | 9.9e+37 | 72.5795 | 0.0087554 | 72.5956 | 0.01228 | 72.7117 | 0.015441 | 72.9291 | 0.01509 | 73.0452 | 0.014044 | 73.1613 | 0.014912 | 73.2774 | 0.013947 | 73.3935 | 0.011025 | 73.5095 | 0.013286 | 73.6256 | 0.01609 | 73.7417 | 0.006421 | 73.9592 | 0.013071 | 74.0753 | 0.0088588 | 74.1913 | 0.019859 | 74.3074 | 2.9163 | 74.4235 | 0.01117 | 74.5396 | 0.01746 | 74.6557 | 0.0079193 | 74.7717 | 0.020491 | 74.9893 | 0.0083299 | 75.1053 | 0.011973 | 75.2214 | 0.0125 | 75.3375 | 0.0080355 | 75.4536 | -0.00048461 | 75.5696 | 0.010879 | 75.6858 | -0.0025401 | 75.8019 | -0.0058305 | 76.0193 | 0.0085627 | 76.1354 | -0.0066836 | 76.2515
2.9082 | 77.999 | 0.01072 | 78.1151 | 0.013279 | 78.2312 | 0.014979 | 78.3473 | 0.013556 | 78.4634 | 9.9e+37 | 78.5794 | 0.0087558 | 78.5956 | 0.012282 | 78.7116 | 0.015442 | 78.9291 | 0.01509 | 79.0452 | 0.014044 | 79.1612 | 0.014913 | 79.2773 | 0.013947 | 79.3934 | 0.011025 | 79.5095 | 0.013285 | 79.6255 | 0.016089 | 79.7416 | 0.0064216 | 79.9591 | 0.013071 | 80.0752 | 0.0088595 | 80.1913 | 0.019858 | 80.3074 | 2.9163 | 80.4235 | 0.01117 | 80.5395 | 0.01746 | 80.6556 | 0.0079202 | 80.7718 | 0.020491 | 80.9892 | 0.0083295 | 81.1053 | 0.011973 | 81.2214 | 0.0125 | 81.3375 | 0.0080357 | 81.4535 | -0.00048381 | 81.5696 | 0.010879 | 81.6857 | -0.0025397 | 81.8018 | -0.0058302 | 82.0192 | 0.0085626 | 82.1353 | -0.0066832 | 82.2514
2.9083 | 83.999 | 0.010721 | 84.1151 | 0.01328 | 84.2312 | 0.014982 | 84.3473 | 0.013557 | 84.4634 | 9.9e+37 | 84.5794 | 0.008757 | 84.5955 | 0.012283 | 84.7116 | 0.015442 | 84.9291 | 0.01509 | 85.0452 | 0.014044 | 85.1613 | 0.014913 | 85.2773 | 0.013946 | 85.3934 | 0.011025 | 85.5095 | 0.013284 | 85.6256 | 0.016088 | 85.7418 | 0.0064222 | 85.9593 | 0.013071 | 86.0754 | 0.0088593 | 86.1915 | 0.019857 | 86.3076 | 2.9163 | 86.4236 | 0.01117 | 86.5397 | 0.01746 | 86.6558 | 0.0079205 | 86.7719 | 0.020489 | 86.9893 | 0.0083293 | 87.1054 | 0.011973 | 87.2215 | 0.012501 | 87.3376 | 0.0080359 | 87.4536 | -0.00048416 | 87.5697 | 0.010878 | 87.6858 | -0.0025388 | 87.8019 | -0.0058296 | 88.0193 | 0.0085627 | 88.1354 | -0.0066837 | 88.2515
2.9083 | 89.999 | 0.010722 | 90.1151 | 0.01328 | 90.2312 | 0.014981 | 90.3473 | 0.013556 | 90.4634 | 9.9e+37 | 90.5795 | 0.0087566 | 90.5956 | 0.012282 | 90.7117 | 0.015441 | 90.9292 | 0.01509 | 91.0452 | 0.014043 | 91.1613 | 0.014913 | 91.2774 | 0.013946 | 91.3935 | 0.011024 | 91.5096 | 0.013283 | 91.6257 | 0.016087 | 91.7418 | 0.0064225 | 91.9592 | 0.013071 | 92.0753 | 0.0088586 | 92.1914 | 0.019855 | 92.3075 | 2.9163 | 92.4236 | 0.01117 | 92.5397 | 0.017459 | 92.6557 | 0.0079213 | 92.7718 | 0.020488 | 92.9893 | 0.0083294 | 93.1054 | 0.011973 | 93.2215 | 0.0125 | 93.3375 | 0.0080346 | 93.4536 | -0.00048431 | 93.5697 | 0.010878 | 93.6857 | -0.0025381 | 93.8018 | -0.0058295 | 94.0664 | 0.0085624 | 94.1825 | -0.0066839 | 94.2986
2.9082 | 95.999 | 0.01072 | 96.1152 | 0.013279 | 96.2312 | 0.014981 | 96.3473 | 0.013556 | 96.4634 | 9.9e+37 | 96.5795 | 0.0087561 | 96.5956 | 0.012282 | 96.7117 | 0.015441 | 96.9291 | 0.01509 | 97.0452 | 0.014043 | 97.1613 | 0.014913 | 97.2774 | 0.013946 | 97.3934 | 0.011024 | 97.5095 | 0.013283 | 97.6256 | 0.016087 | 97.7417 | 0.006423 | 97.9592 | 0.013071 | 98.0753 | 0.0088584 | 98.1914 | 0.019855 | 98.3074 | 2.9163 | 98.4235 | 0.011171 | 98.5396 | 0.017459 | 98.6557 | 0.0079218 | 98.7718 | 0.020488 | 99.0364 | 0.00833 | 99.1525 | 0.011973 | 99.2685 | 0.0125 | 99.3846 | 0.0080352 | 99.5007 | -0.00048313 | 99.6168 | 0.010879 | 99.7329 | -0.0025367 | 99.8489 | -0.0058293 | 100.0664 | 0.0085625 | 100.1825 | -0.0066835 | 100.2986
2.9083 | 101.999 | 0.010721 | 102.1151 | 0.01328 | 102.2312 | 0.014982 | 102.3473 | 0.013557 | 102.4634 | 9.9e+37 | 102.5794 | 0.008757 | 102.5955 | 0.012283 | 102.7116 | 0.015442 | 102.9291 | 0.01509 | 103.0452 | 0.014044 | 103.1612 | 0.014914 | 103.2773 | 0.013946 | 103.3934 | 0.011025 | 103.5095 | 0.013284 | 103.6256 | 0.016088 | 103.7416 | 0.006424 | 104.0063 | 0.013073 | 104.1223 | 0.0088598 | 104.2384 | 0.019854 | 104.3545 | 2.9163 | 104.4706 | 0.011172 | 104.5867 | 0.01746 | 104.7028 | 0.0079223 | 104.8188 | 0.020487 | 105.0363 | 0.0083305 | 105.1524 | 0.011973 | 105.2685 | 0.012501 | 105.3845 | 0.0080358 | 105.5006 | -0.00048247 | 105.6167 | 0.010879 | 105.7328 | -0.0025366 | 105.8489 | -0.0058289 | 106.0664 | 0.0085629 | 106.1825 | -0.0066835 | 106.2986
2.9083 | 107.999 | 0.010722 | 108.1151 | 0.013281 | 108.2312 | 0.014983 | 108.3473 | 0.013558 | 108.4634 | 9.9e+37 | 108.5795 | 0.0087576 | 108.5956 | 0.012284 | 108.7116 | 0.015442 | 108.9762 | 0.01509 | 109.0923 | 0.014044 | 109.2083 | 0.014915 | 109.3244 | 0.013945 | 109.4405 | 0.011025 | 109.5566 | 0.013283 | 109.6726 | 0.016087 | 109.7887 | 0.006425 | 110.0062 | 0.013074 | 110.1223 | 0.0088595 | 110.2384 | 0.019854 | 110.3545 | 2.9163 | 110.4705 | 0.011173 | 110.5866 | 0.017459 | 110.7027 | 0.0079228 | 110.8188 | 0.020486 | 111.0363 | 0.0083311 | 111.1524 | 0.011973 | 111.2685 | 0.012501 | 111.3846 | 0.008036 | 111.5007 | -0.00048194 | 111.6168 | 0.01088 | 111.7328 | -0.0025359 | 111.8489 | -0.0058284 | 112.0664 | 0.0085628 | 112.1825 | -0.0066837 | 112.2985
2.9083 | 114.0285 | 0.010722 | 114.1446 | 0.013281 | 114.2607 | 0.014983 | 114.3768 | 0.013558 | 114.4928 | 9.9e+37 | 114.6089 | 0.0087582 | 114.625 | 0.012284 | 114.7411 | 0.015441 | 114.9586 | 0.015089 | 115.0747 | 0.014043 | 115.1907 | 0.014914 | 115.3068 | 0.013945 | 115.4229 | 0.011024 | 115.539 | 0.013283 | 115.655 | 0.016087 | 115.7711 | 0.0064252 | 115.9886 | 0.013074 | 116.1048 | 0.0088599 | 116.2208 | 0.019853 | 116.3369 | 2.9162 | 116.453 | 0.011172 | 116.5691 | 0.017457 | 116.6852 | 0.007923 | 116.8012 | 0.020485 | 117.0187 | 0.0083308 | 117.1348 | 0.011973 | 117.2508 | 0.0125 | 117.3669 | 0.0080348 | 117.483 | -0.00048189 | 117.5991 | 0.010879 | 117.7152 | -0.0025348 | 117.8313 | -0.0058277 | 118.0487 | 0.0085629 | 118.1648 | -0.0066833 | 118.2809
2.9082 | 119.999 | 0.01072 | 120.1151 | 0.013279 | 120.2312 | 0.014981 | 120.3473 | 0.013556 | 120.4634 | 9.9e+37 | 120.5795 | 0.0087575 | 120.5955 | 0.012282 | 120.7116 | 0.015441 | 120.9291 | 0.015088 | 121.0453 | 0.014041 | 121.1614 | 0.014911 | 121.2775 | 0.013943 | 121.3936 | 0.011023 | 121.5097 | 0.013281 | 121.6258 | 0.016086 | 121.7418 | 0.0064249 | 121.9593 | 0.013073 | 122.0754 | 0.0088595 | 122.1915 | 0.019852 | 122.3076 | 2.9162 | 122.4237 | 0.011171 | 122.5397 | 0.017455 | 122.6558 | 0.0079227 | 122.7719 | 0.020484 | 122.9894 | 0.0083303 | 123.1055 | 0.011973 | 123.2215 | 0.0125 | 123.3376 | 0.0080345 | 123.4537 | -0.00048135 | 123.5698 | 0.010879 | 123.6859 | -0.0025345 | 123.802 | -0.0058279 | 124.0194 | 0.0085628 | 124.1355 | -0.0066826 | 124.2516
2.9082 | 125.999 | 0.01072 | 126.1152 | 0.013278 | 126.2313 | 0.01498 | 126.3473 | 0.013554 | 126.4634 | 9.9e+37 | 126.5795 | 0.0087572 | 126.5956 | 0.012281 | 126.7116 | 0.01544 | 126.9291 | 0.015087 | 127.0452 | 0.01404 | 127.1613 | 0.01491 | 127.2774 | 0.013942 | 127.3935 | 0.011022 | 127.5095 | 0.013279 | 127.6256 | 0.016084 | 127.7417 | 0.0064242 | 127.9592 | 0.013072 | 128.0752 | 0.0088588 | 128.1913 | 0.01985 | 128.3074 | 2.9163 | 128.4235 | 0.01117 | 128.5395 | 0.017453 | 128.6557 | 0.0079227 | 128.7717 | 0.020483 | 128.9892 | 0.008329 | 129.1053 | 0.011973 | 129.2214 | 0.0125 | 129.3374 | 0.0080342 | 129.4535 | -0.00048153 | 129.5696 | 0.010879 | 129.6857 | -0.0025345 | 129.8017 | -0.0058277 | 130.0193 | 0.0085627 | 130.1353 | -0.0066834 | 130.2514
2.9083 | 131.999 | 0.010721 | 132.1152 | 0.01328 | 132.2313 | 0.014981 | 132.3473 | 0.013555 | 132.4634 | 9.9e+37 | 132.5795 | 0.0087581 | 132.5956 | 0.012282 | 132.7117 | 0.015439 | 132.9291 | 0.015085 | 133.0452 | 0.014039 | 133.1613 | 0.01491 | 133.2773 | 0.013941 | 133.3934 | 0.011021 | 133.5095 | 0.013279 | 133.6255 | 0.016083 | 133.7416 | 0.0064245 | 133.9591 | 0.013071 | 134.0752 | 0.0088579 | 134.1913 | 0.019848 | 134.3074 | 2.9163 | 134.4235 | 0.011169 | 134.5395 | 0.017453 | 134.6556 | 0.0079225 | 134.7717 | 0.020481 | 134.9892 | 0.0083289 | 135.1053 | 0.011973 | 135.2213 | 0.0125 | 135.3374 | 0.0080336 | 135.4535 | -0.00048117 | 135.5696 | 0.010878 | 135.6857 | -0.0025337 | 135.8017 | -0.0058275 | 136.0192 | 0.0085625 | 136.1353 | -0.0066831 | 136.2514
2.9083 | 137.999 | 0.010724 | 138.1151 | 0.013283 | 138.2312 | 0.014985 | 138.3473 | 0.013559 | 138.4634 | 9.9e+37 | 138.5794 | 0.0087603 | 138.5955 | 0.012285 | 138.7116 | 0.01544 | 138.9291 | 0.015087 | 139.0452 | 0.01404 | 139.1612 | 0.014912 | 139.2773 | 0.01394 | 139.3934 | 0.011022 | 139.5095 | 0.01328 | 139.6255 | 0.016082 | 139.7416 | 0.0064249 | 139.9591 | 0.013071 | 140.0752 | 0.0088578 | 140.1913 | 0.019847 | 140.3074 | 2.9163 | 140.4234 | 0.01117 | 140.5395 | 0.017453 | 140.6556 | 0.0079233 | 140.7717 | 0.02048 | 140.9892 | 0.0083296 | 141.1052 | 0.011973 | 141.2213 | 0.012499 | 141.3374 | 0.0080337 | 141.4535 | -0.00048094 | 141.5696 | 0.010878 | 141.6857 | -0.0025334 | 141.8018 | -0.005827 | 142.0192 | 0.0085617 | 142.1353 | -0.006683 | 142.2514
2.9082 | 143.999 | 0.010724 | 144.1151 | 0.013283 | 144.2312 | 0.014986 | 144.3473 | 0.013559 | 144.4634 | 9.9e+37 | 144.5794 | 0.00876 | 144.5955 | 0.012286 | 144.7116 | 0.015441 | 144.9291 | 0.015088 | 145.0452 | 0.014041 | 145.1613 | 0.014914 | 145.2774 | 0.013942 | 145.3935 | 0.011023 | 145.5095 | 0.01328 | 145.6256 | 0.016082 | 145.7417 | 0.0064265 | 145.9592 | 0.013071 | 146.0752 | 0.008858 | 146.1913 | 0.019847 | 146.3074 | 2.9162 | 146.4235 | 0.01117 | 146.5396 | 0.017454 | 146.6557 | 0.0079244 | 146.7718 | 0.020481 | 146.9892 | 0.0083296 | 147.1053 | 0.011973 | 147.2213 | 0.0125 | 147.3374 | 0.0080342 | 147.4535 | -0.00048033 | 147.5696 | 0.010879 | 147.6856 | -0.0025327 | 147.8017 | -0.0058272 | 148.0192 | 0.0085619 | 148.1353 | -0.006683 | 148.2514
2.9083 | 149.999 | 0.010722 | 150.1151 | 0.013281 | 150.2312 | 0.014981 | 150.3473 | 0.013557 | 150.4634 | 9.9e+37 | 150.5795 | 0.008758 | 150.5956 | 0.012283 | 150.7117 | 0.015443 | 150.9291 | 0.015088 | 151.0452 | 0.014042 | 151.1613 | 0.014913 | 151.2774 | 0.013942 | 151.3934 | 0.011023 | 151.5096 | 0.013281 | 151.6257 | 0.016082 | 151.7417 | 0.0064279 | 151.9592 | 0.013073 | 152.0753 | 0.0088591 | 152.1914 | 0.019848 | 152.3074 | 2.9163 | 152.4235 | 0.011171 | 152.5396 | 0.017453 | 152.6557 | 0.0079251 | 152.7718 | 0.02048 | 152.9893 | 0.0083302 | 153.1054 | 0.011974 | 153.2214 | 0.0125 | 153.3375 | 0.0080346 | 153.4536 | -0.00047946 | 153.5697 | 0.010879 | 153.6857 | -0.0025319 | 153.8018 | -0.0058265 | 154.0664 | 0.0085627 | 154.1825 | -0.0066831 | 154.2986
2.9083 | 155.999 | 0.01072 | 156.1151 | 0.013279 | 156.2312 | 0.014979 | 156.3473 | 0.013555 | 156.4635 | 9.9e+37 | 156.5796 | 0.0087563 | 156.5957 | 0.012281 | 156.7118 | 0.015441 | 156.9292 | 0.015087 | 157.0453 | 0.014041 | 157.1614 | 0.014911 | 157.2775 | 0.01394 | 157.3936 | 0.011022 | 157.5096 | 0.013277 | 157.6257 | 0.01608 | 157.7418 | 0.0064263 | 157.9593 | 0.013071 | 158.0754 | 0.0088582 | 158.1915 | 0.019845 | 158.3075 | 2.9163 | 158.4236 | 0.011168 | 158.5397 | 0.01745 | 158.6558 | 0.0079244 | 158.7718 | 0.020478 | 159.0364 | 0.0083287 | 159.1525 | 0.011973 | 159.2686 | 0.0125 | 159.3847 | 0.0080336 | 159.5008 | -0.00047984 | 159.6168 | 0.010878 | 159.7329 | -0.0025318 | 159.849 | -0.0058261 | 160.0665 | 0.0085624 | 160.1825 | -0.0066829 | 160.2986
2.9083 | 161.999 | 0.01072 | 162.1151 | 0.013278 | 162.2312 | 0.014979 | 162.3473 | 0.013555 | 162.4634 | 9.9e+37 | 162.5794 | 0.0087574 | 162.5955 | 0.012282 | 162.7116 | 0.01544 | 162.9291 | 0.015085 | 163.0452 | 0.014039 | 163.1613 | 0.01491 | 163.2773 | 0.013938 | 163.3934 | 0.01102 | 163.5095 | 0.013276 | 163.6256 | 0.016079 | 163.7417 | 0.0064256 | 164.0063 | 0.013069 | 164.1224 | 0.0088575 | 164.2384 | 0.019842 | 164.3545 | 2.9162 | 164.4706 | 0.011167 | 164.5867 | 0.017448 | 164.7027 | 0.007923 | 164.8188 | 0.020476 | 165.0363 | 0.0083279 | 165.1524 | 0.011973 | 165.2685 | 0.012499 | 165.3846 | 0.0080325 | 165.5006 | -0.00048024 | 165.6167 | 0.010878 | 165.7328 | -0.0025316 | 165.8489 | -0.0058259 | 166.0664 | 0.0085617 | 166.1824 | -0.0066827 | 166.2985
2.9083 | 167.999 | 0.01072 | 168.1151 | 0.013278 | 168.2312 | 0.01498 | 168.3473 | 0.013554 | 168.4634 | 9.9e+37 | 168.5795 | 0.0087571 | 168.5956 | 0.012282 | 168.7117 | 0.01544 | 168.9762 | 0.015084 | 169.0923 | 0.014039 | 169.2084 | 0.014911 | 169.3245 | 0.013938 | 169.4405 | 0.01102 | 169.5566 | 0.013277 | 169.6727 | 0.016079 | 169.7888 | 0.0064268 | 170.0063 | 0.01307 | 170.1224 | 0.0088577 | 170.2384 | 0.019842 | 170.3545 | 2.9163 | 170.4706 | 0.011168 | 170.5867 | 0.017449 | 170.7027 | 0.0079243 | 170.8188 | 0.020476 | 171.0363 | 0.0083282 | 171.1524 | 0.011973 | 171.2685 | 0.012499 | 171.3845 | 0.008033 | 171.5006 | -0.00047962 | 171.6168 | 0.010877 | 171.7329 | -0.0025308 | 171.849 | -0.0058261 | 172.0665 | 0.0085617 | 172.1825 | -0.006683 | 172.2986
2.9083 | 174.0286 | 0.010722 | 174.1447 | 0.01328 | 174.2608 | 0.014982 | 174.3769 | 0.013556 | 174.493 | 9.9e+37 | 174.6091 | 0.0087574 | 174.6252 | 0.012283 | 174.7413 | 0.015441 | 174.9587 | 0.015086 | 175.0748 | 0.01404 | 175.1909 | 0.014913 | 175.307 | 0.013939 | 175.4231 | 0.011021 | 175.5391 | 0.013277 | 175.6552 | 0.016079 | 175.7713 | 0.0064279 | 175.9888 | 0.013071 | 176.1049 | 0.0088577 | 176.2209 | 0.019842 | 176.337 | 2.9163 | 176.4531 | 0.011169 | 176.5692 | 0.01745 | 176.6913 | 0.0079268 | 176.8074 | 0.020476 | 177.0249 | 0.0083294 | 177.141 | 0.011973 | 177.2571 | 0.012499 | 177.3732 | 0.0080333 | 177.4892 | -0.00047941 | 177.6053 | 0.010878 | 177.7214 | -0.0025298 | 177.8375 | -0.0058251 | 178.055 | 0.0085618 | 178.171 | -0.0066829 | 178.2871
2.9083 | 179.999 | 0.010721 | 180.1151 | 0.01328 | 180.2312 | 0.014981 | 180.3473 | 0.013556 | 180.4634 | 9.9e+37 | 180.5794 | 0.0087566 | 180.5955 | 0.012282 | 180.7116 | 0.015441 | 180.9291 | 0.015086 | 181.0452 | 0.01404 | 181.1612 | 0.014913 | 181.2773 | 0.013939 | 181.3934 | 0.011021 | 181.5095 | 0.013277 | 181.6256 | 0.016079 | 181.7463 | 0.0064289 | 181.9638 | 0.013073 | 182.0799 | 0.0088584 | 182.1959 | 0.019842 | 182.312 | 2.9163 | 182.4281 | 0.01117 | 182.5442 | 0.01745 | 182.6603 | 0.0079278 | 182.7763 | 0.020476 | 182.9938 | 0.0083296 | 183.1099 | 0.011973 | 183.226 | 0.012499 | 183.342 | 0.0080332 | 183.4581 | -0.00047937 | 183.5742 | 0.010878 | 183.6903 | -0.0025299 | 183.8064 | -0.005825 | 184.0239 | 0.0085618 | 184.14 | -0.0066824 | 184.256
2.9083 | 185.999 | 0.010721 | 186.1151 | 0.013279 | 186.2312 | 0.014981 | 186.3473 | 0.013555 | 186.4634 | 9.9e+37 | 186.5795 | 0.0087568 | 186.5956 | 0.012282 | 186.7116 | 0.015441 | 186.9292 | 0.015086 | 187.0452 | 0.014041 | 187.1613 | 0.014913 | 187.2774 | 0.013939 | 187.3935 | 0.011021 | 187.5095 | 0.013276 | 187.6256 | 0.016078 | 187.7417 | 0.006429 | 187.9592 | 0.013074 | 188.0753 | 0.0088582 | 188.1913 | 0.019841 | 188.3074 | 2.9163 | 188.4235 | 0.011171 | 188.5396 | 0.017449 | 188.6557 | 0.0079279 | 188.7718 | 0.020476 | 188.9892 | 0.0083298 | 189.1053 | 0.011973 | 189.2214 | 0.012499 | 189.3375 | 0.008033 | 189.4536 | -0.00047905 | 189.5696 | 0.010877 | 189.6857 | -0.0025293 | 189.8018 | -0.0058247 | 190.0193 | 0.008562 | 190.1354 | -0.0066823 | 190.2514
2.9083 | 191.9991 | 0.010719 | 192.1152 | 0.013278 | 192.2313 | 0.01498 | 192.3474 | 0.013554 | 192.4634 | 9.9e+37 | 192.5795 | 0.008756 | 192.5956 | 0.012281 | 192.7117 | 0.01544 | 192.9291 | 0.015085 | 193.0452 | 0.01404 | 193.1613 | 0.014913 | 193.2774 | 0.013938 | 193.3935 | 0.011021 | 193.5095 | 0.013276 | 193.6256 | 0.016078 | 193.7417 | 0.0064297 | 193.9592 | 0.013073 | 194.0752 | 0.0088582 | 194.1913 | 0.019841 | 194.3074 | 2.9163 | 194.4235 | 0.01117 | 194.5396 | 0.017447 | 194.6557 | 0.0079272 | 194.7717 | 0.020475 | 194.9892 | 0.0083283 | 195.1053 | 0.011972 | 195.2214 | 0.012498 | 195.3374 | 0.0080321 | 195.4535 | -0.00047971 | 195.5696 | 0.010877 | 195.6857 | -0.002529 | 195.8017 | -0.0058251 | 196.0192 | 0.0085612 | 196.1353 | -0.0066824 | 196.2513
2.9083 | 197.999 | 0.01072 | 198.1151 | 0.013278 | 198.2312 | 0.01498 | 198.3473 | 0.013555 | 198.4634 | 9.9e+37 | 198.5795 | 0.0087564 | 198.5956 | 0.012281 | 198.7116 | 0.015438 | 198.9291 | 0.015083 | 199.0452 | 0.014039 | 199.1613 | 0.014911 | 199.2773 | 0.013936 | 199.3934 | 0.01102 | 199.5095 | 0.013275 | 199.6256 | 0.016077 | 199.7417 | 0.0064297 | 199.9592 | 0.013073 | 200.0753 | 0.0088578 | 200.1913 | 0.01984 | 200.3074 | 2.9163 | 200.4235 | 0.01117 | 200.5396 | 0.017446 | 200.6557 | 0.0079271 | 200.7717 | 0.020473 | 200.9892 | 0.0083281 | 201.1053 | 0.011972 | 201.2214 | 0.012498 | 201.3374 | 0.0080319 | 201.4535 | -0.00047952 | 201.5696 | 0.010877 | 201.6857 | -0.0025286 | 201.8017 | -0.0058247 | 202.0193 | 0.0085611 | 202.1353 | -0.0066829 | 202.2514
2.9083 | 203.999 | 0.010719 | 204.1151 | 0.013277 | 204.2312 | 0.01498 | 204.3473 | 0.013554 | 204.4634 | 9.9e+37 | 204.5795 | 0.0087567 | 204.5956 | 0.012281 | 204.7116 | 0.015438 | 204.9292 | 0.015084 | 205.0452 | 0.01404 | 205.1613 | 0.014912 | 205.2774 | 0.013937 | 205.3935 | 0.011021 | 205.5095 | 0.013276 | 205.6256 | 0.016078 | 205.7417 | 0.0064309 | 205.9592 | 0.013074 | 206.0752 | 0.0088582 | 206.1913 | 0.01984 | 206.3074 | 2.9163 | 206.4235 | 0.011171 | 206.5395 | 0.017447 | 206.6556 | 0.0079283 | 206.7717 | 0.020474 | 206.9892 | 0.0083286 | 207.1053 | 0.011972 | 207.2214 | 0.012498 | 207.3375 | 0.008032 | 207.4536 | -0.00047936 | 207.5696 | 0.010877 | 207.6857 | -0.0025279 | 207.8018 | -0.0058245 | 208.0193 | 0.0085609 | 208.1354 | -0.0066823 | 208.2514
2.9083 | 209.999 | 0.01072 | 210.1151 | 0.013278 | 210.2312 | 0.014981 | 210.3473 | 0.013555 | 210.4634 | 9.9e+37 | 210.5795 | 0.0087567 | 210.5956 | 0.012281 | 210.7117 | 0.01544 | 210.9291 | 0.015085 | 211.0452 | 0.014042 | 211.1613 | 0.014915 | 211.2774 | 0.013938 | 211.3934 | 0.011022 | 211.5095 | 0.013277 | 211.6256 | 0.016078 | 211.7417 | 0.0064316 | 211.9591 | 0.013075 | 212.0753 | 0.0088583 | 212.1913 | 0.01984 | 212.3074 | 2.9163 | 212.4235 | 0.011173 | 212.5396 | 0.017448 | 212.6556 | 0.0079294 | 212.7717 | 0.020474 | 212.9892 | 0.0083299 | 213.1053 | 0.011972 | 213.2214 | 0.012498 | 213.3375 | 0.0080327 | 213.4536 | -0.00047852 | 213.5697 | 0.010877 | 213.6857 | -0.0025273 | 213.8018 | -0.0058243 | 214.0664 | 0.0085618 | 214.1825 | -0.0066824 | 214.2986
2.9083 | 215.999 | 0.01072 | 216.1151 | 0.013277 | 216.2312 | 0.014981 | 216.3473 | 0.013555 | 216.4634 | 9.9e+37 | 216.5795 | 0.0087567 | 216.5956 | 0.012281 | 216.7116 | 0.01544 | 216.9291 | 0.015085 | 217.0453 | 0.014042 | 217.1614 | 0.014915 | 217.2775 | 0.013938 | 217.3936 | 0.011022 | 217.5096 | 0.013277 | 217.6257 | 0.016078 | 217.7418 | 0.0064325 | 217.9593 | 0.013076 | 218.0754 | 0.0088588 | 218.1915 | 0.019839 | 218.3076 | 2.9163 | 218.4236 | 0.011173 | 218.5397 | 0.017448 | 218.6558 | 0.0079305 | 218.7719 | 0.020474 | 219.0365 | 0.0083295 | 219.1526 | 0.011972 | 219.2687 | 0.012498 | 219.3847 | 0.0080326 | 219.5008 | -0.00047784 | 219.6169 | 0.010877 | 219.733 | -0.0025265 | 219.849 | -0.0058237 | 220.0665 | 0.0085615 | 220.1826 | -0.0066824 | 220.2987
2.9083 | 221.999 | 0.01072 | 222.1187 | 0.013278 | 222.2348 | 0.014981 | 222.3509 | 0.013555 | 222.4669 | 9.9e+37 | 222.583 | 0.0087558 | 222.5991 | 0.012281 | 222.7152 | 0.01544 | 222.9326 | 0.015084 | 223.0487 | 0.014042 | 223.1648 | 0.014915 | 223.2808 | 0.013938 | 223.3969 | 0.011022 | 223.513 | 0.013277 | 223.6291 | 0.016077 | 223.7452 | 0.0064322 | 224.0098 | 0.013076 | 224.1259 | 0.0088592 | 224.242 | 0.019839 | 224.3581 | 2.9163 | 224.4741 | 0.011173 | 224.5902 | 0.017448 | 224.7063 | 0.0079312 | 224.8224 | 0.020473 | 225.0398 | 0.0083299 | 225.1559 | 0.011972 | 225.272 | 0.012498 | 225.3881 | 0.0080321 | 225.5041 | -0.00047782 | 225.6202 | 0.010877 | 225.7363 | -0.0025263 | 225.8524 | -0.005824 | 226.0698 | 0.0085616 | 226.1859 | -0.0066822 | 226.302
2.9083 | 227.999 | 0.010722 | 228.1151 | 0.01328 | 228.2312 | 0.014983 | 228.3473 | 0.013558 | 228.4634 | 9.9e+37 | 228.5795 | 0.0087575 | 228.5956 | 0.012283 | 228.7116 | 0.01544 | 228.9292 | 0.015085 | 229.0452 | 0.014042 | 229.1613 | 0.014916 | 229.2774 | 0.013938 | 229.3935 | 0.011022 | 229.5095 | 0.013277 | 229.6256 | 0.016076 | 229.7417 | 0.0064327 | 230.0064 | 0.013076 | 230.1224 | 0.0088595 | 230.2385 | 0.019838 | 230.3546 | 2.9163 | 230.4707 | 0.011174 | 230.5868 | 0.017449 | 230.7028 | 0.0079322 | 230.8189 | 0.020473 | 231.0364 | 0.0083309 | 231.1525 | 0.011973 | 231.2686 | 0.012499 | 231.3847 | 0.0080335 | 231.5007 | -0.00047698 | 231.6168 | 0.010878 | 231.7329 | -0.002525 | 231.8489 | -0.0058233 | 232.0664 | 0.008562 | 232.1825 | -0.0066822 | 232.2986
2.9083 | 233.999 | 0.010723 | 234.1151 | 0.013282 | 234.2312 | 0.014985 | 234.3473 | 0.013559 | 234.4634 | 9.9e+37 | 234.5795 | 0.0087592 | 234.5956 | 0.012286 | 234.7116 | 0.015442 | 234.9762 | 0.015087 | 235.0923 | 0.014044 | 235.2084 | 0.014918 | 235.3245 | 0.01394 | 235.4405 | 0.011023 | 235.5566 | 0.013277 | 235.6727 | 0.016077 | 235.7888 | 0.0064341 | 236.0063 | 0.013078 | 236.1224 | 0.0088597 | 236.2384 | 0.019838 | 236.3545 | 2.9163 | 236.4706 | 0.011175 | 236.5867 | 0.017449 | 236.7028 | 0.007933 | 236.8189 | 0.020473 | 237.0364 | 0.0083321 | 237.1525 | 0.011974 | 237.2686 | 0.0125 | 237.3847 | 0.0080339 | 237.5008 | -0.00047594 | 237.6169 | 0.010879 | 237.7329 | -0.0025237 | 237.849 | -0.0058232 | 238.0665 | 0.0085626 | 238.1825 | -0.0066826 | 238.2986
2.9083 | 240.0286 | 0.010724 | 240.1447 | 0.013283 | 240.2608 | 0.014986 | 240.3769 | 0.01356 | 240.493 | 9.9e+37 | 240.609 | 0.0087586 | 240.6251 | 0.012286 | 240.7412 | 0.015442 | 240.9587 | 0.015088 | 241.0748 | 0.014044 | 241.1908 | 0.014918 | 241.3069 | 0.01394 | 241.423 | 0.011023 | 241.5391 | 0.013277 | 241.6551 | 0.016076 | 241.7712 | 0.0064353 | 241.9887 | 0.013078 | 242.1048 | 0.0088601 | 242.2209 | 0.019838 | 242.3373 | 2.9163 | 242.4534 | 0.011176 | 242.5694 | 0.017449 | 242.6855 | 0.0079337 | 242.8016 | 0.020472 | 243.0191 | 0.0083322 | 243.1352 | 0.011975 | 243.2513 | 0.0125 | 243.3674 | 0.0080335 | 243.4834 | -0.0004757 | 243.5995 | 0.010878 | 243.7156 | -0.0025236 | 243.8317 | -0.0058228 | 244.0491 | 0.0085621 | 244.1652 | -0.0066823 | 244.2813
2.9083 | 245.999 | 0.010724 | 246.1151 | 0.013282 | 246.2312 | 0.014986 | 246.3473 | 0.013559 | 246.4634 | 9.9e+37 | 246.5795 | 0.0087596 | 246.5956 | 0.012286 | 246.7116 | 0.015441 | 246.9291 | 0.015086 | 247.0452 | 0.014042 | 247.1613 | 0.014914 | 247.2773 | 0.013938 | 247.3935 | 0.011021 | 247.5095 | 0.013274 | 247.6256 | 0.016076 | 247.7417 | 0.0064347 | 247.9592 | 0.013078 | 248.0753 | 0.00886 | 248.1913 | 0.019836 | 248.3074 | 2.9163 | 248.4235 | 0.011174 | 248.5396 | 0.017444 | 248.6557 | 0.007934 | 248.7717 | 0.020471 | 248.9892 | 0.0083316 | 249.1053 | 0.011974 | 249.2214 | 0.012499 | 249.3374 | 0.0080319 | 249.4535 | -0.00047566 | 249.5696 | 0.010878 | 249.6857 | -0.0025236 | 249.8018 | -0.005823 | 250.0192 | 0.008562 | 250.1353 | -0.0066821 | 250.2514
2.9083 | 251.999 | 0.010726 | 252.1151 | 0.013284 | 252.2312 | 0.014989 | 252.3473 | 0.01356 | 252.4634 | 9.9e+37 | 252.5795 | 0.0087622 | 252.5956 | 0.012288 | 252.7117 | 0.015441 | 252.9292 | 0.015086 | 253.0453 | 0.014041 | 253.1613 | 0.014914 | 253.2774 | 0.013938 | 253.3935 | 0.011021 | 253.5096 | 0.013275 | 253.6256 | 0.016076 | 253.7417 | 0.0064353 | 253.9592 | 0.013078 | 254.0753 | 0.0088603 | 254.1914 | 0.019836 | 254.3075 | 2.9163 | 254.4235 | 0.011175 | 254.5396 | 0.017446 | 254.6557 | 0.0079337 | 254.7717 | 0.02047 | 254.9892 | 0.0083318 | 255.1053 | 0.011973 | 255.2213 | 0.012499 | 255.3374 | 0.0080324 | 255.4535 | -0.0004757 | 255.5696 | 0.010878 | 255.6857 | -0.0025229 | 255.8017 | -0.0058224 | 256.0193 | 0.0085616 | 256.1353 | -0.0066819 | 256.2514
2.9083 | 257.999 | 0.010725 | 258.1151 | 0.013282 | 258.2312 | 0.014989 | 258.3473 | 0.01356 | 258.4634 | 9.9e+37 | 258.5795 | 0.0087608 | 258.5956 | 0.012287 | 258.7116 | 0.015442 | 258.9291 | 0.015087 | 259.0452 | 0.014042 | 259.1613 | 0.014914 | 259.2773 | 0.013938 | 259.3934 | 0.011022 | 259.5095 | 0.013275 | 259.6256 | 0.016076 | 259.7417 | 0.0064359 | 259.9591 | 0.013078 | 260.0752 | 0.0088601 | 260.1913 | 0.019836 | 260.3074 | 2.9163 | 260.4235 | 0.011175 | 260.5396 | 0.017446 | 260.6556 | 0.0079344 | 260.7717 | 0.020469 | 260.9893 | 0.0083323 | 261.1053 | 0.011973 | 261.2214 | 0.012498 | 261.3375 | 0.008032 | 261.4536 | -0.00047554 | 261.5696 | 0.010877 | 261.6857 | -0.0025226 | 261.8018 | -0.0058227 | 262.0192 | 0.0085614 | 262.1353 | -0.0066822 | 262.2514
2.9083 | 263.999 | 0.010724 | 264.1151 | 0.013282 | 264.2312 | 0.014986 | 264.3473 | 0.013559 | 264.4634 | 9.9e+37 | 264.5795 | 0.0087587 | 264.5956 | 0.012286 | 264.7116 | 0.015442 | 264.9291 | 0.015087 | 265.0452 | 0.014042 | 265.1613 | 0.014916 | 265.2773 | 0.013937 | 265.3934 | 0.011021 | 265.5095 | 0.013275 | 265.6255 | 0.016074 | 265.7416 | 0.0064358 | 265.9591 | 0.013077 | 266.0752 | 0.0088597 | 266.1913 | 0.019834 | 266.3074 | 2.9163 | 266.4235 | 0.011175 | 266.5396 | 0.017445 | 266.6556 | 0.007935 | 266.7717 | 0.020468 | 266.9892 | 0.0083309 | 267.1053 | 0.011972 | 267.2213 | 0.012498 | 267.3374 | 0.0080319 | 267.4535 | -0.00047576 | 267.5696 | 0.010877 | 267.6857 | -0.0025222 | 267.8018 | -0.0058225 | 268.0193 | 0.0085611 | 268.1354 | -0.006682 | 268.2514
2.9083 | 269.999 | 0.010724 | 270.1151 | 0.013282 | 270.2312 | 0.014986 | 270.3473 | 0.013559 | 270.4634 | 9.9e+37 | 270.5795 | 0.008758 | 270.5956 | 0.012286 | 270.7116 | 0.015442 | 270.9291 | 0.015086 | 271.0452 | 0.014042 | 271.1613 | 0.014916 | 271.2774 | 0.013937 | 271.3934 | 0.011021 | 271.5095 | 0.013274 | 271.6256 | 0.016073 | 271.7417 | 0.0064359 | 271.9591 | 0.013076 | 272.0752 | 0.0088593 | 272.1913 | 0.019833 | 272.3074 | 2.9163 | 272.4235 | 0.011174 | 272.5396 | 0.017445 | 272.6557 | 0.0079346 | 272.7718 | 0.020467 | 272.9893 | 0.0083304 | 273.1053 | 0.011972 | 273.2214 | 0.012498 | 273.3375 | 0.0080311 | 273.4536 | -0.00047616 | 273.5696 | 0.010877 | 273.6857 | -0.0025219 | 273.8018 | -0.005822 | 274.0193 | 0.0085606 | 274.1354 | -0.006682 | 274.2514
2.9083 | 275.999 | 0.010724 | 276.1151 | 0.013283 | 276.2312 | 0.014986 | 276.3473 | 0.01356 | 276.4634 | 9.9e+37 | 276.5794 | 0.0087581 | 276.5955 | 0.012287 | 276.7116 | 0.015442 | 276.9291 | 0.015086 | 277.0451 | 0.014042 | 277.1612 | 0.014917 | 277.2773 | 0.013937 | 277.3934 | 0.011021 | 277.5095 | 0.013274 | 277.6256 | 0.016072 | 277.7417 | 0.0064368 | 277.9592 | 0.013076 | 278.0753 | 0.0088587 | 278.1914 | 0.019833 | 278.3075 | 2.9163 | 278.4235 | 0.011174 | 278.5396 | 0.017444 | 278.6557 | 0.007935 | 278.7718 | 0.020467 | 278.9893 | 0.0083298 | 279.1054 | 0.011972 | 279.2215 | 0.012497 | 279.3375 | 0.0080311 | 279.4536 | -0.00047543 | 279.5697 | 0.010877 | 279.6858 | -0.0025213 | 279.8018 | -0.0058219 | 280.0664 | 0.0085613 | 280.1825 | -0.0066818 | 280.2986
2.9083 | 281.999 | 0.010726 | 282.1151 | 0.013284 | 282.2312 | 0.014988 | 282.3473 | 0.013561 | 282.4634 | 9.9e+37 | 282.5795 | 0.0087598 | 282.5956 | 0.012288 | 282.7117 | 0.015442 | 282.9292 | 0.015086 | 283.0453 | 0.014044 | 283.1613 | 0.014918 | 283.2774 | 0.013937 | 283.3935 | 0.011021 | 283.5096 | 0.013274 | 283.6256 | 0.016073 | 283.7417 | 0.0064379 | 283.9592 | 0.013077 | 284.0753 | 0.0088594 | 284.1914 | 0.019832 | 284.3075 | 2.9163 | 284.4236 | 0.011174 | 284.5396 | 0.017445 | 284.6557 | 0.0079363 | 284.7718 | 0.020467 | 285.0364 | 0.0083298 | 285.1525 | 0.011972 | 285.2686 | 0.012498 | 285.3847 | 0.0080308 | 285.5008 | -0.00047497 | 285.6168 | 0.010877 | 285.7329 | -0.002521 | 285.849 | -0.0058216 | 286.0665 | 0.0085611 | 286.1825 | -0.0066823 | 286.2986
2.9083 | 287.999 | 0.010727 | 288.1152 | 0.013285 | 288.2313 | 0.014989 | 288.3473 | 0.013562 | 288.4634 | 9.9e+37 | 288.5795 | 0.0087604 | 288.5956 | 0.012289 | 288.7117 | 0.015442 | 288.9292 | 0.015086 | 289.0452 | 0.014044 | 289.1613 | 0.014919 | 289.2774 | 0.013938 | 289.3935 | 0.011022 | 289.5095 | 0.013274 | 289.6256 | 0.016073 | 289.7417 | 0.0064384 | 290.0062 | 0.013078 | 290.1223 | 0.0088595 | 290.2384 | 0.019832 | 290.3545 | 2.9163 | 290.4706 | 0.011175 | 290.5867 | 0.017445 | 290.7027 | 0.0079373 | 290.8188 | 0.020467 | 291.0363 | 0.0083311 | 291.1524 | 0.011973 | 291.2685 | 0.012499 | 291.3846 | 0.0080318 | 291.5006 | -0.00047347 | 291.6167 | 0.010877 | 291.7328 | -0.0025197 | 291.8489 | -0.0058213 | 292.0664 | 0.0085624 | 292.1824 | -0.0066815 | 292.2985
2.9083 | 293.999 | 0.010728 | 294.1152 | 0.013286 | 294.2313 | 0.01499 | 294.3474 | 0.013562 | 294.4635 | 9.9e+37 | 294.5795 | 0.008761 | 294.5956 | 0.012289 | 294.7117 | 0.015443 | 294.9763 | 0.015088 | 295.0924 | 0.014045 | 295.2085 | 0.01492 | 295.3246 | 0.01394 | 295.4407 | 0.011024 | 295.5568 | 0.013275 | 295.6728 | 0.016075 | 295.7889 | 0.0064399 | 296.0064 | 0.01308 | 296.1225 | 0.0088608 | 296.2386 | 0.019834 | 296.3546 | 2.9163 | 296.4707 | 0.011177 | 296.5868 | 0.017447 | 296.7029 | 0.0079396 | 296.819 | 0.020468 | 297.0365 | 0.0083327 | 297.1525 | 0.011975 | 297.2686 | 0.0125 | 297.3847 | 0.0080332 | 297.5008 | -0.00047199 | 297.6168