## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-21
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-21
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 10000
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9081 | 0 | 0.010716 | 0.11613 | 0.013252 | 0.23223 | 0.014977 | 0.34831 | 0.013536 | 0.46437 | 9.9e+37 | 0.58045 | 0.0087498 | 0.59655 | 0.012358 | 0.71263 | 0.015291 | 0.93009 | 0.014862 | 1.0462 | 0.013848 | 1.1622 | 0.014739 | 1.2783 | 0.013656 | 1.3944 | 0.010889 | 1.5105 | 0.012942 | 1.6265 | 0.015709 | 1.7426 | 0.0065727 | 1.9601 | 0.01307 | 2.0762 | 0.0087704 | 2.1923 | 0.019334 | 2.3084 | 2.9161 | 2.4244 | 0.011207 | 2.5405 | 0.017021 | 2.6566 | 0.0081949 | 2.7727 | 0.019839 | 2.9902 | 0.008314 | 3.1063 | 0.011948 | 3.2224 | 0.012515 | 3.3384 | 0.0079607 | 3.4545 | 0.00027881 | 3.5706 | 0.01073 | 3.6866 | -0.0020838 | 3.8027 | -0.0054772 | 4.0202 | 0.0086174 | 4.1363 | -0.0064571 | 4.2524
2.9081 | 6.9995 | 0.010716 | 7.1156 | 0.013255 | 7.2317 | 0.014976 | 7.3478 | 0.013539 | 7.4638 | 9.9e+37 | 7.5799 | 0.0087498 | 7.596 | 0.012332 | 7.7121 | 0.015329 | 7.9296 | 0.014941 | 8.0456 | 0.013899 | 8.1617 | 0.014771 | 8.2778 | 0.013785 | 8.3939 | 0.010941 | 8.5099 | 0.01307 | 8.626 | 0.015896 | 8.7421 | 0.0064381 | 8.9596 | 0.013031 | 9.0757 | 0.0087847 | 9.1917 | 0.019639 | 9.3078 | 2.9161 | 9.4239 | 0.011183 | 9.54 | 0.017205 | 9.6561 | 0.0080657 | 9.7721 | 0.020169 | 9.9896 | 0.0083136 | 10.1058 | 0.011948 | 10.2219 | 0.012556 | 10.338 | 0.0079997 | 10.4541 | -2.6718e-05 | 10.5701 | 0.010817 | 10.6862 | -0.0023851 | 10.8023 | -0.0056747 | 11.0198 | 0.0086784 | 11.1359 | -0.0066597 | 11.252
2.9081 | 13.9994 | 0.010716 | 14.1156 | 0.013259 | 14.2317 | 0.014977 | 14.3477 | 0.013542 | 14.4638 | 9.9e+37 | 14.5799 | 0.0087511 | 14.596 | 0.012321 | 14.712 | 0.015348 | 14.9295 | 0.014986 | 15.0456 | 0.01393 | 15.1618 | 0.014792 | 15.2779 | 0.013856 | 15.394 | 0.010971 | 15.5101 | 0.013142 | 15.6261 | 0.015981 | 15.7422 | 0.0064061 | 15.9597 | 0.013023 | 16.0758 | 0.0087928 | 16.1919 | 0.019742 | 16.308 | 2.9161 | 16.424 | 0.011176 | 16.5401 | 0.017275 | 16.6562 | 0.0080215 | 16.7723 | 0.02025 | 16.9898 | 0.0083153 | 17.1059 | 0.01195 | 17.2219 | 0.012564 | 17.338 | 0.0080074 | 17.4541 | -7.0374e-05 | 17.5702 | 0.010835 | 17.6862 | -0.0024381 | 17.8023 | -0.0056961 | 18.0198 | 0.0086955 | 18.1359 | -0.0066655 | 18.2519
2.908 | 20.9994 | 0.010717 | 21.1156 | 0.013262 | 21.2317 | 0.01498 | 21.3477 | 0.013543 | 21.4638 | 9.9e+37 | 21.5799 | 0.0087521 | 21.596 | 0.012325 | 21.7121 | 0.015345 | 21.9295 | 0.01498 | 22.0456 | 0.013927 | 22.1617 | 0.014793 | 22.2777 | 0.013845 | 22.3938 | 0.010968 | 22.5099 | 0.013131 | 22.626 | 0.015963 | 22.7421 | 0.006422 | 22.9596 | 0.013029 | 23.0757 | 0.0087931 | 23.1918 | 0.019713 | 23.3078 | 2.9161 | 23.4239 | 0.01118 | 23.54 | 0.01726 | 23.6561 | 0.0080355 | 23.7722 | 0.020251 | 23.9896 | 0.0083167 | 24.1057 | 0.011951 | 24.2218 | 0.012573 | 24.3379 | 0.0080164 | 24.4539 | -0.00018563 | 24.57 | 0.01087 | 24.6861 | -0.0025725 | 24.8022 | -0.0057849 | 25.0197 | 0.0087162 | 25.1357 | -0.0067621 | 25.2519
2.9081 | 27.9994 | 0.010718 | 28.1155 | 0.013265 | 28.2316 | 0.014979 | 28.3477 | 0.013547 | 28.4638 | 9.9e+37 | 28.5799 | 0.0087525 | 28.596 | 0.01231 | 28.712 | 0.015373 | 28.9295 | 0.015039 | 29.0456 | 0.013965 | 29.1617 | 0.014819 | 29.2778 | 0.013941 | 29.3938 | 0.011007 | 29.5099 | 0.013225 | 29.626 | 0.016094 | 29.742 | 0.0063302 | 29.9595 | 0.013002 | 30.0756 | 0.0088055 | 30.1917 | 0.01994 | 30.3078 | 2.9161 | 30.424 | 0.011164 | 30.54 | 0.017395 | 30.6561 | 0.0079432 | 30.7722 | 0.020463 | 30.9897 | 0.0083175 | 31.1058 | 0.011952 | 31.2218 | 0.012593 | 31.3379 | 0.0080296 | 31.454 | -0.00026523 | 31.5701 | 0.010896 | 31.6861 | -0.0026352 | 31.8022 | -0.0058326 | 32.0197 | 0.0087374 | 32.1358 | -0.0068391 | 32.2519
2.9081 | 34.9994 | 0.010719 | 35.1155 | 0.013267 | 35.2316 | 0.01498 | 35.3477 | 0.013548 | 35.4638 | 9.9e+37 | 35.5799 | 0.0087532 | 35.596 | 0.012305 | 35.7121 | 0.015388 | 35.9295 | 0.015074 | 36.0456 | 0.013988 | 36.1617 | 0.014839 | 36.2778 | 0.013995 | 36.3938 | 0.01103 | 36.5099 | 0.013282 | 36.626 | 0.016168 | 36.7421 | 0.0062819 | 36.9596 | 0.01299 | 37.0757 | 0.0088151 | 37.1918 | 0.020073 | 37.3078 | 2.9161 | 37.4239 | 0.011153 | 37.54 | 0.017477 | 37.6561 | 0.0078874 | 37.7722 | 0.020614 | 37.9897 | 0.0083186 | 38.1057 | 0.011954 | 38.2218 | 0.012612 | 38.3379 | 0.0080437 | 38.4539 | -0.00040056 | 38.57 | 0.010937 | 38.6861 | -0.0027734 | 38.8022 | -0.0059117 | 39.0669 | 0.0087607 | 39.1829 | -0.0069107 | 39.299
2.9081 | 41.9994 | 0.01072 | 42.1156 | 0.013269 | 42.2316 | 0.01498 | 42.3477 | 0.013549 | 42.4638 | 9.9e+37 | 42.5799 | 0.0087533 | 42.596 | 0.012303 | 42.7121 | 0.015386 | 42.9295 | 0.015067 | 43.0456 | 0.013986 | 43.1617 | 0.01484 | 43.2778 | 0.013977 | 43.3938 | 0.011024 | 43.5099 | 0.013267 | 43.626 | 0.016143 | 43.7421 | 0.0063048 | 43.9596 | 0.012999 | 44.0756 | 0.0088159 | 44.1917 | 0.020033 | 44.3078 | 2.9161 | 44.4239 | 0.011158 | 44.5399 | 0.017457 | 44.656 | 0.0079048 | 44.7721 | 0.02058 | 45.0368 | 0.0083195 | 45.1529 | 0.011955 | 45.269 | 0.012609 | 45.3851 | 0.0080402 | 45.5012 | -0.00036734 | 45.6173 | 0.010932 | 45.7334 | -0.0027437 | 45.8495 | -0.0058911 | 46.067 | 0.0087597 | 46.183 | -0.0068904 | 46.2991
2.9081 | 48.9994 | 0.01072 | 49.1155 | 0.013269 | 49.2316 | 0.014981 | 49.3477 | 0.013549 | 49.4638 | 9.9e+37 | 49.5799 | 0.0087546 | 49.596 | 0.012304 | 49.712 | 0.015384 | 49.9295 | 0.015062 | 50.0456 | 0.013984 | 50.1617 | 0.014842 | 50.2777 | 0.013967 | 50.3938 | 0.011022 | 50.5099 | 0.01326 | 50.626 | 0.016131 | 50.7421 | 0.0063171 | 51.0068 | 0.013005 | 51.1229 | 0.0088165 | 51.239 | 0.020012 | 51.3551 | 2.9161 | 51.4712 | 0.01116 | 51.5873 | 0.017446 | 51.7034 | 0.0079159 | 51.8195 | 0.02056 | 52.0369 | 0.0083194 | 52.153 | 0.011957 | 52.2691 | 0.012607 | 52.3852 | 0.0080393 | 52.5013 | -0.00034641 | 52.6173 | 0.010929 | 52.7334 | -0.0027239 | 52.8495 | -0.0058773 | 53.067 | 0.0087589 | 53.183 | -0.006878 | 53.2991
2.908 | 55.9994 | 0.01072 | 56.1155 | 0.01327 | 56.2316 | 0.014981 | 56.3477 | 0.013551 | 56.4638 | 9.9e+37 | 56.5799 | 0.0087548 | 56.596 | 0.012296 | 56.712 | 0.015402 | 56.9767 | 0.015102 | 57.0928 | 0.014008 | 57.2089 | 0.014859 | 57.325 | 0.014032 | 57.4411 | 0.011048 | 57.5571 | 0.013322 | 57.6732 | 0.016218 | 57.7893 | 0.0062553 | 58.0068 | 0.012987 | 58.1229 | 0.0088257 | 58.239 | 0.020165 | 58.355 | 2.9161 | 58.4711 | 0.011148 | 58.5872 | 0.017533 | 58.7033 | 0.0078533 | 58.8194 | 0.020723 | 59.0369 | 0.0083188 | 59.1529 | 0.011956 | 59.269 | 0.012629 | 59.3851 | 0.0080565 | 59.5012 | -0.00057158 | 59.6173 | 0.010995 | 59.7334 | -0.0029869 | 59.8495 | -0.0060589 | 60.0669 | 0.0087897 | 60.183 | -0.0070868 | 60.2991
2.9081 | 62.9995 | 0.01072 | 63.1155 | 0.013272 | 63.2316 | 0.01498 | 63.3477 | 0.013552 | 63.4638 | 9.9e+37 | 63.5799 | 0.008755 | 63.596 | 0.012288 | 63.712 | 0.015412 | 63.9295 | 0.015125 | 64.0456 | 0.014026 | 64.1617 | 0.014873 | 64.2777 | 0.014051 | 64.3938 | 0.011066 | 64.5099 | 0.013378 | 64.626 | 0.016301 | 64.742 | 0.0062004 | 64.9595 | 0.012984 | 65.0756 | 0.0088521 | 65.1917 | 0.020354 | 65.3078 | 2.9161 | 65.4239 | 0.011138 | 65.54 | 0.017637 | 65.6561 | 0.0077784 | 65.7722 | 0.020965 | 65.9897 | 0.008318 | 66.1057 | 0.011957 | 66.2218 | 0.012652 | 66.3379 | 0.008067 | 66.454 | -0.00078563 | 66.5701 | 0.011046 | 66.6861 | -0.0032113 | 66.8022 | -0.0062131 | 67.0197 | 0.0087839 | 67.1358 | -0.0073011 | 67.2519
2.9081 | 69.9994 | 0.010721 | 70.1155 | 0.013277 | 70.2316 | 0.01498 | 70.3477 | 0.013557 | 70.4638 | 9.9e+37 | 70.5798 | 0.0087601 | 70.5959 | 0.012264 | 70.712 | 0.015447 | 70.9295 | 0.015204 | 71.0456 | 0.014078 | 71.1617 | 0.014915 | 71.2778 | 0.014099 | 71.3939 | 0.011118 | 71.51 | 0.01342 | 71.626 | 0.016309 | 71.7421 | 0.006273 | 71.9596 | 0.013047 | 72.0757 | 0.0089174 | 72.1918 | 0.020419 | 72.3078 | 2.9161 | 72.4239 | 0.011164 | 72.54 | 0.017699 | 72.6561 | 0.0077561 | 72.7722 | 0.021218 | 72.9897 | 0.0083183 | 73.1058 | 0.011959 | 73.2218 | 0.012668 | 73.3379 | 0.0080755 | 73.454 | -0.0010855 | 73.5701 | 0.011064 | 73.6862 | -0.0033941 | 73.8022 | -0.0063379 | 74.0197 | 0.0087354 | 74.1358 | -0.0074993 | 74.2519
2.9081 | 76.9994 | 0.010725 | 77.1155 | 0.013285 | 77.2317 | 0.014982 | 77.3477 | 0.013562 | 77.4638 | 9.9e+37 | 77.5799 | 0.0087604 | 77.596 | 0.012249 | 77.7121 | 0.015467 | 77.9295 | 0.01525 | 78.0456 | 0.014109 | 78.1617 | 0.014947 | 78.2778 | 0.014118 | 78.3938 | 0.011166 | 78.5099 | 0.013453 | 78.626 | 0.01634 | 78.742 | 0.006319 | 78.9595 | 0.013098 | 79.0756 | 0.0089815 | 79.1917 | 0.020534 | 79.3078 | 2.916 | 79.4238 | 0.011205 | 79.5399 | 0.017698 | 79.656 | 0.0078302 | 79.7721 | 0.02139 | 79.9896 | 0.0083199 | 80.1057 | 0.011962 | 80.2218 | 0.01268 | 80.3378 | 0.0080936 | 80.4539 | -0.0016062 | 80.57 | 0.011104 | 80.6861 | -0.0037821 | 80.8022 | -0.0066263 | 81.0197 | 0.0086887 | 81.1358 | -0.0079011 | 81.2519
2.9081 | 83.9994 | 0.010723 | 84.1155 | 0.013286 | 84.2316 | 0.014977 | 84.3477 | 0.013565 | 84.4638 | 9.9e+37 | 84.5799 | 0.0087587 | 84.596 | 0.012214 | 84.712 | 0.015497 | 84.9295 | 0.015326 | 85.0456 | 0.014157 | 85.1617 | 0.014983 | 85.2778 | 0.014109 | 85.3938 | 0.011208 | 85.5099 | 0.013447 | 85.626 | 0.016324 | 85.7421 | 0.0064067 | 85.9596 | 0.013164 | 86.0757 | 0.0090528 | 86.1918 | 0.020682 | 86.3079 | 2.9161 | 86.4239 | 0.011254 | 86.54 | 0.017751 | 86.6561 | 0.0078692 | 86.7722 | 0.021713 | 86.9896 | 0.0083209 | 87.1057 | 0.011966 | 87.2218 | 0.012678 | 87.3379 | 0.008099 | 87.454 | -0.0020778 | 87.5701 | 0.011105 | 87.6861 | -0.0040809 | 87.8022 | -0.0068493 | 88.0197 | 0.0086295 | 88.1358 | -0.0082933 | 88.2518
2.9081 | 90.9994 | 0.010722 | 91.1155 | 0.013257 | 91.2316 | 0.014987 | 91.3477 | 0.013539 | 91.4638 | 9.9e+37 | 91.5799 | 0.0087609 | 91.596 | 0.012387 | 91.7121 | 0.015174 | 91.9296 | 0.014556 | 92.0456 | 0.013677 | 92.1617 | 0.01473 | 92.2778 | 0.012774 | 92.3939 | 0.010698 | 92.51 | 0.012143 | 92.626 | 0.014505 | 92.7421 | 0.0077253 | 92.9596 | 0.013638 | 93.0757 | 0.008969 | 93.1918 | 0.0176 | 93.3079 | 2.9161 | 93.424 | 0.011551 | 93.54 | 0.015812 | 93.6561 | 0.0092319 | 93.7722 | 0.018447 | 93.9896 | 0.0083377 | 94.1057 | 0.011992 | 94.2218 | 0.012257 | 94.3379 | 0.0077352 | 94.4539 | 0.00095937 | 94.57 | 0.010306 | 94.6861 | -0.0011957 | 94.8021 | -0.0048477 | 95.0196 | 0.0081993 | 95.1357 | -0.0061301 | 95.2518
2.9081 | 97.9994 | 0.010724 | 98.1156 | 0.013258 | 98.2317 | 0.014989 | 98.3477 | 0.01354 | 98.4638 | 9.9e+37 | 98.5799 | 0.0087607 | 98.596 | 0.012386 | 98.7121 | 0.01518 | 98.9295 | 0.014564 | 99.0456 | 0.013681 | 99.1617 | 0.014736 | 99.2778 | 0.012785 | 99.3938 | 0.010703 | 99.5099 | 0.012152 | 99.626 | 0.014516 | 99.7421 | 0.0077169 | 99.9596 | 0.013634 | 100.0757 | 0.0089716 | 100.1917 | 0.017618 | 100.3078 | 2.9161 | 100.4239 | 0.011554 | 100.54 | 0.015826 | 100.6561 | 0.0092249 | 100.7721 | 0.018463 | 100.9897 | 0.0083396 | 101.1058 | 0.011993 | 101.2218 | 0.012261 | 101.3379 | 0.0077379 | 101.454 | 0.0009463 | 101.5701 | 0.010309 | 101.6861 | -0.0012052 | 101.8022 | -0.0048555 | 102.0669 | 0.0081943 | 102.183 | -0.0061393 | 102.2991
2.9081 | 104.9994 | 0.010727 | 105.1155 | 0.013262 | 105.2316 | 0.014991 | 105.3477 | 0.013543 | 105.4638 | 9.9e+37 | 105.5799 | 0.0087621 | 105.596 | 0.012387 | 105.712 | 0.015185 | 105.9295 | 0.014569 | 106.0456 | 0.013684 | 106.1617 | 0.01474 | 106.2777 | 0.012791 | 106.3938 | 0.010706 | 106.5099 | 0.012157 | 106.626 | 0.014521 | 106.7421 | 0.0077142 | 106.9596 | 0.013634 | 107.0757 | 0.0089732 | 107.1918 | 0.017627 | 107.3078 | 2.9161 | 107.4239 | 0.011555 | 107.54 | 0.015834 | 107.6561 | 0.0092229 | 107.7721 | 0.018473 | 108.0369 | 0.0083417 | 108.153 | 0.011994 | 108.269 | 0.012262 | 108.3851 | 0.0077387 | 108.5012 | 0.00093993 | 108.6173 | 0.010308 | 108.7334 | -0.0012117 | 108.8494 | -0.0048589 | 109.0669 | 0.0081966 | 109.183 | -0.0061487 | 109.299
2.9081 | 111.9994 | 0.010729 | 112.1156 | 0.013265 | 112.2317 | 0.014993 | 112.3477 | 0.013546 | 112.4638 | 9.9e+37 | 112.5799 | 0.0087644 | 112.596 | 0.012386 | 112.7121 | 0.015195 | 112.9296 | 0.014589 | 113.0456 | 0.013696 | 113.1617 | 0.014749 | 113.2778 | 0.012827 | 113.3939 | 0.010717 | 113.51 | 0.012191 | 113.626 | 0.014572 | 113.7421 | 0.0076742 | 114.0068 | 0.013618 | 114.1229 | 0.0089734 | 114.239 | 0.017711 | 114.3551 | 2.9161 | 114.4712 | 0.011544 | 114.5872 | 0.015885 | 114.7033 | 0.0091854 | 114.8194 | 0.018559 | 115.0369 | 0.0083414 | 115.153 | 0.011993 | 115.269 | 0.012272 | 115.3851 | 0.0077475 | 115.5012 | 0.00086162 | 115.6173 | 0.010323 | 115.7334 | -0.0012858 | 115.8494 | -0.0049101 | 116.067 | 0.0082004 | 116.1831 | -0.0061968 | 116.2991
2.9081 | 118.9994 | 0.01073 | 119.1155 | 0.013266 | 119.2316 | 0.014996 | 119.3477 | 0.013548 | 119.4638 | 9.9e+37 | 119.5799 | 0.0087656 | 119.596 | 0.012388 | 119.7121 | 0.015195 | 119.9768 | 0.014591 | 120.0929 | 0.013697 | 120.2089 | 0.014751 | 120.325 | 0.012829 | 120.4411 | 0.010718 | 120.5572 | 0.012194 | 120.6732 | 0.014575 | 120.7893 | 0.0076742 | 121.0068 | 0.013619 | 121.1229 | 0.0089744 | 121.239 | 0.017713 | 121.3551 | 2.9161 | 121.4711 | 0.011546 | 121.5872 | 0.015888 | 121.7033 | 0.0091856 | 121.8194 | 0.018561 | 122.0369 | 0.008343 | 122.153 | 0.011995 | 122.2691 | 0.012273 | 122.3851 | 0.0077494 | 122.5012 | 0.00086154 | 122.6173 | 0.010324 | 122.7334 | -0.0012862 | 122.8495 | -0.0049108 | 123.0669 | 0.0082011 | 123.183 | -0.0061974 | 123.2991
2.9081 | 125.9994 | 0.010734 | 126.1156 | 0.01327 | 126.2317 | 0.015 | 126.3477 | 0.013552 | 126.4638 | 9.9e+37 | 126.5799 | 0.008768 | 126.596 | 0.012391 | 126.7121 | 0.015198 | 126.9296 | 0.014593 | 127.0456 | 0.013699 | 127.1617 | 0.014753 | 127.2778 | 0.012831 | 127.3939 | 0.01072 | 127.5099 | 0.012195 | 127.626 | 0.014576 | 127.7421 | 0.0076746 | 127.9596 | 0.013619 | 128.0757 | 0.0089756 | 128.1918 | 0.017716 | 128.3078 | 2.9161 | 128.4239 | 0.011546 | 128.54 | 0.01589 | 128.6561 | 0.0091862 | 128.7722 | 0.018565 | 128.9896 | 0.0083432 | 129.1057 | 0.011996 | 129.2218 | 0.012274 | 129.3378 | 0.0077494 | 129.4539 | 0.00086054 | 129.57 | 0.010325 | 129.6861 | -0.0012873 | 129.8021 | -0.0049115 | 130.0196 | 0.0082019 | 130.1357 | -0.0061984 | 130.2518
2.9081 | 132.9994 | 0.010735 | 133.1156 | 0.013271 | 133.2317 | 0.015002 | 133.3478 | 0.013553 | 133.4639 | 9.9e+37 | 133.5799 | 0.0087705 | 133.596 | 0.012393 | 133.7121 | 0.015198 | 133.9296 | 0.014594 | 134.0457 | 0.013701 | 134.1618 | 0.014755 | 134.2779 | 0.012832 | 134.3939 | 0.01072 | 134.51 | 0.012197 | 134.6261 | 0.014578 | 134.7422 | 0.0076747 | 134.9597 | 0.013621 | 135.0758 | 0.0089762 | 135.1918 | 0.017718 | 135.3079 | 2.9161 | 135.424 | 0.011547 | 135.5401 | 0.015892 | 135.6561 | 0.0091872 | 135.7722 | 0.018567 | 135.9897 | 0.0083443 | 136.1058 | 0.011997 | 136.2219 | 0.012275 | 136.3379 | 0.0077504 | 136.454 | 0.00086101 | 136.5701 | 0.010325 | 136.6862 | -0.0012875 | 136.8023 | -0.004912 | 137.0198 | 0.0082035 | 137.1359 | -0.0061989 | 137.2519
2.9081 | 139.9994 | 0.010734 | 140.1155 | 0.01327 | 140.2316 | 0.015002 | 140.3477 | 0.013552 | 140.4638 | 9.9e+37 | 140.5799 | 0.0087702 | 140.596 | 0.012391 | 140.7121 | 0.015199 | 140.9295 | 0.014594 | 141.0456 | 0.0137 | 141.1617 | 0.014752 | 141.2778 | 0.012798 | 141.3939 | 0.010706 | 141.51 | 0.012127 | 141.626 | 0.014437 | 141.7421 | 0.0078399 | 141.9596 | 0.013704 | 142.0757 | 0.0089799 | 142.1918 | 0.017229 | 142.3079 | 2.9161 | 142.4239 | 0.011632 | 142.54 | 0.015513 | 142.6561 | 0.0094972 | 142.7721 | 0.017828 | 142.9897 | 0.0083478 | 143.1057 | 0.012004 | 143.2218 | 0.012166 | 143.3379 | 0.007658 | 143.454 | 0.001679 | 143.57 | 0.01017 | 143.6861 | -0.00048398 | 143.8022 | -0.0043439 | 144.0197 | 0.0081739 | 144.1357 | -0.0055607 | 144.2518
2.9081 | 146.9994 | 0.010731 | 147.1155 | 0.013256 | 147.2316 | 0.015001 | 147.3477 | 0.013538 | 147.4638 | 9.9e+37 | 147.5799 | 0.008767 | 147.596 | 0.012441 | 147.712 | 0.01505 | 147.9295 | 0.014267 | 148.0456 | 0.013512 | 148.1617 | 0.01463 | 148.2777 | 0.012274 | 148.3938 | 0.010556 | 148.5099 | 0.011657 | 148.626 | 0.013785 | 148.7421 | 0.0083157 | 148.9596 | 0.013908 | 149.0757 | 0.0090052 | 149.1917 | 0.016421 | 149.3078 | 2.9161 | 149.4239 | 0.011749 | 149.54 | 0.015063 | 149.6561 | 0.0098193 | 149.7721 | 0.017194 | 149.9896 | 0.0083492 | 150.1057 | 0.012007 | 150.2218 | 0.012079 | 150.3379 | 0.0075905 | 150.4539 | 0.0021515 | 150.57 | 0.010079 | 150.6861 | -9.4024e-05 | 150.8022 | -0.0041015 | 151.0196 | 0.0081519 | 151.1357 | -0.0053246 | 151.2518
2.9081 | 153.9994 | 0.010729 | 154.1155 | 0.013251 | 154.2316 | 0.015 | 154.3477 | 0.013534 | 154.4638 | 9.9e+37 | 154.5799 | 0.0087664 | 154.596 | 0.012443 | 154.7121 | 0.015035 | 154.9296 | 0.014236 | 155.0457 | 0.013493 | 155.1617 | 0.014618 | 155.2778 | 0.012231 | 155.3939 | 0.010544 | 155.51 | 0.011617 | 155.626 | 0.013731 | 155.7421 | 0.0083546 | 155.9596 | 0.013924 | 156.0757 | 0.009006 | 156.1918 | 0.016347 | 156.3078 | 2.9162 | 156.424 | 0.01176 | 156.5401 | 0.015015 | 156.6562 | 0.0098525 | 156.7722 | 0.017123 | 156.9897 | 0.0083491 | 157.1058 | 0.012008 | 157.2218 | 0.012069 | 157.3379 | 0.007582 | 157.454 | 0.0022075 | 157.5701 | 0.010067 | 157.6862 | -4.4922e-05 | 157.8023 | -0.0040688 | 158.0198 | 0.0081484 | 158.1359 | -0.0052916 | 158.252
2.9081 | 160.9994 | 0.01073 | 161.1155 | 0.013252 | 161.2317 | 0.015003 | 161.3477 | 0.013535 | 161.4638 | 9.9e+37 | 161.5799 | 0.0087686 | 161.596 | 0.012447 | 161.7121 | 0.015031 | 161.9296 | 0.014228 | 162.0456 | 0.013488 | 162.1617 | 0.014614 | 162.2778 | 0.012217 | 162.3938