## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-21
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-21
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 50
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.903 | 0 | 0.010703 | 0.11612 | 0.013171 | 0.23222 | 0.014988 | 0.3483 | 0.013462 | 0.46438 | 9.9e+37 | 0.58048 | 0.0087462 | 0.59658 | 0.01266 | 0.71266 | 0.014488 | 0.93015 | 0.013171 | 1.0462 | 0.012835 | 1.1623 | 0.014098 | 1.2784 | 0.010594 | 1.3945 | 0.010057 | 1.5105 | 0.010016 | 1.6266 | 0.011445 | 1.7427 | 0.0099796 | 1.9602 | 0.014698 | 2.0762 | 0.0090926 | 2.1923 | 0.01276 | 2.3084 | 2.9111 | 2.4245 | 0.012294 | 2.5406 | 0.012678 | 2.6566 | 0.011393 | 2.7727 | 0.013302 | 2.9902 | 0.0083202 | 3.1063 | 0.01197 | 3.2224 | 0.011505 | 3.3384 | 0.0070622 | 3.4545 | 0.0057798 | 3.5706 | 0.0092273 | 3.6867 | 0.0034284 | 3.8027 | -0.0019607 | 4.0202 | 0.0076963 | 4.1363 | -0.0030063 | 4.2524
2.903 | 6.9995 | 0.010705 | 7.1156 | 0.013173 | 7.2317 | 0.014991 | 7.3478 | 0.013463 | 7.4639 | 9.9e+37 | 7.58 | 0.0087476 | 7.5961 | 0.012663 | 7.7121 | 0.014488 | 7.9296 | 0.013171 | 8.0457 | 0.012836 | 8.1618 | 0.014099 | 8.2778 | 0.010595 | 8.3939 | 0.010057 | 8.51 | 0.010018 | 8.6261 | 0.011446 | 8.7421 | 0.0099806 | 8.9596 | 0.0147 | 9.0757 | 0.0090938 | 9.1918 | 0.012761 | 9.3079 | 2.9112 | 9.424 | 0.012296 | 9.54 | 0.01268 | 9.6561 | 0.011394 | 9.7722 | 0.013303 | 9.9897 | 0.0083222 | 10.1059 | 0.011972 | 10.222 | 0.011506 | 10.338 | 0.007063 | 10.4541 | 0.0057812 | 10.5702 | 0.0092284 | 10.6863 | 0.0034294 | 10.8024 | -0.0019611 | 11.0199 | 0.0076976 | 11.1359 | -0.0030064 | 11.252
2.9031 | 13.9995 | 0.010706 | 14.1156 | 0.013174 | 14.2317 | 0.014991 | 14.3478 | 0.013464 | 14.4639 | 9.9e+37 | 14.58 | 0.0087476 | 14.5961 | 0.012663 | 14.7121 | 0.01449 | 14.9296 | 0.013172 | 15.0457 | 0.012838 | 15.1677 | 0.0141 | 15.2838 | 0.010597 | 15.3999 | 0.010059 | 15.516 | 0.010019 | 15.6321 | 0.011447 | 15.7482 | 0.0099821 | 15.9657 | 0.014702 | 16.0818 | 0.0090943 | 16.1978 | 0.012761 | 16.3139 | 2.9112 | 16.43 | 0.012298 | 16.5461 | 0.012683 | 16.6621 | 0.011396 | 16.7782 | 0.013304 | 16.9957 | 0.0083243 | 17.1118 | 0.011973 | 17.2279 | 0.011507 | 17.344 | 0.0070644 | 17.4601 | 0.0057826 | 17.5761 | 0.0092299 | 17.6922 | 0.0034302 | 17.8083 | -0.001961 | 18.0258 | 0.007698 | 18.1418 | -0.0030062 | 18.2579
2.9031 | 20.9995 | 0.010707 | 21.1156 | 0.013175 | 21.2317 | 0.014993 | 21.3478 | 0.013465 | 21.4639 | 9.9e+37 | 21.58 | 0.0087482 | 21.5961 | 0.012663 | 21.7121 | 0.01449 | 21.9296 | 0.013173 | 22.0457 | 0.012838 | 22.1618 | 0.014101 | 22.2779 | 0.010597 | 22.3939 | 0.010059 | 22.51 | 0.010019 | 22.6261 | 0.011447 | 22.7422 | 0.0099819 | 22.9597 | 0.014703 | 23.0757 | 0.0090951 | 23.1918 | 0.012762 | 23.3079 | 2.9112 | 23.424 | 0.012298 | 23.54 | 0.012683 | 23.6561 | 0.011396 | 23.7722 | 0.013304 | 23.9897 | 0.008324 | 24.1058 | 0.011974 | 24.2219 | 0.011508 | 24.3379 | 0.0070641 | 24.454 | 0.0057826 | 24.5701 | 0.0092301 | 24.6862 | 0.0034305 | 24.8022 | -0.001961 | 25.0197 | 0.0076986 | 25.1358 | -0.0030055 | 25.2521
2.9031 | 27.9995 | 0.010706 | 28.1156 | 0.013175 | 28.2317 | 0.014993 | 28.3478 | 0.013464 | 28.4638 | 9.9e+37 | 28.5799 | 0.008748 | 28.596 | 0.012663 | 28.7121 | 0.01449 | 28.9295 | 0.013173 | 29.0456 | 0.012837 | 29.1617 | 0.014101 | 29.2778 | 0.010597 | 29.3939 | 0.010059 | 29.5099 | 0.010019 | 29.626 | 0.011447 | 29.7421 | 0.0099823 | 29.9596 | 0.014703 | 30.0756 | 0.0090952 | 30.1917 | 0.012761 | 30.3161 | 2.9113 | 30.4322 | 0.012298 | 30.5483 | 0.012682 | 30.6643 | 0.011396 | 30.7804 | 0.013303 | 30.9979 | 0.0083235 | 31.114 | 0.011973 | 31.2301 | 0.011507 | 31.3461 | 0.007064 | 31.4622 | 0.005782 | 31.5783 | 0.0092293 | 31.6944 | 0.0034298 | 31.8105 | -0.0019609 | 32.028 | 0.0076977 | 32.1441 | -0.0030057 | 32.2601
2.9032 | 34.9995 | 0.010706 | 35.1156 | 0.013175 | 35.2317 | 0.014993 | 35.3479 | 0.013464 | 35.464 | 9.9e+37 | 35.5801 | 0.0087488 | 35.5962 | 0.012664 | 35.7123 | 0.01449 | 35.9297 | 0.013173 | 36.0458 | 0.012838 | 36.1619 | 0.0141 | 36.278 | 0.010597 | 36.3941 | 0.010059 | 36.5101 | 0.010018 | 36.6262 | 0.011446 | 36.7423 | 0.0099824 | 36.9598 | 0.014701 | 37.0759 | 0.0090947 | 37.192 | 0.012761 | 37.308 | 2.9113 | 37.4241 | 0.012298 | 37.5402 | 0.012681 | 37.6563 | 0.011396 | 37.7724 | 0.013303 | 37.9899 | 0.0083238 | 38.106 | 0.011971 | 38.2221 | 0.011507 | 38.3381 | 0.0070642 | 38.4542 | 0.0057814 | 38.5703 | 0.009228 | 38.6864 | 0.0034297 | 38.8024 | -0.0019615 | 39.0671 | 0.0076976 | 39.1831 | -0.0030063 | 39.2992
2.9032 | 41.9995 | 0.010705 | 42.1156 | 0.013174 | 42.2317 | 0.014993 | 42.3478 | 0.013464 | 42.4639 | 9.9e+37 | 42.58 | 0.0087484 | 42.5961 | 0.012663 | 42.7121 | 0.01449 | 42.9296 | 0.013173 | 43.0457 | 0.012838 | 43.1618 | 0.0141 | 43.2778 | 0.010597 | 43.3939 | 0.010059 | 43.51 | 0.010018 | 43.6261 | 0.011446 | 43.7422 | 0.0099816 | 43.9597 | 0.014701 | 44.0758 | 0.0090947 | 44.1919 | 0.01276 | 44.3079 | 2.9113 | 44.424 | 0.012298 | 44.5401 | 0.012682 | 44.6562 | 0.011397 | 44.7723 | 0.013303 | 45.0369 | 0.0083234 | 45.153 | 0.011971 | 45.2691 | 0.011506 | 45.3852 | 0.0070635 | 45.5013 | 0.0057816 | 45.6174 | 0.0092283 | 45.7334 | 0.0034299 | 45.8495 | -0.0019617 | 46.067 | 0.0076977 | 46.1831 | -0.0030059 | 46.2991
2.9032 | 48.9995 | 0.010702 | 49.1156 | 0.013171 | 49.2317 | 0.014989 | 49.3478 | 0.01346 | 49.4639 | 9.9e+37 | 49.58 | 0.0087449 | 49.5961 | 0.012659 | 49.7121 | 0.01449 | 49.9296 | 0.013173 | 50.0457 | 0.012838 | 50.1618 | 0.0141 | 50.2779 | 0.010597 | 50.3939 | 0.010058 | 50.5101 | 0.010018 | 50.6262 | 0.011445 | 50.7422 | 0.0099813 | 51.0068 | 0.0147 | 51.1229 | 0.0090945 | 51.239 | 0.012759 | 51.3551 | 2.9114 | 51.4711 | 0.012298 | 51.5872 | 0.012682 | 51.7033 | 0.011397 | 51.8194 | 0.013303 | 52.0368 | 0.008323 | 52.1529 | 0.011971 | 52.269 | 0.011506 | 52.3851 | 0.0070637 | 52.5012 | 0.0057821 | 52.6172 | 0.009228 | 52.7333 | 0.0034301 | 52.8494 | -0.0019617 | 53.0668 | 0.0076976 | 53.1829 | -0.0030056 | 53.299
2.9033 | 55.9995 | 0.010702 | 56.1156 | 0.013171 | 56.2317 | 0.014988 | 56.3478 | 0.013461 | 56.4639 | 9.9e+37 | 56.58 | 0.0087444 | 56.5961 | 0.012659 | 56.7121 | 0.01449 | 56.9768 | 0.013173 | 57.0928 | 0.012837 | 57.2089 | 0.0141 | 57.325 | 0.010598 | 57.441 | 0.010059 | 57.5571 | 0.010018 | 57.6732 | 0.011446 | 57.7893 | 0.0099823 | 58.0068 | 0.014701 | 58.1229 | 0.0090945 | 58.239 | 0.01276 | 58.3551 | 2.9114 | 58.4712 | 0.012299 | 58.5872 | 0.012682 | 58.7033 | 0.011397 | 58.8194 | 0.013303 | 59.0369 | 0.0083238 | 59.153 | 0.011971 | 59.2691 | 0.011506 | 59.3851 | 0.0070637 | 59.5012 | 0.0057825 | 59.6173 | 0.0092288 | 59.7334 | 0.00343 | 59.8495 | -0.0019617 | 60.067 | 0.0076974 | 60.1831 | -0.0030057 | 60.2991
2.9033 | 62.9995 | 0.010705 | 63.1156 | 0.013173 | 63.2317 | 0.014991 | 63.3478 | 0.013464 | 63.4639 | 9.9e+37 | 63.58 | 0.0087477 | 63.5961 | 0.012661 | 63.7121 | 0.01449 | 63.9296 | 0.013173 | 64.0457 | 0.012837 | 64.1618 | 0.0141 | 64.2778 | 0.010598 | 64.3939 | 0.010059 | 64.51 | 0.010019 | 64.6261 | 0.011446 | 64.7422 | 0.0099824 | 64.9597 | 0.014701 | 65.0758 | 0.0090952 | 65.1918 | 0.01276 | 65.3079 | 2.9114 | 65.424 | 0.012299 | 65.5401 | 0.012682 | 65.6562 | 0.011397 | 65.7723 | 0.013303 | 65.9897 | 0.0083243 | 66.1058 | 0.011972 | 66.2219 | 0.011506 | 66.3379 | 0.007064 | 66.454 | 0.0057824 | 66.5701 | 0.0092287 | 66.6862 | 0.0034297 | 66.8022 | -0.001962 | 67.0197 | 0.0076973 | 67.1358 | -0.0030057 | 67.2518
2.9033 | 69.9995 | 0.010707 | 70.1156 | 0.013176 | 70.2317 | 0.014994 | 70.3478 | 0.013466 | 70.4639 | 9.9e+37 | 70.5799 | 0.0087502 | 70.596 | 0.012664 | 70.7122 | 0.01449 | 70.9297 | 0.013173 | 71.0457 | 0.012838 | 71.1618 | 0.0141 | 71.2779 | 0.010597 | 71.394 | 0.010059 | 71.5101 | 0.010019 | 71.6261 | 0.011447 | 71.7422 | 0.0099824 | 71.9597 | 0.014701 | 72.0758 | 0.0090955 | 72.1919 | 0.01276 | 72.3079 | 2.9114 | 72.424 | 0.012299 | 72.5401 | 0.012683 | 72.6562 | 0.011397 | 72.7722 | 0.013302 | 72.9897 | 0.0083248 | 73.1058 | 0.011972 | 73.2219 | 0.011506 | 73.3379 | 0.0070639 | 73.454 | 0.0057821 | 73.5701 | 0.0092284 | 73.6862 | 0.0034297 | 73.8022 | -0.0019617 | 74.0198 | 0.0076969 | 74.1358 | -0.0030058 | 74.2519
2.9033 | 76.9995 | 0.010707 | 77.1156 | 0.013177 | 77.2317 | 0.014995 | 77.3478 | 0.013466 | 77.4639 | 9.9e+37 | 77.58 | 0.0087512 | 77.5961 | 0.012665 | 77.7121 | 0.01449 | 77.9296 | 0.013173 | 78.0457 | 0.012837 | 78.1618 | 0.014099 | 78.2778 | 0.010596 | 78.3939 | 0.010058 | 78.51 | 0.010017 | 78.626 | 0.011445 | 78.7421 | 0.0099814 | 78.9596 | 0.0147 | 79.0757 | 0.0090946 | 79.1918 | 0.012759 | 79.3078 | 2.9114 | 79.4239 | 0.012299 | 79.54 | 0.012682 | 79.6561 | 0.011396 | 79.7721 | 0.0133 | 79.9896 | 0.0083247 | 80.1057 | 0.01197 | 80.2218 | 0.011505 | 80.3379 | 0.0070618 | 80.454 | 0.0057812 | 80.5701 | 0.0092278 | 80.6861 | 0.0034288 | 80.8023 | -0.0019618 | 81.0197 | 0.0076948 | 81.1358 | -0.0030061 | 81.2519
2.9033 | 83.9995 | 0.010708 | 84.1156 | 0.013177 | 84.2317 | 0.014996 | 84.3478 | 0.013467 | 84.4639 | 9.9e+37 | 84.5799 | 0.0087518 | 84.596 | 0.012666 | 84.7121 | 0.01449 | 84.9296 | 0.013173 | 85.0457 | 0.012836 | 85.1617 | 0.014098 | 85.2778 | 0.010595 | 85.3939 | 0.010057 | 85.51 | 0.010016 | 85.6261 | 0.011444 | 85.7422 | 0.0099808 | 85.9597 | 0.014699 | 86.0758 | 0.0090942 | 86.1919 | 0.012758 | 86.3079 | 2.9114 | 86.424 | 0.012298 | 86.5401 | 0.01268 | 86.6562 | 0.011395 | 86.7722 | 0.0133 | 86.9897 | 0.0083249 | 87.1058 | 0.011967 | 87.2219 | 0.011503 | 87.338 | 0.0070589 | 87.454 | 0.0057789 | 87.5701 | 0.0092265 | 87.6862 | 0.003428 | 87.8023 | -0.001962 | 88.0197 | 0.0076931 | 88.1358 | -0.0030062 | 88.2519
2.9033 | 90.9995 | 0.010709 | 91.1156 | 0.013176 | 91.2317 | 0.014996 | 91.3478 | 0.013467 | 91.4639 | 9.9e+37 | 91.58 | 0.0087512 | 91.5961 | 0.012667 | 91.7122 | 0.014489 | 91.9297 | 0.013172 | 92.0457 | 0.012835 | 92.1618 | 0.014098 | 92.2779 | 0.010595 | 92.394 | 0.010057 | 92.51 | 0.010016 | 92.6261 | 0.011444 | 92.7422 | 0.0099809 | 92.9597 | 0.014699 | 93.0758 | 0.0090943 | 93.1919 | 0.012758 | 93.3079 | 2.9115 | 93.424 | 0.012298 | 93.5401 | 0.012681 | 93.6562 | 0.011395 | 93.7722 | 0.013299 | 93.9897 | 0.008324 | 94.1058 | 0.011966 | 94.2219 | 0.011503 | 94.338 | 0.0070595 | 94.454 | 0.0057789 | 94.5701 | 0.0092266 | 94.6862 | 0.0034272 | 94.8023 | -0.0019622 | 95.0198 | 0.0076938 | 95.1358 | -0.0030061 | 95.2519
2.9034 | 97.9995 | 0.01071 | 98.1156 | 0.013177 | 98.2317 | 0.014998 | 98.3478 | 0.013468 | 98.4639 | 9.9e+37 | 98.58 | 0.008752 | 98.5961 | 0.012667 | 98.7121 | 0.014489 | 98.9296 | 0.013172 | 99.0457 | 0.012836 | 99.1618 | 0.014099 | 99.2779 | 0.010595 | 99.394 | 0.010056 | 99.51 | 0.010015 | 99.6261 | 0.011444 | 99.7422 | 0.0099811 | 99.9597 | 0.014698 | 100.0757 | 0.0090944 | 100.1918 | 0.012757 | 100.3079 | 2.9115 | 100.424 | 0.012297 | 100.5401 | 0.012681 | 100.6561 | 0.011396 | 100.7722 | 0.013299 | 100.9898 | 0.0083235 | 101.1059 | 0.011965 | 101.222 | 0.011502 | 101.3381 | 0.0070608 | 101.4541 | 0.0057793 | 101.5702 | 0.009226 | 101.6863 | 0.0034269 | 101.8023 | -0.0019626 | 102.067 | 0.0076943 | 102.183 | -0.003006 | 102.2991
2.9034 | 104.9995 | 0.010711 | 105.1156 | 0.013178 | 105.2317 | 0.014998 | 105.3478 | 0.01347 | 105.4639 | 9.9e+37 | 105.58 | 0.0087524 | 105.5961 | 0.012668 | 105.7121 | 0.014489 | 105.9297 | 0.013172 | 106.0458 | 0.012836 | 106.1619 | 0.014097 | 106.278 | 0.010594 | 106.3941 | 0.010056 | 106.5102 | 0.010015 | 106.6262 | 0.011443 | 106.7423 | 0.0099811 | 106.9598 | 0.014698 | 107.0759 | 0.0090939 | 107.192 | 0.012756 | 107.308 | 2.9115 | 107.4241 | 0.012297 | 107.5402 | 0.01268 | 107.6563 | 0.011395 | 107.7724 | 0.013298 | 108.037 | 0.0083225 | 108.1531 | 0.011966 | 108.2692 | 0.011502 | 108.3853 | 0.0070608 | 108.5013 | 0.0057792 | 108.6174 | 0.0092254 | 108.7335 | 0.003427 | 108.8496 | -0.0019631 | 109.0671 | 0.0076949 | 109.1831 | -0.0030066 | 109.2992
2.9034 | 111.9995 | 0.01071 | 112.1156 | 0.013179 | 112.2317 | 0.014999 | 112.3478 | 0.01347 | 112.4638 | 9.9e+37 | 112.5799 | 0.0087525 | 112.596 | 0.012668 | 112.7121 | 0.014489 | 112.9296 | 0.013171 | 113.0457 | 0.012835 | 113.1618 | 0.014097 | 113.2778 | 0.010594 | 113.3939 | 0.010057 | 113.51 | 0.010016 | 113.6261 | 0.011443 | 113.7422 | 0.0099818 | 114.0068 | 0.014698 | 114.1229 | 0.0090933 | 114.239 | 0.012757 | 114.3551 | 2.9116 | 114.4712 | 0.012298 | 114.5872 | 0.012679 | 114.7033 | 0.011395 | 114.8194 | 0.013299 | 115.0369 | 0.0083218 | 115.1529 | 0.011967 | 115.269 | 0.011502 | 115.3851 | 0.0070614 | 115.5012 | 0.0057796 | 115.6172 | 0.0092253 | 115.7333 | 0.0034274 | 115.8494 | -0.0019632 | 116.067 | 0.0076957 | 116.183 | -0.0030067 | 116.2991
2.9035 | 118.9995 | 0.01071 | 119.1156 | 0.013178 | 119.2317 | 0.014999 | 119.3478 | 0.01347 | 119.4639 | 9.9e+37 | 119.58 | 0.0087533 | 119.596 | 0.012668 | 119.7121 | 0.014489 | 119.9768 | 0.013172 | 120.0928 | 0.012836 | 120.2089 | 0.014097 | 120.325 | 0.010595 | 120.4411 | 0.010058 | 120.5572 | 0.010017 | 120.6733 | 0.011444 | 120.7893 | 0.0099825 | 121.0068 | 0.0147 | 121.1229 | 0.0090944 | 121.239 | 0.012758 | 121.3551 | 2.9116 | 121.4712 | 0.012298 | 121.5873 | 0.01268 | 121.7033 | 0.011396 | 121.8194 | 0.0133 | 122.037 | 0.0083226 | 122.153 | 0.011968 | 122.2691 | 0.011504 | 122.3852 | 0.0070622 | 122.5013 | 0.0057805 | 122.6173 | 0.0092265 | 122.7334 | 0.003428 | 122.8495 | -0.0019629 | 123.067 | 0.007696 | 123.1831 | -0.0030063 | 123.2991
2.9035 | 125.9995 | 0.01071 | 126.1166 | 0.013179 | 126.2327 | 0.015 | 126.3487 | 0.01347 | 126.4648 | 9.9e+37 | 126.5809 | 0.0087533 | 126.597 | 0.012668 | 126.713 | 0.014489 | 126.9305 | 0.013172 | 127.0466 | 0.012836 | 127.1627 | 0.014098 | 127.2787 | 0.010596 | 127.3948 | 0.010059 | 127.5109 | 0.010018 | 127.627 | 0.011445 | 127.7431 | 0.009983 | 127.9606 | 0.014701 | 128.0767 | 0.0090947 | 128.1927 | 0.012758 | 128.3088 | 2.9116 | 128.4249 | 0.012299 | 128.541 | 0.01268 | 128.6571 | 0.011397 | 128.7732 | 0.013301 | 128.9906 | 0.0083232 | 129.1067 | 0.01197 | 129.2228 | 0.011505 | 129.3389 | 0.0070628 | 129.455 | 0.0057811 | 129.571 | 0.0092275 | 129.6871 | 0.0034286 | 129.8032 | -0.001963 | 130.0207 | 0.0076968 | 130.1367 | -0.0030061 | 130.2528
2.9035 | 132.9995 | 0.01071 | 133.1156 | 0.013178 | 133.2317 | 0.015 | 133.3478 | 0.013469 | 133.4639 | 9.9e+37 | 133.5799 | 0.0087526 | 133.596 | 0.012668 | 133.7121 | 0.014489 | 133.9296 | 0.013172 | 134.0457 | 0.012836 | 134.1618 | 0.014098 | 134.2778 | 0.010596 | 134.3939 | 0.010059 | 134.51 | 0.010018 | 134.626 | 0.011445 | 134.7421 | 0.0099833 | 134.9596 | 0.014702 | 135.0757 | 0.0090953 | 135.1918 | 0.012758 | 135.3079 | 2.9116 | 135.424 | 0.0123 | 135.5401 | 0.01268 | 135.6561 | 0.011398 | 135.7722 | 0.0133 | 135.9897 | 0.0083238 | 136.1058 | 0.01197 | 136.2286 | 0.011505 | 136.3447 | 0.0070642 | 136.4608 | 0.0057824 | 136.5768 | 0.009228 | 136.6929 | 0.0034286 | 136.809 | -0.0019623 | 137.0265 | 0.0076968 | 137.1426 | -0.0030061 | 137.2587
2.9035 | 139.9995 | 0.010709 | 140.1156 | 0.013178 | 140.2317 | 0.014999 | 140.3478 | 0.013468 | 140.4639 | 9.9e+37 | 140.5799 | 0.0087527 | 140.596 | 0.012668 | 140.7121 | 0.01449 | 140.9296 | 0.013173 | 141.0457 | 0.012836 | 141.1617 | 0.014099 | 141.2803 | 0.010595 | 141.3964 | 0.010059 | 141.5125 | 0.010017 | 141.6286 | 0.011444 | 141.7447 | 0.0099831 | 141.9622 | 0.014701 | 142.0782 | 0.0090955 | 142.1943 | 0.012758 | 142.3104 | 2.9116 | 142.4265 | 0.012299 | 142.5426 | 0.01268 | 142.6587 | 0.011397 | 142.7747 | 0.0133 | 142.9922 | 0.0083235 | 143.1083 | 0.01197 | 143.2244 | 0.011505 | 143.3405 | 0.0070636 | 143.4566 | 0.005782 | 143.5727 | 0.0092278 | 143.6887 | 0.0034284 | 143.8048 | -0.0019626 | 144.0223 | 0.0076965 | 144.1383 | -0.0030058 | 144.2544
2.9035 | 146.9995 | 0.010709 | 147.1156 | 0.013177 | 147.2317 | 0.014998 | 147.3478 | 0.013467 | 147.4639 | 9.9e+37 | 147.5799 | 0.0087522 | 147.596 | 0.012667 | 147.7121 | 0.014489 | 147.9296 | 0.013171 | 148.0456 | 0.012834 | 148.1617 | 0.014096 | 148.2778 | 0.010593 | 148.3939 | 0.010057 | 148.51 | 0.010015 | 148.6261 | 0.011442 | 148.7421 | 0.0099814 | 148.9597 | 0.014699 | 149.0758 | 0.0090937 | 149.1918 | 0.012755 | 149.3079 | 2.9117 | 149.424 | 0.012298 | 149.5401 | 0.012678 | 149.6561 | 0.011395 | 149.7722 | 0.013297 | 149.9897 | 0.0083218 | 150.1058 | 0.011968 | 150.2219 | 0.011504 | 150.3379 | 0.0070625 | 150.454 | 0.0057812 | 150.5701 | 0.0092264 | 150.6861 | 0.0034277 | 150.8022 | -0.001963 | 151.0197 | 0.0076955 | 151.1357 | -0.0030063 | 151.2518
2.9036 | 153.9995 | 0.010708 | 154.1156 | 0.013175 | 154.2317 | 0.014997 | 154.3478 | 0.013465 | 154.4639 | 9.9e+37 | 154.58 | 0.0087509 | 154.5961 | 0.012665 | 154.7121 | 0.014487 | 154.9296 | 0.013169 | 155.0457 | 0.012833 | 155.1618 | 0.014093 | 155.2779 | 0.010591 | 155.394 | 0.010056 | 155.51 | 0.010014 | 155.6261 | 0.011441 | 155.7422 | 0.0099807 | 155.9597 | 0.014697 | 156.0757 | 0.0090937 | 156.1918 | 0.012754 | 156.3079 | 2.9117 | 156.4241 | 0.012297 | 156.5402 | 0.012677 | 156.6563 | 0.011394 | 156.7724 | 0.013296 | 156.9898 | 0.0083213 | 157.1059 | 0.011967 | 157.222 | 0.011503 | 157.3381 | 0.007062 | 157.4542 | 0.0057804 | 157.5702 | 0.0092255 | 157.6863 | 0.0034274 | 157.8024 | -0.001963 | 158.0199 | 0.0076951 | 158.136 | -0.003006 | 158.2521
2.9036 | 160.9995 | 0.010706 | 161.1156 | 0.013174 | 161.2317 | 0.014996 | 161.3478 | 0.013464 | 161.4639 | 9.9e+37 | 161.58 | 0.0087502 | 161.5961 | 0.012664 | 161.7122 | 0.014487 | 161.9296 | 0.013169 | 162.0457 | 0.012832 | 162.1618 | 0.014093 | 162.2779 | 0.010591 | 162.394 | 0.010055 | 162.51 | 0.010014 | 162.6261 | 0.01144 | 162.7422 | 0.0099798 | 162.9597 | 0.014696 | 163.0758 | 0.0090926 | 163.1918 | 0.012753 | 163.3079 | 2.9117 | 163.424 | 0.012296 | 163.5401 | 0.012676 | 163.6562 | 0.011393 | 163.7722 | 0.013296 | 163.9898 | 0.008321 | 164.1058 | 0.011967 | 164.2219 | 0.011502 | 164.338 | 0.0070615 | 164.454 | 0.0057801 | 164.5701 | 0.0092251 | 164.6862 | 0.003427 | 164.8022 | -0.0019634 | 165.0669 | 0.0076944 | 165.183 | -0.0030064 | 165.2991
2.9036 | 167.9995 | 0.010706 | 168.1156 | 0.013174 | 168.2317 | 0.014996 | 168.3478 | 0.013464 | 168.4639 | 9.9e+37 | 168.58 | 0.0087502 | 168.5961 | 0.012663 | 168.7122 | 0.014486 | 168.9296 | 0.013168 | 169.0457 | 0.012831 | 169.1618 | 0.014091 | 169.2778 | 0.010589 | 169.3939 | 0.010054 | 169.51 | 0.010012 | 169.6261 | 0.011439 | 169.7422 | 0.0099793 | 169.9597 | 0.014695 | 170.0758 | 0.0090915 | 170.1918 | 0.012752 | 170.3079 | 2.9117 | 170.424 | 0.012295 | 170.5401 | 0.012674 | 170.6561 | 0.011392 | 170.7722 | 0.013294 | 171.0369 | 0.0083202 | 171.153 | 0.011965 | 171.269 | 0.011502 | 171.3851 | 0.0070607 | 171.5012 | 0.0057783 | 171.6173 | 0.0092239 | 171.7334 | 0.0034257 | 171.8495 | -0.0019631 | 172.067 | 0.0076933 | 172.183 | -0.0030063 | 172.2991
2.9036 | 174.9995 | 0.010704 | 175.1156 | 0.013172 | 175.2317 | 0.014993 | 175.3478 | 0.013461 | 175.4639 | 9.9e+37 | 175.5799 | 0.008749 | 175.596 | 0.012662 | 175.7121 | 0.014484 | 175.9296 | 0.013166 | 176.0457 | 0.012828 | 176.1618 | 0.014088 | 176.2778 | 0.010587 | 176.3939 | 0.010053 | 176.51 | 0.010009 | 176.6261 | 0.011437 | 176.7422 | 0.0099777 | 177.0068 | 0.014692 | 177.1229 | 0.0090906 | 177.239 | 0.01275 | 177.3551 | 2.9118 | 177.4712 | 0.012293 | 177.5872 | 0.012671 | 177.7033 | 0.011389 | 177.8194 | 0.013291 | 178.0369 | 0.0083183 | 178.153 | 0.011963 | 178.2691 | 0.011499 | 178.3851 | 0.0070591 | 178.5012 | 0.005777 | 178.6173 | 0.0092217 | 178.7334 | 0.0034245 | 178.8494 | -0.0019639 | 179.0669 | 0.0076918 | 179.183 | -0.0030071 | 179.2991
2.9037 | 181.9995 | 0.010704 | 182.1156 | 0.013172 | 182.2318 | 0.014994 | 182.3478 | 0.013461 | 182.4639 | 9.9e+37 | 182.58 | 0.0087493 | 182.5961 | 0.012661 | 182.7122 | 0.014483 | 182.9768 | 0.013166 | 183.0929 | 0.012827 | 183.209 | 0.014088 | 183.3251 | 0.010587 | 183.4411 | 0.010052 | 183.5572 | 0.010009 | 183.6733 | 0.011436 | 183.7894 | 0.0099775 | 184.0069 | 0.014692 | 184.123 | 0.0090898 | 184.239 | 0.012749 | 184.3551 | 2.9118 | 184.4712 | 0.012293 | 184.5873 | 0.01267 | 184.7034 | 0.011389 | 184.8194 | 0.01329 | 185.0369 | 0.0083173 | 185.153 | 0.011964 | 185.2691 | 0.011499 | 185.3852 | 0.0070588 | 185.5013 | 0.0057769 | 185.6173 | 0.0092221 | 185.7334 | 0.0034245 | 185.8495 | -0.0019639 | 186.067 | 0.0076923 | 186.1831 | -0.0030069 | 186.2991
2.9037 | 188.9995 | 0.010705 | 189.1156 | 0.013173 | 189.2317 | 0.014994 | 189.3478 | 0.013462 | 189.4639 | 9.9e+37 | 189.58 | 0.0087493 | 189.5961 | 0.012662 | 189.7122 | 0.014483 | 189.9297 | 0.013165 | 190.0458 | 0.012827 | 190.1618 | 0.014088 | 190.2779 | 0.010588 | 190.394 | 0.010052 | 190.51 | 0.010009 | 190.6261 | 0.011436 | 190.7422 | 0.0099779 | 190.9597 | 0.014694 | 191.0758 | 0.0090903 | 191.1919 | 0.01275 | 191.308 | 2.9118 | 191.424 | 0.012293 | 191.5401 | 0.012671 | 191.6562 | 0.01139 | 191.7723 | 0.013292 | 191.9898 | 0.0083172 | 192.1059 | 0.011964 | 192.222 | 0.011499 | 192.3381 | 0.007059 | 192.4541 | 0.0057777 | 192.5702 | 0.0092228 | 192.6863 | 0.0034248 | 192.8024 | -0.0019644 | 193.0198 | 0.0076927 | 193.1359 | -0.0030072 | 193.252
2.9037 | 195.9995 | 0.010706 | 196.1156 | 0.013173 | 196.2317 | 0.014995 | 196.3478 | 0.013463 | 196.4639 | 9.9e+37 | 196.58 | 0.0087494 | 196.5961 | 0.012663 | 196.7121 | 0.014483 | 196.9297 | 0.013165 | 197.0458 | 0.012828 | 197.1618 | 0.014089 | 197.2779 | 0.010587 | 197.394 | 0.010053 | 197.51 | 0.01001 | 197.6261 | 0.011437 | 197.7422 | 0.0099784 | 197.9597 | 0.014695 | 198.0757 | 0.0090909 | 198.1918 | 0.012751 | 198.3079 | 2.9118 | 198.424 | 0.012294 | 198.54 | 0.012672 | 198.6561 | 0.011391 | 198.7722 | 0.013292 | 198.9897 | 0.0083178 | 199.1057 | 0.011965 | 199.2218 | 0.0115 | 199.3379 | 0.0070591 | 199.454 | 0.0057785 | 199.5701 | 0.0092231 | 199.6861 | 0.0034249 | 199.8022 | -0.0019643 | 200.0197 | 0.0076928 | 200.1358 | -0.003007 | 200.2519
2.9037 | 202.9995 | 0.010706 | 203.1156 | 0.013173 | 203.2317 | 0.014995 | 203.3478 | 0.013464 | 203.4639 | 9.9e+37 | 203.58 | 0.0087499 | 203.5961 | 0.012663 | 203.7121 | 0.014484 | 203.9296 | 0.013166 | 204.0457 | 0.012828 | 204.1618 | 0.014089 | 204.2778 | 0.010588 | 204.3939 | 0.010054 | 204.51 | 0.010011 | 204.6261 | 0.011438 | 204.7422 | 0.0099793 | 204.9596 | 0.014696 | 205.0757 | 0.0090911 | 205.1918 | 0.012751 | 205.3079 | 2.9118 | 205.4239 | 0.012294 | 205.54 | 0.012672 | 205.6561 | 0.011392 | 205.7722 | 0.013292 | 205.9897 | 0.0083182 | 206.1057 | 0.011964 | 206.2218 | 0.0115 | 206.3379 | 0.0070598 | 206.454 | 0.0057784 | 206.57 | 0.0092233 | 206.6861 | 0.0034251 | 206.8022 | -0.0019644 | 207.0197 | 0.0076929 | 207.1358 | -0.0030067 | 207.2519
2.9037 | 209.9995 | 0.010706 | 210.1156 | 0.013174 | 210.2317 | 0.014996 | 210.3478 | 0.013463 | 210.4639 | 9.9e+37 | 210.5799 | 0.0087503 | 210.596 | 0.012663 | 210.7121 | 0.014484 | 210.9296 | 0.013166 | 211.0457 | 0.012828 | 211.1617 | 0.014089 | 211.2778 | 0.010589 | 211.3939 | 0.010054 | 211.51 | 0.010011 | 211.6261 | 0.011438 | 211.7422 | 0.0099789 | 211.9597 | 0.014696 | 212.0758 | 0.0090913 | 212.1919 | 0.012751 | 212.308 | 2.9118 | 212.4241 | 0.012294 | 212.5401 | 0.012673 | 212.6562 | 0.011392 | 212.7723 | 0.013292 | 212.9898 | 0.0083187 | 213.1058 | 0.011965 | 213.2219 | 0.0115 | 213.338 | 0.0070598 | 213.4541 | 0.0057783 | 213.5702 | 0.0092229 | 213.6862 | 0.0034253 | 213.8023 | -0.0019643 | 214.0198 | 0.0076928 | 214.1359 | -0.0030072 | 214.2519
2.9037 | 216.9995 | 0.010705 | 217.1156 | 0.013173 | 217.2317 | 0.014996 | 217.3478 | 0.013462 | 217.4639 | 9.9e+37 | 217.58 | 0.0087502 | 217.5961 | 0.012663 | 217.7121 | 0.014484 | 217.9296 | 0.013166 | 218.0457 | 0.012829 | 218.1618 | 0.014089 | 218.2779 | 0.010589 | 218.3939 | 0.010054 | 218.51 | 0.010011 | 218.6261 | 0.011437 | 218.7422 | 0.0099794 | 218.9596 | 0.014695 | 219.0757 | 0.0090916 | 219.1918 | 0.012751 | 219.3079 | 2.9118 | 219.4239 | 0.012295 | 219.54 | 0.012673 | 219.6561 | 0.011392 | 219.7722 | 0.013292 | 219.9897 | 0.0083185 | 220.1057 | 0.011965 | 220.2218 | 0.0115 | 220.3379 | 0.0070598 | 220.454 | 0.0057781 | 220.5701 | 0.0092233 | 220.6861 | 0.0034254 | 220.8022 | -0.0019642 | 221.0197 | 0.0076931 | 221.1358 | -0.0030069 | 221.2519
2.9037 | 223.9995 | 0.010705 | 224.1156 | 0.013172 | 224.2317 | 0.014995 | 224.3478 | 0.013462 | 224.4639 | 9.9e+37 | 224.58 | 0.0087496 | 224.596 | 0.012662 | 224.7121 | 0.014484 | 224.9296 | 0.013167 | 225.0457 | 0.012828 | 225.1618 | 0.014089 | 225.2778 | 0.010589 | 225.3939 | 0.010054 | 225.51 | 0.010011 | 225.6261 | 0.011438 | 225.7422 | 0.0099794 | 225.9596 | 0.014696 | 226.0757 | 0.0090919 | 226.1918 | 0.012751 | 226.3079 | 2.9118 | 226.4239 | 0.012295 | 226.54 | 0.012672 | 226.6561 | 0.011392 | 226.7722 | 0.013292 | 226.9897 | 0.0083189 | 227.1058 | 0.011965 | 227.2219 | 0.0115 | 227.338 | 0.0070597 | 227.4541 | 0.0057788 | 227.5701 | 0.0092236 | 227.6862 | 0.0034255 | 227.8023 | -0.001964 | 228.0669 | 0.0076933 | 228.183 | -0.0030069 | 228.2991
2.9037 | 230.9995 | 0.010706 | 231.1156 | 0.013171 | 231.2317 | 0.014994 | 231.3478 | 0.013462 | 231.4639 | 9.9e+37 | 231.5799 | 0.0087483 | 231.596 | 0.012662 | 231.7121 | 0.014484 | 231.9296 | 0.013166 | 232.0457 | 0.012828 | 232.1618 | 0.014089 | 232.2779 | 0.01059 | 232.3939 | 0.010054 | 232.51 | 0.010011 | 232.6261 | 0.011439 | 232.7422 | 0.00998 | 232.9597 | 0.014697 | 233.0758 | 0.0090918 | 233.1918 | 0.012752 | 233.3079 | 2.9118 | 233.424 | 0.012295 | 233.5401 | 0.012672 | 233.6562 | 0.011393 | 233.7722 | 0.013293 | 234.0369 | 0.0083181 | 234.153 | 0.011963 | 234.2691 | 0.0115 | 234.3851 | 0.0070593 | 234.5012 | 0.0057779 | 234.6173 | 0.0092229 | 234.7334 | 0.0034246 | 234.8494 | -0.0019641 | 235.0669 | 0.0076928 | 235.183 | -0.0030068 | 235.2991
2.9037 | 237.9995 | 0.010703 | 238.1156 | 0.013169 | 238.2317 | 0.014991 | 238.3478 | 0.01346 | 238.4639 | 9.9e+37 | 238.5799 | 0.0087452 | 238.596 | 0.012659 | 238.7121 | 0.014483 | 238.9296 | 0.013165 | 239.0457 | 0.012828 | 239.1617 | 0.014087 | 239.2778 | 0.010587 | 239.3939 | 0.010054 | 239.51 | 0.01001 | 239.626 | 0.011437 | 239.7421 | 0.009979 | 240.0068 | 0.014695 | 240.1229 | 0.0090918 | 240.239 | 0.01275 | 240.3551 | 2.9118 | 240.4712 | 0.012293 | 240.5872 | 0.012671 | 240.7033 | 0.011393 | 240.8194 | 0.013292 | 241.0369 | 0.0083161 | 241.1529 | 0.011962 | 241.269 | 0.011498 | 241.3851 | 0.0070584 | 241.5012 | 0.0057768 | 241.6173 | 0.0092223 | 241.7334 | 0.0034239 | 241.8494 | -0.0019642 | 242.067 | 0.007691 | 242.1831 | -0.0030069 | 242.2992
2.9037 | 244.9995 | 0.010696 | 245.1156 | 0.013161 | 245.2317 | 0.014983 | 245.3478 | 0.013453 | 245.4639 | 9.9e+37 | 245.58 | 0.0087394 | 245.5961 | 0.012652 | 245.7122 | 0.014482 | 245.9768 | 0.013164 | 246.0929 | 0.012828 | 246.209 | 0.014086 | 246.3251 | 0.010587 | 246.4411 | 0.010053 | 246.5572 | 0.010009 | 246.6733 | 0.011437 | 246.7894 | 0.0099783 | 247.0069 | 0.014694 | 247.1229 | 0.0090917 | 247.2391 | 0.01275 | 247.3551 | 2.9119 | 247.4712 | 0.012293 | 247.5873 | 0.01267 | 247.7034 | 0.011393 | 247.8195 | 0.013293 | 248.0369 | 0.0083155 | 248.153 | 0.011961 | 248.2691 | 0.011498 | 248.3852 | 0.0070582 | 248.5013 | 0.0057763 | 248.6173 | 0.0092218 | 248.7334 | 0.0034234 | 248.8495 | -0.0019644 | 249.067 | 0.0076904 | 249.183 | -0.0030067 | 249.2991
2.9037 | 251.9995 | 0.010689 | 252.1156 | 0.013153 | 252.2318 | 0.014972 | 252.3478 | 0.013448 | 252.4639 | 9.9e+37 | 252.58 | 0.0087321 | 252.5961 | 0.012645 | 252.7122 | 0.014482 | 252.9296 | 0.013163 | 253.0457 | 0.012828 | 253.1618 | 0.014086 | 253.2779 | 0.010587 | 253.3939 | 0.010053 | 253.51 | 0.010009 | 253.6261 | 0.011436 | 253.7422 | 0.0099781 | 253.9597 | 0.014694 | 254.0758 | 0.009091 | 254.1918 | 0.01275 | 254.3079 | 2.9119 | 254.424 | 0.012294 | 254.5401 | 0.012671 | 254.6562 | 0.011393 | 254.7722 | 0.013293 | 254.9897 | 0.0083161 | 255.1058 | 0.011959 | 255.2219 | 0.011498 | 255.3379 | 0.0070574 | 255.454 | 0.0057758 | 255.5701 | 0.0092215 | 255.6862 | 0.0034237 | 255.8022 | -0.0019649 | 256.0197 | 0.0076905 | 256.1358 | -0.003007 | 256.2518
2.9037 | 258.9995 | 0.010694 | 259.1156 | 0.013158 | 259.2317 | 0.014978 | 259.3478 | 0.013452 | 259.4639 | 9.9e+37 | 259.58 | 0.0087373 | 259.5961 | 0.01265 | 259.7121 | 0.014481 | 259.9296 | 0.013163 | 260.0457 | 0.012827 | 260.1618 | 0.014085 | 260.2779 | 0.010586 | 260.3939 | 0.010054 | 260.51 | 0.01001 | 260.6261 | 0.011436 | 260.7422 | 0.009978 | 260.9597 | 0.014693 | 261.0757 | 0.0090916 | 261.1918 | 0.01275 | 261.3079 | 2.9119 | 261.424 | 0.012294 | 261.54 | 0.012671 | 261.6561 | 0.011392 | 261.7722 | 0.013292 | 261.9897 | 0.0083159 | 262.1058 | 0.011959 | 262.2218 | 0.011497 | 262.338 | 0.0070573 | 262.4541 | 0.005775 | 262.5701 | 0.0092213 | 262.6862 | 0.0034232 | 262.8023 | -0.0019651 | 263.0198 | 0.0076901 | 263.1359 | -0.0030067 | 263.252
2.9037 | 265.9995 | 0.010699 | 266.1156 | 0.013163 | 266.2317 | 0.014983 | 266.3478 | 0.013456 | 266.4639 | 9.9e+37 | 266.5799 | 0.008742 | 266.596 | 0.012654 | 266.7121 | 0.014481 | 266.9296 | 0.013163 | 267.0456 | 0.012826 | 267.1617 | 0.014086 | 267.2778 | 0.010587 | 267.3939 | 0.010054 | 267.51 | 0.010009 | 267.6261 | 0.011435 | 267.7422 | 0.0099782 | 267.9596 | 0.014693 | 268.0757 | 0.0090907 | 268.1918 | 0.012749 | 268.3079 | 2.9118 | 268.424 | 0.012293 | 268.54 | 0.012671 | 268.6561 | 0.011392 | 268.7722 | 0.013291 | 268.9897 | 0.0083152 | 269.1058 | 0.01196 | 269.2219 | 0.011497 | 269.3379 | 0.0070573 | 269.454 | 0.005775 | 269.5701 | 0.0092204 | 269.6862 | 0.0034236 | 269.8023 | -0.0019652 | 270.0198 | 0.0076906 | 270.1358 | -0.0030067 | 270.2519
2.9037 | 272.9995 | 0.010699 | 273.1156 | 0.013164 | 273.2317 | 0.014985 | 273.3478 | 0.013456 | 273.4639 | 9.9e+37 | 273.58 | 0.0087433 | 273.5961 | 0.012654 | 273.7121 | 0.01448 | 273.9296 | 0.013163 | 274.0457 | 0.012827 | 274.1617 | 0.014085 | 274.2778 | 0.010587 | 274.3939 | 0.010053 | 274.51 | 0.010008 | 274.626 | 0.011436 | 274.7421 | 0.0099781 | 274.9596 | 0.014693 | 275.0757 | 0.0090908 | 275.1918 | 0.012749 | 275.3079 | 2.9119 | 275.424 | 0.012293 | 275.54 | 0.01267 | 275.6561 | 0.011391 | 275.7722 | 0.01329 | 275.9897 | 0.0083153 | 276.1058 | 0.011959 | 276.2219 | 0.011497 | 276.338 | 0.0070574 | 276.454 | 0.005775 | 276.5701 | 0.0092205 | 276.6862 | 0.0034237 | 276.8023 | -0.0019654 | 277.0197 | 0.0076905 | 277.1358 | -0.0030069 | 277.2519
2.9037 | 279.9995 | 0.010699 | 280.1156 | 0.013164 | 280.2317 | 0.014986 | 280.3478 | 0.013456 | 280.4639 | 9.9e+37 | 280.58 | 0.0087434 | 280.5961 | 0.012654 | 280.7122 | 0.014481 | 280.9297 | 0.013163 | 281.0458 | 0.012827 | 281.1618 | 0.014085 | 281.2779 | 0.010587 | 281.394 | 0.010053 | 281.5101 | 0.010008 | 281.6262 | 0.011436 | 281.7423 | 0.0099783 | 281.9597 | 0.014693 | 282.0758 | 0.0090904 | 282.1919 | 0.012749 | 282.308 | 2.9118 | 282.4241 | 0.012293 | 282.5402 | 0.01267 | 282.6563 | 0.011391 | 282.7724 | 0.01329 | 282.9898 | 0.0083164 | 283.1059 | 0.011961 | 283.222 | 0.011497 | 283.3381 | 0.007058 | 283.4542 | 0.0057759 | 283.5702 | 0.0092214 | 283.6863 | 0.0034234 | 283.8024 | -0.0019652 | 284.0199 | 0.0076909 | 284.136 | -0.0030072 | 284.2521
2.9037 | 286.9995 | 0.010697 | 287.1156 | 0.013164 | 287.2317 | 0.014984 | 287.3478 | 0.013456 | 287.4639 | 9.9e+37 | 287.58 | 0.0087421 | 287.5961 | 0.012653 | 287.7122 | 0.014482 | 287.9297 | 0.013164 | 288.0457 | 0.012827 | 288.1618 | 0.014086 | 288.2779 | 0.010588 | 288.3939 | 0.010053 | 288.51 | 0.010009 | 288.6261 | 0.011437 | 288.7422 | 0.0099791 | 288.9597 | 0.014694 | 289.0757 | 0.0090909 | 289.1918 | 0.01275 | 289.3079 | 2.9119 | 289.424 | 0.012294 | 289.5401 | 0.012672 | 289.6561 | 0.011392 | 289.7722 | 0.013291 | 289.9897 | 0.0083175 | 290.1058 | 0.011962 | 290.2219 | 0.011498 | 290.338 | 0.0070584 | 290.454 | 0.0057767 | 290.5701 | 0.0092221 | 290.6862 | 0.0034247 | 290.8022 | -0.001965 | 291.0669 | 0.0076918 | 291.183 | -0.003007 | 291.2991
2.9037 | 293.9995 | 0.0107 | 294.1156 | 0.013165 | 294.2317 | 0.014984 | 294.3478 | 0.013457 | 294.4639 | 9.9e+37 | 294.5799 | 0.0087414 | 294.596 | 0.012654 | 294.7121 | 0.014483 | 294.9295 | 0.013166 | 295.0456 | 0.012828 | 295.1617 | 0.014088 | 295.2778 | 0.010589 | 295.3939 | 0.010054 | 295.51 | 0.01001 | 295.626 | 0.011438 | 295.7421 | 0.0099798 | 295.9596 | 0.014696 | 296.0757 | 0.0090917 | 296.1918 | 0.012752 | 296.3079 | 2.9118 | 296.424 | 0.012295 | 296.54 | 0.012673 | 296.6561 | 0.011394 | 296.7722 | 0.013292 | 297.0368 | 0.008318 | 297.1529 | 0.011963 | 297.269 | 0.011498 | 297.385 | 0.0070589 | 297.5011 | 0.0057777 | 297.6173 | 0.009223 | 297.7333 | 0.0034248 | 297.8494 | -0.0019653 | 298.0669 | 0.0076924 | 298.183 | -0.0030072 | 298.2991
2.9037 | 300.9995 | 0.010701 | 301.1156 | 0.013168 | 301.2317 | 0.014987 | 301.3478 | 0.013459 | 301.4639 | 9.9e+37 | 301.5799 | 0.0087439 | 301.596 | 0.012657 | 301.7121 | 0.014484 | 301.9296 | 0.013166 | 302.0457 | 0.012829 | 302.1618 | 0.01409 | 302.2778 | 0.010591 | 302.3939 | 0.010056 | 302.51 | 0.010011 | 302.6262 | 0.011439 | 302.7423 | 0.0099814 | 303.0069 | 0.014698 | 303.123 | 0.0090927 | 303.2391 | 0.012753 | 303.3552 | 2.9119 | 303.4713 | 0.012297 | 303.5874 | 0.012675 | 303.7035 | 0.011395 | 303.8196 | 0.013294 | 304.037 | 0.0083194 | 304.1531 | 0.011964 | 304.2692 | 0.0115 | 304.3852 | 0.0070601 | 304.5013 | 0.0057782 | 304.6174 | 0.0092231 | 304.7335 | 0.0034254 | 304.8495 | -0.0019652 | 305.0671 | 0.0076936 | 305.1831 | -0.0030068 | 305.2992
2.9037 | 307.9995 | 0.010703 | 308.1156 | 0.01317 | 308.2317 | 0.014988 | 308.3478 | 0.01346 | 308.4639 | 9.9e+37 | 308.58 | 0.0087454 | 308.5961 | 0.012659 | 308.7121 | 0.014485 | 308.9768 | 0.013168 | 309.0929 | 0.012831 | 309.209 | 0.014091 | 309.3251 | 0.010592 | 309.4411 | 0.010057 | 309.5572 | 0.010013 | 309.6733 | 0.011441 | 309.7894 | 0.009982 | 310.0069 | 0.014699 | 310.1229 | 0.0090935 | 310.239 | 0.012754 | 310.3551 | 2.9119 | 310.4712 | 0.012297 | 310.5873 | 0.012675 | 310.7034 | 0.011397 | 310.8194 | 0.013296 | 311.0369 | 0.0083198 | 311.153 | 0.011965 | 311.2691 | 0.0115 | 311.3852 | 0.0070604 | 311.5012 | 0.0057789 | 311.6173 | 0.0092236 | 311.7334 | 0.0034261 | 311.8495 | -0.0019647 | 312.067 | 0.007694 | 312.183 | -0.003007 | 312.2991
2.9037 | 314.9995 | 0.010702 | 315.1156 | 0.013169 | 315.2317 | 0.014988 | 315.3478 | 0.01346 | 315.4639 | 9.9e+37 | 315.58 | 0.0087442 | 315.5961 | 0.012658 | 315.7121 | 0.014485 | 315.9296 | 0.013167 | 316.0457 | 0.012832 | 316.1618 | 0.014091 | 316.2779 | 0.010593 | 316.3939 | 0.010058 | 316.51 | 0.010013 | 316.6261 | 0.011441 | 316.7422 | 0.0099825 | 316.9597 | 0.0147 | 317.0757 | 0.0090943 | 317.1918 | 0.012755 | 317.3079 | 2.9118 | 317.424 | 0.012298 | 317.54 | 0.012676 | 317.6561 | 0.011397 | 317.7811 | 0.013297 | 317.9986 | 0.00832 | 318.1147 | 0.011965 | 318.2308 | 0.011501 | 318.3469 | 0.0070615 | 318.463 | 0.0057794 | 318.579 | 0.0092242 | 318.6951 | 0.0034265 | 318.8112 | -0.0019652 | 319.0287 | 0.0076943 | 319.1448 | -0.0030067 | 319.2608
2.9037 | 321.9995 | 0.010701 | 322.1156 | 0.013168 | 322.2317 | 0.014986 | 322.3478 | 0.013459 | 322.4638 | 9.9e+37 | 322.5799 | 0.0087435 | 322.596 | 0.012657 | 322.7121 | 0.014487 | 322.9323 | 0.013168 | 323.0484 | 0.012834 | 323.1645 | 0.014093 | 323.2806 | 0.010594 | 323.3966 | 0.010059 | 323.5127 | 0.010014 | 323.6288 | 0.011442 | 323.7448 | 0.0099834 | 323.9623 | 0.014701 | 324.0784 | 0.0090948 | 324.1945 | 0.012756 | 324.3106 | 2.9119 | 324.4267 | 0.012299 | 324.5427 | 0.012677 | 324.6588 | 0.011398 | 324.7749 | 0.013297 | 324.9924 | 0.0083208 | 325.1085 | 0.011966 | 325.2245 | 0.011501 | 325.3406 | 0.0070619 | 325.4567 | 0.0057803 | 325.5728 | 0.0092247 | 325.6888 | 0.003427 | 325.8049 | -0.0019649 | 326.0224 | 0.0076946 | 326.1385 | -0.0030066 | 326.2546
2.9038 | 328.9995 | 0.010703 | 329.1156 | 0.01317 | 329.2317 | 0.014987 | 329.3478 | 0.013461 | 329.4639 | 9.9e+37 | 329.58 | 0.0087439 | 329.5961 | 0.012658 | 329.7122 | 0.014487 | 329.9296 | 0.01317 | 330.0457 | 0.012835 | 330.1618 | 0.014094 | 330.2779 | 0.010595 | 330.3939 | 0.01006 | 330.51 | 0.010016 | 330.6261 | 0.011443 | 330.7422 | 0.0099841 | 330.9596 | 0.014702 | 331.0757 | 0.0090953 | 331.1918 | 0.012757 | 331.3079 | 2.9119 | 331.424 | 0.0123 | 331.54 | 0.012678 | 331.6561 | 0.011399 | 331.7722 | 0.013298 | 331.9897 | 0.0083224 | 332.1058 | 0.011967 | 332.2219 | 0.011502 | 332.3379 | 0.0070628 | 332.454 | 0.0057813 | 332.5701 | 0.0092259 | 332.6861 | 0.0034277 | 332.8022 | -0.0019646 | 333.0198 | 0.007695 | 333.1358 | -0.0030062 | 333.2519
2.9038 | 335.9995 | 0.010704 | 336.1156 | 0.013171 | 336.2317 | 0.014988 | 336.3478 | 0.013462 | 336.4639 | 9.9e+37 | 336.58 | 0.0087445 | 336.5961 | 0.012659 | 336.7121 | 0.014487 | 336.9296 | 0.01317 | 337.0457 | 0.012835 | 337.1618 | 0.014095 | 337.2778 | 0.010595 | 337.3939 | 0.01006 | 337.51 | 0.010016 | 337.6261 | 0.011444 | 337.7421 | 0.0099847 | 337.9597 | 0.014703 | 338.0758 | 0.0090957 | 338.1918 | 0.012757 | 338.3079 | 2.9119 | 338.424 | 0.0123 | 338.5401 | 0.012679 | 338.6562 | 0.011399 | 338.7723 | 0.013297 | 338.9897 | 0.0083226 | 339.1058 | 0.011968 | 339.2219 | 0.011503 | 339.338 | 0.0070632 | 339.4541 | 0.0057821 | 339.5701 | 0.0092264 | 339.6862 | 0.0034279 | 339.8022 | -0.0019646 | 340.0197 | 0.0076952 | 340.1358 | -0.0030064 | 340.2519
2.9037 | 342.9995 | 0.010705 | 343.1157 | 0.013171 | 343.2318 | 0.014988 | 343.3478 | 0.013462 | 343.4639 | 9.9e+37 | 343.58 | 0.0087454 | 343.5961 | 0.01266 | 343.7121 | 0.014487 | 343.9296 | 0.01317 | 344.0457 | 0.012835 | 344.1618 | 0.014094 | 344.2779 | 0.010596 | 344.3939 | 0.01006 | 344.51 | 0.010016 | 344.6261 | 0.011444 | 344.7422 | 0.0099848 | 344.9597 | 0.014703 | 345.0758 | 0.009096 | 345.1918 | 0.012756 | 345.3079 | 2.9119 | 345.424 | 0.012301 | 345.5401 | 0.012679 | 345.6561 | 0.011399 | 345.7722 | 0.013297 | 345.9897 | 0.0083229 | 346.1058 | 0.011968 | 346.2219 | 0.011503 | 346.3379 | 0.0070626 | 346.454 | 0.0057822 | 346.5701 | 0.0092265 | 346.6862 | 0.0034277 | 346.8022 | -0.0019642 | 347.0197 | 0.0076955 | 347.1358 | -0.0030058 | 347.2519