## DMM Config
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} | DMM Config: Configure DMM Channels | [14 empty] | A Greater Measure of Confidence
{ED8FAA30-47AE-11d4-9DBA-00A0C9050977}
4
Task: Configure Scanning DMM Channels
Task |  |  | Name |  | DMM Config
Description
|  |  | Created By |  | meten
|  |  | Company |  | TU Delft
|  |  | Date Created |  | 2013-09-17
|  |  | Date Modified |  | 2013-09-17
|  |  | Status/Cmds |  | Task stopped successfully
Instrument |  |  | Device |  | MODEL_2701_at_TCPIP_10.0.0.10
|  |  | Model |  | M2701
Password
|  |  | Slot 1 Module |  | M7708*
|  |  | Slot 2 Module |  | M7708*
Slot 3 Module
Slot 4 Module
Slot 5 Module
|  |  | Front Panel Lockout |  | On
Setup |  |  | Line Sync |  | Off
|  |  | Autozero |  | On
|  |  | Display Digits |  | 6½
|  |  | DCV Input Divider |  | Off
|  |  | Open TC Detection |  | Off
|  |  | Temp Scale |  | °C
Limits |  |  | Digital Outputs |  | Off
|  |  | Pulse Output |  | Off
|  |  | Polarity |  | High
|  |  | Duration |  | 1 |  |  |  |  | sec
|  |  | Master Latch |  | Off
Channel Scan List
Channel |  |  | Measurement |  | Scaling |  |  |  |  | Alarm Limits | [5 empty] | Rep Filter |  | Sampling |  | Options
Enb | List | Tag | Function | Range | Rel | Math | m/ref | b | U | En1 | Hi1 | Lo1 | En2 | Hi2 | Lo2 | Enb | Count | Rate | AC BW | Opt 1 | Opt 2 | Opt 3 | Opt 4
On | 201 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 202-220 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 221 |  | DCV | 10 V | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
On | 222-235 |  | DCV | 100 mV | Off | None |  |  |  | Off |  |  | Off |  |  | Off |  | SLOW |  | Volts
Note on D1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task configures channels on a scanning DMM and also serves as a channel scan list for a DMM Scan task.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on D5: Enter a brief name for this task.
Note on D6: Enter any additional comments for this task.
Note on D7: Enter the name of the person who created this task.
Note on D8: Enter the name of the comany that created this task.
Note on D9: Date that you first created this task.
Note on D10: Date that you last modified this task.
Note on D11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the hardware instrument for this task.
Note on D12: Select an instrument device for this task.
Note on D13: Enter the model of the instrument.
Note on D14: Enter the password to unlock the instrument (for 2701 only).
Note on D15: Select the module installed in this slot.
Note on D16: Select the module installed in this slot.
Note on D17: Select the module installed in this slot.
Note on D18: Select the module installed in this slot.
Note on D19: Select the module installed in this slot.
Note on D20: Select to enable or disable the front panel key lockout
Note on A21: Setup how ExceLINX will configure the global options for this instrument.
Note on D21: Select to enable or disable synchronizing measurements with power line zero crossings.
Note on D22: Select to enable or disable autozeroing of measurements.
Note on D23: Select number of display digits on instrument front panel, or disable the display by selecting 'None'.
Note on D24: Enable or disable the DCV input divider by selecting "On" or "Off".
Note on D25: Enable or disable open thermocouple detection by selecting "On" or "Off".
Note on D26: Select temperature scale that the instrument will use for reporting temperature measurements.
Note on A27: Setup how ExceLINX will configure alarm limit options for this instrument.
Note on D27: Select to enable or disable limit reporting on digital outputs.
Note on D28: Select to enable or disable digital pulse output on limit failure.
Note on D29: Select logic level for limit failures on digital outputs.
Note on D30: Enter pulse duration when Pulse Output is On.
Note on K30: Select time units for Limits Duration.
Note on D31: Select to enable or disable master limit latching on limit failure.
Note on A33: Enter the configuration and scan sequence for channels the instrument will acquire.
Note on A34: Configure groups of channels for a scan list.
Note on D34: Select measurement function and range for this group of channels.
Note on F34: Select scaling options for this measurement group.
Note on K34: Set alarm limits for this channel group.
Note on Q34: Select filtering options for this channel group.
Note on S34: Select A/D conversion options for this channel group.
Note on U34: Select from available options for this measurement function.
Note on A35: Enable or disable the channel(s) in this row by selecting "On" or "Off". Select value for this cell in a blank row to auto fill-in defaults for other cells in the row.
Note on B35: Enter the channel(s) to configure as a single channel (101), consecutive range (101-109), or list of single channels and ranges (101-109,201,215). Use channel 1 for front panel inputs.
Note on C35: Enter optional channel name for this channel group.
Note on D35: Select measurement function for channel(s).
Note on E35: Select input range, transducer type, or input mode for selected measurement function.
Note on F35: Enter a relative value to subtract from all measurements for channel(s).
Note on G35: Select linear, percent, or no scaling for measurement channel(s).
Note on H35: Enter value for slope of linear scaling or value for percent deviation.
Note on I35: Enter offset value for linear scaling.
Note on J35: Enter letter or symbol to display on instrument front panel as linear scaling units designator.
Note on K35: Enable or disable alarm 1 for channel(s) in this row.
Note on L35: Enter high value for limit range 1.
Note on M35: Enter low value for limit range 1.
Note on N35: Enable or disable alarm 2 for channel(s) in this row.
Note on O35: Enter high value for limit range 2.
Note on P35: Enter low value for limit range 2.
Note on Q35: Enable or disable filtering of the channel(s) in this row by selecting "On" or "Off".
Note on R35: Enter number of measurements to average. Allowed values range from 1 to 100.
Note on S35: Select an integration time or enter a value in PLC units from 0.01 to 50 or 60 depending on power line frequency.
Note on T35: For AC measurements, enter low frequency bandwidth cutoff from 3 to 300 kHz.

## DMM Scan
{AE70A6D1-4E9B-11d4-9DBD-00A0C9050977} |  |  |  | A Greater Measure of Confidence
{ED8FAA31-47AE-11d4-9DBA-00A0C9050977} | DMM Scan: Scan DMM channels
2
Task: Scan DMM Channels
Task | Name | DMM Scan
Description
| Created By | meten
| Company | TU Delft
| Date Created | 2013-09-17
| Date Modified | 2013-09-17
| Status/Cmds | Task stopped successfully
Configuration | Worksheet | DMM Config
Trigger | Model | Scan
| Source | Timer
| Delay | 0 | sec
| Reading Count | 100000
| Timer | 7 | sec
| Monitor | None
| Monitor Limits | H1
Data Location | Worksheet | Sheet1
| Starting Col | A
| Starting Row | 1
| Organize By | Rows
| Autoincrement | Extend existing table
| Auto Wrap | On
Log File
| Format | Delimited text (comma)
Data Display | Add Channel Tags | Yes
| Add Channels | Yes
| Add Units | Yes
| Scroll Display | No
| Limits | None
| Timestamp | Relative
| Update Interval | 5 | sec
Task Data
Note on B1: ExceLINX™ for Instruments Copyright © 2000, Keithley Instruments, Inc. All Rights Reserved.
Note on A4: This task scans a list of instrument channels and saves the measurement values in a worksheet and log file.
Note on A5: Enter descriptive information for this ExceLINX task.
Note on B5: Enter a brief name for this task.
Note on B6: Enter any additional comments for this task.
Note on B7: Enter the name of the person who created this task.
Note on B8: Enter the name of the comany that created this task.
Note on B9: Date that you first created this task.
Note on B10: Date that you last modified this task.
Note on B11: Cell value shows task status. Select cell to choose an ExceLINX task command from the drop-down list.
Note on A12: Select the channel scan list ExceLINX will use to configure the instrument for this task.
Note on B12: Select a Configure Scanning DMM Channels worksheet to use as the channel scan list for this task.
Note on A13: Setup how ExceLINX will trigger and pace scans for this task.
Note on B13: Select type of scan trigger model.
Note on B14: Select type of trigger event.
Note on B15: Select auto or manual delay before acquiring next measurement.
Note on D15: Select the units of time for Delay value.
Note on B16: Select number of triggers to acquire: samples for Step mode or scans for Scan mode.
Note on B17: Enter trigger interval timer if using Trigger Source = Timer.
Note on D17: Select the units of time for Timer value.
Note on B18: Select channel to assign as a monitor channel for analog triggering.
Note on B19: Select limits to test on monitor channel to start a scan.
Note on A20: Select where and how ExceLINX will save data for this task.
Note on B20: Select the worksheet where ExceLINX will store the task data.
Note on B21: Enter the starting column for the task data.
Note on B22: Enter the starting row for the task data.
Note on B23: Select whether to organize scans of task data by rows or columns.
Note on B24: Select if ExceLINX should overwrite, extend, or create more task data tables for new scans.
Note on B25: Select whether ExceLINX automatically overwrites a previously acquired data table with new data.
Note on B26: Enter name of data file where ExceLINX should save data. Blank disables data logging.
Note on B27: Select log file data format.
Note on A28: Select how ExceLINX should format data for this task.
Note on B28: Select "Yes" if ExceLINX should label data with user-defined channel tags.
Note on B29: Select "Yes" if ExceLINX should label data with channel numbers.
Note on B30: Select "Yes" if ExceLINX should label data with measurement units.
Note on B31: Select "Yes" if ExceLINX should automatically display cells with the most recent data.
Note on B32: Enter how ExceLINX should display results of limits testing.
Note on B33: Select timestamp format for measurements.
Note on B34: Select time interval for reading Task Data from instrument.
Note on D34: Select the units of time for Update Interval.
Note on A36: Default location to store task data. Change the location using the "Data Location" form.

## Sheet1
Chn 201 | Time | Chn 202 | Time | Chn 203 | Time | Chn 204 | Time | Chn 205 | Time | Chn 206 | Time | Chn 207 | Time | Chn 208 | Time | Chn 209 | Time | Chn 210 | Time | Chn 211 | Time | Chn 212 | Time | Chn 213 | Time | Chn 214 | Time | Chn 215 | Time | Chn 216 | Time | Chn 217 | Time | Chn 218 | Time | Chn 219 | Time | Chn 220 | Time | Chn 221 | Time | Chn 222 | Time | Chn 223 | Time | Chn 224 | Time | Chn 225 | Time | Chn 226 | Time | Chn 227 | Time | Chn 228 | Time | Chn 229 | Time | Chn 230 | Time | Chn 231 | Time | Chn 232 | Time | Chn 233 | Time | Chn 234 | Time | Chn 235 | Time
VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec | VDC | sec
2.9116 | 0 | 0.010798 | 0.11614 | 0.013164 | 0.23224 | 0.015069 | 0.34831 | 0.013521 | 0.4644 | 0.012293 | 0.58047 | 0.0086282 | 0.69656 | 0.012791 | 0.81263 | 0.014184 | 1.0301 | 0.012739 | 1.1462 | 0.012804 | 1.2622 | 0.013805 | 1.3783 | 0.011778 | 1.4944 | 0.010295 | 1.6105 | 0.010901 | 1.7266 | 0.012635 | 1.8427 | 0.0095516 | 2.0602 | 0.01451 | 2.1763 | 0.0087872 | 2.2923 | 0.013011 | 2.4084 | 2.9207 | 2.5244 | 0.012293 | 2.6405 | 0.01365 | 2.7566 | 0.011142 | 2.8727 | 0.012655 | 3.0901 | 0.0083032 | 3.2062 | 0.011955 | 3.3223 | 0.011363 | 3.4383 | 0.0072317 | 3.5544 | 0.0093112 | 3.6705 | 0.0087059 | 3.7866 | 0.0078215 | 3.9026 | 0.00094848 | 4.1201 | 0.007501 | 4.2362 | -0.0003995 | 4.3522
2.9116 | 6.999 | 0.010796 | 7.1151 | 0.013161 | 7.2312 | 0.015067 | 7.3473 | 0.01352 | 7.4634 | 0.012291 | 7.5794 | 0.0086274 | 7.6955 | 0.012789 | 7.8116 | 0.01418 | 8.029 | 0.012734 | 8.1451 | 0.0128 | 8.2612 | 0.013801 | 8.3773 | 0.011771 | 8.4934 | 0.010289 | 8.6094 | 0.010894 | 8.7255 | 0.012629 | 8.8416 | 0.009548 | 9.0591 | 0.014503 | 9.1752 | 0.0087831 | 9.2912 | 0.013004 | 9.4073 | 2.9207 | 9.5234 | 0.012288 | 9.6395 | 0.013647 | 9.7556 | 0.011135 | 9.8717 | 0.012647 | 10.0891 | 0.0082999 | 10.2053 | 0.011952 | 10.3213 | 0.011359 | 10.4374 | 0.0072288 | 10.5535 | 0.0093077 | 10.6695 | 0.0087042 | 10.7856 | 0.0078181 | 10.9017 | 0.00094844 | 11.1192 | 0.0074972 | 11.2352 | -0.00040009 | 11.3513
2.9116 | 13.999 | 0.010796 | 14.1151 | 0.013162 | 14.2312 | 0.015068 | 14.3473 | 0.01352 | 14.4634 | 0.012292 | 14.5795 | 0.0086276 | 14.6955 | 0.01279 | 14.8116 | 0.014177 | 15.0291 | 0.012731 | 15.1452 | 0.012798 | 15.2613 | 0.013799 | 15.3774 | 0.011768 | 15.4934 | 0.010282 | 15.6095 | 0.010888 | 15.7256 | 0.012623 | 15.8417 | 0.0095431 | 16.0592 | 0.014496 | 16.1753 | 0.0087783 | 16.2914 | 0.012996 | 16.4074 | 2.9207 | 16.5235 | 0.012283 | 16.6396 | 0.01364 | 16.7557 | 0.011134 | 16.8717 | 0.012646 | 17.0892 | 0.008298 | 17.2053 | 0.01195 | 17.3214 | 0.011358 | 17.4375 | 0.007227 | 17.5535 | 0.0093053 | 17.6696 | 0.0087025 | 17.7857 | 0.0078176 | 17.9017 | 0.00094847 | 18.1192 | 0.0074962 | 18.2353 | -0.00040019 | 18.3514
2.9115 | 20.999 | 0.010796 | 21.1151 | 0.01316 | 21.2312 | 0.015067 | 21.3473 | 0.013519 | 21.4634 | 0.01229 | 21.5795 | 0.0086277 | 21.6956 | 0.012789 | 21.8117 | 0.014172 | 22.0291 | 0.012728 | 22.1452 | 0.012791 | 22.2613 | 0.013792 | 22.3773 | 0.011762 | 22.4934 | 0.010276 | 22.6095 | 0.010883 | 22.7255 | 0.012616 | 22.8416 | 0.009538 | 23.0591 | 0.01449 | 23.1752 | 0.0087751 | 23.2913 | 0.012991 | 23.4074 | 2.9207 | 23.5235 | 0.012278 | 23.6395 | 0.01363 | 23.7556 | 0.011134 | 23.8717 | 0.012645 | 24.0892 | 0.0082967 | 24.2052 | 0.011945 | 24.3213 | 0.011353 | 24.4374 | 0.0072244 | 24.5535 | 0.0093043 | 24.6696 | 0.0087015 | 24.7856 | 0.0078159 | 24.9017 | 0.00094782 | 25.1192 | 0.0074925 | 25.2352 | -0.00040031 | 25.3513
2.9116 | 27.999 | 0.010799 | 28.1151 | 0.013163 | 28.2312 | 0.01507 | 28.3473 | 0.013523 | 28.4634 | 0.012293 | 28.5794 | 0.008629 | 28.6955 | 0.012793 | 28.8116 | 0.014181 | 29.0291 | 0.012736 | 29.1452 | 0.012798 | 29.2612 | 0.0138 | 29.3773 | 0.011774 | 29.4934 | 0.010288 | 29.6095 | 0.010895 | 29.7256 | 0.012628 | 29.8416 | 0.0095464 | 30.0591 | 0.014504 | 30.1752 | 0.008784 | 30.2916 | 0.013005 | 30.4077 | 2.9207 | 30.5237 | 0.012288 | 30.6398 | 0.01364 | 30.7559 | 0.011139 | 30.8719 | 0.01265 | 31.0894 | 0.0083031 | 31.2055 | 0.011954 | 31.3216 | 0.011363 | 31.4376 | 0.0072318 | 31.5537 | 0.0093108 | 31.6698 | 0.0087052 | 31.7859 | 0.0078229 | 31.9019 | 0.00094806 | 32.1194 | 0.0075033 | 32.2355 | -0.00039983 | 32.3516
2.9115 | 34.999 | 0.010802 | 35.1151 | 0.013168 | 35.2312 | 0.015073 | 35.3552 | 0.013525 | 35.4712 | 0.012297 | 35.5873 | 0.0086322 | 35.7034 | 0.012795 | 35.8195 | 0.014182 | 36.0369 | 0.012737 | 36.153 | 0.012802 | 36.2691 | 0.013803 | 36.3852 | 0.011775 | 36.5012 | 0.010291 | 36.6173 | 0.010898 | 36.7334 | 0.012629 | 36.8495 | 0.0095477 | 37.067 | 0.014506 | 37.183 | 0.0087838 | 37.2991 | 0.013006 | 37.4152 | 2.9207 | 37.5313 | 0.012287 | 37.6474 | 0.01364 | 37.7634 | 0.011142 | 37.8795 | 0.012654 | 38.097 | 0.0083004 | 38.2131 | 0.011955 | 38.3292 | 0.011363 | 38.4452 | 0.007232 | 38.5613 | 0.009311 | 38.6774 | 0.0087063 | 38.7935 | 0.0078217 | 38.9096 | 0.00094782 | 39.127 | 0.0075013 | 39.2431 | -0.00039934 | 39.3592
2.9115 | 41.999 | 0.0108 | 42.1151 | 0.013166 | 42.2312 | 0.015072 | 42.3473 | 0.013524 | 42.4633 | 0.012296 | 42.5794 | 0.0086307 | 42.6955 | 0.012794 | 42.8116 | 0.014179 | 43.029 | 0.012733 | 43.1451 | 0.0128 | 43.2612 | 0.013801 | 43.3773 | 0.01177 | 43.4933 | 0.010288 | 43.6094 | 0.010894 | 43.7255 | 0.012624 | 43.8416 | 0.009544 | 44.0591 | 0.014499 | 44.1752 | 0.0087799 | 44.2913 | 0.012999 | 44.4073 | 2.9207 | 44.5234 | 0.012284 | 44.6395 | 0.013635 | 44.7556 | 0.011141 | 44.8716 | 0.012654 | 45.0891 | 0.0082981 | 45.2052 | 0.011953 | 45.3213 | 0.011361 | 45.4375 | 0.007231 | 45.5536 | 0.0093101 | 45.6697 | 0.0087056 | 45.7857 | 0.0078209 | 45.9018 | 0.00094845 | 46.1193 | 0.0075 | 46.2354 | -0.00039916 | 46.3515
2.9115 | 48.999 | 0.010799 | 49.1151 | 0.013164 | 49.2312 | 0.01507 | 49.3473 | 0.013522 | 49.4633 | 0.012293 | 49.5794 | 0.0086284 | 49.6955 | 0.012792 | 49.8116 | 0.014174 | 50.0291 | 0.01273 | 50.1451 | 0.012791 | 50.2612 | 0.013792 | 50.3773 | 0.011764 | 50.4936 | 0.010284 | 50.6097 | 0.010891 | 50.7258 | 0.012622 | 50.8419 | 0.0095419 | 51.0594 | 0.014496 | 51.1755 | 0.0087781 | 51.2915 | 0.012996 | 51.4076 | 2.9207 | 51.5237 | 0.012281 | 51.6398 | 0.013631 | 51.7559 | 0.011137 | 51.8719 | 0.01265 | 52.0894 | 0.0082982 | 52.2055 | 0.01195 | 52.3216 | 0.011359 | 52.4376 | 0.0072285 | 52.5537 | 0.0093074 | 52.6698 | 0.0087048 | 52.7859 | 0.0078193 | 52.902 | 0.0009485 | 53.1194 | 0.0074984 | 53.2355 | -0.00039964 | 53.3516
2.9115 | 55.999 | 0.010801 | 56.1151 | 0.013167 | 56.2312 | 0.015072 | 56.3473 | 0.013525 | 56.4634 | 0.012296 | 56.5795 | 0.0086311 | 56.6955 | 0.012794 | 56.8116 | 0.01418 | 57.0291 | 0.012735 | 57.1452 | 0.012794 | 57.2613 | 0.013796 | 57.3773 | 0.011772 | 57.4934 | 0.010287 | 57.6095 | 0.010895 | 57.7255 | 0.012627 | 57.8416 | 0.0095464 | 58.0591 | 0.014503 | 58.1752 | 0.0087827 | 58.2913 | 0.013002 | 58.4073 | 2.9206 | 58.5234 | 0.012286 | 58.6395 | 0.013635 | 58.7556 | 0.011139 | 58.8717 | 0.012651 | 59.0891 | 0.0083019 | 59.2052 | 0.011953 | 59.3213 | 0.011363 | 59.4373 | 0.0072317 | 59.5534 | 0.0093106 | 59.6695 | 0.0087054 | 59.7856 | 0.007822 | 59.9016 | 0.00094866 | 60.1191 | 0.0075012 | 60.2352 | -0.00039958 | 60.3513
2.9115 | 62.999 | 0.010802 | 63.1151 | 0.013169 | 63.2312 | 0.015073 | 63.3473 | 0.013525 | 63.4634 | 0.012298 | 63.5795 | 0.0086327 | 63.6955 | 0.012795 | 63.8116 | 0.014177 | 64.0291 | 0.012732 | 64.1452 | 0.012794 | 64.2613 | 0.013795 | 64.3773 | 0.011767 | 64.4934 | 0.010285 | 64.6095 | 0.010892 | 64.7256 | 0.012625 | 64.8416 | 0.0095444 | 65.0591 | 0.014499 | 65.1752 | 0.0087802 | 65.2913 | 0.013 | 65.4074 | 2.9206 | 65.5234 | 0.012284 | 65.6396 | 0.013632 | 65.7557 | 0.011135 | 65.8718 | 0.012648 | 66.0893 | 0.0082996 | 66.2054 | 0.011952 | 66.3215 | 0.01136 | 66.4375 | 0.0072292 | 66.5536 | 0.0093085 | 66.6697 | 0.0087031 | 66.7858 | 0.007819 | 66.9018 | 0.00094801 | 67.1193 | 0.007498 | 67.2353 | -0.00040038 | 67.3514
2.9115 | 69.999 | 0.0108 | 70.1151 | 0.013167 | 70.2312 | 0.015072 | 70.3473 | 0.013524 | 70.4634 | 0.012295 | 70.5794 | 0.0086309 | 70.6957 | 0.012792 | 70.8118 | 0.014176 | 71.0293 | 0.01273 | 71.1454 | 0.012791 | 71.2615 | 0.013792 | 71.3775 | 0.011764 | 71.4936 | 0.010282 | 71.6097 | 0.010889 | 71.7258 | 0.012621 | 71.8419 | 0.0095415 | 72.0594 | 0.014494 | 72.1754 | 0.0087766 | 72.2915 | 0.012996 | 72.4076 | 2.9207 | 72.5237 | 0.012279 | 72.6398 | 0.013628 | 72.7559 | 0.011135 | 72.8719 | 0.012648 | 73.0894 | 0.0082948 | 73.2055 | 0.011948 | 73.3216 | 0.011357 | 73.4376 | 0.0072264 | 73.5537 | 0.0093061 | 73.6698 | 0.0087008 | 73.7859 | 0.007816 | 73.9019 | 0.00094772 | 74.1194 | 0.0074945 | 74.2355 | -0.00039999 | 74.3516
2.9115 | 76.999 | 0.010796 | 77.1151 | 0.013161 | 77.2312 | 0.015069 | 77.3473 | 0.013521 | 77.4634 | 0.012292 | 77.5794 | 0.0086277 | 77.6955 | 0.01279 | 77.8116 | 0.014172 | 78.0291 | 0.012728 | 78.1451 | 0.012787 | 78.2612 | 0.01379 | 78.3773 | 0.01176 | 78.4934 | 0.010279 | 78.6094 | 0.010886 | 78.7255 | 0.012617 | 78.8416 | 0.009537 | 79.0591 | 0.01449 | 79.1752 | 0.0087733 | 79.2912 | 0.01299 | 79.4073 | 2.9207 | 79.5234 | 0.012275 | 79.6394 | 0.013625 | 79.7555 | 0.011137 | 79.8716 | 0.01265 | 80.0891 | 0.0082926 | 80.2051 | 0.011944 | 80.3212 | 0.011352 | 80.4373 | 0.0072236 | 80.5533 | 0.0093033 | 80.6694 | 0.0086989 | 80.7856 | 0.007814 | 80.9017 | 0.00094648 | 81.1192 | 0.0074913 | 81.2353 | -0.00040016 | 81.3514
2.9116 | 83.999 | 0.010793 | 84.1151 | 0.013158 | 84.2312 | 0.015065 | 84.3473 | 0.013518 | 84.4634 | 0.012287 | 84.5794 | 0.0086238 | 84.6955 | 0.012787 | 84.8116 | 0.014173 | 85.0291 | 0.012729 | 85.1451 | 0.012788 | 85.2612 | 0.013791 | 85.3773 | 0.011762 | 85.4934 | 0.010279 | 85.6094 | 0.010885 | 85.7255 | 0.012614 | 85.8417 | 0.009537 | 86.0592 | 0.01449 | 86.1753 | 0.0087739 | 86.2914 | 0.01299 | 86.4074 | 2.9207 | 86.5235 | 0.012278 | 86.6396 | 0.013627 | 86.7557 | 0.011136 | 86.8718 | 0.01265 | 87.0892 | 0.0082938 | 87.2053 | 0.011944 | 87.3214 | 0.011352 | 87.4375 | 0.0072227 | 87.5536 | 0.0093022 | 87.6697 | 0.0086984 | 87.7858 | 0.0078142 | 87.9019 | 0.00094674 | 88.1193 | 0.0074916 | 88.2354 | -0.00040084 | 88.3515
2.9115 | 90.999 | 0.010799 | 91.1151 | 0.013166 | 91.2312 | 0.015072 | 91.3473 | 0.013523 | 91.4634 | 0.012296 | 91.5795 | 0.0086301 | 91.6956 | 0.012793 | 91.8116 | 0.014172 | 92.0291 | 0.012728 | 92.1452 | 0.012789 | 92.2613 | 0.013791 | 92.3774 | 0.011763 | 92.4934 | 0.01028 | 92.6095 | 0.010886 | 92.7256 | 0.012616 | 92.8417 | 0.0095382 | 93.0592 | 0.014491 | 93.1753 | 0.0087754 | 93.2913 | 0.012991 | 93.4074 | 2.9207 | 93.5235 | 0.012277 | 93.6396 | 0.013629 | 93.7557 | 0.011135 | 93.8717 | 0.012648 | 94.0892 | 0.0082942 | 94.2053 | 0.011946 | 94.3214 | 0.011354 | 94.4375 | 0.0072242 | 94.5536 | 0.009303 | 94.6696 | 0.0086994 | 94.7857 | 0.0078147 | 94.9018 | 0.000946 | 95.1193 | 0.0074943 | 95.2354 | -0.00040068 | 95.3514
2.9115 | 97.999 | 0.0108 | 98.1151 | 0.013166 | 98.2312 | 0.015072 | 98.3473 | 0.013524 | 98.4634 | 0.012296 | 98.5795 | 0.0086308 | 98.6956 | 0.012794 | 98.8116 | 0.014172 | 99.0291 | 0.012729 | 99.1452 | 0.012789 | 99.2613 | 0.013792 | 99.3773 | 0.011765 | 99.4934 | 0.010281 | 99.6095 | 0.010889 | 99.7256 | 0.012617 | 99.8416 | 0.0095397 | 100.0592 | 0.014494 | 100.1753 | 0.0087774 | 100.2913 | 0.012994 | 100.4074 | 2.9206 | 100.5235 | 0.01228 | 100.6395 | 0.013628 | 100.7556 | 0.011135 | 100.8717 | 0.012648 | 101.0892 | 0.0082955 | 101.2053 | 0.011944 | 101.3214 | 0.011353 | 101.4375 | 0.0072244 | 101.5535 | 0.0093027 | 101.6696 | 0.0086996 | 101.7857 | 0.0078152 | 101.9018 | 0.00094688 | 102.1193 | 0.0074942 | 102.2354 | -0.00040094 | 102.3514
2.9115 | 104.999 | 0.010801 | 105.1151 | 0.013167 | 105.2312 | 0.015072 | 105.3473 | 0.013525 | 105.4633 | 0.012294 | 105.5794 | 0.0086307 | 105.6955 | 0.012794 | 105.8116 | 0.014177 | 106.0292 | 0.012732 | 106.1453 | 0.012791 | 106.2613 | 0.013792 | 106.3774 | 0.011769 | 106.4935 | 0.010283 | 106.6096 | 0.010891 | 106.7257 | 0.012624 | 106.8418 | 0.0095442 | 107.0593 | 0.014499 | 107.1754 | 0.0087815 | 107.2915 | 0.013001 | 107.4076 | 2.9206 | 107.5236 | 0.012285 | 107.6397 | 0.013633 | 107.7558 | 0.011135 | 107.8719 | 0.012647 | 108.0893 | 0.0083005 | 108.2054 | 0.01195 | 108.3215 | 0.011359 | 108.4376 | 0.0072298 | 108.5537 | 0.0093082 | 108.6697 | 0.0087034 | 108.7858 | 0.0078202 | 108.9019 | 0.0009476 | 109.1194 | 0.0075005 | 109.2354 | -0.00040012 | 109.3515
2.9115 | 111.999 | 0.010801 | 112.1151 | 0.013167 | 112.2312 | 0.015073 | 112.3473 | 0.013525 | 112.4634 | 0.012295 | 112.5795 | 0.0086316 | 112.6955 | 0.012795 | 112.8116 | 0.014182 | 113.0291 | 0.012737 | 113.1451 | 0.012801 | 113.2612 | 0.013802 | 113.3773 | 0.011777 | 113.4934 | 0.01029 | 113.6095 | 0.010898 | 113.7255 | 0.012629 | 113.8416 | 0.0095492 | 114.0591 | 0.014506 | 114.1752 | 0.0087856 | 114.2913 | 0.013007 | 114.4074 | 2.9206 | 114.5235 | 0.01229 | 114.6395 | 0.013642 | 114.7556 | 0.01114 | 114.8717 | 0.012651 | 115.0892 | 0.0083034 | 115.2053 | 0.011955 | 115.3214 | 0.011364 | 115.4374 | 0.0072338 | 115.5535 | 0.0093115 | 115.6696 | 0.0087067 | 115.7857 | 0.0078235 | 115.9018 | 0.00094809 | 116.1193 | 0.0075039 | 116.2355 | -0.00039971 | 116.3516
2.9115 | 118.999 | 0.010803 | 119.1151 | 0.013168 | 119.2312 | 0.015074 | 119.3473 | 0.013526 | 119.4633 | 0.012297 | 119.5794 | 0.0086324 | 119.6955 | 0.012795 | 119.8116 | 0.014179 | 120.029 | 0.012733 | 120.1451 | 0.012799 | 120.2612 | 0.0138 | 120.3773 | 0.011772 | 120.4933 | 0.010289 | 120.6094 | 0.010896 | 120.7255 | 0.012626 | 120.8416 | 0.0095457 | 121.0591 | 0.014501 | 121.1753 | 0.0087807 | 121.2914 | 0.013002 | 121.4075 | 2.9206 | 121.5236 | 0.012284 | 121.6396 | 0.013634 | 121.7557 | 0.011129 | 121.8718 | 0.012642 | 122.0893 | 0.0082984 | 122.2053 | 0.011952 | 122.3214 | 0.011359 | 122.4375 | 0.0072294 | 122.5536 | 0.0093074 | 122.6696 | 0.0087048 | 122.7857 | 0.0078192 | 122.9018 | 0.00094806 | 123.1193 | 0.0074987 | 123.2354 | -0.00039992 | 123.3515
2.9115 | 125.999 | 0.010794 | 126.1151 | 0.013163 | 126.2313 | 0.015065 | 126.3474 | 0.013518 | 126.4635 | 0.012289 | 126.5796 | 0.008626 | 126.6957 | 0.012785 | 126.8117 | 0.014175 | 127.0292 | 0.01273 | 127.1453 | 0.012795 | 127.2614 | 0.013797 | 127.3774 | 0.011768 | 127.4935 | 0.010284 | 127.6096 | 0.010891 | 127.7257 | 0.012622 | 127.8418 | 0.0095412 | 128.0593 | 0.014494 | 128.1754 | 0.0087766 | 128.2914 | 0.012996 | 128.4075 | 2.9206 | 128.5236 | 0.01228 | 128.6397 | 0.013633 | 128.7557 | 0.01113 | 128.8718 | 0.012643 | 129.0893 | 0.008295 | 129.2054 | 0.01195 | 129.3214 | 0.011357 | 129.4375 | 0.0072276 | 129.5536 | 0.0093065 | 129.6696 | 0.0087021 | 129.7857 | 0.0078179 | 129.9018 | 0.00094673 | 130.1192 | 0.0074961 | 130.2353 | -0.00040058 | 130.3514
2.9115 | 132.999 | 0.010789 | 133.1151 | 0.013151 | 133.2312 | 0.01506 | 133.3473 | 0.013514 | 133.4634 | 0.012278 | 133.5794 | 0.0086181 | 133.6955 | 0.012782 | 133.8116 | 0.014172 | 134.0291 | 0.012728 | 134.1452 | 0.012786 | 134.2612 | 0.013788 | 134.3773 | 0.011763 | 134.4934 | 0.010279 | 134.6094 | 0.010886 | 134.7255 | 0.012616 | 134.8416 | 0.0095378 | 135.0591 | 0.014489 | 135.1752 | 0.0087739 | 135.2913 | 0.012991 | 135.4073 | 2.9206 | 135.5234 | 0.012277 | 135.6395 | 0.013625 | 135.7556 | 0.01113 | 135.8716 | 0.012643 | 136.0891 | 0.0082919 | 136.2052 | 0.011945 | 136.3213 | 0.011352 | 136.4374 | 0.0072243 | 136.5535 | 0.009304 | 136.6695 | 0.0087011 | 136.7856 | 0.0078152 | 136.9017 | 0.00094656 | 137.1191 | 0.0074927 | 137.2352 | -0.00040063 | 137.3513
2.9115 | 139.999 | 0.01079 | 140.1151 | 0.013152 | 140.2312 | 0.015063 | 140.3473 | 0.013516 | 140.4634 | 0.012279 | 140.5795 | 0.0086179 | 140.6955 | 0.012784 | 140.8116 | 0.014171 | 141.0291 | 0.012726 | 141.1452 | 0.012782 | 141.2612 | 0.013784 | 141.3774 | 0.011759 | 141.4936 | 0.010274 | 141.6096 | 0.010882 | 141.7257 | 0.012613 | 141.8418 | 0.0095352 | 142.0593 | 0.014487 | 142.1754 | 0.0087727 | 142.2915 | 0.012986 | 142.4076 | 2.9206 | 142.5236 | 0.012275 | 142.6397 | 0.013623 | 142.7558 | 0.01113 | 142.8719 | 0.012642 | 143.0894 | 0.0082937 | 143.2054 | 0.011942 | 143.3215 | 0.01135 | 143.4376 | 0.0072233 | 143.5537 | 0.0093017 | 143.6697 | 0.0086991 | 143.7858 | 0.0078141 | 143.9019 | 0.00094629 | 144.1194 | 0.0074919 | 144.2355 | -0.00040135 | 144.3515
2.9115 | 146.999 | 0.010798 | 147.1151 | 0.01316 | 147.2312 | 0.01507 | 147.3473 | 0.013523 | 147.4634 | 0.012289 | 147.5795 | 0.0086238 | 147.6955 | 0.012791 | 147.8116 | 0.014175 | 148.0291 | 0.01273 | 148.1452 | 0.012783 | 148.2613 | 0.013786 | 148.3773 | 0.011764 | 148.4934 | 0.01028 | 148.6095 | 0.010886 | 148.7256 | 0.012617 | 148.8417 | 0.009539 | 149.0592 | 0.014494 | 149.1752 | 0.0087763 | 149.2913 | 0.012993 | 149.4074 | 2.9206 | 149.5235 | 0.012278 | 149.6396 | 0.013625 | 149.7556 | 0.011133 | 149.8717 | 0.012645 | 150.0892 | 0.0082975 | 150.2053 | 0.011945 | 150.3214 | 0.011356 | 150.4375 | 0.0072269 | 150.5535 | 0.0093038 | 150.6696 | 0.0086998 | 150.7857 | 0.0078168 | 150.9018 | 0.00094652 | 151.1192 | 0.007496 | 151.2353 | -0.00040075 | 151.3514
2.9115 | 153.999 | 0.010799 | 154.1151 | 0.013162 | 154.2312 | 0.015072 | 154.3473 | 0.013524 | 154.4634 | 0.01229 | 154.5795 | 0.008628 | 154.6955 | 0.012793 | 154.8116 | 0.014174 | 155.0291 | 0.012729 | 155.1451 | 0.012786 | 155.2612 | 0.013787 | 155.3773 | 0.011763 | 155.4934 | 0.01028 | 155.6094 | 0.010886 | 155.7255 | 0.012618 | 155.8416 | 0.0095408 | 156.0591 | 0.014494 | 156.1752 | 0.0087777 | 156.2912 | 0.012994 | 156.4073 | 2.9206 | 156.5235 | 0.012278 | 156.6396 | 0.013625 | 156.7557 | 0.011135 | 156.8718 | 0.012646 | 157.0892 | 0.0082951 | 157.2053 | 0.011945 | 157.3213 | 0.011355 | 157.4374 | 0.0072259 | 157.5535 | 0.0093047 | 157.6696 | 0.0087008 | 157.7856 | 0.0078173 | 157.9017 | 0.00094736 | 158.1192 | 0.0074964 | 158.2353 | -0.00040097 | 158.3514
2.9115 | 160.999 | 0.010802 | 161.1151 | 0.013165 | 161.2312 | 0.015073 | 161.3473 | 0.013525 | 161.4634 | 0.012293 | 161.5796 | 0.0086311 | 161.6957 | 0.012794 | 161.8117 | 0.014173 | 162.0292 | 0.012729 | 162.1453 | 0.012784 | 162.2614 | 0.013786 | 162.3775 | 0.011763 | 162.4935 | 0.01028 | 162.6096 | 0.010887 | 162.7257 | 0.012621 | 162.8417 | 0.0095416 | 163.0593 | 0.014495 | 163.1753 | 0.0087788 | 163.2914 | 0.012996 | 163.4075 | 2.9206 | 163.5235 | 0.012281 | 163.6396 | 0.013625 | 163.7557 | 0.011133 | 163.8718 | 0.012644 | 164.0893 | 0.0082962 | 164.2054 | 0.011944 | 164.3214 | 0.011354 | 164.4375 | 0.0072249 | 164.5536 | 0.0093027 | 164.6696 | 0.0086988 | 164.7857 | 0.0078164 | 164.9018 | 0.00094702 | 165.1193 | 0.0074957 | 165.2353 | -0.0004013 | 165.3514
2.9115 | 167.999 | 0.010801 | 168.1151 | 0.013165 | 168.2312 | 0.015073 | 168.3473 | 0.013524 | 168.4634 | 0.012291 | 168.5795 | 0.0086293 | 168.6956 | 0.012791 | 168.8116 | 0.014172 | 169.0291 | 0.012729 | 169.1452 | 0.012783 | 169.2613 | 0.013787 | 169.3773 | 0.011763 | 169.4934 | 0.01028 | 169.6095 | 0.010886 | 169.7256 | 0.012619 | 169.8417 | 0.0095387 | 170.0592 | 0.014494 | 170.1753 | 0.0087758 | 170.2913 | 0.012994 | 170.4074 | 2.9206 | 170.5235 | 0.012281 | 170.6396 | 0.013631 | 170.7557 | 0.011133 | 170.8717 | 0.012644 | 171.0892 | 0.0082969 | 171.2053 | 0.011942 | 171.3213 | 0.011352 | 171.4374 | 0.0072235 | 171.5535 | 0.0093016 | 171.6697 | 0.0086986 | 171.7858 | 0.007815 | 171.9019 | 0.00094688 | 172.1193 | 0.0074949 | 172.2354 | -0.00040136 | 172.3515
2.9115 | 174.999 | 0.010798 | 175.1151 | 0.013162 | 175.2312 | 0.015072 | 175.3473 | 0.013522 | 175.4634 | 0.012292 | 175.5794 | 0.0086271 | 175.6955 | 0.012791 | 175.8116 | 0.014179 | 176.0291 | 0.012734 | 176.1451 | 0.012793 | 176.2612 | 0.013796 | 176.3773 | 0.011774 | 176.4934 | 0.010286 | 176.6094 | 0.010893 | 176.7256 | 0.012625 | 176.8417 | 0.0095435 | 177.0592 | 0.0145 | 177.1753 | 0.0087808 | 177.2914 | 0.013002 | 177.4075 | 2.9206 | 177.5236 | 0.012284 | 177.6396 | 0.013635 | 177.7557 | 0.011135 | 177.8718 | 0.012647 | 178.0892 | 0.0082994 | 178.2053 | 0.011947 | 178.3214 | 0.011357 | 178.4375 | 0.007227 | 178.5536 | 0.0093052 | 178.6697 | 0.0087016 | 178.7857 | 0.0078185 | 178.9018 | 0.00094713 | 179.1193 | 0.0074979 | 179.2354 | -0.00040091 | 179.3514
2.9115 | 181.999 | 0.010796 | 182.1151 | 0.013162 | 182.2312 | 0.01507 | 182.3473 | 0.013518 | 182.4634 | 0.012289 | 182.5795 | 0.008623 | 182.6955 | 0.012788 | 182.8116 | 0.014172 | 183.0291 | 0.012728 | 183.1451 | 0.012786 | 183.2612 | 0.013789 | 183.3773 | 0.011764 | 183.4933 | 0.010282 | 183.6094 | 0.010889 | 183.7255 | 0.01262 | 183.8416 | 0.0095395 | 184.0591 | 0.014493 | 184.1751 | 0.0087767 | 184.2912 | 0.012995 | 184.4073 | 2.9206 | 184.5234 | 0.012278 | 184.6395 | 0.013625 | 184.7555 | 0.011131 | 184.8716 | 0.012642 | 185.0891 | 0.0082941 | 185.2052 | 0.011943 | 185.3213 | 0.011353 | 185.4373 | 0.0072248 | 185.5534 | 0.0093018 | 185.6695 | 0.0086982 | 185.7856 | 0.0078147 | 185.9017 | 0.00094673 | 186.1191 | 0.0074933 | 186.2352 | -0.00040074 | 186.3513
2.9115 | 188.999 | 0.010791 | 189.1151 | 0.013156 | 189.2312 | 0.015065 | 189.3473 | 0.013515 | 189.4634 | 0.012284 | 189.5794 | 0.0086199 | 189.6955 | 0.012784 | 189.8116 | 0.01417 | 190.0291 | 0.012725 | 190.1452 | 0.01278 | 190.2613 | 0.013782 | 190.3773 | 0.011757 | 190.4934 | 0.010276 | 190.6095 | 0.010882 | 190.7256 | 0.012614 | 190.8417 | 0.0095349 | 191.0592 | 0.014488 | 191.1753 | 0.0087717 | 191.2914 | 0.012988 | 191.4074 | 2.9206 | 191.5235 | 0.012272 | 191.6396 | 0.013617 | 191.7556 | 0.011129 | 191.8718 | 0.012638 | 192.0893 | 0.0082899 | 192.2054 | 0.01194 | 192.3215 | 0.01135 | 192.4376 | 0.0072211 | 192.5537 | 0.0092989 | 192.6698 | 0.0086961 | 192.7858 | 0.0078121 | 192.9019 | 0.00094544 | 193.1194 | 0.0074896 | 193.2355 | -0.00040151 | 193.3516
2.9115 | 195.999 | 0.010789 | 196.1151 | 0.013152 | 196.2312 | 0.015061 | 196.3473 | 0.013512 | 196.4633 | 0.012279 | 196.5794 | 0.0086173 | 196.6955 | 0.012781 | 196.8116 | 0.014167 | 197.0291 | 0.012722 | 197.1452 | 0.012779 | 197.2613 | 0.013781 | 197.3773 | 0.011754 | 197.4934 | 0.010273 | 197.6095 | 0.01088 | 197.7256 | 0.01261 | 197.8417 | 0.0095328 | 198.0592 | 0.014485 | 198.1753 | 0.0087699 | 198.2914 | 0.012984 | 198.4075 | 2.9207 | 198.5236 | 0.012269 | 198.6396 | 0.013615 | 198.7557 | 0.011137 | 198.8718 | 0.012646 | 199.0893 | 0.0082865 | 199.2053 | 0.011938 | 199.3214 | 0.011349 | 199.4375 | 0.0072195 | 199.5536 | 0.009298 | 199.6697 | 0.0086949 | 199.7857 | 0.0078112 | 199.9018 | 0.00094617 | 200.1193 | 0.0074897 | 200.2353 | -0.00040106 | 200.3514
2.9115 | 202.999 | 0.010791 | 203.1151 | 0.013153 | 203.2312 | 0.015061 | 203.3473 | 0.013513 | 203.4634 | 0.01228 | 203.5794 | 0.0086198 | 203.6955 | 0.012782 | 203.8116 | 0.01417 | 204.0291 | 0.012724 | 204.1452 | 0.012782 | 204.2613 | 0.013783 | 204.3773 | 0.011756 | 204.4934 | 0.010276 | 204.6095 | 0.010881 | 204.7256 | 0.012612 | 204.8417 | 0.0095344 | 205.0592 | 0.014487 | 205.1752 | 0.0087711 | 205.2913 | 0.012987 | 205.4074 | 2.9207 | 205.5235 | 0.012273 | 205.6396 | 0.013617 | 205.7556 | 0.011146 | 205.8717 | 0.012657 | 206.0892 | 0.008291 | 206.2053 | 0.01194 | 206.3213 | 0.011351 | 206.4374 | 0.0072215 | 206.5535 | 0.0092999 | 206.6696 | 0.0086962 | 206.7856 | 0.0078132 | 206.9017 | 0.00094557 | 207.1192 | 0.0074911 | 207.2353 | -0.00040163 | 207.3514
2.9115 | 209.999 | 0.010794 | 210.1151 | 0.013158 | 210.2312 | 0.015063 | 210.3473 | 0.013517 | 210.4634 | 0.012284 | 210.5794 | 0.008624 | 210.6955 | 0.012785 | 210.8116 | 0.014172 | 211.0291 | 0.012726 | 211.1452 | 0.012784 | 211.2612 | 0.013785 | 211.3773 | 0.011758 | 211.4934 | 0.010278 | 211.6095 | 0.010884 | 211.7255 | 0.012614 | 211.8416 | 0.0095371 | 212.0593 | 0.014489 | 212.1754 | 0.0087741 | 212.2915 | 0.01299 | 212.4076 | 2.9206 | 212.5237 | 0.012274 | 212.6397 | 0.013619 | 212.7558 | 0.01114 | 212.8719 | 0.01265 | 213.0893 | 0.008293 | 213.2054 | 0.011943 | 213.3215 | 0.011353 | 213.4376 | 0.0072226 | 213.5536 | 0.0093013 | 213.6697 | 0.0086972 | 213.7858 | 0.0078145 | 213.9019 | 0.00094575 | 214.1194 | 0.0074931 | 214.2354 | -0.00040174 | 214.3515
2.9115 | 216.999 | 0.010794 | 217.1152 | 0.013159 | 217.2313 | 0.015063 | 217.3474 | 0.013517 | 217.4635 | 0.012285 | 217.5796 | 0.0086253 | 217.6957 | 0.012786 | 217.8117 | 0.014168 | 218.0292 | 0.012725 | 218.1453 | 0.012784 | 218.2614 | 0.013785 | 218.3774 | 0.011757 | 218.4935 | 0.010279 | 218.6096 | 0.010886 | 218.7257 | 0.012616 | 218.8418 | 0.0095378 | 219.0593 | 0.01449 | 219.1754 | 0.0087744 | 219.2915 | 0.012991 | 219.4075 | 2.9206 | 219.5236 | 0.012273 | 219.6397 | 0.013619 | 219.7558 | 0.011134 | 219.8719 | 0.012646 | 220.0893 | 0.0082909 | 220.2054 | 0.011944 | 220.3215 | 0.011352 | 220.4376 | 0.0072226 | 220.5537 | 0.0093014 | 220.6697 | 0.0086968 | 220.7858 | 0.0078149 | 220.9019 | 0.00094582 | 221.1193 | 0.0074925 | 221.2354 | -0.00040186 | 221.3515
2.9115 | 223.999 | 0.010793 | 224.1151 | 0.013159 | 224.2312 | 0.015063 | 224.3473 | 0.013516 | 224.4634 | 0.012283 | 224.5795 | 0.0086235 | 224.6955 | 0.012785 | 224.8116 | 0.014166 | 225.0291 | 0.012723 | 225.1452 | 0.012782 | 225.2612 | 0.013785 | 225.3773 | 0.011757 | 225.4934 | 0.010279 | 225.6095 | 0.010886 | 225.7256 | 0.012616 | 225.8416 | 0.0095376 | 226.0592 | 0.01449 | 226.1752 | 0.0087738 | 226.2913 | 0.01299 | 226.4074 | 2.9206 | 226.5235 | 0.012271 | 226.6396 | 0.013619 | 226.7556 | 0.011133 | 226.8717 | 0.012645 | 227.0892 | 0.0082893 | 227.2052 | 0.011942 | 227.3213 | 0.01135 | 227.4374 | 0.0072214 | 227.5535 | 0.0093 | 227.6696 | 0.0086954 | 227.7856 | 0.0078132 | 227.9017 | 0.00094566 | 228.1192 | 0.0074915 | 228.2353 | -0.00040177 | 228.3513
2.9115 | 230.999 | 0.010793 | 231.1151 | 0.013159 | 231.2312 | 0.015063 | 231.3473 | 0.013516 | 231.4634 | 0.012284 | 231.5795 | 0.0086237 | 231.6955 | 0.012786 | 231.8116 | 0.014164 | 232.0291 | 0.012722 | 232.1452 | 0.012782 | 232.2613 | 0.013783 | 232.3775 | 0.011755 | 232.4935 | 0.010276 | 232.6096 | 0.010883 | 232.7257 | 0.012614 | 232.8418 | 0.0095359 | 233.0593 | 0.014485 | 233.1754 | 0.0087723 | 233.2915 | 0.012989 | 233.4075 | 2.9206 | 233.5236 | 0.01227 | 233.6397 | 0.013618 | 233.7558 | 0.011125 | 233.8719 | 0.012638 | 234.0893 | 0.0082871 | 234.2054 | 0.011942 | 234.3215 | 0.01135 | 234.4376 | 0.0072209 | 234.5537 | 0.0092997 | 234.6697 | 0.0086952 | 234.7858 | 0.0078126 | 234.9019 | 0.00094547 | 235.1194 | 0.007491 | 235.2354 | -0.00040213 | 235.3516
2.9115 | 237.999 | 0.010794 | 238.1151 | 0.013159 | 238.2312 | 0.015063 | 238.3473 | 0.013516 | 238.4634 | 0.012285 | 238.5795 | 0.0086237 | 238.6955 | 0.012785 | 238.8116 | 0.014162 | 239.0291 | 0.01272 | 239.1452 | 0.01278 | 239.2612 | 0.013783 | 239.3773 | 0.011754 | 239.4934 | 0.010273 | 239.6095 | 0.010881 | 239.7256 | 0.012611 | 239.8417 | 0.009534 | 240.0592 | 0.014483 | 240.1753 | 0.0087705 | 240.2913 | 0.012986 | 240.4074 | 2.9207 | 240.5235 | 0.012268 | 240.6396 | 0.013617 | 240.7557 | 0.011124 | 240.8717 | 0.012637 | 241.0892 | 0.0082863 | 241.2053 | 0.011939 | 241.3214 | 0.011349 | 241.4375 | 0.0072205 | 241.5535 | 0.009298 | 241.6696 | 0.0086943 | 241.7857 | 0.0078119 | 241.9018 | 0.00094539 | 242.1192 | 0.0074895 | 242.2353 | -0.00040258 | 242.3515
2.9116 | 244.999 | 0.010792 | 245.1151 | 0.013157 | 245.2312 | 0.015063 | 245.3473 | 0.013516 | 245.4634 | 0.012284 | 245.5794 | 0.0086218 | 245.6955 | 0.012784 | 245.8116 | 0.014163 | 246.0291 | 0.012721 | 246.1451 | 0.012778 | 246.2612 | 0.013781 | 246.3773 | 0.011752 | 246.4934 | 0.010273 | 246.6095 | 0.01088 | 246.7256 | 0.012611 | 246.8416 | 0.0095341 | 247.0591 | 0.014483 | 247.1752 | 0.0087702 | 247.2913 | 0.012985 | 247.4075 | 2.9207 | 247.5236 | 0.012269 | 247.6396 | 0.013616 | 247.7557 | 0.011124 | 247.8718 | 0.012635 | 248.0893 | 0.008287 | 248.2053 | 0.011939 | 248.3214 | 0.011349 | 248.4375 | 0.0072202 | 248.5536 | 0.009298 | 248.6697 | 0.0086943 | 248.7857 | 0.007812 | 248.9018 | 0.00094477 | 249.1193 | 0.0074895 | 249.2354 | -0.00040224 | 249.3515
2.9115 | 251.999 | 0.010789 | 252.1151 | 0.013155 | 252.2312 | 0.01506 | 252.3473 | 0.013513 | 252.4634 | 0.012281 | 252.5795 | 0.008619 | 252.6956 | 0.012782 | 252.8117 | 0.014162 | 253.0292 | 0.01272 | 253.1452 | 0.012779 | 253.2613 | 0.013781 | 253.3774 | 0.011752 | 253.4935 | 0.010274 | 253.6095 | 0.010881 | 253.7256 | 0.01261 | 253.8417 | 0.0095333 | 254.0592 | 0.014484 | 254.1753 | 0.0087708 | 254.2914 | 0.012985 | 254.4074 | 2.9206 | 254.5235 | 0.01227 | 254.6396 | 0.013616 | 254.7556 | 0.011125 | 254.8717 | 0.012638 | 255.0892 | 0.0082871 | 255.2053 | 0.011937 | 255.3213 | 0.011348 | 255.4374 | 0.0072194 | 255.5535 | 0.0092974 | 255.6696 | 0.0086939 | 255.7856 | 0.0078117 | 255.9017 | 0.00094468 | 256.1192 | 0.0074892 | 256.2353 | -0.00040208 | 256.3514
2.9116 | 258.999 | 0.010788 | 259.1151 | 0.013153 | 259.2312 | 0.015058 | 259.3473 | 0.013512 | 259.4634 | 0.012279 | 259.5794 | 0.0086182 | 259.6955 | 0.012782 | 259.8116 | 0.014163 | 260.0291 | 0.01272 | 260.1451 | 0.012778 | 260.2612 | 0.013781 | 260.3773 | 0.011753 | 260.4934 | 0.010274 | 260.6094 | 0.010881 | 260.7255 | 0.01261 | 260.8416 | 0.0095329 | 261.0591 | 0.014484 | 261.1752 | 0.0087705 | 261.2913 | 0.012984 | 261.4073 | 2.9207 | 261.5234 | 0.012271 | 261.6395 | 0.013618 | 261.7556 | 0.011126 | 261.8717 | 0.012638 | 262.0891 | 0.0082885 | 262.2052 | 0.011935 | 262.3213 | 0.011346 | 262.4374 | 0.0072185 | 262.5535 | 0.0092965 | 262.6697 | 0.0086933 | 262.7858 | 0.0078109 | 262.9018 | 0.00094463 | 263.1193 | 0.0074885 | 263.2354 | -0.00040253 | 263.3515
2.9116 | 265.999 | 0.01079 | 266.1151 | 0.013154 | 266.2312 | 0.01506 | 266.3473 | 0.013512 | 266.4633 | 0.012279 | 266.5794 | 0.0086203 | 266.6955 | 0.012783 | 266.8116 | 0.014166 | 267.029 | 0.012722 | 267.1451 | 0.012778 | 267.2612 | 0.013781 | 267.3773 | 0.011755 | 267.4933 | 0.010274 | 267.6095 | 0.010882 | 267.7256 | 0.01261 | 267.8417 | 0.0095334 | 268.0592 | 0.014485 | 268.1753 | 0.0087708 | 268.2914 | 0.012985 | 268.4075 | 2.9207 | 268.5235 | 0.012273 | 268.6396 | 0.01362 | 268.7557 | 0.011127 | 268.8718 | 0.012639 | 269.0892 | 0.0082908 | 269.2053 | 0.011937 | 269.3214 | 0.011347 | 269.4375 | 0.007219 | 269.5535 | 0.0092979 | 269.6696 | 0.0086935 | 269.7857 | 0.0078115 | 269.9018 | 0.00094464 | 270.1192 | 0.0074902 | 270.2353 | -0.00040271 | 270.3514
2.9115 | 272.999 | 0.010791 | 273.1151 | 0.013155 | 273.2312 | 0.015061 | 273.3473 | 0.013514 | 273.4634 | 0.01228 | 273.5795 | 0.0086217 | 273.6955 | 0.012784 | 273.8116 | 0.014165 | 274.0291 | 0.012721 | 274.1452 | 0.012778 | 274.2612 | 0.01378 | 274.3773 | 0.011755 | 274.4934 | 0.010275 | 274.6094 | 0.010882 | 274.7255 | 0.012611 | 274.8416 | 0.0095344 | 275.0591 | 0.014486 | 275.1752 | 0.0087722 | 275.2913 | 0.012987 | 275.4074 | 2.9207 | 275.5235 | 0.012273 | 275.6395 | 0.013619 | 275.7556 | 0.011128 | 275.8717 | 0.01264 | 276.0892 | 0.008292 | 276.2053 | 0.011938 | 276.3213 | 0.011349 | 276.4374 | 0.0072203 | 276.5535 | 0.0092987 | 276.6696 | 0.0086943 | 276.7856 | 0.0078123 | 276.9017 | 0.00094476 | 277.1192 | 0.007491 | 277.2353 | -0.00040298 | 277.3513
2.9116 | 279.999 | 0.010791 | 280.1151 | 0.013153 | 280.2312 | 0.015061 | 280.3473 | 0.013514 | 280.4634 | 0.01228 | 280.5794 | 0.0086204 | 280.6955 | 0.012783 | 280.8116 | 0.014163 | 281.029 | 0.01272 | 281.1451 | 0.012778 | 281.2612 | 0.013779 | 281.3773 | 0.011754 | 281.4933 | 0.010276 | 281.6094 | 0.010882 | 281.7255 | 0.012612 | 281.8416 | 0.0095351 | 282.0591 | 0.014487 | 282.1752 | 0.0087728 | 282.2912 | 0.012987 | 282.4073 | 2.9207 | 282.5234 | 0.012271 | 282.6395 | 0.013618 | 282.7556 | 0.011128 | 282.8718 | 0.012637 | 283.0892 | 0.0082892 | 283.2053 | 0.011938 | 283.3214 | 0.011348 | 283.4374 | 0.0072199 | 283.5535 | 0.009298 | 283.6696 | 0.0086938 | 283.7857 | 0.0078123 | 283.9017 | 0.00094489 | 284.1192 | 0.0074903 | 284.2353 | -0.00040264 | 284.3514
2.9116 | 286.999 | 0.010791 | 287.1151 | 0.013153 | 287.2312 | 0.01506 | 287.3473 | 0.013514 | 287.4634 | 0.012279 | 287.5794 | 0.0086194 | 287.6955 | 0.012783 | 287.8117 | 0.014163 | 288.0292 | 0.012719 | 288.1453 | 0.012778 | 288.2614 | 0.01378 | 288.3775 | 0.011753 | 288.4935 | 0.010275 | 288.6096 | 0.010881 | 288.7257 | 0.012612 | 288.8417 | 0.009534 | 289.0593 | 0.014486 | 289.1754 | 0.0087715 | 289.2914 | 0.012987 | 289.4075 | 2.9207 | 289.5236 | 0.012271 | 289.6397 | 0.013619 | 289.7558 | 0.01113 | 289.8719 | 0.01264 | 290.0893 | 0.0082886 | 290.2054 | 0.011938 | 290.3215 | 0.011347 | 290.4376 | 0.0072193 | 290.5536 | 0.009298 | 290.6697 | 0.0086946 | 290.7858 | 0.0078118 | 290.9019 | 0.00094446 | 291.1194 | 0.0074896 | 291.2354 | -0.00040273 | 291.3515
2.9116 | 293.999 | 0.01079 | 294.1151 | 0.013153 | 294.2312 | 0.015059 | 294.3473 | 0.013512 | 294.4634 | 0.012278 | 294.5794 | 0.0086187 | 294.6955 | 0.012782 | 294.8116 | 0.014163 | 295.0291 | 0.01272 | 295.1452 | 0.012779 | 295.2613 | 0.013781 | 295.3773 | 0.011754 | 295.4934 | 0.010274 | 295.6095 | 0.01088 | 295.7255 | 0.012611 | 295.8416 | 0.0095328 | 296.0591 | 0.014484 | 296.1752 | 0.0087714 | 296.2913 | 0.012985 | 296.4074 | 2.9207 | 296.5234 | 0.012271 | 296.6395 | 0.01362 | 296.7556 | 0.011131 | 296.8717 | 0.012642 | 297.0892 | 0.0082885 | 297.2052 | 0.011938 | 297.3213 | 0.011347 | 297.4374 | 0.0072196 | 297.5535 | 0.009298 | 297.6695 | 0.0086952 | 297.7856 | 0.0078121 | 297.9018 | 0.0009446 | 298.1193 | 0.0074896 | 298.2354 | -0.00040304 | 298.3515
2.9116 | 300.999 | 0.01079 | 301.1151 | 0.013154 | 301.2312 | 0.01506 | 301.3473 | 0.013514 | 301.4634 | 0.01228 | 301.5794 | 0.0086197 | 301.6955 | 0.012782 | 301.8116 | 0.014166 | 302.029 | 0.012721 | 302.1451 | 0.012781 | 302.2612 | 0.013783 | 302.3773 | 0.011756 | 302.4933 | 0.010274 | 302.6094 | 0.01088 | 302.7255 | 0.012611 | 302.8416 | 0.0095334 | 303.0591 | 0.014485 | 303.1752 | 0.008771 | 303.2913 | 0.012986 | 303.4074 | 2.9207 | 303.5235 | 0.012272 | 303.6395 | 0.013621 | 303.7556 | 0.011131 | 303.8717 | 0.012644 | 304.0892 | 0.0082896 | 304.2052 | 0.011939 | 304.3213 | 0.011349 | 304.4374 | 0.0072201 | 304.5534 | 0.0092981 | 304.6695 | 0.0086952 | 304.7856 | 0.0078123 | 304.9016 | 0.0009449 | 305.1191 | 0.0074901 | 305.2352 | -0.00040292 | 305.3513
2.9116 | 308.0008 | 0.010795 | 308.1169 | 0.013159 | 308.233 | 0.015064 | 308.3491 | 0.013518 | 308.4652 | 0.012285 | 308.5813 | 0.0086253 | 308.6973 | 0.012786 | 308.8134 | 0.014169 | 309.0309 | 0.012724 | 309.1469 | 0.012782 | 309.263 | 0.013784 | 309.3791 | 0.011758 | 309.4952 | 0.010276 | 309.6112 | 0.010883 | 309.7273 | 0.012613 | 309.8434 | 0.0095357 | 310.0609 | 0.014488 | 310.177 | 0.0087738 | 310.293 | 0.012989 | 310.4091 | 2.9207 | 310.5252 | 0.012276 | 310.6413 | 0.013623 | 310.7574 | 0.011136 | 310.8735 | 0.012647 | 311.0909 | 0.0082939 | 311.207 | 0.011941 | 311.3231 | 0.011351 | 311.4392 | 0.0072221 | 311.5553 | 0.0092998 | 311.6713 | 0.0086968 | 311.7874 | 0.0078142 | 311.9034 | 0.00094562 | 312.1209 | 0.0074928 | 312.237 | -0.00040223 | 312.3531
2.9116 | 314.999 | 0.010795 | 315.1151 | 0.013159 | 315.2312 | 0.015065 | 315.3473 | 0.013518 | 315.4634 | 0.012286 | 315.5794 | 0.0086267 | 315.6955 | 0.012788 | 315.8116 | 0.014173 | 316.0291 | 0.012727 | 316.1452 | 0.012784 | 316.2612 | 0.013786 | 316.3773 | 0.011762 | 316.4934 | 0.010281 | 316.6095 | 0.010887 | 316.7255 | 0.012618 | 316.8416 | 0.0095388 | 317.0591 | 0.014493 | 317.1752 | 0.0087762 | 317.2913 | 0.012994 | 317.4074 | 2.9207 | 317.5235 | 0.012279 | 317.6395 | 0.013626 | 317.7556 | 0.011137 | 317.8717 | 0.012649 | 318.0893 | 0.0082961 | 318.2054 | 0.011944 | 318.3215 | 0.011354 | 318.4376 | 0.0072243 | 318.5536 | 0.0093022 | 318.6697 | 0.0086991 | 318.7858 | 0.0078164 | 318.9019 | 0.00094515 | 319.1194 | 0.0074958 | 319.2355 | -0.00040168 | 319.3516
2.9116 | 321.999 | 0.010795 | 322.1151 | 0.01316 | 322.2312 | 0.015065 | 322.3472 | 0.013518 | 322.4633 | 0.012285 | 322.5794 | 0.0086259 | 322.6955 | 0.012787 | 322.8116 | 0.014172 | 323.029 | 0.012727 | 323.1452 | 0.012785 | 323.2614 | 0.013787 | 323.3775 | 0.011764 | 323.4935 | 0.010282 | 323.6096 | 0.010888 | 323.7257 | 0.012619 | 323.8418 | 0.0095401 | 324.0593 | 0.014494 | 324.1754 | 0.0087772 | 324.2915 | 0.012995 | 324.4076 | 2.9207 | 324.5237 | 0.012279 | 324.6397 | 0.013626 | 324.7558 | 0.011135 | 324.8719 | 0.012647 | 325.0894 | 0.0082961 | 325.2055 | 0.011944 | 325.3215 | 0.011353 | 325.4376 | 0.0072246 | 325.5537 | 0.0093018 | 325.6698 | 0.0086983 | 325.7858 | 0.0078157 | 325.9019 | 0.00094564 | 326.1194 | 0.0074947 | 326.2355 | -0.00040169 | 326.3515
2.9115 | 328.999 | 0.010794 | 329.1151 | 0.013156 | 329.2312 | 0.015063 | 329.3473 | 0.013517 | 329.4634 | 0.012282 | 329.5794 | 0.0086246 | 329.6955 | 0.012786 | 329.8116 | 0.014169 | 330.0291 | 0.012724 | 330.1452 | 0.012783 | 330.2613 | 0.013785 | 330.3773 | 0.01176 | 330.4934 | 0.010281 | 330.6095 | 0.010887 | 330.7255 | 0.012618 | 330.8416 | 0.0095389 | 331.0592 | 0.014493 | 331.1752 | 0.0087764 | 331.2913 | 0.012993 | 331.4074 | 2.9207 | 331.5235 | 0.012277 | 331.6396 | 0.013624 | 331.7556 | 0.011137 | 331.8717 | 0.012648 | 332.0892 | 0.008293 | 332.2052 | 0.011942 | 332.3213 | 0.011353 | 332.4374 | 0.0072235 | 332.5535 | 0.0093013 | 332.6696 | 0.0086976 | 332.7856 | 0.0078152 | 332.9017 | 0.00094481 | 333.1192 | 0.0074933 | 333.2354 | -0.00040134 | 333.3515
2.9115 | 335.999 | 0.010792 | 336.1151 | 0.013155 | 336.2312 | 0.015063 | 336.3473 | 0.013516 | 336.4633 | 0.012282 | 336.5794 | 0.0086221 | 336.6955 | 0.012784 | 336.8115 | 0.014167 | 337.029 | 0.012723 | 337.1451 | 0.012783 | 337.2612 | 0.013784 | 337.3772 | 0.011759 | 337.4933 | 0.010278 | 337.6094 | 0.010884 | 337.7255 | 0.012618 | 337.8416 | 0.0095383 | 338.0591 | 0.014492 | 338.1751 | 0.0087753 | 338.2913 | 0.012992 | 338.4075 | 2.9206 | 338.5235 | 0.012275 | 338.6396 | 0.013624 | 338.7557 | 0.011132 | 338.8718 | 0.012643 | 339.0893 | 0.0082916 | 339.2054 | 0.011941 | 339.3214 | 0.011351 | 339.4375 | 0.0072224 | 339.5536 | 0.0093011 | 339.6697 | 0.0086974 | 339.7857 | 0.0078147 | 339.9018 | 0.00094507 | 340.1193 | 0.0074922 | 340.2353 | -0.00040189 | 340.3514
2.9115 | 342.999 | 0.010792 | 343.1151 | 0.013154 | 343.2312 | 0.015061 | 343.3474 | 0.013515 | 343.4635 | 0.012281 | 343.5796 | 0.0086208 | 343.6957 | 0.012783 | 343.8117 | 0.014167 | 344.0292 | 0.012722 | 344.1453 | 0.012783 | 344.2614 | 0.013784 | 344.3775 | 0.011758 | 344.4936 | 0.010276 | 344.6096 | 0.010883 | 344.7257 | 0.012615 | 344.8418 | 0.0095361 | 345.0593 | 0.014487 | 345.1754 | 0.0087724 | 345.2915 | 0.012988 | 345.4076 | 2.9206 | 345.5237 | 0.012273 | 345.6397 | 0.013622 | 345.7558 | 0.011129 | 345.8719 | 0.012641 | 346.0894 | 0.0082892 | 346.2055 | 0.011942 | 346.3215 | 0.011351 | 346.4376 | 0.0072218 | 346.5537 | 0.0093008 | 346.6697 | 0.0086975 | 346.7858 | 0.0078145 | 346.9019 | 0.00094483 | 347.1194 | 0.0074914 | 347.2355 | -0.00040205 | 347.3515
2.9115 | 349.999 | 0.010791 | 350.1151 | 0.013153 | 350.2312 | 0.01506 | 350.3473 | 0.013513 | 350.4634 | 0.012281 | 350.5795 | 0.00862 | 350.6955 | 0.012783 | 350.8116 | 0.014165 | 351.0291 | 0.01272 | 351.1452 | 0.01278 | 351.2612 | 0.013782 | 351.3773 | 0.011753 | 351.4934 | 0.010272 | 351.6095 | 0.01088 | 351.7256 | 0.012612 | 351.8417 | 0.0095353 | 352.0592 | 0.014485 | 352.1753 | 0.0087711 | 352.2914 | 0.012986 | 352.4074 | 2.9206 | 352.5235 | 0.012271 | 352.6396 | 0.013619 | 352.7557 | 0.011128 | 352.8718 | 0.01264 | 353.0892 | 0.0082874 | 353.2053 | 0.011942 | 353.3214 | 0.011351 | 353.4376 | 0.0072215 | 353.5537 | 0.0092999 | 353.6698 | 0.008696 | 353.7859 | 0.0078143 | 353.9019 | 0.00094428 | 354.1194 | 0.0074922 | 354.2355 | -0.00040217 | 354.3516
2.9115 | 356.999 | 0.010792 | 357.1151 | 0.013154 | 357.2312 | 0.015061 | 357.3473 | 0.013515 | 357.4634 | 0.012282 | 357.5794 | 0.0086211 | 357.6955 | 0.012784 | 357.8116 | 0.014165 | 358.0291 | 0.01272 | 358.1451 | 0.012777 | 358.2612 | 0.013779 | 358.3773 | 0.011753 | 358.4935 | 0.010273 | 358.6096 | 0.010879 | 358.7257 | 0.012612 | 358.8417 | 0.0095354 | 359.0593 | 0.014485 | 359.1753 | 0.0087714 | 359.2914 | 0.012987 | 359.4075 | 2.9206 | 359.5236 | 0.01227 | 359.6397 | 0.013617 | 359.7557 | 0.011129 | 359.8718 | 0.012641 | 360.0893 | 0.0082876 | 360.2054 | 0.011941 | 360.3215 | 0.011351 | 360.4375 | 0.0072218 | 360.5536 | 0.0092997 | 360.6697 | 0.0086964 | 360.7858 | 0.0078152 | 360.9019 | 0.00094508 | 361.1194 | 0.0074915 | 361.2354 | -0.00040177 | 361.3515